## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-28 00:00:00 | 1.1986 | 180.8864 | 1.3879 | 198.7643 | 1.8336 | 184.6286 | 2.3029 | 180.1857 | 26.8629 | 880 | 88.8 | 2.2107
2019-07-28 00:15:00 | 1.1333 | 167.35 | 1.3 | 183.9 | 1.7533 | 185.4667 | 2.4133 | 186.5333 | 26.7333 | 880 | 89.2667 | 2.8113
2019-07-28 00:30:00 | 0.98 | 153.3967 | 1.1333 | 168.5667 | 1.7867 | 163.8667 | 2.1533 | 171.1333 | 26.6 | 880 | 89.9333 | 1.33
2019-07-28 00:45:00 | 1.7533 | 151.3367 | 2.0133 | 166.3 | 2.3 | 172.6333 | 2.7967 | 176.3 | 26.3967 | 880 | 91.3333 | 6.0727
2019-07-28 01:00:00 | 3.2467 | 132.29 | 3.7333 | 145.3667 | 4.2133 | 212.0333 | 4.8833 | 212.2333 | 25.8433 | 880 | 93.8 | 7.9867
2019-07-28 01:15:00 | 2.7 | 133.3867 | 3.1033 | 146.5667 | 3.6167 | 200.8667 | 3.7867 | 195 | 25.4333 | 880 | 94.7333 | 12.8733
2019-07-28 01:30:00 | 3.02 | 151.16 | 3.4767 | 166.1 | 4.43 | 239.2667 | 4.8733 | 216.3333 | 25.1933 | 880 | 95.6 | 14.6627
2019-07-28 01:45:00 | 3.1707 | 176.222 | 3.6467 | 193.6467 | 4.6027 | 231.6733 | 4.9747 | 239 | 25.0053 | 880 | 93.6933 | 23.0027
2019-07-28 02:00:00 | 4.7867 | 169.2367 | 5.5033 | 185.9667 | 6.8933 | 253.2667 | 7.7767 | 241.1333 | 24.47 | 880 | 96.2333 | 31.6693
2019-07-28 02:15:00 | 3.3733 | 226.4167 | 3.8867 | 248.8 | 5.1233 | 255.8667 | 6.0133 | 269.6667 | 23.2333 | 879.2 | 95.7333 | 10.9167
2019-07-28 02:30:00 | 3.1333 | 145.5967 | 3.6133 | 160 | 4.0033 | 229.9333 | 4.4867 | 237.7333 | 22.72 | 879 | 97.8667 | 9.0773
2019-07-28 02:45:00 | 3.6133 | 157.7967 | 4.16 | 173.4 | 4.5133 | 167.4 | 4.5587 | 224.4667 | 22.3833 | 879 | 99.4333 | 4.1893
2019-07-28 03:00:00 | 2.4867 | 138.99 | 2.86 | 152.7333 | 3.12 | 178.7333 | 3.5767 | 195.6667 | 22.1633 | 879 | 99.8333 | 2.542
2019-07-28 03:15:00 | 2.21 | 157.5993 | 2.5467 | 173.1867 | 2.7867 | 176.1333 | 2.9733 | 223.4333 | 22.0267 | 879 | 99.98 | 0.030667
2019-07-28 03:30:00 | 0.93667 | 127.25 | 1.0733 | 139.8333 | 1.1067 | 143.8667 | 0.98667 | 308.9 | 21.8533 | 879 | 100 | 0
2019-07-28 03:45:00 | 1.1 | 105.6733 | 1.2633 | 116.12 | 1.61 | 108.1033 | 1.2167 | 215.6133 | 21.77 | 878.8667 | 100 | 0
2019-07-28 04:00:00 | 1.7867 | 215.42 | 2.0567 | 236.72 | 2.2567 | 12.05 | 2.2833 | 14.2067 | 21.9433 | 878 | 100 | 0
2019-07-28 04:15:00 | 2.38 | 317.41 | 2.7367 | 348.8 | 2.67 | 114.56 | 2.83 | 14.55 | 22.1667 | 878 | 100 | 0
2019-07-28 04:30:00 | 2.42 | 112.7633 | 2.7833 | 123.9067 | 3.0233 | 120.52 | 3.05 | 16.4767 | 22.2493 | 878 | 99.9067 | 0
2019-07-28 04:45:00 | 3.18 | 322.0467 | 3.6533 | 353.9 | 3.8767 | 248.1633 | 3.9 | 43.95 | 22.2767 | 878 | 99.8 | 0.12467
2019-07-28 05:00:00 | 2.5533 | 312.5867 | 2.9333 | 343.5 | 3.0767 | 24.69 | 3.34 | 22.2433 | 22.4033 | 878 | 99.9333 | 0
2019-07-28 05:15:00 | 2.18 | 196.48 | 2.51 | 215.9067 | 2.6267 | 136.72 | 2.45 | 38.8733 | 22.7153 | 878.6667 | 99.9867 | 0
2019-07-28 05:30:00 | 1.5267 | 6.8267 | 1.7567 | 7.5 | 2.0867 | 128.0867 | 3.01 | 31.84 | 22.6967 | 878 | 99.9 | 0
2019-07-28 05:45:00 | 0.99 | 309.34 | 1.14 | 339.9333 | 1.62 | 338.8667 | 2.28 | 7.1367 | 22.596 | 878 | 99.9133 | 0
2019-07-28 06:00:00 | 1.4633 | 305.94 | 1.6933 | 336.2 | 1.8733 | 344.9867 | 2.24 | 12.7233 | 22.53 | 878 | 100 | 0
2019-07-28 06:15:00 | 2.5867 | 313.69 | 2.97 | 344.7 | 3.5313 | 238.82 | 3.48 | 11.7633 | 22.5047 | 878.1333 | 100 | 0
2019-07-28 06:30:00 | 2.5333 | 313.1367 | 2.9167 | 344.1 | 4.0533 | 14.22 | 4.1067 | 17.95 | 22.5293 | 879 | 100 | 1.89
2019-07-28 06:45:00 | 3.3233 | 322.96 | 3.82 | 354.9 | 4.5967 | 13.6067 | 4.8267 | 16.8167 | 22.5633 | 878.3333 | 100 | 2.6507
2019-07-28 07:00:00 | 3.63 | 110.2733 | 4.1733 | 121.18 | 5.0167 | 7.76 | 5.2133 | 14.7367 | 22.6053 | 879 | 100 | 2.2087
2019-07-28 07:15:00 | 3.0133 | 13.1233 | 3.4667 | 14.4167 | 4.58 | 124.6467 | 4.7533 | 21.5133 | 22.584 | 879 | 100 | 0.488
2019-07-28 07:30:00 | 2.48 | 208.13 | 2.8533 | 228.71 | 3.52 | 120.0467 | 3.5733 | 20.0867 | 22.5707 | 879 | 100 | 0
2019-07-28 07:45:00 | 1.8253 | 3.536 | 2.0993 | 3.8787 | 2.6733 | 105.566 | 2.9913 | 111.564 | 22.8193 | 879.1333 | 100 | 0.33133
2019-07-28 08:00:00 | 2.2933 | 196.96 | 2.6333 | 216.44 | 4.03 | 121.18 | 4.36 | 127.8333 | 23.1667 | 880 | 100 | 6.7293
2019-07-28 08:15:00 | 3.0867 | 6.13 | 3.5567 | 6.7333 | 5.8733 | 14.62 | 5.9267 | 22.5833 | 23.3233 | 879.3333 | 100 | 4.7453
2019-07-28 08:30:00 | 3.42 | 4.57 | 3.93 | 5.0133 | 5.4867 | 240.32 | 5.5 | 20.4433 | 23.0833 | 880 | 100 | 3.8433
2019-07-28 08:45:00 | 3.4633 | 109.0633 | 3.9867 | 119.8533 | 5.0867 | 8.1167 | 5.3267 | 20.9367 | 22.9367 | 880 | 100 | 4.0173
2019-07-28 09:00:00 | 3.3167 | 322.5033 | 3.82 | 354.4 | 4.64 | 242.7433 | 4.94 | 21.05 | 23.0547 | 880 | 100 | 5.2827
2019-07-28 09:15:00 | 2.9533 | 221.4967 | 3.3967 | 243.4033 | 4.7467 | 4.38 | 5.08 | 27.1 | 23.4767 | 880 | 100 | 5.6867
2019-07-28 09:30:00 | 3.2733 | 20.92 | 3.77 | 22.9833 | 4.54 | 203.5533 | 4.8733 | 24.2133 | 23.89 | 880 | 99.6 | 1.0453
2019-07-28 09:45:00 | 2.3467 | 302.1 | 2.7 | 331.9667 | 3.0767 | 118.6467 | 3.3833 | 12.7767 | 24.43 | 880 | 96.3 | 0
2019-07-28 10:00:00 | 1.3933 | 96.4067 | 1.6067 | 105.9333 | 2.3233 | 129.0133 | 2.67 | 16.15 | 24.4233 | 880 | 95.7667 | 0
2019-07-28 10:15:00 | 1.9133 | 222.1633 | 2.2033 | 244.1333 | 2.96 | 66.4533 | 3.0733 | 22.4033 | 24.1867 | 880.8 | 96.9 | 0
2019-07-28 10:30:00 | 1.0667 | 130.8567 | 1.23 | 143.8 | 1.1333 | 167.1 | 0.72 | 140.4767 | 23.7733 | 881 | 98.6333 | 0
2019-07-28 10:45:00 | 0.53067 | 200.634 | 0.608 | 220.4667 | 0.61333 | 229.7 | 0.82067 | 236.22 | 23.5167 | 881 | 99.78 | 0
2019-07-28 11:00:00 | 0.19 | 302.67 | 0.22667 | 332.6 | 0.27333 | 335.4333 | 0.64333 | 353.2 | 23.4707 | 881 | 100 | 0
2019-07-28 11:15:00 | 0.37667 | 179.2433 | 0.43667 | 196.9667 | 0.5 | 249.2667 | 1.15 | 210.5 | 23.3047 | 881 | 100 | 0
2019-07-28 11:30:00 | 0.35667 | 126.59 | 0.42333 | 139.1 | 0.67333 | 180.6667 | 1.6567 | 187.8333 | 23.2607 | 881 | 100 | 0
2019-07-28 11:45:00 | 0.073333 | 98.7833 | 0.093333 | 108.5433 | 0.14333 | 114.9467 | 0.56333 | 116.2667 | 23.2827 | 881 | 100 | 0
2019-07-28 12:00:00 | 0.14 | 74.15 | 0.17333 | 81.4767 | 0.21 | 114.5933 | 0.84333 | 116.3333 | 23.334 | 881 | 100 | 0
2019-07-28 12:15:00 | 0.12533 | 97.1287 | 0.14933 | 106.7267 | 0.15933 | 129.2667 | 0.94933 | 144.6867 | 23.348 | 880.8 | 100 | 0
2019-07-28 12:30:00 | 0.83333 | 166.41 | 0.96333 | 182.8667 | 1.42 | 203.6333 | 2.02 | 199.9 | 23.2933 | 880 | 100 | 0
2019-07-28 12:45:00 | 0.39667 | 139.1133 | 0.46667 | 152.8667 | 0.76 | 220.4333 | 1.3633 | 205.8733 | 23.15 | 880.8667 | 100 | 0
2019-07-28 13:00:00 | 0.14333 | 161.9933 | 0.17333 | 178 | 0.16667 | 196.7667 | 1.3567 | 193.2333 | 23.07 | 881 | 100 | 0
2019-07-28 13:15:00 | 0.24667 | 137.2867 | 0.28667 | 150.85 | 0.41333 | 139.4967 | 0.8 | 148.8767 | 23.1267 | 880.2 | 100 | 0
2019-07-28 13:30:00 | 1.4067 | 204.1333 | 1.62 | 224.3167 | 2.36 | 232.2967 | 2.04 | 244.5433 | 23.174 | 880 | 100 | 0
2019-07-28 13:45:00 | 1.2 | 216.3633 | 1.3867 | 237.75 | 1.2433 | 231.0567 | 1.49 | 234.7567 | 23.162 | 880 | 100 | 0
2019-07-28 14:00:00 | 2.08 | 204.53 | 2.3933 | 224.75 | 2.4967 | 7.75 | 2.49 | 16.39 | 23.1347 | 880 | 100 | 0
2019-07-28 14:15:00 | 1.14 | 102.1167 | 1.3133 | 112.2133 | 0.86 | 119.0333 | 0.76667 | 22.9133 | 23.1347 | 880 | 100 | 0
2019-07-28 14:30:00 | 0.59333 | 291.8433 | 0.69333 | 320.7 | 0.02 | 355.5333 | 0 | 9.06 | 23.1093 | 880 | 100 | 0
2019-07-28 14:45:00 | 1.0467 | 315.5067 | 1.2067 | 346.7 | 1.2467 | 16.75 | 1.18 | 16.37 | 23.3967 | 879.2 | 100 | 0.26
2019-07-28 15:00:00 | 1.5667 | 314.4067 | 1.8 | 345.5 | 1.6267 | 239.0033 | 1.2467 | 11.0233 | 23.5967 | 879 | 100 | 0.48867
2019-07-28 15:15:00 | 1.9467 | 316.8933 | 2.2367 | 348.2333 | 2.11 | 231.3233 | 1.75 | 356.7867 | 23.74 | 879 | 100 | 0.092
2019-07-28 15:30:00 | 2.64 | 102.8333 | 3.0367 | 113 | 3.4567 | 235.3233 | 3.5233 | 119.0933 | 23.8133 | 879 | 100 | 0.17667
2019-07-28 15:45:00 | 2.3767 | 319.6867 | 2.74 | 351.3 | 2.74 | 356.38 | 2.97 | 238.0467 | 23.9633 | 879 | 100 | 0.46333
2019-07-28 16:00:00 | 1.6833 | 122.52 | 1.94 | 134.64 | 2.0733 | 127.7333 | 2.3633 | 8.0067 | 24.5633 | 879 | 99.5333 | 0.468
2019-07-28 16:15:00 | 1.96 | 320.9 | 2.2533 | 352.6333 | 2.45 | 18.7933 | 2.3833 | 12.1067 | 25.2 | 879.8 | 96.6333 | 0
2019-07-28 16:30:00 | 2.24 | 123.58 | 2.5733 | 135.8 | 3.5433 | 6.8067 | 3.43 | 6.58 | 25.5267 | 880 | 96.7 | 0.47667
2019-07-28 16:45:00 | 2.84 | 203.0767 | 3.2667 | 223.15 | 4.1833 | 8.3567 | 4.1333 | 2.2533 | 25.5133 | 880 | 94.5667 | 0.81733
2019-07-28 17:00:00 | 2.9933 | 214.05 | 3.4467 | 235.2167 | 3.5433 | 236.93 | 3.58 | 0.56667 | 24.9867 | 880 | 95.1667 | 0.61867
2019-07-28 17:15:00 | 1.88 | 312.86 | 2.1633 | 343.8 | 1.9633 | 349.1667 | 1.0267 | 249.45 | 24.874 | 879.8667 | 94.0333 | 2.0913
2019-07-28 17:30:00 | 0.84667 | 288.48 | 0.97 | 317 | 0.95667 | 233.9 | 1.3067 | 130.5833 | 25.1367 | 879 | 93.5667 | 2.0453
2019-07-28 17:45:00 | 0.57667 | 99.2233 | 0.66667 | 109.0333 | 0.36 | 307.8 | 0.6 | 204.1 | 25.2747 | 879 | 95.6 | 2.486
2019-07-28 18:00:00 | 0.51 | 297.6167 | 0.58667 | 327.0467 | 0.94667 | 245.2 | 1.5933 | 233.0333 | 25.3933 | 879 | 95.0467 | 1.516
2019-07-28 18:15:00 | 0.30933 | 261.2067 | 0.358 | 287.0333 | 0.52733 | 227.4267 | 0.914 | 211.2533 | 25.5893 | 879 | 95.48 | 1.0413
2019-07-28 18:30:00 | 0.49 | 268.4867 | 0.57 | 295.0333 | 0.37667 | 275.5667 | 1.0367 | 256.4 | 25.7013 | 879 | 95.5333 | 1.2733
2019-07-28 18:45:00 | 0.86 | 216.38 | 0.99 | 237.77 | 0.79333 | 195.7233 | 0.97 | 271.9467 | 25.65 | 879 | 95.2 | 1.7853
2019-07-28 19:00:00 | 0.96667 | 219.1067 | 1.11 | 240.77 | 0.70667 | 20.07 | 0.16333 | 264.9 | 25.6967 | 879 | 94.5333 | 1.3047
2019-07-28 19:15:00 | 0.64667 | 108.8467 | 0.75333 | 119.6 | 0.07 | 254.6667 | 0.16 | 260.6333 | 25.2533 | 879 | 95.0667 | 1.4053
2019-07-28 19:30:00 | 1.18 | 310.5 | 1.36 | 341.2 | 1.0433 | 90.12 | 0.67333 | 302.1 | 24.9267 | 879 | 96.3333 | 1.4833
2019-07-28 19:45:00 | 1.0567 | 309.5033 | 1.22 | 340.1 | 1.14 | 20.5033 | 0.18 | 120.0267 | 24.6767 | 879 | 96.5867 | 1.0247
2019-07-28 20:00:00 | 0.42333 | 296.8767 | 0.49333 | 326.2333 | 0.33333 | 19.4367 | 0.16 | 271.3 | 24.5433 | 879 | 95.9667 | 0.64533
2019-07-28 20:15:00 | 1.1933 | 213.8133 | 1.37 | 234.9633 | 1.2733 | 14.5767 | 0.45667 | 236.9233 | 24.5007 | 879 | 96.7333 | 0.43267
2019-07-28 20:30:00 | 1.9733 | 217.2133 | 2.27 | 238.6967 | 2.4867 | 11.3433 | 2.4167 | 35.2433 | 24.43 | 879 | 97.6667 | 0.33667
2019-07-28 20:45:00 | 2.4667 | 317.35 | 2.8433 | 348.7333 | 3.2833 | 26.1867 | 3.7667 | 28.3867 | 24.2887 | 879 | 98.2 | 0.382
2019-07-28 21:00:00 | 2.62 | 301.95 | 3.0167 | 331.8 | 3.2033 | 12.74 | 3.8867 | 37.12 | 24.2707 | 879 | 98.2667 | 1.1407
2019-07-28 21:15:00 | 2.46 | 114.21 | 2.8367 | 125.5 | 3.2467 | 16.2767 | 4.08 | 32.3 | 24.272 | 879 | 98.8333 | 1.9227
2019-07-28 21:30:00 | 2.68 | 324.05 | 3.0833 | 356.1 | 3.5667 | 23.63 | 4.62 | 31.4933 | 24.1933 | 879 | 99.1467 | 1.7853
2019-07-28 21:45:00 | 3.14 | 107.6867 | 3.6133 | 118.3333 | 3.97 | 15.2633 | 4.7467 | 18.5367 | 24.1793 | 879.1333 | 99.1 | 1.9833
2019-07-28 22:00:00 | 3.22 | 316.04 | 3.7 | 347.3 | 3.5367 | 2.7633 | 3.9867 | 17.8567 | 24.2233 | 880 | 99.2533 | 1.2527
2019-07-28 22:15:00 | 3.12 | 248.5527 | 3.59 | 273.1333 | 3.766 | 2.2993 | 4.2847 | 7.1493 | 24.3473 | 879.2 | 98.7067 | 1.7327
2019-07-28 22:30:00 | 3.2 | 223.1733 | 3.6833 | 245.2333 | 3.6433 | 9.0567 | 4 | 35.32 | 24.3113 | 879 | 99.0467 | 1.0393
2019-07-28 22:45:00 | 3.1033 | 297.5433 | 3.5667 | 326.9667 | 3.6067 | 163.84 | 3.6667 | 14.6933 | 24.2767 | 879 | 98.8333 | 0.23267
2019-07-28 23:00:00 | 3.35 | 313.6167 | 3.86 | 344.6333 | 4.3333 | 121.4467 | 4.34 | 3.9733 | 24.29 | 879 | 99.3667 | 0.26333
2019-07-28 23:15:00 | 3.6 | 95.77 | 4.1433 | 105.2333 | 4.8733 | 4.6033 | 4.8867 | 7.8867 | 24.3167 | 879 | 99.6 | 3.7333
2019-07-28 23:30:00 | 4.0867 | 304.7367 | 4.7033 | 334.8667 | 5.8 | 5.2167 | 5.84 | 14.7067 | 24.21 | 879 | 99.9333 | 4.6167
2019-07-28 23:45:00 | 3.6733 | 196.65 | 4.22 | 216.0867 | 6.06 | 8.7633 | 6.3833 | 13.5567 | 24.1047 | 879 | 100 | 6.9387