## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-29 00:00:00 | 3.055 | 130.3979 | 3.5086 | 143.2929 | 5.5493 | 8.3657 | 5.9136 | 8.7664 | 24.0314 | 879 | 100 | 1.8529
2019-07-29 00:15:00 | 3.0933 | 218.2267 | 3.56 | 239.8067 | 4.0133 | 6.9 | 4.5233 | 9.6867 | 23.94 | 879.6667 | 100 | 6.0867
2019-07-29 00:30:00 | 3.4267 | 44.66 | 3.9467 | 49.0733 | 5.5 | 5.6667 | 5.5967 | 20.6667 | 23.8813 | 879 | 100 | 3.6573
2019-07-29 00:45:00 | 2.9867 | 17.69 | 3.4333 | 19.4367 | 5.0833 | 14.2533 | 5.3133 | 29.9367 | 23.8333 | 879 | 100 | 6.9167
2019-07-29 01:00:00 | 2.8733 | 213.39 | 3.3067 | 234.4833 | 5.23 | 36.8067 | 4.9 | 35.9567 | 23.8007 | 879 | 100 | 3.97
2019-07-29 01:15:00 | 2.9 | 246.8267 | 3.3333 | 271.2333 | 4.73 | 129.1 | 5.1933 | 122.8867 | 23.762 | 879.1333 | 100 | 4.094
2019-07-29 01:30:00 | 7.4 | 224.8067 | 8.5133 | 247.0333 | 11.89 | 308.7333 | 14.26 | 298.0667 | 22.7667 | 879.5333 | 100 | 0
2019-07-29 01:45:00 | 7.22 | 280.8 | 8.31 | 308.5667 | 11.7167 | 286.9333 | 14.7567 | 292.4 | 21.1667 | 879 | 100 | 0
2019-07-29 02:00:00 | 4.2333 | 267.76 | 4.8767 | 294.2333 | 6.73 | 279.9333 | 8.07 | 277.4667 | 21.76 | 879 | 99.9533 | 0
2019-07-29 02:15:00 | 3.06 | 314.4967 | 3.5167 | 345.6 | 4.77 | 13.1033 | 4.2167 | 29.97 | 21.3 | 879 | 99.9133 | 0
2019-07-29 02:30:00 | 4.7667 | 107.2433 | 5.4833 | 117.8467 | 7.77 | 11.5033 | 7.97 | 23.4433 | 21.0133 | 879 | 100 | 0
2019-07-29 02:45:00 | 5.08 | 223.3067 | 5.8433 | 245.3967 | 7.4433 | 7.63 | 7.13 | 25.9333 | 21.17 | 878.8667 | 100 | 0
2019-07-29 03:00:00 | 5.24 | 62.42 | 6.0367 | 68.5967 | 8.9767 | 16.6233 | 8.63 | 27.9867 | 21.1793 | 878 | 100 | 0
2019-07-29 03:15:00 | 5.08 | 16.3067 | 5.84 | 17.92 | 8.62 | 128.6067 | 8.9733 | 22.91 | 21.2573 | 878.8 | 100 | 0
2019-07-29 03:30:00 | 4.36 | 13.5 | 5.0133 | 14.8267 | 7.4133 | 127.8467 | 8.1333 | 20.8033 | 21.2307 | 879 | 100 | 0
2019-07-29 03:45:00 | 3.9267 | 29.12 | 4.5267 | 31.9967 | 6.1767 | 121.4933 | 6.46 | 30.9067 | 21.2027 | 879 | 100 | 0
2019-07-29 04:00:00 | 3.7333 | 207.5467 | 4.3 | 228.0633 | 5.4633 | 353.4 | 5.8533 | 29.9667 | 21.1853 | 878.5333 | 100 | 0
2019-07-29 04:15:00 | 3.5467 | 281.9533 | 4.0767 | 309.8333 | 5.29 | 352.2333 | 5.2433 | 18.1867 | 21.16 | 878 | 100 | 0
2019-07-29 04:30:00 | 3.6267 | 129.1067 | 4.1767 | 141.8733 | 5.8433 | 355.7667 | 5.9833 | 31.9267 | 21.116 | 878 | 100 | 0
2019-07-29 04:45:00 | 3.1 | 41.2367 | 3.5667 | 45.3067 | 5.7467 | 226.93 | 5.86 | 236.6833 | 21.1 | 878 | 100 | 0
2019-07-29 05:00:00 | 2.0533 | 201.29 | 2.36 | 221.2 | 3.4733 | 7.2033 | 3.7867 | 8.1633 | 21.114 | 878.4667 | 100 | 0
2019-07-29 05:15:00 | 1.5867 | 191.1333 | 1.83 | 210.0333 | 2.08 | 217.6333 | 1.8567 | 221.1667 | 21.174 | 879.1333 | 100 | 0
2019-07-29 05:30:00 | 2.2133 | 58.3067 | 2.5567 | 64.0667 | 3.2733 | 308.5667 | 3.7167 | 82.1133 | 21.22 | 879.5333 | 100 | 0
2019-07-29 05:45:00 | 1.94 | 105.9367 | 2.2333 | 116.4067 | 3.6767 | 11.61 | 3.9533 | 19.0833 | 21.22 | 879.1333 | 100 | 0
2019-07-29 06:00:00 | 1.5333 | 111.4033 | 1.7667 | 122.4133 | 2.8233 | 10.91 | 3.1067 | 11.31 | 21.2247 | 880 | 100 | 0
2019-07-29 06:15:00 | 1.7333 | 192.21 | 1.9933 | 211.2167 | 3.3267 | 8.9133 | 4.2567 | 10.4067 | 21.2487 | 880 | 100 | 0
2019-07-29 06:30:00 | 3.1667 | 176.13 | 3.64 | 193.55 | 5.58 | 225.4933 | 6.0767 | 11.3467 | 21.2607 | 880.4667 | 100 | 0
2019-07-29 06:45:00 | 2.2033 | 196.2333 | 2.5333 | 215.6333 | 3.6333 | 123.4933 | 4.3733 | 12.8533 | 21.2513 | 881 | 100 | 0
2019-07-29 07:00:00 | 1.2567 | 218.8533 | 1.4533 | 240.5 | 2.1267 | 303.5 | 2.5133 | 195.12 | 21.274 | 881 | 100 | 0
2019-07-29 07:15:00 | 1.0813 | 46.944 | 1.2513 | 51.5773 | 1.9553 | 185.42 | 2.0727 | 221.4233 | 21.322 | 881.8 | 100 | 6.11
2019-07-29 07:30:00 | 2.7933 | 219.7067 | 3.2233 | 241.4333 | 5.3233 | 32.08 | 5.4233 | 28.0633 | 21.33 | 882 | 100 | 15.2947
2019-07-29 07:45:00 | 4.492 | 231.2467 | 5.1787 | 254.1133 | 7.7827 | 32.4467 | 8.61 | 38.9267 | 20.88 | 882.8 | 100 | 24.108
2019-07-29 08:00:00 | 4.18 | 188.96 | 4.8133 | 207.6467 | 7.3567 | 10.9233 | 7.8933 | 23.9533 | 20.11 | 883 | 100 | 29.4327
2019-07-29 08:15:00 | 5.42 | 207.7833 | 6.2433 | 228.3233 | 9.97 | 14.3167 | 10.6033 | 20.4933 | 19.4733 | 883 | 100 | 37.0087
2019-07-29 08:30:00 | 6.1467 | 114.23 | 7.07 | 125.5233 | 11.17 | 11.01 | 11.89 | 21.8533 | 19.1933 | 883 | 100 | 37.5287
2019-07-29 08:45:00 | 6.584 | 84.286 | 7.5867 | 92.6167 | 11.9087 | 20.8727 | 11.7847 | 23.1667 | 19.1267 | 883 | 100 | 38.6273
2019-07-29 09:00:00 | 6.2267 | 121.87 | 7.1767 | 133.9167 | 11.4133 | 16.6133 | 11.9033 | 24.3333 | 19.106 | 883 | 100 | 39.57
2019-07-29 09:15:00 | 6.7413 | 93.01 | 7.7513 | 102.2 | 12.0633 | 1.2333 | 12.0433 | 18.5133 | 19.02 | 883 | 100 | 39.4907
2019-07-29 09:30:00 | 7.2233 | 125.3433 | 8.3133 | 137.7333 | 12.63 | 6.66 | 12.3633 | 18.46 | 18.9533 | 883 | 100 | 41.3947
2019-07-29 09:45:00 | 7.7067 | 109.78 | 8.8667 | 120.6333 | 13.76 | 14.7267 | 13.4833 | 12.8533 | 18.92 | 882.3333 | 100 | 39.1733
2019-07-29 10:00:00 | 7.015 | 199.435 | 8.065 | 219.15 | 12.57 | 13.27 | 12.525 | 16.025 | 18.982 | 883 | 100 | 38.169
2019-07-29 10:15:00 | 6.7867 | 236.97 | 7.81 | 260.4033 | 12.5067 | 14.3333 | 12.3467 | 15.6033 | 18.9893 | 883 | 100 | 36.9053
2019-07-29 10:30:00 | 6.8933 | 40.57 | 7.9367 | 44.5833 | 12.98 | 13.02 | 12.6333 | 17.97 | 19.0567 | 883 | 100 | 38.546
2019-07-29 10:45:00 | 8.08 | 232.6533 | 9.3 | 255.6667 | 14.9267 | 19.7167 | 14.93 | 17.8667 | 19.0487 | 882.2 | 100 | 39.3387
2019-07-29 11:00:00 | 9.68 | 214.5267 | 11.14 | 235.7333 | 17.5533 | 18.2767 | 17.5633 | 19.4733 | 19.02 | 881.5333 | 100 | 37.6227
2019-07-29 11:15:00 | 9.96 | 123.69 | 11.4533 | 135.92 | 17.7133 | 19.6733 | 17.68 | 22.5 | 19.1067 | 881 | 100 | 41.4333
2019-07-29 11:30:00 | 8.2133 | 105.7033 | 9.4533 | 116.16 | 14.66 | 12.1733 | 14.6067 | 32.9067 | 19.2667 | 881 | 100 | 42.1167
2019-07-29 11:45:00 | 7.66 | 223.7967 | 8.82 | 245.9333 | 13.4267 | 12.8733 | 13.48 | 17.2133 | 19.6067 | 881 | 100 | 40.7513
2019-07-29 12:00:00 | 7.9533 | 182.13 | 9.1467 | 200.1333 | 13.9333 | 11.9 | 13.9867 | 16.2867 | 19.734 | 881 | 100 | 40.7487
2019-07-29 12:15:00 | 7.6467 | 220.3133 | 8.79 | 242.1 | 14.0367 | 12.1333 | 14.23 | 19.91 | 19.9267 | 881.1333 | 100 | 40.1633
2019-07-29 12:30:00 | 7.2867 | 68.82 | 8.39 | 75.62 | 13.4167 | 11.18 | 13.7967 | 28.29 | 20.2533 | 882 | 100 | 40.5813
2019-07-29 12:45:00 | 7.7033 | 270.3 | 8.86 | 297.0333 | 13.6967 | 22.1733 | 14.58 | 37.1333 | 20.3267 | 882 | 100 | 39.314
2019-07-29 13:00:00 | 8.35 | 83.1267 | 9.6067 | 91.3467 | 14.6433 | 29.98 | 15.6867 | 31.8667 | 20.3133 | 882 | 100 | 39.7
2019-07-29 13:15:00 | 8.1733 | 212.58 | 9.4 | 233.6 | 14.2667 | 30.4033 | 15.6333 | 41.1967 | 20.8833 | 882 | 98.2333 | 39.5013
2019-07-29 13:30:00 | 7.9867 | 83.3733 | 9.1867 | 91.62 | 13.92 | 27.6633 | 15.62 | 39.3967 | 21.67 | 882 | 94.1667 | 38.0773
2019-07-29 13:45:00 | 7.44 | 214.9867 | 8.5567 | 236.24 | 13.0333 | 32.3867 | 14.3427 | 38.5433 | 22.1633 | 882.1333 | 90.1667 | 37.1327
2019-07-29 14:00:00 | 7.5107 | 13.6733 | 8.63 | 15.0133 | 13.2267 | 34.2667 | 14.0333 | 41.8167 | 22.3033 | 883 | 88.7667 | 38.5967
2019-07-29 14:15:00 | 6.98 | 144.4833 | 8.0333 | 158.7633 | 12.67 | 15.14 | 12.8633 | 23.78 | 22.5233 | 882.8667 | 91.3 | 36.4927
2019-07-29 14:30:00 | 6.3133 | 137.69 | 7.2667 | 151.2967 | 11.4967 | 12.8733 | 11.8633 | 22.7467 | 22.6967 | 882.4667 | 90.9467 | 31.892
2019-07-29 14:45:00 | 5.7267 | 195.1 | 6.5833 | 214.4 | 10.7067 | 12.99 | 10.7833 | 24.0367 | 22.7273 | 883 | 91.0333 | 32.3047
2019-07-29 15:00:00 | 5.88 | 251.7667 | 6.77 | 276.6667 | 11.1933 | 16.6367 | 11.2233 | 22.03 | 22.696 | 882.5333 | 91.3 | 32.2213
2019-07-29 15:15:00 | 6.1033 | 130.2267 | 7.02 | 143.11 | 11.2167 | 18.4 | 11.5933 | 22.8333 | 22.496 | 882 | 90.2667 | 25.2427
2019-07-29 15:30:00 | 5.77 | 153.5867 | 6.6333 | 168.7767 | 10.7033 | 16.94 | 11.62 | 20.8267 | 22.6033 | 882 | 89.2667 | 27.604
2019-07-29 15:45:00 | 5.7387 | 37.1753 | 6.6107 | 40.8427 | 10.8327 | 14.7607 | 11.4813 | 26.376 | 22.5847 | 882 | 90.4533 | 24.3693
2019-07-29 16:00:00 | 5.54 | 130.3667 | 6.37 | 143.2567 | 10.4567 | 8.4867 | 10.8833 | 24.9867 | 22.17 | 882 | 91.1333 | 17.0033
2019-07-29 16:15:00 | 4.6 | 63.3367 | 5.3 | 69.6 | 8.65 | 16.89 | 9.1033 | 30.22 | 21.8467 | 882 | 91.1 | 11.6993
2019-07-29 16:30:00 | 4.4067 | 169.2367 | 5.0733 | 185.9667 | 8.1233 | 19.79 | 8.19 | 17.1667 | 21.7507 | 882 | 90.1 | 12.596
2019-07-29 16:45:00 | 4.4133 | 182.4633 | 5.0767 | 200.5 | 8.0233 | 237.83 | 7.5333 | 12.2533 | 21.7347 | 882 | 90.1133 | 10.5047
2019-07-29 17:00:00 | 4.3333 | 250.59 | 4.99 | 275.3667 | 7.7167 | 3.2967 | 7.3067 | 9.6933 | 21.7333 | 882 | 90.0667 | 10.8673
2019-07-29 17:15:00 | 4.6467 | 252.2867 | 5.3433 | 277.2333 | 8.1467 | 120.8 | 7.8133 | 5.3433 | 21.9533 | 882 | 88.3667 | 13.894
2019-07-29 17:30:00 | 4.6067 | 116.4867 | 5.2967 | 128 | 7.7733 | 120.8333 | 7.7067 | 1.8433 | 22.0867 | 882 | 88.0333 | 13.95
2019-07-29 17:45:00 | 4.2333 | 281.28 | 4.87 | 309.1 | 7.4867 | 119.92 | 7.5067 | 15.6667 | 22.0387 | 882 | 88.5 | 10.0087
2019-07-29 18:00:00 | 3.6067 | 107.8733 | 4.1433 | 118.54 | 6.5467 | 116.26 | 6.58 | 17.66 | 22.0347 | 882 | 89.3667 | 8.0593
2019-07-29 18:15:00 | 3.15 | 322.428 | 3.63 | 354.32 | 5.4733 | 2.71 | 5.33 | 1.6667 | 22.062 | 882 | 89.3667 | 8.5127
2019-07-29 18:30:00 | 3.116 | 297.936 | 3.582 | 327.4 | 5.234 | 214.38 | 5.162 | 6.14 | 22.134 | 882 | 89.42 | 8.3993
2019-07-29 18:45:00 | 3.0167 | 95.77 | 3.47 | 105.2333 | 5.19 | 14.17 | 5.2633 | 12.9233 | 22.1387 | 882 | 88.2 | 7.93
2019-07-29 19:00:00 | 2.9167 | 95.77 | 3.3567 | 105.2333 | 4.9367 | 7.8233 | 5.2233 | 18.01 | 22.0507 | 882 | 87.8 | 6.6847
2019-07-29 19:15:00 | 2.56 | 86.1933 | 2.9533 | 94.72 | 4.5833 | 9.1067 | 5.0533 | 17.2567 | 21.9 | 882 | 88.3667 | 9.5373
2019-07-29 19:30:00 | 2.7333 | 291.4467 | 3.14 | 320.2667 | 4.9167 | 8.0333 | 5.2133 | 13.37 | 21.7267 | 882 | 89.7667 | 14.444
2019-07-29 19:45:00 | 3.34 | 48.5267 | 3.84 | 53.3267 | 6.0567 | 6.7733 | 5.9233 | 11.88 | 21.49 | 882 | 91.2667 | 18.0747
2019-07-29 20:00:00 | 3.5533 | 238.8733 | 4.0867 | 262.5 | 6.69 | 9.46 | 6.9033 | 16.7733 | 21.3367 | 882 | 92.8667 | 20.9993
2019-07-29 20:15:00 | 4.04 | 319.1633 | 4.6533 | 350.7333 | 7.39 | 11.3533 | 7.4733 | 15.0967 | 21.176 | 882 | 94.2 | 21.138
2019-07-29 20:30:00 | 4.2733 | 129.0367 | 4.92 | 141.7933 | 7.69 | 13.4933 | 7.9667 | 16.0233 | 21.1033 | 882 | 95.0667 | 25.2527
2019-07-29 20:45:00 | 4.62 | 220.5933 | 5.31 | 242.4 | 7.8767 | 8.0233 | 7.7367 | 9.7767 | 21.078 | 882 | 95.6667 | 26.418
2019-07-29 21:00:00 | 4.8333 | 21.86 | 5.5567 | 24.0133 | 7.8633 | 17.27 | 7.8367 | 16.65 | 21.1347 | 882 | 95.6 | 28.5607
2019-07-29 21:15:00 | 5.1267 | 34.0233 | 5.9067 | 37.3867 | 9.08 | 120.1133 | 9.2533 | 15.49 | 21.1067 | 882 | 96.3333 | 27.9127
2019-07-29 21:30:00 | 4.98 | 227.69 | 5.7333 | 250.2 | 9.32 | 117.1133 | 9.3333 | 13.2167 | 20.9733 | 882 | 97.5333 | 27.206
2019-07-29 21:45:00 | 4.8133 | 169.87 | 5.5433 | 186.6667 | 9 | 14.92 | 8.9267 | 21.5867 | 20.856 | 882 | 97.68 | 27.7827
2019-07-29 22:00:00 | 5.0267 | 98.7967 | 5.7833 | 108.5533 | 9.3333 | 10.58 | 9.26 | 17.44 | 20.8207 | 882 | 97.1 | 30.376
2019-07-29 22:15:00 | 5.58 | 124.7267 | 6.42 | 137.06 | 10.22 | 10.27 | 10.17 | 14.7567 | 20.786 | 882 | 96.8533 | 30.4767
2019-07-29 22:30:00 | 5.5 | 212.2133 | 6.3267 | 233.1933 | 9.7467 | 1.43 | 9.8567 | 242.2567 | 20.86 | 882 | 96.0333 | 30.8767
2019-07-29 22:45:00 | 5.68 | 106.9267 | 6.5433 | 117.5 | 9.8533 | 6.13 | 9.9133 | 13.8767 | 20.8667 | 882.8 | 95.3533 | 29.39
2019-07-29 23:00:00 | 5.48 | 288.4733 | 6.3167 | 317 | 9.68 | 13.6967 | 9.84 | 15.2367 | 20.9047 | 883 | 94.8 | 24.858
2019-07-29 23:15:00 | 4.3667 | 145.2467 | 5.0233 | 159.6067 | 7.4167 | 241.63 | 7.54 | 9.52 | 20.8033 | 883 | 95.6667 | 24.2373
2019-07-29 23:30:00 | 4.1333 | 311.7067 | 4.7567 | 342.5333 | 7.6233 | 9.0767 | 7.6 | 13.2133 | 20.65 | 883 | 96.8 | 23.5287
2019-07-29 23:45:00 | 4.4233 | 138.79 | 5.09 | 152.5133 | 6.56 | 15.9567 | 6.3933 | 6.7367 | 20.59 | 883 | 96.58 | 24.0213