## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-30 00:00:00 | 4.9043 | 133.3943 | 5.6457 | 146.5857 | 6.8971 | 9.17 | 6.9443 | 15.7507 | 20.8264 | 883 | 94.95 | 26.1007
2019-07-30 00:15:00 | 4.7867 | 304.6933 | 5.5033 | 334.8333 | 7.83 | 11.4033 | 8.04 | 18.1467 | 20.78 | 883 | 94.9333 | 29.5207
2019-07-30 00:30:00 | 5.4533 | 95.4667 | 6.27 | 104.9133 | 9.1967 | 2.6433 | 9.4067 | 8.44 | 20.5933 | 883 | 95.7333 | 30.0247
2019-07-30 00:45:00 | 5.3533 | 195.1767 | 6.1633 | 214.4667 | 9.49 | 0.15 | 9.76 | 10.0133 | 20.4067 | 882.2 | 96.3133 | 28.908
2019-07-30 01:00:00 | 5.3133 | 198.75 | 6.1233 | 218.4 | 8.91 | 0.15 | 8.8933 | 9.38 | 20.3067 | 882 | 97.2 | 29.148
2019-07-30 01:15:00 | 5.6333 | 303.8833 | 6.4833 | 333.9333 | 8.9233 | 352.5667 | 8.7333 | 5.1033 | 20.2907 | 882 | 97.28 | 29.388
2019-07-30 01:30:00 | 5.46 | 111.27 | 6.29 | 122.2667 | 8.47 | 129.9733 | 8.52 | 7.7967 | 20.4533 | 882 | 96.4333 | 28.7987
2019-07-30 01:45:00 | 5.04 | 247.2467 | 5.8 | 271.7 | 8.68 | 5.5167 | 8.3567 | 23.7367 | 20.36 | 882 | 97.2667 | 28.2147
2019-07-30 02:00:00 | 5.0333 | 276.6733 | 5.8 | 304.0333 | 8.8667 | 7.9433 | 8.85 | 25.27 | 20.266 | 882 | 97.7333 | 26.3493
2019-07-30 02:15:00 | 4.63 | 198.4767 | 5.3267 | 218.1 | 8.1767 | 7.6633 | 8.1333 | 10.1167 | 20.19 | 882 | 97.8933 | 26.166
2019-07-30 02:30:00 | 4.73 | 234.1433 | 5.44 | 257.3 | 7.8033 | 3.2767 | 7.9733 | 4.1033 | 20.2233 | 882 | 97.9533 | 27.1927
2019-07-30 02:45:00 | 5.0367 | 117.3267 | 5.79 | 128.92 | 8.6967 | 16.6867 | 8.8613 | 123.3667 | 20.2567 | 882 | 97.8333 | 27.4513
2019-07-30 03:00:00 | 4.8367 | 257.26 | 5.57 | 282.7 | 8.7167 | 22.1133 | 8.6567 | 126.5133 | 20.23 | 882 | 98.1 | 29.138
2019-07-30 03:15:00 | 5.3133 | 311.1567 | 6.1133 | 341.9333 | 8.5467 | 113.1333 | 8.8 | 7.1433 | 20.104 | 882 | 98.7 | 28.4833
2019-07-30 03:30:00 | 5.4933 | 117.09 | 6.32 | 128.6667 | 8.54 | 113.1333 | 8.78 | 10.53 | 20.1767 | 882 | 98.2333 | 25.2053
2019-07-30 03:45:00 | 4.7833 | 160.4367 | 5.5033 | 176.3 | 7.7267 | 4.5 | 7.8167 | 3.97 | 20.1493 | 882 | 98.2667 | 25.8247
2019-07-30 04:00:00 | 4.8167 | 114.1633 | 5.55 | 125.4533 | 7.4267 | 233.5533 | 7.51 | 32.99 | 20.05 | 881.5333 | 98.7333 | 26.194
2019-07-30 04:15:00 | 4.98 | 103.84 | 5.7267 | 114.1067 | 8.2033 | 248.5167 | 8.3433 | 9.49 | 19.9907 | 881 | 99.0133 | 28.4593
2019-07-30 04:30:00 | 5.152 | 128.268 | 5.928 | 140.942 | 8.322 | 25.69 | 8.774 | 6.986 | 19.9307 | 881 | 99.42 | 28.9933
2019-07-30 04:45:00 | 5.6333 | 189.4867 | 6.4767 | 208.2167 | 8.9733 | 11.68 | 8.98 | 18.03 | 19.892 | 881 | 99.8667 | 28.658
2019-07-30 05:00:00 | 5.5667 | 206.1667 | 6.4033 | 226.55 | 8.3867 | 15.3267 | 8.2553 | 17.89 | 19.86 | 881 | 100 | 28.9693
2019-07-30 05:15:00 | 5.7033 | 322.6233 | 6.5667 | 354.5333 | 8.83 | 12.3767 | 9.11 | 37.51 | 19.868 | 881 | 100 | 29.1013
2019-07-30 05:30:00 | 5.29 | 141.41 | 6.0867 | 155.3867 | 9.3233 | 8.0167 | 10.03 | 16.73 | 19.8607 | 881 | 100 | 29.7207
2019-07-30 05:45:00 | 5.12 | 129.6733 | 5.89 | 142.5 | 8.9467 | 119.6067 | 9.8967 | 14.5967 | 19.8413 | 881 | 100 | 29.5773
2019-07-30 06:00:00 | 5.2067 | 129.86 | 5.9833 | 142.7 | 9.2333 | 121.4733 | 10.13 | 10.95 | 19.77 | 881 | 100 | 29.6093
2019-07-30 06:15:00 | 5.1333 | 267.6567 | 5.9 | 294.1333 | 9.2433 | 7.6733 | 9.7567 | 11.5767 | 19.686 | 881 | 100 | 29.2533
2019-07-30 06:30:00 | 5.1867 | 291.3233 | 5.9667 | 320.1333 | 9.03 | 237.5067 | 9.1853 | 9.5033 | 19.6333 | 881 | 100 | 26.9987
2019-07-30 06:45:00 | 4.8267 | 222.2633 | 5.5567 | 244.2467 | 7.77 | 119.26 | 8.2867 | 11.82 | 19.6373 | 881 | 100 | 22.76
2019-07-30 07:00:00 | 4.58 | 144.91 | 5.2767 | 159.2467 | 7.57 | 340.6333 | 7.68 | 19.92 | 19.7033 | 881 | 100 | 21.016
2019-07-30 07:15:00 | 4.246 | 23.1433 | 4.882 | 25.4273 | 6.9007 | 32.752 | 7.0773 | 9.4953 | 20.0787 | 881.8 | 100 | 20.19
2019-07-30 07:30:00 | 3.7633 | 26.0333 | 4.3367 | 28.5967 | 6.2833 | 15.28 | 6.76 | 12.33 | 20.5867 | 882 | 99.6 | 19.7547
2019-07-30 07:45:00 | 3.7867 | 293.99 | 4.3567 | 323.0667 | 6.4833 | 9.6067 | 7.1767 | 14.3133 | 21.3967 | 882.1333 | 96.6667 | 21.2533
2019-07-30 08:00:00 | 4.3333 | 288.05 | 4.9833 | 316.5333 | 7.1167 | 5.12 | 7.9167 | 11.1733 | 21.9967 | 883 | 93.2667 | 20.9387
2019-07-30 08:15:00 | 4.4367 | 300.0633 | 5.1033 | 329.7333 | 7.68 | 4.73 | 8.2 | 9.22 | 21.8 | 883 | 94.1667 | 18.1667
2019-07-30 08:30:00 | 3.8967 | 280.71 | 4.4833 | 308.4667 | 6.3067 | 230.8767 | 6.8133 | 13.3 | 22.16 | 883 | 93.2333 | 11.9807
2019-07-30 08:45:00 | 3.5333 | 310.4 | 4.0633 | 341.1 | 5.73 | 127.42 | 6.17 | 16.26 | 22.28 | 883.1333 | 91.9333 | 8.5847
2019-07-30 09:00:00 | 4 | 101.72 | 4.6033 | 111.78 | 6.41 | 121.8467 | 6.7633 | 19.44 | 22.9267 | 884 | 90.6 | 7.626
2019-07-30 09:15:00 | 3.24 | 227.806 | 3.738 | 250.332 | 5.852 | 77.968 | 6.176 | 18.308 | 23.6253 | 884.1333 | 88.44 | 4.6893
2019-07-30 09:30:00 | 2.6867 | 166.31 | 3.09 | 182.7533 | 4.78 | 126.1867 | 5.3067 | 20.2333 | 23.7 | 885 | 87.9333 | 3.216
2019-07-30 09:45:00 | 2.2933 | 102.5867 | 2.64 | 112.7333 | 4.3433 | 13.5867 | 4.8467 | 27.2633 | 24.0533 | 885 | 87.8667 | 1.4813
2019-07-30 10:00:00 | 1.9467 | 176.0933 | 2.2467 | 193.5 | 3.71 | 16.3933 | 4.1267 | 21.4633 | 24.3533 | 885 | 86.5333 | 0.26333
2019-07-30 10:15:00 | 1.5733 | 108.1667 | 1.81 | 118.86 | 2.3833 | 14.8867 | 2.84 | 35.9533 | 24.22 | 885 | 84.5333 | 0
2019-07-30 10:30:00 | 1.46 | 117.16 | 1.6833 | 128.74 | 1.9433 | 41.7933 | 1.94 | 19.8 | 24.166 | 885.4667 | 84.8667 | 0
2019-07-30 10:45:00 | 0.89 | 109.3033 | 1.0333 | 120.1067 | 1.09 | 33.5833 | 0.22333 | 139.1867 | 24.32 | 886 | 84.2 | 0
2019-07-30 11:00:00 | 0.98333 | 192.5233 | 1.1267 | 211.5667 | 1.0967 | 122.55 | 0.72333 | 166.7333 | 24.9133 | 886 | 85 | 0
2019-07-30 11:15:00 | 0.89333 | 143.87 | 1.03 | 158.1 | 1.1233 | 188.2667 | 0.74333 | 196.9667 | 26.5367 | 886 | 81.2533 | 0
2019-07-30 11:30:00 | 1.3467 | 118.6967 | 1.5567 | 130.4333 | 1.69 | 151.2933 | 1.2767 | 144.5 | 27.4567 | 886 | 78.2867 | 0
2019-07-30 11:45:00 | 1.6467 | 120.01 | 1.9033 | 131.8667 | 1.7 | 132.2333 | 1.5367 | 156.0667 | 27.0667 | 886 | 78.45 | 0
2019-07-30 12:00:00 | 2.2467 | 111.9367 | 2.5833 | 123 | 2.5933 | 166.6333 | 2.31 | 198.2667 | 27.1133 | 886 | 79.6413 | 0
2019-07-30 12:15:00 | 2.4267 | 129.56 | 2.79 | 142.3667 | 2.7667 | 187.6667 | 2.5533 | 186.9667 | 27.1247 | 886 | 78.71 | 0
2019-07-30 12:30:00 | 1.9933 | 115.6067 | 2.29 | 127.0333 | 2.22 | 179.8 | 1.78 | 176.7667 | 27.29 | 886 | 76.9367 | 0
2019-07-30 12:45:00 | 2.7273 | 179.768 | 3.136 | 197.54 | 3.112 | 178.1133 | 2.7427 | 194.04 | 27.17 | 886 | 77.0607 | 0
2019-07-30 13:00:00 | 3.27 | 175.3933 | 3.7633 | 192.7333 | 3.7 | 192.6 | 3.53 | 193.9 | 27.0833 | 886 | 77.3433 | 0
2019-07-30 13:15:00 | 3.0567 | 131.8333 | 3.5233 | 144.8667 | 3.6633 | 154 | 3.6233 | 180.3667 | 27.2 | 886 | 79.2667 | 0.058667
2019-07-30 13:30:00 | 3.2433 | 179.88 | 3.73 | 197.6667 | 3.7633 | 174.0667 | 3.59 | 169.5 | 27.3147 | 886 | 77.7533 | 0
2019-07-30 13:45:00 | 2.88 | 162.8067 | 3.31 | 178.9 | 3.6833 | 187.7 | 3.76 | 194.7333 | 27.5967 | 886 | 77.3667 | 0.099333
2019-07-30 14:00:00 | 2.5467 | 136.42 | 2.9367 | 149.9 | 3.2967 | 150.7 | 3.3467 | 187 | 28.0367 | 885.5333 | 75.5 | 0
2019-07-30 14:15:00 | 2.42 | 133.5033 | 2.7867 | 146.7 | 3.1933 | 173.1667 | 3.0333 | 218.7333 | 28.3733 | 885 | 73.1633 | 0
2019-07-30 14:30:00 | 2.68 | 167.41 | 3.08 | 183.9667 | 3.3933 | 167.4333 | 3.46 | 170.3333 | 28.4447 | 885 | 73.7033 | 0.004
2019-07-30 14:45:00 | 2.7867 | 122.6333 | 3.2067 | 134.7667 | 3.34 | 153.4667 | 3.2667 | 177.46 | 28.4 | 885 | 73.79 | 0
2019-07-30 15:00:00 | 2.7467 | 147.3867 | 3.16 | 161.9667 | 3.4867 | 195.3333 | 3.3667 | 207.6333 | 28.74 | 885 | 72.91 | 0
2019-07-30 15:15:00 | 2.6067 | 128.29 | 2.9967 | 140.9667 | 3.4913 | 178.7 | 3.3 | 192.8333 | 29.08 | 885 | 71.8567 | 0
2019-07-30 15:30:00 | 2.2 | 170.0833 | 2.53 | 186.9 | 2.92 | 232.3 | 3.2667 | 225.1667 | 29.5 | 885 | 69.9633 | 0
2019-07-30 15:45:00 | 2.32 | 166.5267 | 2.6667 | 183 | 2.95 | 221.1 | 2.9167 | 228.9667 | 29.63 | 885 | 70.1333 | 0
2019-07-30 16:00:00 | 2.3867 | 153.4333 | 2.7533 | 168.6 | 3.07 | 209.5 | 2.9433 | 205.8333 | 29.99 | 885 | 69.3267 | 0
2019-07-30 16:15:00 | 2.7267 | 162.5 | 3.1333 | 178.5667 | 3.3067 | 171.0333 | 3.12 | 177.4667 | 29.74 | 885 | 69.4733 | 0
2019-07-30 16:30:00 | 2.7733 | 135.2667 | 3.1867 | 148.6333 | 3.42 | 170.9667 | 3.3733 | 174.8667 | 29.3733 | 884.5333 | 71.1133 | 0
2019-07-30 16:45:00 | 2.0733 | 172.2967 | 2.3867 | 189.3333 | 2.69 | 211.7333 | 2.8 | 228.2 | 30.12 | 884 | 69.8633 | 0
2019-07-30 17:00:00 | 2.4667 | 173.5767 | 2.84 | 190.7333 | 3.09 | 199.6 | 3.1133 | 218.1333 | 30.2867 | 884 | 68.5233 | 0
2019-07-30 17:15:00 | 2.4733 | 146.54 | 2.85 | 161.0333 | 3.2733 | 221.8667 | 3.41 | 224.1333 | 29.8067 | 884 | 70.296 | 0
2019-07-30 17:30:00 | 2.5133 | 125.2533 | 2.89 | 137.6333 | 3.4267 | 206.5333 | 3.4233 | 210.8 | 29.5133 | 884 | 70.8733 | 0
2019-07-30 17:45:00 | 2.56 | 171.2933 | 2.9433 | 188.2333 | 3.3933 | 226.6667 | 3.2367 | 228.6667 | 29.5073 | 884 | 70.5493 | 0
2019-07-30 18:00:00 | 2.6 | 174.0267 | 2.99 | 191.2333 | 3.6133 | 219.0667 | 3.51 | 223.1333 | 29.4713 | 884 | 70.4753 | 0.11333
2019-07-30 18:15:00 | 2.75 | 159.04 | 3.17 | 174.7667 | 3.9213 | 219.6333 | 3.84 | 225.6333 | 29.1733 | 884 | 70.9167 | 1.1873
2019-07-30 18:30:00 | 2.6967 | 147.76 | 3.11 | 162.3667 | 3.83 | 213.3 | 3.84 | 223.2333 | 28.8267 | 884 | 72.03 | 1.702
2019-07-30 18:45:00 | 2.6867 | 175.5133 | 3.0967 | 192.8667 | 3.7567 | 209.1667 | 3.8967 | 218.1667 | 28.2833 | 884 | 73.2167 | 1.676
2019-07-30 19:00:00 | 2.8267 | 141.4867 | 3.2567 | 155.4667 | 3.89 | 214.3 | 4.1767 | 224.8333 | 27.5633 | 884 | 75.4767 | 1.5707
2019-07-30 19:15:00 | 2.82 | 183.6667 | 3.25 | 201.8333 | 3.8367 | 224.6 | 4.1833 | 221.3667 | 26.8467 | 883.2 | 78.23 | 1.9833
2019-07-30 19:30:00 | 2.9133 | 175.3067 | 3.3633 | 192.6333 | 4.0433 | 218.2667 | 4.41 | 221.2333 | 26.6067 | 883 | 79.33 | 2.2447
2019-07-30 19:45:00 | 3.0533 | 171.9967 | 3.51 | 189 | 4.1367 | 231.3333 | 4.52 | 230.4333 | 26.4033 | 883 | 80.9333 | 5.47
2019-07-30 20:00:00 | 4.02 | 167.3233 | 4.6233 | 183.8667 | 5.37 | 235.1333 | 5.3067 | 235.9 | 26.1633 | 883 | 83.2 | 8.0633
2019-07-30 20:15:00 | 4.2 | 168.7833 | 4.8367 | 185.4667 | 5.7847 | 228.9 | 6.2333 | 225 | 25.61 | 883 | 86.4333 | 9.6607
2019-07-30 20:30:00 | 4.2 | 178.7233 | 4.8367 | 196.4 | 5.86 | 218.5667 | 6.54 | 226.6667 | 25.2033 | 883 | 88.0333 | 7.538
2019-07-30 20:45:00 | 4.3667 | 153.6467 | 5.0333 | 168.8333 | 5.9767 | 211.7667 | 6.4967 | 220.9333 | 24.8 | 883 | 89.5333 | 7.7947
2019-07-30 21:00:00 | 4.58 | 172.8133 | 5.2733 | 189.9 | 6.35 | 215.2333 | 6.8033 | 217.1333 | 24.6667 | 883 | 89.7533 | 5.8587
2019-07-30 21:15:00 | 3.8933 | 156.1 | 4.4867 | 171.5333 | 5.3667 | 213.0333 | 5.4567 | 210.4667 | 24.45 | 883 | 90.2 | 4.486
2019-07-30 21:30:00 | 3.8667 | 172.8533 | 4.4467 | 189.9333 | 5.2733 | 214.2333 | 4.9633 | 209.9333 | 24.3113 | 883 | 90.7333 | 4.282
2019-07-30 21:45:00 | 3.7367 | 183.95 | 4.3067 | 202.1333 | 4.9867 | 209.6667 | 4.83 | 216.3 | 24.2367 | 883.1333 | 91.6133 | 1.858
2019-07-30 22:00:00 | 2.872 | 179.128 | 3.304 | 196.84 | 3.692 | 215.4 | 3.664 | 203.72 | 24.216 | 884 | 92.06 | 0.96733
2019-07-30 22:15:00 | 2.7267 | 164.1367 | 3.1333 | 180.3667 | 3.3667 | 188.4333 | 3.5 | 200.2 | 24.02 | 884 | 93.5 | 0.35267
2019-07-30 22:30:00 | 2.64 | 182.2767 | 3.0333 | 200.3 | 3.3133 | 214.3 | 3.4133 | 213.2667 | 23.9467 | 884 | 93.7467 | 1.5367
2019-07-30 22:45:00 | 3.04 | 193.1067 | 3.4967 | 212.2 | 4 | 217.8333 | 4.33 | 218.1667 | 23.6967 | 884.8 | 94.5667 | 1.73
2019-07-30 23:00:00 | 3.0067 | 177.2067 | 3.4633 | 194.7333 | 3.98 | 207.0333 | 4.0567 | 224.9 | 23.47 | 885 | 95.4333 | 0.51667
2019-07-30 23:15:00 | 2.9233 | 175.21 | 3.36 | 192.5333 | 3.87 | 215.3333 | 3.7967 | 217.5667 | 23.414 | 885 | 95.8867 | 1.4407
2019-07-30 23:30:00 | 2.8833 | 167.27 | 3.3267 | 183.8 | 3.95 | 213.6 | 4.2033 | 221.7 | 23.34 | 885 | 96.1333 | 0.50933
2019-07-30 23:45:00 | 2.5413 | 162.338 | 2.9273 | 178.3933 | 3.4707 | 186.56 | 3.616 | 207.28 | 23.1107 | 885 | 96.96 | 0.54533