## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-07-31 00:00:00 | 2.3357 | 170.2979 | 2.6914 | 187.1357 | 3.1357 | 214.7214 | 3.1064 | 214.4857 | 22.9564 | 885 | 97.4917 | 0.05
2019-07-31 00:15:00 | 1.8967 | 183.7933 | 2.18 | 201.9667 | 2.8133 | 227.2 | 3 | 220.2 | 23.0213 | 884.8667 | 97 | 0
2019-07-31 00:30:00 | 1.87 | 172.2133 | 2.16 | 189.2333 | 2.7933 | 220.4 | 2.66 | 203.7333 | 22.9967 | 884.4667 | 96.8467 | 0
2019-07-31 00:45:00 | 2.5067 | 174.75 | 2.8933 | 192.0333 | 3.5167 | 199.1667 | 3.2633 | 199.1333 | 22.78 | 884.2 | 97.4333 | 0
2019-07-31 01:00:00 | 1.52 | 166.0767 | 1.7467 | 182.5 | 2.11 | 193.2067 | 2.4233 | 197.3333 | 22.6613 | 884 | 98.2333 | 0
2019-07-31 01:15:00 | 1.53 | 166.5067 | 1.7733 | 182.9667 | 1.92 | 179.0333 | 2.23 | 173.6667 | 22.6407 | 884 | 98.4933 | 0
2019-07-31 01:30:00 | 1.8633 | 176.0333 | 2.1467 | 193.4333 | 2.1533 | 169.0333 | 2.6233 | 170.7333 | 22.7033 | 884 | 98.6 | 0
2019-07-31 01:45:00 | 2.1633 | 177.3033 | 2.49 | 194.8333 | 2.7833 | 187.8667 | 2.8833 | 192.8667 | 22.7373 | 884 | 98.4533 | 0
2019-07-31 02:00:00 | 2.0767 | 175.1233 | 2.3967 | 192.4333 | 2.65 | 195.2 | 2.8033 | 191.1333 | 22.7453 | 884 | 98.2533 | 0
2019-07-31 02:15:00 | 2.25 | 161.7133 | 2.5933 | 177.7 | 2.8667 | 178.3 | 2.7467 | 186.2333 | 22.736 | 884 | 98.4133 | 0
2019-07-31 02:30:00 | 2.31 | 160.4333 | 2.6533 | 176.3 | 3.16 | 177.3 | 3 | 188.6333 | 22.67 | 884 | 98.6333 | 0
2019-07-31 02:45:00 | 1.3667 | 162.5867 | 1.5733 | 178.6667 | 2.1733 | 172.9333 | 2.2333 | 188.5667 | 22.6153 | 883.8667 | 98.9133 | 0
2019-07-31 03:00:00 | 0.23333 | 154.9267 | 0.27333 | 170.2467 | 0.44667 | 158.6467 | 0.58 | 186.36 | 22.576 | 883 | 99.0467 | 0
2019-07-31 03:15:00 | 0.59333 | 295.75 | 0.69333 | 325 | 0.50667 | 23.6033 | 0.066667 | 186.1867 | 22.524 | 883 | 99.1133 | 0
2019-07-31 03:30:00 | 1.5133 | 316.8033 | 1.7467 | 348.1333 | 1.7067 | 8.2167 | 1.1267 | 70.54 | 22.38 | 883 | 99.5333 | 0
2019-07-31 03:45:00 | 2.0667 | 310.6353 | 2.3833 | 341.36 | 2.5967 | 2.6333 | 2.5433 | 11.8267 | 22.264 | 883 | 99.9133 | 0
2019-07-31 04:00:00 | 2.2333 | 314.11 | 2.5767 | 345.1667 | 3.05 | 5.6133 | 3.2433 | 18.4333 | 22.2233 | 883 | 100 | 0
2019-07-31 04:15:00 | 2.19 | 295.0233 | 2.5233 | 324.2 | 3.3667 | 6.1033 | 3.2133 | 26.3233 | 22.1633 | 883 | 100 | 0
2019-07-31 04:30:00 | 1.93 | 93.8367 | 2.2233 | 103.12 | 3.18 | 8.6433 | 3.16 | 26.0033 | 22.0913 | 882.5333 | 100 | 0
2019-07-31 04:45:00 | 2.0967 | 106.7767 | 2.42 | 117.3333 | 3.69 | 3.9667 | 3.7867 | 17.2667 | 22.0387 | 882 | 100 | 1.5193
2019-07-31 05:00:00 | 2.4767 | 130.3367 | 2.8467 | 143.22 | 4.5233 | 5.5267 | 4.3933 | 13.2533 | 21.9367 | 882 | 100 | 4.5547
2019-07-31 05:15:00 | 2.9133 | 318.78 | 3.35 | 350.3 | 4.6167 | 6.1867 | 4.6967 | 131.2933 | 21.994 | 882 | 100 | 6.102
2019-07-31 05:30:00 | 3.0133 | 117.62 | 3.4633 | 129.2467 | 5.3033 | 16.3933 | 5.3433 | 133.4467 | 22.1293 | 882 | 100 | 5.3753
2019-07-31 05:45:00 | 2.6267 | 210.8567 | 3.0167 | 231.7 | 5.0133 | 10.5267 | 5.1 | 16.8033 | 22.1427 | 882.8 | 100 | 6.632
2019-07-31 06:00:00 | 2.76 | 286.8033 | 3.1767 | 315.1667 | 4.9867 | 9.8333 | 5.1 | 15.7633 | 22.1647 | 883 | 100 | 7.4293
2019-07-31 06:15:00 | 2.84 | 292.97 | 3.2733 | 321.9333 | 4.83 | 11.6933 | 4.9633 | 23.0533 | 22.1433 | 883 | 100 | 6.574
2019-07-31 06:30:00 | 3.1867 | 295.51 | 3.6733 | 324.7333 | 5.5433 | 15.5867 | 5.4567 | 13.56 | 22.1013 | 883 | 100 | 6.0313
2019-07-31 06:45:00 | 3.0533 | 235.78 | 3.5067 | 259.1 | 6.02 | 9.59 | 5.98 | 15.57 | 22.0573 | 883 | 100 | 5.9593
2019-07-31 07:00:00 | 2.72 | 221.1667 | 3.1267 | 243.0333 | 5.3 | 12.6367 | 5.5667 | 22.37 | 22.0933 | 883 | 100 | 6.0493
2019-07-31 07:15:00 | 2.2347 | 180.882 | 2.5713 | 198.7667 | 4.4027 | 20.2947 | 4.826 | 25.2453 | 22.1473 | 883.1333 | 100 | 3.4287
2019-07-31 07:30:00 | 1.8333 | 313.07 | 2.1067 | 344.0333 | 3.5533 | 6.05 | 3.9467 | 13.0567 | 22.4633 | 884 | 100 | 0.34333
2019-07-31 07:45:00 | 1.4667 | 118.4767 | 1.6833 | 130.1867 | 2.66 | 19.4567 | 2.7333 | 21.15 | 22.6967 | 884 | 100 | 0
2019-07-31 08:00:00 | 1.5 | 12.97 | 1.7233 | 14.2533 | 2.36 | 16.0367 | 2.5067 | 16.1433 | 22.97 | 884 | 100 | 0
2019-07-31 08:15:00 | 1.0667 | 40.56 | 1.24 | 44.5633 | 1.8633 | 19.55 | 1.9833 | 7.3767 | 23.4967 | 884.8 | 99.02 | 0
2019-07-31 08:30:00 | 0.78667 | 226.4867 | 0.91333 | 248.8833 | 1.37 | 26.39 | 1.5833 | 37.2833 | 24.09 | 885 | 94.8667 | 0
2019-07-31 08:45:00 | 0.53 | 109.5567 | 0.60667 | 120.3933 | 0.59 | 31.0667 | 0.21333 | 66.5 | 24.2727 | 885 | 92.3867 | 0
2019-07-31 09:00:00 | 0.81667 | 180.6967 | 0.94 | 198.5667 | 0.83 | 87.86 | 0.86 | 104.2 | 24.7067 | 885.4667 | 92.3467 | 0
2019-07-31 09:15:00 | 1.0267 | 147.9633 | 1.1933 | 162.6 | 1.0867 | 148.2 | 0.94667 | 70.5667 | 24.4767 | 886 | 93.2 | 0
2019-07-31 09:30:00 | 0.68 | 147.8433 | 0.79333 | 162.4667 | 0.7 | 170.3333 | 0.69333 | 159.9333 | 24.43 | 886 | 94.3333 | 0
2019-07-31 09:45:00 | 1.0267 | 138.2933 | 1.1833 | 151.9667 | 1.1933 | 187.4667 | 0.92333 | 161 | 24.9633 | 886 | 91.9133 | 0
2019-07-31 10:00:00 | 1.3867 | 152.3133 | 1.5967 | 167.3667 | 1.8533 | 177.8 | 1.43 | 155.3333 | 24.99 | 886 | 91.3333 | 0
2019-07-31 10:15:00 | 1.5367 | 153.77 | 1.7667 | 168.9667 | 1.8967 | 137.5 | 1.7533 | 154.88 | 25.2067 | 886 | 90.7667 | 0
2019-07-31 10:30:00 | 1.8633 | 116.21 | 2.14 | 127.7 | 2.2167 | 162.5667 | 2.02 | 174.9667 | 25.4533 | 886 | 90.7 | 0
2019-07-31 10:45:00 | 2.5867 | 116.34 | 2.98 | 127.8333 | 3.0233 | 180.1 | 2.9533 | 176.1333 | 26.7 | 886.8 | 85.7333 | 0
2019-07-31 11:00:00 | 2.7267 | 109.42 | 3.14 | 120.2333 | 3.01 | 161.0333 | 2.78 | 135.9333 | 27.04 | 887 | 83.0667 | 0
2019-07-31 11:15:00 | 2.3867 | 144.5733 | 2.75 | 158.8667 | 2.5733 | 161.1667 | 2.3933 | 170.2667 | 26.8267 | 887 | 82.1333 | 0
2019-07-31 11:30:00 | 2.0067 | 117.76 | 2.31 | 129.4 | 2.28 | 148.5667 | 2.2667 | 172.7333 | 27.3333 | 887 | 80.7333 | 0
2019-07-31 11:45:00 | 2.4467 | 124.0167 | 2.8133 | 136.2667 | 2.8933 | 160.4667 | 2.77 | 158.3 | 27.7233 | 887 | 78.84 | 0
2019-07-31 12:00:00 | 2.8467 | 128.2633 | 3.2733 | 140.9333 | 3.4267 | 171.2 | 3.17 | 178.5 | 27.4433 | 887 | 78.74 | 0
2019-07-31 12:15:00 | 2.53 | 123.73 | 2.91 | 135.9667 | 2.9867 | 159.4 | 3.0567 | 152.1667 | 27.77 | 887 | 77.8167 | 0
2019-07-31 12:30:00 | 2.5767 | 122.7633 | 2.9633 | 134.9 | 3.1667 | 145.0667 | 3.0033 | 164.9 | 28.13 | 887 | 76.2967 | 0
2019-07-31 12:45:00 | 2.3533 | 135.8067 | 2.7167 | 149.2333 | 2.7733 | 142.1333 | 2.7967 | 180.6 | 28.1967 | 887 | 75.1733 | 0
2019-07-31 13:00:00 | 2.2533 | 146.54 | 2.5967 | 161.0333 | 2.8667 | 181.3333 | 2.8367 | 190.4667 | 28.21 | 886.5333 | 74.8467 | 0
2019-07-31 13:15:00 | 2.0233 | 150.0033 | 2.3367 | 164.8333 | 2.48 | 210.5333 | 2.71 | 198.7 | 28.6513 | 886 | 74.2753 | 0
2019-07-31 13:30:00 | 1.69 | 147.6967 | 1.95 | 162.3 | 2.0467 | 164 | 2.3033 | 165.5667 | 28.4267 | 886 | 75.0733 | 0
2019-07-31 13:45:00 | 1.5667 | 136.9633 | 1.8167 | 150.5 | 2.1867 | 140.5333 | 2.0333 | 139.9333 | 28.4333 | 886 | 75.23 | 0
2019-07-31 14:00:00 | 2.3267 | 160.196 | 2.6833 | 176.04 | 3.0667 | 142.5333 | 3.0467 | 170.4667 | 28.4467 | 886 | 75.6967 | 0
2019-07-31 14:15:00 | 2.2333 | 174.8533 | 2.5667 | 192.1333 | 2.8067 | 176.4 | 2.64 | 194.8 | 29.0667 | 885.8667 | 73.9367 | 0
2019-07-31 14:30:00 | 2.28 | 153.5533 | 2.6333 | 168.7333 | 2.74 | 165.5333 | 2.5733 | 194.8667 | 29.0067 | 885 | 72.9033 | 0
2019-07-31 14:45:00 | 1.8967 | 151.0567 | 2.18 | 166 | 2.1767 | 168.6333 | 2.1533 | 207.8667 | 29.1667 | 885 | 71.1787 | 0
2019-07-31 15:00:00 | 2.5167 | 113.7567 | 2.8933 | 125 | 3.05 | 157.3 | 2.9467 | 206.2 | 29.5867 | 885 | 70.64 | 0
2019-07-31 15:15:00 | 2.5867 | 153.7333 | 2.9767 | 168.9333 | 3.15 | 187.2333 | 2.7733 | 190.6 | 29.844 | 885 | 68.9133 | 0
2019-07-31 15:30:00 | 2.04 | 179.1533 | 2.35 | 196.8667 | 2.5367 | 186.4333 | 2.3867 | 184.5333 | 30.3233 | 885 | 66.68 | 0
2019-07-31 15:45:00 | 2.1367 | 122.79 | 2.4567 | 134.9333 | 2.7533 | 171.1333 | 2.7567 | 186.8667 | 30.6267 | 885 | 65.3033 | 0
2019-07-31 16:00:00 | 2.99 | 175.8167 | 3.4367 | 193.2 | 3.7 | 180.6 | 3.4567 | 186.2667 | 30.68 | 885 | 63.99 | 0.17733
2019-07-31 16:15:00 | 2.02 | 152.5133 | 2.3233 | 167.6 | 2.59 | 176.2 | 2.5833 | 185.5333 | 30.6867 | 885 | 63.4033 | 0.14467
2019-07-31 16:30:00 | 2.16 | 175.6867 | 2.4833 | 193.0667 | 2.87 | 205.6 | 2.87 | 213.3333 | 31.1667 | 885 | 62.39 | 0.37
2019-07-31 16:45:00 | 2.1133 | 188.2867 | 2.43 | 206.9 | 3.02 | 230.4 | 3.2367 | 236.7667 | 31.11 | 885 | 62.3567 | 0.08
2019-07-31 17:00:00 | 2.2467 | 173.0533 | 2.5833 | 190.1667 | 3.1533 | 217.6 | 3.1833 | 227.1667 | 31.1367 | 885 | 61.0767 | 0.336
2019-07-31 17:15:00 | 2.1 | 137.26 | 2.4233 | 150.8333 | 2.9967 | 232.9 | 3.0233 | 241.6333 | 31.0447 | 885 | 60.5133 | 0.828
2019-07-31 17:30:00 | 2.0467 | 119.6133 | 2.3567 | 131.4333 | 2.81 | 221.8333 | 3.07 | 225.1 | 30.92 | 885 | 61.0267 | 1.3673
2019-07-31 17:45:00 | 1.8267 | 158.86 | 2.1033 | 174.5667 | 2.5833 | 216.4667 | 2.9633 | 234.3333 | 30.9733 | 885 | 60.96 | 1.1
2019-07-31 18:00:00 | 1.9333 | 157.16 | 2.2233 | 172.7 | 2.9567 | 237 | 3.23 | 244.4 | 30.7533 | 885 | 59.3267 | 0.264
2019-07-31 18:15:00 | 1.5133 | 194.2273 | 1.7447 | 213.4267 | 2.4507 | 245.72 | 2.6733 | 243.3533 | 30.772 | 885 | 60.2427 | 0
2019-07-31 18:30:00 | 1.052 | 181.66 | 1.214 | 199.62 | 1.732 | 246.92 | 2.03 | 252.24 | 31.004 | 885 | 60.0887 | 0
2019-07-31 18:45:00 | 1.7867 | 163.7767 | 2.0567 | 179.9667 | 2.54 | 185.7 | 2.4833 | 212.0467 | 30.7567 | 885 | 62.4433 | 1.1947
2019-07-31 19:00:00 | 3.3867 | 135.5033 | 3.8967 | 148.9 | 4.46 | 192.2333 | 4.2633 | 206.5667 | 28.5833 | 885 | 72.15 | 8.77
2019-07-31 19:15:00 | 4.58 | 137.1133 | 5.2733 | 150.6667 | 5.4633 | 180.6333 | 5.75 | 181.8333 | 26.4733 | 884.8667 | 73.3233 | 7.4147
2019-07-31 19:30:00 | 4.5267 | 145.3 | 5.2133 | 159.6667 | 5.3833 | 179.6333 | 5.6833 | 173.9667 | 25.48 | 884 | 77.3367 | 8.0473
2019-07-31 19:45:00 | 4.2933 | 113.39 | 4.9367 | 124.6 | 5.3233 | 179.1667 | 6.0333 | 169.8 | 24.2467 | 884 | 86.1 | 11.0587
2019-07-31 20:00:00 | 3.86 | 146.7567 | 4.4367 | 161.2667 | 4.7167 | 153.5667 | 5.42 | 174.2667 | 24.1 | 883.5333 | 87.2333 | 4.532
2019-07-31 20:15:00 | 3.2733 | 152.3667 | 3.77 | 167.4333 | 4.0467 | 177.7333 | 4.76 | 175.9 | 24.2427 | 883 | 85.4333 | 2.8673
2019-07-31 20:30:00 | 3.4733 | 186.0333 | 4.0033 | 204.4333 | 4.52 | 186.8667 | 4.7733 | 184.3667 | 24.1333 | 883 | 86.7 | 3.4633
2019-07-31 20:45:00 | 2.92 | 167.96 | 3.3633 | 184.5667 | 3.7033 | 177.5867 | 4.3733 | 181.2 | 24.1453 | 883 | 87.7333 | 4.6787
2019-07-31 21:00:00 | 3.4733 | 164.14 | 3.9967 | 180.3667 | 4.39 | 177.9667 | 4.9 | 180.4667 | 24.2307 | 883 | 87.2667 | 5.2047
2019-07-31 21:15:00 | 2.7433 | 178.54 | 3.1567 | 196.2 | 3.4367 | 179.8 | 4.6033 | 171.9 | 24.46 | 883 | 84.2 | 5.0587
2019-07-31 21:30:00 | 2.1767 | 184.6733 | 2.5033 | 202.9333 | 2.8233 | 161.2 | 3.69 | 166.7667 | 24.8667 | 883.4667 | 80.9333 | 3.478
2019-07-31 21:45:00 | 2.29 | 157.49 | 2.64 | 173.0667 | 2.9267 | 167.4667 | 3.61 | 173.2667 | 24.9667 | 884 | 80.16 | 4.5007
2019-07-31 22:00:00 | 2.8673 | 184.9353 | 3.3 | 203.2267 | 3.6347 | 190.2933 | 4.5327 | 178.92 | 24.7987 | 884 | 80.5467 | 6.6333
2019-07-31 22:15:00 | 2.9667 | 154.73 | 3.4133 | 170.0333 | 3.78 | 187.1 | 4.7933 | 186.2333 | 24.698 | 884 | 79.288 | 7.1313
2019-07-31 22:30:00 | 3.2867 | 126.4033 | 3.7867 | 138.9 | 4.2333 | 182.0333 | 5.0667 | 185.9 | 24.4767 | 884.4667 | 80.4033 | 8.7293
2019-07-31 22:45:00 | 3.1733 | 169.39 | 3.65 | 186.1333 | 4.02 | 181.0667 | 4.8667 | 187.5667 | 24.3567 | 885 | 81.3 | 10.9333
2019-07-31 23:00:00 | 3.1933 | 146.69 | 3.6767 | 161.2 | 3.84 | 181.8667 | 4.7067 | 188.7 | 24.2567 | 885 | 82.3 | 10.2807
2019-07-31 23:15:00 | 4.7967 | 149.42 | 5.5167 | 164.2 | 5.77 | 148.3 | 6.0533 | 177.6 | 23.2833 | 885 | 88.8333 | 11.2267
2019-07-31 23:30:00 | 6.0167 | 122.7933 | 6.93 | 134.9333 | 7.4233 | 132.4333 | 7.8267 | 142.6 | 21.7433 | 885 | 95.0333 | 16.3813
2019-07-31 23:45:00 | 4.5633 | 179.73 | 5.25 | 197.5 | 5.9433 | 224.3 | 5.7867 | 193.6333 | 20.4667 | 884.8667 | 96.0333 | 5.228