## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-01 00:00:00 | 3.2821 | 183.725 | 3.7707 | 201.8857 | 3.9671 | 189.6143 | 4.4614 | 170.4929 | 20.7343 | 884 | 98.8 | 6.7407
2019-08-01 00:15:00 | 3.0533 | 168.4167 | 3.5133 | 185.0667 | 3.9033 | 174.3333 | 4.6833 | 176.7667 | 20.9373 | 884 | 99.5933 | 5.034
2019-08-01 00:30:00 | 1.9867 | 177.8167 | 2.2867 | 195.4 | 2.7433 | 190.8667 | 3.7567 | 174.2333 | 20.9547 | 884 | 99.8333 | 2.1367
2019-08-01 00:45:00 | 2.2667 | 172.4833 | 2.6133 | 189.5333 | 2.8333 | 170.1 | 3.4567 | 149.1667 | 20.9113 | 884 | 99.9533 | 2.098
2019-08-01 01:00:00 | 2.8133 | 123.6367 | 3.2467 | 135.8667 | 4.0267 | 210.9 | 4.13 | 221.1667 | 20.9433 | 884 | 98.6 | 19.8633
2019-08-01 01:15:00 | 4.91 | 199.5133 | 5.65 | 219.2333 | 7.1667 | 248.6 | 7.83 | 244.0667 | 20.9533 | 884 | 99.5333 | 13.7667
2019-08-01 01:30:00 | 3.51 | 176.5733 | 4.0433 | 194.0333 | 4.88 | 235.5333 | 5.09 | 235.0667 | 20.9987 | 884 | 99.9333 | 1.2753
2019-08-01 01:45:00 | 2.83 | 181.4 | 3.2567 | 199.3333 | 3.43 | 181.7333 | 3.7567 | 211.5333 | 20.9487 | 883.2 | 100 | 2.1347
2019-08-01 02:00:00 | 3.43 | 165.6267 | 3.95 | 182 | 4.3633 | 205.2 | 4.3367 | 216.6667 | 20.9447 | 883.4667 | 100 | 3.4013
2019-08-01 02:15:00 | 2.7633 | 146.9433 | 3.1833 | 161.4667 | 3.45 | 192.3333 | 3.6833 | 193.9333 | 20.8433 | 883.8667 | 100 | 5.436
2019-08-01 02:30:00 | 2.79 | 133.0433 | 3.21 | 146.2 | 3.5567 | 182.2 | 3.7367 | 189.4667 | 20.7913 | 883 | 100 | 1.8433
2019-08-01 02:45:00 | 2.81 | 142.08 | 3.23 | 156.1333 | 3.33 | 186.4667 | 3.1533 | 201.5667 | 20.57 | 883 | 100 | 1.2807
2019-08-01 03:00:00 | 3.07 | 148.4533 | 3.5367 | 163.1333 | 3.7967 | 180.7333 | 3.6 | 182.7 | 20.4947 | 883 | 100 | 1.364
2019-08-01 03:15:00 | 2.4667 | 151.06 | 2.84 | 166 | 3.1067 | 209.6333 | 3.3067 | 234 | 20.28 | 883 | 100 | 0.46933
2019-08-01 03:30:00 | 2.6933 | 151.5467 | 3.1067 | 166.5333 | 3.3933 | 180.7667 | 3.34 | 203.7333 | 20.0867 | 883 | 100 | 0.87667
2019-08-01 03:45:00 | 2.7733 | 171.3773 | 3.2 | 188.3267 | 3.4033 | 192 | 3.2767 | 195.1 | 19.9813 | 883 | 100 | 0.18067
2019-08-01 04:00:00 | 1.7333 | 172.266 | 1.9933 | 189.3067 | 2.0967 | 188 | 1.9567 | 183.9667 | 20.0833 | 883 | 100 | 0
2019-08-01 04:15:00 | 0.87 | 209.7867 | 1.0133 | 230.5333 | 1.11 | 173.0667 | 0.83 | 205.0667 | 20.006 | 883 | 100 | 0
2019-08-01 04:30:00 | 1.4833 | 150.1533 | 1.7133 | 165 | 1.7033 | 173.8 | 1.8633 | 165.6 | 20.0467 | 883 | 100 | 0
2019-08-01 04:45:00 | 0.89933 | 176.884 | 1.0427 | 194.37 | 1.058 | 176.4667 | 1.282 | 163.72 | 19.9187 | 882.8667 | 100 | 0
2019-08-01 05:00:00 | 1.7633 | 216.1933 | 2.0333 | 237.57 | 2.5967 | 6.0533 | 3.0433 | 1.2 | 19.8 | 882.4667 | 100 | 0
2019-08-01 05:15:00 | 0.12667 | 193.0433 | 0.14667 | 212.1333 | 0.16 | 148.3 | 0.016667 | 338.86 | 19.7527 | 883 | 100 | 0
2019-08-01 05:30:00 | 0.62667 | 242.5433 | 0.72 | 266.5333 | 0.42667 | 67.2267 | 0.77 | 144.1333 | 19.7167 | 883 | 100 | 0
2019-08-01 05:45:00 | 1.9533 | 211.9233 | 2.25 | 232.8733 | 2.3533 | 348.7 | 2.3733 | 12.17 | 19.7933 | 883 | 100 | 0
2019-08-01 06:00:00 | 3.18 | 197.4767 | 3.6567 | 217.0067 | 4.26 | 127.5867 | 4.4733 | 19.3633 | 19.9 | 883 | 100 | 1.1993
2019-08-01 06:15:00 | 3.04 | 1.37 | 3.5033 | 1.4967 | 3.88 | 16.2967 | 4 | 19.2967 | 20.0727 | 883 | 100 | 0
2019-08-01 06:30:00 | 2.4 | 202.0433 | 2.77 | 222.03 | 3.2133 | 240.3433 | 3.04 | 247.8233 | 20.104 | 883 | 100 | 0
2019-08-01 06:45:00 | 2.1467 | 309.47 | 2.4667 | 340.0667 | 2.56 | 232.5167 | 2.4067 | 35.6767 | 20.04 | 883 | 100 | 0
2019-08-01 07:00:00 | 1.82 | 308.9233 | 2.1 | 339.4667 | 2.0333 | 2.3833 | 1.2733 | 43.0767 | 20.1067 | 883 | 100 | 0
2019-08-01 07:15:00 | 2.1133 | 318.6267 | 2.4367 | 350.1333 | 2.56 | 144.34 | 1.0933 | 15.02 | 20.2867 | 883.8 | 100 | 0
2019-08-01 07:30:00 | 2.1867 | 106.92 | 2.5233 | 117.48 | 2.6333 | 124.02 | 1.38 | 11.94 | 20.4733 | 884 | 100 | 0
2019-08-01 07:45:00 | 2.08 | 304.2133 | 2.4 | 334.3 | 2.7867 | 16.3833 | 2.09 | 21.3133 | 20.5147 | 884 | 100 | 0
2019-08-01 08:00:00 | 2.2933 | 302.4533 | 2.64 | 332.3667 | 3.74 | 10.6433 | 3.7567 | 16.8933 | 20.5967 | 884 | 100 | 2.4053
2019-08-01 08:15:00 | 3.16 | 36.5833 | 3.6333 | 40.1967 | 4.79 | 1.6833 | 5.0467 | 6.4667 | 20.7147 | 884.1333 | 100 | 2.532
2019-08-01 08:30:00 | 3.46 | 18.1767 | 3.9867 | 19.9633 | 5.0233 | 1.6233 | 5.3 | 3.16 | 20.84 | 885 | 100 | 1.7073
2019-08-01 08:45:00 | 3.3067 | 208.1373 | 3.804 | 228.72 | 4.7547 | 95.1767 | 4.44 | 7.734 | 21.0647 | 885 | 100 | 0.47067
2019-08-01 09:00:00 | 2.6367 | 217.32 | 3.0333 | 238.8 | 3.59 | 130.5 | 3.4333 | 5.1833 | 21.6267 | 885 | 100 | 0
2019-08-01 09:15:00 | 0.66 | 305.83 | 0.76333 | 336.0667 | 0.70333 | 119.28 | 0.74667 | 107.5267 | 22.11 | 885 | 99.52 | 0
2019-08-01 09:30:00 | 0.81333 | 115.8367 | 0.93667 | 127.2867 | 0.83667 | 320.8667 | 0.98 | 310.8667 | 22.3833 | 885 | 98.7467 | 0
2019-08-01 09:45:00 | 0.86667 | 2.3367 | 0.99667 | 2.56 | 1 | 349.0667 | 1.0533 | 312.6333 | 22.8733 | 885.8 | 96 | 0
2019-08-01 10:00:00 | 0.99333 | 216.55 | 1.15 | 237.9667 | 1.0533 | 333.46 | 1.14 | 204.3 | 23.2867 | 886 | 95.2667 | 0
2019-08-01 10:15:00 | 0.74 | 65.2733 | 0.85667 | 71.7267 | 0.94667 | 277.2667 | 1.0633 | 282.6 | 24.3367 | 886 | 92.8 | 0
2019-08-01 10:30:00 | 1 | 128.6467 | 1.1567 | 141.3667 | 0.94 | 136.4667 | 0.59 | 136.3333 | 24.5633 | 886 | 92.0667 | 0
2019-08-01 10:45:00 | 1.2467 | 133.5267 | 1.4367 | 146.7333 | 1.4033 | 169.1333 | 1.1433 | 163.7 | 24.9067 | 886 | 93.2333 | 0
2019-08-01 11:00:00 | 1.4867 | 126.1933 | 1.71 | 138.6667 | 1.57 | 169.6667 | 1.5833 | 162.0333 | 25.14 | 886 | 91.7667 | 0
2019-08-01 11:15:00 | 2.14 | 143.52 | 2.4667 | 157.7 | 2.17 | 161.3 | 1.3 | 168.0333 | 25.2513 | 886 | 91.2333 | 0
2019-08-01 11:30:00 | 1.7067 | 143.1467 | 1.9733 | 157.3 | 1.87 | 162.0333 | 1.2733 | 151.2333 | 25.78 | 886 | 88.7 | 0
2019-08-01 11:45:00 | 2.72 | 141.9 | 3.1333 | 155.9333 | 3.2 | 172.3667 | 2.7867 | 172.3333 | 25.7333 | 886 | 88.7333 | 0
2019-08-01 12:00:00 | 2.5013 | 180.2973 | 2.884 | 198.1333 | 2.8067 | 183.54 | 2.5 | 179.1333 | 25.4347 | 886 | 88.08 | 0
2019-08-01 12:15:00 | 2.49 | 143.2733 | 2.86 | 157.4333 | 2.7667 | 172.8333 | 2.68 | 187.1667 | 26.06 | 886 | 84 | 0
2019-08-01 12:30:00 | 2.67 | 160.56 | 3.0667 | 176.4333 | 3.04 | 176.9667 | 2.88 | 171.0333 | 26.2733 | 886 | 82.2 | 0
2019-08-01 12:45:00 | 2.6733 | 128.56 | 3.0767 | 141.2667 | 3.1467 | 169.1 | 2.9467 | 168.9333 | 26.56 | 886 | 80.0433 | 0
2019-08-01 13:00:00 | 2.3667 | 168.2933 | 2.7233 | 184.9333 | 2.7267 | 156.5 | 2.7067 | 176.3333 | 26.8067 | 885.5333 | 77.01 | 0
2019-08-01 13:15:00 | 1.5067 | 128.1367 | 1.7367 | 140.8 | 1.7567 | 156.7333 | 1.4867 | 164.5667 | 27.0033 | 885 | 76.9167 | 0
2019-08-01 13:30:00 | 1.6467 | 146.3367 | 1.89 | 160.8 | 1.95 | 165.8667 | 2.1133 | 166.4333 | 27.39 | 885 | 75.6833 | 0
2019-08-01 13:45:00 | 2.7667 | 166.9933 | 3.1833 | 183.5 | 3.3933 | 169.2667 | 3.2533 | 177.4333 | 27.6167 | 885 | 73.3733 | 0
2019-08-01 14:00:00 | 2.12 | 181.36 | 2.4367 | 199.3 | 2.6133 | 145.4667 | 2.5 | 170.8333 | 27.8767 | 885 | 71.2533 | 0
2019-08-01 14:15:00 | 2.0967 | 142.7567 | 2.4233 | 156.8667 | 2.5433 | 162.1667 | 2.3933 | 164.3667 | 28.0487 | 885 | 70.62 | 0
2019-08-01 14:30:00 | 1.95 | 145.6033 | 2.2433 | 160 | 2.15 | 171.9 | 2.3267 | 186.2333 | 28.09 | 885 | 68.96 | 0
2019-08-01 14:45:00 | 1.6333 | 109.33 | 1.8833 | 120.1333 | 2.0067 | 153.3667 | 1.9667 | 147.7 | 28.1933 | 885 | 70.03 | 0
2019-08-01 15:00:00 | 2.14 | 120.37 | 2.4633 | 132.2667 | 2.4933 | 168.9667 | 2.4867 | 151.0333 | 28.2833 | 885 | 68.9567 | 0
2019-08-01 15:15:00 | 2.2733 | 137.9967 | 2.6133 | 151.6333 | 2.6767 | 160.1 | 2.49 | 167.4667 | 28.78 | 885 | 68.4993 | 0
2019-08-01 15:30:00 | 2.1733 | 142.1767 | 2.5 | 156.2333 | 2.5567 | 168.5667 | 2.2633 | 167.2667 | 29.2267 | 884.5333 | 65.5333 | 0
2019-08-01 15:45:00 | 2.3333 | 159.49 | 2.68 | 175.2667 | 2.77 | 145.5667 | 2.64 | 178.2333 | 29.3367 | 884.1333 | 66.7907 | 0
2019-08-01 16:00:00 | 2.4467 | 144.75 | 2.8133 | 159.0667 | 3.0233 | 168.7 | 2.78 | 171.4333 | 28.8567 | 884.5333 | 68.6 | 0
2019-08-01 16:15:00 | 2.4367 | 140.7867 | 2.8033 | 154.7 | 2.9833 | 184.8667 | 2.9633 | 166.6667 | 28.8493 | 884 | 68.5033 | 0
2019-08-01 16:30:00 | 2.0967 | 143.8733 | 2.41 | 158.1 | 2.65 | 173.6667 | 2.5633 | 181.8 | 29.42 | 884 | 68.3433 | 0
2019-08-01 16:45:00 | 2.1367 | 160.2333 | 2.46 | 176.0667 | 2.6733 | 170.7667 | 2.64 | 167.7667 | 29.7933 | 884 | 68.1013 | 0
2019-08-01 17:00:00 | 2.232 | 105.864 | 2.57 | 116.32 | 2.75 | 167.2 | 2.768 | 173.54 | 29.736 | 884 | 68.136 | 0
2019-08-01 17:15:00 | 2.16 | 139.4867 | 2.4833 | 153.2667 | 2.8133 | 184.6 | 2.66 | 187.0333 | 29.5633 | 884 | 68.1467 | 0
2019-08-01 17:30:00 | 1.92 | 135.5933 | 2.2033 | 149 | 2.3933 | 171.2667 | 2.3933 | 184.1 | 29.6033 | 884 | 67.4033 | 0
2019-08-01 17:45:00 | 2.5133 | 126.95 | 2.8867 | 139.5 | 3.1 | 184.5667 | 3.1967 | 204.7667 | 29.38 | 884 | 67.2433 | 0.632
2019-08-01 18:00:00 | 2.6733 | 146.3033 | 3.0733 | 160.7667 | 3.4467 | 176.3667 | 3.49 | 183.1 | 28.8333 | 884 | 69.69 | 3.4353
2019-08-01 18:15:00 | 3.3253 | 148.5733 | 3.8273 | 163.26 | 4.1933 | 169.2333 | 4.3133 | 176.3867 | 27.4247 | 883.8667 | 74.644 | 4.1613
2019-08-01 18:30:00 | 2.8533 | 159.6533 | 3.29 | 175.4333 | 3.6333 | 188.9667 | 3.9133 | 201.9333 | 26.65 | 883 | 77.94 | 3.1887
2019-08-01 18:45:00 | 2.6333 | 180.82 | 3.03 | 198.7 | 3.4033 | 205.0333 | 3.8367 | 191.1667 | 25.76 | 882.8667 | 82.4667 | 1.95
2019-08-01 19:00:00 | 2.7133 | 172.6933 | 3.1233 | 189.7667 | 3.7767 | 208.5667 | 3.9033 | 184.9667 | 25.3667 | 882 | 84 | 3.6587
2019-08-01 19:15:00 | 2 | 153.4867 | 2.3067 | 168.6667 | 2.7667 | 196.1 | 2.8467 | 199.6667 | 25.444 | 882 | 83.4667 | 1.9293
2019-08-01 19:30:00 | 1.3067 | 155.2533 | 1.5067 | 170.6 | 2.02 | 192.5 | 2.3333 | 194 | 25.7033 | 882 | 82.9533 | 1.318
2019-08-01 19:45:00 | 1.6733 | 159.55 | 1.93 | 175.3333 | 2.4733 | 190.3667 | 2.7533 | 194.8 | 25.6347 | 882 | 83.4667 | 3.2133
2019-08-01 20:00:00 | 2.24 | 167.57 | 2.5767 | 184.1333 | 3.0933 | 183.3 | 3.6533 | 191.7333 | 25.3733 | 882 | 84.6 | 0.75933
2019-08-01 20:15:00 | 0.33667 | 170.5767 | 0.38667 | 187.4333 | 0.64667 | 166.2667 | 1.39 | 184.3667 | 25.156 | 882 | 85.5 | 0.26533
2019-08-01 20:30:00 | 0.23667 | 244.89 | 0.28 | 269.1 | 0.47333 | 167.2467 | 1.33 | 170.1 | 25.0633 | 882 | 85.8333 | 0.544
2019-08-01 20:45:00 | 0.29667 | 286.6633 | 0.34333 | 315.0133 | 0.33667 | 151.6 | 1.0933 | 144.9333 | 24.8747 | 882 | 86.7867 | 0.346
2019-08-01 21:00:00 | 0.64333 | 163.35 | 0.74333 | 179.5 | 1.2167 | 150.1333 | 1.8667 | 150.1333 | 24.88 | 882 | 86.3 | 0.85533
2019-08-01 21:15:00 | 1.4033 | 136.87 | 1.6133 | 150.4 | 2.0533 | 159.3 | 2.27 | 160.7667 | 25.07 | 882 | 85.5133 | 0.81733
2019-08-01 21:30:00 | 0.69667 | 155.2433 | 0.80667 | 170.6 | 1.1733 | 163.0333 | 1.59 | 176.0333 | 24.9833 | 882.4667 | 86 | 0.06
2019-08-01 21:45:00 | 0.52667 | 303.3367 | 0.60667 | 333.3333 | 0 | 163.42 | 0.37 | 181.28 | 24.5733 | 883 | 88.4333 | 0
2019-08-01 22:00:00 | 0.38667 | 307.5233 | 0.44667 | 337.9333 | 0.06 | 222.8667 | 0.23667 | 181.3 | 24.4413 | 883 | 88.9467 | 0
2019-08-01 22:15:00 | 1.14 | 313.83 | 1.3133 | 344.8667 | 0.97 | 325.5133 | 0.26 | 323.0667 | 24.4747 | 883 | 89 | 0.12067
2019-08-01 22:30:00 | 1.26 | 308.01 | 1.4533 | 338.4667 | 1.39 | 334.2 | 0.32667 | 332.2333 | 24.3667 | 883 | 89.4667 | 0.64067
2019-08-01 22:45:00 | 1.316 | 305.5087 | 1.5207 | 335.72 | 1.4273 | 342.02 | 1.1813 | 344.5867 | 24.2147 | 883 | 90.4867 | 0.212
2019-08-01 23:00:00 | 0.89667 | 299.2093 | 1.04 | 328.7933 | 0.87667 | 355.0333 | 0.25667 | 344.5 | 24.22 | 883 | 90 | 0.014
2019-08-01 23:15:00 | 1.3367 | 300.3667 | 1.5433 | 330.0667 | 1.4133 | 12.9233 | 0.80333 | 27.8133 | 24.05 | 883 | 91 | 0
2019-08-01 23:30:00 | 0.71 | 101.7933 | 0.82333 | 111.8533 | 0.27333 | 12.7207 | 0.023333 | 209.6667 | 23.9593 | 883 | 90.6667 | 0
2019-08-01 23:45:00 | 0.41333 | 0.05 | 0.49 | 0.05 | 0.21667 | 205.2333 | 0.76333 | 234.8667 | 23.942 | 883 | 91.0333 | 0