## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-02 00:00:00 | 0.45714 | 0.05 | 0.53286 | 0.05 | 0.29571 | 192.4429 | 1.1214 | 214.2 | 23.8914 | 883 | 91.1286 | 0.19
2019-08-02 00:15:00 | 0.13333 | 0.05 | 0.16333 | 0.05 | 0.07 | 240.9667 | 0.45333 | 236.2667 | 23.8627 | 883 | 90.7533 | 0.23467
2019-08-02 00:30:00 | 0.24 | 0.05 | 0.27667 | 0.05 | 0.003333 | 242.7467 | 0.3 | 229.3533 | 23.7967 | 883 | 90.4 | 0.060667
2019-08-02 00:45:00 | 1.1067 | 322.1133 | 1.2867 | 353.9667 | 0.98667 | 342.28 | 0.17333 | 287.1133 | 23.41 | 883 | 92.5667 | 0.40667
2019-08-02 01:00:00 | 0.66667 | 316.7333 | 0.77333 | 348.0533 | 0.3 | 342.8 | 0.26667 | 237.1333 | 23.21 | 883 | 93.5467 | 0.27133
2019-08-02 01:15:00 | 1.2367 | 320.6633 | 1.42 | 352.3667 | 0.90333 | 355.2267 | 0.40667 | 253.3 | 23.1033 | 882.2 | 94.0133 | 0.30933
2019-08-02 01:30:00 | 1.47 | 321.69 | 1.7 | 353.5 | 1.4833 | 130.3267 | 0.17333 | 81.8133 | 23.0167 | 882 | 94.2333 | 0.224
2019-08-02 01:45:00 | 1.916 | 322.816 | 2.202 | 354.74 | 2.426 | 10.778 | 1.806 | 16.77 | 22.808 | 882 | 94.84 | 0.37867
2019-08-02 02:00:00 | 2.2867 | 304.4067 | 2.63 | 334.5 | 3.07 | 11.0633 | 2.93 | 10.13 | 22.7013 | 882 | 95.6 | 0
2019-08-02 02:15:00 | 3.0867 | 275.9233 | 3.5567 | 303.2 | 3.8433 | 344.1 | 3.76 | 13.5367 | 22.5267 | 882 | 96.08 | 0.12133
2019-08-02 02:30:00 | 2.6533 | 308.55 | 3.0633 | 339.0667 | 3.4233 | 356.4333 | 3.2267 | 36.75 | 22.2933 | 882 | 96.9 | 0
2019-08-02 02:45:00 | 2.3867 | 324.06 | 2.75 | 356.1 | 3 | 3.8333 | 2.6867 | 3.5733 | 22.174 | 882 | 96.1867 | 0.074667
2019-08-02 03:00:00 | 2.3933 | 110.0933 | 2.7567 | 120.9733 | 3.3867 | 10.96 | 3.2867 | 14.4933 | 22.1813 | 882 | 96.4333 | 0
2019-08-02 03:15:00 | 3.0367 | 317.05 | 3.4933 | 348.4 | 4.2 | 122.72 | 3.7533 | 6.4 | 22.0233 | 882 | 97.9333 | 0.222
2019-08-02 03:30:00 | 3.3433 | 307.5233 | 3.8467 | 337.9333 | 4.68 | 118.1867 | 4.3667 | 5.8667 | 21.8367 | 882 | 98.4 | 0.45267
2019-08-02 03:45:00 | 3.0333 | 248.92 | 3.49 | 273.5333 | 4.7167 | 18.5167 | 4.9133 | 15.52 | 21.7627 | 882 | 98.1667 | 3.4267
2019-08-02 04:00:00 | 3.0733 | 238.6067 | 3.53 | 262.2 | 5.6367 | 239.0033 | 5.6733 | 5.9333 | 21.7333 | 882 | 98.6333 | 6.1187
2019-08-02 04:15:00 | 3.0467 | 171.71 | 3.5033 | 188.69 | 5.37 | 4.45 | 5.5533 | 17.1367 | 21.6693 | 882 | 98.9 | 9.8333
2019-08-02 04:30:00 | 3.1 | 182.15 | 3.57 | 200.1567 | 5.2967 | 13.23 | 5.74 | 24.95 | 21.6253 | 882 | 98.5667 | 7.94
2019-08-02 04:45:00 | 3.3833 | 306.7933 | 3.89 | 337.1333 | 4.9833 | 5.5033 | 5.1233 | 17.6767 | 21.608 | 881.2 | 98.4067 | 7.5787
2019-08-02 05:00:00 | 3.41 | 311.3467 | 3.93 | 342.1333 | 5.31 | 36.33 | 5.5433 | 11.15 | 21.6347 | 881 | 98.4333 | 9.0007
2019-08-02 05:15:00 | 3.5267 | 286.9567 | 4.0633 | 315.3333 | 5.9033 | 117.7467 | 6.08 | 7.3733 | 21.612 | 881 | 98.5133 | 13.6047
2019-08-02 05:30:00 | 3.7 | 298.67 | 4.27 | 328.2 | 6.5567 | 147.88 | 6.56 | 3.0267 | 21.5753 | 881 | 98.7333 | 12.216
2019-08-02 05:45:00 | 3.32 | 98.9333 | 3.8233 | 108.7067 | 5.9467 | 11.1367 | 6.2167 | 15.87 | 21.5393 | 881 | 98.8 | 17.8107
2019-08-02 06:00:00 | 3.7467 | 97.0067 | 4.3233 | 106.5867 | 6.14 | 18.0567 | 6.2767 | 14.59 | 21.526 | 881 | 98.9333 | 20.5713
2019-08-02 06:15:00 | 3.8133 | 314.75 | 4.3933 | 345.8667 | 6.4067 | 7.3867 | 6.44 | 18.11 | 21.458 | 881 | 99.4667 | 20.5173
2019-08-02 06:30:00 | 3.3733 | 108.0833 | 3.8867 | 118.7667 | 6.1 | 15.0667 | 6.1933 | 23.7033 | 21.3567 | 881 | 99.6467 | 17.57
2019-08-02 06:45:00 | 3.1033 | 100.68 | 3.5767 | 110.6333 | 5.72 | 13.2267 | 5.6733 | 24.7633 | 21.2647 | 881 | 99.7933 | 14.62
2019-08-02 07:00:00 | 3.23 | 126.8067 | 3.7167 | 139.34 | 5.52 | 230.9533 | 5.3867 | 13.63 | 21.2207 | 881 | 99.9 | 8.684
2019-08-02 07:15:00 | 3.12 | 206.8967 | 3.5867 | 227.35 | 4.87 | 112.48 | 4.7 | 11.8733 | 21.2953 | 881 | 99.6333 | 4.8553
2019-08-02 07:30:00 | 3.2267 | 10.0367 | 3.72 | 11.03 | 4.7233 | 115.98 | 4.44 | 7.9733 | 21.37 | 881 | 99.3667 | 3.6487
2019-08-02 07:45:00 | 2.9267 | 300.9667 | 3.3667 | 330.7333 | 4.8567 | 3.8567 | 4.66 | 5.0967 | 21.4653 | 881 | 99.2067 | 3.4507
2019-08-02 08:00:00 | 3.2133 | 318.8667 | 3.7 | 350.4 | 5.17 | 236.2833 | 4.6867 | 4.25 | 21.64 | 881 | 98.9 | 2.1707
2019-08-02 08:15:00 | 3.1733 | 139.88 | 3.6567 | 153.7067 | 5.0267 | 118.2333 | 4.6967 | 2.8267 | 21.8567 | 881.1333 | 98.0333 | 2.5033
2019-08-02 08:30:00 | 3.4 | 100.7 | 3.9233 | 110.66 | 5.12 | 122.1533 | 4.8567 | 7.72 | 21.8233 | 882 | 97.7467 | 5.3407
2019-08-02 08:45:00 | 3.7133 | 163.2267 | 4.28 | 179.3667 | 5.33 | 11.6933 | 5.1333 | 8.8267 | 21.8367 | 882 | 97.4667 | 3.8693
2019-08-02 09:00:00 | 3.6867 | 187.9133 | 4.2467 | 206.5 | 5.27 | 9.6867 | 4.9867 | 17.9333 | 22.03 | 882 | 96.2667 | 3.2333
2019-08-02 09:15:00 | 3.54 | 16.3667 | 4.07 | 17.9733 | 5.5367 | 21.81 | 5.15 | 8.7133 | 22.2813 | 882 | 95.9333 | 3.7293
2019-08-02 09:30:00 | 3.3333 | 17.4533 | 3.8367 | 19.1733 | 4.8633 | 19.85 | 4.63 | 7.4667 | 22.23 | 882 | 95.4667 | 2.5233
2019-08-02 09:45:00 | 3.3467 | 7.4667 | 3.85 | 8.2 | 4.6333 | 238.74 | 4.48 | 52.9633 | 22.1267 | 882 | 95.8333 | 2.4533
2019-08-02 10:00:00 | 3.5067 | 219.24 | 4.03 | 240.92 | 4.7267 | 6.14 | 4.4333 | 9.37 | 22.3933 | 882 | 94.9667 | 0.80867
2019-08-02 10:15:00 | 3.1033 | 6.6333 | 3.5767 | 7.2833 | 4.0133 | 0.21 | 3.6733 | 119.6667 | 22.6933 | 882 | 94.0333 | 0.32
2019-08-02 10:30:00 | 2.7833 | 196.4933 | 3.2033 | 215.9233 | 3.2067 | 237.9167 | 2.7733 | 120.96 | 23.12 | 882.4667 | 92.6333 | 0
2019-08-02 10:45:00 | 2.1567 | 319.5933 | 2.48 | 351.2 | 2.6133 | 136.9333 | 1.7067 | 230.8767 | 23.2627 | 883 | 92.0667 | 0
2019-08-02 11:00:00 | 2.2367 | 312.5 | 2.58 | 343.4 | 2.8667 | 124.0867 | 2.56 | 8.8433 | 23.2967 | 883 | 92.7333 | 0.496
2019-08-02 11:15:00 | 2.1467 | 2.1133 | 2.4667 | 2.3167 | 2.5967 | 240.3 | 2.1167 | 133.7467 | 23.7133 | 883 | 91.2133 | 0.62933
2019-08-02 11:30:00 | 1.8467 | 14.46 | 2.1333 | 15.89 | 2.3233 | 240.0333 | 1.7367 | 353.1 | 24.0867 | 883 | 90.8333 | 0
2019-08-02 11:45:00 | 1.5533 | 205.2533 | 1.79 | 225.5567 | 1.7233 | 227.8533 | 1.45 | 255.4333 | 24.0873 | 883 | 90.3333 | 0.041333
2019-08-02 12:00:00 | 1.26 | 10.62 | 1.4567 | 11.6633 | 1.6433 | 24.0733 | 1.1433 | 124.24 | 24.1833 | 883 | 90.8 | 0
2019-08-02 12:15:00 | 1.3 | 119.8967 | 1.5033 | 131.7533 | 1.64 | 114.5667 | 0.74 | 89.2133 | 24.2733 | 883 | 90.4333 | 0.14267
2019-08-02 12:30:00 | 1.4 | 107.6367 | 1.6233 | 118.2733 | 1.6533 | 117.2533 | 1.0267 | 314.3667 | 23.7333 | 883 | 92.6333 | 0.184
2019-08-02 12:45:00 | 1.51 | 6.4933 | 1.7433 | 7.13 | 1.7833 | 18 | 0.77667 | 211.4933 | 23.4767 | 882.2 | 93.6 | 0.090667
2019-08-02 13:00:00 | 1.6433 | 215.5267 | 1.9033 | 236.83 | 2.03 | 14.9533 | 1.0633 | 6.1867 | 23.396 | 882 | 93.7333 | 0.33667
2019-08-02 13:15:00 | 1.2967 | 6.0467 | 1.4933 | 6.6433 | 1.5367 | 234.06 | 0.47 | 232.1667 | 23.35 | 882 | 94.2333 | 0.24533
2019-08-02 13:30:00 | 1.4433 | 219.22 | 1.6733 | 240.9033 | 1.6367 | 237.7933 | 0.12333 | 274.6333 | 23.5033 | 882 | 93.3667 | 0.020667
2019-08-02 13:45:00 | 1.8 | 310.7133 | 2.0767 | 341.4467 | 2.43 | 10.6767 | 1.4067 | 17.0433 | 23.536 | 882 | 93.6 | 0
2019-08-02 14:00:00 | 1.86 | 313.5033 | 2.1433 | 344.5 | 2.3167 | 8.3433 | 1.9267 | 240.9633 | 23.3933 | 882 | 94.1333 | 0.45133
2019-08-02 14:15:00 | 1.8 | 316.7467 | 2.0833 | 348.0667 | 2.1667 | 239.72 | 1.6067 | 350.2 | 22.9167 | 882 | 96.5 | 1.6447
2019-08-02 14:30:00 | 1.0133 | 106.3933 | 1.1767 | 116.9133 | 1.1067 | 12.0333 | 1.0067 | 295 | 22.69 | 881.5333 | 97.4333 | 1.592
2019-08-02 14:45:00 | 0.82667 | 104.3267 | 0.95333 | 114.6467 | 0.93667 | 106.8267 | 1.7933 | 270.4667 | 22.53 | 881 | 98.5333 | 1.8567
2019-08-02 15:00:00 | 0.67429 | 109.5036 | 0.77786 | 120.3279 | 0.91714 | 324.6929 | 1.635 | 305.4143 | 22.4771 | 881 | 99.1214 | 3.4
2019-08-02 15:15:00 | 1.04 | 201.5767 | 1.2 | 221.5 | 1.7267 | 206.5333 | 2.21 | 225.6667 | 22.6033 | 881 | 99.8667 | 2.326
2019-08-02 15:30:00 | 0.88 | 206.9633 | 1.0267 | 227.4333 | 1.62 | 222 | 1.77 | 217.9333 | 22.7767 | 881 | 100 | 3.4307
2019-08-02 15:45:00 | 0.53667 | 224.8933 | 0.62667 | 247.1333 | 0.92333 | 236.3667 | 0.95667 | 211.1333 | 22.8807 | 881 | 100 | 4.0173
2019-08-02 16:00:00 | 0.13667 | 167.5667 | 0.16 | 184.1333 | 0.20333 | 212.8333 | 1.0967 | 202.7333 | 22.9933 | 881 | 100 | 3.1727
2019-08-02 16:15:00 | 0.88 | 159.4367 | 1.0133 | 175.2 | 1.2067 | 187.6 | 1.7767 | 191.0667 | 22.95 | 881 | 100 | 4.274
2019-08-02 16:30:00 | 1.6533 | 170.7167 | 1.9067 | 187.6 | 2.38 | 207.6 | 2.5433 | 204.6 | 22.87 | 881 | 100 | 4.3393
2019-08-02 16:45:00 | 1.45 | 160.922 | 1.6733 | 176.8267 | 2.1033 | 208.3333 | 2.39 | 213.1 | 22.886 | 881 | 100 | 2.774
2019-08-02 17:00:00 | 0.42333 | 133.7813 | 0.48667 | 147.0067 | 0.57 | 203.9333 | 0.75 | 211.4333 | 23.0367 | 881 | 100 | 2.498
2019-08-02 17:15:00 | 1.18 | 156.74 | 1.36 | 172.2333 | 1.6933 | 202.9333 | 1.8733 | 205.8 | 23.1667 | 881 | 100 | 1.7273
2019-08-02 17:30:00 | 0.67333 | 163.1133 | 0.77333 | 179.2333 | 1.08 | 212.8667 | 1.1333 | 204.8 | 23.16 | 881 | 100 | 1.1147
2019-08-02 17:45:00 | 0.35333 | 163.72 | 0.41333 | 179.9 | 0.64667 | 224 | 0.04 | 212.6667 | 23.1293 | 881 | 100 | 0.608
2019-08-02 18:00:00 | 0.27333 | 193.68 | 0.32 | 212.8333 | 0.48 | 218.8 | 0.013333 | 221.5333 | 23.066 | 881 | 100 | 0.67667
2019-08-02 18:15:00 | 0.02 | 221.5867 | 0.023333 | 243.5 | 0 | 222.5 | 0 | 220.6 | 23.1073 | 881 | 100 | 0.51667
2019-08-02 18:30:00 | 0.14 | 269.16 | 0.16333 | 295.7667 | 0 | 222.5467 | 0 | 220.6 | 23.03 | 881 | 100 | 0.254
2019-08-02 18:45:00 | 0.28667 | 313.5267 | 0.33 | 344.5333 | 0.08 | 149.1267 | 0 | 220.6 | 22.93 | 881 | 100 | 0.012667
2019-08-02 19:00:00 | 1.1067 | 319.8333 | 1.2767 | 351.4667 | 1.1867 | 2.04 | 0.14667 | 75.7333 | 22.8233 | 881 | 100 | 0
2019-08-02 19:15:00 | 1.84 | 300.88 | 2.1233 | 330.6333 | 2.1633 | 1.4767 | 1.0867 | 13.54 | 22.6733 | 881 | 100 | 0
2019-08-02 19:30:00 | 2.1133 | 113.0133 | 2.4367 | 124.1867 | 2.5433 | 2.09 | 1.92 | 11.6333 | 22.5867 | 881 | 100 | 0
2019-08-02 19:45:00 | 2.2533 | 108.1267 | 2.5867 | 118.8067 | 3.4367 | 14.6433 | 2.8367 | 11.2067 | 22.528 | 881 | 100 | 0.049333
2019-08-02 20:00:00 | 2.3 | 307.3733 | 2.6467 | 337.7667 | 3.45 | 5.65 | 2.9767 | 5.6533 | 22.4867 | 881 | 100 | 0.15533
2019-08-02 20:15:00 | 2.4 | 323.6533 | 2.7633 | 355.6667 | 4.0333 | 9.78 | 3.7533 | 17.85 | 22.4433 | 881 | 100 | 1.276
2019-08-02 20:30:00 | 2.82 | 310.56 | 3.2433 | 341.2667 | 4.86 | 2.1667 | 4.72 | 15.6633 | 22.3533 | 881 | 100 | 3.1947
2019-08-02 20:45:00 | 3.3133 | 317.9033 | 3.8167 | 349.3333 | 5.5 | 8.1667 | 5.2533 | 9.59 | 22.206 | 881 | 100 | 6.0407
2019-08-02 21:00:00 | 3.6467 | 316.1433 | 4.1967 | 347.4 | 6.1067 | 5.2333 | 5.9 | 12.6367 | 22.1613 | 881 | 100 | 8.202
2019-08-02 21:15:00 | 3.3933 | 16.0467 | 3.9 | 17.6267 | 5.65 | 236.8667 | 5.3367 | 6.22 | 22.05 | 881.8 | 100 | 9.9467
2019-08-02 21:30:00 | 3.3133 | 10.4133 | 3.82 | 11.44 | 5.5567 | 4.4933 | 5.4367 | 14.0933 | 21.9913 | 882 | 100 | 12.9453
2019-08-02 21:45:00 | 3.6733 | 167.4 | 4.2267 | 183.9433 | 6.01 | 20.3967 | 5.84 | 14.2433 | 21.9453 | 882 | 100 | 14.3447
2019-08-02 22:00:00 | 3.6467 | 7.9667 | 4.2 | 8.7433 | 6.03 | 239.9433 | 6.0133 | 238.37 | 21.8767 | 882 | 100 | 15.6807
2019-08-02 22:15:00 | 3.35 | 196.4133 | 3.85 | 215.8333 | 6.0533 | 110.9133 | 6.3867 | 14.78 | 21.8373 | 882 | 100 | 17.9753
2019-08-02 22:30:00 | 3.8233 | 10.8667 | 4.3967 | 11.9333 | 6.3667 | 114.4267 | 6.7467 | 16.8267 | 21.8307 | 882 | 100 | 22.7007
2019-08-02 22:45:00 | 3.9233 | 109.07 | 4.5133 | 119.86 | 6.6833 | 12.1 | 7.3733 | 13.5267 | 21.756 | 882 | 100 | 23.9587
2019-08-02 23:00:00 | 4.01 | 146.4033 | 4.62 | 160.88 | 6.79 | 13.14 | 7.4733 | 13.74 | 21.7207 | 882 | 100 | 23.4793
2019-08-02 23:15:00 | 3.988 | 28.5513 | 4.592 | 31.3687 | 6.5967 | 7.26 | 7.122 | 14.7887 | 21.6807 | 882 | 100 | 24.2347
2019-08-02 23:30:00 | 3.9467 | 20.37 | 4.54 | 22.3767 | 6.25 | 233.8 | 6.7033 | 5.4567 | 21.6307 | 882 | 100 | 24.1613
2019-08-02 23:45:00 | 3.6533 | 214.25 | 4.2 | 235.44 | 5.7133 | 130.7933 | 6.2533 | 123.5 | 21.624 | 882 | 100 | 29.7873