## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-04 00:00:00 | 0.83857 | 209.5971 | 0.97 | 230.3286 | 1.2364 | 202.9786 | 0.83643 | 207.0143 | 21.5236 | 884 | 98.6 | 0
2019-08-04 00:15:00 | 0.60667 | 204.58 | 0.70333 | 224.8 | 1.0833 | 208.0333 | 1.6633 | 212.4 | 21.6187 | 883.8667 | 98.4 | 0
2019-08-04 00:30:00 | 0.68133 | 204.5333 | 0.79533 | 224.7533 | 1.1833 | 208.9267 | 1.374 | 211.5333 | 21.578 | 883 | 99.4667 | 0
2019-08-04 00:45:00 | 1.2533 | 177.6633 | 1.4433 | 195.2333 | 1.6733 | 198.7333 | 1.8933 | 197.9333 | 21.4153 | 883 | 99.3333 | 0
2019-08-04 01:00:00 | 0.3 | 172.2033 | 0.35667 | 189.2333 | 0.42667 | 199.6667 | 1.0867 | 200.5333 | 21.4833 | 883 | 98.7333 | 0
2019-08-04 01:15:00 | 0 | 175.774 | 0 | 193.16 | 0 | 200.38 | 0.14667 | 202.2867 | 21.484 | 883 | 99.5333 | 0
2019-08-04 01:30:00 | 0.04 | 175.6287 | 0.046667 | 192.9933 | 0 | 200.4 | 0 | 202.2 | 21.3367 | 883 | 99.8467 | 0
2019-08-04 01:45:00 | 0.58 | 288.0833 | 0.67667 | 316.5667 | 0 | 218.7667 | 0 | 202.2 | 21.224 | 883 | 99.9667 | 0
2019-08-04 02:00:00 | 0.47333 | 306.03 | 0.55 | 336.3 | 0 | 255.5 | 0 | 202.2 | 21.1047 | 883 | 99.9467 | 0
2019-08-04 02:15:00 | 0.16667 | 306.03 | 0.19333 | 336.3 | 0.17333 | 324.4333 | 0.14 | 352.6133 | 21.03 | 883 | 100 | 0
2019-08-04 02:30:00 | 0.44667 | 306.03 | 0.52 | 336.3 | 0.18667 | 349.0333 | 0.26667 | 352.7 | 21.0513 | 883 | 100 | 0
2019-08-04 02:45:00 | 0.79667 | 305.5767 | 0.92 | 335.8 | 0.37333 | 4.72 | 0.21333 | 352.7 | 20.9647 | 883 | 100 | 0
2019-08-04 03:00:00 | 1.09 | 305.2767 | 1.2533 | 335.4667 | 0.76 | 4.72 | 0.37333 | 352.7 | 20.85 | 883 | 100 | 0
2019-08-04 03:15:00 | 1.0267 | 323.15 | 1.19 | 355.1 | 1.3333 | 23.2167 | 0.17333 | 235.2933 | 20.63 | 883 | 100 | 0
2019-08-04 03:30:00 | 0.32667 | 322.008 | 0.37667 | 353.8533 | 0.19333 | 25.1433 | 0 | 0.34 | 20.5547 | 883 | 100 | 0
2019-08-04 03:45:00 | 0.41333 | 315.3467 | 0.47333 | 346.5333 | 0 | 26.05 | 0 | 0.34 | 20.606 | 883 | 100 | 0
2019-08-04 04:00:00 | 0.36667 | 290.66 | 0.42 | 319.4 | 0 | 26.05 | 0 | 0.34 | 20.6887 | 883 | 100 | 0
2019-08-04 04:15:00 | 0.51667 | 303.5233 | 0.59667 | 333.5333 | 0.21333 | 27.0567 | 0.14333 | 0.37333 | 20.706 | 883 | 100 | 0
2019-08-04 04:30:00 | 1.1167 | 302.97 | 1.2967 | 332.9333 | 0.92667 | 245.4233 | 0.61667 | 0.47333 | 20.57 | 882.5333 | 100 | 0
2019-08-04 04:45:00 | 1.7333 | 297.06 | 2.0067 | 326.4333 | 1.6133 | 350.2667 | 0.13667 | 0.40667 | 20.508 | 882.6667 | 100 | 0
2019-08-04 05:00:00 | 1.7 | 305.9133 | 1.96 | 336.1667 | 1.8733 | 352.7333 | 0.75 | 0.47333 | 20.5113 | 882 | 100 | 0
2019-08-04 05:15:00 | 1.858 | 310.076 | 2.15 | 340.74 | 1.844 | 71.12 | 0.842 | 4.47 | 20.47 | 882 | 100 | 0
2019-08-04 05:30:00 | 2.45 | 315.56 | 2.8167 | 346.7667 | 2.86 | 349.8 | 2.3633 | 18.1367 | 20.4367 | 882 | 100 | 0
2019-08-04 05:45:00 | 2.6933 | 2.64 | 3.1067 | 2.9 | 3.26 | 119.0667 | 2.97 | 130.7733 | 20.3133 | 882 | 100 | 0
2019-08-04 06:00:00 | 2.8667 | 213.9267 | 3.3067 | 235.08 | 3.6733 | 119.0667 | 3.33 | 119.68 | 20.1933 | 882 | 100 | 0
2019-08-04 06:15:00 | 2.4467 | 301.9767 | 2.8167 | 331.8333 | 3.1067 | 6.7567 | 2.8667 | 1.6367 | 19.8333 | 882 | 100 | 0
2019-08-04 06:30:00 | 2.5067 | 320.05 | 2.8833 | 351.7 | 2.96 | 14.5833 | 2.56 | 0.81 | 19.8047 | 882 | 100 | 0
2019-08-04 06:45:00 | 2.586 | 308.1133 | 2.9767 | 338.5733 | 3.182 | 13.5787 | 2.5907 | 18.914 | 19.8313 | 882 | 100 | 0
2019-08-04 07:00:00 | 2.7133 | 313.9467 | 3.12 | 345 | 3.0333 | 2.9933 | 2.69 | 23.7467 | 20.07 | 882 | 99.9533 | 0
2019-08-04 07:15:00 | 1.86 | 71.478 | 2.14 | 78.54 | 2.346 | 71.12 | 2.44 | 31.926 | 20.1673 | 882.8 | 99.66 | 0
2019-08-04 07:30:00 | 1.7533 | 315.25 | 2.0267 | 346.4333 | 2.55 | 125.4267 | 2.9733 | 26.8367 | 20.28 | 883 | 99.9467 | 0
2019-08-04 07:45:00 | 2.3 | 104.5333 | 2.6467 | 114.8667 | 2.95 | 0.50333 | 2.9367 | 20.04 | 20.7 | 883 | 100 | 0
2019-08-04 08:00:00 | 2.3867 | 104.62 | 2.7467 | 114.96 | 3.3367 | 2.17 | 3.2567 | 10.9 | 20.9 | 883 | 100 | 0
2019-08-04 08:15:00 | 3.2833 | 6.4567 | 3.7733 | 7.0833 | 3.9367 | 119.0667 | 3.94 | 10.75 | 20.5933 | 883 | 100 | 0.51467
2019-08-04 08:30:00 | 2.79 | 198.0967 | 3.2067 | 217.6833 | 3.71 | 119.4867 | 4.12 | 12.45 | 20.4733 | 883 | 100 | 0.30267
2019-08-04 08:45:00 | 2.86 | 313.1367 | 3.2933 | 344.1 | 3.76 | 6.97 | 3.81 | 12.2 | 20.72 | 883 | 99.62 | 0
2019-08-04 09:00:00 | 2.8 | 305.5567 | 3.22 | 335.7667 | 3.3867 | 2.79 | 3.3767 | 3.6333 | 20.9733 | 883 | 98.6 | 0
2019-08-04 09:15:00 | 2.4233 | 2.4233 | 2.7833 | 2.6567 | 2.8067 | 152.04 | 2.94 | 119.1267 | 21.2833 | 883 | 97.8 | 0
2019-08-04 09:30:00 | 2.09 | 22.3833 | 2.4033 | 24.59 | 2.5933 | 121.6333 | 2.8467 | 356.8 | 21.51 | 883.4667 | 97.5533 | 0
2019-08-04 09:45:00 | 2.5267 | 13.21 | 2.9067 | 14.5133 | 2.9167 | 120.4267 | 2.7233 | 52.9733 | 22.4667 | 884 | 94.9 | 0
2019-08-04 10:00:00 | 2.3133 | 28.53 | 2.6733 | 31.3467 | 2.6367 | 123.6667 | 2.6433 | 237.88 | 23.02 | 884 | 92.2333 | 0
2019-08-04 10:15:00 | 2.1133 | 108.4433 | 2.4333 | 119.16 | 2.52 | 15.24 | 2.4833 | 12.2767 | 23.2433 | 884.8 | 90.7667 | 0
2019-08-04 10:30:00 | 1.7 | 110.65 | 1.9667 | 121.5933 | 2.0733 | 4.34 | 1.81 | 232.63 | 23.4767 | 885 | 89.6333 | 0
2019-08-04 10:45:00 | 1.32 | 16.77 | 1.52 | 18.42 | 1.3567 | 123.72 | 1.29 | 341.6333 | 23.8133 | 885 | 88.3667 | 0
2019-08-04 11:00:00 | 1.2667 | 50.39 | 1.4533 | 55.3667 | 1.4567 | 356.1 | 1.1033 | 335.8333 | 24.1067 | 885 | 87.2333 | 0
2019-08-04 11:15:00 | 1.6667 | 0.10667 | 1.9167 | 0.11667 | 1.9267 | 10.4267 | 1.6467 | 119.2933 | 24.4 | 885 | 86 | 0
2019-08-04 11:30:00 | 1.56 | 9.52 | 1.7967 | 10.45 | 1.8067 | 6.7133 | 1.2467 | 119.1733 | 24.7067 | 885 | 83.8 | 0
2019-08-04 11:45:00 | 1.8267 | 23.0733 | 2.1033 | 25.3533 | 1.92 | 235.39 | 1.6633 | 349.1333 | 25.2867 | 885 | 81.1867 | 0
2019-08-04 12:00:00 | 1.56 | 218.4 | 1.8033 | 239.9933 | 1.6267 | 13.6833 | 1.09 | 127.1467 | 25.68 | 885 | 79.2 | 0
2019-08-04 12:15:00 | 1.7267 | 320.7733 | 1.99 | 352.5 | 2.1067 | 243.4533 | 1.5267 | 10.5333 | 26.2 | 885 | 76.79 | 0
2019-08-04 12:30:00 | 1.5133 | 105.3467 | 1.7433 | 115.7667 | 1.9267 | 17.1333 | 1.48 | 5.22 | 26.38 | 885 | 74.6433 | 0
2019-08-04 12:45:00 | 0.49 | 196.2267 | 0.56333 | 215.6333 | 0.75333 | 307.7 | 0.97 | 257.4667 | 26.6533 | 885 | 74.2867 | 0
2019-08-04 13:00:00 | 0.40333 | 190.8333 | 0.47 | 209.7 | 0.66667 | 326.1 | 0.93667 | 294.0667 | 26.9333 | 885 | 77.2333 | 0
2019-08-04 13:15:00 | 0.8 | 162.7067 | 0.93 | 178.8 | 0.95333 | 234.4 | 1.1167 | 227.4333 | 27.62 | 885 | 76.9167 | 0
2019-08-04 13:30:00 | 0.74667 | 236.78 | 0.86333 | 260.2 | 1.0933 | 266.6667 | 1.0767 | 227.7 | 27.88 | 885 | 74.5833 | 0
2019-08-04 13:45:00 | 0.77333 | 124.5 | 0.89 | 136.8 | 1.11 | 302.8667 | 1.0933 | 63.92 | 28.0433 | 885 | 74.1533 | 0
2019-08-04 14:00:00 | 0.77333 | 122.8533 | 0.89 | 135 | 0.75667 | 166.8 | 0.78 | 167.6667 | 27.6767 | 885 | 75.7067 | 0
2019-08-04 14:15:00 | 0.54667 | 143.57 | 0.64 | 157.7667 | 0.61 | 135.72 | 0.97 | 165.3333 | 28.0267 | 885 | 73.5967 | 0
2019-08-04 14:30:00 | 0.97333 | 166.2033 | 1.1267 | 182.6333 | 1.3167 | 144.32 | 1.2967 | 135.6 | 28.2467 | 885 | 73.4967 | 0
2019-08-04 14:45:00 | 1.55 | 151.3333 | 1.7867 | 166.3 | 1.9367 | 217.4 | 1.8733 | 183.8 | 29.04 | 885 | 67.44 | 0
2019-08-04 15:00:00 | 1.4233 | 136.72 | 1.6467 | 150.2333 | 1.9433 | 209.6667 | 1.8467 | 212.6 | 29.5 | 885 | 63.14 | 0
2019-08-04 15:15:00 | 1.82 | 154.4633 | 2.09 | 169.7333 | 2.2767 | 153.0667 | 2.1733 | 204.7 | 29.49 | 885 | 62.0367 | 0
2019-08-04 15:30:00 | 2.3867 | 113.57 | 2.7433 | 124.8 | 2.8833 | 182.4 | 2.9533 | 182.5 | 29.4267 | 885 | 60.0833 | 0
2019-08-04 15:45:00 | 2.4133 | 163.2933 | 2.78 | 179.4333 | 3.06 | 177.1 | 3.09 | 212.8667 | 29.42 | 885 | 60.39 | 0
2019-08-04 16:00:00 | 2.184 | 153.062 | 2.522 | 168.2 | 2.76 | 170.6 | 2.85 | 184.56 | 29.402 | 884.5333 | 61.436 | 0
2019-08-04 16:15:00 | 1.5333 | 135.2867 | 1.76 | 148.6667 | 2.0667 | 151.8667 | 2.0833 | 172.8333 | 30.0467 | 884 | 61.4567 | 0
2019-08-04 16:30:00 | 1.6667 | 175.7533 | 1.9133 | 193.1333 | 2.34 | 189.4 | 2.3167 | 235.1 | 30.6353 | 884 | 58.5233 | 0
2019-08-04 16:45:00 | 1.3733 | 167.9033 | 1.5867 | 184.5 | 1.74 | 193.9667 | 1.67 | 218.5667 | 30.9267 | 884 | 58.9867 | 0
2019-08-04 17:00:00 | 1.2333 | 100.2233 | 1.42 | 110.1333 | 1.7533 | 226.4333 | 2.0833 | 235.7 | 30.7733 | 884 | 57.9333 | 0
2019-08-04 17:15:00 | 0.86667 | 167.2267 | 1.0033 | 183.7667 | 1.3633 | 232.4333 | 1.41 | 206.4667 | 31.3333 | 884.8 | 58.1727 | 0
2019-08-04 17:30:00 | 0.66 | 173.2933 | 0.77 | 190.4333 | 0.96333 | 236.6333 | 1.0167 | 226.1333 | 31.3533 | 885 | 58.49 | 0
2019-08-04 17:45:00 | 1.1033 | 181.9433 | 1.2833 | 199.9333 | 1.63 | 238.5 | 1.7 | 236.9 | 30.91 | 885 | 60.01 | 0
2019-08-04 18:00:00 | 1.0433 | 177.45 | 1.21 | 195 | 1.4833 | 187.7667 | 1.4467 | 191.7 | 30.6767 | 885 | 61.7233 | 0
2019-08-04 18:15:00 | 1.1553 | 173.746 | 1.336 | 190.92 | 1.6453 | 186.0867 | 1.4913 | 196.16 | 30.206 | 884.8667 | 62.574 | 0
2019-08-04 18:30:00 | 1.34 | 191.9167 | 1.5533 | 210.9 | 1.7667 | 225.3 | 1.5867 | 227.8 | 29.1633 | 884 | 62.92 | 0
2019-08-04 18:45:00 | 1.5067 | 192.674 | 1.74 | 211.7267 | 1.96 | 226.7867 | 1.76 | 231.8 | 27.7767 | 884 | 67.1767 | 0
2019-08-04 19:00:00 | 1.8133 | 194.1033 | 2.0867 | 213.3 | 2.4933 | 222.5667 | 2.3133 | 224.8 | 27.35 | 883.5333 | 69.29 | 0
2019-08-04 19:15:00 | 1.5767 | 175.27 | 1.8133 | 192.6 | 2.1767 | 220.2667 | 2.0367 | 216.1 | 26.98 | 883 | 69.9167 | 0
2019-08-04 19:30:00 | 1.47 | 192.63 | 1.6867 | 211.6667 | 1.9833 | 225.6667 | 1.89 | 221.3667 | 26.9 | 883 | 68.27 | 0
2019-08-04 19:45:00 | 2.1833 | 184.0933 | 2.5133 | 202.3 | 3.2633 | 221.9667 | 3.1567 | 227.8667 | 26.73 | 883 | 69.8267 | 0.50533
2019-08-04 20:00:00 | 2.3633 | 192.5333 | 2.72 | 211.5667 | 3.6033 | 216.8333 | 3.37 | 222.6 | 26.4167 | 883 | 71.6533 | 0.32333
2019-08-04 20:15:00 | 1.9233 | 176.3933 | 2.2133 | 193.8333 | 2.8933 | 218.2 | 2.9467 | 222.9 | 26.1827 | 883 | 72.8967 | 0
2019-08-04 20:30:00 | 1.81 | 180.22 | 2.0867 | 198.0333 | 2.82 | 222.2667 | 2.84 | 230.3667 | 26.1907 | 883 | 72.9767 | 0
2019-08-04 20:45:00 | 1.88 | 175.54 | 2.16 | 192.9 | 2.9833 | 219.6333 | 3.0733 | 227.4 | 25.9433 | 883 | 74.96 | 0
2019-08-04 21:00:00 | 1.5333 | 209.7533 | 1.76 | 230.5 | 2.6167 | 232.9667 | 2.8267 | 241.1333 | 25.81 | 883 | 75.9133 | 0
2019-08-04 21:15:00 | 1.3667 | 181.4153 | 1.5733 | 199.36 | 2.1533 | 214.1333 | 2.3733 | 235.1 | 25.6867 | 883 | 76.79 | 0
2019-08-04 21:30:00 | 1.9267 | 177.7833 | 2.22 | 195.3667 | 2.6267 | 186.3333 | 2.6067 | 199.0333 | 25.46 | 883 | 78.4833 | 0
2019-08-04 21:45:00 | 1.6967 | 163.3467 | 1.96 | 179.5 | 2.3867 | 189.8333 | 2.4667 | 201.4333 | 25.19 | 883 | 80.5667 | 0
2019-08-04 22:00:00 | 1.9967 | 171.48 | 2.2933 | 188.4333 | 2.5933 | 188.04 | 2.6533 | 199.6333 | 25.0233 | 883 | 82.1 | 0
2019-08-04 22:15:00 | 2.6433 | 175.0567 | 3.04 | 192.3667 | 3.4833 | 185.8333 | 3.4333 | 199.5267 | 24.8067 | 883 | 82.5 | 0.206
2019-08-04 22:30:00 | 2.3967 | 169.5367 | 2.76 | 186.3 | 3.07 | 192.9667 | 3.0933 | 200.8333 | 24.5933 | 883 | 85.3 | 0.048
2019-08-04 22:45:00 | 2.24 | 125.13 | 2.5767 | 137.5 | 3.0267 | 184.5667 | 3.03 | 188.2 | 24.3833 | 883 | 87.4333 | 0
2019-08-04 23:00:00 | 2.1867 | 126.4033 | 2.5233 | 138.9 | 2.88 | 198.4333 | 3.2767 | 191.1333 | 24.2233 | 883 | 89.0333 | 0.44933
2019-08-04 23:15:00 | 2.5033 | 157.6167 | 2.8833 | 173.2 | 3.1667 | 191.0333 | 3.5533 | 187.4733 | 24.3173 | 883 | 88.3667 | 0.284
2019-08-04 23:30:00 | 2.33 | 166.35 | 2.6767 | 182.8 | 3.0533 | 173.2333 | 3.3533 | 183.5333 | 24.2667 | 883 | 87.5667 | 0.02
2019-08-04 23:45:00 | 1.8633 | 173.26 | 2.1467 | 190.4 | 2.5767 | 185.9 | 2.61 | 188.1667 | 24.1973 | 883 | 87.6333 | 0