## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-05 00:00:00 | 1.5807 | 170.9693 | 1.8236 | 187.8714 | 2.1736 | 186.9571 | 2.1736 | 191.7214 | 24.1629 | 883 | 88.0929 | 0
2019-08-05 00:15:00 | 1.2867 | 171.9547 | 1.4767 | 188.96 | 1.94 | 179.2867 | 1.6267 | 188.1 | 24.21 | 883 | 87.7 | 0
2019-08-05 00:30:00 | 1.1267 | 166.2033 | 1.3033 | 182.6333 | 1.88 | 179.1533 | 1.6267 | 188.1 | 24.2007 | 883 | 87.3 | 0
2019-08-05 00:45:00 | 0.27333 | 163.82 | 0.31333 | 180.02 | 0.53333 | 178.94 | 0.47333 | 179 | 24.1733 | 883 | 87.7667 | 0
2019-08-05 01:00:00 | 0 | 163.8467 | 0 | 180.0467 | 0 | 178.9 | 0 | 179 | 23.94 | 883 | 89.1667 | 0
2019-08-05 01:15:00 | 0 | 163.82 | 0 | 180.02 | 0 | 178.9 | 0.044 | 179 | 23.8873 | 883 | 89.5933 | 0
2019-08-05 01:30:00 | 0 | 163.8 | 0 | 180 | 0 | 178.9 | 0 | 179 | 23.9387 | 883 | 89.12 | 0
2019-08-05 01:45:00 | 0.71333 | 215.0333 | 0.83 | 236.3 | 0.003333 | 178.9 | 0 | 179 | 23.5 | 883 | 89.3667 | 0
2019-08-05 02:00:00 | 1.0267 | 315.8067 | 1.19 | 347.0333 | 0.49667 | 178.9467 | 0 | 179 | 23.2467 | 883 | 89.6333 | 0
2019-08-05 02:15:00 | 2.1067 | 211.58 | 2.4233 | 232.5 | 2.5167 | 355.5333 | 1.03 | 119.1267 | 23.0467 | 883 | 90.7667 | 0
2019-08-05 02:30:00 | 2.2267 | 215.3267 | 2.57 | 236.6133 | 3.3833 | 120.4867 | 2.6767 | 119.74 | 22.8133 | 883 | 91.9 | 0
2019-08-05 02:45:00 | 1.98 | 318.9073 | 2.28 | 350.4467 | 2.7533 | 6.5433 | 2.1067 | 21.95 | 22.6933 | 882.8667 | 92.7667 | 0
2019-08-05 03:00:00 | 2.4 | 106.7667 | 2.7667 | 117.3267 | 2.9 | 6.4833 | 2.2667 | 16.9433 | 22.6213 | 882 | 93.9 | 0
2019-08-05 03:15:00 | 2.9733 | 302.9067 | 3.4267 | 332.8667 | 3.51 | 37.21 | 3.0833 | 17.18 | 22.2467 | 882.1333 | 96.4 | 0
2019-08-05 03:30:00 | 2.86 | 315.5333 | 3.2867 | 346.7333 | 3.63 | 9.5767 | 3.09 | 23.66 | 22.0333 | 882.5333 | 97.6667 | 0
2019-08-05 03:45:00 | 2.7227 | 313.486 | 3.134 | 344.48 | 3.2967 | 5.9533 | 2.81 | 24.5687 | 22.0573 | 882.8 | 97.6333 | 0
2019-08-05 04:00:00 | 2.66 | 314.93 | 3.0633 | 346.0667 | 3.4767 | 2.88 | 2.63 | 15.9433 | 22.0767 | 882.5333 | 97.3667 | 0
2019-08-05 04:15:00 | 2.44 | 317.05 | 2.8067 | 348.4 | 3.6 | 2.25 | 3.2333 | 8.3567 | 21.9033 | 882 | 98.1333 | 0
2019-08-05 04:30:00 | 2.8533 | 319.7833 | 3.28 | 351.4 | 3.8133 | 3.87 | 3.5333 | 8.5233 | 21.81 | 882 | 98.4 | 0.35
2019-08-05 04:45:00 | 3.4267 | 320.1307 | 3.9467 | 351.78 | 4.4667 | 4.6833 | 4.1667 | 8.36 | 21.6633 | 882 | 99 | 0.83867
2019-08-05 05:00:00 | 3.622 | 297.934 | 4.17 | 327.4 | 4.51 | 12.008 | 4.362 | 13.592 | 21.6207 | 882 | 99.38 | 1.6267
2019-08-05 05:15:00 | 3.3933 | 298.0333 | 3.9067 | 327.5 | 4.5567 | 240.1033 | 4.91 | 7.5867 | 21.4967 | 882 | 99.8 | 3.6333
2019-08-05 05:30:00 | 3.2333 | 290.7533 | 3.72 | 319.5 | 5.05 | 8.7167 | 5.47 | 12.9667 | 21.3833 | 882 | 100 | 5.1473
2019-08-05 05:45:00 | 3.1333 | 319.4733 | 3.6033 | 351.0667 | 5.5667 | 9.92 | 5.6667 | 11.21 | 21.2973 | 882 | 100 | 8.642
2019-08-05 06:00:00 | 3.5667 | 309.1 | 4.1033 | 339.6667 | 5.8933 | 6.2267 | 6.04 | 10.2033 | 21.2847 | 882 | 100 | 13.6167
2019-08-05 06:15:00 | 3.55 | 281.6767 | 4.08 | 309.5333 | 6.32 | 9.46 | 6.5767 | 10.6467 | 21.278 | 882 | 100 | 13.0133
2019-08-05 06:30:00 | 3.8167 | 298.2433 | 4.3867 | 327.7333 | 6.22 | 3.6267 | 6.5253 | 14.0933 | 21.236 | 882 | 100 | 13.1273
2019-08-05 06:45:00 | 4.04 | 212.0867 | 4.65 | 233.0633 | 5.7833 | 17.4467 | 6.2867 | 9.78 | 21.188 | 882 | 100 | 18.844
2019-08-05 07:00:00 | 3.8 | 9.6533 | 4.3767 | 10.5967 | 5.9967 | 15.3733 | 6.6 | 11.2867 | 21.1893 | 882 | 100 | 15.6347
2019-08-05 07:15:00 | 3.74 | 42.21 | 4.3 | 46.3833 | 5.98 | 7.8233 | 6.5033 | 18.4633 | 21.246 | 882 | 100 | 12.1673
2019-08-05 07:30:00 | 3.116 | 135.978 | 3.582 | 149.424 | 5.562 | 18.14 | 5.914 | 15.266 | 21.3193 | 882 | 100 | 10.486
2019-08-05 07:45:00 | 3.2533 | 197.6433 | 3.7433 | 217.1767 | 5.6067 | 14.4167 | 5.6733 | 16.0733 | 21.384 | 882 | 100 | 12.89
2019-08-05 08:00:00 | 3.88 | 9.3833 | 4.47 | 10.31 | 5.96 | 22.1767 | 6.2133 | 14.5667 | 21.3433 | 882 | 100 | 15.9913
2019-08-05 08:15:00 | 4.1467 | 91.3867 | 4.7667 | 100.4267 | 6.7933 | 8.9633 | 7.17 | 19.77 | 21.3147 | 882.8 | 100 | 17.548
2019-08-05 08:30:00 | 3.88 | 284.8067 | 4.46 | 312.9667 | 7.08 | 14.7833 | 7.4633 | 16.7433 | 21.5133 | 883 | 100 | 17.282
2019-08-05 08:45:00 | 3.9027 | 10.6867 | 4.4873 | 11.746 | 7.2107 | 13.5587 | 7.448 | 18.1173 | 21.6353 | 883 | 100 | 18.956
2019-08-05 09:00:00 | 3.6733 | 51.15 | 4.2233 | 56.2 | 6.8233 | 11.5333 | 7.4833 | 13.8033 | 21.77 | 883 | 100 | 12.834
2019-08-05 09:15:00 | 2.7133 | 31.5767 | 3.1233 | 34.7 | 5.13 | 14.19 | 5.9333 | 25.6133 | 21.99 | 883 | 100 | 8.4473
2019-08-05 09:30:00 | 2.1133 | 209.9167 | 2.43 | 230.6667 | 4.0033 | 13.4767 | 4.42 | 20.6067 | 22.23 | 883 | 99.4667 | 1.352
2019-08-05 09:45:00 | 0.94667 | 123.8933 | 1.0867 | 136.1333 | 1.0867 | 64.1333 | 1.06 | 96.6733 | 22.26 | 883.8 | 97.9 | 0
2019-08-05 10:00:00 | 2.1467 | 134.8067 | 2.4667 | 148.1333 | 2.42 | 172.4333 | 2.0133 | 183.3 | 21.9467 | 884 | 98.7667 | 0
2019-08-05 10:15:00 | 1.45 | 160.14 | 1.6733 | 175.9667 | 1.8033 | 183.9667 | 1.8133 | 195.2 | 21.69 | 884 | 99.8667 | 0
2019-08-05 10:30:00 | 1.8567 | 153.7 | 2.14 | 168.9 | 2.0833 | 179.3667 | 1.46 | 194.7333 | 21.61 | 884 | 100 | 0
2019-08-05 10:45:00 | 0.31333 | 134.5067 | 0.37 | 147.8 | 0.23333 | 190.4667 | 0.35333 | 249 | 21.5607 | 884 | 100 | 0
2019-08-05 11:00:00 | 1.0733 | 152.1533 | 1.23 | 167.2 | 1.6 | 225.26 | 1.76 | 221.3333 | 21.5747 | 884 | 100 | 0
2019-08-05 11:15:00 | 0.88667 | 301.0367 | 1.0333 | 330.8 | 1.17 | 241.6333 | 1.3267 | 276.3667 | 21.58 | 884 | 100 | 0.09
2019-08-05 11:30:00 | 0.52667 | 298.2433 | 0.60667 | 327.7333 | 0.36333 | 305.5 | 0.16 | 295.8333 | 21.5893 | 884 | 100 | 0.16
2019-08-05 11:45:00 | 1.4667 | 155.53 | 1.6967 | 170.9 | 1.6633 | 212.3333 | 1.87 | 224.7333 | 21.616 | 884 | 100 | 0.010667
2019-08-05 12:00:00 | 1 | 74.89 | 1.15 | 82.2933 | 1.2767 | 243.4667 | 1.69 | 273.6 | 21.6247 | 884 | 100 | 0
2019-08-05 12:15:00 | 0.92 | 305.198 | 1.07 | 335.3867 | 1.0867 | 315.9 | 1.12 | 312.2 | 21.618 | 884 | 100 | 0
2019-08-05 12:30:00 | 1.28 | 309.4933 | 1.4767 | 340.1 | 1.5867 | 329.1667 | 1.5867 | 332.9333 | 21.68 | 884 | 100 | 0
2019-08-05 12:45:00 | 2.3533 | 211.2533 | 2.71 | 232.1433 | 2.8467 | 343.3 | 2.7233 | 344.2333 | 21.6847 | 884 | 100 | 0.096
2019-08-05 13:00:00 | 2.36 | 182.8067 | 2.7167 | 200.8767 | 3.46 | 342.0333 | 3.7967 | 339.1 | 21.6913 | 884 | 100 | 1.202
2019-08-05 13:15:00 | 2.536 | 319.028 | 2.93 | 350.58 | 3.808 | 336.46 | 4.092 | 348.38 | 21.712 | 884 | 100 | 0.29533
2019-08-05 13:30:00 | 1.6667 | 130.14 | 1.93 | 143.0067 | 2.4733 | 333.2333 | 2.9733 | 341.7667 | 21.5907 | 884 | 100 | 0
2019-08-05 13:45:00 | 1.2833 | 189.6987 | 1.4833 | 208.4607 | 1.934 | 344.9867 | 2.4133 | 342.9 | 21.56 | 884 | 100 | 0
2019-08-05 14:00:00 | 1.43 | 202.3367 | 1.6467 | 222.35 | 2.42 | 338.3 | 2.9167 | 340 | 21.534 | 884 | 100 | 0
2019-08-05 14:15:00 | 1.3733 | 126.75 | 1.58 | 139.28 | 1.9767 | 335.4667 | 2.4867 | 343.6333 | 21.4 | 884 | 100 | 3.922
2019-08-05 14:30:00 | 2.4733 | 109.6767 | 2.8467 | 120.52 | 4.1567 | 116.9933 | 4.5067 | 124.8533 | 21.36 | 884 | 100 | 11.3407
2019-08-05 14:45:00 | 3.154 | 316.7307 | 3.6253 | 348.0533 | 5.4227 | 18.2673 | 5.3227 | 1.1227 | 21.6 | 883.2 | 100 | 14.4647
2019-08-05 15:00:00 | 3.61 | 184.3067 | 4.1533 | 202.5333 | 6.7867 | 9.4667 | 6.7 | 12.7967 | 21.7 | 883 | 100 | 19.7727
2019-08-05 15:15:00 | 4.2067 | 155.3367 | 4.8433 | 170.7 | 7.7867 | 13.3333 | 7.74 | 22.9267 | 21.5267 | 883.6667 | 100 | 26.6353
2019-08-05 15:30:00 | 4.2333 | 203.27 | 4.87 | 223.3667 | 7.86 | 12.2133 | 7.8867 | 18.6467 | 21.3467 | 883 | 100 | 28.26
2019-08-05 15:45:00 | 3.96 | 23.5633 | 4.56 | 25.89 | 6.7733 | 10.5733 | 6.9733 | 20.74 | 21.1567 | 883 | 100 | 28.3807
2019-08-05 16:00:00 | 4.02 | 223.9367 | 4.62 | 246.0833 | 5.98 | 239.0867 | 6.1867 | 14.6933 | 20.8167 | 883 | 100 | 30.802
2019-08-05 16:15:00 | 4.06 | 4.5733 | 4.68 | 5.0133 | 6.64 | 228.6067 | 6.8033 | 230.9933 | 20.7093 | 883 | 100 | 31.984
2019-08-05 16:30:00 | 4.0733 | 197.9933 | 4.6867 | 217.56 | 6.8333 | 0.44 | 7.09 | 10.3333 | 20.724 | 883 | 100 | 33.386
2019-08-05 16:45:00 | 4.4 | 110.4933 | 5.0633 | 121.4133 | 7.33 | 10.01 | 7.5733 | 11.8867 | 20.5747 | 883 | 100 | 33.824
2019-08-05 17:00:00 | 4.4933 | 15.88 | 5.17 | 17.4467 | 7.33 | 24.7033 | 7.4667 | 21.7667 | 20.5933 | 883 | 100 | 37.152
2019-08-05 17:15:00 | 4.7733 | 28.33 | 5.4867 | 31.1333 | 7.3467 | 7.41 | 7.73 | 12.1933 | 20.54 | 883 | 100 | 42.6993
2019-08-05 17:30:00 | 4.9153 | 49.0767 | 5.6533 | 53.9267 | 8.58 | 17.05 | 8.7367 | 16.9067 | 20.5307 | 883 | 100 | 44.33
2019-08-05 17:45:00 | 5.6333 | 122.1033 | 6.4767 | 134.1733 | 9.7367 | 13.53 | 9.6833 | 16.0233 | 20.4973 | 883 | 100 | 45.45
2019-08-05 18:00:00 | 5.2267 | 107.71 | 6.0167 | 118.36 | 9.15 | 14.4033 | 9.2633 | 8.85 | 20.514 | 883 | 100 | 46.4013
2019-08-05 18:15:00 | 5.36 | 68.9533 | 6.1667 | 75.7667 | 9.4667 | 12.9733 | 9.5367 | 8.8967 | 20.5533 | 883 | 100 | 48.9373
2019-08-05 18:30:00 | 6.0667 | 92.4267 | 6.9867 | 101.5667 | 10.68 | 17.7067 | 10.39 | 12.43 | 20.34 | 883 | 100 | 46.8173
2019-08-05 18:45:00 | 6.44 | 132.6267 | 7.41 | 145.7467 | 11.4267 | 7.5933 | 11.4533 | 16.8833 | 20.0733 | 883 | 100 | 46.5433
2019-08-05 19:00:00 | 5.9733 | 234.4933 | 6.8767 | 257.68 | 10.2667 | 8.1067 | 10.4267 | 9.09 | 20.0533 | 883 | 100 | 48.3587
2019-08-05 19:15:00 | 5.6333 | 105.7133 | 6.4767 | 116.1733 | 9.6167 | 4.7167 | 9.89 | 16.09 | 20.1253 | 883 | 100 | 48.8047
2019-08-05 19:30:00 | 5.54 | 250.0667 | 6.3767 | 274.8 | 9.6633 | 18.4233 | 9.6833 | 10.53 | 20.1507 | 883 | 100 | 50.5553
2019-08-05 19:45:00 | 5.9533 | 141.5733 | 6.8533 | 155.5733 | 10.3133 | 13.3133 | 10.28 | 18.0933 | 20.104 | 883 | 100 | 49.988
2019-08-05 20:00:00 | 6.1533 | 301.1267 | 7.0733 | 330.9 | 11.1067 | 13.2 | 11.2733 | 25.7933 | 20.046 | 883 | 100 | 51.454
2019-08-05 20:15:00 | 6.7933 | 235.76 | 7.82 | 259.0667 | 12.2367 | 16.2033 | 11.9413 | 18.02 | 19.95 | 883 | 100 | 52.126
2019-08-05 20:30:00 | 6.94 | 164.4733 | 7.9867 | 180.7333 | 12.1167 | 12.83 | 11.8433 | 17.7933 | 19.8233 | 883 | 100 | 51.5873
2019-08-05 20:45:00 | 6.5267 | 162.74 | 7.5133 | 178.8333 | 11.5067 | 5.6067 | 11.39 | 18.1333 | 19.782 | 883 | 100 | 51.4567
2019-08-05 21:00:00 | 6.5067 | 129.62 | 7.48 | 142.4333 | 11.84 | 11.8733 | 11.51 | 16.42 | 19.7847 | 883 | 100 | 49.5513
2019-08-05 21:15:00 | 6.63 | 217.9767 | 7.63 | 239.5333 | 11.5887 | 11.7467 | 11.6933 | 23.58 | 19.778 | 883 | 100 | 51.1953
2019-08-05 21:30:00 | 6.51 | 119.8167 | 7.4967 | 131.6667 | 11.5067 | 13.9667 | 11.5733 | 24.8933 | 19.736 | 883 | 100 | 49.3813
2019-08-05 21:45:00 | 6.2333 | 115.8733 | 7.1767 | 127.32 | 11.0167 | 13.4833 | 10.9633 | 15.61 | 19.6773 | 883.1333 | 100 | 50.8967
2019-08-05 22:00:00 | 6.14 | 186.5533 | 7.0633 | 205 | 11.0233 | 9.3033 | 11.0367 | 20.4233 | 19.6507 | 884 | 100 | 48.0187
2019-08-05 22:15:00 | 6.46 | 150.4567 | 7.4333 | 165.3333 | 11.13 | 11.6667 | 11.02 | 25.7267 | 19.5767 | 884 | 100 | 44.9773
2019-08-05 22:30:00 | 6.22 | 157.4967 | 7.1553 | 173.0667 | 11.13 | 9.9467 | 11.0533 | 24.7067 | 19.5453 | 884 | 100 | 41.4127
2019-08-05 22:45:00 | 6.0467 | 113.62 | 6.96 | 124.8533 | 10.2567 | 13.6867 | 10.3333 | 17.6 | 19.5413 | 884 | 100 | 39.222
2019-08-05 23:00:00 | 5.8333 | 198.0733 | 6.7067 | 217.6533 | 9.8967 | 14.0067 | 9.9467 | 16.4333 | 19.5593 | 884 | 100 | 47.2567
2019-08-05 23:15:00 | 6.3133 | 159.2567 | 7.2667 | 175 | 11.15 | 11.4033 | 11.3167 | 15.13 | 19.5793 | 884 | 100 | 46.7073
2019-08-05 23:30:00 | 6.3067 | 142.69 | 7.2667 | 156.8 | 11.4567 | 7.65 | 11.59 | 10.8567 | 19.5853 | 884 | 100 | 45.58
2019-08-05 23:45:00 | 6.2967 | 168.1133 | 7.25 | 184.7333 | 11.2067 | 12.7767 | 11.4127 | 16.48 | 19.5167 | 883.8667 | 100 | 47.356