## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-06 00:00:00 | 6.5136 | 251.4564 | 7.4921 | 276.3286 | 11.72 | 13.7986 | 11.7064 | 24.2957 | 19.425 | 883 | 100 | 51.025
2019-08-06 00:15:00 | 6.8033 | 99.8 | 7.8333 | 109.6667 | 11.8333 | 15.4133 | 11.78 | 16.4267 | 19.3067 | 883 | 100 | 51.084
2019-08-06 00:30:00 | 7.1633 | 96.52 | 8.2467 | 106.0667 | 12.4133 | 10.8933 | 12.3667 | 16.0733 | 19.2467 | 883 | 100 | 52.806
2019-08-06 00:45:00 | 7.59 | 95.5167 | 8.73 | 104.9667 | 12.92 | 10.0967 | 12.5433 | 66.6733 | 19.19 | 883 | 100 | 51.9847
2019-08-06 01:00:00 | 7.6167 | 143.21 | 8.77 | 157.3667 | 12.9467 | 10.1033 | 12.4233 | 65.8 | 19.1807 | 883 | 100 | 51.1587
2019-08-06 01:15:00 | 6.98 | 298.1467 | 8.03 | 327.6333 | 12.2133 | 10.4433 | 12.0267 | 12.7467 | 19.1673 | 883 | 100 | 50.8893
2019-08-06 01:30:00 | 7.1333 | 266.0533 | 8.2033 | 292.3667 | 12.4933 | 7.5767 | 12.64 | 18.42 | 19.0967 | 883 | 100 | 50.1487
2019-08-06 01:45:00 | 6.8813 | 141.27 | 7.92 | 155.2333 | 12.2 | 9.7133 | 12.22 | 16.8533 | 19.0173 | 883 | 100 | 50.4407
2019-08-06 02:00:00 | 6.69 | 141.93 | 7.7 | 155.9667 | 12.04 | 12.66 | 12.1533 | 17.1933 | 18.9907 | 883 | 100 | 50.0427
2019-08-06 02:15:00 | 6.3987 | 105.492 | 7.3587 | 115.918 | 11.314 | 10.1553 | 11.0707 | 10.0073 | 18.926 | 883 | 100 | 49.094
2019-08-06 02:30:00 | 6.1633 | 303.01 | 7.0967 | 332.9667 | 10.8867 | 17.5033 | 10.48 | 4.2833 | 18.85 | 883 | 100 | 50.434
2019-08-06 02:45:00 | 6.26 | 249.4333 | 7.2067 | 274.1 | 10.77 | 225.3067 | 10.5367 | 10.57 | 18.66 | 883 | 100 | 49.974
2019-08-06 03:00:00 | 5.8733 | 311.8667 | 6.76 | 342.7 | 10.07 | 3.5067 | 10.3033 | 4.3033 | 18.5 | 883 | 100 | 51.094
2019-08-06 03:15:00 | 6.2267 | 263.75 | 7.17 | 289.8333 | 10.9833 | 222.7333 | 10.86 | 5.6067 | 18.3367 | 883 | 100 | 51.0287
2019-08-06 03:30:00 | 6.66 | 280.0167 | 7.6567 | 307.7 | 11.3167 | 103.9933 | 11.1133 | 8.0067 | 18.23 | 883 | 100 | 52.158
2019-08-06 03:45:00 | 6.5733 | 158.02 | 7.5633 | 173.6433 | 11.49 | 12.0467 | 11.2133 | 8.3033 | 18.13 | 883 | 100 | 51.4107
2019-08-06 04:00:00 | 6.5133 | 14.56 | 7.5033 | 15.9967 | 10.8167 | 6.34 | 11.02 | 5.2567 | 18.0033 | 883 | 100 | 50.7427
2019-08-06 04:15:00 | 6.5933 | 109.9967 | 7.5833 | 120.8667 | 10.5467 | 9.7033 | 10.5067 | 20.8533 | 17.8787 | 883 | 100 | 48.0947
2019-08-06 04:30:00 | 5.8133 | 120.65 | 6.6967 | 132.58 | 9.5 | 9.95 | 9.6333 | 17.5333 | 17.9033 | 883 | 100 | 46.866
2019-08-06 04:45:00 | 5.7667 | 80.2667 | 6.64 | 88.2 | 9.7467 | 116.2867 | 9.93 | 37.1433 | 17.9493 | 883 | 100 | 43.3687
2019-08-06 05:00:00 | 5.5 | 287.4067 | 6.3333 | 315.8333 | 8.9533 | 120.6133 | 8.9633 | 19.9233 | 17.994 | 883 | 100 | 42.964
2019-08-06 05:15:00 | 4.7 | 4.6033 | 5.41 | 5.0567 | 7.99 | 7.32 | 8.3667 | 19.0467 | 18.0193 | 883 | 100 | 41.9353
2019-08-06 05:30:00 | 4.54 | 4.3633 | 5.2233 | 4.7967 | 8.1633 | 8.3267 | 8.2 | 11.54 | 18.03 | 883 | 100 | 40.314
2019-08-06 05:45:00 | 4.7633 | 206.05 | 5.48 | 226.4233 | 8.2667 | 20.94 | 8.37 | 18.8767 | 18.0393 | 883 | 100 | 40.218
2019-08-06 06:00:00 | 4.9967 | 117.23 | 5.7533 | 128.8233 | 9.0867 | 18.8667 | 9.3767 | 9.77 | 18.0453 | 883 | 100 | 42.0267
2019-08-06 06:15:00 | 4.8933 | 53.76 | 5.6367 | 59.0667 | 9.1967 | 13.98 | 9.58 | 18.5033 | 18.036 | 883 | 100 | 43.0247
2019-08-06 06:30:00 | 5.0133 | 153.8267 | 5.7767 | 169.0333 | 9.6547 | 13.1533 | 9.82 | 18.9567 | 18.074 | 883 | 100 | 41.4873
2019-08-06 06:45:00 | 4.9333 | 241.7367 | 5.6767 | 265.6333 | 8.8733 | 13.06 | 9.1633 | 19.43 | 18.0913 | 883 | 100 | 35.5627
2019-08-06 07:00:00 | 4.5667 | 265.27 | 5.2567 | 291.5 | 8.62 | 14.58 | 8.69 | 23.3967 | 18.114 | 883 | 100 | 32.9613
2019-08-06 07:15:00 | 4.3933 | 183.5733 | 5.0533 | 201.7333 | 8.44 | 11.65 | 8.8933 | 27.2 | 18.1473 | 883 | 100 | 35.764
2019-08-06 07:30:00 | 4.4133 | 186.7933 | 5.08 | 205.2667 | 8.38 | 14.5967 | 8.9267 | 21.5133 | 18.146 | 883 | 100 | 41.968
2019-08-06 07:45:00 | 5.0767 | 168.4467 | 5.84 | 185.1 | 9.1767 | 11.21 | 9.47 | 18.5073 | 18.04 | 883 | 100 | 44.112
2019-08-06 08:00:00 | 5.1833 | 130.04 | 5.96 | 142.9 | 9.35 | 8.7833 | 9.7033 | 19.2633 | 18.0447 | 883 | 100 | 40.896
2019-08-06 08:15:00 | 5.0933 | 219.9633 | 5.8667 | 241.7133 | 9.08 | 1.62 | 9.57 | 10.5033 | 18.0513 | 883 | 100 | 38.7973
2019-08-06 08:30:00 | 4.8333 | 114.53 | 5.56 | 125.8467 | 8.8733 | 8.8667 | 9.2767 | 18.3967 | 18.0867 | 883 | 100 | 37.7487
2019-08-06 08:45:00 | 4.6 | 99.2833 | 5.2933 | 109.0933 | 8.1233 | 14.3633 | 8.8467 | 15.9933 | 18.088 | 883 | 100 | 38.4007
2019-08-06 09:00:00 | 4.6 | 160.4367 | 5.2933 | 176.3 | 8.3633 | 7.2167 | 9.0533 | 19.5867 | 18.15 | 883 | 100 | 39.5367
2019-08-06 09:15:00 | 4.92 | 228.99 | 5.66 | 251.6333 | 8.6467 | 7.4967 | 8.798 | 15.31 | 18.2027 | 883 | 100 | 39.394
2019-08-06 09:30:00 | 4.32 | 186.4033 | 4.9667 | 204.8333 | 8.0333 | 13.13 | 8.5933 | 18.63 | 18.34 | 883 | 100 | 38.6287
2019-08-06 09:45:00 | 4.0933 | 230.9267 | 4.7133 | 253.7667 | 7.9167 | 14.68 | 8.6433 | 20.0807 | 18.5033 | 883 | 100 | 40.06
2019-08-06 10:00:00 | 4.6733 | 174.7 | 5.38 | 191.9667 | 8.7433 | 11.9733 | 8.9633 | 18.1967 | 18.55 | 883 | 100 | 42.8787
2019-08-06 10:15:00 | 5.7933 | 59.0333 | 6.67 | 64.86 | 10.2167 | 10.9733 | 10.4667 | 15.6433 | 18.562 | 883 | 100 | 46.5273
2019-08-06 10:30:00 | 5.7 | 113.1467 | 6.5567 | 124.3333 | 10.4633 | 12.5 | 10.6 | 17.99 | 18.6333 | 883 | 100 | 47.644
2019-08-06 10:45:00 | 5.3933 | 271.83 | 6.2133 | 298.7 | 10.1567 | 6.9867 | 10.2567 | 17.23 | 18.654 | 883 | 100 | 46.2947
2019-08-06 11:00:00 | 5.22 | 170.4567 | 6.0067 | 187.3 | 9.8033 | 12.98 | 9.8433 | 17.13 | 18.6733 | 883 | 100 | 43.4673
2019-08-06 11:15:00 | 5.4067 | 210.9733 | 6.2233 | 231.8333 | 9.4067 | 19.7767 | 9.43 | 17.5433 | 18.746 | 883 | 100 | 44.4393
2019-08-06 11:30:00 | 5.6667 | 121.7467 | 6.53 | 133.7867 | 9.6933 | 10.25 | 9.7167 | 13.8367 | 18.7433 | 883 | 100 | 44.5753
2019-08-06 11:45:00 | 5.4667 | 150.4967 | 6.2933 | 165.3667 | 9.8433 | 5.0067 | 10.06 | 15.0333 | 18.8533 | 883 | 100 | 42.1187
2019-08-06 12:00:00 | 4.4933 | 164.87 | 5.1733 | 181.1667 | 8.5633 | 12.3733 | 9.08 | 20.56 | 19.0733 | 883 | 100 | 38.0947
2019-08-06 12:15:00 | 4.7933 | 273.0367 | 5.5133 | 300.0333 | 8.5467 | 11.3167 | 9.0833 | 21.8333 | 19.064 | 883 | 100 | 34.614
2019-08-06 12:30:00 | 4.216 | 155.76 | 4.846 | 171.162 | 7.488 | 10.306 | 7.904 | 24.954 | 19.0947 | 883 | 100 | 32.662
2019-08-06 12:45:00 | 4.0533 | 254.3567 | 4.6667 | 279.5 | 7.34 | 21.9833 | 7.9967 | 26.48 | 19.2167 | 883 | 100 | 29.564
2019-08-06 13:00:00 | 3.8867 | 155.0367 | 4.4733 | 170.3667 | 7.0667 | 15.1967 | 7.75 | 23.5133 | 19.4167 | 883 | 100 | 26.4507
2019-08-06 13:15:00 | 3.6567 | 51.3967 | 4.2033 | 56.4733 | 6.6167 | 18 | 7.03 | 12.7667 | 19.39 | 883 | 100 | 27.846
2019-08-06 13:30:00 | 3.0567 | 54.33 | 3.5167 | 59.7 | 5.73 | 15.5333 | 6.09 | 22.6467 | 19.7433 | 883 | 100 | 25.76
2019-08-06 13:45:00 | 3.0933 | 30.97 | 3.56 | 34.0233 | 5.5833 | 12.7967 | 6.04 | 18.0867 | 20.13 | 883 | 100 | 22.3067
2019-08-06 14:00:00 | 3.2067 | 84.19 | 3.6933 | 92.51 | 5.69 | 2.4433 | 6.3467 | 13.9733 | 20.2547 | 883 | 100 | 19.002
2019-08-06 14:15:00 | 3.28 | 309.0933 | 3.7733 | 339.6667 | 5.4 | 12.07 | 5.78 | 15.14 | 19.97 | 883 | 100 | 16.5
2019-08-06 14:30:00 | 2.7 | 109.2667 | 3.1067 | 120.0733 | 4.76 | 3.3567 | 4.9467 | 8.3 | 20.17 | 883 | 100 | 17.2567
2019-08-06 14:45:00 | 2.7733 | 313.44 | 3.1967 | 344.4333 | 4.9267 | 234.62 | 4.8167 | 245.14 | 20.6733 | 883 | 100 | 18.2093
2019-08-06 15:00:00 | 3.3 | 120.3 | 3.7967 | 132.1933 | 5.9067 | 11.2133 | 5.95 | 245.34 | 21.1867 | 883 | 100 | 25.008
2019-08-06 15:15:00 | 3.5533 | 78.0367 | 4.0833 | 85.7467 | 6.5567 | 9.4767 | 7.03 | 12.1267 | 21.0833 | 883 | 100 | 26.9807
2019-08-06 15:30:00 | 3.72 | 241.832 | 4.28 | 265.74 | 7.004 | 16.138 | 7.45 | 20.934 | 20.928 | 883 | 100 | 27.4627
2019-08-06 15:45:00 | 3.9933 | 200.6933 | 4.5933 | 220.5333 | 7.3067 | 6.64 | 7.6733 | 14.7667 | 21.2367 | 882.2 | 100 | 27.2353
2019-08-06 16:00:00 | 4.38 | 119.2133 | 5.04 | 131 | 7.98 | 8.0467 | 7.8467 | 23.1867 | 21.79 | 882.4667 | 100 | 24.0413
2019-08-06 16:15:00 | 4.18 | 157.26 | 4.81 | 172.8 | 7.91 | 27.6 | 7.92 | 33.39 | 22.22 | 883 | 100 | 24.8647
2019-08-06 16:30:00 | 4.3373 | 271.8253 | 5.002 | 298.7067 | 8.026 | 12.992 | 7.8347 | 20.1087 | 22.3827 | 883 | 97.64 | 20.8967
2019-08-06 16:45:00 | 3.9333 | 184.04 | 4.5233 | 202.2333 | 7.66 | 16.8667 | 7.5 | 25.49 | 22.95 | 883 | 97.1 | 16.722
2019-08-06 17:00:00 | 3.7867 | 174.4533 | 4.3633 | 191.7 | 7.2733 | 18.0133 | 6.82 | 23.09 | 23.5767 | 883 | 95.6333 | 13.9587
2019-08-06 17:15:00 | 3.3567 | 287.1667 | 3.86 | 315.5667 | 6.3267 | 8.6833 | 5.9267 | 24.7567 | 23.6567 | 883 | 92.9 | 13.076
2019-08-06 17:30:00 | 3.29 | 250.6533 | 3.7867 | 275.4333 | 6.2267 | 17.2433 | 5.8533 | 22.1633 | 23.79 | 883 | 93.0333 | 13.212
2019-08-06 17:45:00 | 3.4267 | 165.6833 | 3.94 | 182.0667 | 6.3 | 14.8967 | 5.9867 | 23.8367 | 23.77 | 883 | 90.0333 | 13.6407
2019-08-06 18:00:00 | 3.5 | 179.9367 | 4.0333 | 197.7333 | 6.6933 | 14.4967 | 6.5 | 30.2967 | 23.33 | 883 | 91.7667 | 10.4927
2019-08-06 18:15:00 | 3.3833 | 187.0933 | 3.89 | 205.6 | 6.5133 | 12.51 | 6.5933 | 17.6967 | 23.114 | 883 | 92.2667 | 10.0933
2019-08-06 18:30:00 | 3.6233 | 167.9867 | 4.1767 | 184.6 | 6.74 | 241.5967 | 6.74 | 11.1367 | 23.0333 | 883 | 90.5333 | 11.2333
2019-08-06 18:45:00 | 3.5333 | 206.64 | 4.0667 | 227.0667 | 6.7933 | 14.5267 | 6.85 | 24.74 | 22.7667 | 882.8667 | 91.6667 | 14.158
2019-08-06 19:00:00 | 3.5333 | 242.7933 | 4.0667 | 266.8 | 6.6 | 8.7267 | 6.63 | 26.2933 | 22.4133 | 882 | 90.9333 | 15.6073
2019-08-06 19:15:00 | 3.8333 | 257.57 | 4.4133 | 283.0333 | 6.96 | 4.2733 | 7.0433 | 18.1433 | 22.0867 | 882 | 91.2667 | 13.7107
2019-08-06 19:30:00 | 3.78 | 108.0833 | 4.3533 | 118.7667 | 6.8467 | 14.7067 | 6.91 | 27.3633 | 21.8667 | 882 | 91.8 | 13.6967
2019-08-06 19:45:00 | 3.4033 | 188.8833 | 3.9133 | 207.5633 | 6.24 | 19.9267 | 6.4767 | 27.1267 | 21.6233 | 882 | 92.5867 | 12.988
2019-08-06 20:00:00 | 3.5367 | 115.17 | 4.0667 | 126.5633 | 6.4867 | 14.3 | 6.8167 | 18.72 | 21.4033 | 882 | 92.7667 | 12.8807
2019-08-06 20:15:00 | 3.6333 | 154.94 | 4.18 | 170.2667 | 6.5567 | 21.4133 | 6.85 | 24.72 | 21.21 | 882 | 92.6333 | 12.5253
2019-08-06 20:30:00 | 3.452 | 144.6533 | 3.972 | 158.96 | 6.3487 | 16.4293 | 6.7767 | 19.4707 | 21.07 | 882 | 93.22 | 13.5847
2019-08-06 20:45:00 | 3.5 | 125.23 | 4.0267 | 137.6167 | 6.5333 | 17.8833 | 6.84 | 19.57 | 20.8633 | 882 | 94.2 | 14.83
2019-08-06 21:00:00 | 3.4867 | 99.51 | 4.02 | 109.35 | 6.46 | 17.19 | 6.64 | 21.87 | 20.7233 | 882 | 94.6 | 15.3793
2019-08-06 21:15:00 | 3.2833 | 125.5933 | 3.7833 | 138.0067 | 5.9533 | 237.5033 | 5.9333 | 12.0567 | 20.53 | 882 | 95.5333 | 15.5727
2019-08-06 21:30:00 | 2.7233 | 296.2067 | 3.13 | 325.5 | 5.0733 | 4.1167 | 5.0667 | 11.7167 | 20.3567 | 882 | 96.3333 | 15.848
2019-08-06 21:45:00 | 2.96 | 114.7967 | 3.41 | 126.1533 | 5.36 | 353 | 5.0433 | 11.4067 | 20.2893 | 882 | 96.2867 | 14.582
2019-08-06 22:00:00 | 3.0467 | 269.6633 | 3.5167 | 296.3333 | 5.5067 | 349.9333 | 5.0833 | 5.6533 | 20.2607 | 882 | 96.4 | 15.8847
2019-08-06 22:15:00 | 2.9 | 91.72 | 3.3367 | 100.78 | 5.16 | 284.2667 | 4.9333 | 12.5967 | 20.2067 | 882.1333 | 96.5667 | 14.5367
2019-08-06 22:30:00 | 3.0267 | 105.66 | 3.4833 | 116.1067 | 4.9467 | 287.6667 | 4.84 | 18.7033 | 20.254 | 883 | 96.1667 | 14.9547
2019-08-06 22:45:00 | 3.11 | 30.1833 | 3.5833 | 33.1633 | 5 | 232.9833 | 5.14 | 7.7367 | 20.254 | 883 | 96.1867 | 16.748
2019-08-06 23:00:00 | 3.23 | 37.5167 | 3.7167 | 41.2167 | 5.8 | 1.8967 | 5.4867 | 8.4833 | 20.0667 | 883 | 96.8333 | 18.6567
2019-08-06 23:15:00 | 3.6533 | 101.2733 | 4.21 | 111.2867 | 6.1767 | 339.8333 | 6.1533 | 16.6067 | 19.9113 | 883 | 97.3 | 22.856
2019-08-06 23:30:00 | 3.8 | 116.18 | 4.37 | 127.6667 | 6.7633 | 337.5 | 6.3267 | 11.1467 | 19.8733 | 883 | 97.5 | 24.1433
2019-08-06 23:45:00 | 3.78 | 126.5967 | 4.35 | 139.1133 | 6.55 | 341.1467 | 6.53 | 10.44 | 19.746 | 882.2 | 97.9667 | 24.7327