## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-07 00:00:00 | 3.615 | 166.415 | 4.1586 | 182.8643 | 6.2736 | 350.2929 | 6.395 | 9.9129 | 19.7071 | 882 | 98.2231 | 25.7857
2019-08-07 00:15:00 | 3.3467 | 227.9333 | 3.8567 | 250.4767 | 6.0567 | 351.5333 | 6.0933 | 11.6167 | 19.5267 | 882 | 98.8667 | 24.0653
2019-08-07 00:30:00 | 3.6267 | 230.36 | 4.17 | 253.1433 | 6.01 | 350.9333 | 5.94 | 1.9433 | 19.4067 | 882 | 99.4667 | 26.3913
2019-08-07 00:45:00 | 4.1533 | 109.1367 | 4.78 | 119.92 | 6.6767 | 238.76 | 6.62 | 7.3367 | 19.53 | 882 | 99.1333 | 25.8367
2019-08-07 01:00:00 | 4.1533 | 127.8567 | 4.7867 | 140.5 | 7.1767 | 238.76 | 6.9867 | 6.0767 | 19.3967 | 882 | 99.2 | 29.8633
2019-08-07 01:15:00 | 4.6787 | 300.6953 | 5.3913 | 330.4213 | 6.9807 | 347.1 | 6.9613 | 1.606 | 19.3707 | 882 | 99.5467 | 31.692
2019-08-07 01:30:00 | 4.94 | 17.07 | 5.69 | 18.76 | 7.5233 | 113.4667 | 7.58 | 11.33 | 19.48 | 882 | 99 | 32.016
2019-08-07 01:45:00 | 4.5533 | 26.31 | 5.24 | 28.9067 | 7.1733 | 5.2333 | 7.4733 | 20.16 | 19.3367 | 882 | 99.5333 | 35.1047
2019-08-07 02:00:00 | 4.8467 | 224.9567 | 5.58 | 247.2067 | 7.82 | 1.4933 | 7.8 | 14.2 | 19.256 | 882 | 99.9333 | 37.34
2019-08-07 02:15:00 | 4.822 | 324.5667 | 5.54 | 356.6533 | 7.6 | 353.2333 | 7.4433 | 9.9033 | 19.1533 | 881.2 | 100 | 36.6627
2019-08-07 02:30:00 | 5 | 115.5167 | 5.7467 | 126.94 | 7.44 | 121.6333 | 7.7433 | 8.7233 | 19.1153 | 881 | 100 | 35.43
2019-08-07 02:45:00 | 4.7333 | 41.82 | 5.4567 | 45.9467 | 7.3267 | 111.0333 | 7.6533 | 18.3133 | 19.036 | 881 | 100 | 38.7613
2019-08-07 03:00:00 | 5.1533 | 204.68 | 5.93 | 224.92 | 7.3733 | 138.1733 | 7.7333 | 44.6933 | 18.996 | 881 | 100 | 39.296
2019-08-07 03:15:00 | 4.9833 | 39.3067 | 5.7367 | 43.1867 | 8.0967 | 11.6467 | 8.1033 | 22.0333 | 18.9293 | 881 | 100 | 40.1073
2019-08-07 03:30:00 | 5.45 | 10.4533 | 6.2633 | 11.48 | 9.0033 | 11.5333 | 8.95 | 18.94 | 18.8433 | 881 | 100 | 43.416
2019-08-07 03:45:00 | 5.28 | 221.1567 | 6.0767 | 243.0233 | 7.8467 | 6.2067 | 7.92 | 25.4633 | 18.8767 | 881 | 100 | 45.276
2019-08-07 04:00:00 | 5.64 | 202.89 | 6.49 | 222.9567 | 9.2733 | 236.0733 | 8.8533 | 12.53 | 18.8233 | 881 | 100 | 44.2433
2019-08-07 04:15:00 | 5.36 | 202.57 | 6.1733 | 222.6 | 9.1467 | 353.9667 | 8.9153 | 10.82 | 18.756 | 881 | 100 | 43.698
2019-08-07 04:30:00 | 5.28 | 257.2967 | 6.08 | 282.7333 | 9.2267 | 351.7 | 8.7667 | 5.04 | 18.716 | 881 | 100 | 42.3913
2019-08-07 04:45:00 | 5.0433 | 22.6133 | 5.8067 | 24.8467 | 8.9233 | 240.5333 | 8.7167 | 122.8933 | 18.6613 | 881 | 100 | 41.2087
2019-08-07 05:00:00 | 4.83 | 27.3333 | 5.5533 | 30.0267 | 7.8033 | 236.6667 | 7.7233 | 126.3467 | 18.7233 | 881 | 100 | 39.296
2019-08-07 05:15:00 | 4.0733 | 210.39 | 4.69 | 231.1867 | 6.6067 | 128.4267 | 6.3433 | 13.1533 | 18.82 | 881 | 100 | 38.456
2019-08-07 05:30:00 | 3.98 | 219.2367 | 4.5767 | 240.92 | 7.0467 | 354.5333 | 6.9367 | 236.7933 | 18.7933 | 881 | 100 | 37.7087
2019-08-07 05:45:00 | 3.86 | 218.532 | 4.4533 | 240.14 | 6.9113 | 241.2767 | 6.778 | 28.83 | 18.7333 | 881 | 100 | 34.3513
2019-08-07 06:00:00 | 3.96 | 122.6333 | 4.56 | 134.7533 | 7.06 | 231.17 | 6.7667 | 235.3733 | 18.716 | 881 | 100 | 33.1547
2019-08-07 06:15:00 | 4.16 | 150.34 | 4.7833 | 165.2 | 7.5167 | 246.0367 | 7.2967 | 239.4467 | 18.692 | 881 | 100 | 34.0427
2019-08-07 06:30:00 | 4.0267 | 228.6667 | 4.63 | 251.2667 | 7.1967 | 242.97 | 7.01 | 4.7733 | 18.7233 | 881.4667 | 100 | 36.6687
2019-08-07 06:45:00 | 4.0467 | 319.3233 | 4.6567 | 350.9 | 7.0467 | 141.65 | 6.7233 | 246.29 | 18.768 | 881.3333 | 100 | 37.35
2019-08-07 07:00:00 | 4.3067 | 281.71 | 4.95 | 309.5667 | 7.7133 | 11.65 | 8.0833 | 26.65 | 18.86 | 881.5333 | 100 | 37.3193
2019-08-07 07:15:00 | 4.3533 | 101.4 | 5.0067 | 111.4267 | 7.5467 | 123 | 8.17 | 16.42 | 19.4267 | 881.8 | 98.4667 | 33.878
2019-08-07 07:30:00 | 4.24 | 53.66 | 4.8733 | 58.96 | 7.5267 | 119.3067 | 7.99 | 20.7467 | 20.0133 | 882 | 95.8667 | 30.5213
2019-08-07 07:45:00 | 3.8533 | 256.7467 | 4.4333 | 282.1333 | 7.25 | 19.88 | 7.3333 | 19.15 | 20.7833 | 882 | 94.3333 | 30.4593
2019-08-07 08:00:00 | 3.984 | 212.344 | 4.58 | 233.34 | 7.064 | 14.408 | 7.452 | 14.354 | 21.508 | 882 | 91.22 | 33.2653
2019-08-07 08:15:00 | 4.7133 | 303.4267 | 5.42 | 333.4333 | 8.1033 | 5.0167 | 8.1633 | 16.3333 | 21.3867 | 882 | 90.7133 | 32.8787
2019-08-07 08:30:00 | 4.5667 | 307.4933 | 5.2533 | 337.9 | 8.0967 | 10.5567 | 8.3147 | 23.8133 | 21.76 | 882 | 90.2 | 34.3047
2019-08-07 08:45:00 | 5.1867 | 101.8333 | 5.9667 | 111.9 | 9.29 | 25.4067 | 9.26 | 15.1867 | 22.4967 | 882 | 88.1 | 37.666
2019-08-07 09:00:00 | 6.0707 | 138.74 | 6.9853 | 152.46 | 10.3487 | 13.8347 | 10.4413 | 14.3587 | 22.7547 | 882 | 86.74 | 41.846
2019-08-07 09:15:00 | 6.6067 | 200.72 | 7.6 | 220.5667 | 11.7 | 15.28 | 11.7033 | 15.8467 | 23.04 | 882.1333 | 85.6333 | 42.6627
2019-08-07 09:30:00 | 6.52 | 194.54 | 7.5 | 213.7667 | 11.7067 | 11.42 | 11.7033 | 12.2467 | 23.7267 | 883 | 83.9667 | 41.3007
2019-08-07 09:45:00 | 6.5 | 87.5233 | 7.4867 | 96.18 | 11.22 | 8.2033 | 11.07 | 10.33 | 23.84 | 883 | 81.9667 | 36.974
2019-08-07 10:00:00 | 5.9667 | 235.93 | 6.8667 | 259.2667 | 10.6933 | 20.27 | 10.4633 | 20.0767 | 24.34 | 883 | 82.4533 | 35.484
2019-08-07 10:15:00 | 5.44 | 313.188 | 6.26 | 344.1533 | 9.6067 | 16.2 | 9.2067 | 24.3967 | 24.9833 | 883 | 80.08 | 30.8767
2019-08-07 10:30:00 | 5.0933 | 230.5067 | 5.86 | 253.3 | 8.9733 | 13.38 | 8.2333 | 21.77 | 25.1167 | 883 | 79.0727 | 24.9673
2019-08-07 10:45:00 | 4.8933 | 219.1233 | 5.63 | 240.7867 | 8.4833 | 23.3267 | 8.1033 | 26.85 | 25.3867 | 883.8 | 78.5067 | 21.856
2019-08-07 11:00:00 | 4.72 | 102.1567 | 5.4433 | 112.2533 | 8.41 | 18.24 | 8.25 | 28.3367 | 25.72 | 884 | 78.06 | 16.59
2019-08-07 11:15:00 | 4.4333 | 126.1467 | 5.1067 | 138.6133 | 7.6533 | 21.2267 | 7.4633 | 31.35 | 25.98 | 884 | 76.65 | 12.4173
2019-08-07 11:30:00 | 4.5333 | 309.04 | 5.2133 | 339.6 | 8.0667 | 17.06 | 7.7967 | 28.11 | 26.2267 | 883.5333 | 75.6633 | 10.37
2019-08-07 11:45:00 | 3.87 | 312.0433 | 4.4567 | 342.9 | 6.9833 | 19.2533 | 6.66 | 23.96 | 26.67 | 883 | 74.218 | 9.364
2019-08-07 12:00:00 | 3.9967 | 123.1167 | 4.5967 | 135.2933 | 6.9233 | 17.9933 | 6.7 | 24.0267 | 26.7887 | 883 | 73.7 | 10.5527
2019-08-07 12:15:00 | 4.1867 | 52.54 | 4.82 | 57.73 | 7.3133 | 18.9 | 7.2167 | 40.14 | 26.964 | 883 | 72.5033 | 10.7773
2019-08-07 12:30:00 | 4.224 | 73.754 | 4.872 | 81.04 | 7.428 | 24.598 | 7.762 | 30.084 | 26.9713 | 883 | 72.438 | 9.8787
2019-08-07 12:45:00 | 4.29 | 136.1167 | 4.9367 | 149.57 | 7.7167 | 11.2633 | 7.88 | 26.3433 | 27.2367 | 883 | 72.3633 | 10.474
2019-08-07 13:00:00 | 4.25 | 145.8767 | 4.89 | 160.3033 | 7.5833 | 18.89 | 7.3533 | 24.6433 | 27.4933 | 883 | 70.55 | 8.412
2019-08-07 13:15:00 | 4.0667 | 175.3633 | 4.69 | 192.7 | 7.32 | 11.2967 | 6.9467 | 16.97 | 27.8233 | 883 | 70.6733 | 9.808
2019-08-07 13:30:00 | 4.0533 | 65.2233 | 4.6633 | 71.6667 | 7.2067 | 21.8033 | 7.1667 | 30.07 | 28.1767 | 883 | 69.3667 | 10.9607
2019-08-07 13:45:00 | 3.36 | 199.13 | 3.87 | 218.8167 | 5.8633 | 17.65 | 5.8367 | 19.6033 | 28.5333 | 883 | 68.2833 | 9.674
2019-08-07 14:00:00 | 3.6267 | 213.39 | 4.1833 | 234.4833 | 6.2233 | 13.5833 | 5.59 | 18.1433 | 28.66 | 883 | 67.3433 | 6.0967
2019-08-07 14:15:00 | 3.3733 | 214.98 | 3.88 | 236.2333 | 6.07 | 17.6433 | 5.8133 | 11.7433 | 28.9833 | 883 | 67.69 | 3.11
2019-08-07 14:30:00 | 3.2267 | 310.7067 | 3.7133 | 341.4333 | 5.3433 | 9.2833 | 5.14 | 18.77 | 29.0367 | 882.5333 | 65.9033 | 1.3453
2019-08-07 14:45:00 | 2.7767 | 203.36 | 3.1967 | 223.4667 | 4.5 | 10.59 | 4.3667 | 5.4133 | 29.2 | 882 | 65.87 | 0
2019-08-07 15:00:00 | 2.3367 | 147.3 | 2.6967 | 161.8667 | 3.82 | 5.83 | 3.5733 | 17.14 | 29.58 | 882 | 64.03 | 0
2019-08-07 15:15:00 | 2.07 | 211.88 | 2.3867 | 232.8367 | 2.85 | 45.31 | 2.5133 | 3.4267 | 29.7673 | 882 | 60.94 | 0
2019-08-07 15:30:00 | 1.7367 | 191.5067 | 2 | 210.4367 | 2.4633 | 219.61 | 2.3067 | 231.6067 | 29.8433 | 882 | 59.9667 | 0
2019-08-07 15:45:00 | 1.1467 | 88.7167 | 1.3267 | 97.4933 | 1.59 | 45.0733 | 1.3233 | 301.1333 | 30.2867 | 882 | 58.96 | 0
2019-08-07 16:00:00 | 1.5667 | 97.2967 | 1.8067 | 106.92 | 1.8433 | 241.6667 | 1.3767 | 321.5333 | 30.14 | 882 | 58.38 | 0
2019-08-07 16:15:00 | 1.5667 | 33.4833 | 1.81 | 36.7867 | 2.34 | 229.3833 | 1.9867 | 344.3 | 30.08 | 882 | 62.08 | 0
2019-08-07 16:30:00 | 1.44 | 221.5233 | 1.6633 | 243.4267 | 2.2867 | 16.1433 | 1.88 | 327.8333 | 30.9067 | 882 | 60.78 | 0
2019-08-07 16:45:00 | 0.69333 | 85.91 | 0.8 | 94.4067 | 0.99 | 72.7533 | 1.0933 | 263.6333 | 31.5767 | 882 | 57.3767 | 0
2019-08-07 17:00:00 | 1.2467 | 213.5833 | 1.44 | 234.7 | 1.6833 | 160.4667 | 1.4667 | 156.9 | 32.16 | 882.4667 | 55.4633 | 0
2019-08-07 17:15:00 | 0.40667 | 151.4 | 0.47333 | 166.3667 | 0.56333 | 147.2 | 0.69333 | 82.7733 | 31.15 | 883 | 58.2833 | 0
2019-08-07 17:30:00 | 0.52667 | 121.3067 | 0.60667 | 133.3 | 0.62333 | 180.4 | 0.72667 | 169.6333 | 30.79 | 883 | 60.3833 | 0
2019-08-07 17:45:00 | 0.39333 | 228.53 | 0.46667 | 251.1333 | 0.74333 | 15.5 | 0.79333 | 37.7467 | 31.6133 | 882.3333 | 58.3933 | 0
2019-08-07 18:00:00 | 0.15333 | 313.2233 | 0.18 | 344.2 | 0.27 | 184.64 | 0.15333 | 187.7667 | 31.9133 | 882.5333 | 57.24 | 0
2019-08-07 18:15:00 | 0.94 | 319.53 | 1.0867 | 351.1333 | 1.4667 | 243.6267 | 1.3833 | 226.0233 | 31.5167 | 882 | 57.9367 | 0
2019-08-07 18:30:00 | 1.0133 | 103.2167 | 1.1667 | 113.4267 | 1.9333 | 11.5 | 1.7967 | 16.75 | 31.4433 | 882 | 57.9567 | 0
2019-08-07 18:45:00 | 0.69333 | 0.41667 | 0.79667 | 0.45667 | 1.37 | 4.4733 | 1.5167 | 8.8 | 30.6133 | 882 | 59.3333 | 0
2019-08-07 19:00:00 | 0.49333 | 169.1767 | 0.57 | 185.8967 | 0.93667 | 163.66 | 0.61 | 175.14 | 29.04 | 882 | 62.88 | 0
2019-08-07 19:15:00 | 1.2767 | 232.3067 | 1.4733 | 255.2667 | 1.9933 | 246.0333 | 1.02 | 274.3333 | 28.1833 | 881.2 | 66.8333 | 0
2019-08-07 19:30:00 | 0.98333 | 240.4933 | 1.1333 | 264.2667 | 1.56 | 255.3 | 0.68667 | 269.5333 | 27.8233 | 881 | 67.2607 | 0
2019-08-07 19:45:00 | 0.89333 | 211.7967 | 1.03 | 232.7333 | 1.0533 | 231.8333 | 0.22333 | 247.8 | 27.5767 | 881 | 67.3373 | 0
2019-08-07 20:00:00 | 1.04 | 202.4433 | 1.21 | 222.4667 | 1.2867 | 216.6333 | 0.95 | 208.1533 | 27.496 | 881 | 66.9967 | 0
2019-08-07 20:15:00 | 1.3267 | 210.0867 | 1.5333 | 230.8667 | 1.6367 | 202.6267 | 1.54 | 203.7867 | 27.3033 | 880.2 | 67.0533 | 0
2019-08-07 20:30:00 | 1.4467 | 198.68 | 1.6667 | 218.3333 | 2.2233 | 206.9333 | 2.0133 | 207.7667 | 27.0633 | 880 | 67.8267 | 0
2019-08-07 20:45:00 | 1.3 | 185.5767 | 1.5033 | 203.9333 | 2.4433 | 215.5667 | 2.4167 | 212.5533 | 26.7 | 880 | 69.7 | 0
2019-08-07 21:00:00 | 0.81333 | 184.8607 | 0.94333 | 203.14 | 1.59 | 213.84 | 2.2367 | 217.5 | 26.28 | 880 | 71.4067 | 0
2019-08-07 21:15:00 | 0.23 | 218.86 | 0.28 | 240.5 | 0.34 | 150.5867 | 1.4467 | 225 | 25.9567 | 880.8 | 73.3 | 0
2019-08-07 21:30:00 | 0.93667 | 304.8867 | 1.08 | 335.0333 | 0.98667 | 23.62 | 0.42 | 116.1333 | 25.7633 | 881 | 77.18 | 0
2019-08-07 21:45:00 | 1.6733 | 313.6167 | 1.9267 | 344.6333 | 1.8867 | 9.5867 | 0.81667 | 6.6567 | 25.5067 | 881 | 79.7933 | 0
2019-08-07 22:00:00 | 1.6333 | 282.49 | 1.8867 | 310.4333 | 1.92 | 11.3067 | 0.47 | 193.6367 | 25.2467 | 881 | 81.4 | 0
2019-08-07 22:15:00 | 1.5 | 299.64 | 1.73 | 329.2667 | 1.6267 | 232.26 | 0.47333 | 302.9667 | 25.0167 | 881 | 82.3 | 0
2019-08-07 22:30:00 | 1.2933 | 310.9133 | 1.4833 | 341.6667 | 1.3467 | 1.6867 | 1.06 | 276.2333 | 24.91 | 881.4667 | 82.5467 | 0
2019-08-07 22:45:00 | 1.4067 | 299.98 | 1.6267 | 329.6333 | 1.74 | 6.9167 | 1.22 | 180.01 | 24.734 | 882 | 83.5 | 0
2019-08-07 23:00:00 | 1.7667 | 114.6867 | 2.04 | 126.02 | 2.1067 | 20.1167 | 0.82 | 139.3433 | 24.39 | 882 | 84.6333 | 0
2019-08-07 23:15:00 | 1.3533 | 324.69 | 1.5633 | 356.8 | 1.57 | 31.1333 | 0.82 | 123.7867 | 24.2527 | 881.2 | 84.2333 | 0
2019-08-07 23:30:00 | 1.6467 | 310.7967 | 1.9033 | 341.5333 | 1.8167 | 15.1333 | 0.82 | 30.0667 | 24.1367 | 881 | 85.1 | 0
2019-08-07 23:45:00 | 2.1533 | 319.5667 | 2.48 | 351.1667 | 2.8087 | 4.8267 | 1.8533 | 4.2933 | 23.72 | 881.8 | 87.1 | 0