## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-08 00:00:00 | 2.4757 | 320.8114 | 2.8607 | 352.5286 | 3.1471 | 11.6679 | 1.5293 | 9.5864 | 23.3914 | 882 | 88.9 | 0
2019-08-08 00:15:00 | 2.21 | 320.9927 | 2.5433 | 352.7267 | 3.2067 | 11.2733 | 2.4167 | 16 | 23.07 | 881.8667 | 90.3667 | 0
2019-08-08 00:30:00 | 2.3433 | 313.9867 | 2.7033 | 345.0333 | 3.2333 | 5.2467 | 2.6433 | 8.6133 | 22.9653 | 881.4667 | 90.7 | 0
2019-08-08 00:45:00 | 2.3467 | 310.8267 | 2.7133 | 341.5667 | 2.83 | 235.7667 | 1.7533 | 256.9333 | 23.0867 | 881.2 | 89.4667 | 0
2019-08-08 01:00:00 | 2.9867 | 306.2733 | 3.44 | 336.5667 | 3.9967 | 12.12 | 3.6133 | 36.2333 | 22.76 | 881 | 91.2667 | 0
2019-08-08 01:15:00 | 3.4333 | 105.6833 | 3.95 | 116.1267 | 4.5033 | 9.3333 | 4.1667 | 11.3067 | 22.2867 | 881 | 93.7333 | 0.368
2019-08-08 01:30:00 | 3.6333 | 107.53 | 4.1767 | 118.1533 | 4.3367 | 7.2267 | 4.2067 | 12.6667 | 22.1467 | 881 | 94.4667 | 0.90533
2019-08-08 01:45:00 | 3.61 | 306.49 | 4.1533 | 336.8 | 4.2867 | 2.4467 | 4.2133 | 236.0333 | 22.2167 | 881 | 93.6667 | 1.75
2019-08-08 02:00:00 | 3.57 | 312.1433 | 4.1067 | 343 | 4.6267 | 15.1467 | 4.6333 | 4.34 | 22.0167 | 881 | 94.3333 | 4.542
2019-08-08 02:15:00 | 3.33 | 305.8833 | 3.84 | 336.1333 | 5.28 | 12.9567 | 5.2633 | 13.07 | 21.7967 | 880.8667 | 95.3333 | 5.568
2019-08-08 02:30:00 | 3.2233 | 109.3833 | 3.7067 | 120.1933 | 5.26 | 240.63 | 5.5967 | 18.53 | 21.63 | 880 | 96.2 | 5.9113
2019-08-08 02:45:00 | 3.43 | 93.19 | 3.94 | 102.4 | 5.28 | 14.2833 | 5.56 | 19.0367 | 21.6067 | 880 | 96.7 | 6.3747
2019-08-08 03:00:00 | 3.2167 | 109.0367 | 3.7067 | 119.8133 | 5.1467 | 14.3433 | 5.58 | 19.9633 | 21.626 | 880 | 96.7467 | 7.936
2019-08-08 03:15:00 | 2.8467 | 175.8033 | 3.2767 | 193.1867 | 5.1467 | 126.68 | 5.4633 | 11.5367 | 21.4633 | 880 | 97.3667 | 4.5527
2019-08-08 03:30:00 | 2.8133 | 213.7233 | 3.2367 | 234.8533 | 4.4133 | 126.4533 | 4.73 | 8.49 | 21.39 | 880 | 97.7467 | 3.7347
2019-08-08 03:45:00 | 2.8433 | 17.78 | 3.2733 | 19.5333 | 4.01 | 9.77 | 4.11 | 21.59 | 21.4247 | 880 | 97.5333 | 1.7727
2019-08-08 04:00:00 | 2.99 | 12.4 | 3.44 | 13.62 | 3.9233 | 10.4033 | 4.1367 | 10.49 | 21.4407 | 880 | 97.3533 | 0.74467
2019-08-08 04:15:00 | 2.1667 | 106.24 | 2.5 | 116.74 | 3.4267 | 11.5867 | 3.7133 | 18.71 | 21.4007 | 880 | 97.3933 | 0
2019-08-08 04:30:00 | 1.74 | 313.04 | 2.0067 | 344 | 2.8133 | 34.6533 | 3.0867 | 28.09 | 21.3267 | 880 | 97.6333 | 0
2019-08-08 04:45:00 | 1.7467 | 315.81 | 2.0167 | 347.0333 | 2.5133 | 4.2633 | 2.4067 | 21.77 | 21.2613 | 880 | 98.0133 | 0
2019-08-08 05:00:00 | 2.1333 | 311.81 | 2.4567 | 342.6333 | 2.9067 | 6.01 | 2.6333 | 16.1967 | 21.1867 | 880 | 98.2333 | 0
2019-08-08 05:15:00 | 2.1867 | 213.1 | 2.5233 | 234.1667 | 3.5133 | 4.5533 | 3.77 | 14.76 | 21.1607 | 880 | 98.3933 | 0.61667
2019-08-08 05:30:00 | 2.76 | 8.7 | 3.17 | 9.56 | 4.52 | 0.24 | 4.4767 | 10.3533 | 21.1453 | 880 | 98.5467 | 2.1147
2019-08-08 05:45:00 | 3.0067 | 101.7767 | 3.4533 | 111.8467 | 5.0167 | 237.7233 | 5.0867 | 5.8167 | 21.128 | 880 | 98.6933 | 3.298
2019-08-08 06:00:00 | 2.7867 | 309.95 | 3.2067 | 340.6 | 5.0433 | 5.51 | 5.1067 | 6.8833 | 21.0907 | 880 | 98.8467 | 5.2227
2019-08-08 06:15:00 | 2.76 | 278.0367 | 3.1767 | 305.5333 | 4.9767 | 3.63 | 5.11 | 7.6833 | 21.0427 | 880 | 99.1133 | 6.3087
2019-08-08 06:30:00 | 2.5733 | 309.41 | 2.9633 | 340 | 4.7033 | 6.8567 | 5.07 | 10.9033 | 20.986 | 880 | 99.3333 | 7.1667
2019-08-08 06:45:00 | 2.8667 | 302.7567 | 3.3033 | 332.7 | 5.26 | 14.81 | 5.3967 | 14.87 | 20.942 | 880.1333 | 99.6133 | 8.014
2019-08-08 07:00:00 | 2.9867 | 284.3833 | 3.4367 | 312.5 | 5.3333 | 16.61 | 5.5767 | 15.81 | 20.9053 | 881 | 99.8333 | 8.4313
2019-08-08 07:15:00 | 3.288 | 236.804 | 3.7773 | 260.2147 | 4.898 | 75.1307 | 5.226 | 14.6587 | 20.8973 | 881 | 99.98 | 8.3793
2019-08-08 07:30:00 | 2.8 | 209.7333 | 3.22 | 230.47 | 5.0067 | 8.6267 | 5.1867 | 17.0767 | 20.944 | 881 | 99.9533 | 6.4933
2019-08-08 07:45:00 | 3.0733 | 308.3667 | 3.5467 | 338.8667 | 4.93 | 121.2267 | 5.05 | 8.9233 | 21.0367 | 881 | 99.8333 | 3.496
2019-08-08 08:00:00 | 3.142 | 134.162 | 3.62 | 147.426 | 4.924 | 139.072 | 4.724 | 0.962 | 21.168 | 881 | 99.46 | 2.3667
2019-08-08 08:15:00 | 3.38 | 107.9033 | 3.89 | 118.5667 | 4.8167 | 121.2333 | 4.6333 | 9.39 | 21.4167 | 881.8 | 98.3333 | 2.1993
2019-08-08 08:30:00 | 3.32 | 313.014 | 3.832 | 343.96 | 4.764 | 356.5733 | 4.586 | 210.476 | 21.48 | 882 | 97.7533 | 2.3873
2019-08-08 08:45:00 | 3.0633 | 221.4467 | 3.5333 | 243.3367 | 4.8867 | 0.95333 | 4.7733 | 2.5133 | 21.7667 | 882 | 97.5667 | 3.6953
2019-08-08 09:00:00 | 3.1967 | 10.7267 | 3.6733 | 11.7833 | 5.42 | 32.6733 | 5.4267 | 5.96 | 22.1333 | 882 | 96.7667 | 5.348
2019-08-08 09:15:00 | 2.9367 | 217.8033 | 3.3867 | 239.33 | 5.08 | 237.65 | 5.29 | 11.3867 | 22.48 | 882.1333 | 95.2667 | 6.3927
2019-08-08 09:30:00 | 2.63 | 64.7367 | 3.0267 | 71.13 | 4.92 | 0.95 | 5.1633 | 8.62 | 22.5867 | 883 | 94.9533 | 6.16
2019-08-08 09:45:00 | 2.48 | 254.56 | 2.8567 | 279.7333 | 4.8567 | 3.35 | 5.2333 | 6.4967 | 22.74 | 883 | 94.9667 | 5.8933
2019-08-08 10:00:00 | 2.48 | 277.8533 | 2.8567 | 305.3333 | 4.87 | 4.5167 | 5.3067 | 7.3367 | 22.96 | 883 | 94.7 | 3.92
2019-08-08 10:15:00 | 2.5867 | 54.6133 | 2.9733 | 60.01 | 4.9433 | 9.3133 | 5.08 | 4.86 | 23.58 | 883 | 93.88 | 5.9113
2019-08-08 10:30:00 | 3.08 | 5.7533 | 3.5467 | 6.3167 | 5.6967 | 8.8933 | 5.7867 | 4.6 | 24.2933 | 883 | 90.3667 | 5.8507
2019-08-08 10:45:00 | 2.9133 | 24.4067 | 3.3567 | 26.8133 | 5.02 | 119.9733 | 5.3367 | 9.6667 | 24.4567 | 883.8 | 88.9667 | 6.0047
2019-08-08 11:00:00 | 2.7133 | 44.42 | 3.1233 | 48.8 | 4.8867 | 119.0667 | 5.0833 | 8.7267 | 24.4567 | 884 | 90.6333 | 6.826
2019-08-08 11:15:00 | 3.0567 | 269.2733 | 3.5133 | 295.9 | 5.4733 | 9.0067 | 5.7333 | 11.86 | 25.1267 | 884 | 88.4 | 8.0413
2019-08-08 11:30:00 | 3.2367 | 244.6467 | 3.7267 | 268.8333 | 5.76 | 8.3933 | 5.9133 | 11.0333 | 25.5933 | 884 | 86 | 10.2567
2019-08-08 11:45:00 | 3.37 | 164.99 | 3.8767 | 181.3 | 6.2233 | 11.6633 | 6.37 | 11.24 | 25.68 | 884 | 85.2 | 9.1273
2019-08-08 12:00:00 | 3.11 | 304.1567 | 3.5767 | 334.2333 | 5.8367 | 7.4367 | 5.7967 | 10.64 | 25.6613 | 884 | 85.1333 | 5.8373
2019-08-08 12:15:00 | 2.7133 | 304.85 | 3.1333 | 335 | 4.8667 | 19.8067 | 4.7967 | 16.5167 | 25.4953 | 884 | 85.9 | 3.53
2019-08-08 12:30:00 | 2.6867 | 166.5367 | 3.0933 | 183 | 4.76 | 11.48 | 4.81 | 11.8233 | 25.63 | 884 | 86.3467 | 2.4313
2019-08-08 12:45:00 | 2.5367 | 63.2867 | 2.9167 | 69.54 | 4.5833 | 10.3633 | 4.7667 | 12.5133 | 25.99 | 884 | 84.9133 | 4.5933
2019-08-08 13:00:00 | 2.81 | 172.9067 | 3.23 | 190.0067 | 5.3967 | 11.11 | 5.36 | 18.8933 | 26.0947 | 884 | 84.6667 | 4.524
2019-08-08 13:15:00 | 2.7267 | 230.0567 | 3.1333 | 252.8 | 5.2 | 19.9333 | 5.1533 | 14.0633 | 26.3067 | 884 | 85.4 | 4.0947
2019-08-08 13:30:00 | 2.8333 | 195.7833 | 3.26 | 215.1333 | 5.3533 | 15.9 | 5.2933 | 18.57 | 27.0533 | 884 | 83.7333 | 2.5493
2019-08-08 13:45:00 | 3.14 | 102.3633 | 3.6133 | 112.4867 | 5.5433 | 10.2667 | 5.2633 | 12.2067 | 27.876 | 884 | 79.33 | 3.51
2019-08-08 14:00:00 | 3.02 | 284.9633 | 3.4733 | 313.1333 | 5.5033 | 2.96 | 5.2233 | 9.2133 | 27.8547 | 884 | 79.63 | 4.1947
2019-08-08 14:15:00 | 3.0133 | 224.6833 | 3.4733 | 246.8967 | 4.9367 | 228.3467 | 4.6933 | 5.1333 | 27.42 | 884 | 80.0467 | 5.2373
2019-08-08 14:30:00 | 3.0867 | 38.51 | 3.5533 | 42.3167 | 5.4233 | 8.8267 | 5.04 | 9.1533 | 27.5533 | 884 | 80.4067 | 4.6053
2019-08-08 14:45:00 | 2.9067 | 55.5267 | 3.3533 | 61.01 | 5.2567 | 20.4967 | 4.9633 | 15.1967 | 27.4467 | 884 | 81.0333 | 4.2173
2019-08-08 15:00:00 | 2.9733 | 202.8267 | 3.42 | 222.8767 | 5.4167 | 17.23 | 5.19 | 20.2833 | 28.1533 | 884 | 80.32 | 3.5993
2019-08-08 15:15:00 | 3.2767 | 62.35 | 3.7667 | 68.5133 | 5.9833 | 17.9033 | 5.9367 | 19.8533 | 28.9767 | 884 | 77.5133 | 5.0367
2019-08-08 15:30:00 | 3.3633 | 29.8633 | 3.8667 | 32.8067 | 6.13 | 22.21 | 6.09 | 17.9267 | 29.204 | 884 | 76.2467 | 5.152
2019-08-08 15:45:00 | 3.29 | 287.8033 | 3.7867 | 316.2667 | 5.9967 | 21.4233 | 5.9567 | 34.9867 | 28.8 | 884 | 75.7333 | 4.6013
2019-08-08 16:00:00 | 3.2433 | 197.47 | 3.7333 | 217 | 6.1167 | 33.65 | 6.2033 | 27.18 | 27.86 | 884 | 78.6333 | 4.656
2019-08-08 16:15:00 | 2.6933 | 82.376 | 3.1027 | 90.514 | 5.184 | 9.792 | 5.532 | 31.4433 | 27.234 | 883.2 | 82.3393 | 5.37
2019-08-08 16:30:00 | 2.88 | 89.6233 | 3.3233 | 98.4867 | 5.6167 | 13.8833 | 5.6667 | 20.1733 | 27.46 | 883 | 82.7667 | 7.1413
2019-08-08 16:45:00 | 3.48 | 300.7533 | 4.01 | 330.5 | 6.0433 | 8.5567 | 6.04 | 25.59 | 27.458 | 883 | 80.6667 | 8.2567
2019-08-08 17:00:00 | 3.6133 | 292.7467 | 4.1567 | 321.7 | 6.1633 | 18.3367 | 6.0333 | 11.2967 | 27.3333 | 883 | 81.0667 | 8.3447
2019-08-08 17:15:00 | 3.906 | 34.53 | 4.5 | 37.936 | 7.236 | 20.264 | 6.942 | 18.144 | 27.812 | 883 | 80.36 | 12.8373
2019-08-08 17:30:00 | 4.23 | 262.3233 | 4.8733 | 288.2667 | 7.8 | 16.0467 | 7.4033 | 21.5267 | 27.1267 | 883 | 81.6 | 13.126
2019-08-08 17:45:00 | 4.1467 | 128.5133 | 4.7767 | 141.22 | 7.3367 | 11.4633 | 7.2 | 20.2067 | 26.6367 | 883 | 83 | 13.938
2019-08-08 18:00:00 | 4.32 | 313.78 | 4.9767 | 344.8 | 7.8633 | 23.01 | 7.5867 | 19.04 | 26.91 | 883 | 82.5333 | 15.9013
2019-08-08 18:15:00 | 4.4533 | 314.38 | 5.13 | 345.4667 | 7.84 | 125.6667 | 7.72 | 9.9933 | 26.4767 | 883 | 83.0867 | 17.35
2019-08-08 18:30:00 | 4.72 | 108.3067 | 5.43 | 119.0133 | 8.0867 | 119.0333 | 7.7933 | 4.5067 | 25.91 | 882.5333 | 84.2 | 20.22
2019-08-08 18:45:00 | 4.3933 | 267.2067 | 5.0567 | 293.6333 | 7.9567 | 19.2933 | 7.72 | 8.9033 | 25.4933 | 882 | 86 | 23.7473
2019-08-08 19:00:00 | 4.4533 | 269.0267 | 5.1233 | 295.6333 | 7.65 | 232.5333 | 7.3733 | 13.3233 | 25.3413 | 882 | 86.3333 | 20.186
2019-08-08 19:15:00 | 4.1067 | 64.7133 | 4.7233 | 71.1067 | 7.6233 | 16.4567 | 7.4967 | 20.8433 | 25.2733 | 882 | 86.9667 | 16.7173
2019-08-08 19:30:00 | 4.0267 | 220.3733 | 4.63 | 242.1667 | 7.6633 | 12.7633 | 7.6633 | 22.3313 | 25.06 | 882 | 87.7 | 16.8013
2019-08-08 19:45:00 | 3.7733 | 211.7 | 4.3367 | 232.6333 | 7.3167 | 8.4533 | 7.4 | 22.45 | 24.6867 | 882 | 88.9867 | 17.9307
2019-08-08 20:00:00 | 3.8133 | 122.8867 | 4.39 | 135.0333 | 7.1967 | 18.34 | 7.3267 | 25.59 | 24.48 | 882 | 89.3 | 19.6913
2019-08-08 20:15:00 | 4.4367 | 143.71 | 5.1 | 157.92 | 8.2833 | 18.7933 | 8.11 | 17.1733 | 24.3947 | 882 | 89.6667 | 26.6353
2019-08-08 20:30:00 | 4.5367 | 237.21 | 5.22 | 260.6667 | 8.8967 | 15.86 | 8.89 | 17.5267 | 24.2733 | 882 | 90.4667 | 29.638
2019-08-08 20:45:00 | 4.6767 | 38.7233 | 5.3833 | 42.55 | 8.5567 | 10.9567 | 8.52 | 18.1567 | 24.1527 | 882.8 | 91.2333 | 31.5193
2019-08-08 21:00:00 | 4.4567 | 39.6967 | 5.13 | 43.6167 | 7.9567 | 14.2767 | 7.8333 | 22.7767 | 24.184 | 883 | 91.0533 | 22.698
2019-08-08 21:15:00 | 3.9667 | 140.6867 | 4.5667 | 154.6 | 7.6 | 14.7033 | 7.6567 | 18.84 | 24.156 | 883 | 91.5 | 19.0573
2019-08-08 21:30:00 | 3.6867 | 56.1 | 4.2467 | 61.6467 | 6.8333 | 10.65 | 6.69 | 15.6 | 24.0767 | 883 | 92.1 | 19.0173
2019-08-08 21:45:00 | 3.9533 | 99.1733 | 4.5567 | 108.98 | 6.4467 | 18.01 | 6.1567 | 9.7867 | 24.1687 | 883.1333 | 91.5867 | 24.5687
2019-08-08 22:00:00 | 4.18 | 295.78 | 4.8167 | 325.0333 | 7.2 | 238.79 | 7.41 | 241.3467 | 24.1133 | 884 | 91.5 | 28.5967
2019-08-08 22:15:00 | 4.6333 | 298.5067 | 5.33 | 328.0333 | 8.24 | 136.2467 | 8.32 | 124.28 | 24 | 884 | 91.2 | 27.172
2019-08-08 22:30:00 | 4.7133 | 115.8467 | 5.4167 | 127.3067 | 8.38 | 6.8 | 8.3467 | 355.3333 | 23.8733 | 884 | 91.1333 | 24.8553
2019-08-08 22:45:00 | 4.4733 | 180 | 5.1467 | 197.8033 | 7.9467 | 6.3333 | 8.0367 | 5.4933 | 23.71 | 884 | 89.6333 | 28.4087
2019-08-08 23:00:00 | 4.8067 | 216.1667 | 5.5267 | 237.5367 | 8.1333 | 8.3733 | 8.2233 | 11.16 | 23.55 | 884 | 87.8333 | 35.7527
2019-08-08 23:15:00 | 5.5867 | 285.2933 | 6.4333 | 313.5 | 9.8033 | 7.9533 | 9.6933 | 6.17 | 23.31 | 884 | 84.6333 | 39.3107
2019-08-08 23:30:00 | 5.8267 | 89.8733 | 6.7 | 98.76 | 9.9167 | 5.7 | 9.94 | 6.1233 | 23.3033 | 884 | 81.9667 | 42.404
2019-08-08 23:45:00 | 5.9267 | 146.54 | 6.8233 | 161.02 | 9.8633 | 13.3567 | 9.59 | 352.1 | 23.2227 | 884 | 81.7667 | 40.516