## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-09 00:00:00 | 6.0386 | 129.62 | 6.9557 | 142.4321 | 9.6421 | 3.9464 | 9.4093 | 178.9714 | 22.9093 | 884 | 82.5 | 46.1343
2019-08-09 00:15:00 | 6.38 | 295.9667 | 7.34 | 325.2333 | 10.2033 | 15.84 | 9.8233 | 10.8067 | 22.42 | 884 | 83.9 | 51.0693
2019-08-09 00:30:00 | 6.4 | 115.38 | 7.3667 | 126.7933 | 10.8233 | 235.2467 | 10.8167 | 3.68 | 21.86 | 884 | 86.8333 | 53.044
2019-08-09 00:45:00 | 6.46 | 117.45 | 7.43 | 129.0667 | 10.7667 | 11.2233 | 10.49 | 16.5833 | 21.14 | 884 | 90.3667 | 52.6453
2019-08-09 01:00:00 | 6.2867 | 304.1833 | 7.2367 | 334.2667 | 11.28 | 7.65 | 10.51 | 14.6833 | 20.64 | 883.5333 | 93.5667 | 56.8293
2019-08-09 01:15:00 | 6.6033 | 148.3567 | 7.59 | 163.0333 | 11.6333 | 2.92 | 11.64 | 236.2 | 20.0767 | 883 | 96 | 57.6027
2019-08-09 01:30:00 | 6.83 | 140.35 | 7.8567 | 154.2333 | 12.16 | 238.88 | 12.22 | 2.2867 | 19.7167 | 883 | 97.5333 | 55.844
2019-08-09 01:45:00 | 7.1333 | 69.9833 | 8.2087 | 76.9 | 12.37 | 236.7233 | 12.0667 | 5.28 | 19.4567 | 883 | 98.7333 | 56.456
2019-08-09 02:00:00 | 6.8867 | 191.93 | 7.9267 | 210.9 | 12.1033 | 237.79 | 11.9667 | 0.16 | 19.35 | 883 | 99.1333 | 49.746
2019-08-09 02:15:00 | 5.36 | 96.6367 | 6.17 | 106.1933 | 9.6767 | 20.1767 | 9.57 | 3.0267 | 19.2573 | 883 | 99.2933 | 34.3153
2019-08-09 02:30:00 | 4.4067 | 209.6633 | 5.07 | 230.3933 | 7.95 | 18.0567 | 8.0433 | 24.48 | 19.2133 | 883 | 99.6 | 38.0767
2019-08-09 02:45:00 | 4.8467 | 83.0633 | 5.5733 | 91.2733 | 8.6033 | 1.9567 | 8.6113 | 244.4333 | 19.16 | 883 | 99.9133 | 47.4613
2019-08-09 03:00:00 | 5.0867 | 112.21 | 5.8533 | 123.3 | 9.0633 | 3.4033 | 9.1667 | 12.48 | 19.1553 | 883 | 100 | 52.6767
2019-08-09 03:15:00 | 5.98 | 20.69 | 6.89 | 22.7333 | 10.2467 | 8.35 | 10.5033 | 13.7467 | 19.24 | 882.8667 | 100 | 54.7153
2019-08-09 03:30:00 | 6.2733 | 16.3567 | 7.2233 | 17.9667 | 11.24 | 11.5567 | 11.43 | 18.5067 | 19.314 | 882 | 100 | 56.6107
2019-08-09 03:45:00 | 6.16 | 187.4933 | 7.09 | 206.0333 | 11.4333 | 16.0867 | 11.7033 | 24.09 | 19.4113 | 882 | 100 | 58.1067
2019-08-09 04:00:00 | 6.44 | 226.0733 | 7.41 | 248.4333 | 11.8733 | 15.2 | 11.9833 | 17.95 | 19.406 | 882 | 100 | 58.7833
2019-08-09 04:15:00 | 6.46 | 78.32 | 7.4367 | 86.0533 | 12.0967 | 15.0967 | 12.06 | 22.6467 | 19.37 | 882 | 100 | 59.768
2019-08-09 04:30:00 | 6.6067 | 248.7067 | 7.5967 | 273.3 | 12.3833 | 16.0367 | 12.36 | 24.04 | 19.326 | 882 | 100 | 60.416
2019-08-09 04:45:00 | 6.5 | 197.56 | 7.48 | 217.1 | 12.4433 | 13.5833 | 12.9867 | 25.4033 | 19.2627 | 882 | 100 | 59.7587
2019-08-09 05:00:00 | 6.42 | 281.5867 | 7.3933 | 309.4333 | 12.2633 | 12.1433 | 12.2667 | 22.6633 | 19.1833 | 882 | 100 | 58.7227
2019-08-09 05:15:00 | 6.3867 | 196.2933 | 7.3433 | 215.7 | 11.8667 | 14.3367 | 11.7 | 17.9367 | 19.2207 | 882 | 100 | 59.0847
2019-08-09 05:30:00 | 7.0133 | 233.72 | 8.0767 | 256.8333 | 12.4067 | 13.6433 | 12.1067 | 16.4767 | 19.3267 | 882 | 100 | 60.4067
2019-08-09 05:45:00 | 6.6867 | 137.05 | 7.7 | 150.6067 | 12.4667 | 16.62 | 12.37 | 22.49 | 19.41 | 882 | 100 | 59.8173
2019-08-09 06:00:00 | 6.9933 | 161.6767 | 8.0533 | 177.6667 | 12.6133 | 9.8467 | 12.55 | 17.35 | 19.35 | 882 | 100 | 60.962
2019-08-09 06:15:00 | 7.26 | 121.8833 | 8.3633 | 133.9333 | 13.2167 | 18.27 | 13.32 | 18.56 | 19.2067 | 882 | 100 | 61.7427
2019-08-09 06:30:00 | 7.2067 | 235.69 | 8.29 | 259 | 13.2833 | 15.53 | 13.7267 | 22.92 | 19.1333 | 882 | 100 | 61.9347
2019-08-09 06:45:00 | 7.25 | 184.31 | 8.3433 | 202.5333 | 13.57 | 15.4133 | 14.1 | 22.9033 | 19.066 | 882 | 100 | 62.3533
2019-08-09 07:00:00 | 7.5053 | 212.8767 | 8.63 | 233.9333 | 13.9833 | 13.7 | 14.24 | 24.15 | 18.96 | 881.5333 | 100 | 61.638
2019-08-09 07:15:00 | 7.4733 | 98.1067 | 8.6 | 107.8 | 14.08 | 11.6033 | 14.43 | 25.7167 | 18.8633 | 881.8 | 100 | 61.2713
2019-08-09 07:30:00 | 7.76 | 164.78 | 8.92 | 181.0667 | 14.26 | 17.53 | 14.4967 | 24.5833 | 18.77 | 882 | 100 | 61.1333
2019-08-09 07:45:00 | 7.8133 | 195.7833 | 8.99 | 215.1333 | 14.02 | 16.38 | 14.2533 | 20.49 | 18.7307 | 882 | 100 | 61.3273
2019-08-09 08:00:00 | 7.5333 | 151.85 | 8.67 | 166.8667 | 13.84 | 12.62 | 13.9533 | 20.9967 | 18.7293 | 882 | 100 | 60.046
2019-08-09 08:15:00 | 6.9867 | 176.8033 | 8.0433 | 194.28 | 12.98 | 15.99 | 13.6967 | 24.7267 | 18.794 | 882 | 100 | 59.3493
2019-08-09 08:30:00 | 6.4933 | 122.87 | 7.47 | 135.0133 | 12.0467 | 8.0033 | 12.9193 | 27.5933 | 18.834 | 882 | 100 | 57.5967
2019-08-09 08:45:00 | 6.6533 | 262.42 | 7.6567 | 288.3667 | 12.4433 | 19.84 | 13.29 | 28.25 | 18.9833 | 882 | 100 | 55.226
2019-08-09 09:00:00 | 6.2067 | 66.2933 | 7.1433 | 72.84 | 11.6367 | 16.0133 | 12.73 | 27.3567 | 19.1167 | 882.4667 | 100 | 54.5753
2019-08-09 09:15:00 | 6.3533 | 230.7533 | 7.3067 | 253.5667 | 11.93 | 13.72 | 12.6667 | 27.8167 | 19.1787 | 883 | 100 | 53.7207
2019-08-09 09:30:00 | 6.02 | 172.3267 | 6.9267 | 189.3667 | 11.07 | 9.4267 | 11.5467 | 23.3967 | 19.1167 | 883 | 100 | 56.5747
2019-08-09 09:45:00 | 6.1133 | 120.01 | 7.04 | 131.88 | 11.4733 | 23.29 | 12.1033 | 22.9667 | 19.3567 | 883 | 100 | 56.534
2019-08-09 10:00:00 | 6.3533 | 253.6567 | 7.3067 | 278.7333 | 11.8067 | 5.9233 | 12.0233 | 23.5933 | 19.67 | 883 | 100 | 54.706
2019-08-09 10:15:00 | 5.7333 | 166.6633 | 6.5933 | 183.1333 | 10.4533 | 5.6033 | 10.7367 | 22.38 | 20.5467 | 883 | 99.3333 | 50.6553
2019-08-09 10:30:00 | 5.5667 | 172.1767 | 6.4 | 189.2 | 10.0333 | 9.09 | 10.2033 | 23.3867 | 21.3467 | 883.4667 | 96.5333 | 47.5353
2019-08-09 10:45:00 | 5.7987 | 25.4167 | 6.6733 | 27.9267 | 10.31 | 12.95 | 10.3133 | 22.7233 | 22.3733 | 884 | 92.2667 | 44.4507
2019-08-09 11:00:00 | 5.8567 | 76.6033 | 6.7333 | 84.18 | 10.51 | 10.67 | 10.4533 | 30.3567 | 23.14 | 884 | 89.3333 | 38.5213
2019-08-09 11:15:00 | 5.3367 | 24.2867 | 6.1433 | 26.6767 | 9.8833 | 31.25 | 10.3633 | 26.6267 | 23.39 | 884 | 88.6667 | 36.372
2019-08-09 11:30:00 | 4.7967 | 154.7133 | 5.5233 | 170.01 | 9.07 | 15.65 | 9.7367 | 22.9333 | 23.07 | 884 | 89.4667 | 37.0127
2019-08-09 11:45:00 | 4.84 | 280.9133 | 5.5733 | 308.7 | 9.0933 | 20.1067 | 9.63 | 29.2233 | 22.92 | 884 | 90.0333 | 42.058
2019-08-09 12:00:00 | 5.28 | 232.2 | 6.0733 | 255.1667 | 9.82 | 25.6933 | 10.2767 | 31.2833 | 23.1267 | 884 | 89.5667 | 38.9667
2019-08-09 12:15:00 | 5.32 | 173.82 | 6.1233 | 191 | 9.9933 | 16.93 | 9.91 | 26.7033 | 23.7633 | 884 | 87.5 | 34.7493
2019-08-09 12:30:00 | 5.22 | 242.6067 | 6.0033 | 266.6 | 9.8333 | 22.6767 | 10.05 | 27.53 | 23.8967 | 884 | 84.7 | 37.078
2019-08-09 12:45:00 | 5.12 | 110.6833 | 5.8867 | 121.6333 | 9.6467 | 19.27 | 10.0167 | 29.2633 | 23.9573 | 884 | 83.1 | 33.9467
2019-08-09 13:00:00 | 5.1867 | 211.0567 | 5.9667 | 231.9333 | 9.5533 | 14.9433 | 10.33 | 29.3433 | 24.5667 | 884 | 82.9667 | 32.9973
2019-08-09 13:15:00 | 5.54 | 163.4667 | 6.3833 | 179.6333 | 10.0167 | 16.9067 | 10.41 | 29.8567 | 26.0767 | 884 | 78.8667 | 28.8667
2019-08-09 13:30:00 | 5.6 | 58.7333 | 6.45 | 64.54 | 9.8033 | 12.86 | 10.27 | 32.0567 | 26.5967 | 884 | 72.46 | 29.9533
2019-08-09 13:45:00 | 5.9 | 128.9267 | 6.79 | 141.6667 | 10.3933 | 12.6567 | 10.7467 | 25.2167 | 26.8467 | 884 | 70.9167 | 30.1407
2019-08-09 14:00:00 | 5.8333 | 97.56 | 6.71 | 107.2 | 10.44 | 14.0633 | 10.7133 | 24.4833 | 26.8733 | 884 | 69.4833 | 29.4227
2019-08-09 14:15:00 | 6.1133 | 303.91 | 7.04 | 333.9667 | 11.0867 | 14.2 | 10.6733 | 21.8533 | 27.37 | 884 | 69.1433 | 32.0893
2019-08-09 14:30:00 | 5.78 | 199.3167 | 6.6533 | 219.0333 | 10.48 | 18.4933 | 10.6447 | 29.5267 | 27.6633 | 884 | 66.4433 | 28.9367
2019-08-09 14:45:00 | 5.38 | 173.8733 | 6.1967 | 191.0667 | 9.8567 | 21.2133 | 9.5467 | 20.38 | 28.2633 | 884 | 65.9833 | 25.2693
2019-08-09 15:00:00 | 4.67 | 200.5607 | 5.3757 | 220.3857 | 8.5936 | 13.4214 | 8.3464 | 17.7364 | 27.36 | 884 | 67.0393 | 18.9473
2019-08-09 15:15:00 | 3.8767 | 112.3 | 4.4567 | 123.4 | 7.0233 | 18.9533 | 6.92 | 22.14 | 27.6467 | 884 | 67.1867 | 17.5427
2019-08-09 15:30:00 | 4.05 | 147 | 4.6567 | 161.5333 | 7.1233 | 17.4133 | 6.92 | 30.6533 | 28.6933 | 884 | 62.2867 | 15.794
2019-08-09 15:45:00 | 4.5867 | 185.0367 | 5.28 | 203.3333 | 8.0433 | 12.7433 | 7.8467 | 39.5533 | 29.1647 | 884 | 56.4933 | 12.614
2019-08-09 16:00:00 | 4.12 | 203.5967 | 4.74 | 223.7333 | 7.3633 | 6.93 | 6.8067 | 24.0067 | 28.7233 | 884 | 54.76 | 12.2573
2019-08-09 16:15:00 | 3.8 | 135.6933 | 4.38 | 149.1133 | 6.8033 | 33.91 | 5.95 | 32.6967 | 28.83 | 883.2 | 55.6967 | 8.7813
2019-08-09 16:30:00 | 3.96 | 288.54 | 4.5533 | 317.0667 | 6.9167 | 22.35 | 6.2833 | 32.8567 | 29.48 | 883 | 53.67 | 8.058
2019-08-09 16:45:00 | 3.88 | 216.2467 | 4.4633 | 237.6333 | 6.9533 | 9.24 | 6.6233 | 30.3033 | 29.7367 | 883 | 52.24 | 7.5313
2019-08-09 17:00:00 | 3.9067 | 80.3 | 4.49 | 88.24 | 7.0067 | 20.8333 | 6.7167 | 31.6833 | 29.8207 | 883 | 51.94 | 6.6413
2019-08-09 17:15:00 | 3.2413 | 172.8493 | 3.7373 | 189.9467 | 6.0013 | 16.9413 | 5.9147 | 20.0173 | 29.9487 | 883 | 52.422 | 4.5433
2019-08-09 17:30:00 | 2.5933 | 169.54 | 2.9833 | 186.3 | 4.9467 | 9.9133 | 5.0067 | 243.29 | 30.4633 | 883 | 54.6433 | 3.2393
2019-08-09 17:45:00 | 2.8467 | 212.97 | 3.27 | 234.0333 | 5.36 | 7.7367 | 5.13 | 6.3233 | 30.74 | 883 | 51.86 | 4.558
2019-08-09 18:00:00 | 2.98 | 306.5233 | 3.4367 | 336.8333 | 5.7667 | 6.9967 | 5.55 | 11.05 | 30.3667 | 883 | 53.7733 | 4.496
2019-08-09 18:15:00 | 2.96 | 192.3833 | 3.4167 | 211.4 | 5.4533 | 237.9833 | 5.5267 | 64.4933 | 29.7833 | 883 | 52.6067 | 4.8053
2019-08-09 18:30:00 | 3.148 | 236.182 | 3.628 | 259.54 | 5.728 | 1.416 | 5.684 | 14.84 | 29.258 | 883 | 53.778 | 4.2613
2019-08-09 18:45:00 | 3 | 194.5567 | 3.45 | 213.8 | 5.4933 | 8.5367 | 5.4533 | 10.7 | 28.03 | 883 | 56.41 | 4.618
2019-08-09 19:00:00 | 2.9733 | 183.8233 | 3.4167 | 202 | 5.4933 | 4.57 | 5.4333 | 14.9933 | 27.2033 | 883 | 59.2633 | 3.8593
2019-08-09 19:15:00 | 2.51 | 153.4633 | 2.8833 | 168.6333 | 4.8567 | 7.3667 | 5.0633 | 11.0267 | 26.3933 | 882.2 | 63.4 | 3.9093
2019-08-09 19:30:00 | 2.0167 | 153.1567 | 2.3167 | 168.3 | 3.8833 | 5.6667 | 3.9233 | 5.0533 | 25.8733 | 882 | 65.6867 | 3.4507
2019-08-09 19:45:00 | 2.08 | 244.24 | 2.3933 | 268.4 | 3.7467 | 339.6 | 3.7633 | 25.0433 | 25.3567 | 882 | 68.8933 | 3.5473
2019-08-09 20:00:00 | 2.0667 | 283.74 | 2.38 | 311.8 | 3.8667 | 348.5333 | 3.9433 | 24.53 | 24.9033 | 882 | 71 | 4.8787
2019-08-09 20:15:00 | 2.52 | 292.05 | 2.9033 | 320.9333 | 4.7467 | 7.7767 | 4.98 | 17.9567 | 24.3167 | 882 | 73.7133 | 7.5773
2019-08-09 20:30:00 | 2.8267 | 265.1767 | 3.2633 | 291.4 | 5.64 | 17.3967 | 5.76 | 21.0033 | 23.8833 | 882 | 77.1333 | 10.318
2019-08-09 20:45:00 | 3.1067 | 295.4 | 3.57 | 324.6 | 5.6233 | 15.21 | 5.9167 | 22.5033 | 23.6 | 882 | 79.5467 | 8.478
2019-08-09 21:00:00 | 2.72 | 273.4267 | 3.1367 | 300.4667 | 5.1567 | 13.8033 | 5.3767 | 19.1633 | 23.6187 | 882 | 79.87 | 7.5807
2019-08-09 21:15:00 | 2.8167 | 218.6667 | 3.2433 | 240.29 | 5.2267 | 11.34 | 5.4067 | 10.3967 | 23.41 | 882 | 81.5667 | 8.852
2019-08-09 21:30:00 | 2.83 | 15.5667 | 3.2567 | 17.0967 | 4.8533 | 240.5267 | 5.0533 | 15.13 | 23.23 | 882 | 82.4333 | 6.2507
2019-08-09 21:45:00 | 2.34 | 309.38 | 2.7 | 339.9667 | 4.4213 | 5.99 | 4.8033 | 16.0867 | 23.0267 | 882 | 83.8333 | 3.018
2019-08-09 22:00:00 | 2.0867 | 316.1633 | 2.4 | 347.42 | 3.5233 | 5.1167 | 3.79 | 11.42 | 22.8 | 882 | 84.9667 | 2.1087
2019-08-09 22:15:00 | 2.4733 | 206.59 | 2.8433 | 227.0167 | 3.7567 | 3.7133 | 3.7333 | 8.7467 | 23.0067 | 882 | 84.2 | 2.4607
2019-08-09 22:30:00 | 2.92 | 196.0967 | 3.3567 | 215.4833 | 4.2433 | 3.8867 | 4.2067 | 7.3733 | 23.1867 | 882.4667 | 83.3333 | 3.324
2019-08-09 22:45:00 | 2.74 | 309.01 | 3.1533 | 339.5667 | 4 | 6.8867 | 4.2233 | 7.7467 | 23.1593 | 882.8667 | 83.8667 | 2.4687
2019-08-09 23:00:00 | 2.6867 | 304.2767 | 3.1 | 334.3667 | 4.1733 | 8.62 | 4.4433 | 10.8067 | 22.98 | 882 | 84.8 | 3.3673
2019-08-09 23:15:00 | 2.4533 | 279.9133 | 2.8267 | 307.6 | 4.65 | 13.3467 | 4.92 | 8.39 | 22.6133 | 882.8 | 87 | 5.7033
2019-08-09 23:30:00 | 2.64 | 307.6467 | 3.04 | 338.0667 | 5.03 | 10.6933 | 5.16 | 11.13 | 22.32 | 883 | 88.6 | 10.6133
2019-08-09 23:45:00 | 3.0733 | 250.8333 | 3.5333 | 275.6333 | 5.8767 | 12.02 | 6.2667 | 16.59 | 22.06 | 883 | 90.1 | 15.1947