## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-10 00:00:00 | 3.36 | 218.6729 | 3.8721 | 240.3 | 6.3021 | 11.9564 | 6.5329 | 16.6571 | 21.8764 | 883 | 90.8 | 19.15
2019-08-10 00:15:00 | 3.4167 | 13.3333 | 3.9333 | 14.6467 | 6.0233 | 123.6667 | 6.5833 | 16.6233 | 21.8073 | 882.3333 | 91.0867 | 19.7333
2019-08-10 00:30:00 | 3.47 | 219.7067 | 3.9933 | 241.4333 | 5.9567 | 123.9533 | 6.2967 | 16.5567 | 21.87 | 883 | 90.7333 | 18.3453
2019-08-10 00:45:00 | 3.72 | 149.22 | 4.2833 | 163.9733 | 6.4767 | 12.8 | 6.73 | 7.37 | 21.9087 | 882.8667 | 90.5067 | 18.232
2019-08-10 01:00:00 | 3.5933 | 119.88 | 4.1367 | 131.7267 | 6.2833 | 14.4667 | 6.5567 | 10.9033 | 21.8867 | 882 | 90.6667 | 17.0153
2019-08-10 01:15:00 | 3.6933 | 124.4167 | 4.25 | 136.7267 | 6.3633 | 228.5767 | 6.66 | 238.9 | 21.7133 | 882 | 91.7333 | 15.748
2019-08-10 01:30:00 | 3.36 | 144.67 | 3.87 | 158.9733 | 6.1233 | 9.1767 | 6.6267 | 14.8333 | 21.5933 | 882 | 92.0467 | 18.01
2019-08-10 01:45:00 | 3.55 | 120.8267 | 4.0867 | 132.7733 | 5.9967 | 127.8733 | 6.4667 | 16.1267 | 21.5333 | 882 | 92.3133 | 19.7007
2019-08-10 02:00:00 | 3.6767 | 322.6867 | 4.2267 | 354.6 | 6.05 | 347.9667 | 6.2533 | 13.1667 | 21.5053 | 882 | 92.4 | 20.7087
2019-08-10 02:15:00 | 3.7867 | 258.53 | 4.3533 | 284.1 | 7.18 | 5.7533 | 7.7267 | 16.2367 | 21.32 | 882 | 93.3333 | 19.45
2019-08-10 02:30:00 | 3.36 | 295.4767 | 3.8733 | 324.7 | 6.14 | 12.4933 | 6.78 | 20.3633 | 21.1733 | 882 | 94 | 18.5973
2019-08-10 02:45:00 | 3.42 | 317.4733 | 3.9367 | 348.8667 | 6.45 | 3.45 | 6.9013 | 14.6267 | 20.96 | 882 | 95.1333 | 19.6153
2019-08-10 03:00:00 | 3.7733 | 101.3667 | 4.3433 | 111.3867 | 7.0833 | 6.11 | 7.4633 | 15.7667 | 20.78 | 882 | 95.9333 | 20.1933
2019-08-10 03:15:00 | 3.19 | 275.6433 | 3.67 | 302.9 | 5.82 | 10.61 | 6.3767 | 18.1167 | 20.6367 | 882 | 96.7 | 22.2753
2019-08-10 03:30:00 | 3.41 | 299.7833 | 3.9233 | 329.4333 | 6.2067 | 4.3433 | 6.45 | 22.6633 | 20.49 | 881.5333 | 97.1667 | 24.068
2019-08-10 03:45:00 | 4.0133 | 4.1267 | 4.6267 | 4.5333 | 6.8033 | 1.5267 | 7.2467 | 11.5533 | 20.4427 | 881 | 97.6133 | 25.2327
2019-08-10 04:00:00 | 3.8933 | 206.8 | 4.48 | 227.24 | 6.7033 | 7.34 | 7.0333 | 12.1867 | 20.36 | 881 | 97.9 | 21.7607
2019-08-10 04:15:00 | 3.96 | 191.8033 | 4.5567 | 210.77 | 6.8667 | 121.2333 | 7.0667 | 17.4333 | 20.2747 | 881 | 98.0133 | 19.9993
2019-08-10 04:30:00 | 4.1333 | 34.0967 | 4.7567 | 37.4633 | 6.88 | 354.0667 | 6.8067 | 10.6133 | 20.2093 | 881 | 98.1 | 16.7373
2019-08-10 04:45:00 | 3.9167 | 229.7833 | 4.5067 | 252.5 | 6.4967 | 120.5867 | 6.4467 | 12.58 | 20.224 | 881 | 98.28 | 14.6093
2019-08-10 05:00:00 | 3.37 | 116.6367 | 3.8867 | 128.1667 | 6.3633 | 118 | 6.5267 | 6.52 | 20.1267 | 881 | 98.5 | 15.778
2019-08-10 05:15:00 | 3.2767 | 253.6767 | 3.7667 | 278.7667 | 6.4833 | 7.2033 | 6.7867 | 6.2533 | 19.9133 | 881 | 98.68 | 14.568
2019-08-10 05:30:00 | 3.2967 | 305.3033 | 3.7933 | 335.5 | 6.4167 | 14.2033 | 6.44 | 7.6267 | 19.78 | 881 | 99.1667 | 12.914
2019-08-10 05:45:00 | 3.4133 | 294.7567 | 3.93 | 323.9 | 6.3233 | 13.74 | 6.3 | 20.5567 | 19.6867 | 881 | 99.7 | 16.2893
2019-08-10 06:00:00 | 3.76 | 112.1567 | 4.3233 | 123.2467 | 7.11 | 9.3 | 6.7933 | 5.59 | 19.6867 | 881 | 99.9467 | 21.77
2019-08-10 06:15:00 | 4.1433 | 202.9567 | 4.77 | 223.02 | 7.5967 | 12.9433 | 7.2767 | 22.44 | 19.77 | 881 | 100 | 23.294
2019-08-10 06:30:00 | 4.1033 | 17.93 | 4.7233 | 19.7 | 7.6653 | 12.1033 | 7.21 | 17.6067 | 19.7433 | 881 | 100 | 27.198
2019-08-10 06:45:00 | 4.67 | 23.0133 | 5.37 | 25.29 | 7.6933 | 122.48 | 7.78 | 26.29 | 19.6513 | 881 | 100 | 25.7607
2019-08-10 07:00:00 | 4.588 | 194.222 | 5.286 | 213.428 | 7.348 | 143.144 | 7.726 | 22.546 | 19.708 | 881 | 100 | 26.3413
2019-08-10 07:15:00 | 4.1333 | 216.95 | 4.7533 | 238.4067 | 7.28 | 114 | 7.23 | 17.8133 | 19.8867 | 881 | 100 | 27.2313
2019-08-10 07:30:00 | 4.04 | 28.7033 | 4.6467 | 31.54 | 6.9667 | 350.1 | 6.59 | 21.5067 | 20.0333 | 881 | 100 | 28.6513
2019-08-10 07:45:00 | 3.9333 | 1.5667 | 4.52 | 1.7167 | 6.67 | 237.3333 | 6.65 | 21.0133 | 20.2967 | 881.1333 | 99.9733 | 26.156
2019-08-10 08:00:00 | 4.1467 | 212.82 | 4.7733 | 233.87 | 6.93 | 4.96 | 7.33 | 9.96 | 20.5767 | 882 | 98.4667 | 27.808
2019-08-10 08:15:00 | 4.5 | 216.2967 | 5.1767 | 237.6833 | 7.1633 | 7.1267 | 7.4167 | 11.6967 | 20.5687 | 882 | 97.3667 | 26.0447
2019-08-10 08:30:00 | 4.4267 | 24.63 | 5.09 | 27.0567 | 6.5233 | 11.7267 | 7.0433 | 13.2233 | 20.6267 | 882 | 96.7 | 24.572
2019-08-10 08:45:00 | 4.4 | 316.9 | 5.06 | 348.2333 | 6.5633 | 237.1167 | 6.84 | 15.6 | 21.3167 | 882 | 93.7 | 24.3753
2019-08-10 09:00:00 | 4.1867 | 318.6533 | 4.82 | 350.1667 | 6.77 | 7.4367 | 7.12 | 29.8067 | 22.11 | 882 | 91.7 | 26.7167
2019-08-10 09:15:00 | 4.5867 | 249.6133 | 5.2767 | 274.3 | 8.4367 | 9.2567 | 8.7367 | 17.82 | 23.8967 | 882.1333 | 86.5 | 29.8967
2019-08-10 09:30:00 | 4.7267 | 116.2067 | 5.4367 | 127.7 | 8.5433 | 6.31 | 8.8233 | 22.4067 | 25.0233 | 883 | 81.1 | 30.5327
2019-08-10 09:45:00 | 5.236 | 266.108 | 6.0327 | 292.42 | 9.2793 | 16.2293 | 9.3213 | 19.0707 | 25.104 | 883 | 78.9907 | 27.114
2019-08-10 10:00:00 | 4.96 | 317.1273 | 5.7067 | 348.4867 | 8.59 | 8.69 | 8.2933 | 15.7367 | 25.2433 | 883 | 78.54 | 20.8467
2019-08-10 10:15:00 | 4.68 | 12.7667 | 5.3833 | 14.0267 | 7.5067 | 7.27 | 7.1967 | 7.61 | 25.01 | 883 | 79.2067 | 15.0147
2019-08-10 10:30:00 | 4.2467 | 218.2267 | 4.8967 | 239.8067 | 6.4533 | 18.4633 | 6.1233 | 2.69 | 24.8913 | 883 | 79.52 | 11.9107
2019-08-10 10:45:00 | 4.0067 | 104.7647 | 4.6093 | 115.1247 | 6.2927 | 16.608 | 6.062 | 10.1447 | 25.2553 | 883 | 77.776 | 12.4293
2019-08-10 11:00:00 | 4.1467 | 106.0967 | 4.77 | 116.58 | 6.5233 | 243.6 | 6.54 | 19.47 | 25.7 | 883 | 75.03 | 13.658
2019-08-10 11:15:00 | 4.0933 | 42.87 | 4.7133 | 47.1033 | 6.4767 | 8.8033 | 6.3613 | 9.3933 | 26.2033 | 883 | 70.9667 | 10.622
2019-08-10 11:30:00 | 3.68 | 216.83 | 4.2333 | 238.27 | 6.1433 | 20.87 | 5.8967 | 8.7 | 26.89 | 883 | 67.98 | 10.9407
2019-08-10 11:45:00 | 3.8033 | 290.93 | 4.3733 | 319.7 | 5.9733 | 246.3233 | 5.5467 | 18.0667 | 26.9533 | 883 | 67.2833 | 10.6673
2019-08-10 12:00:00 | 3.57 | 103.5833 | 4.1133 | 113.82 | 6.1867 | 22.35 | 5.8133 | 15.04 | 27.6533 | 883 | 67.07 | 8.9033
2019-08-10 12:15:00 | 3.41 | 18.9367 | 3.92 | 20.8033 | 6.0133 | 13.4433 | 5.7667 | 25.7867 | 28.6733 | 883 | 63.8533 | 6.8447
2019-08-10 12:30:00 | 3.17 | 212.4233 | 3.6467 | 233.4233 | 5.58 | 6.7367 | 5.3933 | 19.34 | 29.0267 | 883 | 62.2533 | 6.9387
2019-08-10 12:45:00 | 3.026 | 122.7373 | 3.4867 | 134.8647 | 5.1607 | 15.3353 | 5.0027 | 10.9887 | 29.1727 | 883 | 61.3127 | 7.6047
2019-08-10 13:00:00 | 3.2433 | 103.69 | 3.73 | 113.9333 | 5.3267 | 9.2967 | 5.0433 | 8.4867 | 29.29 | 883 | 59.6767 | 8.0927
2019-08-10 13:15:00 | 3.02 | 317.8733 | 3.4733 | 349.3 | 4.3567 | 13.6167 | 4.3833 | 16.22 | 28.88 | 883 | 56.4833 | 7.13
2019-08-10 13:30:00 | 2.756 | 304.3773 | 3.176 | 334.4733 | 3.9273 | 21.8127 | 3.9207 | 202.092 | 28.7787 | 883 | 56.174 | 4.3293
2019-08-10 13:45:00 | 2.86 | 68.44 | 3.3 | 75.2067 | 4.6067 | 23.94 | 4.22 | 14.3767 | 29.1633 | 883 | 57.5167 | 2.5493
2019-08-10 14:00:00 | 2.5267 | 213.4933 | 2.9067 | 234.6067 | 3.8133 | 244.32 | 3.5933 | 21.0967 | 29.57 | 883 | 56.21 | 2.004
2019-08-10 14:15:00 | 1.9733 | 303.09 | 2.28 | 333.0667 | 3.1233 | 111.1067 | 2.94 | 147.8867 | 30.3373 | 883 | 53.5267 | 1.6653
2019-08-10 14:30:00 | 1.9733 | 309.8967 | 2.2733 | 340.5333 | 2.6767 | 116.92 | 2.62 | 133.7333 | 30.2267 | 883 | 51.6533 | 2.124
2019-08-10 14:45:00 | 2.1867 | 25.4733 | 2.5233 | 27.9833 | 3.92 | 19.1567 | 3.8267 | 18.38 | 30.87 | 883 | 53.8967 | 1.7253
2019-08-10 15:00:00 | 2.76 | 173.4267 | 3.1643 | 183.975 | 4.9971 | 7.2886 | 4.7036 | 11.3114 | 31.5767 | 883 | 52.3371 | 0.94333
2019-08-10 15:15:00 | 2.7427 | 265.0167 | 3.16 | 291.2267 | 4.82 | 260.5613 | 4.5553 | 20.846 | 32.208 | 883 | 49.8613 | 0.37
2019-08-10 15:30:00 | 2.48 | 168.71 | 2.8567 | 185.4 | 4.5433 | 14.1367 | 4.32 | 20.9567 | 32.6167 | 883 | 49.61 | 0.13867
2019-08-10 15:45:00 | 2.3067 | 139.9333 | 2.6533 | 153.7667 | 4.17 | 25.02 | 3.95 | 13.5067 | 33.0167 | 883 | 48.9367 | 0
2019-08-10 16:00:00 | 2.2533 | 261.6867 | 2.5933 | 287.5667 | 4.21 | 2.9133 | 4.0367 | 9.2133 | 33.5167 | 883 | 47.9833 | 0
2019-08-10 16:15:00 | 2.07 | 183.09 | 2.3833 | 201.2 | 3.88 | 119.0667 | 3.62 | 2.1367 | 33.9967 | 883 | 46.8333 | 0
2019-08-10 16:30:00 | 1.8167 | 318.7433 | 2.0967 | 350.2667 | 3.02 | 120.36 | 2.7933 | 239.8433 | 33.9567 | 883 | 44.5467 | 0
2019-08-10 16:45:00 | 1.5267 | 292.15 | 1.7567 | 321.0333 | 2.51 | 17.2167 | 2.4567 | 112.0067 | 33.77 | 883 | 42.3733 | 0
2019-08-10 17:00:00 | 1.42 | 311.01 | 1.6367 | 341.7667 | 2.4367 | 221.8567 | 2.35 | 343.0333 | 33.9633 | 883 | 42.9933 | 0
2019-08-10 17:15:00 | 1.1133 | 108.2367 | 1.2867 | 118.9333 | 2.15 | 341.4333 | 2.15 | 237.0233 | 34.28 | 883 | 42.9733 | 0
2019-08-10 17:30:00 | 0.90667 | 286.87 | 1.04 | 315.2333 | 1.7967 | 134.9 | 1.8567 | 6.7433 | 34.1867 | 883 | 40.7133 | 0
2019-08-10 17:45:00 | 0.20667 | 270.09 | 0.23667 | 296.8 | 0.35 | 90.8467 | 0.14 | 0.29 | 34.33 | 883 | 36.4067 | 0
2019-08-10 18:00:00 | 0.47333 | 270.132 | 0.55 | 296.8467 | 0.69667 | 302.6667 | 0.28 | 0.29 | 34.6367 | 883 | 36.1267 | 0
2019-08-10 18:15:00 | 0.14 | 262.14 | 0.17 | 288.0667 | 0.26 | 198.6733 | 0.076667 | 0.28333 | 34.13 | 883 | 41.53 | 0
2019-08-10 18:30:00 | 0.12667 | 245.5133 | 0.15 | 269.8 | 0.16 | 198.5467 | 0.016667 | 0.28333 | 33.8367 | 883 | 40.6767 | 0
2019-08-10 18:45:00 | 1.3367 | 174.94 | 1.54 | 192.2333 | 1.7967 | 193.9333 | 1.4933 | 203.4667 | 32.9533 | 883 | 41.8833 | 0.41933
2019-08-10 19:00:00 | 2.2233 | 188.34 | 2.56 | 206.9667 | 3.0367 | 215.5333 | 2.64 | 222.7333 | 30.7933 | 882.5333 | 52.53 | 1.2273
2019-08-10 19:15:00 | 2.69 | 167.1033 | 3.0967 | 183.6333 | 3.85 | 228.8333 | 3.4867 | 231.3 | 29.26 | 881.8667 | 57.1233 | 0.90867
2019-08-10 19:30:00 | 1.8833 | 191.07 | 2.17 | 209.9667 | 2.8033 | 238.9 | 2.7933 | 237.0333 | 29.0367 | 881 | 56.6967 | 1.508
2019-08-10 19:45:00 | 2.31 | 199.6933 | 2.6533 | 219.4333 | 3.53 | 227.9333 | 3.76 | 240.3333 | 28.9227 | 881 | 55.0433 | 2.5987
2019-08-10 20:00:00 | 2.4633 | 212.06 | 2.8333 | 233.0333 | 3.59 | 235.4 | 3.7667 | 238.6667 | 28.7233 | 881 | 53.5033 | 1.8707
2019-08-10 20:15:00 | 1.932 | 184.188 | 2.224 | 202.3933 | 2.6287 | 238.8867 | 3.0687 | 241.2933 | 28.8707 | 881 | 53.178 | 1.0967
2019-08-10 20:30:00 | 1.04 | 188.6467 | 1.2033 | 207.3 | 1.4533 | 215.6 | 1.96 | 208.5 | 29.04 | 881 | 52.5867 | 0.24333
2019-08-10 20:45:00 | 0.54667 | 189.956 | 0.64 | 208.74 | 1.0833 | 193.6 | 1.56 | 216.6333 | 28.3167 | 881 | 57.24 | 0
2019-08-10 21:00:00 | 1.0533 | 196.4667 | 1.22 | 215.9 | 1.8633 | 214.9333 | 2.42 | 242.1667 | 27.8167 | 881 | 56.9067 | 0
2019-08-10 21:15:00 | 1.94 | 195.02 | 2.2267 | 214.3 | 2.8467 | 213.4 | 3.0433 | 219.4333 | 28.0833 | 881 | 54.9733 | 0
2019-08-10 21:30:00 | 2.0067 | 179.2467 | 2.3067 | 196.9667 | 2.8067 | 189.9333 | 2.8367 | 205.1667 | 27.9833 | 881 | 56.9333 | 0
2019-08-10 21:45:00 | 1.4367 | 179.5707 | 1.6633 | 197.3267 | 2.3067 | 182.7667 | 2.6333 | 191.9 | 27.4333 | 881 | 61.26 | 0
2019-08-10 22:00:00 | 1.05 | 191.62 | 1.2167 | 210.5667 | 2.0733 | 185.6333 | 2.2733 | 197.1 | 26.94 | 881 | 63.8467 | 0
2019-08-10 22:15:00 | 0.82 | 195.67 | 0.95 | 215.02 | 1.6233 | 168.1667 | 2.0433 | 190.7667 | 26.4733 | 881 | 65.72 | 0
2019-08-10 22:30:00 | 0.72667 | 195.65 | 0.83667 | 215 | 1.4367 | 165.5467 | 2.0767 | 184.1467 | 26.2467 | 881 | 66.6333 | 0
2019-08-10 22:45:00 | 0.86667 | 195.1 | 1.0033 | 214.4 | 1.52 | 168.88 | 2.21 | 178.5333 | 26.1667 | 881 | 67.4333 | 0
2019-08-10 23:00:00 | 1.1333 | 189.7733 | 1.31 | 208.5333 | 1.76 | 170.8333 | 2.81 | 178.2667 | 26.1393 | 881 | 67.8607 | 0
2019-08-10 23:15:00 | 1.34 | 182.09 | 1.54 | 200.1 | 2 | 168.2 | 2.7833 | 169.0333 | 25.9733 | 881 | 67.9213 | 0
2019-08-10 23:30:00 | 1.1133 | 61.0967 | 1.28 | 67.1333 | 1.1067 | 160.2667 | 2.21 | 159.9667 | 25.6733 | 881 | 65.8767 | 0
2019-08-10 23:45:00 | 1.2067 | 106.9267 | 1.39 | 117.5 | 0.39333 | 217.8 | 1.3433 | 161.1333 | 25.23 | 881 | 65.7533 | 0