## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-11 00:00:00 | 1.4236 | 318.8157 | 1.6464 | 350.3429 | 1.0157 | 132.4293 | 0.54786 | 177.6071 | 24.8929 | 881 | 67.4873 | 0
2019-08-11 00:15:00 | 1.0833 | 304.8267 | 1.25 | 334.9667 | 0.47667 | 275.6333 | 0.92 | 160.6667 | 24.9273 | 881 | 67.6467 | 0
2019-08-11 00:30:00 | 0.85667 | 117.8133 | 0.99 | 129.46 | 0.07 | 178.3467 | 0.96667 | 150.8 | 24.81 | 881 | 70.96 | 0
2019-08-11 00:45:00 | 1.34 | 320.356 | 1.5433 | 352.04 | 1.1533 | 225.9233 | 0.04 | 197.7333 | 24.3167 | 881 | 73.53 | 0
2019-08-11 01:00:00 | 1.2933 | 317.8633 | 1.49 | 349.3 | 0.8 | 229.39 | 0.18 | 282.2 | 24.0433 | 880.5333 | 73.45 | 0
2019-08-11 01:15:00 | 1.66 | 319.0167 | 1.91 | 350.5667 | 1.5133 | 2.21 | 0 | 282.2 | 23.7147 | 880 | 74.2267 | 0
2019-08-11 01:30:00 | 1.9867 | 317.93 | 2.2833 | 349.3667 | 1.9733 | 2.3233 | 0.16 | 202.4667 | 23.5867 | 880 | 74.3667 | 0
2019-08-11 01:45:00 | 2.3967 | 322.8067 | 2.7533 | 354.7333 | 2.44 | 240.84 | 0.043333 | 107.7267 | 23.4013 | 880 | 75.4833 | 0
2019-08-11 02:00:00 | 2.8167 | 313.2867 | 3.2467 | 344.2667 | 3.2933 | 11.5267 | 0.97667 | 2.8867 | 22.92 | 880 | 77.95 | 0
2019-08-11 02:15:00 | 3.46 | 3.0567 | 3.98 | 3.35 | 4.2833 | 13.95 | 3.3467 | 9.0367 | 22.3367 | 880 | 82.0667 | 0
2019-08-11 02:30:00 | 3.5 | 4.9633 | 4.0333 | 5.4433 | 4.15 | 16.9433 | 3.7933 | 24.35 | 22.09 | 880 | 85 | 0
2019-08-11 02:45:00 | 3.6067 | 211.94 | 4.1467 | 232.8867 | 4.0267 | 19.1633 | 3.4533 | 24.95 | 22.0567 | 880 | 85.7 | 0
2019-08-11 03:00:00 | 3.5467 | 210.12 | 4.08 | 230.8867 | 4.1333 | 12.1167 | 3.4 | 22.2767 | 21.8167 | 880 | 86.1 | 0
2019-08-11 03:15:00 | 3.32 | 113.5833 | 3.8167 | 124.8133 | 4.1267 | 15.1167 | 3.89 | 27.7867 | 21.756 | 880 | 86.5 | 0.13067
2019-08-11 03:30:00 | 3.4 | 117.6167 | 3.9167 | 129.24 | 4.74 | 13.69 | 4.81 | 18.86 | 21.4667 | 880 | 89.1 | 2.0727
2019-08-11 03:45:00 | 4.2233 | 211.3133 | 4.8567 | 232.2067 | 4.9333 | 5.9267 | 5.3333 | 13.2533 | 21.1633 | 880 | 90.2667 | 2.89
2019-08-11 04:00:00 | 4.17 | 200.64 | 4.7967 | 220.4733 | 5.4667 | 2.14 | 5.3733 | 12.8 | 20.9367 | 880 | 91.8 | 3.3873
2019-08-11 04:15:00 | 4.3533 | 205.0333 | 5.0067 | 225.3067 | 5.2733 | 5.2333 | 5.5513 | 16.1333 | 20.8213 | 879.2 | 91.2333 | 3.8927
2019-08-11 04:30:00 | 4.2267 | 0.073333 | 4.86 | 0.073333 | 5.6533 | 5.4067 | 5.9133 | 13.8 | 20.68 | 879 | 90.9667 | 5.5367
2019-08-11 04:45:00 | 3.9333 | 210.9033 | 4.52 | 231.75 | 5.4167 | 10.71 | 6.0633 | 18.0133 | 20.5807 | 879 | 91.32 | 5.8813
2019-08-11 05:00:00 | 3.8667 | 210.5967 | 4.4467 | 231.4167 | 5.2233 | 3.2767 | 5.8567 | 18.3867 | 20.4367 | 879 | 92.3 | 4.7873
2019-08-11 05:15:00 | 3.6693 | 253.1313 | 4.2293 | 278.1667 | 5.1027 | 1.6393 | 5.416 | 24.9713 | 20.3473 | 879 | 93.1533 | 4.4673
2019-08-11 05:30:00 | 3.5547 | 208.6933 | 4.0933 | 229.3333 | 5.1347 | 8.248 | 5.6093 | 19.9387 | 20.218 | 879 | 92.6067 | 3.9747
2019-08-11 05:45:00 | 4.1267 | 1.27 | 4.76 | 1.3967 | 5.4633 | 126.0267 | 5.8867 | 13.0567 | 20.2667 | 879 | 91.4333 | 6.0907
2019-08-11 06:00:00 | 3.9733 | 204.0367 | 4.5733 | 224.2167 | 5.6767 | 124.42 | 6.08 | 19.4567 | 20.14 | 879 | 93.5 | 8.3067
2019-08-11 06:15:00 | 3.8133 | 211.2467 | 4.39 | 232.14 | 6 | 10.1267 | 6.6567 | 24.6733 | 19.88 | 879 | 95.3333 | 9.8247
2019-08-11 06:30:00 | 4.208 | 10.886 | 4.848 | 11.958 | 6.334 | 217.688 | 7.1053 | 21.678 | 19.712 | 879 | 95.98 | 10.5747
2019-08-11 06:45:00 | 4.2767 | 307.1933 | 4.92 | 337.5667 | 6.89 | 9.0633 | 7.2267 | 8.5167 | 19.55 | 879 | 95.9 | 11
2019-08-11 07:00:00 | 4.4233 | 295.9067 | 5.0867 | 325.1667 | 7.2433 | 7.17 | 7.6667 | 13.89 | 19.5633 | 879 | 95.9467 | 11.0753
2019-08-11 07:15:00 | 4.4867 | 36.7233 | 5.16 | 40.3567 | 7.8867 | 6.2233 | 7.9233 | 13.32 | 19.8833 | 879 | 94.8 | 11.2847
2019-08-11 07:30:00 | 4.5667 | 201.5567 | 5.26 | 221.4833 | 7.92 | 6.43 | 8.2833 | 19.7667 | 20.27 | 879 | 93.7333 | 10.9653
2019-08-11 07:45:00 | 5.0333 | 109.33 | 5.79 | 120.1333 | 8.1433 | 121.4633 | 8.39 | 8.2267 | 20.6533 | 879.8 | 91.8333 | 12.824
2019-08-11 08:00:00 | 4.9333 | 212.1833 | 5.6767 | 233.1667 | 7.9167 | 46.45 | 8.3033 | 11.52 | 20.8867 | 880 | 91.3 | 15.1167
2019-08-11 08:15:00 | 5.15 | 148.76 | 5.9267 | 163.4667 | 8.3133 | 4.1267 | 8.5667 | 12.4267 | 21.2133 | 880 | 89.9667 | 15.8367
2019-08-11 08:30:00 | 4.6033 | 121.0867 | 5.2933 | 133.06 | 7.9333 | 6.0067 | 8.5267 | 16.1533 | 21.94 | 880 | 87.9667 | 19.5113
2019-08-11 08:45:00 | 4.4867 | 103.5267 | 5.1633 | 113.7667 | 7.8033 | 5.2033 | 8.35 | 10.4233 | 22.7867 | 880 | 84.2667 | 37.9467
2019-08-11 09:00:00 | 4.6533 | 94.0667 | 5.3633 | 103.3667 | 8.15 | 2.85 | 8.35 | 9.9567 | 23.34 | 880 | 82.6 | 35.1633
2019-08-11 09:15:00 | 5.06 | 223.2633 | 5.83 | 245.34 | 8.8667 | 5.6667 | 8.9167 | 15.5167 | 24.1273 | 880.8 | 79.08 | 33.11
2019-08-11 09:30:00 | 5.2867 | 29.7767 | 6.09 | 32.72 | 9.2267 | 16.8267 | 9.03 | 21.0567 | 24.29 | 881 | 77.8667 | 34.4527
2019-08-11 09:45:00 | 4.88 | 257.7433 | 5.6233 | 283.2333 | 8.7333 | 13.0067 | 8.8813 | 23.6367 | 24.98 | 881 | 75.2 | 33.0967
2019-08-11 10:00:00 | 4.6467 | 299.49 | 5.3567 | 329.1 | 8.32 | 11.42 | 8.5167 | 16.6033 | 25.6467 | 881 | 72.9467 | 25.8333
2019-08-11 10:15:00 | 4.8067 | 226.7767 | 5.5267 | 249.2 | 8.31 | 6.1033 | 8.3833 | 7.59 | 25.9533 | 881.8 | 70.7267 | 22.2213
2019-08-11 10:30:00 | 4.52 | 179.89 | 5.2067 | 197.6667 | 8.1433 | 18.7433 | 8.0967 | 17.0833 | 26.3467 | 882 | 70.8 | 17.752
2019-08-11 10:45:00 | 4.4733 | 82.2533 | 5.15 | 90.38 | 8.0633 | 10.85 | 7.7533 | 17 | 27.1033 | 882 | 67.8633 | 18.726
2019-08-11 11:00:00 | 5.0067 | 239.36 | 5.7633 | 263.0333 | 8.85 | 8.6167 | 8.7 | 18.02 | 27.3887 | 882 | 65.6833 | 19.3093
2019-08-11 11:15:00 | 4.55 | 35.08 | 5.23 | 38.54 | 7.8667 | 14.6367 | 7.4267 | 16.0167 | 27.4433 | 882 | 64.2533 | 16.8913
2019-08-11 11:30:00 | 4.1367 | 11.7133 | 4.7567 | 12.8667 | 7.2133 | 15.51 | 6.7467 | 23.4967 | 27.6233 | 882 | 64.6667 | 14.2467
2019-08-11 11:45:00 | 4.0333 | 122.0533 | 4.64 | 134.12 | 7.3367 | 7.7267 | 6.9433 | 12.34 | 28.37 | 882 | 64.8367 | 15.138
2019-08-11 12:00:00 | 4.0733 | 121.5 | 4.6867 | 133.52 | 7.29 | 9.28 | 7.2367 | 12.8733 | 29.0033 | 882 | 62.9233 | 12.244
2019-08-11 12:15:00 | 3.6867 | 186.2967 | 4.2433 | 204.7133 | 6.6067 | 15.0767 | 6.32 | 18.7467 | 29.1647 | 882 | 62.1667 | 9.2527
2019-08-11 12:30:00 | 3.7133 | 109.73 | 4.27 | 120.58 | 6.5647 | 15.37 | 6.4667 | 16.1867 | 29.26 | 882 | 61.3867 | 8.3167
2019-08-11 12:45:00 | 3.62 | 75.11 | 4.17 | 82.5333 | 6.5687 | 13.39 | 6.56 | 23.3533 | 29.6067 | 882 | 60.74 | 9.0247
2019-08-11 13:00:00 | 3.5 | 71.57 | 4.03 | 78.6467 | 6.4733 | 11.0767 | 6.52 | 30.28 | 30.0533 | 882 | 59.7067 | 8.552
2019-08-11 13:15:00 | 3.8567 | 80.52 | 4.4333 | 88.48 | 6.8333 | 20.6567 | 6.77 | 27.6433 | 30.31 | 881.8667 | 56.0167 | 7.9327
2019-08-11 13:30:00 | 3.5167 | 272.06 | 4.0467 | 298.9667 | 6.2333 | 18.37 | 6.15 | 27.93 | 30.4167 | 881 | 55.1567 | 7.992
2019-08-11 13:45:00 | 3.11 | 287.6833 | 3.5767 | 316.1333 | 5.37 | 18.1033 | 5.42 | 21.7467 | 30.5067 | 881 | 54.7333 | 6.0773
2019-08-11 14:00:00 | 2.97 | 102.3833 | 3.4167 | 112.5067 | 5.1167 | 17.5167 | 5.1733 | 18.8 | 30.8 | 881 | 55.5933 | 3.1853
2019-08-11 14:15:00 | 2.5733 | 92.2933 | 2.9567 | 101.42 | 4.47 | 14.8167 | 4.28 | 22.37 | 31.1267 | 881 | 54.2567 | 1.8793
2019-08-11 14:30:00 | 2.28 | 266.66 | 2.6233 | 293.0333 | 4.1567 | 14.35 | 3.9933 | 17.1367 | 31.6267 | 881 | 54.05 | 0.766
2019-08-11 14:45:00 | 2.2067 | 212.6867 | 2.5367 | 233.7067 | 3.7333 | 5.73 | 3.5267 | 9.3267 | 31.9733 | 881 | 52.0933 | 0.22
2019-08-11 15:00:00 | 1.8 | 187.2067 | 2.0767 | 205.7067 | 2.8067 | 8.5367 | 2.6733 | 20.42 | 32.1333 | 881 | 49.7333 | 0.26267
2019-08-11 15:15:00 | 1.88 | 186.5433 | 2.1667 | 204.9833 | 3.2667 | 6.1467 | 3.2267 | 19.9233 | 32.7933 | 881 | 48.8267 | 0.14333
2019-08-11 15:30:00 | 1.7533 | 204.0033 | 2.0133 | 224.1833 | 2.9267 | 12.2333 | 2.9733 | 19.9767 | 33.1333 | 881 | 47.1133 | 0
2019-08-11 15:45:00 | 2 | 187.1767 | 2.3 | 205.68 | 3.68 | 22.5867 | 3.4533 | 6.98 | 33.6567 | 881 | 48.66 | 0
2019-08-11 16:00:00 | 1.62 | 84.65 | 1.8733 | 93.0133 | 3.1133 | 7.7067 | 2.9467 | 229.8467 | 33.9133 | 881 | 49.1667 | 0
2019-08-11 16:15:00 | 1.4267 | 218.8567 | 1.65 | 240.5 | 2.7267 | 15.1033 | 2.62 | 7.2133 | 34.4933 | 881 | 46.5667 | 0
2019-08-11 16:30:00 | 1.1867 | 258.7233 | 1.37 | 284.3 | 2.1267 | 8.27 | 1.9467 | 9.0267 | 34.94 | 881 | 44.4133 | 0
2019-08-11 16:45:00 | 0.35333 | 312.6413 | 0.41333 | 343.5667 | 0.50667 | 266.6333 | 0.90333 | 320.9667 | 35.076 | 881.1333 | 39.8467 | 0
2019-08-11 17:00:00 | 0.38 | 270.5733 | 0.44667 | 297.3333 | 0.57333 | 261.9667 | 0.50333 | 301.6333 | 35.1833 | 882 | 38.32 | 0
2019-08-11 17:15:00 | 0.37333 | 224.0133 | 0.43333 | 246.1667 | 0.53 | 253.3667 | 0.69 | 241.1667 | 35.2533 | 882 | 41.6767 | 0
2019-08-11 17:30:00 | 1.56 | 184.0333 | 1.8 | 202.2333 | 2.3033 | 238.7667 | 2.27 | 226.4333 | 34.6333 | 882 | 45.2233 | 0
2019-08-11 17:45:00 | 1.6833 | 182.7367 | 1.94 | 200.8 | 2.5333 | 239.1667 | 2.5233 | 251.8667 | 33.3267 | 882 | 48.3867 | 0
2019-08-11 18:00:00 | 1.2433 | 203.2967 | 1.44 | 223.4 | 1.9133 | 246.1667 | 2.1233 | 259.1333 | 33.0333 | 881.5333 | 48.3933 | 0
2019-08-11 18:15:00 | 1.1633 | 197.17 | 1.3467 | 216.6667 | 1.8133 | 240.5 | 1.7267 | 274.5667 | 33.0533 | 881 | 49.28 | 0
2019-08-11 18:30:00 | 0.89667 | 203.35 | 1.0333 | 223.4667 | 1.4867 | 248.5 | 1.2067 | 282.1667 | 33.08 | 881 | 49.5667 | 0
2019-08-11 18:45:00 | 0.87 | 231.9667 | 1.0033 | 254.9 | 1.5467 | 248.5333 | 0.98 | 279 | 32.0333 | 881 | 51.0013 | 0
2019-08-11 19:00:00 | 0.91 | 219.8333 | 1.0567 | 241.5667 | 1.3267 | 253.1067 | 0.42 | 262.4667 | 30.94 | 881 | 50.8967 | 0
2019-08-11 19:15:00 | 0.95333 | 219.5 | 1.0933 | 241.2 | 1.3967 | 238.7867 | 0.89667 | 254.88 | 30.3467 | 880.2 | 50.4733 | 0
2019-08-11 19:30:00 | 0.89333 | 240.06 | 1.0333 | 263.8 | 1.25 | 251.1 | 1.0633 | 271.5667 | 30.206 | 880 | 49.9933 | 0
2019-08-11 19:45:00 | 0.57333 | 234.23 | 0.65667 | 257.4 | 0.50333 | 263.18 | 0.38 | 279.9133 | 30.0367 | 880 | 49.5967 | 0
2019-08-11 20:00:00 | 0.026667 | 234.23 | 0.03 | 257.4 | 0.003333 | 274.8 | 0 | 280 | 29.5767 | 880 | 49.9967 | 0
2019-08-11 20:15:00 | 0 | 165.5533 | 0 | 181.93 | 0 | 274.8 | 0 | 280 | 28.7567 | 880 | 52.3633 | 0
2019-08-11 20:30:00 | 0 | 28.186 | 0 | 30.9713 | 0 | 274.8 | 0 | 280 | 28.5233 | 880 | 52.67 | 0
2019-08-11 20:45:00 | 0 | 28.17 | 0 | 30.95 | 0 | 274.88 | 0 | 280 | 28.4427 | 880 | 53.1067 | 0
2019-08-11 21:00:00 | 0.14 | 28.11 | 0.16 | 30.8833 | 0 | 274.9 | 0 | 280 | 28.31 | 880 | 53.59 | 0
2019-08-11 21:15:00 | 0.63667 | 107.2867 | 0.73333 | 117.8933 | 0.12 | 274.9 | 0 | 280 | 28.1067 | 880 | 56.858 | 0
2019-08-11 21:30:00 | 1.37 | 107.4333 | 1.58 | 118.06 | 1.0533 | 312.8333 | 0.026667 | 280.0467 | 27.7567 | 880 | 59.4833 | 0
2019-08-11 21:45:00 | 2.2333 | 121.3433 | 2.5667 | 133.34 | 2.1567 | 231.9967 | 1.2267 | 232.46 | 26.7467 | 880 | 64.6333 | 0
2019-08-11 22:00:00 | 2.78 | 106.5167 | 3.2067 | 117.0467 | 3.1233 | 10.23 | 1.98 | 13.9867 | 26.3467 | 880 | 64.2533 | 0
2019-08-11 22:15:00 | 3.14 | 312.0433 | 3.6133 | 342.9 | 3.9433 | 6.3467 | 3.1167 | 20.9933 | 26.1833 | 880 | 64.1133 | 0
2019-08-11 22:30:00 | 3.0333 | 311.5567 | 3.4933 | 342.3667 | 3.85 | 17.54 | 3.4633 | 24.5067 | 25.94 | 880 | 64.7133 | 0
2019-08-11 22:45:00 | 3.08 | 304.73 | 3.5433 | 334.8667 | 3.8067 | 24.9867 | 3.8133 | 29.36 | 25.6067 | 880 | 65.8067 | 0
2019-08-11 23:00:00 | 3.1733 | 320.63 | 3.65 | 352.3333 | 4.0067 | 20.26 | 3.6467 | 27.4467 | 25.2133 | 880 | 67.0933 | 0
2019-08-11 23:15:00 | 3.5667 | 321.9267 | 4.1 | 353.7667 | 4.4867 | 12.2467 | 4.72 | 29.34 | 24.9267 | 880 | 68.07 | 0.376
2019-08-11 23:30:00 | 3.84 | 319.68 | 4.4133 | 351.3 | 4.7133 | 12.1333 | 4.66 | 26.8933 | 24.76 | 880 | 69.1967 | 0.52733
2019-08-11 23:45:00 | 4.4067 | 4.1767 | 5.0733 | 4.5833 | 5.3567 | 11.4567 | 4.8733 | 7.6467 | 24.574 | 880 | 70.7367 | 1.464