## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-12 00:00:00 | 4.4286 | 206.1114 | 5.1029 | 226.4964 | 5.1757 | 0.15 | 5.0229 | 1.6657 | 24.4714 | 880 | 70.2685 | 1.9993
2019-08-12 00:15:00 | 4.3147 | 129.0227 | 4.9613 | 141.7787 | 5.2973 | 2.9247 | 5.2687 | 5.2373 | 24.2787 | 880 | 70.1973 | 2.4867
2019-08-12 00:30:00 | 4.5333 | 109.6667 | 5.21 | 120.5133 | 5.6733 | 1.5567 | 5.6067 | 7.8267 | 24.0833 | 880 | 70.61 | 4.7787
2019-08-12 00:45:00 | 4.1267 | 24.5933 | 4.7433 | 27.02 | 5.57 | 3.4433 | 5.96 | 14.4933 | 23.4433 | 880 | 73.39 | 7.078
2019-08-12 01:00:00 | 3.9133 | 7.7467 | 4.51 | 8.5 | 5.3567 | 7.2167 | 5.9867 | 15.22 | 23.1433 | 880 | 74.7633 | 10.678
2019-08-12 01:15:00 | 3.9533 | 216.8533 | 4.5467 | 238.3 | 6.5867 | 18.9367 | 7 | 24.3933 | 22.6567 | 880 | 78.2167 | 13.8687
2019-08-12 01:30:00 | 4.0133 | 241.4867 | 4.6133 | 265.3667 | 6.4067 | 17.9167 | 6.92 | 29.7067 | 22.4947 | 879.5333 | 78.6433 | 16.4027
2019-08-12 01:45:00 | 4.03 | 11.9867 | 4.6367 | 13.1633 | 6.9367 | 4.2 | 7.5067 | 18.1433 | 22.3573 | 879 | 78.9333 | 20.0587
2019-08-12 02:00:00 | 4.25 | 17.74 | 4.8967 | 19.4967 | 7.4633 | 9.72 | 7.98 | 17.3033 | 22.1733 | 879 | 79.5867 | 25.4967
2019-08-12 02:15:00 | 4.4967 | 218.86 | 5.1833 | 240.5 | 8.45 | 10.79 | 9.1533 | 20.0167 | 21.6967 | 879 | 81.4333 | 27.9927
2019-08-12 02:30:00 | 4.59 | 295.2933 | 5.2833 | 324.5 | 8.77 | 17.01 | 9.4 | 17.8967 | 21.4433 | 879 | 81.9667 | 25.9147
2019-08-12 02:45:00 | 4.2567 | 230.2067 | 4.8967 | 252.9733 | 7.9833 | 7.9533 | 8.7067 | 11.9633 | 21.21 | 879 | 83.1333 | 25.9153
2019-08-12 03:00:00 | 4.5233 | 232.5733 | 5.2033 | 255.5733 | 8.29 | 5.4933 | 8.78 | 8.0633 | 21.0567 | 879 | 84.1333 | 24.906
2019-08-12 03:15:00 | 5.2267 | 141.346 | 6.0087 | 155.3173 | 7.748 | 123.4187 | 8.378 | 16.4493 | 21.2107 | 879 | 83.3 | 23.8773
2019-08-12 03:30:00 | 5.3 | 308.23 | 6.0933 | 338.7 | 7.5 | 137.9 | 8.1333 | 12.6467 | 21.464 | 879 | 82.2 | 23.1893
2019-08-12 03:45:00 | 4.8633 | 206.0867 | 5.6 | 226.4667 | 7.7233 | 102.1733 | 8.2367 | 15.47 | 21.3033 | 879 | 83.7667 | 24.1953
2019-08-12 04:00:00 | 4.9833 | 108.88 | 5.7267 | 119.6467 | 7.7433 | 97.6067 | 8.2167 | 11.1167 | 21.1853 | 879 | 85.1667 | 24.0053
2019-08-12 04:15:00 | 4.7133 | 215.6467 | 5.43 | 236.9633 | 7.7433 | 20.9567 | 8.22 | 15.5167 | 20.87 | 879 | 86.9333 | 23.716
2019-08-12 04:30:00 | 4.5333 | 226.0133 | 5.21 | 248.3633 | 7.5367 | 16.55 | 7.9333 | 16.55 | 20.73 | 879 | 87.8667 | 24.386
2019-08-12 04:45:00 | 4.7867 | 300.8433 | 5.5133 | 330.6 | 7.57 | 5.5167 | 8.3167 | 18.1467 | 20.4267 | 879 | 89.2 | 23.3093
2019-08-12 05:00:00 | 4.2933 | 323.8967 | 4.94 | 355.9333 | 6.8367 | 12.0767 | 7.5233 | 12.64 | 20.24 | 879 | 89.9333 | 20.998
2019-08-12 05:15:00 | 4.3733 | 17.0867 | 5.0367 | 18.77 | 6.51 | 123.8667 | 7.4033 | 16.6467 | 20.2867 | 879 | 89.9667 | 20.4633
2019-08-12 05:30:00 | 4.7333 | 166.0467 | 5.45 | 182.47 | 7.13 | 135.6467 | 7.6567 | 9.9733 | 20.3533 | 879 | 89.7667 | 23.1187
2019-08-12 05:45:00 | 4.79 | 300.8467 | 5.5067 | 330.6 | 7.5433 | 14.3267 | 8.18 | 12.57 | 20.2427 | 879 | 90.1867 | 24.2687
2019-08-12 06:00:00 | 4.75 | 94.78 | 5.4733 | 104.1467 | 7.5367 | 6.2133 | 8.34 | 14.63 | 20.1887 | 879 | 90.1667 | 24.7593
2019-08-12 06:15:00 | 4.8967 | 101.5333 | 5.64 | 111.58 | 8.24 | 5.96 | 8.8967 | 18.4933 | 20.0567 | 879 | 90.7 | 27.628
2019-08-12 06:30:00 | 4.9167 | 83.6867 | 5.6533 | 91.96 | 8.2933 | 6.8333 | 8.85 | 15.4133 | 19.8367 | 879 | 91.7667 | 29.1607
2019-08-12 06:45:00 | 4.6067 | 111.8967 | 5.3033 | 122.9533 | 7.66 | 118.9267 | 8.0333 | 14.6533 | 19.5967 | 879 | 92.6333 | 30.8267
2019-08-12 07:00:00 | 5.0933 | 140.4567 | 5.87 | 154.34 | 8.2733 | 124.2467 | 8.6867 | 14.0867 | 19.67 | 879 | 92.4333 | 31.3533
2019-08-12 07:15:00 | 4.8333 | 35.9033 | 5.5633 | 39.4467 | 7.89 | 225.2233 | 8.4133 | 18.5667 | 20.1933 | 879.1333 | 90.3667 | 30.326
2019-08-12 07:30:00 | 4.58 | 138.9033 | 5.2767 | 152.6333 | 7.9033 | 13.8033 | 8.38 | 5.5067 | 20.6733 | 880 | 88.8333 | 31.4427
2019-08-12 07:45:00 | 4.5633 | 212.6367 | 5.25 | 233.6667 | 8.0567 | 8.47 | 8.6433 | 7.3133 | 21.35 | 880 | 85.9667 | 30.376
2019-08-12 08:00:00 | 4.6567 | 105.85 | 5.3633 | 116.3067 | 8.2567 | 0.79667 | 9.0367 | 10.28 | 21.9767 | 880 | 83.9 | 30.9913
2019-08-12 08:15:00 | 5.44 | 128.57 | 6.2633 | 141.28 | 8.6533 | 8.0367 | 9.1633 | 18.9367 | 22.12 | 880.1333 | 82.7 | 30.004
2019-08-12 08:30:00 | 5.02 | 122.2167 | 5.77 | 134.3 | 8.3267 | 4.91 | 9.1367 | 9.8633 | 22.1067 | 881 | 83.2333 | 28.294
2019-08-12 08:45:00 | 5.0467 | 5.22 | 5.81 | 5.7367 | 8.8767 | 12.62 | 9.3333 | 21.15 | 23.3 | 881 | 79.7967 | 31.508
2019-08-12 09:00:00 | 5.14 | 99.4067 | 5.9167 | 109.23 | 9.0967 | 10.2867 | 9.6067 | 18.8767 | 23.9067 | 881 | 77.9233 | 28.068
2019-08-12 09:15:00 | 4.6133 | 247.8533 | 5.3067 | 272.3667 | 8.3567 | 15.5633 | 8.86 | 20.5333 | 25.09 | 881.1333 | 74.5933 | 22.008
2019-08-12 09:30:00 | 4.6867 | 245.5533 | 5.3867 | 269.8333 | 8.31 | 14.3167 | 8.64 | 13.6333 | 25.7233 | 882 | 71.8667 | 18.5813
2019-08-12 09:45:00 | 4.2467 | 23.5467 | 4.8933 | 25.8767 | 7.13 | 10.7233 | 7.4067 | 9.7833 | 25.2767 | 882 | 73.4367 | 16.6807
2019-08-12 10:00:00 | 3.9333 | 232.5467 | 4.5267 | 255.5433 | 6.1633 | 12.3433 | 6.4133 | 4.5967 | 24.8233 | 882 | 74.5367 | 12.894
2019-08-12 10:15:00 | 4.06 | 301.91 | 4.6667 | 331.7667 | 6.98 | 10.9133 | 7.41 | 12.66 | 25.7767 | 882 | 72.75 | 12.81
2019-08-12 10:30:00 | 4.4533 | 116.7167 | 5.12 | 128.2467 | 7.3133 | 12.86 | 7.5967 | 12.3867 | 26.2767 | 882 | 69.7333 | 14.2313
2019-08-12 10:45:00 | 4.2867 | 319.9867 | 4.93 | 351.6333 | 7.3933 | 239.0667 | 7.1067 | 6.64 | 26.7767 | 882 | 69.08 | 13.8207
2019-08-12 11:00:00 | 4.16 | 318.4067 | 4.7833 | 349.9 | 7.4533 | 13.46 | 7.0467 | 8.96 | 27.7233 | 882 | 66.9933 | 11.892
2019-08-12 11:15:00 | 4.1467 | 114.12 | 4.77 | 125.4 | 7.4433 | 14.74 | 7.3033 | 20.77 | 28.7467 | 882.8 | 65.1733 | 11.1893
2019-08-12 11:30:00 | 4.0533 | 254.3533 | 4.6633 | 279.5 | 7.21 | 14.7067 | 7.03 | 13.8567 | 29.38 | 883 | 62.0867 | 10.5853
2019-08-12 11:45:00 | 4.1 | 269.6367 | 4.7233 | 296.3 | 7.3067 | 19.0267 | 7.17 | 21.1667 | 29.4533 | 883 | 60.2567 | 6.6487
2019-08-12 12:00:00 | 3.7933 | 249.6167 | 4.37 | 274.3 | 6.8533 | 7.9333 | 6.77 | 15.3067 | 29.6467 | 883 | 61.39 | 3.714
2019-08-12 12:15:00 | 3.28 | 275.86 | 3.77 | 303.1333 | 5.7867 | 10.5867 | 5.58 | 10.4367 | 30.1013 | 883 | 58.7387 | 3.2873
2019-08-12 12:30:00 | 3 | 268.4533 | 3.45 | 295 | 5.14 | 7.64 | 5 | 22.13 | 30.19 | 883 | 58.0367 | 4.4953
2019-08-12 12:45:00 | 3.08 | 318.96 | 3.54 | 350.5 | 4.9933 | 18.01 | 4.82 | 16.0333 | 30.2473 | 882.2 | 58.0767 | 4.098
2019-08-12 13:00:00 | 2.5733 | 121.3467 | 2.96 | 133.34 | 4.1933 | 13.0233 | 4.1533 | 25.18 | 30.2367 | 882 | 55.65 | 2.7827
2019-08-12 13:15:00 | 2.7767 | 168.0833 | 3.1967 | 184.7 | 4.8 | 12.8 | 4.6933 | 11.0733 | 30.5167 | 882 | 57.7733 | 1.996
2019-08-12 13:30:00 | 2.67 | 311.6833 | 3.0767 | 342.5 | 4.66 | 12.5267 | 4.46 | 14.8 | 31.01 | 882 | 56.2067 | 1.5347
2019-08-12 13:45:00 | 2.53 | 12.9167 | 2.91 | 14.1833 | 4.4413 | 12.62 | 4.32 | 16.8067 | 31.4167 | 882 | 55.26 | 1.296
2019-08-12 14:00:00 | 2.3633 | 134.17 | 2.7167 | 147.43 | 4.1233 | 27.7133 | 3.92 | 18.8467 | 31.6567 | 882 | 54.1867 | 0.12933
2019-08-12 14:15:00 | 2.14 | 201.43 | 2.4633 | 221.35 | 3.54 | 17.99 | 3.37 | 21.96 | 31.6867 | 882 | 51.25 | 0.18267
2019-08-12 14:30:00 | 2.3067 | 208.7767 | 2.65 | 229.4167 | 4.0067 | 11.35 | 3.9367 | 18.1533 | 31.9 | 882 | 52.11 | 0.336
2019-08-12 14:45:00 | 2.2733 | 143.4133 | 2.6167 | 157.5867 | 4.0667 | 18.5233 | 3.7367 | 24.2967 | 32.4667 | 882 | 50.6033 | 0.362
2019-08-12 15:00:00 | 2.6933 | 225.8333 | 3.0967 | 248.1667 | 4.8467 | 14.5233 | 4.63 | 29.85 | 32.6467 | 882 | 49.1433 | 0.574
2019-08-12 15:15:00 | 2.5133 | 175.4833 | 2.8933 | 192.8333 | 4.6533 | 8.0467 | 4.18 | 24.25 | 33.1467 | 882 | 48.3633 | 0.41667
2019-08-12 15:30:00 | 2.4133 | 100.1033 | 2.7733 | 110 | 4.1067 | 2.0733 | 3.9 | 15.3567 | 33.5267 | 882 | 45.0967 | 0.71467
2019-08-12 15:45:00 | 2.2667 | 289.5933 | 2.6067 | 318.2333 | 4.0167 | 8.7967 | 3.81 | 18.9433 | 34.06 | 882 | 44.4767 | 0.52267
2019-08-12 16:00:00 | 2.3667 | 289.54 | 2.72 | 318.1667 | 3.7033 | 235.93 | 3.4833 | 20.4967 | 33.6067 | 882 | 39.6367 | 0.404
2019-08-12 16:15:00 | 2.6967 | 274.3 | 3.1033 | 301.4333 | 4.8967 | 22.76 | 4.8333 | 26.1933 | 33.6967 | 882 | 41.1867 | 0.698
2019-08-12 16:30:00 | 1.8967 | 112.2 | 2.19 | 123.3 | 3.3567 | 236.6333 | 3.34 | 60.6 | 33.8833 | 882 | 40.2467 | 0.214
2019-08-12 16:45:00 | 1.9533 | 242.36 | 2.25 | 266.3333 | 3.62 | 17.5733 | 3.9333 | 37.6233 | 33.898 | 882 | 39.2447 | 0.254
2019-08-12 17:00:00 | 1.7067 | 192.1267 | 1.9767 | 211.1333 | 3.16 | 37.8733 | 3.3133 | 31.7767 | 34.2033 | 882 | 37.8967 | 0.27933
2019-08-12 17:15:00 | 1.5467 | 99.6767 | 1.78 | 109.5333 | 2.45 | 53.17 | 2.32 | 76.9733 | 33.4933 | 882 | 34.5067 | 0.006
2019-08-12 17:30:00 | 1.4133 | 116.4767 | 1.6267 | 128 | 2.7233 | 27.0833 | 3.2933 | 14.64 | 33.62 | 882 | 36.5267 | 0
2019-08-12 17:45:00 | 2.0833 | 110.69 | 2.3967 | 121.6333 | 3.8833 | 11.32 | 3.74 | 30.5467 | 33.8633 | 882 | 36.4067 | 0.282
2019-08-12 18:00:00 | 2.1033 | 262.2033 | 2.4167 | 288.1333 | 3.67 | 17.2933 | 3.9333 | 13.46 | 33.3833 | 882 | 35.78 | 0.41733
2019-08-12 18:15:00 | 1.73 | 217.92 | 2 | 239.4667 | 3.33 | 22.4267 | 4.01 | 43.5433 | 32.9127 | 882 | 36.0267 | 0.566
2019-08-12 18:30:00 | 1.8433 | 199.36 | 2.12 | 219.0667 | 3.5433 | 20.42 | 3.71 | 26.9633 | 32.5233 | 882 | 37.1267 | 0.49667
2019-08-12 18:45:00 | 1.8867 | 202.33 | 2.1833 | 222.3333 | 3.5633 | 35.0367 | 2.9633 | 34.4667 | 31.02 | 881.2 | 39.3933 | 0.22267
2019-08-12 19:00:00 | 1.6533 | 268.33 | 1.91 | 294.8667 | 3.21 | 29.29 | 3.0633 | 35.0667 | 29.66 | 881 | 42.22 | 0.44
2019-08-12 19:15:00 | 1.6467 | 248.9133 | 1.8967 | 273.5333 | 2.9967 | 14.16 | 3.0733 | 19.4667 | 28.69 | 880.2 | 44.55 | 0.20133
2019-08-12 19:30:00 | 1.5667 | 285.14 | 1.81 | 313.3333 | 2.95 | 17.8533 | 3.0333 | 31.3533 | 28.2967 | 880 | 45.1233 | 0.062
2019-08-12 19:45:00 | 1.67 | 271.4233 | 1.9333 | 298.2667 | 3.1933 | 15.2567 | 3.5433 | 22.69 | 27.7133 | 879.2 | 46.1567 | 0.078667
2019-08-12 20:00:00 | 1.67 | 286.17 | 1.9267 | 314.4667 | 2.98 | 13.0833 | 3.2767 | 26.7467 | 27.4133 | 879 | 46.1433 | 0.26667
2019-08-12 20:15:00 | 1.7567 | 101.3667 | 2.02 | 111.3933 | 3.4167 | 18.24 | 3.8533 | 25.8933 | 27.3013 | 879 | 46.6133 | 0.488
2019-08-12 20:30:00 | 1.85 | 293.84 | 2.1267 | 322.9 | 3.6567 | 21.8667 | 3.82 | 27.0933 | 27.0333 | 879 | 47.78 | 0.60867
2019-08-12 20:45:00 | 1.88 | 296.18 | 2.16 | 325.4667 | 3.6767 | 20.2233 | 3.75 | 26.12 | 26.5567 | 879 | 49.1967 | 0.40133
2019-08-12 21:00:00 | 1.98 | 297.0867 | 2.2733 | 326.4667 | 3.4367 | 23.95 | 3.4967 | 40.62 | 26.6233 | 879 | 48.7033 | 0.87467
2019-08-12 21:15:00 | 2.3067 | 278.6233 | 2.6667 | 306.1667 | 3.8213 | 16.9133 | 3.86 | 26.98 | 26.59 | 879.1333 | 49.7833 | 1.252
2019-08-12 21:30:00 | 2.638 | 301.492 | 3.042 | 331.3 | 3.818 | 15.146 | 3.862 | 16.672 | 26.556 | 880 | 49.934 | 1.4287
2019-08-12 21:45:00 | 3.0933 | 317.3767 | 3.57 | 348.7667 | 4.09 | 12.02 | 3.9267 | 10.22 | 26.5247 | 880 | 51.3567 | 1.784
2019-08-12 22:00:00 | 3.54 | 310.2233 | 4.0767 | 340.9 | 4.25 | 7.1733 | 3.9267 | 13.64 | 26.4767 | 880 | 52.79 | 1.4033
2019-08-12 22:15:00 | 3.18 | 113.59 | 3.6567 | 124.82 | 3.9833 | 129.6733 | 3.9433 | 26.4633 | 26.4133 | 880 | 53.0533 | 1.864
2019-08-12 22:30:00 | 3.08 | 314.47 | 3.5433 | 345.5667 | 3.6433 | 118.5 | 4.2967 | 23.7433 | 26.26 | 880 | 53.5 | 2.4753
2019-08-12 22:45:00 | 3.3667 | 114.2333 | 3.8733 | 125.5267 | 4.4833 | 9.0567 | 5.25 | 20.5667 | 25.3333 | 880 | 60.17 | 3.8187
2019-08-12 23:00:00 | 3.3133 | 309.5867 | 3.8133 | 340.2 | 4.4167 | 5.43 | 5.1567 | 16.5 | 24.64 | 880 | 63.61 | 4.1433
2019-08-12 23:15:00 | 3.4367 | 309.2533 | 3.95 | 339.8333 | 4.67 | 235.46 | 5.49 | 5.18 | 24.29 | 880 | 64.0533 | 4.868
2019-08-12 23:30:00 | 3.3167 | 322.6 | 3.8167 | 354.5 | 4.8433 | 234.86 | 5.7033 | 6.64 | 23.9833 | 880 | 66.48 | 5.0193
2019-08-12 23:45:00 | 3.0067 | 206.3133 | 3.4633 | 226.7167 | 4.6 | 238.9467 | 5.0067 | 10.3933 | 23.5267 | 880 | 68.98 | 4.7913