## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-13 00:00:00 | 3.0293 | 186.1443 | 3.4857 | 204.5464 | 4.9693 | 3.3314 | 5.5607 | 23.1957 | 23.1564 | 880 | 70.8786 | 8.7071
2019-08-13 00:15:00 | 3.2867 | 121.2833 | 3.78 | 133.2733 | 5.6267 | 5.0167 | 6.1033 | 19.35 | 22.7 | 880 | 72.69 | 11.3227
2019-08-13 00:30:00 | 3.54 | 306.2233 | 4.0667 | 336.5 | 6.3667 | 242.59 | 6.7433 | 22.3967 | 22.4 | 880 | 74.3567 | 13.0973
2019-08-13 00:45:00 | 3.8867 | 319.4533 | 4.4667 | 351.0333 | 6.4233 | 15.7833 | 7.36 | 14.7533 | 22.1467 | 879.3333 | 74.302 | 12.648
2019-08-13 01:00:00 | 3.7333 | 114.1533 | 4.2933 | 125.4333 | 5.9033 | 122.9633 | 6.58 | 25.96 | 22.4133 | 880 | 72.1633 | 10.9073
2019-08-13 01:15:00 | 3.5333 | 313.31 | 4.07 | 344.3 | 6.0633 | 13.0533 | 6.2933 | 11.5267 | 22.4293 | 880 | 72.1287 | 11.2273
2019-08-13 01:30:00 | 3.6 | 106.59 | 4.1433 | 117.1333 | 6.3367 | 12.4333 | 6.7 | 19.6733 | 22.1467 | 879.5333 | 73.9033 | 14.2593
2019-08-13 01:45:00 | 3.7533 | 287.9333 | 4.32 | 316.4 | 6.5833 | 14.63 | 6.8133 | 17.49 | 21.87 | 879 | 75.31 | 12.912
2019-08-13 02:00:00 | 3.8067 | 110.6933 | 4.38 | 121.6333 | 6.6633 | 15.0033 | 6.84 | 15.77 | 21.6767 | 879 | 76.71 | 13.5287
2019-08-13 02:15:00 | 4.2267 | 322.3233 | 4.8667 | 354.2 | 6.7967 | 14.37 | 7.17 | 24.69 | 21.83 | 879 | 75.8033 | 13.632
2019-08-13 02:30:00 | 3.8667 | 125.3567 | 4.4467 | 137.7533 | 6.4033 | 13.3833 | 6.63 | 16.3967 | 21.7713 | 879 | 76.07 | 11.466
2019-08-13 02:45:00 | 4.3367 | 310.25 | 4.9933 | 340.9333 | 5.8533 | 123.5733 | 5.86 | 122.9867 | 21.746 | 879 | 76.284 | 11.086
2019-08-13 03:00:00 | 4.4233 | 216.5167 | 5.0867 | 237.9333 | 6.2133 | 116.9667 | 6.02 | 354.1 | 21.63 | 879 | 77.2533 | 12.3347
2019-08-13 03:15:00 | 4.2333 | 118.1767 | 4.8733 | 129.8533 | 6.5133 | 1.2833 | 6.8533 | 5.0933 | 21.4333 | 879 | 78.3173 | 15.614
2019-08-13 03:30:00 | 4.3 | 320.87 | 4.9467 | 352.6 | 7.2733 | 1.3633 | 7.64 | 9.84 | 20.9933 | 879 | 80.2667 | 20.772
2019-08-13 03:45:00 | 4.46 | 121.8633 | 5.1367 | 133.9067 | 7.1933 | 5.4933 | 7.6033 | 9.3633 | 20.7753 | 879 | 80.2267 | 21.6307
2019-08-13 04:00:00 | 4.5733 | 319.59 | 5.2633 | 351.2 | 7.66 | 11.9733 | 7.8367 | 10.37 | 20.7033 | 879 | 82.1667 | 23.6667
2019-08-13 04:15:00 | 4.5133 | 109.1533 | 5.1933 | 119.94 | 7.38 | 7.0467 | 7.46 | 17.3267 | 20.6553 | 879 | 82.5133 | 26.564
2019-08-13 04:30:00 | 4.8267 | 312.98 | 5.56 | 343.9333 | 7.6667 | 25.3733 | 7.8133 | 13.16 | 20.5067 | 878.5333 | 83.6 | 28.2513
2019-08-13 04:45:00 | 4.8333 | 173.1433 | 5.5733 | 190.26 | 8.32 | 7.4267 | 8.6713 | 17.02 | 20.3287 | 878 | 85.3 | 28.9827
2019-08-13 05:00:00 | 4.9847 | 11.5633 | 5.74 | 12.7 | 8.1733 | 11.2867 | 8.4533 | 11.9333 | 20.04 | 878 | 87.0333 | 26.4593
2019-08-13 05:15:00 | 5.2567 | 10.1733 | 6.0467 | 11.1667 | 7.8 | 11.8967 | 8.2867 | 7.4333 | 19.9933 | 878 | 87.8333 | 29.2667
2019-08-13 05:30:00 | 5.4167 | 7.2533 | 6.24 | 7.96 | 7.6 | 197.4233 | 8.1 | 15.6667 | 20.066 | 878 | 86.9 | 27.9407
2019-08-13 05:45:00 | 5.14 | 100.47 | 5.9133 | 110.4 | 7.9067 | 10.7967 | 8.33 | 17.09 | 19.81 | 878 | 87.7 | 24.4067
2019-08-13 06:00:00 | 4.94 | 103.03 | 5.68 | 113.22 | 7.5467 | 9.0633 | 8.1167 | 10.4633 | 19.6793 | 878 | 88.9667 | 25.1327
2019-08-13 06:15:00 | 4.9567 | 79.9547 | 5.704 | 87.8573 | 7.45 | 99.6853 | 8.1833 | 10.9587 | 19.474 | 878.1333 | 90.5533 | 34.25
2019-08-13 06:30:00 | 4.7333 | 285.29 | 5.4467 | 313.5 | 8.2567 | 117.9533 | 8.9433 | 10.1267 | 19.3633 | 879 | 91.2333 | 34.5453
2019-08-13 06:45:00 | 5.2933 | 290.1773 | 6.0967 | 318.8733 | 8.56 | 7.16 | 9.52 | 14.9067 | 19.2033 | 879 | 91.9867 | 32.4533
2019-08-13 07:00:00 | 5.0933 | 135.67 | 5.8567 | 149.0733 | 9.0867 | 12.9467 | 9.8467 | 19.5733 | 19.2633 | 879 | 91.5667 | 32.282
2019-08-13 07:15:00 | 4.78 | 113.5867 | 5.5 | 124.8133 | 8.5667 | 9.9767 | 9.0833 | 16.3867 | 19.93 | 879 | 90 | 33.76
2019-08-13 07:30:00 | 4.6733 | 315.2 | 5.38 | 346.3667 | 8.4067 | 7.0567 | 8.9633 | 16.32 | 20.5167 | 879 | 88.6 | 35.3767
2019-08-13 07:45:00 | 4.8233 | 100.23 | 5.5533 | 110.14 | 8.6467 | 237.9167 | 9.0933 | 9.1067 | 21.1167 | 879.8 | 86.5 | 34.6173
2019-08-13 08:00:00 | 4.8567 | 260.3633 | 5.5867 | 286.1 | 8.58 | 1.7367 | 8.8467 | 13.74 | 21.7833 | 880 | 83.5667 | 35.6873
2019-08-13 08:15:00 | 4.7667 | 114.55 | 5.4933 | 125.8733 | 8.47 | 82.9067 | 8.7 | 13.7633 | 22.3267 | 880 | 80.1733 | 35.2247
2019-08-13 08:30:00 | 5.0733 | 92.3167 | 5.84 | 101.44 | 8.69 | 238.9067 | 8.8733 | 12.13 | 22.58 | 880 | 80.04 | 36.8447
2019-08-13 08:45:00 | 4.8 | 175.3933 | 5.5267 | 192.74 | 7.7967 | 121.3133 | 8.3367 | 14.1667 | 22.7713 | 880.8 | 79.7467 | 37.0047
2019-08-13 09:00:00 | 4.7733 | 44.1933 | 5.4933 | 48.56 | 7.6433 | 128.28 | 8.0167 | 14.44 | 22.8467 | 881 | 79.76 | 35.9753
2019-08-13 09:15:00 | 5.03 | 19.5133 | 5.7867 | 21.44 | 7.1567 | 356.7133 | 7.26 | 126.7733 | 22.8033 | 881 | 78.5813 | 35.6273
2019-08-13 09:30:00 | 4.8167 | 16.34 | 5.54 | 17.9533 | 7.3167 | 120.1 | 7.5533 | 117.8467 | 23.1833 | 881 | 78.604 | 33.7213
2019-08-13 09:45:00 | 4.7467 | 290.2733 | 5.47 | 318.9667 | 7.0467 | 238.2467 | 7.25 | 3.2367 | 23.5333 | 881.1333 | 77.5767 | 28.526
2019-08-13 10:00:00 | 4.8933 | 95.26 | 5.63 | 104.6733 | 7.3467 | 6.9267 | 7.5833 | 13.17 | 23.9867 | 882 | 76.45 | 27.3993
2019-08-13 10:15:00 | 4.8267 | 6.39 | 5.5533 | 7.0133 | 6.7067 | 9.0967 | 6.8067 | 13.0967 | 24.2033 | 882 | 75.6787 | 25.4427
2019-08-13 10:30:00 | 4.68 | 30.2433 | 5.3933 | 33.2267 | 7.5333 | 9.4167 | 7.74 | 17.31 | 25.07 | 882 | 74.2067 | 21.9073
2019-08-13 10:45:00 | 5.2267 | 89.6967 | 6.01 | 98.56 | 8.8433 | 10.53 | 8.5433 | 10.54 | 26.3367 | 882 | 70.0333 | 21.0487
2019-08-13 11:00:00 | 4.78 | 261.35 | 5.4967 | 287.2 | 8.2367 | 11.99 | 7.9767 | 11.7533 | 27.2767 | 882.4667 | 67.9067 | 17.8233
2019-08-13 11:15:00 | 4.3 | 21.53 | 4.95 | 23.6533 | 6.9867 | 237.9733 | 6.96 | 7.79 | 27.5307 | 883 | 67.01 | 16.3693
2019-08-13 11:30:00 | 4.3067 | 177.61 | 4.9633 | 195.1667 | 7.46 | 12.2 | 7.1467 | 23.8433 | 27.7767 | 883 | 67.1033 | 11.906
2019-08-13 11:45:00 | 3.8067 | 285.8 | 4.3867 | 314.0667 | 6.6767 | 14.9367 | 6.0333 | 25.5267 | 28.6133 | 883 | 65.0967 | 9.3707
2019-08-13 12:00:00 | 3.2267 | 309.22 | 3.7067 | 339.8 | 5.5367 | 18.8833 | 5.1733 | 19.5667 | 28.8667 | 883 | 64.1767 | 7.3367
2019-08-13 12:15:00 | 3.3267 | 304.4633 | 3.8333 | 334.5667 | 5.8 | 16.3267 | 5.6233 | 15.69 | 29.1533 | 883 | 64.5067 | 5.426
2019-08-13 12:30:00 | 3.1333 | 201.33 | 3.6067 | 221.2333 | 5.48 | 7.8667 | 5.2967 | 9.5233 | 29.66 | 883 | 62.92 | 3.8033
2019-08-13 12:45:00 | 3.17 | 18.09 | 3.6467 | 19.8767 | 5.3833 | 22.3867 | 4.9367 | 10.1833 | 29.86 | 883 | 61.75 | 3.2607
2019-08-13 13:00:00 | 3.49 | 218.8433 | 4.02 | 240.4833 | 6.03 | 21.1267 | 5.9367 | 20.87 | 29.8667 | 883 | 61.4167 | 3.528
2019-08-13 13:15:00 | 3.3567 | 27.8767 | 3.8633 | 30.6267 | 6.0233 | 16.79 | 5.67 | 24.2367 | 30.3467 | 883 | 60.8967 | 3.9073
2019-08-13 13:30:00 | 3.27 | 27.05 | 3.7633 | 29.72 | 5.9833 | 14.6567 | 5.8367 | 22.31 | 30.7333 | 883 | 60.7367 | 4.8273
2019-08-13 13:45:00 | 3.2033 | 96.6267 | 3.6867 | 106.18 | 5.61 | 13.5367 | 5.5933 | 18.93 | 31.1233 | 883 | 58.6933 | 3.9147
2019-08-13 14:00:00 | 3.0167 | 312.8667 | 3.4667 | 343.8 | 5.5167 | 10.2367 | 5.4133 | 23.1567 | 31.3833 | 883 | 58.3733 | 2.8613
2019-08-13 14:15:00 | 2.6133 | 177.4833 | 3.0033 | 195.0333 | 4.7133 | 18.8733 | 4.76 | 31.2733 | 31.78 | 883 | 55.56 | 3.998
2019-08-13 14:30:00 | 3.26 | 110.1833 | 3.75 | 121.08 | 5.8333 | 19.8133 | 5.7267 | 19.4733 | 31.8987 | 883 | 55.0067 | 6.8067
2019-08-13 14:45:00 | 2.96 | 285.38 | 3.4033 | 313.6 | 5.1733 | 244.1067 | 5.1533 | 243.46 | 32.0667 | 883 | 53.464 | 6.422
2019-08-13 15:00:00 | 3.4133 | 100.1667 | 3.93 | 110.06 | 6.2467 | 20.72 | 5.9933 | 16.48 | 32.4067 | 883 | 52.3233 | 8.3627
2019-08-13 15:15:00 | 3.41 | 306.0467 | 3.9233 | 336.3 | 6.0967 | 14.9333 | 5.9313 | 17.2133 | 32.7467 | 883 | 50.55 | 8.3033
2019-08-13 15:30:00 | 3.9433 | 300.5867 | 4.5367 | 330.3 | 6.7767 | 17.1733 | 6.72 | 14.8133 | 32.4733 | 883 | 50.2167 | 9.37
2019-08-13 15:45:00 | 3.94 | 45.6967 | 4.53 | 50.2067 | 7.0733 | 22.0167 | 7.0633 | 30.0167 | 32.7333 | 883 | 48.78 | 12.5147
2019-08-13 16:00:00 | 4.2867 | 211.03 | 4.93 | 231.9 | 7.7 | 19.9433 | 7.7167 | 20.49 | 33.0267 | 883 | 46.8933 | 16.3933
2019-08-13 16:15:00 | 5.2667 | 226.75 | 6.06 | 249.1667 | 9.3367 | 15.8567 | 9.1 | 39.77 | 32.58 | 883 | 43.83 | 24.2373
2019-08-13 16:30:00 | 4.9933 | 235.3567 | 5.7467 | 258.6333 | 9.0233 | 7.5833 | 8.76 | 38.3633 | 32.48 | 883 | 41.37 | 23.028
2019-08-13 16:45:00 | 5.0267 | 152.28 | 5.79 | 167.3333 | 8.83 | 15.1733 | 8.0033 | 26.97 | 32.5867 | 883 | 39.8733 | 27.2373
2019-08-13 17:00:00 | 6.2267 | 174.42 | 7.1633 | 191.6667 | 11.1033 | 17.2133 | 10.9167 | 7.91 | 32.24 | 883 | 40.34 | 33.494
2019-08-13 17:15:00 | 5.7767 | 123.1133 | 6.6533 | 135.2867 | 10.51 | 19.51 | 10.52 | 22.0833 | 31.4367 | 883 | 40.78 | 29.4347
2019-08-13 17:30:00 | 5.5167 | 275.1533 | 6.3467 | 302.3667 | 9.59 | 11.0567 | 9.5667 | 20.77 | 30.0367 | 883 | 42.8767 | 26.158
2019-08-13 17:45:00 | 4.4467 | 146.03 | 5.1133 | 160.47 | 8.11 | 9.7167 | 8.0467 | 26.2633 | 29.1967 | 882.8667 | 46.2333 | 21.204
2019-08-13 18:00:00 | 4.1667 | 220.5967 | 4.7933 | 242.4033 | 7.5567 | 10.7833 | 7.4933 | 23.7433 | 28.9033 | 882 | 47.7 | 17.8033
2019-08-13 18:15:00 | 3.7867 | 140.01 | 4.3567 | 153.8533 | 6.9233 | 149.3733 | 6.5333 | 14.3133 | 28.6667 | 882 | 48.8467 | 16.632
2019-08-13 18:30:00 | 3.7867 | 117.0433 | 4.3567 | 128.6067 | 6.6967 | 115.7733 | 6.4933 | 12.3067 | 28.3933 | 882 | 48.02 | 18.4733
2019-08-13 18:45:00 | 4.1133 | 239.8467 | 4.74 | 263.5667 | 7.4067 | 1 | 7.3467 | 2.6033 | 28.2173 | 882 | 48.9267 | 16.7793
2019-08-13 19:00:00 | 3.8667 | 148.8467 | 4.4467 | 163.5667 | 6.9267 | 231.34 | 6.9667 | 4.97 | 28.2 | 882 | 51.5867 | 14.556
2019-08-13 19:15:00 | 3.68 | 0.073333 | 4.24 | 0.073333 | 6.02 | 228.7167 | 5.8933 | 23.04 | 28.0767 | 882 | 55.2667 | 13.1947
2019-08-13 19:30:00 | 3.7267 | 185.68 | 4.2867 | 204.04 | 5.9733 | 1.4833 | 5.8867 | 13.76 | 27.85 | 882 | 57.56 | 12.374
2019-08-13 19:45:00 | 3.7933 | 98.0233 | 4.3767 | 107.72 | 6.5933 | 119.6933 | 6.5467 | 4.8733 | 27.68 | 882 | 60.13 | 11.978
2019-08-13 20:00:00 | 4.1533 | 102.7833 | 4.7833 | 112.9467 | 6.7 | 134.1867 | 6.5667 | 0.69333 | 27.4267 | 882 | 63.1633 | 13.6807
2019-08-13 20:15:00 | 4.18 | 206.1833 | 4.8133 | 226.5667 | 6.7667 | 234.45 | 6.9167 | 13.0233 | 27.2653 | 882.1333 | 64.5013 | 9.854
2019-08-13 20:30:00 | 3.8467 | 305.4967 | 4.42 | 335.7 | 6.0067 | 8.1967 | 5.51 | 236.6967 | 27.2133 | 883 | 64.05 | 13.568
2019-08-13 20:45:00 | 4.3733 | 306.5147 | 5.0267 | 336.82 | 6.1033 | 2.1367 | 5.7167 | 236.01 | 27.2433 | 883 | 63.05 | 17.116
2019-08-13 21:00:00 | 4.42 | 309.0667 | 5.08 | 339.6333 | 6.5767 | 1.09 | 6.71 | 2.7767 | 26.93 | 883 | 64.3633 | 19.9667
2019-08-13 21:15:00 | 4.6267 | 58.38 | 5.3233 | 64.1533 | 8.0567 | 2.2033 | 7.8233 | 119.94 | 26.6333 | 883 | 64.6833 | 22.2433
2019-08-13 21:30:00 | 4.76 | 160.86 | 5.47 | 176.7667 | 8.0767 | 7.87 | 7.97 | 121.48 | 26.4867 | 883.4667 | 63.9433 | 22.8193
2019-08-13 21:45:00 | 4.48 | 150.25 | 5.1533 | 165.1 | 7.9567 | 113.6733 | 7.7933 | 1.5567 | 26.26 | 884 | 63.7833 | 24.2473
2019-08-13 22:00:00 | 4.18 | 200.242 | 4.8173 | 220.0333 | 7.3313 | 348.32 | 7.5173 | 3.354 | 26.1667 | 884 | 63.956 | 23.8293
2019-08-13 22:15:00 | 4.8133 | 78.9233 | 5.5367 | 86.72 | 8.3833 | 237.9733 | 8.6067 | 1.39 | 25.86 | 884 | 64.5433 | 25.196
2019-08-13 22:30:00 | 5.12 | 169.8967 | 5.89 | 186.7 | 9.0033 | 0.20667 | 9.3 | 6.6433 | 25.84 | 884 | 62.7633 | 27.9587
2019-08-13 22:45:00 | 5.498 | 239.522 | 6.334 | 263.2 | 9.552 | 71.732 | 9.542 | 2.832 | 25.928 | 884 | 59.326 | 28.464
2019-08-13 23:00:00 | 4.8367 | 83.5567 | 5.57 | 91.8133 | 8.3733 | 122.9533 | 8.6167 | 0.80667 | 26.1147 | 884 | 58.0013 | 23.4553
2019-08-13 23:15:00 | 3.8667 | 89.6133 | 4.45 | 98.4667 | 7.0367 | 352.9 | 7.1967 | 1.66 | 25.8333 | 884 | 59.7533 | 19.8213
2019-08-13 23:30:00 | 3.7067 | 216.2867 | 4.27 | 237.6667 | 6.8567 | 119.4533 | 6.83 | 1.3867 | 25.56 | 884 | 60.8867 | 18.6447
2019-08-13 23:45:00 | 4.16 | 4.1367 | 4.7933 | 4.5433 | 7.65 | 235.3733 | 7.6267 | 239.5833 | 25.1467 | 884 | 63.02 | 20.0813