## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-14 00:00:00 | 4.4429 | 176.0364 | 5.11 | 193.4464 | 8.0464 | 19.3736 | 7.9786 | 18.4764 | 24.9229 | 884 | 64.025 | 20.6579
2019-08-14 00:15:00 | 3.9373 | 277.532 | 4.53 | 304.9733 | 7.4473 | 19.2553 | 7.5673 | 24.372 | 24.65 | 884 | 65.6793 | 18.6307
2019-08-14 00:30:00 | 3.4467 | 214.8933 | 3.9633 | 236.1333 | 6.5833 | 18.5433 | 6.3767 | 19.4867 | 24.47 | 884 | 66.9433 | 17.1967
2019-08-14 00:45:00 | 3.1333 | 244.3467 | 3.6 | 268.5 | 6.0633 | 11.76 | 6.33 | 3.1733 | 24.1167 | 884 | 69.1133 | 18.5127
2019-08-14 01:00:00 | 3.1267 | 287.5333 | 3.5933 | 315.9667 | 6.05 | 5.3267 | 6.4833 | 8.8267 | 23.7767 | 884 | 70.7333 | 22.8787
2019-08-14 01:15:00 | 3.5113 | 285.7373 | 4.04 | 314 | 6.6627 | 2.2007 | 7.2993 | 8.5273 | 23.4113 | 884 | 69.9567 | 25.1807
2019-08-14 01:30:00 | 4.1533 | 162.5 | 4.78 | 178.5667 | 7.1133 | 9.52 | 7.3367 | 13.5 | 23.64 | 884 | 66.5567 | 20.958
2019-08-14 01:45:00 | 3.4733 | 276.2533 | 3.9933 | 303.5667 | 6.3 | 14.3733 | 6.7833 | 6.6333 | 23.8633 | 884 | 66.0467 | 15.0693
2019-08-14 02:00:00 | 2.8933 | 104.08 | 3.3267 | 114.3667 | 5.4733 | 5.48 | 5.75 | 12.16 | 23.7167 | 884 | 68.2333 | 13.72
2019-08-14 02:15:00 | 2.8 | 291.72 | 3.2267 | 320.5667 | 5.5567 | 13.2967 | 5.7 | 24.4967 | 23.3967 | 883.8667 | 70.0233 | 15.106
2019-08-14 02:30:00 | 3.0333 | 267.7 | 3.4867 | 294.1667 | 5.99 | 6.53 | 6.28 | 16.11 | 23.1167 | 883 | 68.97 | 16.0607
2019-08-14 02:45:00 | 2.8867 | 199.35 | 3.33 | 219.06 | 5.32 | 9.95 | 5.62 | 11.07 | 22.98 | 883 | 67.8967 | 16.012
2019-08-14 03:00:00 | 2.7667 | 161.13 | 3.1833 | 177.06 | 5.38 | 13.53 | 5.54 | 3.6833 | 22.98 | 883 | 69.11 | 15.9187
2019-08-14 03:15:00 | 2.8067 | 260.1067 | 3.23 | 285.8333 | 5.5 | 15.61 | 5.3467 | 0.44 | 22.7633 | 883 | 71.2067 | 15.388
2019-08-14 03:30:00 | 2.96 | 108.7067 | 3.4033 | 119.46 | 5.8133 | 17.0033 | 5.46 | 1.8 | 22.5567 | 883 | 72.9467 | 16.1333
2019-08-14 03:45:00 | 3.04 | 94.6033 | 3.5 | 103.9467 | 5.7833 | 14.0767 | 5.6387 | 16.49 | 22.21 | 883 | 74.642 | 15.8993
2019-08-14 04:00:00 | 3.24 | 104.21 | 3.7333 | 114.5133 | 5.8767 | 11.6633 | 5.81 | 33.23 | 22.0167 | 883 | 75.0233 | 18.4773
2019-08-14 04:15:00 | 3.3327 | 277.3053 | 3.832 | 304.728 | 6.2907 | 14.8473 | 6.2567 | 13.5413 | 21.828 | 883 | 76.6907 | 19.844
2019-08-14 04:30:00 | 3.3567 | 111.5867 | 3.8633 | 122.6133 | 6.2647 | 16.12 | 6.0567 | 13.16 | 21.6033 | 883 | 77.6767 | 18.7753
2019-08-14 04:45:00 | 3.56 | 291.66 | 4.0967 | 320.5 | 6.0667 | 6.46 | 6.1833 | 22.34 | 21.7133 | 883 | 77.4167 | 16.9747
2019-08-14 05:00:00 | 3.5 | 106.3467 | 4.03 | 116.86 | 6.36 | 11.1933 | 6.1453 | 8.2267 | 21.4333 | 883 | 79.4967 | 23.252
2019-08-14 05:15:00 | 4.17 | 106.0667 | 4.7967 | 116.5533 | 6.8333 | 242.81 | 6.7133 | 11.0167 | 21.2433 | 883 | 80.1213 | 29.668
2019-08-14 05:30:00 | 4.2767 | 310.2267 | 4.9233 | 340.9 | 6.4867 | 24.09 | 6.6 | 6.2367 | 21.2433 | 883 | 80.0067 | 29.1947
2019-08-14 05:45:00 | 3.8013 | 312.436 | 4.3827 | 343.34 | 6.8953 | 10.8607 | 7.4533 | 11.5387 | 21 | 883 | 81.9733 | 25.038
2019-08-14 06:00:00 | 3.7167 | 152.6033 | 4.2733 | 167.6867 | 6.36 | 17.3033 | 6.5933 | 13.7467 | 20.6667 | 883 | 83 | 22.0687
2019-08-14 06:15:00 | 3.68 | 244.5733 | 4.2367 | 268.7667 | 6.79 | 19.31 | 7.0467 | 25.0433 | 20.4867 | 883 | 83.2533 | 23.01
2019-08-14 06:30:00 | 3.92 | 94.1867 | 4.51 | 103.5 | 7.51 | 17.11 | 7.7067 | 21.4167 | 20.2067 | 883 | 84.5 | 26.6473
2019-08-14 06:45:00 | 4.3133 | 312.1 | 4.9667 | 342.9667 | 7.5533 | 17.4933 | 8.0333 | 22.79 | 20.1167 | 883 | 83.9667 | 28.3507
2019-08-14 07:00:00 | 4.3933 | 290.1467 | 5.06 | 318.8333 | 7.0733 | 11.7467 | 7.3267 | 22.2367 | 20.43 | 883 | 82.5667 | 28.582
2019-08-14 07:15:00 | 3.98 | 180.6333 | 4.5767 | 198.5 | 7.4433 | 10.69 | 7.31 | 26.5467 | 21.0233 | 883 | 81.7333 | 32.6013
2019-08-14 07:30:00 | 4.2067 | 298.6267 | 4.8433 | 328.1667 | 7.9767 | 10.8367 | 7.83 | 26.6133 | 21.5633 | 883 | 80.22 | 34.348
2019-08-14 07:45:00 | 4.06 | 206.8 | 4.6767 | 227.2567 | 7.0667 | 12.6467 | 7.0233 | 12.8167 | 22.1333 | 883.1333 | 77.8167 | 30.48
2019-08-14 08:00:00 | 3.9133 | 15.2533 | 4.51 | 16.7633 | 7.0467 | 14.4933 | 6.9233 | 16.8633 | 22.5667 | 884 | 77.47 | 29.124
2019-08-14 08:15:00 | 4.0667 | 184.3733 | 4.69 | 202.5967 | 7.7567 | 15.27 | 7.86 | 25.35 | 23.3667 | 884 | 76.1633 | 27.85
2019-08-14 08:30:00 | 4.24 | 220.28 | 4.8833 | 242.0633 | 7.99 | 16.27 | 7.9067 | 21.67 | 24.4467 | 884 | 72.0233 | 25.976
2019-08-14 08:45:00 | 4.02 | 299.1767 | 4.6333 | 328.7667 | 7.4333 | 17.25 | 7.2767 | 21.7 | 25.3467 | 884 | 69.1133 | 22.8927
2019-08-14 09:00:00 | 3.6133 | 320.59 | 4.1533 | 352.3 | 6.5867 | 25.71 | 6.7567 | 17.2133 | 25.3867 | 884.4667 | 69.86 | 20.1293
2019-08-14 09:15:00 | 3.68 | 270.9067 | 4.24 | 297.7 | 6.7033 | 9.58 | 7.2 | 22.3267 | 25.77 | 885 | 68.14 | 16.998
2019-08-14 09:30:00 | 3.6133 | 269.5133 | 4.16 | 296.1667 | 6.67 | 12.5933 | 7.16 | 20.4333 | 26.1033 | 885 | 67.5067 | 16.5267
2019-08-14 09:45:00 | 3.64 | 204.2067 | 4.1833 | 224.4 | 6.3367 | 14.5767 | 6.98 | 20.0467 | 26.3267 | 885 | 66.39 | 16.2773
2019-08-14 10:00:00 | 3.6133 | 225.9867 | 4.1567 | 248.3333 | 5.7433 | 28.41 | 5.8533 | 19.64 | 25.76 | 885 | 65.81 | 12.3473
2019-08-14 10:15:00 | 3.3133 | 317.9033 | 3.8167 | 349.3333 | 5.19 | 32.9067 | 5.0233 | 28.5167 | 25.3667 | 885 | 67.23 | 12.994
2019-08-14 10:30:00 | 3.3867 | 143.33 | 3.8967 | 157.5 | 5.6033 | 28.68 | 5.6367 | 34.1367 | 25.8367 | 885 | 66.79 | 15.9393
2019-08-14 10:45:00 | 4.0933 | 9.7933 | 4.7067 | 10.76 | 7.25 | 30.33 | 7.3567 | 30.3967 | 26.92 | 885 | 63.62 | 15.3053
2019-08-14 11:00:00 | 4.3933 | 16.0867 | 5.06 | 17.6733 | 7.9833 | 21.03 | 8.11 | 26.25 | 27.7533 | 885 | 59.96 | 15.1727
2019-08-14 11:15:00 | 4.4933 | 234.3667 | 5.1667 | 257.5333 | 7.9287 | 16.8533 | 8.3233 | 28.36 | 28.4 | 885 | 57.49 | 13.7207
2019-08-14 11:30:00 | 4.56 | 38.1467 | 5.2533 | 41.9133 | 7.9867 | 18.8733 | 8.71 | 31.5133 | 28.62 | 885 | 56.3833 | 16.0267
2019-08-14 11:45:00 | 5.06 | 121.46 | 5.82 | 133.4667 | 9.0567 | 19.7833 | 9.1867 | 34.67 | 28.9433 | 885 | 54.39 | 17.1367
2019-08-14 12:00:00 | 4.74 | 141.36 | 5.4533 | 155.3333 | 8.5033 | 14.91 | 8.8467 | 22.7833 | 29.1567 | 885 | 53.8767 | 21.0967
2019-08-14 12:15:00 | 5.3333 | 188.77 | 6.13 | 207.4333 | 9.43 | 10.8667 | 9.5133 | 22.6 | 29.26 | 885 | 52.0833 | 20.7273
2019-08-14 12:30:00 | 5.5067 | 189.19 | 6.33 | 207.9 | 9.87 | 6.4267 | 9.6533 | 17.7867 | 29.4333 | 885 | 51.8033 | 17.218
2019-08-14 12:45:00 | 4.9733 | 23.6933 | 5.72 | 26.0367 | 8.78 | 30.4833 | 8.32 | 29.2333 | 29.7767 | 885 | 49.9367 | 17.0653
2019-08-14 13:00:00 | 4.64 | 234.3333 | 5.34 | 257.51 | 8.12 | 21.7233 | 7.5333 | 31.4333 | 29.864 | 885 | 48.4433 | 13.0513
2019-08-14 13:15:00 | 4.2133 | 68.1133 | 4.8533 | 74.8533 | 7.3633 | 30.0133 | 7.06 | 37.13 | 29.9867 | 885 | 46.89 | 9.6267
2019-08-14 13:30:00 | 3.8267 | 30.12 | 4.4 | 33.0933 | 6.7833 | 21.1533 | 6.1067 | 23.77 | 30.1933 | 885 | 47.71 | 13.7273
2019-08-14 13:45:00 | 4.5933 | 155.5633 | 5.2867 | 170.9333 | 8.02 | 16.1733 | 7.8633 | 21.2067 | 30.5213 | 885 | 44.17 | 14.2647
2019-08-14 14:00:00 | 4.7267 | 148.89 | 5.4467 | 163.6 | 8.72 | 13.0533 | 8.49 | 22.5667 | 30.7367 | 885 | 44.83 | 11.8667
2019-08-14 14:15:00 | 3.78 | 199.5967 | 4.36 | 219.3333 | 7.0667 | 6.8667 | 6.81 | 11.3233 | 31.3433 | 884.8667 | 44.3233 | 9.2287
2019-08-14 14:30:00 | 3.94 | 275.0767 | 4.5333 | 302.2667 | 6.9933 | 8.7467 | 6.61 | 12.59 | 31.5433 | 884 | 42.1833 | 7.466
2019-08-14 14:45:00 | 3.8033 | 173.45 | 4.3733 | 190.6 | 6.8087 | 9.96 | 6.8467 | 29.72 | 31.582 | 884.8 | 42.37 | 8.1427
2019-08-14 15:00:00 | 4.05 | 194.01 | 4.66 | 213.2 | 7.36 | 23.64 | 7.2467 | 29.3 | 31.75 | 885 | 41.65 | 8.934
2019-08-14 15:15:00 | 3.8333 | 95.49 | 4.41 | 104.9367 | 7.3033 | 16.1467 | 7.3467 | 32.7867 | 32.4267 | 885 | 42.7133 | 7.1747
2019-08-14 15:30:00 | 3.7133 | 192.13 | 4.2833 | 211.1367 | 6.9633 | 19.5467 | 7.1533 | 23.6867 | 33.0667 | 885 | 41.2667 | 5.106
2019-08-14 15:45:00 | 3.56 | 300.49 | 4.0967 | 330.2 | 6.1767 | 20.46 | 6.2033 | 28.3633 | 33.1887 | 885 | 38.9867 | 4.6193
2019-08-14 16:00:00 | 3.0533 | 295.6367 | 3.5167 | 324.8667 | 5.3633 | 13.4467 | 5.19 | 14.21 | 32.7767 | 885 | 38.52 | 2.4407
2019-08-14 16:15:00 | 2.9933 | 170.39 | 3.4467 | 187.2333 | 5.1333 | 232.9567 | 4.92 | 15.48 | 32.8013 | 885 | 38.76 | 1.9987
2019-08-14 16:30:00 | 2.96 | 233.4833 | 3.4067 | 256.5667 | 5.3 | 7.4633 | 5.32 | 8.6133 | 33.04 | 885 | 39.0533 | 1.896
2019-08-14 16:45:00 | 2.82 | 193.1067 | 3.2433 | 212.2 | 5.1867 | 120.9467 | 4.8267 | 239.28 | 33.53 | 885 | 38.41 | 1.4013
2019-08-14 17:00:00 | 2.66 | 84.3733 | 3.0633 | 92.7133 | 4.6067 | 130.66 | 4.2 | 7.28 | 33.33 | 885 | 37.83 | 1.5793
2019-08-14 17:15:00 | 2.75 | 260.4133 | 3.17 | 286.1667 | 4.9467 | 118.0667 | 4.7167 | 116.16 | 32.8367 | 885 | 38.4133 | 1.4607
2019-08-14 17:30:00 | 2.6967 | 240.3933 | 3.1033 | 264.1667 | 4.92 | 354.2 | 4.7567 | 127.3133 | 32.4733 | 885 | 40.58 | 0.65533
2019-08-14 17:45:00 | 2.3133 | 145.5067 | 2.66 | 159.9 | 4.4833 | 121.9467 | 4.33 | 9.8067 | 32.4067 | 885 | 41 | 0.45867
2019-08-14 18:00:00 | 2.328 | 180.82 | 2.678 | 198.7 | 4.55 | 356.6067 | 4.456 | 218.52 | 32.82 | 885 | 39.5967 | 0.36333
2019-08-14 18:15:00 | 2.34 | 197.68 | 2.7 | 217.2333 | 4.3733 | 5.2667 | 4.1433 | 13.73 | 32.3033 | 885 | 38.6233 | 0
2019-08-14 18:30:00 | 1.9533 | 138.1733 | 2.26 | 151.8333 | 3.8267 | 4.68 | 3.71 | 10.6833 | 31.7967 | 885 | 40.49 | 0
2019-08-14 18:45:00 | 1.4433 | 64.6367 | 1.66 | 71.02 | 2.8567 | 13.86 | 2.84 | 17.62 | 30.6967 | 884.2 | 41.4533 | 0
2019-08-14 19:00:00 | 1.3767 | 217.3167 | 1.5933 | 238.8 | 2.63 | 0.62 | 2.56 | 1.52 | 29.6833 | 883.5333 | 43.2067 | 0
2019-08-14 19:15:00 | 1.1333 | 255.62 | 1.3133 | 280.9 | 2.1733 | 259.87 | 2.0133 | 124.3267 | 28.68 | 883 | 45.5233 | 0
2019-08-14 19:30:00 | 1.06 | 255.578 | 1.2267 | 280.8533 | 1.8733 | 255.87 | 1.64 | 356.7 | 28.28 | 883 | 45.3673 | 0
2019-08-14 19:45:00 | 1.2 | 251.2833 | 1.3933 | 276.1333 | 1.42 | 327.0133 | 0.87 | 341.8 | 28.51 | 882.2 | 43.2067 | 0
2019-08-14 20:00:00 | 1.2533 | 262.6367 | 1.4533 | 288.6 | 1.5933 | 320.3667 | 1.0433 | 339.66 | 29.07 | 882 | 41.72 | 0
2019-08-14 20:15:00 | 0.98667 | 259.3533 | 1.1333 | 285 | 1.4767 | 317.0933 | 1.3233 | 322.7 | 28.526 | 882 | 43.9767 | 0
2019-08-14 20:30:00 | 1.18 | 278.5067 | 1.36 | 306.0467 | 1.5367 | 317.2467 | 1.2233 | 322.7467 | 28.5533 | 882 | 43.2633 | 0
2019-08-14 20:45:00 | 1.1667 | 278.5347 | 1.3433 | 306.0733 | 1.66 | 331.3333 | 1.7467 | 320.6 | 28.46 | 882 | 43.83 | 0
2019-08-14 21:00:00 | 1.5667 | 280.7367 | 1.8033 | 308.5 | 2.1667 | 311.6667 | 2.0067 | 314.2667 | 28.3953 | 882 | 44.1633 | 0
2019-08-14 21:15:00 | 1.6067 | 242.2107 | 1.8467 | 266.16 | 2.3533 | 309.5333 | 2.26 | 309.2667 | 28.19 | 882.8 | 45.0493 | 0
2019-08-14 21:30:00 | 1.9067 | 270.76 | 2.2 | 297.5333 | 2.34 | 305.9333 | 2.6867 | 305.9333 | 27.37 | 883 | 49.2333 | 0
2019-08-14 21:45:00 | 2.2333 | 109.3667 | 2.5733 | 120.1733 | 2.5267 | 227.5967 | 2.5 | 338.1667 | 26.1967 | 882.8667 | 54.95 | 0
2019-08-14 22:00:00 | 2.38 | 106.5667 | 2.74 | 117.1 | 2.8933 | 0.16333 | 2.4533 | 339.7667 | 25.71 | 882 | 55.4167 | 0
2019-08-14 22:15:00 | 2.6 | 102.0733 | 2.99 | 112.1667 | 3.29 | 11.4933 | 2.3367 | 235.0967 | 25.6833 | 882.8 | 55.7647 | 0
2019-08-14 22:30:00 | 2.7067 | 315.22 | 3.1233 | 346.4 | 3.47 | 23.9667 | 2.5033 | 24.51 | 25.5 | 883 | 55.42 | 0
2019-08-14 22:45:00 | 2.84 | 321.5933 | 3.27 | 353.4 | 3.5033 | 29.52 | 3.2733 | 35.38 | 25.2867 | 883 | 55.52 | 0
2019-08-14 23:00:00 | 2.94 | 309.6467 | 3.3967 | 340.2667 | 3.53 | 16.5 | 3.3067 | 34.28 | 25.0933 | 883 | 56.6 | 0
2019-08-14 23:15:00 | 2.8267 | 310.2233 | 3.25 | 340.9 | 3.3967 | 9.67 | 2.7733 | 30.8667 | 25.1167 | 882.8667 | 56.7833 | 0
2019-08-14 23:30:00 | 3.2733 | 312.5367 | 3.7633 | 343.4333 | 4.0233 | 9.0233 | 3.6067 | 22.8333 | 24.6967 | 882 | 59.85 | 0
2019-08-14 23:45:00 | 3.06 | 313.2833 | 3.52 | 344.2667 | 3.64 | 10.0733 | 3.0967 | 51.4 | 24.6667 | 882.6667 | 61.3567 | 0