## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-15 00:00:00 | 3.2714 | 321.3307 | 3.77 | 353.1 | 4.195 | 6.2043 | 3.7279 | 19.68 | 24.5093 | 882 | 62.065 | 0
2019-08-15 00:15:00 | 3.2367 | 105.3333 | 3.7233 | 115.7533 | 4.1767 | 7.0767 | 3.9167 | 17.1433 | 23.98 | 882 | 64.1533 | 0
2019-08-15 00:30:00 | 3.31 | 318.8 | 3.8033 | 350.3333 | 3.9433 | 2.2967 | 3.45 | 7.7967 | 23.56 | 882 | 66.1733 | 0
2019-08-15 00:45:00 | 3.7533 | 212.8367 | 4.3133 | 233.8833 | 4.4233 | 6.1033 | 3.41 | 4.63 | 23.2033 | 882 | 68.1633 | 0
2019-08-15 01:00:00 | 3.7467 | 216.5967 | 4.3067 | 238.0167 | 4.3947 | 10.51 | 3.9167 | 15.8567 | 22.91 | 882 | 69.4767 | 0
2019-08-15 01:15:00 | 4.0133 | 217.8567 | 4.6233 | 239.3933 | 4.6433 | 0.15 | 4.7067 | 7.97 | 22.66 | 882 | 70.34 | 0.51467
2019-08-15 01:30:00 | 4.2533 | 211.43 | 4.8967 | 232.3267 | 4.9633 | 3.4367 | 4.7467 | 11.5367 | 22.4133 | 882 | 72.14 | 1.06
2019-08-15 01:45:00 | 4.3867 | 27.2933 | 5.05 | 29.9933 | 5.4133 | 1.6167 | 5.0167 | 4.2933 | 21.934 | 882 | 74.6367 | 2.9667
2019-08-15 02:00:00 | 4.2533 | 232.7533 | 4.8967 | 255.7667 | 5.36 | 2.5767 | 5.4633 | 1.88 | 21.9933 | 882 | 74.4733 | 3.6033
2019-08-15 02:15:00 | 4.4313 | 317.6333 | 5.0967 | 349.0333 | 5.7833 | 1.2967 | 5.7233 | 13.6967 | 21.9567 | 882 | 76.1847 | 3.3953
2019-08-15 02:30:00 | 4.4067 | 286.14 | 5.07 | 314.4333 | 5.5967 | 6.69 | 5.61 | 11.8033 | 21.93 | 882 | 75.02 | 4.5807
2019-08-15 02:45:00 | 4.4433 | 215.5633 | 5.12 | 236.8833 | 5.4067 | 7.32 | 5.83 | 11.7967 | 21.8953 | 882 | 73.1667 | 5.6527
2019-08-15 03:00:00 | 4.2367 | 207.9833 | 4.88 | 228.55 | 5.5533 | 13.4267 | 5.8567 | 18.7167 | 21.6767 | 882 | 74.7 | 5.9673
2019-08-15 03:15:00 | 4.16 | 311.278 | 4.792 | 342.06 | 5.666 | 9.532 | 5.836 | 18.538 | 21.36 | 881.2 | 75.92 | 5.374
2019-08-15 03:30:00 | 4.28 | 305.1833 | 4.92 | 335.3667 | 6.1433 | 10.8933 | 6.2333 | 23.65 | 21.1467 | 881 | 78.0333 | 4.604
2019-08-15 03:45:00 | 4.4633 | 213.58 | 5.13 | 234.6967 | 5.4367 | 14.9633 | 5.82 | 26.02 | 21.0307 | 881 | 79.13 | 4.368
2019-08-15 04:00:00 | 4.35 | 10.0867 | 5.0033 | 11.0833 | 5.5567 | 7.51 | 5.7933 | 21.9 | 20.8633 | 881 | 80.83 | 4.5953
2019-08-15 04:15:00 | 4.02 | 321.5667 | 4.6333 | 353.3667 | 5.3133 | 7.3167 | 5.5567 | 13.8533 | 20.6933 | 881 | 82.2 | 4.2733
2019-08-15 04:30:00 | 3.9933 | 322.6667 | 4.6 | 354.5667 | 5.2333 | 5.5833 | 5.43 | 4.4533 | 20.64 | 881 | 81.2667 | 5.4447
2019-08-15 04:45:00 | 4.2667 | 205.5667 | 4.92 | 225.9 | 5.4033 | 239.2233 | 5.5567 | 11.6067 | 20.5913 | 881 | 80.9467 | 6.4013
2019-08-15 05:00:00 | 4.4447 | 5.3933 | 5.12 | 5.92 | 5.63 | 46.8367 | 5.8233 | 7.88 | 20.35 | 881 | 82.0333 | 5.1653
2019-08-15 05:15:00 | 4.218 | 117.44 | 4.86 | 129.0487 | 5.5353 | 4.9213 | 5.774 | 11.814 | 20.0527 | 881 | 83.1733 | 5.3967
2019-08-15 05:30:00 | 4.1733 | 317.74 | 4.8 | 349.1667 | 5.2467 | 7.63 | 6.01 | 12.5567 | 19.9733 | 881 | 83.2333 | 4.3093
2019-08-15 05:45:00 | 4.4033 | 109.0267 | 5.0767 | 119.8133 | 5.4267 | 122.66 | 5.7967 | 11.6167 | 19.8767 | 881 | 83.2667 | 4.6433
2019-08-15 06:00:00 | 4.73 | 323.248 | 5.4433 | 355.22 | 5.6933 | 121.98 | 6.2033 | 7.5967 | 19.8833 | 881 | 83.6667 | 7.978
2019-08-15 06:15:00 | 4.36 | 218.86 | 5.0167 | 240.4967 | 5.69 | 356.1 | 6.0867 | 8.7633 | 19.6133 | 881 | 87.2 | 9.876
2019-08-15 06:30:00 | 4.3533 | 206.84 | 5.01 | 227.2967 | 6.0567 | 124.58 | 6.2267 | 7.5367 | 19.4933 | 881 | 88.2 | 13.0567
2019-08-15 06:45:00 | 4.2567 | 225.54 | 4.9 | 247.8333 | 6.3567 | 3.58 | 6.7867 | 9.0667 | 19.31 | 881 | 89.1333 | 13.4613
2019-08-15 07:00:00 | 4.2433 | 232.82 | 4.88 | 255.8333 | 6.71 | 11.4733 | 6.8867 | 10.8133 | 19.29 | 881 | 90.1333 | 12.5487
2019-08-15 07:15:00 | 4.5067 | 288.84 | 5.19 | 317.4 | 6.498 | 12.54 | 6.6467 | 8.2 | 19.6567 | 881 | 88.8 | 11.1473
2019-08-15 07:30:00 | 4.288 | 120.946 | 4.944 | 132.904 | 6.688 | 7.048 | 6.842 | 12.29 | 19.9 | 881 | 88.32 | 13.4287
2019-08-15 07:45:00 | 4.1 | 229.4533 | 4.7167 | 252.1367 | 6.66 | 10.0033 | 7.0633 | 8.96 | 20.4933 | 881.8 | 87.1667 | 13.166
2019-08-15 08:00:00 | 4.0333 | 23.4933 | 4.6367 | 25.8167 | 6.3353 | 8.1433 | 6.7367 | 9.0867 | 20.7467 | 882 | 85.8333 | 10.9313
2019-08-15 08:15:00 | 4.0467 | 321.9 | 4.6533 | 353.7333 | 6.3553 | 10.24 | 6.85 | 16.1033 | 20.9027 | 882 | 85.3333 | 8.9733
2019-08-15 08:30:00 | 3.9067 | 307.2267 | 4.4933 | 337.6 | 6.3733 | 2.66 | 6.8367 | 10.03 | 21.4467 | 882 | 84.4667 | 7.8807
2019-08-15 08:45:00 | 3.82 | 210.9267 | 4.3933 | 231.7867 | 5.93 | 6.4967 | 6.2533 | 6.22 | 22.0433 | 882 | 82.5333 | 6.0147
2019-08-15 09:00:00 | 3.6 | 25.6667 | 4.1467 | 28.2 | 5.51 | 5.57 | 5.8467 | 11.4867 | 22.43 | 882 | 81.7333 | 5.2647
2019-08-15 09:15:00 | 3.4667 | 107.2333 | 3.9833 | 117.84 | 5.21 | 123.72 | 5.4933 | 16.98 | 22.6267 | 882.1333 | 80.7667 | 4.8247
2019-08-15 09:30:00 | 3.44 | 116.8 | 3.9567 | 128.3533 | 5.0967 | 132.3867 | 5.28 | 6.4133 | 23.2 | 883 | 77.14 | 3.2813
2019-08-15 09:45:00 | 3.2967 | 23.59 | 3.7933 | 25.9233 | 4.3933 | 118.0667 | 4.6167 | 21.7667 | 23.25 | 883 | 76.4833 | 1.484
2019-08-15 10:00:00 | 3.23 | 213.6967 | 3.7133 | 234.8233 | 4.2533 | 127.0733 | 4.35 | 22.3467 | 23.57 | 883 | 76.27 | 0.55333
2019-08-15 10:15:00 | 3.0433 | 0.60333 | 3.5033 | 0.65667 | 3.8667 | 4.0167 | 3.82 | 13.48 | 23.9147 | 883 | 74.07 | 0
2019-08-15 10:30:00 | 2.6433 | 17.0967 | 3.05 | 18.7833 | 3.2333 | 47.4633 | 3.3733 | 11.7933 | 24.1 | 883 | 73.1033 | 0
2019-08-15 10:45:00 | 2.2133 | 119.37 | 2.5467 | 131.1667 | 2.6567 | 11.6067 | 2.7533 | 13.9667 | 24.8867 | 883 | 70.5833 | 0
2019-08-15 11:00:00 | 1.7667 | 109.77 | 2.0333 | 120.62 | 2.01 | 10.96 | 1.9733 | 22.86 | 24.9133 | 883 | 70.0967 | 0
2019-08-15 11:15:00 | 1.4433 | 2.4267 | 1.66 | 2.6533 | 1.6 | 13.5067 | 0.92667 | 146.66 | 25.39 | 883 | 67.6433 | 0
2019-08-15 11:30:00 | 1.3433 | 76.94 | 1.54 | 84.5467 | 1.82 | 88.74 | 1.32 | 178.5 | 26.0967 | 883 | 67.5967 | 0
2019-08-15 11:45:00 | 1.8667 | 134.62 | 2.16 | 147.9333 | 2.2033 | 145.6667 | 2.0667 | 149.7667 | 27.47 | 883 | 65.68 | 0
2019-08-15 12:00:00 | 2.0733 | 137.9533 | 2.3867 | 151.6 | 2.3367 | 156.9333 | 2.3267 | 168.0333 | 27.41 | 883 | 67.3933 | 0
2019-08-15 12:15:00 | 3.08 | 124.61 | 3.5433 | 136.9333 | 3.48 | 172.6667 | 3.1433 | 161.6 | 27.68 | 883 | 67.77 | 0
2019-08-15 12:30:00 | 3.3133 | 133.1767 | 3.8233 | 146.3333 | 3.8267 | 176.8667 | 3.5967 | 185.6667 | 28.0267 | 883 | 65.2033 | 0
2019-08-15 12:45:00 | 3.4067 | 127.04 | 3.92 | 139.6 | 4.1033 | 174.1 | 3.95 | 186.9 | 28.3467 | 883 | 61.6233 | 0
2019-08-15 13:00:00 | 3.1 | 157.56 | 3.5667 | 173.1333 | 3.6833 | 175.0333 | 3.5767 | 189.1667 | 28.44 | 883 | 59.8767 | 0.18267
2019-08-15 13:15:00 | 3.1 | 165.7467 | 3.5667 | 182.1333 | 3.6533 | 172.1667 | 3.7333 | 195.0667 | 28.7133 | 883 | 58.95 | 0.50733
2019-08-15 13:30:00 | 3.2867 | 93.16 | 3.78 | 102.3733 | 3.8867 | 154.3667 | 3.9333 | 179.0667 | 28.88 | 883 | 57.2633 | 1.3767
2019-08-15 13:45:00 | 3.2867 | 154.7933 | 3.78 | 170.1 | 3.8733 | 180.5 | 3.86 | 171.4667 | 28.9353 | 883 | 57.9467 | 2.516
2019-08-15 14:00:00 | 3.2067 | 150.4333 | 3.6867 | 165.3 | 3.9 | 184.9667 | 3.7933 | 180.4667 | 29.0933 | 883 | 58.4267 | 2.9533
2019-08-15 14:15:00 | 2.6067 | 127.43 | 3.0067 | 140.0333 | 3.2367 | 202.3333 | 3.6933 | 213.8333 | 29.5167 | 883 | 58.156 | 2.6553
2019-08-15 14:30:00 | 2.94 | 165.41 | 3.3867 | 181.7667 | 3.7167 | 178.6667 | 3.68 | 181.6333 | 29.69 | 883 | 58.1393 | 3.192
2019-08-15 14:45:00 | 3.12 | 163.1433 | 3.59 | 179.2667 | 3.9333 | 153.0667 | 4.02 | 180.0667 | 30.0033 | 882.2 | 57.9667 | 2.2953
2019-08-15 15:00:00 | 2.3667 | 150.03 | 2.7367 | 164.8667 | 3.2533 | 207.0667 | 3.6467 | 229.1333 | 30.33 | 882 | 57.16 | 2.7407
2019-08-15 15:15:00 | 2.75 | 151.2133 | 3.1633 | 166.1667 | 3.59 | 170.8 | 3.6533 | 169.3 | 30.852 | 882 | 57.0493 | 2.7853
2019-08-15 15:30:00 | 2.93 | 150.8533 | 3.37 | 165.7667 | 3.9033 | 201.6 | 4.2733 | 207.3 | 30.7 | 882 | 56.2633 | 3.902
2019-08-15 15:45:00 | 2.5933 | 157.0133 | 2.99 | 172.5333 | 3.5333 | 215.5 | 3.6667 | 194.7 | 31.2167 | 882 | 55.5033 | 6.4133
2019-08-15 16:00:00 | 2.58 | 158.3467 | 2.9767 | 174 | 3.6333 | 165.6333 | 3.76 | 183.2333 | 31.6767 | 882 | 53.43 | 6.1267
2019-08-15 16:15:00 | 2.8 | 131.5833 | 3.2267 | 144.6 | 3.6133 | 185.4333 | 3.7433 | 201.6667 | 31.912 | 882 | 51.69 | 7.2427
2019-08-15 16:30:00 | 2.88 | 224.6567 | 3.32 | 246.8667 | 4.0267 | 234.4333 | 4.4167 | 240.4 | 31.76 | 882 | 52.3433 | 5.692
2019-08-15 16:45:00 | 2.3867 | 160.5867 | 2.7567 | 176.4667 | 3.3167 | 244.1333 | 3.55 | 247.6667 | 32.0967 | 882 | 52.2567 | 4.3733
2019-08-15 17:00:00 | 2.6533 | 166.72 | 3.05 | 183.2 | 3.5367 | 218 | 3.63 | 230.7333 | 31.9767 | 882 | 52.15 | 4.794
2019-08-15 17:15:00 | 2.7 | 176.8767 | 3.1 | 194.3667 | 3.52 | 181.1333 | 3.68 | 185.3333 | 31.676 | 882 | 52.21 | 4.5067
2019-08-15 17:30:00 | 2.1933 | 139.87 | 2.52 | 153.7 | 2.82 | 196.9333 | 2.7667 | 194 | 31.3133 | 882 | 53.4033 | 4.078
2019-08-15 17:45:00 | 2.4867 | 181.5467 | 2.8633 | 199.5 | 3.2667 | 194.1 | 3.67 | 189.8333 | 31.168 | 882 | 54.86 | 4.3787
2019-08-15 18:00:00 | 2.7533 | 154.1933 | 3.17 | 169.4333 | 3.56 | 197.4333 | 3.7833 | 197.3 | 30.852 | 882 | 55.4933 | 5.1653
2019-08-15 18:15:00 | 2.0433 | 172.4167 | 2.3467 | 189.4667 | 2.9633 | 219.7667 | 2.94 | 226.7 | 30.8 | 882 | 56.6013 | 5.0793
2019-08-15 18:30:00 | 2.3567 | 175.8167 | 2.7067 | 193.2 | 3.27 | 218.4333 | 3.26 | 217.8333 | 30.6033 | 881.5333 | 57.0167 | 8.364
2019-08-15 18:45:00 | 2.8667 | 167.08 | 3.2967 | 183.6 | 3.9767 | 207.7667 | 4.1733 | 215.2 | 29.51 | 881 | 59.24 | 10.6007
2019-08-15 19:00:00 | 2.8467 | 166.4067 | 3.27 | 182.8667 | 3.8833 | 207.9667 | 4.6467 | 222.2667 | 28.69 | 880.5333 | 59.72 | 10.1693
2019-08-15 19:15:00 | 3.3733 | 180.1233 | 3.88 | 197.9333 | 4.5767 | 207.8133 | 5.06 | 214.7 | 28.2767 | 880 | 59.55 | 10.7527
2019-08-15 19:30:00 | 3.2533 | 179.5167 | 3.74 | 197.2667 | 4.4033 | 219.6667 | 5.0533 | 216.0333 | 28.17 | 880 | 59.45 | 11.724
2019-08-15 19:45:00 | 3.2567 | 155.34 | 3.7433 | 170.7 | 4.5133 | 208.5667 | 4.7767 | 206.7 | 27.9267 | 879.2 | 61.5367 | 12.7127
2019-08-15 20:00:00 | 2.9033 | 166.9933 | 3.3367 | 183.5 | 3.9667 | 214.7667 | 3.83 | 192.2333 | 27.7 | 879 | 63.21 | 11.8453
2019-08-15 20:15:00 | 2.95 | 158.4333 | 3.39 | 174.1 | 3.82 | 216 | 3.9867 | 203.9 | 27.52 | 879 | 65.0467 | 12.7873
2019-08-15 20:30:00 | 2.8167 | 169.48 | 3.2367 | 186.2333 | 3.7067 | 216.8 | 3.7 | 186.7 | 27.3267 | 879 | 65.6667 | 12.7407
2019-08-15 20:45:00 | 2.9933 | 154.92 | 3.44 | 170.2333 | 3.9033 | 196.3 | 4.2667 | 196.7667 | 27.07 | 879 | 66.7367 | 9.718
2019-08-15 21:00:00 | 2.8067 | 153.3333 | 3.2267 | 168.5 | 3.71 | 202.1 | 4.04 | 191.1933 | 26.89 | 879 | 69.5433 | 7.1587
2019-08-15 21:15:00 | 2.7067 | 147.3933 | 3.11 | 161.9667 | 3.4867 | 188.3 | 4.0167 | 187.9 | 26.5067 | 879 | 72.95 | 6.7567
2019-08-15 21:30:00 | 2.98 | 139.5733 | 3.43 | 153.3667 | 3.7333 | 192.7 | 4.1767 | 199.9 | 26.26 | 879 | 74.7167 | 6.2113
2019-08-15 21:45:00 | 3.0033 | 177.3367 | 3.4633 | 194.8667 | 3.7567 | 193.3333 | 3.9367 | 180.8667 | 26.1313 | 879.8 | 75.266 | 5.36
2019-08-15 22:00:00 | 3.1633 | 178.1767 | 3.6367 | 195.8 | 3.99 | 179.4 | 4.5833 | 183.8 | 25.9633 | 880 | 75.8067 | 4.4127
2019-08-15 22:15:00 | 2.8467 | 181.5133 | 3.2733 | 199.4667 | 3.6133 | 178.7333 | 4.27 | 178.6667 | 25.84 | 880 | 76.2033 | 4.1947
2019-08-15 22:30:00 | 2.58 | 168.42 | 2.9667 | 185.0667 | 3.2867 | 176.3333 | 3.99 | 185 | 25.6933 | 880 | 76.63 | 3.414
2019-08-15 22:45:00 | 2.4067 | 159.0067 | 2.77 | 174.7333 | 2.9967 | 184.9 | 3.5267 | 186.5 | 25.574 | 880 | 77.1287 | 4.134
2019-08-15 23:00:00 | 2.8 | 164.7667 | 3.2233 | 181.0667 | 3.55 | 177.9 | 4.0267 | 175.7667 | 25.43 | 880 | 77.88 | 5.8447
2019-08-15 23:15:00 | 2.8633 | 169.7933 | 3.292 | 186.5867 | 3.7007 | 179.9133 | 4.1947 | 176.0067 | 25.3473 | 880 | 78.448 | 7.35
2019-08-15 23:30:00 | 3.0733 | 176.5733 | 3.5333 | 194.0333 | 3.9067 | 175.4667 | 4.5433 | 178.4333 | 25.2593 | 880 | 78.804 | 6.774
2019-08-15 23:45:00 | 3.0233 | 167.1667 | 3.4767 | 183.7 | 3.77 | 177.6 | 4.5933 | 174.3333 | 25.2307 | 880 | 78.8893 | 5.308