## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-16 00:00:00 | 2.9521 | 163.61 | 3.3914 | 179.7786 | 3.71 | 170.9286 | 4.4757 | 172.05 | 25.1757 | 880 | 79.1029 | 5.4386
2019-08-16 00:15:00 | 2.9667 | 170.5367 | 3.4167 | 187.4 | 3.7267 | 169.8667 | 4.5367 | 171.5 | 25.1473 | 880 | 79.2053 | 4.896
2019-08-16 00:30:00 | 3.14 | 160.17 | 3.6233 | 176 | 3.9667 | 171.4667 | 4.6833 | 172.7667 | 25.086 | 880 | 79.292 | 5.512
2019-08-16 00:45:00 | 3.1167 | 159.9267 | 3.5867 | 175.7333 | 3.9533 | 164.2667 | 4.7067 | 171.7667 | 24.9667 | 880 | 79.4967 | 5.268
2019-08-16 01:00:00 | 2.85 | 130.4333 | 3.28 | 143.3333 | 3.6933 | 172.4 | 4.3933 | 165.1667 | 24.84 | 880 | 79.85 | 7.2433
2019-08-16 01:15:00 | 3.1867 | 162.6233 | 3.6733 | 178.7 | 4.0733 | 176.1 | 5 | 180.1333 | 24.7447 | 880 | 79.9553 | 7.9873
2019-08-16 01:30:00 | 2.9933 | 172.1433 | 3.4467 | 189.1667 | 3.92 | 162.1 | 4.72 | 181.0667 | 24.5567 | 880 | 80.5667 | 6.6093
2019-08-16 01:45:00 | 2.98 | 163.3433 | 3.43 | 179.5 | 3.8167 | 176.9 | 4.7467 | 178.0333 | 24.4567 | 880 | 80.7133 | 6.1007
2019-08-16 02:00:00 | 3.1067 | 171.6633 | 3.5833 | 188.6333 | 4.0367 | 188.2333 | 4.88 | 172.1 | 24.4367 | 880 | 80.6667 | 9.6393
2019-08-16 02:15:00 | 3.18 | 168.21 | 3.66 | 184.8333 | 4.1233 | 166 | 5.0733 | 162.7867 | 24.1233 | 879.8667 | 81.8 | 9.6027
2019-08-16 02:30:00 | 3.5333 | 170.99 | 4.06 | 187.9 | 4.4767 | 172.7333 | 5.2933 | 172.6333 | 24.0487 | 879 | 81.8667 | 9.4973
2019-08-16 02:45:00 | 3.56 | 166.9567 | 4.1 | 183.4667 | 4.4267 | 176.32 | 5.16 | 180.7733 | 23.9133 | 879 | 82.7333 | 7.7833
2019-08-16 03:00:00 | 3.36 | 167.21 | 3.8667 | 183.7333 | 4.3867 | 169.4333 | 5.26 | 172.6 | 23.6867 | 879 | 83.6667 | 6.424
2019-08-16 03:15:00 | 3.16 | 167.6233 | 3.64 | 184.2 | 4.2233 | 174.5667 | 5.32 | 172.1 | 23.632 | 879 | 83.4 | 6.942
2019-08-16 03:30:00 | 3.0267 | 188.5033 | 3.48 | 207.1333 | 3.9967 | 168.6333 | 5.08 | 175.4333 | 23.69 | 879 | 82.8 | 5.4867
2019-08-16 03:45:00 | 2.84 | 173.2967 | 3.27 | 190.4333 | 3.6333 | 166.8667 | 4.7467 | 167 | 23.7633 | 879 | 82.3 | 5.3707
2019-08-16 04:00:00 | 2.66 | 168.39 | 3.0633 | 185.0333 | 3.52 | 166.2667 | 4.6067 | 172.3333 | 23.65 | 879 | 82.6333 | 4.98
2019-08-16 04:15:00 | 2.52 | 172.57 | 2.9033 | 189.6333 | 3.3933 | 168.7333 | 4.4 | 180.1667 | 23.54 | 879 | 82.9667 | 4.916
2019-08-16 04:30:00 | 2.7533 | 168.81 | 3.17 | 185.5 | 3.7267 | 177.8 | 4.68 | 178.5 | 23.5733 | 879 | 82.6333 | 3.7267
2019-08-16 04:45:00 | 2.1667 | 174.9067 | 2.4967 | 192.2 | 3.1067 | 173.8333 | 4.24 | 174.8 | 23.46 | 879 | 83.2 | 3.4273
2019-08-16 05:00:00 | 2.3667 | 176.8467 | 2.7233 | 194.3333 | 3.1133 | 169.3667 | 4.0333 | 177.9333 | 23.3153 | 879 | 83.6 | 4.732
2019-08-16 05:15:00 | 2.16 | 177.2967 | 2.4833 | 194.8333 | 3.0033 | 189.6 | 4.0033 | 188 | 23.3567 | 879 | 83.4333 | 4.116
2019-08-16 05:30:00 | 2.0133 | 160.3767 | 2.3233 | 176.2333 | 3.1367 | 185.2667 | 4.3367 | 178.0667 | 22.9967 | 879 | 85.5 | 3.5273
2019-08-16 05:45:00 | 1.8267 | 176.2667 | 2.1033 | 193.7 | 2.96 | 182.1333 | 4.2033 | 179.6667 | 22.5913 | 879 | 87.5 | 4.2407
2019-08-16 06:00:00 | 2.0133 | 180.0333 | 2.3167 | 197.8333 | 3.0733 | 190.4 | 4.3167 | 174.9333 | 22.3933 | 879 | 88.7667 | 5.4253
2019-08-16 06:15:00 | 2.9933 | 177.0233 | 3.44 | 194.5333 | 4.03 | 184.1 | 4.8733 | 179.8 | 21.88 | 879 | 91.1333 | 4.238
2019-08-16 06:30:00 | 2.5533 | 170.6033 | 2.9333 | 187.4667 | 3.4167 | 190.5933 | 4.5133 | 181.4 | 21.7267 | 879 | 92.0667 | 3.628
2019-08-16 06:45:00 | 2.29 | 173.4467 | 2.63 | 190.6 | 3.1867 | 190.5333 | 4.0133 | 179.26 | 21.49 | 879 | 93.6 | 3.9567
2019-08-16 07:00:00 | 2.37 | 175.9933 | 2.7233 | 193.4 | 3.5333 | 188.0667 | 4.4667 | 175.8667 | 21.6167 | 879 | 92.9333 | 3.26
2019-08-16 07:15:00 | 2.2433 | 178.8533 | 2.58 | 196.5333 | 3.24 | 197.6333 | 4.3267 | 184.5 | 22.2733 | 879 | 90.4667 | 3.7307
2019-08-16 07:30:00 | 2.1767 | 173.3067 | 2.5 | 190.4467 | 3.0867 | 189.8333 | 4.44 | 184.1667 | 22.6733 | 879 | 89.6667 | 3.8307
2019-08-16 07:45:00 | 2.1067 | 134.72 | 2.43 | 148.0333 | 2.7733 | 194.7 | 4.2633 | 191.4 | 23.2267 | 879.8 | 88.4 | 2.918
2019-08-16 08:00:00 | 1.9333 | 137.8067 | 2.23 | 151.4333 | 2.38 | 213.1 | 3.9367 | 200.4667 | 23.3753 | 880 | 88.2 | 2.5927
2019-08-16 08:15:00 | 2.0067 | 133.35 | 2.3167 | 146.5333 | 2.7 | 210.7 | 3.9167 | 193.5 | 23.8467 | 880 | 87.6667 | 2.3007
2019-08-16 08:30:00 | 2.02 | 139.4833 | 2.3367 | 153.2667 | 2.7067 | 215.3 | 3.6833 | 198.4333 | 24.4867 | 880 | 85.8667 | 1.728
2019-08-16 08:45:00 | 1.8533 | 141.2067 | 2.14 | 155.1667 | 2.4067 | 213.4133 | 3.0967 | 198.3 | 25.51 | 880.8 | 81.3333 | 1.6513
2019-08-16 09:00:00 | 2.2933 | 164.3267 | 2.6467 | 180.5667 | 2.8 | 204.3667 | 3.5433 | 200.0333 | 25.8367 | 881 | 79.5133 | 1.3767
2019-08-16 09:15:00 | 2.84 | 143.2733 | 3.27 | 157.4333 | 3.2533 | 195.8333 | 3.8233 | 191.2667 | 25.8633 | 881 | 77.6567 | 1.716
2019-08-16 09:30:00 | 2.9067 | 140.9 | 3.3567 | 154.8333 | 3.28 | 183.8333 | 3.9167 | 189.2 | 25.9887 | 881 | 77.53 | 1.9027
2019-08-16 09:45:00 | 3.1 | 152.6667 | 3.5667 | 167.7667 | 3.69 | 186 | 4.13 | 183.7667 | 26.18 | 881.1333 | 77.9067 | 1.2267
2019-08-16 10:00:00 | 3.14 | 127.8533 | 3.6133 | 140.5 | 3.5567 | 176 | 3.6967 | 176.7 | 26.32 | 882 | 76.1867 | 1.236
2019-08-16 10:15:00 | 3.5667 | 130.3467 | 4.1033 | 143.2333 | 4.14 | 179.9333 | 4.4133 | 187.6667 | 26.4033 | 882 | 74.8413 | 1.6413
2019-08-16 10:30:00 | 3.64 | 142.48 | 4.19 | 156.5667 | 4.2667 | 187.2 | 4.4533 | 196.9333 | 26.6 | 882 | 74.692 | 1.598
2019-08-16 10:45:00 | 3.9267 | 142.5033 | 4.52 | 156.6 | 4.65 | 186.1867 | 4.88 | 191.8333 | 26.9767 | 882 | 72.28 | 1.7307
2019-08-16 11:00:00 | 3.5267 | 166.65 | 4.06 | 183.1333 | 4.2633 | 195.3667 | 4.44 | 175.9667 | 27.31 | 882 | 71.8667 | 2.226
2019-08-16 11:15:00 | 3.57 | 158.4933 | 4.1067 | 174.1667 | 4.2433 | 163.5667 | 4.19 | 179.9 | 27.66 | 882 | 70.1033 | 2.7907
2019-08-16 11:30:00 | 3.7033 | 93.46 | 4.26 | 102.7 | 4.45 | 167.8333 | 4.6433 | 183.3667 | 27.754 | 882 | 70.37 | 2.1753
2019-08-16 11:45:00 | 3.56 | 135.0767 | 4.0933 | 148.4333 | 4.23 | 155.5 | 4.0867 | 195.4333 | 28.0553 | 882 | 70.5833 | 3.09
2019-08-16 12:00:00 | 3.6333 | 134.65 | 4.1867 | 147.9667 | 4.3033 | 155.5667 | 4.54 | 172.6333 | 28.1087 | 882 | 71.0033 | 5.11
2019-08-16 12:15:00 | 3.4667 | 144.3933 | 3.99 | 158.6667 | 4.1467 | 176.4 | 4.53 | 166.9667 | 28.2667 | 882 | 70.1167 | 5.0067
2019-08-16 12:30:00 | 3.28 | 139.1133 | 3.7767 | 152.8667 | 3.92 | 180 | 4.1967 | 179.3667 | 28.7033 | 882 | 69.23 | 4.1287
2019-08-16 12:45:00 | 3.71 | 199.1167 | 4.2667 | 218.8 | 4.4833 | 196.9 | 4.3267 | 167.7333 | 29.0033 | 882 | 68.1367 | 4.4673
2019-08-16 13:00:00 | 3.31 | 153.3633 | 3.8067 | 168.5333 | 3.9567 | 172.2333 | 4.02 | 177.0667 | 29.0333 | 882 | 67.41 | 3.914
2019-08-16 13:15:00 | 3.5533 | 143.9333 | 4.0967 | 158.1667 | 4.2833 | 172.5667 | 4.17 | 186.4333 | 29.242 | 882 | 65.8367 | 2.64
2019-08-16 13:30:00 | 3.0067 | 157.28 | 3.4567 | 172.8333 | 3.65 | 173.9 | 3.8567 | 186.3667 | 29.516 | 882 | 65.1087 | 2.882
2019-08-16 13:45:00 | 3.0467 | 142.88 | 3.5 | 157 | 3.9633 | 174.0667 | 3.9533 | 187.5333 | 29.5567 | 882 | 65.52 | 3.1193
2019-08-16 14:00:00 | 2.78 | 167.5733 | 3.1933 | 184.1333 | 3.7233 | 195.8 | 3.84 | 256.1333 | 29.94 | 881.5333 | 64.12 | 2.9867
2019-08-16 14:15:00 | 2.7267 | 155.8533 | 3.14 | 171.2667 | 3.4867 | 216.0667 | 3.7433 | 223.9 | 30.04 | 881 | 60.4767 | 2.9633
2019-08-16 14:30:00 | 2.4533 | 122.3 | 2.82 | 134.4 | 3.2867 | 204 | 3.57 | 221.1 | 30.54 | 881 | 58.8433 | 3.3187
2019-08-16 14:45:00 | 3.1733 | 124.9833 | 3.6467 | 137.3333 | 3.8767 | 181.3 | 3.9933 | 182.4333 | 30.6067 | 881 | 55.9733 | 2.6093
2019-08-16 15:00:00 | 2.3333 | 128.2567 | 2.6867 | 140.9333 | 2.97 | 228.3 | 3.26 | 209.4333 | 30.8467 | 881 | 53.9067 | 2.2013
2019-08-16 15:15:00 | 2.5733 | 141.4533 | 2.9633 | 155.4333 | 3.3633 | 154.8667 | 3.0833 | 175.0667 | 31.0933 | 881.1333 | 54.4033 | 2.5693
2019-08-16 15:30:00 | 2.2133 | 126.8933 | 2.5433 | 139.4333 | 3.1033 | 184.2 | 2.97 | 195.4 | 31.3267 | 882 | 54.75 | 1.7107
2019-08-16 15:45:00 | 2.3733 | 177.9033 | 2.7333 | 195.5 | 3.26 | 228.5 | 3.43 | 215.5333 | 31.9413 | 882 | 52.2533 | 3.396
2019-08-16 16:00:00 | 2.3067 | 196.8967 | 2.66 | 216.3667 | 3.1733 | 233.5 | 3.4167 | 226.7333 | 32.2233 | 882 | 50.44 | 2.476
2019-08-16 16:15:00 | 2.8733 | 195.2267 | 3.3067 | 214.5333 | 3.69 | 222.9333 | 3.5767 | 234.8 | 32.0633 | 882 | 50.352 | 2.8547
2019-08-16 16:30:00 | 2.5467 | 175.02 | 2.9267 | 192.3333 | 3.2567 | 221.9333 | 3.4367 | 227.7333 | 31.858 | 882 | 49.7467 | 2.434
2019-08-16 16:45:00 | 1.75 | 149.6633 | 2.02 | 164.4667 | 2.4667 | 205.2667 | 2.9867 | 223.4 | 32.5667 | 882 | 50.7167 | 3.648
2019-08-16 17:00:00 | 2.31 | 126.9833 | 2.6667 | 139.5333 | 3.3067 | 211.6667 | 3.4667 | 234.8 | 33.16 | 882 | 48.79 | 2.42
2019-08-16 17:15:00 | 2.4533 | 193.99 | 2.82 | 213.1667 | 3.3733 | 231.9333 | 3.4567 | 237.7 | 32.2367 | 882 | 49.1667 | 2.664
2019-08-16 17:30:00 | 2.0333 | 180.216 | 2.34 | 198.04 | 2.9467 | 226.9333 | 3.09 | 229.9667 | 32.058 | 882 | 50.3267 | 1.878
2019-08-16 17:45:00 | 2.1733 | 169.32 | 2.4967 | 186.0667 | 3.1833 | 236.2333 | 3.24 | 239.7667 | 32.0533 | 882 | 50.34 | 1.994
2019-08-16 18:00:00 | 2.1133 | 168.2933 | 2.43 | 184.9333 | 3.13 | 238.16 | 3.2533 | 248.7667 | 31.6 | 882 | 51.9867 | 1.1753
2019-08-16 18:15:00 | 2.04 | 176.6867 | 2.36 | 194.1667 | 2.88 | 230.5333 | 3.2033 | 232.0667 | 31.1667 | 881.8667 | 52.7527 | 2.1547
2019-08-16 18:30:00 | 2.4733 | 170.7553 | 2.8467 | 187.64 | 3.46 | 234.6667 | 3.7033 | 223.6667 | 30.6867 | 881 | 54.04 | 4.0933
2019-08-16 18:45:00 | 2.85 | 162.2833 | 3.2767 | 178.3333 | 4.0633 | 217.1667 | 4.41 | 229.1 | 29.5567 | 881 | 57.0033 | 4.156
2019-08-16 19:00:00 | 2.5833 | 176.2967 | 2.97 | 193.7333 | 3.5633 | 219.2333 | 4.0033 | 218.3667 | 29.0167 | 880.5333 | 58.45 | 2.7853
2019-08-16 19:15:00 | 2.2667 | 175.57 | 2.6167 | 192.9333 | 3.2933 | 213.8333 | 3.59 | 211.3267 | 28.76 | 880 | 59.5933 | 4.0347
2019-08-16 19:30:00 | 2.4267 | 189.77 | 2.7967 | 208.5333 | 3.3467 | 213.5667 | 3.8033 | 215.3667 | 28.5667 | 880 | 59.72 | 3.386
2019-08-16 19:45:00 | 2.3467 | 178.3667 | 2.7 | 196 | 3.2467 | 214.3333 | 3.2467 | 211.2 | 28.44 | 880 | 59.868 | 2.9867
2019-08-16 20:00:00 | 1.9933 | 172.96 | 2.3 | 190.0667 | 2.8333 | 205.2 | 2.78 | 205.7333 | 28.3 | 880 | 60.7067 | 1.584
2019-08-16 20:15:00 | 1.3867 | 182.3967 | 1.6033 | 200.4333 | 1.91 | 200.7 | 2.21 | 202.6 | 28.03 | 880 | 61.9667 | 1.15
2019-08-16 20:30:00 | 1.1533 | 179.466 | 1.3233 | 197.2067 | 1.8233 | 215.6333 | 1.89 | 206.9333 | 27.7967 | 880 | 62.98 | 0.55867
2019-08-16 20:45:00 | 1.01 | 184.8833 | 1.16 | 203.1667 | 1.7833 | 207.3 | 1.76 | 214.0533 | 27.684 | 880 | 63.2933 | 0.25067
2019-08-16 21:00:00 | 0.86333 | 194.59 | 1 | 213.8333 | 1.5567 | 212.1 | 1.58 | 212.5667 | 27.7967 | 880 | 62.7133 | 0.152
2019-08-16 21:15:00 | 0.55333 | 191.856 | 0.64 | 210.82 | 1.0167 | 206.8867 | 0.83 | 209.4067 | 27.8233 | 880 | 63.038 | 0
2019-08-16 21:30:00 | 0.49333 | 139.9667 | 0.57333 | 153.8 | 0.91 | 178.3333 | 0.52333 | 206.9 | 27.47 | 880 | 64.57 | 0
2019-08-16 21:45:00 | 1.1733 | 114.03 | 1.35 | 125.3 | 1.8633 | 162.4733 | 1.4333 | 161.4 | 27.4833 | 880.1333 | 63.1133 | 0
2019-08-16 22:00:00 | 1.1733 | 114.03 | 1.35 | 125.3 | 1.9767 | 162.3933 | 1.9 | 161.4 | 27.49 | 881 | 62.8933 | 0
2019-08-16 22:15:00 | 1.11 | 114.2253 | 1.2833 | 125.5133 | 1.9033 | 162.58 | 2.02 | 161.88 | 27.3267 | 881 | 64.1067 | 0
2019-08-16 22:30:00 | 0.91 | 114.6633 | 1.05 | 126 | 1.7167 | 162.6 | 1.7333 | 162.7 | 26.9667 | 881 | 65.6333 | 0
2019-08-16 22:45:00 | 0.96 | 114.75 | 1.1067 | 126.1 | 1.8667 | 162.6 | 1.84 | 162.9333 | 26.7067 | 881 | 65.5267 | 0
2019-08-16 23:00:00 | 0.5 | 114.75 | 0.58667 | 126.1 | 0.99333 | 162.6 | 1.4333 | 167.6 | 26.64 | 881 | 66.02 | 0
2019-08-16 23:15:00 | 0.15667 | 80.0633 | 0.18333 | 87.9833 | 0.046667 | 162.5867 | 1.1333 | 164.8 | 26.3173 | 881 | 68.0533 | 0
2019-08-16 23:30:00 | 0.69 | 220.69 | 0.79667 | 242.5167 | 0.046667 | 68.5867 | 0.76667 | 155.0467 | 26.2767 | 881 | 68.9867 | 0
2019-08-16 23:45:00 | 0.93333 | 324.852 | 1.08 | 356.98 | 0.17 | 17.6367 | 0.04 | 155.02 | 25.84 | 881 | 70.4567 | 0