## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-17 00:00:00 | 0.95714 | 313.9286 | 1.1043 | 344.9786 | 0.34929 | 9.2257 | 0 | 155.0429 | 25.6564 | 881 | 70.69 | 0
2019-08-17 00:15:00 | 0.76667 | 312.7367 | 0.88333 | 343.6667 | 0.016667 | 8.94 | 0.04 | 155.1 | 25.48 | 881 | 72.05 | 0
2019-08-17 00:30:00 | 0.75333 | 313.17 | 0.86333 | 344.1333 | 0.07 | 8.84 | 0.28 | 155.1467 | 25.4013 | 881 | 73.6033 | 0.002667
2019-08-17 00:45:00 | 0.68 | 316.78 | 0.78333 | 348.1 | 0.26333 | 211.7 | 1.36 | 195.8 | 25.1967 | 881 | 72.54 | 0.13467
2019-08-17 01:00:00 | 0.52667 | 316.78 | 0.61 | 348.1 | 0.48333 | 208.5 | 1.3267 | 195.8 | 24.9767 | 881 | 73.56 | 0.31067
2019-08-17 01:15:00 | 0.5 | 297.3033 | 0.59 | 326.7 | 1 | 187.1133 | 1.8333 | 194.1 | 24.8747 | 881 | 74.3667 | 0.29733
2019-08-17 01:30:00 | 0.29333 | 258.35 | 0.34333 | 283.9 | 0.58 | 187.2 | 1.44 | 190.7 | 24.76 | 881 | 75.5533 | 0.21733
2019-08-17 01:45:00 | 0.51667 | 310.22 | 0.60333 | 340.9 | 0.11333 | 187.2 | 0.28667 | 190.7 | 24.6667 | 881 | 76.4867 | 0.178
2019-08-17 02:00:00 | 0.66333 | 310.262 | 0.76333 | 340.9467 | 0.046667 | 187.2 | 0.5 | 190.7 | 24.7107 | 881 | 76.3467 | 0.091333
2019-08-17 02:15:00 | 0.52 | 310.238 | 0.61 | 340.92 | 0.01 | 187.2 | 0.016 | 190.7 | 24.544 | 881 | 77.248 | 0.042143
2019-08-17 02:30:00 | 0.26667 | 310.178 | 0.31667 | 340.8533 | 0.016667 | 187.2 | 0 | 190.7 | 24.6133 | 881 | 76.0067 | 0.21267
2019-08-17 02:45:00 | 0 | 310.13 | 0 | 340.8 | 0 | 187.2 | 0.03 | 190.7 | 24.7033 | 881 | 75.4667 | 0.132
2019-08-17 03:00:00 | 0.37333 | 312.9167 | 0.44 | 343.8667 | 0.013333 | 187.2 | 0.10333 | 190.7 | 24.3633 | 881 | 77.58 | 0.19533
2019-08-17 03:15:00 | 1.0933 | 315.4893 | 1.2567 | 346.6867 | 0.55 | 243.7333 | 0 | 190.7 | 23.58 | 881 | 81.8 | 0.178
2019-08-17 03:30:00 | 2.2467 | 314.35 | 2.5833 | 345.4333 | 2.45 | 120.1 | 1.0133 | 298.7667 | 23.0667 | 881 | 85.0667 | 0.11933
2019-08-17 03:45:00 | 2.9333 | 320.8333 | 3.38 | 352.5667 | 3.32 | 2.7567 | 1.9733 | 245.6133 | 22.8567 | 880.8667 | 85.6667 | 0.15067
2019-08-17 04:00:00 | 2.7867 | 109.5467 | 3.22 | 120.3733 | 3.0467 | 239.5833 | 0.92667 | 24.1333 | 23.03 | 880 | 84.9333 | 0.19133
2019-08-17 04:15:00 | 3.0267 | 319.6933 | 3.4833 | 351.3 | 3.36 | 1.3433 | 0.94667 | 25.5733 | 23.0507 | 880 | 84.7667 | 0.000667
2019-08-17 04:30:00 | 3.1333 | 313.8 | 3.61 | 344.8333 | 3.6067 | 4.33 | 2.1333 | 9.5533 | 23.0067 | 880 | 84.1 | 0
2019-08-17 04:45:00 | 3.3867 | 297.72 | 3.9067 | 327.1667 | 4.1933 | 1.5233 | 3.48 | 7.8867 | 22.8767 | 880 | 84.22 | 0
2019-08-17 05:00:00 | 3.71 | 155.575 | 4.275 | 170.955 | 4.42 | 3.06 | 3.9 | 18.25 | 22.782 | 880 | 84.8 | 0
2019-08-17 05:15:00 | 3.67 | 114.4233 | 4.2233 | 125.74 | 4.6167 | 5.2467 | 4.3633 | 10.2567 | 22.4867 | 880 | 86.5 | 0.10667
2019-08-17 05:30:00 | 3.9567 | 324.87 | 4.55 | 357 | 4.7967 | 7.08 | 4.3167 | 16.2967 | 22.2733 | 880 | 88.1 | 0.048667
2019-08-17 05:45:00 | 3.7067 | 216.49 | 4.2767 | 237.89 | 4.3433 | 13.9567 | 3.9067 | 13.8533 | 22.4673 | 880 | 87.2333 | 0
2019-08-17 06:00:00 | 3.6333 | 215.63 | 4.1833 | 236.9567 | 4.1567 | 10.2967 | 3.4867 | 16.3 | 22.4687 | 880 | 87.1667 | 0
2019-08-17 06:15:00 | 3.6467 | 213.3633 | 4.1967 | 234.4667 | 4.3733 | 4.83 | 3.8767 | 7.36 | 22.3867 | 880 | 87.7667 | 0
2019-08-17 06:30:00 | 3.4467 | 217.43 | 3.97 | 238.9333 | 4.4933 | 12.7967 | 4.3567 | 19.06 | 22.2 | 880 | 89.4333 | 0.27733
2019-08-17 06:45:00 | 3.79 | 216.6567 | 4.36 | 238.08 | 4.9333 | 9.74 | 4.9467 | 11.7433 | 22.016 | 880 | 91.2333 | 1.0193
2019-08-17 07:00:00 | 3.85 | 2.0567 | 4.4267 | 2.2533 | 4.86 | 19.3267 | 5.1467 | 22.2767 | 21.976 | 880 | 91.7667 | 2.444
2019-08-17 07:15:00 | 3.8933 | 20.39 | 4.4833 | 22.4067 | 5.17 | 14.4267 | 5.5333 | 13.9167 | 21.898 | 880 | 92.5 | 2.7613
2019-08-17 07:30:00 | 4.0933 | 215.5633 | 4.71 | 236.8733 | 5.4367 | 5.6667 | 5.64 | 13.0433 | 21.844 | 880 | 92.7667 | 3.8953
2019-08-17 07:45:00 | 4.1267 | 315.2933 | 4.76 | 346.4667 | 5.1167 | 156.2267 | 5.4333 | 2.4133 | 21.9833 | 880.8 | 91.8 | 3.1027
2019-08-17 08:00:00 | 4.1867 | 108.1533 | 4.82 | 118.84 | 5.2233 | 118.48 | 5.3733 | 4.3067 | 22.13 | 881 | 90.7333 | 3.9013
2019-08-17 08:15:00 | 4.1967 | 109.41 | 4.8233 | 120.22 | 5.65 | 9.2367 | 5.84 | 118.9133 | 22.216 | 881 | 90.4667 | 4.63
2019-08-17 08:30:00 | 4.29 | 314.7433 | 4.9433 | 345.8667 | 5.4967 | 239.9233 | 5.36 | 4.88 | 22.4133 | 881 | 89.6 | 3.0087
2019-08-17 08:45:00 | 4.04 | 318.47 | 4.65 | 349.9667 | 4.8967 | 240.8333 | 4.9033 | 5.48 | 22.4567 | 881 | 89.0133 | 3.0233
2019-08-17 09:00:00 | 4.04 | 113.6767 | 4.65 | 124.9133 | 5.05 | 240.8067 | 5.1967 | 241.2467 | 23.03 | 881.4667 | 87.3667 | 2.0067
2019-08-17 09:15:00 | 3.5867 | 199.0967 | 4.1233 | 218.7767 | 4.9167 | 5.6367 | 5.1067 | 3.71 | 23.9433 | 882 | 84.9667 | 2.196
2019-08-17 09:30:00 | 3.5467 | 7.0767 | 4.0767 | 7.7767 | 4.47 | 4.9567 | 4.7667 | 13.43 | 24.19 | 882 | 84.5 | 0.99067
2019-08-17 09:45:00 | 3.44 | 10.9533 | 3.9567 | 12.0367 | 4.5067 | 125.7533 | 4.5433 | 13.9733 | 24.43 | 882 | 84.28 | 1.6133
2019-08-17 10:00:00 | 3.58 | 0.08 | 4.1167 | 0.083333 | 4.7067 | 130.3667 | 4.6833 | 10.68 | 24.7033 | 882 | 82.4333 | 1.5227
2019-08-17 10:15:00 | 3.3633 | 231.4833 | 3.87 | 254.3667 | 4.7933 | 10.6933 | 4.74 | 10.8367 | 25.3033 | 882.8 | 81.1 | 0.96
2019-08-17 10:30:00 | 3.2033 | 45.61 | 3.6833 | 50.12 | 4.5467 | 13.4933 | 4.4533 | 10.0567 | 25.97 | 883 | 79.4867 | 0.514
2019-08-17 10:45:00 | 3.2567 | 106.1967 | 3.7467 | 116.6933 | 4.36 | 26.95 | 4.0667 | 14.6733 | 26.124 | 883 | 77.55 | 0
2019-08-17 11:00:00 | 2.7367 | 310.4633 | 3.1467 | 341.1667 | 3.3867 | 18.1833 | 2.98 | 17.3133 | 26.2433 | 883 | 77.1847 | 0
2019-08-17 11:15:00 | 1.9867 | 201.7133 | 2.2833 | 221.6567 | 2.3333 | 119.7267 | 1.9633 | 119.58 | 26.5667 | 883 | 75.0367 | 0
2019-08-17 11:30:00 | 1.3733 | 216.52 | 1.5833 | 237.9233 | 1.5467 | 312.8667 | 0.77 | 309.6667 | 27.12 | 883 | 72.7633 | 0
2019-08-17 11:45:00 | 1.2 | 66.2367 | 1.39 | 72.7867 | 1.3033 | 282.9667 | 1.0033 | 269.7 | 27.89 | 883 | 69.86 | 0
2019-08-17 12:00:00 | 1.8 | 160.9233 | 2.0767 | 176.8333 | 2.17 | 154.3 | 1.95 | 179.3667 | 28.9767 | 883 | 69.5467 | 0
2019-08-17 12:15:00 | 2.4333 | 131.7767 | 2.81 | 144.8 | 2.95 | 179.1333 | 2.85 | 167.9333 | 29.5867 | 883 | 67.87 | 0
2019-08-17 12:30:00 | 2.52 | 163.51 | 2.9033 | 179.6667 | 2.97 | 181.0667 | 2.7633 | 181.1333 | 29.8133 | 883 | 65.4833 | 0
2019-08-17 12:45:00 | 2.45 | 131.9567 | 2.8167 | 145 | 2.8567 | 167.2 | 2.8133 | 188.6 | 29.4867 | 883 | 64.61 | 0
2019-08-17 13:00:00 | 2.67 | 167.0167 | 3.0767 | 183.5333 | 3.21 | 190.6667 | 3.12 | 201.3333 | 29.6267 | 883 | 63.9433 | 0.052
2019-08-17 13:15:00 | 2.8667 | 175.1533 | 3.2933 | 192.4667 | 4.0833 | 228.2667 | 3.8 | 247.4667 | 29.9767 | 883 | 62.21 | 0.23933
2019-08-17 13:30:00 | 2.5467 | 190.2533 | 2.9333 | 209.0667 | 3.43 | 237.6 | 3.3733 | 239.1333 | 29.61 | 883 | 62.2367 | 0
2019-08-17 13:45:00 | 1.74 | 177.0933 | 2.0067 | 194.6 | 2.4667 | 247.5 | 2.51 | 269.4333 | 30.2033 | 883 | 59.8933 | 0
2019-08-17 14:00:00 | 1.6333 | 173.8067 | 1.8867 | 191 | 2.1733 | 246.9 | 2.0967 | 243.5667 | 30.364 | 883 | 56.5267 | 0
2019-08-17 14:15:00 | 1.2267 | 146.8167 | 1.42 | 161.3333 | 1.5667 | 224.6667 | 1.74 | 243.7333 | 30.366 | 883 | 56.7533 | 0
2019-08-17 14:30:00 | 1.9 | 138.63 | 2.1867 | 152.3333 | 2.5467 | 180.2 | 2.5133 | 171.8 | 30.3767 | 883 | 58.9467 | 0
2019-08-17 14:45:00 | 2.16 | 148.3333 | 2.4867 | 163 | 2.8133 | 151.4667 | 2.5933 | 166.4 | 30.7333 | 883 | 59.6853 | 0
2019-08-17 15:00:00 | 2.1843 | 151.4843 | 2.5129 | 166.4643 | 2.8836 | 167.8143 | 2.8929 | 185.8571 | 30.38 | 883 | 61.2843 | 0.036
2019-08-17 15:15:00 | 1.5 | 168.7267 | 1.7267 | 185.4 | 1.9333 | 194.3333 | 2.0133 | 195.1667 | 30.4073 | 882.2 | 61.7287 | 0
2019-08-17 15:30:00 | 1.8067 | 163.0733 | 2.0867 | 179.2 | 2.5333 | 233.4 | 2.5533 | 234.7667 | 31.2367 | 882 | 60.8867 | 0
2019-08-17 15:45:00 | 1.76 | 163.53 | 2.03 | 179.7 | 2.5767 | 245.7 | 2.88 | 249.5667 | 32.31 | 882.8 | 56.1633 | 0.65333
2019-08-17 16:00:00 | 1.7533 | 181.61 | 2.0167 | 199.5667 | 2.35 | 246.0333 | 2.38 | 243.2333 | 32.1033 | 883 | 55.69 | 0.922
2019-08-17 16:15:00 | 1.8 | 169.9867 | 2.07 | 186.8 | 2.4333 | 228.1333 | 2.57 | 240.1 | 32.0433 | 883 | 55.5233 | 2.4567
2019-08-17 16:30:00 | 2.0533 | 137.1733 | 2.3633 | 150.7333 | 2.82 | 212.1333 | 2.7833 | 212.2333 | 32.7767 | 883 | 53.09 | 2.1233
2019-08-17 16:45:00 | 2.04 | 179.2667 | 2.3533 | 197 | 3.0367 | 207.0667 | 2.9167 | 222.9333 | 31.5433 | 883 | 56.072 | 1.514
2019-08-17 17:00:00 | 1.6667 | 184.06 | 1.92 | 202.2667 | 2.4233 | 204.4 | 2.43 | 204.3333 | 30.8833 | 882.5333 | 58.1333 | 0.29067
2019-08-17 17:15:00 | 1.9133 | 169.24 | 2.2033 | 185.9667 | 2.6467 | 222.6333 | 2.84 | 217 | 31.1033 | 882 | 58.2933 | 0.70467
2019-08-17 17:30:00 | 2.1267 | 182.0933 | 2.45 | 200.1 | 2.9533 | 224.0333 | 2.8933 | 235.6667 | 31.21 | 882 | 57.8867 | 0.98333
2019-08-17 17:45:00 | 2.02 | 171.5433 | 2.3267 | 188.5 | 2.8 | 186.2667 | 3.02 | 190.8333 | 30.6433 | 882 | 59.22 | 1.952
2019-08-17 18:00:00 | 2.8867 | 143.9367 | 3.32 | 158.1667 | 3.9733 | 166 | 4.42 | 165.9667 | 30.15 | 882 | 59.12 | 4.3253
2019-08-17 18:15:00 | 2.54 | 141.02 | 2.9267 | 154.9667 | 3.38 | 166.9333 | 3.7433 | 165.3 | 29.2167 | 881.2 | 61.5033 | 4.7227
2019-08-17 18:30:00 | 2.3933 | 156.32 | 2.7533 | 171.7667 | 3.2467 | 181.5333 | 3.7233 | 168.5 | 28.79 | 881 | 62.5367 | 4.8133
2019-08-17 18:45:00 | 2.62 | 170.53 | 3.0167 | 187.4 | 3.35 | 190.5667 | 4.0533 | 183.4 | 28.5427 | 880.8667 | 61.4233 | 5.926
2019-08-17 19:00:00 | 2.3533 | 173.6233 | 2.71 | 190.8 | 3.0833 | 187.1667 | 3.7067 | 189.1333 | 28.5553 | 880 | 61.05 | 5.602
2019-08-17 19:15:00 | 2.3133 | 180.48 | 2.66 | 198.3333 | 3.12 | 219.5867 | 3.3567 | 195.5 | 28.538 | 880 | 60.9253 | 6.7953
2019-08-17 19:30:00 | 2.82 | 171.9867 | 3.24 | 189 | 4.1067 | 223.7667 | 4.23 | 222.9 | 28.4567 | 880 | 59.82 | 5.7513
2019-08-17 19:45:00 | 1.98 | 189.4933 | 2.2767 | 208.2333 | 2.9933 | 213.3667 | 3.26 | 209.5667 | 28.3767 | 880 | 59.0133 | 4.2413
2019-08-17 20:00:00 | 2.1933 | 181.12 | 2.5233 | 199.0333 | 3.28 | 214.6333 | 3.5267 | 217.3667 | 28.2033 | 880 | 58.0533 | 2.4987
2019-08-17 20:15:00 | 1.1767 | 172.17 | 1.3533 | 189.2 | 1.74 | 205.4667 | 1.8667 | 210.7333 | 28.05 | 880 | 56.02 | 1.8227
2019-08-17 20:30:00 | 0.68333 | 173.99 | 0.79333 | 191.2 | 0.86 | 200.9533 | 0.77333 | 199.0667 | 28.0087 | 880 | 57.42 | 1.7907
2019-08-17 20:45:00 | 0.92667 | 173.9367 | 1.0633 | 191.1333 | 1.5767 | 183.8867 | 1.6267 | 197.3067 | 27.8333 | 880 | 61.47 | 1.1753
2019-08-17 21:00:00 | 1.4733 | 174.6633 | 1.7033 | 191.9333 | 2.0567 | 187.6 | 2.3 | 190 | 27.5933 | 880 | 62.6007 | 0.62533
2019-08-17 21:15:00 | 1.5233 | 175.84 | 1.7533 | 193.2333 | 1.91 | 184.4333 | 2.2133 | 189.0267 | 27.3233 | 880.8 | 64.0033 | 0.95667
2019-08-17 21:30:00 | 1.41 | 178.34 | 1.6267 | 195.9667 | 1.9033 | 186.5667 | 2.1867 | 188.6333 | 27.2607 | 881 | 64.4567 | 1.4393
2019-08-17 21:45:00 | 1.27 | 179.1693 | 1.46 | 196.8867 | 1.89 | 180.1667 | 2.2933 | 175.8667 | 27.11 | 881 | 64.386 | 1.0027
2019-08-17 22:00:00 | 1.53 | 179.1 | 1.76 | 196.8 | 2.25 | 175.1933 | 2.6 | 176.6 | 26.9567 | 881 | 64.12 | 0.714
2019-08-17 22:15:00 | 1.5667 | 179.02 | 1.8133 | 196.72 | 2.2533 | 175.14 | 2.6 | 173.7333 | 26.91 | 881 | 62.9167 | 0.76667
2019-08-17 22:30:00 | 1.18 | 178.8693 | 1.3667 | 196.56 | 1.9467 | 175.0533 | 2.5 | 171 | 26.9067 | 881 | 63.37 | 0.62467
2019-08-17 22:45:00 | 1.14 | 164.6467 | 1.31 | 180.9333 | 1.8 | 168.9667 | 2.3667 | 170.8667 | 26.6733 | 881 | 64.062 | 0.686
2019-08-17 23:00:00 | 1.78 | 139.1133 | 2.0567 | 152.8667 | 2.3867 | 167.2333 | 2.7467 | 170.8667 | 26.8267 | 881 | 63.5533 | 0.40867
2019-08-17 23:15:00 | 1.7533 | 154.5833 | 2.02 | 169.8667 | 2.57 | 167.5467 | 3.02 | 172.3333 | 26.7933 | 881 | 64.1 | 0.18667
2019-08-17 23:30:00 | 1.6533 | 159.87 | 1.9067 | 175.6667 | 2.5633 | 171.7 | 2.8867 | 172.4 | 26.6533 | 881 | 64.9733 | 0.14
2019-08-17 23:45:00 | 1.5733 | 158.8233 | 1.81 | 174.5333 | 2.28 | 170.9 | 2.5067 | 166.3 | 26.5773 | 881 | 65.1627 | 0.087333