## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-18 00:00:00 | 1.2571 | 170.125 | 1.45 | 186.9429 | 1.4079 | 175.25 | 1.735 | 167.4214 | 26.4921 | 881 | 65.158 | 0.019286
2019-08-18 00:15:00 | 1.4 | 177.94 | 1.6133 | 195.5333 | 1.5767 | 184.7133 | 1.27 | 172.2333 | 26.4633 | 881 | 65.5573 | 0.080667
2019-08-18 00:30:00 | 1.88 | 182.1867 | 2.16 | 200.2 | 2.4233 | 193.8667 | 2.2233 | 186.7667 | 26.1367 | 881 | 67.55 | 0.21267
2019-08-18 00:45:00 | 1.9667 | 171.2933 | 2.26 | 188.2333 | 2.4733 | 188.5333 | 2.4767 | 183.0333 | 25.7067 | 881 | 69.14 | 0.354
2019-08-18 01:00:00 | 1.52 | 175.06 | 1.7533 | 192.3667 | 2.2933 | 189.4933 | 2.1633 | 188.2333 | 25.4733 | 881 | 70.2733 | 0.30467
2019-08-18 01:15:00 | 1.908 | 170.6267 | 2.1907 | 187.4933 | 2.3747 | 184.5533 | 1.848 | 189.3667 | 25.2727 | 881 | 72.0767 | 0.35333
2019-08-18 01:30:00 | 1.23 | 123.64 | 1.4133 | 135.8667 | 1.5667 | 202.0667 | 1.6233 | 201.6667 | 25.3967 | 881 | 72.0933 | 0.35467
2019-08-18 01:45:00 | 0.4 | 181.012 | 0.47 | 198.9133 | 0.60667 | 254.88 | 0.91667 | 231.68 | 25.1733 | 881 | 72.9067 | 0.44133
2019-08-18 02:00:00 | 0.36 | 219.1367 | 0.42333 | 240.8 | 0.62667 | 341.9467 | 0.03 | 281.7533 | 24.84 | 881 | 73.8653 | 0.75333
2019-08-18 02:15:00 | 0.32333 | 264.2613 | 0.37333 | 290.3867 | 0.57667 | 277 | 0.76333 | 264.8333 | 24.7713 | 880.2 | 74.228 | 0.30733
2019-08-18 02:30:00 | 0.59 | 321.0767 | 0.68 | 352.8333 | 0.93667 | 283.8667 | 1.7567 | 287.0333 | 24.6567 | 880 | 76.1333 | 0.136
2019-08-18 02:45:00 | 1.3633 | 312.1633 | 1.5667 | 343.0333 | 1.7567 | 344.6267 | 1.4867 | 295.1 | 24.3133 | 880 | 79.5467 | 0.046667
2019-08-18 03:00:00 | 1.69 | 315.8233 | 1.9467 | 347.0533 | 2.35 | 115.8733 | 1.72 | 337.7 | 24.1867 | 880 | 79.6333 | 0
2019-08-18 03:15:00 | 2.3153 | 207.254 | 2.66 | 227.75 | 3.0053 | 4.9533 | 2.3113 | 242.7 | 24.0547 | 880 | 80.1233 | 0
2019-08-18 03:30:00 | 2.7133 | 210.3567 | 3.1167 | 231.15 | 3.4133 | 2.3967 | 2.8733 | 12.3867 | 23.9313 | 880 | 82.5 | 0
2019-08-18 03:45:00 | 2.7267 | 311.44 | 3.1367 | 342.2333 | 3.4833 | 3.4167 | 2.9533 | 9.7467 | 23.864 | 880 | 84.9 | 0.19667
2019-08-18 04:00:00 | 2.6333 | 318.2267 | 3.03 | 349.7 | 3.4767 | 7.6967 | 2.6933 | 12.2933 | 23.7067 | 880 | 86.2333 | 0.38333
2019-08-18 04:15:00 | 2.32 | 304.4 | 2.6667 | 334.5 | 2.6333 | 1.36 | 1.7367 | 35.4533 | 23.8833 | 880 | 85.5 | 0.922
2019-08-18 04:30:00 | 1.6 | 302.2133 | 1.8467 | 332.1 | 1.5267 | 1.96 | 0.33667 | 28.3267 | 23.944 | 880 | 85.8533 | 1.2553
2019-08-18 04:45:00 | 0.94667 | 313.16 | 1.0967 | 344.1333 | 0.82 | 346 | 0 | 185.6 | 23.93 | 879.2 | 85.8333 | 1.244
2019-08-18 05:00:00 | 1.4267 | 304.3667 | 1.65 | 334.4667 | 1.6533 | 346.0467 | 0.19333 | 256.4 | 23.8513 | 879.4667 | 86.3467 | 0.80733
2019-08-18 05:15:00 | 1.3667 | 294.6033 | 1.5767 | 323.7333 | 1.81 | 356.8 | 0.98333 | 304.28 | 23.758 | 880 | 86.2667 | 0.264
2019-08-18 05:30:00 | 1.68 | 312.7433 | 1.9367 | 343.6667 | 2.27 | 122.9867 | 1.6767 | 109.86 | 23.5567 | 880 | 87.9333 | 0.52667
2019-08-18 05:45:00 | 1.9 | 315.0767 | 2.18 | 346.2333 | 2.4267 | 6.6767 | 1.4333 | 233.9867 | 23.3133 | 880 | 89.5333 | 0.38533
2019-08-18 06:00:00 | 2.1267 | 311.8567 | 2.4467 | 342.7 | 2.82 | 10.0433 | 1.76 | 1.1667 | 23.1 | 880 | 88.4 | 0.504
2019-08-18 06:15:00 | 2.5667 | 311.9633 | 2.9567 | 342.82 | 3.17 | 9.67 | 2.1167 | 235.68 | 22.88 | 880 | 90 | 0.74667
2019-08-18 06:30:00 | 2.772 | 316.974 | 3.192 | 348.32 | 3.524 | 10.352 | 2.222 | 6.426 | 22.8753 | 880 | 91.38 | 0.72533
2019-08-18 06:45:00 | 3.04 | 14.11 | 3.5067 | 15.4933 | 4.23 | 241.0433 | 3.9633 | 8.3 | 22.8367 | 880 | 90.4667 | 0.71533
2019-08-18 07:00:00 | 3.0667 | 8.5567 | 3.5267 | 9.4 | 4.3967 | 14.61 | 4.8167 | 23.1733 | 22.9833 | 880 | 89.5333 | 1.0507
2019-08-18 07:15:00 | 3.02 | 116.3933 | 3.4733 | 127.9067 | 4.0867 | 8.7133 | 4.53 | 17.5667 | 22.9953 | 880 | 90.6 | 1.5647
2019-08-18 07:30:00 | 2.9 | 300.2733 | 3.3467 | 329.9667 | 4.22 | 3.92 | 4.5967 | 19.46 | 22.9667 | 880 | 91.4 | 2.4553
2019-08-18 07:45:00 | 3.2133 | 0.05 | 3.7033 | 0.05 | 5 | 5.2967 | 4.68 | 20.0233 | 22.988 | 880 | 91.9867 | 2.4187
2019-08-18 08:00:00 | 3.1 | 5.4167 | 3.5633 | 5.9433 | 4.9267 | 6.67 | 4.8333 | 14.0767 | 23.19 | 880 | 91.5667 | 3.402
2019-08-18 08:15:00 | 3.14 | 320.1667 | 3.6133 | 351.8333 | 4.5833 | 2.7033 | 4.7867 | 12.7367 | 23.4967 | 880 | 90.4667 | 2.5907
2019-08-18 08:30:00 | 3.2667 | 108.6 | 3.7667 | 119.34 | 4.25 | 0.15 | 4.2467 | 13.1233 | 23.5967 | 880 | 89.2 | 1.1193
2019-08-18 08:45:00 | 3.5267 | 207.8833 | 4.0533 | 228.4367 | 4.2133 | 355.1667 | 4.15 | 14.8133 | 23.6967 | 880.1333 | 88.3667 | 0.73067
2019-08-18 09:00:00 | 3.5867 | 22.89 | 4.1267 | 25.1567 | 4.5133 | 159.5467 | 4.5767 | 236.8667 | 23.79 | 881 | 87.5667 | 0.69067
2019-08-18 09:15:00 | 3.58 | 113.4267 | 4.1167 | 124.64 | 4.7787 | 121.5867 | 4.7067 | 0.86 | 23.8867 | 881 | 87.4667 | 1.5787
2019-08-18 09:30:00 | 3.9267 | 315.2667 | 4.5233 | 346.4333 | 5.11 | 120.94 | 4.8733 | 5.78 | 23.8067 | 881 | 88.1333 | 2.16
2019-08-18 09:45:00 | 3.84 | 11.9533 | 4.4267 | 13.1367 | 5.3933 | 161.44 | 5.2233 | 0.34 | 23.77 | 881 | 89.1667 | 3.168
2019-08-18 10:00:00 | 3.3733 | 210.1733 | 3.88 | 230.9567 | 5.5533 | 119.0333 | 5.41 | 7 | 23.95 | 881 | 89.5467 | 2.4447
2019-08-18 10:15:00 | 3.16 | 317.6867 | 3.6433 | 349.1 | 4.7033 | 10.4233 | 4.79 | 10.36 | 24.3 | 881.8 | 87.8667 | 1.6767
2019-08-18 10:30:00 | 2.9333 | 320.06 | 3.3767 | 351.7 | 4.5567 | 8.0433 | 4.87 | 14.7333 | 24.58 | 882 | 87.4 | 0.42
2019-08-18 10:45:00 | 2.25 | 34.9133 | 2.5867 | 38.36 | 3.75 | 11.13 | 3.99 | 18.12 | 24.9333 | 882 | 86.9333 | 0
2019-08-18 11:00:00 | 2.4567 | 23.16 | 2.8267 | 25.4467 | 3.9567 | 9.8167 | 4.1767 | 21.86 | 25.1187 | 882 | 86.2667 | 0.077333
2019-08-18 11:15:00 | 2.2667 | 313.0667 | 2.6167 | 344.0333 | 3.61 | 5.1167 | 3.92 | 11.6833 | 25.3453 | 882 | 86.6333 | 0
2019-08-18 11:30:00 | 2.3667 | 319.8733 | 2.7233 | 351.5 | 3.3167 | 6.3167 | 3.68 | 16.27 | 25.2133 | 882 | 86.3667 | 0
2019-08-18 11:45:00 | 2.6733 | 285.4933 | 3.0767 | 313.7333 | 3.3667 | 12.31 | 3.6033 | 14.0933 | 24.9533 | 882 | 86.6667 | 0
2019-08-18 12:00:00 | 2.3 | 108.24 | 2.65 | 118.9467 | 3.2133 | 10.37 | 3.3967 | 15.78 | 24.8867 | 882 | 87.8667 | 0
2019-08-18 12:15:00 | 2.0267 | 108.3233 | 2.33 | 119.0333 | 2.6767 | 356.9 | 2.6067 | 1.6067 | 24.9953 | 882 | 87.3667 | 0
2019-08-18 12:30:00 | 1.714 | 324.828 | 1.974 | 356.9533 | 2.21 | 148.532 | 1.82 | 51.836 | 25.408 | 882 | 86.06 | 0
2019-08-18 12:45:00 | 1.0667 | 30.74 | 1.2267 | 33.7767 | 1.73 | 19.3933 | 0.94667 | 19.0867 | 26.2933 | 882 | 82.7 | 0
2019-08-18 13:00:00 | 0.92 | 230.9267 | 1.0667 | 253.7633 | 1.2433 | 239.5067 | 0.073333 | 16.6307 | 26.3953 | 882 | 81.3467 | 0
2019-08-18 13:15:00 | 0.30667 | 321.122 | 0.36 | 352.88 | 0.4 | 356.9 | 0.013333 | 16.15 | 26.2067 | 882 | 82.5667 | 0
2019-08-18 13:30:00 | 0.16667 | 317.44 | 0.19333 | 348.8333 | 0.06 | 263.7667 | 0.013333 | 15.8807 | 26.7133 | 882 | 84.1 | 0
2019-08-18 13:45:00 | 0.53667 | 165.7307 | 0.62333 | 182.1133 | 0.75333 | 221.2333 | 1.1233 | 234.6867 | 26.6133 | 882 | 85.0467 | 0
2019-08-18 14:00:00 | 0.83 | 159.8 | 0.96333 | 175.6 | 1.2933 | 237.3 | 1.4233 | 234.0667 | 26.3067 | 882 | 86.9333 | 0.316
2019-08-18 14:15:00 | 0.7 | 152.5993 | 0.82 | 167.6867 | 1.2833 | 232.5667 | 1.8633 | 234.3333 | 25.8967 | 882 | 88.8667 | 0.642
2019-08-18 14:30:00 | 0.9 | 152.5673 | 1.04 | 167.6467 | 1.7233 | 224.1667 | 2.07 | 233.3333 | 25.7033 | 882 | 88.9333 | 0.596
2019-08-18 14:45:00 | 1.7533 | 172.42 | 2.03 | 189.4667 | 2.3433 | 219.08 | 2.6067 | 227.1667 | 26.0267 | 882 | 87.8333 | 0.92667
2019-08-18 15:00:00 | 1.7067 | 151.06 | 1.9633 | 166 | 1.91 | 192.9667 | 2.1067 | 214.1667 | 26.52 | 882 | 85.3 | 0.88867
2019-08-18 15:15:00 | 2.01 | 154.5467 | 2.31 | 169.8333 | 2.22 | 185.7667 | 2.7067 | 218.3 | 26.27 | 882 | 86.4333 | 1.3853
2019-08-18 15:30:00 | 2.5167 | 165.4667 | 2.8967 | 181.8333 | 2.9 | 198.3667 | 3.0667 | 214.2333 | 26.1033 | 882 | 86.5 | 1.7927
2019-08-18 15:45:00 | 2.2347 | 148.4553 | 2.5827 | 163.1333 | 2.608 | 197.54 | 2.7467 | 205.48 | 25.9587 | 881.2 | 86.36 | 1.5213
2019-08-18 16:00:00 | 2.1333 | 161.3833 | 2.46 | 177.3333 | 2.6 | 192.3 | 3.02 | 183.8667 | 25.78 | 881 | 84.5333 | 1.2773
2019-08-18 16:15:00 | 1.2733 | 158.4067 | 1.4733 | 174.0667 | 1.9733 | 196.5067 | 2.2933 | 173.7667 | 25.6727 | 881 | 84 | 1.1007
2019-08-18 16:30:00 | 1.5 | 183.5867 | 1.7333 | 201.7333 | 2.14 | 197.3 | 2.6667 | 157.64 | 25.6167 | 881 | 82.1333 | 0.546
2019-08-18 16:45:00 | 1.64 | 184.9133 | 1.89 | 203.2 | 2.1767 | 180.5333 | 2.68 | 174.5 | 25.45 | 881 | 79.2767 | 0.38333
2019-08-18 17:00:00 | 1.52 | 180.36 | 1.7433 | 198.2 | 2.1633 | 168.8667 | 2.6333 | 174.6333 | 25.3913 | 881 | 78.2233 | 0.57067
2019-08-18 17:15:00 | 1.7533 | 153.1833 | 2.0233 | 168.3333 | 2.3067 | 167.0333 | 2.44 | 166.4 | 25.2827 | 881 | 77.9533 | 0.44867
2019-08-18 17:30:00 | 1.1067 | 171.6833 | 1.27 | 188.6667 | 1.7467 | 187.5667 | 1.7 | 180.4 | 25.3093 | 880.5333 | 77.76 | 0.62067
2019-08-18 17:45:00 | 0.92 | 181.506 | 1.0633 | 199.4533 | 1.5 | 190.9333 | 1.2267 | 193.6333 | 25.2693 | 880 | 78.1767 | 0.43667
2019-08-18 18:00:00 | 0.87333 | 187.1527 | 1.01 | 205.6533 | 1.4267 | 199.4 | 1.2667 | 206.0333 | 25.2007 | 880 | 78.59 | 0.118
2019-08-18 18:15:00 | 0.39 | 187.56 | 0.46333 | 206.1 | 0.74667 | 199.5733 | 0.44667 | 205.8 | 25.206 | 880 | 78.8887 | 0.038
2019-08-18 18:30:00 | 0.016667 | 187.56 | 0.023333 | 206.1 | 0.026667 | 199.7 | 0 | 205.8 | 25.1867 | 880 | 79.0933 | 0.038667
2019-08-18 18:45:00 | 0 | 187.5707 | 0 | 206.1133 | 0 | 199.7 | 0 | 205.8 | 25.0927 | 880 | 78.9347 | 0
2019-08-18 19:00:00 | 0.026667 | 187.64 | 0.033333 | 206.2 | 0.04 | 199.7 | 0 | 205.8 | 24.9467 | 880 | 78.7667 | 0
2019-08-18 19:15:00 | 0.053333 | 187.6533 | 0.06 | 206.2133 | 0.086667 | 199.7 | 0 | 205.7333 | 24.8853 | 880 | 78.9607 | 0
2019-08-18 19:30:00 | 0 | 187.74 | 0 | 206.3 | 0 | 199.7 | 0 | 205.8 | 24.78 | 880 | 80.1967 | 0.172
2019-08-18 19:45:00 | 0.073333 | 187.66 | 0.083333 | 206.22 | 0.14333 | 199.6867 | 0 | 205.8 | 24.64 | 880 | 80.2867 | 0
2019-08-18 20:00:00 | 0.24 | 187.64 | 0.27667 | 206.2 | 0.46333 | 199.6 | 0 | 205.8 | 24.586 | 880 | 81.2667 | 0
2019-08-18 20:15:00 | 0.75333 | 196.5933 | 0.87 | 216.0333 | 1.4567 | 56.73 | 1.5733 | 53.03 | 24.5033 | 880.8 | 83.1667 | 0
2019-08-18 20:30:00 | 1.68 | 292.26 | 1.9367 | 321.1667 | 2.99 | 16.0033 | 3.3267 | 32.1967 | 24.39 | 881 | 84.4333 | 0
2019-08-18 20:45:00 | 2.1367 | 324.6327 | 2.4667 | 356.7267 | 3.6767 | 16.0567 | 3.21 | 37.2867 | 24.15 | 881 | 87.4 | 1.08
2019-08-18 21:00:00 | 2.35 | 109.5867 | 2.7067 | 120.4267 | 3.7367 | 10.8033 | 3.9233 | 33.1133 | 23.9967 | 881 | 89.4 | 2.1613
2019-08-18 21:15:00 | 2.61 | 108.22 | 3 | 118.9133 | 4.2267 | 20.51 | 4.52 | 37.3633 | 23.89 | 881 | 90.3667 | 1.48
2019-08-18 21:30:00 | 2.5833 | 307.26 | 2.9667 | 337.6333 | 3.5067 | 242.4633 | 3.9267 | 22.4767 | 23.904 | 881 | 90.4533 | 1.2793
2019-08-18 21:45:00 | 2.72 | 322.5333 | 3.14 | 354.4333 | 3.59 | 224.9833 | 3.51 | 120.94 | 23.9173 | 881 | 91.0333 | 0.84267
2019-08-18 22:00:00 | 2.8533 | 319.3867 | 3.2933 | 350.9667 | 3.7167 | 237.85 | 3.6167 | 126.8733 | 23.9967 | 881 | 91.1 | 1.176
2019-08-18 22:15:00 | 3.2 | 0.95667 | 3.6833 | 1.0433 | 4.1 | 3.32 | 4.0033 | 11.2367 | 24.066 | 881 | 91.1 | 1.4267
2019-08-18 22:30:00 | 3.4067 | 215.25 | 3.93 | 236.53 | 4.3867 | 0.5 | 4.1367 | 11.07 | 24.1133 | 881 | 91.5 | 1.7287
2019-08-18 22:45:00 | 3.4333 | 214.7307 | 3.9567 | 235.9633 | 4.7567 | 238.9367 | 4.4633 | 4.71 | 24.03 | 881.1333 | 91.6533 | 2.198
2019-08-18 23:00:00 | 3.42 | 212.7233 | 3.9367 | 233.75 | 5.2167 | 238.9367 | 5.0367 | 5.0433 | 23.89 | 882 | 93.1 | 3.276
2019-08-18 23:15:00 | 3.28 | 212.5867 | 3.78 | 233.5967 | 5.26 | 3.5067 | 5.1767 | 0.97 | 23.7573 | 882 | 94.4333 | 4.568
2019-08-18 23:30:00 | 3.38 | 181.76 | 3.8867 | 199.73 | 5.5133 | 17.3067 | 5.6833 | 12.47 | 23.68 | 882 | 94.9667 | 5.2927
2019-08-18 23:45:00 | 3.3267 | 109.9867 | 3.8267 | 120.8533 | 5.592 | 7.7333 | 5.94 | 12.09 | 23.58 | 882 | 95.6333 | 5.06