## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-19 00:00:00 | 3.14 | 313.83 | 3.62 | 344.8643 | 5.3307 | 5.0157 | 5.5336 | 9.8107 | 23.5079 | 882 | 96.0286 | 4.9379
2019-08-19 00:15:00 | 2.6933 | 290.8133 | 3.1033 | 319.5667 | 5.0733 | 8.2 | 5.3233 | 14.3033 | 23.462 | 882 | 96.1933 | 5.114
2019-08-19 00:30:00 | 2.64 | 124.1867 | 3.0433 | 136.4667 | 5.12 | 3.8933 | 5.4367 | 9.69 | 23.4013 | 882 | 96.3467 | 4.478
2019-08-19 00:45:00 | 2.7867 | 15.2433 | 3.2033 | 16.7433 | 5.0133 | 6.8733 | 5.2633 | 16 | 23.2867 | 881.2 | 96.6667 | 3.5067
2019-08-19 01:00:00 | 2.9667 | 226.3967 | 3.41 | 248.7767 | 5.0467 | 4.34 | 5.15 | 13.8133 | 23.2067 | 881 | 96.8467 | 3.0973
2019-08-19 01:15:00 | 3.0533 | 2.5033 | 3.5133 | 2.7467 | 4.94 | 4.0333 | 4.8867 | 13.34 | 23.158 | 881 | 96.9933 | 2.5093
2019-08-19 01:30:00 | 3.0467 | 199.4033 | 3.5067 | 219.1133 | 4.8467 | 6.1533 | 4.74 | 18.6067 | 23.1833 | 881 | 96.9 | 2.51
2019-08-19 01:45:00 | 3.18 | 309.9467 | 3.6533 | 340.6 | 4.6933 | 117.6333 | 4.8 | 11.9167 | 23.1513 | 881 | 96.9867 | 3.1847
2019-08-19 02:00:00 | 3.3733 | 302.3133 | 3.88 | 332.2 | 4.7953 | 120.4533 | 4.8467 | 6.0167 | 23.1507 | 881 | 97.0333 | 2.752
2019-08-19 02:15:00 | 3.64 | 316.3467 | 4.1867 | 347.6333 | 4.4867 | 343.2667 | 4.5133 | 14.19 | 23.01 | 880.2 | 97.9333 | 2.534
2019-08-19 02:30:00 | 3.7667 | 309.2467 | 4.3333 | 339.8333 | 4.6867 | 121.3933 | 4.4733 | 15.8433 | 22.93 | 880 | 98.4 | 2.1233
2019-08-19 02:45:00 | 4.1667 | 103.2367 | 4.7967 | 113.44 | 5.5533 | 1.0733 | 5.25 | 3.22 | 22.8347 | 880 | 98.6333 | 3.4647
2019-08-19 03:00:00 | 4.2067 | 98.19 | 4.8367 | 107.9 | 6.2467 | 1.0733 | 5.83 | 2.7067 | 22.786 | 880 | 98.5 | 5.2853
2019-08-19 03:15:00 | 4.08 | 45.43 | 4.69 | 49.9167 | 6.1933 | 29.6067 | 6.27 | 13.8433 | 22.7867 | 880 | 98.2333 | 6.4767
2019-08-19 03:30:00 | 3.9467 | 237.69 | 4.5367 | 261.1967 | 6.1867 | 3.9133 | 6.3253 | 10.6167 | 22.834 | 880 | 98.2333 | 6.9033
2019-08-19 03:45:00 | 4.1667 | 222.3 | 4.79 | 244.2767 | 6.0533 | 11.4433 | 6.2067 | 12.6767 | 22.862 | 880 | 98.2 | 7.9673
2019-08-19 04:00:00 | 4.0467 | 220.5933 | 4.6633 | 242.41 | 6.1 | 242.8833 | 6.36 | 12.4967 | 22.886 | 880 | 98.0467 | 7.7173
2019-08-19 04:15:00 | 3.96 | 296.2667 | 4.55 | 325.5667 | 6.2 | 2.77 | 6.5433 | 12.98 | 22.75 | 880 | 98.6667 | 7.2687
2019-08-19 04:30:00 | 4.36 | 302.3933 | 5.01 | 332.3 | 5.9 | 237.45 | 6.1967 | 10.5333 | 22.6713 | 880 | 99.1333 | 4.7713
2019-08-19 04:45:00 | 4.4 | 13.882 | 5.064 | 15.248 | 5.568 | 2.456 | 5.5793 | 13.4207 | 22.6367 | 880 | 99.12 | 1.82
2019-08-19 05:00:00 | 3.41 | 227.3567 | 3.9233 | 249.83 | 4.94 | 237.9967 | 4.7933 | 5.0933 | 22.65 | 880 | 98.7667 | 0
2019-08-19 05:15:00 | 1.3033 | 103.22 | 1.5067 | 113.42 | 1.8967 | 350.2333 | 1.97 | 233.38 | 22.6713 | 880 | 98.0667 | 1.252
2019-08-19 05:30:00 | 2.3433 | 195.0133 | 2.7 | 214.3 | 2.8767 | 253.5 | 2.59 | 144.2467 | 22.6767 | 880 | 98.2 | 1.3547
2019-08-19 05:45:00 | 2.26 | 169.3533 | 2.61 | 186.1 | 3.4633 | 223.0667 | 3.1433 | 233.1667 | 22.476 | 880.1333 | 99.6333 | 1.346
2019-08-19 06:00:00 | 0.63333 | 236.82 | 0.73667 | 260.2333 | 1.0967 | 244.8 | 1.7233 | 268.7667 | 22.436 | 881 | 99.9467 | 1.6327
2019-08-19 06:15:00 | 0.57333 | 180.168 | 0.66667 | 197.9867 | 0.83333 | 255.6333 | 1.51 | 245.2333 | 22.404 | 881 | 100 | 3.5913
2019-08-19 06:30:00 | 1.22 | 174.69 | 1.4067 | 191.9667 | 1.8533 | 242.3 | 2.7967 | 252.9 | 22.3533 | 881 | 100 | 5.2913
2019-08-19 06:45:00 | 1.7133 | 156.64 | 1.9733 | 172.1333 | 2.1833 | 184.2333 | 2.1533 | 208.0467 | 22.28 | 881 | 100 | 6.99
2019-08-19 07:00:00 | 1.68 | 172.3533 | 1.94 | 189.4 | 2.27 | 208.1 | 2.7333 | 211.8333 | 22.22 | 881 | 100 | 6.734
2019-08-19 07:15:00 | 0.77667 | 183.8 | 0.89333 | 201.9667 | 1.32 | 176.0667 | 2.4367 | 182.3333 | 22.136 | 881 | 100 | 7.1093
2019-08-19 07:30:00 | 0.45 | 228.9933 | 0.52 | 251.6333 | 0.84667 | 116.6 | 2.05 | 136.6667 | 22.0633 | 881 | 100 | 4.228
2019-08-19 07:45:00 | 1.6 | 287.0533 | 1.8467 | 315.4333 | 1.38 | 324.9333 | 0.79333 | 197.8667 | 21.9887 | 881 | 100 | 2.6847
2019-08-19 08:00:00 | 2.1467 | 105.16 | 2.4733 | 115.56 | 2.5333 | 134.7933 | 1.2133 | 125.5667 | 22.0533 | 881 | 100 | 2.058
2019-08-19 08:15:00 | 3.24 | 103.08 | 3.73 | 113.2667 | 3.7433 | 356.0333 | 2.9433 | 9.2 | 22.1333 | 881 | 100 | 2.1033
2019-08-19 08:30:00 | 3.12 | 309.0467 | 3.59 | 339.6067 | 3.29 | 118.62 | 2.9233 | 23.52 | 22.0813 | 881 | 100 | 1.8887
2019-08-19 08:45:00 | 2.69 | 318.53 | 3.09 | 350.0333 | 3.2333 | 353.5 | 2.6867 | 9.63 | 22.0493 | 881 | 100 | 1.1627
2019-08-19 09:00:00 | 2.7033 | 317.45 | 3.1167 | 348.8333 | 3.12 | 356.9 | 2.5867 | 28.2767 | 22.1267 | 881 | 100 | 0.88133
2019-08-19 09:15:00 | 2.7013 | 308.1207 | 3.1113 | 338.5933 | 3.8447 | 3.972 | 3.314 | 6.6507 | 22.086 | 881.1333 | 100 | 1.184
2019-08-19 09:30:00 | 2.4333 | 318.1367 | 2.7967 | 349.6 | 3.11 | 6.8133 | 2.96 | 20.08 | 22.1633 | 882 | 100 | 0.966
2019-08-19 09:45:00 | 1.7387 | 235.5787 | 2.0033 | 258.8787 | 2.1513 | 3.96 | 2.0913 | 27.252 | 22.2487 | 882 | 100 | 1.1467
2019-08-19 10:00:00 | 2.0367 | 216.55 | 2.3467 | 237.9567 | 2.4667 | 11.2767 | 2.15 | 11.4367 | 22.3047 | 882 | 100 | 1.9287
2019-08-19 10:15:00 | 2.27 | 238.1267 | 2.61 | 261.6733 | 2.8833 | 15.5267 | 2.1633 | 30.3533 | 22.3287 | 882 | 100 | 1.6447
2019-08-19 10:30:00 | 2.2833 | 21.64 | 2.6367 | 23.7733 | 3.0167 | 5.5 | 3.0033 | 27.22 | 22.3547 | 882 | 100 | 2.1987
2019-08-19 10:45:00 | 2.2333 | 104.9267 | 2.5667 | 115.3 | 2.68 | 14.4967 | 2.5233 | 42.79 | 22.3293 | 882 | 100 | 1.8013
2019-08-19 11:00:00 | 2.46 | 110.3133 | 2.8333 | 121.2133 | 2.9267 | 3.3567 | 2.1633 | 31.53 | 22.316 | 882 | 100 | 2.502
2019-08-19 11:15:00 | 2.6133 | 320.6833 | 3.0033 | 352.4 | 3.06 | 20.2667 | 1.9967 | 25.8733 | 22.356 | 882 | 100 | 2.9667
2019-08-19 11:30:00 | 2.5467 | 104.1967 | 2.93 | 114.5 | 3.1267 | 7.6 | 2.3967 | 17.8533 | 22.4587 | 882 | 100 | 2.8647
2019-08-19 11:45:00 | 2.4467 | 202.3733 | 2.82 | 222.38 | 2.8367 | 12.9433 | 1.5667 | 12.6533 | 22.5887 | 882 | 100 | 2.0447
2019-08-19 12:00:00 | 2.5667 | 208.3733 | 2.9533 | 228.98 | 2.9633 | 5.0833 | 2.1467 | 10.8733 | 22.8633 | 882 | 100 | 2.2733
2019-08-19 12:15:00 | 2.46 | 99.46 | 2.83 | 109.2933 | 2.82 | 3.31 | 2.3867 | 16.6867 | 23.0107 | 882 | 99.9 | 1.4627
2019-08-19 12:30:00 | 2.0733 | 262.1467 | 2.3967 | 288.0667 | 2.5133 | 10.6633 | 1.7333 | 24.7867 | 23.1967 | 882 | 99.2333 | 2.6
2019-08-19 12:45:00 | 1.54 | 307.5833 | 1.78 | 338 | 1.74 | 15.7733 | 0.75667 | 117.8533 | 23.3133 | 882 | 98.6667 | 3.396
2019-08-19 13:00:00 | 1.1933 | 107.55 | 1.3733 | 118.1867 | 1.0267 | 11.1867 | 0.69 | 299.6667 | 23.4333 | 882 | 98.6667 | 3.0387
2019-08-19 13:15:00 | 0.91333 | 109.8333 | 1.06 | 120.6867 | 0.48 | 224.5767 | 0.93 | 220.8333 | 23.74 | 882 | 97.8 | 3.2533
2019-08-19 13:30:00 | 0.65333 | 115.08 | 0.75333 | 126.4533 | 0.24 | 21.13 | 0.46333 | 213.7667 | 23.96 | 882 | 97.4 | 2.4653
2019-08-19 13:45:00 | 0.86 | 110.21 | 0.99667 | 121.1067 | 0.34 | 15.1267 | 1.0133 | 229.1 | 24.1927 | 882 | 96.9333 | 1.9187
2019-08-19 14:00:00 | 0.88 | 112.5033 | 1.01 | 123.6333 | 0.24667 | 14.82 | 1.1067 | 217.3 | 24.31 | 882 | 96.6 | 0.93533
2019-08-19 14:15:00 | 1.0267 | 5.5033 | 1.18 | 6.0433 | 0.83 | 87.36 | 1.88 | 208.8667 | 24.7467 | 882 | 94.9 | 0.584
2019-08-19 14:30:00 | 0.98667 | 41.17 | 1.1333 | 45.2433 | 1.2367 | 152.3 | 2.3733 | 187.4667 | 25.48 | 882.4667 | 92.8333 | 1.254
2019-08-19 14:45:00 | 2.16 | 123.25 | 2.49 | 135.4333 | 2.5767 | 185.6 | 2.9667 | 191.5667 | 27.18 | 883 | 87.2 | 1.682
2019-08-19 15:00:00 | 3.0467 | 143.63 | 3.5033 | 157.8333 | 3.57 | 164.8667 | 3.9267 | 185.1667 | 27.8467 | 883 | 82.5333 | 1.6687
2019-08-19 15:15:00 | 2.5467 | 129.7367 | 2.93 | 142.5667 | 3.06 | 194.8333 | 3.26 | 191.4667 | 28.07 | 883.1333 | 81.5333 | 1.3453
2019-08-19 15:30:00 | 2.6933 | 146.6633 | 3.0967 | 161.1667 | 3.2 | 162.8333 | 3.48 | 170.6667 | 28.2633 | 884 | 79.1467 | 1.2213
2019-08-19 15:45:00 | 2.63 | 144.3033 | 3.0267 | 158.5667 | 3.2133 | 185.6667 | 3.3633 | 191.2 | 28.28 | 884 | 78.95 | 1.0667
2019-08-19 16:00:00 | 2.89 | 139.0233 | 3.3333 | 152.7667 | 3.4467 | 192.8 | 3.85 | 181.7333 | 28.2467 | 884 | 77.352 | 0.61733
2019-08-19 16:15:00 | 2.2133 | 144.8167 | 2.5467 | 159.1333 | 2.74 | 188.9667 | 2.6333 | 195.8 | 28.0333 | 883.2 | 78.8567 | 0.062667
2019-08-19 16:30:00 | 1.7333 | 157.31 | 1.9933 | 172.8667 | 2.5467 | 216.4333 | 2.6667 | 222.7333 | 28.1733 | 883 | 79.9173 | 0.332
2019-08-19 16:45:00 | 1.6333 | 172.1433 | 1.8767 | 189.1667 | 2.33 | 230.1 | 2.5067 | 215.84 | 28.0513 | 883 | 80.7133 | 0
2019-08-19 17:00:00 | 1.0133 | 181.4233 | 1.1633 | 199.3667 | 1.3767 | 235.1 | 1.6333 | 247.9667 | 28.1267 | 883 | 80.5333 | 0
2019-08-19 17:15:00 | 1.07 | 176.7947 | 1.2327 | 194.28 | 1.7213 | 234.5867 | 2.1887 | 244.3667 | 28.7527 | 883 | 78.3407 | 0
2019-08-19 17:30:00 | 0.78 | 143.4467 | 0.90667 | 157.6333 | 0.94667 | 215.5667 | 1.1833 | 165.3 | 28.8233 | 883 | 76.9 | 0
2019-08-19 17:45:00 | 0.02 | 3.28 | 0.02 | 3.6 | 0 | 157 | 0.033333 | 200 | 28.0333 | 883 | 81.4 | 0
2019-08-19 18:00:00 | 0.57333 | 3.2667 | 0.66667 | 3.58 | 0.61333 | 240.0667 | 0.47333 | 280.8 | 27.82 | 883 | 82.1533 | 0
2019-08-19 18:15:00 | 0.97 | 321.75 | 1.12 | 353.5667 | 0.84333 | 305.2533 | 0.74333 | 203.7667 | 26.9033 | 882.2 | 85.4333 | 0
2019-08-19 18:30:00 | 0.89667 | 293.67 | 1.0467 | 322.7 | 0.90333 | 288.1667 | 1.0367 | 284.2333 | 25.5833 | 882 | 90.5 | 0
2019-08-19 18:45:00 | 1.24 | 304.9767 | 1.4233 | 335.1333 | 0.93 | 228.5667 | 0.086667 | 151.38 | 24.64 | 881.8667 | 90.3333 | 0
2019-08-19 19:00:00 | 2.1933 | 103.53 | 2.5233 | 113.76 | 2.6367 | 19.92 | 1.8333 | 20.3467 | 24.4267 | 881.4667 | 94.2667 | 0
2019-08-19 19:15:00 | 2.44 | 306.6667 | 2.8133 | 337 | 3.28 | 8.0033 | 2.9633 | 30.37 | 24.2967 | 882 | 96.7333 | 0
2019-08-19 19:30:00 | 2.4267 | 106.86 | 2.8 | 117.42 | 3.46 | 25.4967 | 3.1767 | 29.2567 | 24.1633 | 882 | 96.4467 | 0.043333
2019-08-19 19:45:00 | 2.4933 | 311.59 | 2.8733 | 342.4 | 3.4633 | 18.2567 | 3.3067 | 27.4633 | 24.0133 | 882 | 95.9867 | 0.17
2019-08-19 20:00:00 | 2.52 | 102.41 | 2.9067 | 112.5333 | 3.39 | 10.0967 | 3.46 | 18.2167 | 24.08 | 882 | 96.2333 | 0.174
2019-08-19 20:15:00 | 2.5667 | 23.43 | 2.96 | 25.7433 | 3.6 | 10.9267 | 3.8467 | 22.8667 | 24.1707 | 882 | 97.5667 | 0.95133
2019-08-19 20:30:00 | 2.8333 | 20.8167 | 3.2667 | 22.8767 | 4.0533 | 2.5533 | 3.7133 | 19.64 | 24.25 | 882 | 98.3 | 1.3493
2019-08-19 20:45:00 | 3.0147 | 299.2547 | 3.4673 | 328.8493 | 3.9967 | 11.2153 | 3.592 | 17.2307 | 24.3433 | 882 | 98.4133 | 1.2493
2019-08-19 21:00:00 | 3.1633 | 319.9567 | 3.6433 | 351.6 | 4.1433 | 17.21 | 3.9067 | 17.2367 | 24.44 | 882 | 98.0333 | 1.2287
2019-08-19 21:15:00 | 3.18 | 120.62 | 3.6567 | 132.5467 | 4.31 | 9.4967 | 4.23 | 18.76 | 24.3773 | 882 | 98.1 | 1.4433
2019-08-19 21:30:00 | 3.3067 | 321.1667 | 3.8033 | 352.9333 | 4.2033 | 15.3767 | 4.45 | 19.8467 | 24.346 | 882 | 97.8333 | 1.4973
2019-08-19 21:45:00 | 3.3133 | 319.9267 | 3.8133 | 351.5667 | 4.2033 | 124.1 | 4.1633 | 118.76 | 24.3167 | 882 | 97.4867 | 1.324
2019-08-19 22:00:00 | 3.5667 | 320.78 | 4.1067 | 352.5 | 4.4367 | 119.0333 | 4.2367 | 127.48 | 24.3393 | 882.4667 | 97.4467 | 1.856
2019-08-19 22:15:00 | 3.66 | 6.2933 | 4.2067 | 6.9067 | 4.7933 | 118.42 | 4.3833 | 8.3067 | 24.2547 | 883 | 97.9667 | 1.084
2019-08-19 22:30:00 | 3.5267 | 5.6467 | 4.06 | 6.1933 | 4.8067 | 121.6733 | 4.4033 | 4.0333 | 24.1733 | 883 | 98.2333 | 0.476
2019-08-19 22:45:00 | 3.2067 | 115.6333 | 3.7 | 127.0667 | 4.1567 | 235.3833 | 3.72 | 12.1633 | 24.0573 | 883 | 98.5867 | 0.31
2019-08-19 23:00:00 | 3.3467 | 319.42 | 3.8533 | 351 | 4.2167 | 0.15 | 3.5667 | 5.49 | 24.0067 | 883 | 98.4533 | 0.84933
2019-08-19 23:15:00 | 3.3933 | 208.4567 | 3.9033 | 229.06 | 4.1833 | 7.42 | 3.7833 | 13.1767 | 24.0427 | 883 | 97.9867 | 1.7127
2019-08-19 23:30:00 | 3.4733 | 10.8367 | 3.9967 | 11.9067 | 4.4167 | 5.4067 | 4.1853 | 11.5567 | 24.0553 | 883 | 97.9467 | 1.5727
2019-08-19 23:45:00 | 3.3667 | 241.82 | 3.8733 | 265.7333 | 3.8467 | 8.29 | 3.7967 | 18.7267 | 24.0527 | 883 | 97.9067 | 1.4933