## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-20 00:00:00 | 3.4257 | 237.5443 | 3.9521 | 261.0286 | 4.0014 | 3.7929 | 3.8014 | 8.9407 | 24.0057 | 883 | 98.25 | 1.3014
2019-08-20 00:15:00 | 3.51 | 215.9367 | 4.0467 | 237.29 | 4.2433 | 238.3867 | 4.1667 | 5.9133 | 23.9027 | 883 | 98.6667 | 0.908
2019-08-20 00:30:00 | 3.6633 | 3.5167 | 4.2133 | 3.8633 | 4.4633 | 238.3867 | 3.9933 | 3.1267 | 23.96 | 883 | 97.9333 | 0.724
2019-08-20 00:45:00 | 2.74 | 317.38 | 3.1533 | 348.7667 | 3.1167 | 2.38 | 2.2733 | 6.6733 | 24.008 | 883 | 97.3 | 0.85467
2019-08-20 01:00:00 | 2.5467 | 319.1467 | 2.9333 | 350.7 | 2.8167 | 237.98 | 1.6067 | 237.98 | 24.0067 | 883 | 97.2333 | 0.67467
2019-08-20 01:15:00 | 2.72 | 312.3767 | 3.1287 | 343.2667 | 3.1493 | 237.3767 | 2.134 | 65.44 | 23.9413 | 883 | 97.9 | 0.52667
2019-08-20 01:30:00 | 3.04 | 305.8767 | 3.5033 | 336.1333 | 3.7867 | 0.17667 | 3.5867 | 0.46667 | 23.8267 | 883 | 98.6 | 1.0167
2019-08-20 01:45:00 | 3.3 | 104.47 | 3.8033 | 114.8 | 4.1667 | 2.5367 | 3.7287 | 9.0233 | 23.7133 | 883 | 99.0667 | 1.2107
2019-08-20 02:00:00 | 3.4467 | 162.19 | 3.97 | 178.2333 | 3.8733 | 0.15667 | 3.0133 | 27.47 | 23.6893 | 883 | 99.1533 | 0.76667
2019-08-20 02:15:00 | 3.5367 | 107.5667 | 4.0733 | 118.2 | 3.97 | 3.2467 | 3.2633 | 11.19 | 23.7673 | 882.2 | 98.3333 | 0.98467
2019-08-20 02:30:00 | 2.8367 | 317.9867 | 3.26 | 349.4333 | 3.2967 | 239.58 | 2.4633 | 237.3767 | 23.764 | 882 | 98 | 1.2693
2019-08-20 02:45:00 | 2.9767 | 6.6067 | 3.4233 | 7.26 | 3.5667 | 3.8567 | 2.8433 | 12.0767 | 23.64 | 882 | 98.8333 | 0.99533
2019-08-20 03:00:00 | 3.0433 | 215.5867 | 3.5033 | 236.9067 | 3.3867 | 30.1767 | 3.25 | 15.1833 | 23.6333 | 882 | 98.6333 | 0.906
2019-08-20 03:15:00 | 2.91 | 320.6833 | 3.3467 | 352.4 | 3.2633 | 8.3233 | 3.4267 | 10.6267 | 23.5367 | 882 | 99.1 | 1.0127
2019-08-20 03:30:00 | 2.9767 | 270.27 | 3.4267 | 297 | 3.5233 | 13.6367 | 3.6733 | 12.18 | 23.4453 | 882 | 99.9 | 1.1813
2019-08-20 03:45:00 | 2.7533 | 213.6567 | 3.18 | 234.7867 | 3.31 | 10.9833 | 3.7667 | 18.0133 | 23.4393 | 882 | 100 | 1.84
2019-08-20 04:00:00 | 3.1267 | 211.4767 | 3.6 | 232.3867 | 3.5167 | 8.91 | 3.8333 | 15.78 | 23.4053 | 882 | 100 | 1.9447
2019-08-20 04:15:00 | 2.92 | 308.7333 | 3.3567 | 339.2667 | 3.11 | 8.4733 | 3.48 | 25.57 | 23.3813 | 882 | 100 | 1.7093
2019-08-20 04:30:00 | 3.24 | 314.9867 | 3.7233 | 346.1333 | 3.5767 | 6.38 | 4.0133 | 20.4167 | 23.3507 | 882 | 100 | 1.1527
2019-08-20 04:45:00 | 3.0067 | 319.884 | 3.4567 | 351.5133 | 3.3733 | 13.4967 | 3.6567 | 23.8333 | 23.3293 | 882 | 100 | 1.1433
2019-08-20 05:00:00 | 2.9667 | 317.57 | 3.4167 | 348.9667 | 3.1933 | 19.9233 | 2.35 | 40.34 | 23.3007 | 882 | 100 | 2.2607
2019-08-20 05:15:00 | 2.86 | 314.0767 | 3.29 | 345.1333 | 3.0067 | 11.96 | 2.0533 | 18.7933 | 23.278 | 882 | 100 | 3.498
2019-08-20 05:30:00 | 2.4067 | 323.7833 | 2.7767 | 355.8 | 2.4467 | 6.96 | 1.36 | 20.72 | 23.36 | 882 | 100 | 3.75
2019-08-20 05:45:00 | 1.16 | 109.9167 | 1.3433 | 120.78 | 0.65 | 88.6533 | 0.65667 | 159.6667 | 23.5767 | 882 | 99.54 | 3.0853
2019-08-20 06:00:00 | 1.1333 | 311.8367 | 1.31 | 342.6667 | 0.29667 | 307.7667 | 1.0833 | 139.1333 | 23.6767 | 882 | 98.6333 | 2.5087
2019-08-20 06:15:00 | 1.0867 | 295.4833 | 1.25 | 324.7 | 0.30333 | 348.1133 | 1.04 | 194.4667 | 23.7167 | 882.8 | 98.1 | 3.3993
2019-08-20 06:30:00 | 0.7 | 308.3967 | 0.81667 | 338.9 | 0.15667 | 291.1667 | 0.95333 | 231.0667 | 23.764 | 883 | 97.7 | 4.146
2019-08-20 06:45:00 | 0.62667 | 298.94 | 0.72667 | 328.5 | 0.64667 | 214.9 | 1.9733 | 208.1333 | 23.744 | 883 | 98 | 4.3753
2019-08-20 07:00:00 | 0.48 | 298.94 | 0.56667 | 328.5 | 0.96667 | 207.0533 | 2.1333 | 205.9333 | 23.7007 | 883 | 98.0467 | 4.8873
2019-08-20 07:15:00 | 0.62667 | 273.9 | 0.72667 | 300.9867 | 1.2133 | 205.1667 | 2.2867 | 188.5 | 23.6593 | 883 | 97.8867 | 5.0313
2019-08-20 07:30:00 | 0.64 | 220.44 | 0.74667 | 242.2333 | 1.1667 | 227.3667 | 1.7867 | 193.36 | 23.7 | 883 | 96.6667 | 5.1013
2019-08-20 07:45:00 | 0.47333 | 223.5867 | 0.55333 | 245.7 | 0.8 | 214.8 | 1.4367 | 217.7333 | 23.9033 | 883 | 94.3667 | 5.3293
2019-08-20 08:00:00 | 0.84667 | 197.9333 | 0.97333 | 217.5 | 1.4867 | 225 | 1.99 | 213.0467 | 24.01 | 883.4667 | 93.2333 | 5.3307
2019-08-20 08:15:00 | 0.99333 | 187.11 | 1.1467 | 205.6 | 1.5533 | 207.5667 | 2.22 | 233.2333 | 24.0553 | 884 | 93.3 | 5.22
2019-08-20 08:30:00 | 0.62667 | 186.8033 | 0.72667 | 205.2667 | 1.08 | 228.6333 | 2.0667 | 219.2333 | 24.0513 | 884 | 93.9667 | 4.692
2019-08-20 08:45:00 | 0.62 | 186.714 | 0.72 | 205.18 | 1.2133 | 219.4667 | 2.11 | 213.3333 | 24.0467 | 884 | 94.9333 | 4.1087
2019-08-20 09:00:00 | 1.1267 | 204.81 | 1.3 | 225.0667 | 2.0933 | 219.6667 | 2.7433 | 216.2 | 24.1533 | 884 | 94.2667 | 4.748
2019-08-20 09:15:00 | 1.5933 | 172.02 | 1.8333 | 189.0333 | 2.6867 | 223.9333 | 2.6767 | 219.1667 | 24.5267 | 884 | 88.3667 | 5.234
2019-08-20 09:30:00 | 1.78 | 166.442 | 2.052 | 182.9 | 2.81 | 228.66 | 2.984 | 224.62 | 24.784 | 884 | 87.28 | 4.6633
2019-08-20 09:45:00 | 1.74 | 176.03 | 2.01 | 193.4333 | 2.35 | 215.4333 | 2.8067 | 214.0667 | 25.2667 | 884.8 | 89.9667 | 3.086
2019-08-20 10:00:00 | 1.9867 | 174.0233 | 2.29 | 191.2333 | 2.73 | 228.3667 | 2.88 | 225.9333 | 25.8933 | 885 | 87.1667 | 3.9847
2019-08-20 10:15:00 | 2.1067 | 176.1167 | 2.4267 | 193.5333 | 2.89 | 222.1 | 2.97 | 220.1667 | 26.0787 | 885 | 85.7667 | 3.176
2019-08-20 10:30:00 | 2.0133 | 175.3233 | 2.32 | 192.6667 | 2.5367 | 210.7 | 2.95 | 208.0333 | 26.5 | 885 | 86.4333 | 1.8687
2019-08-20 10:45:00 | 2.5167 | 143.8767 | 2.9 | 158.1 | 2.8933 | 181.7333 | 3.0633 | 203.9667 | 27.0467 | 885 | 84.3 | 1.6393
2019-08-20 11:00:00 | 2.3033 | 140.4767 | 2.6467 | 154.3667 | 2.7 | 205.8667 | 2.87 | 197.5 | 26.4733 | 885 | 85.8333 | 1.6607
2019-08-20 11:15:00 | 1.9833 | 147.5467 | 2.29 | 162.1333 | 2.3933 | 226.3 | 2.5967 | 216.1333 | 26.4967 | 885 | 84 | 1.9127
2019-08-20 11:30:00 | 2.3167 | 173.9333 | 2.6633 | 191.1333 | 3.0067 | 220.3667 | 3.0167 | 196.4 | 26.8333 | 885.4667 | 82.2 | 2.1853
2019-08-20 11:45:00 | 2.6393 | 179.514 | 3.0347 | 197.26 | 3.2947 | 193.3733 | 3.2353 | 184.5933 | 27.0013 | 886 | 80.8013 | 2.9873
2019-08-20 12:00:00 | 3.0267 | 191.38 | 3.4833 | 210.3 | 3.82 | 198.8467 | 3.7433 | 192.1667 | 27.1533 | 886 | 79.7067 | 2.0453
2019-08-20 12:15:00 | 2.8933 | 172.9867 | 3.3333 | 190.1 | 3.59 | 190.2667 | 3.73 | 194.5067 | 27.5633 | 886 | 78.6833 | 1.0933
2019-08-20 12:30:00 | 3.0267 | 146.6 | 3.48 | 161.1 | 3.57 | 176.4667 | 3.75 | 190.8 | 28.0967 | 886 | 76.5567 | 0.72333
2019-08-20 12:45:00 | 3.1713 | 154.8067 | 3.6453 | 170.1133 | 3.7073 | 170.6933 | 3.9433 | 179.8133 | 28.5307 | 886 | 73.4647 | 1.008
2019-08-20 13:00:00 | 3.2133 | 173.58 | 3.7 | 190.7333 | 3.7667 | 161.5667 | 4.0567 | 191.2333 | 28.7433 | 886 | 71.0167 | 0.71067
2019-08-20 13:15:00 | 2.9467 | 191.7733 | 3.3867 | 210.7333 | 3.5867 | 143.8333 | 3.6833 | 161.9333 | 28.8767 | 886 | 70.4793 | 0.206
2019-08-20 13:30:00 | 2.2333 | 142.5667 | 2.5733 | 156.6667 | 2.7067 | 201.5667 | 2.6967 | 187.2667 | 28.86 | 886 | 71.44 | 0
2019-08-20 13:45:00 | 1.88 | 116.3667 | 2.1633 | 127.8667 | 2.2833 | 147.2 | 2.46 | 165.8333 | 29.1067 | 885.2 | 71.68 | 0
2019-08-20 14:00:00 | 1.7333 | 157.5 | 2.0033 | 173.0667 | 2.03 | 170.4667 | 2.2667 | 213.2333 | 29.3333 | 885 | 69.0067 | 0
2019-08-20 14:15:00 | 1.4867 | 175.5667 | 1.7167 | 192.9333 | 1.98 | 209.3667 | 1.9867 | 203.8 | 29.53 | 885 | 68.49 | 0
2019-08-20 14:30:00 | 1.2867 | 165.62 | 1.49 | 182 | 1.7333 | 180.8333 | 1.66 | 220.9333 | 29.1633 | 885 | 70.2367 | 0
2019-08-20 14:45:00 | 0.772 | 185.754 | 0.886 | 204.12 | 1.182 | 237.7 | 1.164 | 264.08 | 29.414 | 885 | 70.856 | 0
2019-08-20 15:00:00 | 0.78 | 206.39 | 0.90333 | 226.8 | 1.4167 | 301.5667 | 1.62 | 337.6 | 29.4233 | 885 | 69.6467 | 0
2019-08-20 15:15:00 | 1.7467 | 204.48 | 2.0167 | 224.7 | 3.25 | 328.1667 | 3.31 | 328.5 | 29.2733 | 885 | 73.81 | 0
2019-08-20 15:30:00 | 1.52 | 113.1533 | 1.75 | 124.3333 | 2.57 | 345.2333 | 2.5567 | 329.2333 | 28.9933 | 885 | 74.9967 | 0
2019-08-20 15:45:00 | 1.6133 | 112.39 | 1.8633 | 123.5 | 2.38 | 339.1333 | 1.9867 | 249.1667 | 28.92 | 885 | 75.9367 | 0
2019-08-20 16:00:00 | 2.08 | 111.5633 | 2.4033 | 122.5933 | 3.4533 | 120.1 | 3.2467 | 35.0733 | 28.94 | 885 | 77.3433 | 0.218
2019-08-20 16:15:00 | 2.6367 | 103.1667 | 3.03 | 113.36 | 4.84 | 20.8733 | 4.7667 | 22.67 | 28.8467 | 885 | 76.59 | 9.6287
2019-08-20 16:30:00 | 4.8767 | 98.1667 | 5.61 | 107.8667 | 8.7733 | 25.78 | 8.9933 | 17.67 | 27.9267 | 885 | 78.7767 | 32.1093
2019-08-20 16:45:00 | 5.51 | 97.98 | 6.3467 | 107.66 | 9.8267 | 13.36 | 9.99 | 24.31 | 27.1033 | 885 | 77.4633 | 41.572
2019-08-20 17:00:00 | 6.0833 | 209.3667 | 7 | 230.0667 | 10.9933 | 11.4667 | 10.9767 | 25.4167 | 26.8567 | 885 | 75.0193 | 47.6533
2019-08-20 17:15:00 | 7.3867 | 183.8533 | 8.4933 | 202.0333 | 13.2033 | 7.48 | 13.2067 | 26.18 | 25.15 | 884.8667 | 76.3733 | 50.9967
2019-08-20 17:30:00 | 7.6867 | 110.48 | 8.84 | 121.4 | 13.6033 | 15.7533 | 13.8267 | 29.2533 | 24.2767 | 884 | 76.5333 | 54.3553
2019-08-20 17:45:00 | 7.8467 | 118.3433 | 9.0267 | 130.0467 | 13.97 | 9.9433 | 13.6533 | 18.6733 | 23.7967 | 884 | 77.61 | 55.1087
2019-08-20 18:00:00 | 7.72 | 119.19 | 8.88 | 130.98 | 13.8633 | 6.9967 | 14.12 | 21.8667 | 23.7593 | 884 | 78.3473 | 57.1233
2019-08-20 18:15:00 | 8.3033 | 198.9733 | 9.56 | 218.6567 | 14.71 | 25.9667 | 15.15 | 28.4533 | 23.33 | 884 | 79.2067 | 56.532
2019-08-20 18:30:00 | 8.3433 | 193.4 | 9.6067 | 212.5233 | 14.8767 | 19.6933 | 15.23 | 31.92 | 22.7633 | 884 | 80.7667 | 57.9007
2019-08-20 18:45:00 | 8.3667 | 208.8733 | 9.6233 | 229.5333 | 14.6633 | 29.08 | 14.9733 | 32.5933 | 22.3933 | 884 | 80.3 | 58.2807
2019-08-20 19:00:00 | 8.6467 | 10.94 | 9.9433 | 12.02 | 15.3633 | 24.14 | 15.76 | 34.8467 | 22.2267 | 884 | 80.7 | 58.7647
2019-08-20 19:15:00 | 8.346 | 140.606 | 9.5993 | 154.5087 | 15.0027 | 15.8287 | 15.21 | 25.6767 | 21.978 | 884 | 81.5867 | 57.8013
2019-08-20 19:30:00 | 7.57 | 222.68 | 8.7067 | 244.7 | 13.6333 | 23.5333 | 13.79 | 28.85 | 21.8333 | 884 | 81.9467 | 56.644
2019-08-20 19:45:00 | 7.9867 | 195.81 | 9.1833 | 215.1667 | 14.44 | 12.92 | 14.7467 | 31.23 | 21.74 | 884 | 82.08 | 56.4907
2019-08-20 20:00:00 | 8.1333 | 296.2033 | 9.35 | 325.5 | 14.7467 | 17.6667 | 14.8733 | 28.8433 | 21.6467 | 884 | 81.8333 | 56.9187
2019-08-20 20:15:00 | 7.9267 | 116.7787 | 9.112 | 128.324 | 14.2813 | 10.2653 | 14.644 | 30.2627 | 21.4647 | 884 | 82.24 | 56.5267
2019-08-20 20:30:00 | 8.0733 | 98.1333 | 9.2867 | 107.83 | 14.63 | 18.5567 | 14.9267 | 24.0567 | 21.4767 | 884 | 81.9333 | 56.148
2019-08-20 20:45:00 | 8.0133 | 235.0633 | 9.2133 | 258.3 | 14.6067 | 16.5067 | 14.7433 | 28.8867 | 21.4113 | 884.1333 | 81.88 | 54.2913
2019-08-20 21:00:00 | 7.7133 | 58.7233 | 8.8733 | 64.52 | 14.1533 | 19.5667 | 14.2433 | 27.8533 | 21.4107 | 885 | 81.5 | 53.922
2019-08-20 21:15:00 | 7.5233 | 73.202 | 8.652 | 80.43 | 13.6873 | 15.446 | 13.818 | 26.7733 | 21.4293 | 885 | 80.5667 | 54.7387
2019-08-20 21:30:00 | 7.58 | 144.5733 | 8.72 | 158.8667 | 13.5633 | 22.6133 | 13.58 | 37.76 | 21.4853 | 885 | 80.2 | 54.7513
2019-08-20 21:45:00 | 7.88 | 156.7333 | 9.0733 | 172.2333 | 14.16 | 17.7667 | 14.22 | 24.43 | 21.442 | 885 | 79.9867 | 55.436
2019-08-20 22:00:00 | 7.9 | 279.16 | 9.0867 | 306.7667 | 14.3533 | 18.38 | 14.1247 | 30.2633 | 21.34 | 885 | 80.5667 | 55.064
2019-08-20 22:15:00 | 7.8933 | 153.2567 | 9.0833 | 168.4167 | 14.2887 | 25.04 | 14.4933 | 27.9867 | 21.284 | 885 | 79.9907 | 54.5587
2019-08-20 22:30:00 | 7.9133 | 69.3033 | 9.11 | 76.15 | 14.3467 | 19.9533 | 14.54 | 30.84 | 21.2 | 885 | 80.2433 | 54.3947
2019-08-20 22:45:00 | 7.5267 | 189.01 | 8.6667 | 207.7 | 13.7733 | 15.9733 | 14.04 | 20.7433 | 21.0033 | 885 | 80.8 | 54.9047
2019-08-20 23:00:00 | 7.56 | 247.37 | 8.6933 | 271.8333 | 13.7867 | 17.22 | 14.44 | 27.39 | 20.8967 | 885 | 81.0667 | 54.2733
2019-08-20 23:15:00 | 7.4033 | 142.42 | 8.5167 | 156.5 | 13.5467 | 10.49 | 13.6833 | 27.3233 | 20.7913 | 885 | 80.9 | 53.5773
2019-08-20 23:30:00 | 7.17 | 179.3067 | 8.2433 | 197.0333 | 12.8467 | 20.0967 | 12.99 | 25.01 | 20.84 | 885 | 80.3 | 52.4373
2019-08-20 23:45:00 | 6.9267 | 101.99 | 7.9633 | 112.0667 | 12.3133 | 14.94 | 12.4333 | 25.1 | 20.88 | 885 | 80.0333 | 54.172