## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-21 00:00:00 | 7.0871 | 121.67 | 8.155 | 133.6929 | 12.7886 | 22.9479 | 12.9293 | 27.455 | 20.7786 | 885 | 80.9357 | 54.6007
2019-08-21 00:15:00 | 6.81 | 191.02 | 7.8333 | 209.9 | 12.52 | 13.0933 | 12.7 | 23.6067 | 20.6153 | 885 | 81.2333 | 53.228
2019-08-21 00:30:00 | 6.4967 | 175.6 | 7.4733 | 192.9667 | 11.7533 | 18.86 | 11.98 | 24.22 | 20.6593 | 885 | 80.5 | 52.962
2019-08-21 00:45:00 | 6.85 | 239.69 | 7.89 | 263.4 | 12.08 | 12.5733 | 12.0733 | 21.6833 | 20.734 | 885 | 79.8787 | 54.1893
2019-08-21 01:00:00 | 7.1967 | 203.05 | 8.2833 | 223.1333 | 12.5333 | 12.54 | 12.1933 | 19.71 | 20.6933 | 885 | 80.1333 | 54.3327
2019-08-21 01:15:00 | 7.1033 | 305.97 | 8.1667 | 336.2333 | 12.674 | 8.6867 | 12.4933 | 16.15 | 20.6867 | 885 | 80.0133 | 54.284
2019-08-21 01:30:00 | 6.8767 | 221.59 | 7.9133 | 243.5 | 12.6233 | 15.7467 | 12.74 | 19.5567 | 20.54 | 884.5333 | 80.6467 | 54.976
2019-08-21 01:45:00 | 7.0067 | 219.4067 | 8.0633 | 241.1 | 12.6367 | 14.4533 | 12.7033 | 20.3367 | 20.5127 | 884 | 80.4667 | 53.918
2019-08-21 02:00:00 | 6.9267 | 267.6933 | 7.97 | 294.1667 | 12.2433 | 14.6933 | 12.2967 | 21.6033 | 20.62 | 884 | 79.66 | 53.4967
2019-08-21 02:15:00 | 6.6867 | 143.6867 | 7.69 | 157.8933 | 12.31 | 15.0467 | 12.0967 | 26.2133 | 20.56 | 884 | 80.2 | 53.7373
2019-08-21 02:30:00 | 6.8 | 105.1667 | 7.8233 | 115.56 | 12.3233 | 8.7933 | 12.0833 | 19.2467 | 20.506 | 884 | 80.2667 | 50.3887
2019-08-21 02:45:00 | 6.2967 | 189.95 | 7.2467 | 208.7333 | 11.0633 | 8.95 | 10.9567 | 17.06 | 20.4527 | 884 | 80.38 | 49.4207
2019-08-21 03:00:00 | 6.41 | 116.6367 | 7.3733 | 128.1667 | 11.1767 | 13.07 | 11.1167 | 20.9333 | 20.4567 | 884 | 80.0333 | 52.1553
2019-08-21 03:15:00 | 6.5467 | 159.9867 | 7.5433 | 175.8 | 11.4033 | 14.7827 | 11.192 | 12.0933 | 20.4147 | 883.8667 | 80.3667 | 54.1453
2019-08-21 03:30:00 | 6.9733 | 124.4333 | 8.0233 | 136.7333 | 12.1233 | 12.4 | 11.99 | 21.0733 | 20.3213 | 883 | 80.5467 | 54.2173
2019-08-21 03:45:00 | 7.1267 | 155.61 | 8.2067 | 171 | 12.6467 | 10.5567 | 12.34 | 17.3433 | 20.246 | 883 | 80.6667 | 54.464
2019-08-21 04:00:00 | 7.2933 | 138.6233 | 8.4 | 152.3333 | 12.84 | 9.13 | 12.58 | 18.7567 | 20.2013 | 883 | 80.6467 | 55.46
2019-08-21 04:15:00 | 7.1833 | 214.06 | 8.2567 | 235.2333 | 12.81 | 10.59 | 12.8 | 23.62 | 20.08 | 883 | 81.3 | 55.6847
2019-08-21 04:30:00 | 7.05 | 159.9467 | 8.11 | 175.7667 | 12.89 | 9.71 | 12.8 | 23.4267 | 20 | 883 | 81.7 | 54.472
2019-08-21 04:45:00 | 6.61 | 111.46 | 7.6 | 122.4867 | 12.03 | 7.2533 | 11.9333 | 25.55 | 19.8733 | 883 | 81.98 | 52.832
2019-08-21 05:00:00 | 6.5967 | 181.88 | 7.5867 | 199.8667 | 12.0633 | 19.1267 | 12.0667 | 28.09 | 19.8493 | 883 | 82 | 51.642
2019-08-21 05:15:00 | 6.58 | 217.3467 | 7.5733 | 238.8333 | 11.7133 | 8.16 | 11.6233 | 24.0667 | 19.8693 | 883 | 81.5333 | 52.1373
2019-08-21 05:30:00 | 6.4333 | 168.5667 | 7.4067 | 185.2333 | 11.4533 | 7.88 | 11.35 | 19.76 | 19.9207 | 883 | 81.4 | 53
2019-08-21 05:45:00 | 6.56 | 222.06 | 7.5467 | 244.0167 | 11.33 | 11.5533 | 11.2233 | 11.09 | 19.9773 | 883 | 81.1667 | 54.2933
2019-08-21 06:00:00 | 6.7467 | 13.48 | 7.7667 | 14.8167 | 12.2167 | 8.6867 | 12.1633 | 17.05 | 19.8733 | 883 | 81.8333 | 53.8793
2019-08-21 06:15:00 | 6.5733 | 157.28 | 7.56 | 172.8333 | 11.9867 | 9.3767 | 12.2013 | 16.6733 | 19.8273 | 883.1333 | 81.6867 | 52.2913
2019-08-21 06:30:00 | 6.88 | 102.28 | 7.9133 | 112.3867 | 11.9467 | 9.55 | 11.7567 | 20.6067 | 19.93 | 883.5333 | 80.6 | 53.138
2019-08-21 06:45:00 | 6.5533 | 101.68 | 7.54 | 111.7333 | 11.0033 | 9.1633 | 10.7533 | 17.58 | 20.0533 | 883.8 | 80.4333 | 52.84
2019-08-21 07:00:00 | 6.8333 | 134.48 | 7.8667 | 147.78 | 11.3967 | 5.65 | 11.3267 | 8.28 | 20.08 | 884 | 80.5667 | 52.57
2019-08-21 07:15:00 | 7.0467 | 309.4133 | 8.1 | 340 | 11.6633 | 28.25 | 11.4367 | 15.07 | 20.3133 | 884 | 79.8433 | 51.47
2019-08-21 07:30:00 | 6.5333 | 275.68 | 7.5133 | 302.9333 | 10.89 | 75.4833 | 10.75 | 236.23 | 20.4013 | 884 | 79.5773 | 50.6873
2019-08-21 07:45:00 | 6.5867 | 121.9733 | 7.5733 | 134.0333 | 11.2567 | 1.6333 | 11.0733 | 26.66 | 20.3667 | 884 | 80.2 | 50.8993
2019-08-21 08:00:00 | 6.5933 | 284.6267 | 7.5933 | 312.7667 | 11.1167 | 7.92 | 10.9933 | 31.1933 | 20.394 | 884 | 80.2667 | 51.756
2019-08-21 08:15:00 | 6.71 | 106.4267 | 7.72 | 116.94 | 10.9033 | 10.3033 | 10.7333 | 138.8933 | 20.54 | 884.1333 | 79.82 | 51.0953
2019-08-21 08:30:00 | 6.3433 | 277.9467 | 7.3067 | 305.4333 | 10.7567 | 1.1033 | 10.6933 | 129.8867 | 20.56 | 885 | 80.22 | 49.814
2019-08-21 08:45:00 | 6.5287 | 236.444 | 7.5133 | 259.8173 | 11.6213 | 14.0793 | 11.356 | 14.7213 | 20.5693 | 885 | 80.848 | 50.9827
2019-08-21 09:00:00 | 6.6233 | 21.3567 | 7.6133 | 23.46 | 11.3533 | 15.87 | 11.2333 | 14.4133 | 20.9233 | 885 | 79.6667 | 50.266
2019-08-21 09:15:00 | 6.7 | 268.7233 | 7.71 | 295.3 | 11.3567 | 11.89 | 10.99 | 21.37 | 21.7433 | 885 | 77.3433 | 49.128
2019-08-21 09:30:00 | 6.7267 | 232.8167 | 7.7433 | 255.8333 | 11.79 | 4.4433 | 11.6233 | 27.5433 | 22.59 | 885 | 75.47 | 49.794
2019-08-21 09:45:00 | 6.5633 | 249.8867 | 7.5467 | 274.6 | 12.1113 | 13.2067 | 11.9767 | 19.1867 | 23.4967 | 885.1333 | 74.25 | 49.852
2019-08-21 10:00:00 | 6.67 | 308.0667 | 7.68 | 338.5333 | 12.1867 | 15.9267 | 12.0967 | 24.1267 | 24.0967 | 886 | 72.29 | 50.866
2019-08-21 10:15:00 | 7.0333 | 135.8267 | 8.0867 | 149.2467 | 12.8413 | 12.4467 | 12.7467 | 22.2333 | 24.3687 | 886 | 71.5867 | 49.8413
2019-08-21 10:30:00 | 7.2067 | 230.7 | 8.2933 | 253.5133 | 12.7633 | 2.62 | 12.6933 | 26.1533 | 24.4433 | 886 | 69.8533 | 49.7393
2019-08-21 10:45:00 | 7.24 | 247.3067 | 8.3367 | 271.7667 | 13.02 | 5.6067 | 12.82 | 22.98 | 24.46 | 886 | 71.2867 | 47.628
2019-08-21 11:00:00 | 6.8267 | 107.72 | 7.8567 | 118.3667 | 12.1533 | 19.18 | 11.8 | 15.22 | 24.7667 | 886 | 70.3933 | 45.274
2019-08-21 11:15:00 | 7.4 | 25.8333 | 8.51 | 28.38 | 13.04 | 3.04 | 12.45 | 22.2667 | 24.4633 | 886 | 71.206 | 43.764
2019-08-21 11:30:00 | 7.0067 | 49.86 | 8.0633 | 54.7867 | 12.3293 | 11.82 | 11.8567 | 21.4267 | 24.7033 | 886 | 71.3733 | 42.572
2019-08-21 11:45:00 | 6.7467 | 192.5 | 7.7667 | 211.5333 | 12.1367 | 13.5467 | 11.6567 | 15.43 | 25.43 | 886 | 71.2733 | 42.8067
2019-08-21 12:00:00 | 6.4067 | 115.82 | 7.3647 | 127.2667 | 11.31 | 9.82 | 11.0633 | 15.2967 | 25.916 | 886 | 69.48 | 42.6627
2019-08-21 12:15:00 | 6.5933 | 252.1067 | 7.58 | 277.0333 | 11.8267 | 12.2967 | 11.23 | 17.0833 | 25.0933 | 886 | 70.9133 | 43.888
2019-08-21 12:30:00 | 6.6733 | 281.34 | 7.6733 | 309.1667 | 11.8867 | 17.35 | 11.27 | 25.7833 | 24.7533 | 886 | 72.5133 | 45.7547
2019-08-21 12:45:00 | 7.0167 | 148.63 | 8.07 | 163.3333 | 12.4613 | 11.4767 | 11.8 | 20.3267 | 25.54 | 886 | 70.41 | 42.5267
2019-08-21 13:00:00 | 6.2367 | 280.1033 | 7.17 | 307.8 | 11.11 | 23.57 | 10.2067 | 19.2067 | 25.3867 | 886 | 69.8167 | 41.0707
2019-08-21 13:15:00 | 6.4267 | 100.2033 | 7.3933 | 110.1 | 10.1267 | 340.0333 | 9.6767 | 237.6467 | 24.0733 | 886 | 71.3833 | 40.51
2019-08-21 13:30:00 | 6.16 | 300.2167 | 7.0933 | 329.9 | 10.3467 | 119.9067 | 9.8167 | 9.4 | 24.2 | 885.5333 | 72.5633 | 41.0847
2019-08-21 13:45:00 | 5.96 | 296.2333 | 6.8567 | 325.5333 | 10.03 | 8.8267 | 9.73 | 20.5567 | 24.7033 | 885 | 71.36 | 42.0353
2019-08-21 14:00:00 | 5.8533 | 275.06 | 6.7433 | 302.2667 | 9.9433 | 5.3 | 9.5567 | 14.3033 | 25.1767 | 885 | 70.74 | 40.724
2019-08-21 14:15:00 | 6.1267 | 318.7767 | 7.0467 | 350.3 | 10.3973 | 238.3133 | 9.8133 | 3.5867 | 25.6667 | 885 | 69.9033 | 41.218
2019-08-21 14:30:00 | 6.18 | 248.1567 | 7.1067 | 272.7 | 10.58 | 4.3733 | 9.9533 | 17.66 | 25.5133 | 885 | 70.19 | 41.532
2019-08-21 14:45:00 | 6.24 | 33.6467 | 7.18 | 36.97 | 10.7033 | 3.62 | 9.9167 | 18.5833 | 25.1167 | 885 | 71.4567 | 35.614
2019-08-21 15:00:00 | 5.4933 | 9.1867 | 6.3267 | 10.09 | 9.1367 | 3.7467 | 8.7767 | 6.13 | 24.7833 | 885 | 72.53 | 34.9573
2019-08-21 15:15:00 | 5.5933 | 277.7333 | 6.4367 | 305.2 | 9.7767 | 0.30333 | 9.1567 | 12.58 | 24.8833 | 885 | 73.4233 | 31.176
2019-08-21 15:30:00 | 5.3533 | 316.92 | 6.1633 | 348.2667 | 9.3033 | 3.15 | 8.9233 | 13.9733 | 24.8033 | 885 | 74.05 | 29.9807
2019-08-21 15:45:00 | 5.4867 | 110.6133 | 6.31 | 121.5533 | 9.35 | 230.5567 | 9.01 | 237.8733 | 24.3233 | 885 | 75.3133 | 32.7307
2019-08-21 16:00:00 | 5.3867 | 118.6533 | 6.1967 | 130.38 | 9.3833 | 12.4633 | 9.1967 | 20.6 | 24.4233 | 884.5333 | 76.12 | 29.19
2019-08-21 16:15:00 | 5.4627 | 25.68 | 6.2913 | 28.2167 | 9.3313 | 14.1333 | 8.6467 | 8.4233 | 24.6867 | 884 | 75.0967 | 31.174
2019-08-21 16:30:00 | 5.6133 | 126.4533 | 6.4533 | 138.9567 | 9.7933 | 13.8533 | 9.2733 | 13.75 | 24.5067 | 884 | 75.9033 | 34.0467
2019-08-21 16:45:00 | 5.2367 | 58.4867 | 6.0233 | 64.2733 | 9.18 | 9.8733 | 8.78 | 19.42 | 24.5667 | 884 | 76.43 | 35.5113
2019-08-21 17:00:00 | 5.49 | 39.2267 | 6.31 | 43.1067 | 9.5067 | 18.7667 | 9.0667 | 12.3267 | 24.5267 | 884 | 76.2367 | 37.6793
2019-08-21 17:15:00 | 5.9453 | 29.9687 | 6.8353 | 32.9333 | 10.218 | 14.954 | 9.704 | 9.206 | 24.3033 | 884 | 76.5887 | 38.5047
2019-08-21 17:30:00 | 5.4467 | 225.5967 | 6.27 | 247.9067 | 9.7633 | 12.53 | 9.3133 | 7.6233 | 24.0033 | 884 | 78.0633 | 39.8213
2019-08-21 17:45:00 | 5.7333 | 295.7733 | 6.5967 | 325.02 | 9.826 | 20.6767 | 9.48 | 140.0913 | 23.812 | 884 | 78.4493 | 39.5667
2019-08-21 18:00:00 | 5.8667 | 99.54 | 6.7467 | 109.38 | 10.2633 | 11.27 | 9.64 | 125.3 | 23.71 | 884 | 78.4233 | 37.6053
2019-08-21 18:15:00 | 5.608 | 64.94 | 6.45 | 71.36 | 9.546 | 18.734 | 9.078 | 19.18 | 23.6 | 884 | 78.516 | 38.2087
2019-08-21 18:30:00 | 5.4933 | 222.2933 | 6.3167 | 244.2667 | 9.69 | 15.5633 | 9.0767 | 16.54 | 23.4667 | 884 | 79.2833 | 38.494
2019-08-21 18:45:00 | 5.7 | 203.05 | 6.5533 | 223.1267 | 9.878 | 2.65 | 9.42 | 238.8633 | 23.1433 | 883.2 | 80.0667 | 40.8307
2019-08-21 19:00:00 | 5.78 | 192.1967 | 6.6467 | 211.1933 | 9.66 | 1.3233 | 9.26 | 6.83 | 23.0113 | 883 | 80.1533 | 40.2293
2019-08-21 19:15:00 | 5.24 | 220.3467 | 6.0333 | 242.14 | 9.0733 | 8.4667 | 8.84 | 17.4167 | 22.84 | 883 | 80.9133 | 40.4673
2019-08-21 19:30:00 | 5.2133 | 15.7267 | 5.9933 | 17.2733 | 9.16 | 17.3867 | 8.7733 | 30.89 | 22.6667 | 883 | 81.3333 | 38.932
2019-08-21 19:45:00 | 5.3667 | 220.3567 | 6.1833 | 242.15 | 9.5567 | 14.2367 | 9.0867 | 20.3833 | 22.4467 | 883 | 81.8667 | 39.9773
2019-08-21 20:00:00 | 5.1133 | 19.39 | 5.8833 | 21.31 | 9.0167 | 11.11 | 8.88 | 20.87 | 22.346 | 883 | 81.9533 | 37.4487
2019-08-21 20:15:00 | 5.0333 | 311.5453 | 5.7867 | 342.36 | 9.0167 | 17.23 | 8.8833 | 23.1833 | 22.1667 | 883.8 | 82.6133 | 39.4867
2019-08-21 20:30:00 | 5.1933 | 261.5067 | 5.9733 | 287.3667 | 9.4433 | 15.17 | 9.25 | 23.1633 | 22.0133 | 884 | 83.1 | 41.0087
2019-08-21 20:45:00 | 5.4533 | 204.7793 | 6.2753 | 225.03 | 9.554 | 36.494 | 9.364 | 70.9453 | 21.8893 | 884 | 83.1933 | 41.1527
2019-08-21 21:00:00 | 5.64 | 202.8233 | 6.4967 | 222.8833 | 9.91 | 29.93 | 9.48 | 70.6933 | 21.8 | 884 | 83.3 | 43.124
2019-08-21 21:15:00 | 5.4333 | 210.8967 | 6.2567 | 231.7533 | 9.3067 | 12.7267 | 9.1833 | 21.97 | 21.7327 | 884 | 83.3333 | 44.226
2019-08-21 21:30:00 | 5.86 | 41.53 | 6.75 | 45.6267 | 9.9933 | 18.0867 | 9.7033 | 24.0767 | 21.7407 | 884 | 82.9533 | 46.8433
2019-08-21 21:45:00 | 5.6967 | 2.54 | 6.5667 | 2.7867 | 9.83 | 16.0867 | 9.6033 | 18.04 | 21.636 | 884 | 83.1133 | 46.378
2019-08-21 22:00:00 | 5.4233 | 2.04 | 6.24 | 2.2333 | 8.99 | 126.3333 | 8.8767 | 9.4533 | 21.624 | 884 | 82.9333 | 45.504
2019-08-21 22:15:00 | 5.6767 | 314.69 | 6.5267 | 345.8 | 9.5333 | 8.9433 | 9.31 | 14.3567 | 21.5447 | 884.6667 | 83.3867 | 44.9147
2019-08-21 22:30:00 | 5.808 | 157.33 | 6.686 | 172.886 | 9.932 | 13.232 | 9.426 | 11.904 | 21.5007 | 884 | 83.48 | 45.3233
2019-08-21 22:45:00 | 5.8133 | 123.81 | 6.6833 | 136.0533 | 9.69 | 224.08 | 9.4433 | 15.1167 | 21.3573 | 884 | 83.9 | 45.5227
2019-08-21 23:00:00 | 6.0753 | 101.2167 | 6.99 | 111.22 | 9.65 | 11.9733 | 9.13 | 15.49 | 21.4 | 884 | 83.1667 | 44.068
2019-08-21 23:15:00 | 5.7833 | 104.3867 | 6.6533 | 114.7067 | 10.31 | 16.1033 | 9.8033 | 20.7267 | 21.2467 | 884 | 83.8667 | 44.368
2019-08-21 23:30:00 | 5.6633 | 128.9 | 6.5133 | 141.6467 | 10.0633 | 19.0367 | 9.6567 | 26.66 | 21.08 | 884.4667 | 84.4 | 43.1547
2019-08-21 23:45:00 | 5.34 | 118.1 | 6.1467 | 129.7733 | 8.7733 | 340.9333 | 8.4433 | 239.47 | 21.03 | 884.2 | 84.5133 | 42.654