## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-22 00:00:00 | 5.3107 | 115.4079 | 6.1093 | 126.8121 | 8.575 | 355.0071 | 8.3279 | 13.9064 | 21.0586 | 884.3846 | 84.5615 | 41.6371
2019-08-22 00:15:00 | 5.0667 | 62.0367 | 5.8267 | 68.1667 | 8.26 | 7.2067 | 8.0667 | 20.5067 | 21.0753 | 884.3333 | 84.5333 | 42.1227
2019-08-22 00:30:00 | 5.32 | 89.6633 | 6.12 | 98.5267 | 9.38 | 3.7933 | 9.2933 | 17.0933 | 20.9833 | 884.5333 | 85.0467 | 43.524
2019-08-22 00:45:00 | 5.28 | 313.66 | 6.0733 | 344.6667 | 9.2667 | 8.6533 | 9.23 | 13.9833 | 20.972 | 884 | 85.2867 | 43.2707
2019-08-22 01:00:00 | 5.3067 | 112.6933 | 6.1 | 123.8333 | 9.0933 | 8.68 | 9.0967 | 8.2633 | 20.964 | 884 | 85.2 | 42.2467
2019-08-22 01:15:00 | 5.2867 | 38.6267 | 6.08 | 42.45 | 8.8967 | 3.6567 | 8.67 | 11.9067 | 20.914 | 884 | 85.5867 | 41.5013
2019-08-22 01:30:00 | 5.5133 | 3.3667 | 6.3533 | 3.6967 | 9.37 | 11.3367 | 9.25 | 15.2133 | 20.9353 | 884 | 85.5 | 40.56
2019-08-22 01:45:00 | 5.3867 | 115.05 | 6.2067 | 126.4267 | 9.0167 | 121.5467 | 8.64 | 12.8167 | 20.9113 | 884 | 85.9333 | 40.404
2019-08-22 02:00:00 | 5.2667 | 222.1633 | 6.0667 | 244.1333 | 9.37 | 346 | 9.04 | 2.4767 | 20.8507 | 884 | 86.6667 | 41.1153
2019-08-22 02:15:00 | 5.2667 | 215.4667 | 6.0567 | 236.7767 | 9.2467 | 239.6233 | 8.9367 | 9.0233 | 20.8693 | 884 | 86.6 | 39.792
2019-08-22 02:30:00 | 5.04 | 220.0867 | 5.7967 | 241.8433 | 8.7667 | 237.69 | 8.5233 | 22.3233 | 20.8267 | 884 | 86.8467 | 39.418
2019-08-22 02:45:00 | 5.3333 | 117.6033 | 6.13 | 129.2333 | 9.0133 | 16.0067 | 9.15 | 11.65 | 20.782 | 884 | 87.1 | 39.4853
2019-08-22 03:00:00 | 5.22 | 117.01 | 6.01 | 128.58 | 8.2667 | 4.5533 | 8.2233 | 14.95 | 20.7593 | 884 | 86.9 | 39.9613
2019-08-22 03:15:00 | 5.12 | 23.99 | 5.8867 | 26.3533 | 8.4567 | 4.4867 | 8.4867 | 11.4267 | 20.738 | 883.2 | 87 | 40.7287
2019-08-22 03:30:00 | 5.1067 | 205.8967 | 5.8733 | 226.2467 | 8.7167 | 108.12 | 8.8 | 5.0933 | 20.6567 | 883 | 87.4 | 40.3313
2019-08-22 03:45:00 | 5.2367 | 195.6033 | 6.02 | 214.95 | 8.4733 | 1.2467 | 8.61 | 17.16 | 20.632 | 883 | 87.5333 | 39.4233
2019-08-22 04:00:00 | 5.0367 | 108.19 | 5.7933 | 118.8833 | 8.28 | 227.6533 | 8.27 | 17.1067 | 20.6067 | 883 | 87.9333 | 41.876
2019-08-22 04:15:00 | 5.3 | 27.4633 | 6.1 | 30.1767 | 8.63 | 347.7667 | 8.46 | 10.76 | 20.5327 | 883 | 88.3 | 41.9687
2019-08-22 04:30:00 | 5.0133 | 218.5233 | 5.7667 | 240.1367 | 8.2633 | 125.4467 | 8.18 | 20.6733 | 20.536 | 883 | 88.4333 | 40.6727
2019-08-22 04:45:00 | 5.4267 | 206.02 | 6.2467 | 226.3933 | 8.7933 | 9.4533 | 8.6133 | 16.37 | 20.4713 | 883 | 88.8133 | 41.9073
2019-08-22 05:00:00 | 5.4133 | 26.7533 | 6.2333 | 29.3933 | 8.3933 | 45.94 | 8.4533 | 15.69 | 20.4847 | 883 | 88.7667 | 42.8713
2019-08-22 05:15:00 | 5.4133 | 29.8933 | 6.2267 | 32.8467 | 8.6767 | 120.3267 | 8.59 | 5.88 | 20.4247 | 883 | 89.1133 | 43.4593
2019-08-22 05:30:00 | 5.4267 | 204.3333 | 6.24 | 224.5333 | 8.67 | 125.64 | 8.3167 | 10.8667 | 20.376 | 883 | 89.4667 | 42.7693
2019-08-22 05:45:00 | 5.1267 | 222.8233 | 5.8967 | 244.8567 | 8.5733 | 6.5133 | 8.7133 | 27.93 | 20.27 | 883.8 | 90.5 | 43.5407
2019-08-22 06:00:00 | 5.48 | 183.41 | 6.306 | 201.548 | 9.018 | 2.958 | 8.724 | 9.186 | 20.2053 | 884 | 90.9 | 44.308
2019-08-22 06:15:00 | 5.5 | 44.0467 | 6.3333 | 48.3967 | 9.09 | 352.6667 | 8.88 | 8.12 | 20.2053 | 884 | 91.0333 | 44.244
2019-08-22 06:30:00 | 5.5933 | 11.22 | 6.4333 | 12.3167 | 8.9433 | 352.6667 | 8.68 | 10.76 | 20.24 | 884 | 90.9467 | 42.8747
2019-08-22 06:45:00 | 5.4667 | 195.8733 | 6.2967 | 215.24 | 8.8733 | 238.31 | 8.7067 | 17.4733 | 20.1773 | 884 | 91.6 | 42.3947
2019-08-22 07:00:00 | 5.6533 | 8.22 | 6.5033 | 9.0333 | 9 | 227.5767 | 9.0467 | 17.96 | 20.16 | 884 | 91.9333 | 42.0413
2019-08-22 07:15:00 | 5.71 | 17.8967 | 6.5667 | 19.6567 | 9.2133 | 335.9333 | 8.98 | 18.9 | 20.2667 | 884 | 91.7867 | 40.2713
2019-08-22 07:30:00 | 5.49 | 213.31 | 6.3133 | 234.3967 | 9.0467 | 118.22 | 8.7 | 14.8667 | 20.5067 | 884 | 91.1667 | 42.0153
2019-08-22 07:45:00 | 5.4967 | 220.31 | 6.33 | 242.0933 | 9.0267 | 0.74667 | 9.1967 | 18.5 | 21.0533 | 884.1333 | 89.9333 | 39.916
2019-08-22 08:00:00 | 5.4567 | 28.3833 | 6.2767 | 31.1867 | 9.2133 | 9.12 | 9.3433 | 12.4867 | 21.6 | 885 | 88.6667 | 39.4107
2019-08-22 08:15:00 | 5.7267 | 18.53 | 6.5933 | 20.35 | 9.1533 | 234.6567 | 9.27 | 4.2767 | 22.09 | 885 | 87.0333 | 37.6407
2019-08-22 08:30:00 | 5.4867 | 187.75 | 6.32 | 206.3033 | 9.2133 | 13.9767 | 9.0567 | 2.8167 | 22.45 | 885 | 86.4333 | 36.0487
2019-08-22 08:45:00 | 5.3367 | 39.4467 | 6.1467 | 43.35 | 9.1467 | 20.5333 | 8.6467 | 12.11 | 23.0667 | 885.8 | 84.5333 | 34.5747
2019-08-22 09:00:00 | 5.4367 | 42.7333 | 6.2533 | 46.9633 | 9.2533 | 11.56 | 8.9133 | 8.3367 | 23.3667 | 886 | 83.3533 | 31.6607
2019-08-22 09:15:00 | 4.94 | 317.5433 | 5.6833 | 348.9333 | 8.1833 | 126.32 | 7.99 | 13.3167 | 23.13 | 886 | 84.4 | 26.96
2019-08-22 09:30:00 | 4.7867 | 315.29 | 5.5033 | 346.4667 | 8.09 | 124.12 | 7.8633 | 5.1367 | 23.23 | 886 | 84.8 | 25.4053
2019-08-22 09:45:00 | 5.16 | 120.56 | 5.9433 | 132.48 | 9.01 | 20.6 | 8.62 | 11.2233 | 24.1933 | 886.1333 | 82.5333 | 23.0013
2019-08-22 10:00:00 | 4.868 | 307.144 | 5.604 | 337.52 | 8.556 | 21.94 | 8.364 | 11.938 | 24.276 | 887 | 81.7 | 16.5873
2019-08-22 10:15:00 | 4.5533 | 284.4187 | 5.2473 | 312.5333 | 8.1353 | 19.942 | 7.6127 | 24.0167 | 24.108 | 887 | 82.9667 | 14.8007
2019-08-22 10:30:00 | 4.38 | 297.48 | 5.05 | 326.9 | 7.89 | 16.4833 | 7.4093 | 15.3733 | 23.9967 | 887 | 82.8667 | 18.2353
2019-08-22 10:45:00 | 4.42 | 111.8067 | 5.09 | 122.86 | 7.88 | 18.8133 | 7.3913 | 16.79 | 23.9293 | 887 | 84.1133 | 21.286
2019-08-22 11:00:00 | 4.4933 | 103.2867 | 5.17 | 113.5 | 7.7867 | 14.52 | 7.1933 | 12.9967 | 23.8 | 887 | 84.6 | 16.2153
2019-08-22 11:15:00 | 4.3067 | 11.66 | 4.9667 | 12.8033 | 7.6633 | 17.6833 | 7.06 | 13.2833 | 23.86 | 887 | 85.1667 | 12.548
2019-08-22 11:30:00 | 4.2133 | 16.9667 | 4.86 | 18.6367 | 7.5233 | 23.9367 | 7.0867 | 13.1567 | 24.36 | 887 | 84.3 | 10.3127
2019-08-22 11:45:00 | 4.17 | 78.6433 | 4.7933 | 86.42 | 6.9333 | 18.32 | 6.5633 | 15.2767 | 25.8 | 887 | 80.4767 | 8.656
2019-08-22 12:00:00 | 4.25 | 97.83 | 4.8933 | 107.5067 | 6.9533 | 23.0467 | 6.4633 | 18.9233 | 26.24 | 887 | 78.4487 | 7.6393
2019-08-22 12:15:00 | 3.83 | 22.15 | 4.4167 | 24.3333 | 6.5533 | 20.8933 | 6.1867 | 22.07 | 26.2233 | 887 | 78.6767 | 6.3387
2019-08-22 12:30:00 | 3.5007 | 21.7113 | 4.0353 | 23.8507 | 5.9627 | 21.392 | 5.5587 | 11.546 | 26.5087 | 887 | 78.51 | 4.0267
2019-08-22 12:45:00 | 3.5067 | 128.4867 | 4.0333 | 141.1867 | 5.73 | 16.1533 | 5.1467 | 17.2533 | 26.9133 | 887 | 77.5133 | 3.4907
2019-08-22 13:00:00 | 3.3667 | 295.8067 | 3.8733 | 325.0667 | 5.57 | 21.24 | 5.16 | 25.2333 | 27.5067 | 887 | 76.1867 | 1.6287
2019-08-22 13:15:00 | 2.9433 | 21.8933 | 3.39 | 24.0567 | 4.93 | 16.9067 | 4.24 | 24.55 | 27.82 | 887 | 75.5233 | 0.48333
2019-08-22 13:30:00 | 2.69 | 33.7867 | 3.0967 | 37.1233 | 4.19 | 23.4133 | 3.6667 | 246.75 | 27.9533 | 887 | 74.93 | 0
2019-08-22 13:45:00 | 2.54 | 13.43 | 2.92 | 14.75 | 3.6033 | 26.0667 | 3.1367 | 130.3 | 27.53 | 887 | 75.3667 | 0
2019-08-22 14:00:00 | 2.3267 | 21.5567 | 2.68 | 23.69 | 3.0167 | 31.18 | 2.6233 | 134.82 | 27.2633 | 887 | 76.5533 | 0
2019-08-22 14:15:00 | 1.8567 | 9.5633 | 2.1333 | 10.51 | 2.4333 | 120.7 | 1.9167 | 121.6333 | 27.8933 | 887 | 74.81 | 0
2019-08-22 14:30:00 | 2.17 | 40.5233 | 2.5 | 44.53 | 2.42 | 120.7 | 1.4633 | 135.74 | 28.0167 | 887 | 73.3593 | 0
2019-08-22 14:45:00 | 0.94 | 11.97 | 1.0933 | 13.15 | 1.2133 | 18.0367 | 0.32333 | 81.3867 | 28.084 | 887 | 73.1847 | 0
2019-08-22 15:00:00 | 0.47333 | 0.80333 | 0.54667 | 0.87667 | 0.52667 | 244.87 | 0.09 | 110.9667 | 28.2567 | 887 | 72.7867 | 0
2019-08-22 15:15:00 | 0.44 | 107.2907 | 0.51733 | 117.9 | 0.51333 | 172.5867 | 0.28333 | 85.9813 | 28.4393 | 886.2 | 72.214 | 0
2019-08-22 15:30:00 | 0.90667 | 61.99 | 1.0433 | 68.12 | 1.3167 | 148.86 | 0.88667 | 19.1333 | 28.9467 | 886 | 71.9633 | 0
2019-08-22 15:45:00 | 1.04 | 92.5567 | 1.1967 | 101.7 | 1.57 | 16.3167 | 1.5067 | 10.67 | 29.77 | 886.8 | 69.95 | 0
2019-08-22 16:00:00 | 1.1867 | 115.45 | 1.37 | 126.8667 | 2.0367 | 9.5167 | 1.58 | 16.53 | 29.3567 | 886.5333 | 71.6567 | 0
2019-08-22 16:15:00 | 1.18 | 314.0167 | 1.36 | 345.0667 | 1.4467 | 117.4533 | 1.2133 | 232.86 | 28.03 | 886 | 73.7633 | 0
2019-08-22 16:30:00 | 0.16667 | 307.59 | 0.19333 | 338 | 0.15333 | 193.3 | 0.046667 | 149.3933 | 27.9567 | 886 | 71.3833 | 0
2019-08-22 16:45:00 | 0.64 | 306.0613 | 0.73667 | 336.32 | 1.22 | 36.5633 | 1.0067 | 158.47 | 28.1427 | 886 | 73.7633 | 0
2019-08-22 17:00:00 | 2.2733 | 121.99 | 2.6167 | 134.0533 | 4.1933 | 8.89 | 4.3133 | 32.3833 | 28.2067 | 886 | 76.45 | 2.024
2019-08-22 17:15:00 | 3.2 | 86.5667 | 3.69 | 95.12 | 6.0167 | 15.0867 | 6.2333 | 29.8767 | 27.7233 | 886 | 77.84 | 7.4167
2019-08-22 17:30:00 | 3.2133 | 177.9333 | 3.6967 | 195.5333 | 6.0433 | 10.2067 | 6.1267 | 24.5833 | 27.31 | 886 | 79.4467 | 6.4613
2019-08-22 17:45:00 | 3.34 | 31.84 | 3.8433 | 34.99 | 5.74 | 11.3 | 5.7467 | 20.55 | 27.0347 | 886 | 79.3627 | 7.546
2019-08-22 18:00:00 | 3.4067 | 193.0467 | 3.93 | 212.1367 | 5.3133 | 237.8667 | 5.1667 | 19.3033 | 26.7667 | 886 | 78.9933 | 7.4033
2019-08-22 18:15:00 | 3.0733 | 15.4833 | 3.5367 | 17.0033 | 4.69 | 1.7667 | 4.75 | 10.2167 | 26.0667 | 885.8667 | 81.1667 | 6.7613
2019-08-22 18:30:00 | 3.1467 | 28.59 | 3.63 | 31.4167 | 4.95 | 4.2467 | 4.73 | 8.1967 | 25.6733 | 885 | 82.7667 | 6.2707
2019-08-22 18:45:00 | 2.95 | 31.4933 | 3.4 | 34.61 | 5.04 | 0.17667 | 4.8567 | 1.5733 | 25.496 | 885 | 83.6333 | 9.6593
2019-08-22 19:00:00 | 3.1233 | 208 | 3.6 | 228.57 | 5.62 | 7.5367 | 5.5367 | 15.1467 | 25.4607 | 885 | 84.0333 | 16.724
2019-08-22 19:15:00 | 4.0067 | 101.94 | 4.6067 | 112.0133 | 7.1767 | 5.4367 | 7.1733 | 20.1633 | 25.2567 | 885 | 83.5333 | 19.1153
2019-08-22 19:30:00 | 3.8333 | 310.6133 | 4.4067 | 341.3333 | 6.5167 | 24.0767 | 6.4533 | 21.25 | 24.85 | 885 | 83.6 | 16.9507
2019-08-22 19:45:00 | 3.8947 | 14.53 | 4.4887 | 15.9693 | 6.616 | 9.436 | 6.702 | 20.518 | 24.4353 | 885 | 84.9267 | 15.0067
2019-08-22 20:00:00 | 3.46 | 208.3833 | 3.9767 | 228.9933 | 6.2833 | 11.8433 | 6.39 | 14.9367 | 24.0433 | 885 | 86.9667 | 18.72
2019-08-22 20:15:00 | 3.7667 | 317.74 | 4.3333 | 349.1667 | 6.6633 | 161.5333 | 6.59 | 20.8833 | 23.7667 | 885 | 88.0133 | 22.6213
2019-08-22 20:30:00 | 3.7067 | 278.3067 | 4.2667 | 305.8333 | 6.47 | 122.7733 | 6.2833 | 8.75 | 23.62 | 885 | 88.2333 | 21.932
2019-08-22 20:45:00 | 3.6733 | 130.56 | 4.2267 | 143.46 | 6.5867 | 355.2333 | 6.29 | 5.9133 | 23.4067 | 885.1333 | 89.0333 | 19.3167
2019-08-22 21:00:00 | 3.7733 | 277.34 | 4.34 | 304.7667 | 6.3647 | 117.8267 | 6.1833 | 3.06 | 23.2867 | 886 | 89.7667 | 16.0773
2019-08-22 21:15:00 | 3.58 | 180.2633 | 4.12 | 198.0933 | 6.1067 | 12.1033 | 5.9067 | 131.3667 | 23.266 | 886 | 90.4667 | 13.34
2019-08-22 21:30:00 | 3.58 | 21.6433 | 4.1267 | 23.7733 | 5.96 | 12.5567 | 5.9467 | 130.0533 | 23.23 | 886 | 91.3333 | 13.6993
2019-08-22 21:45:00 | 4.18 | 122.9467 | 4.8133 | 135.1067 | 6.4633 | 11.5133 | 6.3033 | 13.9167 | 23.4053 | 886 | 90.9867 | 17.324
2019-08-22 22:00:00 | 4.2867 | 120.9133 | 4.94 | 132.8733 | 6.57 | 7.7067 | 6.69 | 11.21 | 23.426 | 886 | 91.1667 | 19.54
2019-08-22 22:15:00 | 4.1733 | 116.1333 | 4.8 | 127.62 | 6.9033 | 10.0767 | 6.98 | 13.3667 | 23.27 | 886 | 92.3 | 21.1773
2019-08-22 22:30:00 | 4.2267 | 131.5667 | 4.86 | 144.58 | 6.5833 | 8.7767 | 7.06 | 19.2267 | 23.1853 | 886 | 92.7 | 19.7393
2019-08-22 22:45:00 | 4.0667 | 122.1433 | 4.6767 | 134.22 | 6.7733 | 124.3067 | 6.91 | 10.4333 | 23.0467 | 886.1333 | 93.4667 | 16.6353
2019-08-22 23:00:00 | 3.7933 | 303.1167 | 4.3633 | 333.1 | 6.6267 | 119.4 | 6.91 | 7.34 | 22.92 | 887 | 94.1333 | 13.58
2019-08-22 23:15:00 | 3.8133 | 169.56 | 4.3867 | 186.3333 | 6.5133 | 118.3133 | 6.49 | 11.52 | 22.84 | 887 | 94.8867 | 11.0487
2019-08-22 23:30:00 | 3.68 | 15.88 | 4.2333 | 17.4467 | 6.12 | 352.4667 | 6.0633 | 9.46 | 22.8707 | 887 | 94.9333 | 10.3533
2019-08-22 23:45:00 | 3.5667 | 21.8567 | 4.1067 | 24.01 | 5.76 | 21.4833 | 5.9733 | 9.2833 | 22.888 | 887 | 95.0133 | 9.702