## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-23 00:00:00 | 3.2093 | 31.3786 | 3.6907 | 34.4743 | 5.8343 | 23.295 | 5.9714 | 14.2957 | 22.8493 | 887 | 95.1 | 8.9536
2019-08-23 00:15:00 | 3.0267 | 36.7767 | 3.4833 | 40.4167 | 5.6767 | 5.9767 | 5.7733 | 10.8133 | 22.6533 | 887 | 95.9667 | 11.0707
2019-08-23 00:30:00 | 3.2 | 5.4433 | 3.6833 | 5.9767 | 5.5853 | 11.8567 | 6.0933 | 14.5067 | 22.5067 | 887 | 96.5667 | 14.1213
2019-08-23 00:45:00 | 3.4093 | 105.8507 | 3.92 | 116.3173 | 5.6173 | 268.8147 | 6.12 | 21.698 | 22.3967 | 886.8667 | 97.5067 | 13.3127
2019-08-23 01:00:00 | 3.52 | 104.4867 | 4.0467 | 114.82 | 5.6467 | 13.3333 | 6.1833 | 18.21 | 22.3507 | 886 | 97.8467 | 12.4073
2019-08-23 01:15:00 | 3.54 | 110.6633 | 4.0833 | 121.6067 | 6.1233 | 11.2433 | 6.11 | 10.1633 | 22.2587 | 886 | 98.0667 | 12.0407
2019-08-23 01:30:00 | 3.6867 | 321.8367 | 4.25 | 353.6667 | 5.57 | 8.4233 | 5.6967 | 11.9967 | 22.2407 | 886 | 98.4467 | 10.3647
2019-08-23 01:45:00 | 3.5333 | 305.3967 | 4.0667 | 335.6 | 5.26 | 229.5333 | 5.5067 | 12.174 | 22.2047 | 886 | 98.58 | 9.7307
2019-08-23 02:00:00 | 3.3467 | 113.05 | 3.8467 | 124.2333 | 5.1067 | 5.0933 | 5.5333 | 15.15 | 22.15 | 886 | 98.6 | 10.936
2019-08-23 02:15:00 | 3.1533 | 291.48 | 3.6333 | 320.3 | 5.3633 | 4.5367 | 5.8767 | 12.8467 | 21.9933 | 886 | 99.1 | 8.71
2019-08-23 02:30:00 | 3.4 | 124.92 | 3.92 | 137.2733 | 5.4033 | 13.8033 | 5.67 | 15.9733 | 21.9307 | 886 | 99.5 | 6.464
2019-08-23 02:45:00 | 3.2733 | 217.87 | 3.7733 | 239.41 | 5.0233 | 6.92 | 5.2933 | 5.1333 | 21.9353 | 886 | 99.8133 | 5.1153
2019-08-23 03:00:00 | 3.5667 | 217.51 | 4.1 | 239.01 | 4.89 | 2.3533 | 5.2733 | 25.5333 | 21.9007 | 886 | 99.9467 | 3.1393
2019-08-23 03:15:00 | 4.0067 | 212.8133 | 4.6167 | 233.85 | 5.0733 | 13.13 | 5.2633 | 13.4867 | 21.8847 | 885.2 | 100 | 3.1533
2019-08-23 03:30:00 | 3.8933 | 11.76 | 4.49 | 12.91 | 5.3333 | 10.9633 | 5.4633 | 5.1133 | 21.81 | 885 | 100 | 2.7387
2019-08-23 03:45:00 | 4.0333 | 7.9233 | 4.64 | 8.71 | 5.4067 | 1.52 | 5.4467 | 14.4533 | 21.7567 | 885 | 100 | 3.978
2019-08-23 04:00:00 | 4.0467 | 220.95 | 4.6533 | 242.8033 | 5.5933 | 230.46 | 5.6267 | 10.2733 | 21.726 | 885 | 100 | 5.8973
2019-08-23 04:15:00 | 4.2733 | 216.67 | 4.9267 | 238.09 | 5.85 | 123 | 6.0333 | 25.2767 | 21.6693 | 885 | 100 | 6.148
2019-08-23 04:30:00 | 4.3867 | 200.0367 | 5.0467 | 219.8233 | 6.0633 | 356.9 | 6.2533 | 6.8233 | 21.6347 | 885 | 100 | 6.4027
2019-08-23 04:45:00 | 3.79 | 8.3733 | 4.36 | 9.1933 | 5.7467 | 3.8733 | 6.0467 | 6.5133 | 21.6107 | 885 | 100 | 5.4573
2019-08-23 05:00:00 | 3.4167 | 174.88 | 3.9267 | 192.1667 | 5.38 | 9.1533 | 5.6333 | 10.2867 | 21.5513 | 885 | 100 | 6.1667
2019-08-23 05:15:00 | 3.42 | 311.98 | 3.94 | 342.8333 | 5.72 | 8.48 | 5.68 | 5.3067 | 21.494 | 885 | 100 | 5.3273
2019-08-23 05:30:00 | 3.74 | 310.28 | 4.3 | 340.9667 | 5.7133 | 10.2133 | 5.3867 | 230.4333 | 21.446 | 885 | 100 | 4.1027
2019-08-23 05:45:00 | 3.904 | 310.7347 | 4.492 | 341.46 | 5.1767 | 7.0173 | 4.9807 | 71.4767 | 21.394 | 885 | 100 | 3.8493
2019-08-23 06:00:00 | 3.82 | 268.52 | 4.3967 | 295.0667 | 4.8647 | 16.5633 | 4.7033 | 8.1467 | 21.336 | 885 | 100 | 3.3513
2019-08-23 06:15:00 | 4.04 | 11.58 | 4.6433 | 12.7167 | 5.4333 | 237.9833 | 5.2433 | 247.4667 | 21.3067 | 885 | 100 | 3.618
2019-08-23 06:30:00 | 4.0667 | 218.4733 | 4.6767 | 240.07 | 5.3 | 1.9633 | 5.31 | 352 | 21.2367 | 885.4667 | 100 | 4.3353
2019-08-23 06:45:00 | 3.96 | 2.3933 | 4.5633 | 2.6267 | 5.2633 | 124.4733 | 5.19 | 11.5167 | 21.2213 | 886 | 100 | 3.4993
2019-08-23 07:00:00 | 3.84 | 2.4067 | 4.4167 | 2.64 | 5.1833 | 119.0667 | 4.9233 | 9.95 | 21.2393 | 886 | 100 | 3.7113
2019-08-23 07:15:00 | 4.2467 | 104.0367 | 4.8933 | 114.3267 | 5.0167 | 147.82 | 4.84 | 14.2967 | 21.2093 | 886 | 100 | 2.2613
2019-08-23 07:30:00 | 3.824 | 203.904 | 4.408 | 224.072 | 4.818 | 355.28 | 4.81 | 5.724 | 21.156 | 886 | 100 | 2.378
2019-08-23 07:45:00 | 3.43 | 12.5867 | 3.9433 | 13.82 | 4.7233 | 239.8667 | 4.5833 | 3.28 | 21.1727 | 886 | 100 | 4.2467
2019-08-23 08:00:00 | 3.71 | 23.24 | 4.27 | 25.5333 | 5.5167 | 6.5 | 5.4633 | 14.4267 | 21.2147 | 886.4667 | 100 | 5.6993
2019-08-23 08:15:00 | 4.04 | 161.5267 | 4.6567 | 177.5 | 5.16 | 243.39 | 5.0233 | 10.9033 | 21.2093 | 887 | 100 | 3.9
2019-08-23 08:30:00 | 3.7333 | 117.5133 | 4.3033 | 129.1267 | 4.7267 | 5.75 | 4.7967 | 9.1567 | 21.2867 | 887 | 100 | 4.4353
2019-08-23 08:45:00 | 3.4933 | 11.92 | 4.02 | 13.09 | 4.72 | 5.85 | 4.6467 | 3.7567 | 21.45 | 887 | 100 | 4.7087
2019-08-23 09:00:00 | 3.7733 | 16.8933 | 4.34 | 18.55 | 4.44 | 239.4833 | 4.48 | 4.5367 | 21.516 | 887 | 100 | 2.4707
2019-08-23 09:15:00 | 3.3233 | 319.0433 | 3.8233 | 350.6 | 4.3767 | 1.9733 | 4.3867 | 17.1533 | 21.8967 | 887 | 100 | 1.772
2019-08-23 09:30:00 | 3.2833 | 117.5567 | 3.7767 | 129.1867 | 4.1633 | 1.18 | 4.2533 | 7.6 | 22.3433 | 887 | 99.7333 | 0.62733
2019-08-23 09:45:00 | 3.0813 | 13.8653 | 3.546 | 15.2413 | 3.406 | 262.1987 | 3.6627 | 4.5453 | 22.952 | 887.8 | 95.9467 | 0
2019-08-23 10:00:00 | 2.8333 | 216.1333 | 3.2633 | 237.51 | 3.1333 | 231.1067 | 3.33 | 3.8533 | 23.4033 | 888 | 93.8333 | 0
2019-08-23 10:15:00 | 2.3 | 318.8133 | 2.6467 | 350.3333 | 2.3667 | 119.2933 | 2.13 | 120.7933 | 23.6767 | 888 | 92.9333 | 0
2019-08-23 10:30:00 | 1.2267 | 318.3867 | 1.42 | 349.8667 | 1.2467 | 331.1 | 1.11 | 250.3333 | 24.17 | 888 | 91.2667 | 0
2019-08-23 10:45:00 | 1.85 | 176.9033 | 2.13 | 194.4 | 1.98 | 170.9 | 1.59 | 171.7 | 25.9233 | 888 | 87.0667 | 0.069333
2019-08-23 11:00:00 | 2.4767 | 159.31 | 2.85 | 175.0667 | 2.66 | 166.5 | 2.6033 | 177.9 | 26.59 | 888 | 84.6 | 1.236
2019-08-23 11:15:00 | 2.9833 | 105.96 | 3.44 | 116.4333 | 3.31 | 189.6333 | 3.16 | 195 | 26.77 | 888.8 | 82.5 | 2.448
2019-08-23 11:30:00 | 3.2433 | 88.9733 | 3.7333 | 97.7667 | 3.7433 | 169.2333 | 3.9267 | 186.4667 | 26.824 | 889 | 81.1667 | 1.4627
2019-08-23 11:45:00 | 2.6733 | 118.9733 | 3.0733 | 130.7333 | 3.0967 | 169.5333 | 3.04 | 190.9333 | 27.1733 | 889 | 79.2967 | 2.1893
2019-08-23 12:00:00 | 2.9867 | 165.1333 | 3.4333 | 181.4667 | 3.4767 | 174.9333 | 3.34 | 183.8 | 27.4067 | 889 | 78.09 | 1.7447
2019-08-23 12:15:00 | 3.4467 | 117.4233 | 3.96 | 129.0333 | 4.07 | 158.2667 | 3.98 | 171.1333 | 27.4367 | 889 | 76.3787 | 2.916
2019-08-23 12:30:00 | 3.5067 | 132.9567 | 4.0333 | 146.1 | 4.0567 | 158.6 | 4 | 169.2667 | 27.3333 | 888.5333 | 76.2933 | 2.1213
2019-08-23 12:45:00 | 3.64 | 130.1 | 4.1833 | 142.9667 | 4.3667 | 178.6667 | 4.16 | 193.4133 | 27.4767 | 888 | 76.0133 | 2.586
2019-08-23 13:00:00 | 3.4533 | 141.3933 | 3.97 | 155.3667 | 4.3867 | 224.1333 | 4.3067 | 223.1667 | 27.8233 | 888 | 75.1267 | 3.968
2019-08-23 13:15:00 | 3.1953 | 144.1033 | 3.6787 | 158.3533 | 3.9453 | 192.4133 | 3.926 | 196.1867 | 28.3507 | 888 | 73.762 | 5.01
2019-08-23 13:30:00 | 3.66 | 130.95 | 4.2167 | 143.9 | 4.3167 | 189.2333 | 4.5033 | 189.5 | 28.4867 | 888 | 71.9533 | 8.4107
2019-08-23 13:45:00 | 3.4567 | 144.2073 | 3.9833 | 158.4667 | 4.1793 | 195.06 | 4.2873 | 190.8467 | 28.572 | 888 | 70.594 | 7.902
2019-08-23 14:00:00 | 3.9667 | 175.48 | 4.57 | 192.8333 | 4.7367 | 181.8667 | 4.7533 | 175.7667 | 28.9767 | 888 | 68.4067 | 13.11
2019-08-23 14:15:00 | 4.6733 | 131.62 | 5.3833 | 144.6333 | 5.7733 | 183.2333 | 5.76 | 183.6 | 28.43 | 887.8667 | 66.2247 | 16.7893
2019-08-23 14:30:00 | 3.9267 | 143.76 | 4.5167 | 157.9667 | 5.0733 | 224.4333 | 5.1333 | 216.8667 | 29.0367 | 887 | 62.98 | 17.0093
2019-08-23 14:45:00 | 4.9133 | 152.9767 | 5.6533 | 168.1 | 6.1633 | 163.0667 | 6.79 | 175.6333 | 29.0393 | 887 | 58.0433 | 18.2993
2019-08-23 15:00:00 | 5.0914 | 146.8386 | 5.8571 | 161.35 | 6.2229 | 152.7286 | 6.5521 | 184.1286 | 28.755 | 887 | 56.5529 | 18.4413
2019-08-23 15:15:00 | 4.6933 | 183.3367 | 5.4033 | 201.4667 | 5.8833 | 204.2 | 6.3433 | 207.2 | 29.33 | 887 | 55.5033 | 20.2553
2019-08-23 15:30:00 | 5.0933 | 171.0833 | 5.8567 | 188 | 6.1967 | 181.8 | 6.6167 | 198.5333 | 29.3433 | 887 | 53.3367 | 20.616
2019-08-23 15:45:00 | 4.85 | 175.46 | 5.5833 | 192.8 | 6.0467 | 199.3 | 6.8967 | 201.3667 | 29.0867 | 887 | 52.6867 | 20.412
2019-08-23 16:00:00 | 5.112 | 179.768 | 5.89 | 197.54 | 6.324 | 199.8067 | 6.838 | 209.82 | 28.75 | 887 | 51.884 | 19.6867
2019-08-23 16:15:00 | 4.4567 | 169.1433 | 5.1267 | 185.8667 | 5.5833 | 178.2333 | 5.73 | 196.4333 | 28.816 | 887 | 54.0033 | 23.0013
2019-08-23 16:30:00 | 5.2567 | 180.5433 | 6.06 | 198.4 | 6.6833 | 195.7 | 7.5367 | 188.3 | 28.78 | 887 | 53.75 | 21.832
2019-08-23 16:45:00 | 5.08 | 146.39 | 5.8467 | 160.8667 | 6.5533 | 210.5333 | 6.8233 | 212.7667 | 28.8767 | 887 | 54.5467 | 22.076
2019-08-23 17:00:00 | 4.4733 | 173.7567 | 5.14 | 190.9333 | 6.04 | 218.8667 | 6.2233 | 217.0333 | 28.9367 | 887 | 56.3667 | 25.418
2019-08-23 17:15:00 | 5.2733 | 135.41 | 6.0667 | 148.8 | 6.7 | 193.1 | 7.4033 | 188.7333 | 29.1333 | 887 | 55.5167 | 22.6687
2019-08-23 17:30:00 | 4.9267 | 146.4567 | 5.6667 | 160.9333 | 6.1533 | 185.9 | 7.1567 | 169.7333 | 29.2033 | 887 | 54.4233 | 23.2473
2019-08-23 17:45:00 | 4.34 | 132.7767 | 4.9933 | 145.9 | 5.5 | 209.7333 | 5.8433 | 200.6 | 29.2007 | 887 | 54.95 | 20.9433
2019-08-23 18:00:00 | 4.0733 | 172.8167 | 4.6933 | 189.9 | 5.22 | 206.4667 | 5.59 | 195.6667 | 29.0467 | 887 | 55.3167 | 20.7873
2019-08-23 18:15:00 | 3.7027 | 128.394 | 4.2633 | 141.0867 | 4.6813 | 184.7333 | 5.1747 | 180.52 | 28.7687 | 887 | 56.7147 | 19.38
2019-08-23 18:30:00 | 3.0933 | 171.64 | 3.5567 | 188.6 | 3.7733 | 175.4 | 3.95 | 159.7333 | 28.4733 | 887 | 58.3467 | 20.6333
2019-08-23 18:45:00 | 3.4467 | 152.2167 | 3.96 | 167.2667 | 4.4067 | 187.9333 | 4.76 | 205.3333 | 27.8033 | 886.2 | 61.1267 | 19.4227
2019-08-23 19:00:00 | 3.728 | 146.826 | 4.286 | 161.34 | 4.702 | 196.98 | 5.148 | 210.2 | 27.628 | 886 | 61.2867 | 16.2993
2019-08-23 19:15:00 | 4.0067 | 154.18 | 4.61 | 169.4333 | 5.0367 | 197.3 | 5.4767 | 199 | 27.6233 | 886 | 61.23 | 15.936
2019-08-23 19:30:00 | 3.8267 | 170.62 | 4.3967 | 187.5 | 4.9967 | 192.3 | 5.3767 | 207.1333 | 27.3567 | 886 | 62.65 | 12.9347
2019-08-23 19:45:00 | 3.3667 | 174.7 | 3.8767 | 191.9667 | 4.3767 | 197.3667 | 5.0233 | 189.6 | 27.1 | 886 | 63.6367 | 11.8173
2019-08-23 20:00:00 | 3.2133 | 160.0733 | 3.6967 | 175.9 | 4.1967 | 197.6333 | 4.59 | 206.9333 | 26.9533 | 886 | 63.8967 | 10.692
2019-08-23 20:15:00 | 2.7133 | 171.5067 | 3.12 | 188.4667 | 3.6167 | 191.5667 | 4.1667 | 183.8333 | 26.86 | 886 | 63.9267 | 9.5353
2019-08-23 20:30:00 | 2.3133 | 168.3533 | 2.6667 | 185 | 3.2433 | 198.6333 | 3.4467 | 181.1 | 26.7667 | 886 | 64.4267 | 6.6793
2019-08-23 20:45:00 | 1.2067 | 170.05 | 1.3967 | 186.8667 | 1.8267 | 184.2333 | 2.1467 | 204.0667 | 26.52 | 886 | 65.5933 | 3.762
2019-08-23 21:00:00 | 0.92667 | 142.1433 | 1.0767 | 156.2 | 1.6 | 183.9 | 2.18 | 209.2667 | 26.3467 | 886 | 66.4867 | 3.0873
2019-08-23 21:15:00 | 1.3 | 128.76 | 1.4967 | 141.5 | 1.99 | 187.2 | 2.2433 | 194.8333 | 26.24 | 886.1333 | 67.0733 | 2.864
2019-08-23 21:30:00 | 1.2733 | 160.2467 | 1.4767 | 176.1 | 2.0433 | 181.2 | 2.53 | 184.9667 | 25.9767 | 887 | 68.5567 | 2.2527
2019-08-23 21:45:00 | 1.0467 | 175.99 | 1.2133 | 193.4 | 1.8167 | 175.4 | 2.35 | 182.9 | 25.5233 | 887 | 70.5167 | 1.488
2019-08-23 22:00:00 | 1.1267 | 175.99 | 1.3 | 193.4 | 1.9367 | 178.8933 | 2.6167 | 184.9667 | 25.2633 | 887 | 71.8433 | 1.4593
2019-08-23 22:15:00 | 0.99333 | 175.99 | 1.1533 | 193.4 | 1.7867 | 179.1 | 2.5767 | 180.7667 | 24.9867 | 887 | 73.1567 | 1.1927
2019-08-23 22:30:00 | 1.06 | 175.99 | 1.2333 | 193.4 | 1.8933 | 173.8333 | 2.7967 | 168.1 | 24.82 | 887 | 73.5827 | 1.144
2019-08-23 22:45:00 | 0.70667 | 153.85 | 0.82 | 169.0667 | 1.2533 | 172.4333 | 1.86 | 166.8667 | 24.96 | 887 | 72.7933 | 1.1407
2019-08-23 23:00:00 | 0.42667 | 109.528 | 0.49333 | 120.3533 | 0.72 | 166.6333 | 1.6067 | 170.2 | 25.34 | 887 | 70.9667 | 0.864
2019-08-23 23:15:00 | 0.49333 | 175.08 | 0.58 | 192.4 | 0.73333 | 174.0667 | 1.4133 | 188.6 | 25.3067 | 887 | 71.08 | 1.0313
2019-08-23 23:30:00 | 1.068 | 175.08 | 1.236 | 192.4 | 1.468 | 197.9533 | 1.88 | 180.96 | 25.2047 | 887 | 71.218 | 0.78667
2019-08-23 23:45:00 | 1.2033 | 182.43 | 1.3867 | 200.4667 | 1.5667 | 187.4867 | 1.69 | 188.0867 | 25.2333 | 887 | 70.8247 | 0.45067