## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-24 00:00:00 | 0.83643 | 179.45 | 0.96714 | 197.2 | 1.1614 | 188.6857 | 1.6193 | 188.6429 | 25.3014 | 887 | 70.19 | 0.32429
2019-08-24 00:15:00 | 0.58667 | 179.53 | 0.68333 | 197.28 | 0.73333 | 195.1133 | 1.37 | 178.4667 | 25.51 | 887 | 69.11 | 0.001333
2019-08-24 00:30:00 | 0.86667 | 179.55 | 1.01 | 197.3 | 1.1067 | 185.6667 | 1.6767 | 173.6667 | 25.45 | 887 | 69.4967 | 0.007333
2019-08-24 00:45:00 | 0.6 | 179.55 | 0.69667 | 197.3 | 0.95667 | 186.0133 | 1.14 | 187.9 | 25.28 | 887 | 70.1633 | 0.29067
2019-08-24 01:00:00 | 0.96 | 185.8033 | 1.1167 | 204.1667 | 1.35 | 192.1 | 1.1533 | 181.5933 | 25.0933 | 887 | 71.1033 | 0.49867
2019-08-24 01:15:00 | 1.2067 | 188.842 | 1.3967 | 207.52 | 1.8 | 188.8333 | 1.9567 | 188.2 | 24.7867 | 887 | 72.86 | 0.57133
2019-08-24 01:30:00 | 1.0733 | 188.82 | 1.2367 | 207.5 | 1.6067 | 183.2067 | 1.93 | 181.8 | 24.4667 | 887 | 74.24 | 0.47933
2019-08-24 01:45:00 | 1.0367 | 186.1533 | 1.1967 | 204.5667 | 1.2433 | 183.1133 | 1.3733 | 179.88 | 24.2747 | 886.8667 | 75.6167 | 0.294
2019-08-24 02:00:00 | 0.68333 | 180.82 | 0.79 | 198.7 | 1.1167 | 183.2 | 1.4133 | 179.9 | 24.1267 | 886 | 76.7167 | 0
2019-08-24 02:15:00 | 0.58 | 0.57 | 0.66667 | 0.61333 | 0 | 183.2 | 0.08 | 179.9 | 23.5 | 886 | 78.9467 | 0
2019-08-24 02:30:00 | 1.0133 | 0.57 | 1.1733 | 0.61333 | 0.33333 | 293.9333 | 0 | 179.9 | 22.98 | 886 | 81.5333 | 0
2019-08-24 02:45:00 | 2.0667 | 318.2333 | 2.3733 | 349.7 | 2.07 | 349.22 | 0.05 | 219.7 | 22.4233 | 886 | 84.2667 | 0
2019-08-24 03:00:00 | 2.1667 | 317.56 | 2.4933 | 348.9667 | 2.09 | 349.1067 | 0.23667 | 296.9667 | 22.4967 | 886 | 83.7333 | 0
2019-08-24 03:15:00 | 1.9867 | 314.98 | 2.2933 | 346.1333 | 1.92 | 356.8133 | 0.97 | 259.0667 | 22.6547 | 886 | 83.2 | 0
2019-08-24 03:30:00 | 1.92 | 103.1067 | 2.2133 | 113.3 | 1.7267 | 120.7467 | 0.50333 | 85.5733 | 22.36 | 886 | 84.8667 | 0
2019-08-24 03:45:00 | 2.6 | 308.5033 | 2.9933 | 339 | 3.23 | 1.5733 | 2.9067 | 11.55 | 21.84 | 886 | 87.1 | 0
2019-08-24 04:00:00 | 2.76 | 103.6567 | 3.1733 | 113.9 | 3.39 | 0.66 | 2.9267 | 1.3433 | 22.02 | 886 | 86.3 | 0
2019-08-24 04:15:00 | 3.02 | 306.0033 | 3.4733 | 336.2667 | 3.7567 | 1.99 | 3.0933 | 2.3367 | 21.89 | 885.2 | 87 | 0
2019-08-24 04:30:00 | 3.1933 | 103.65 | 3.6733 | 113.8933 | 4.1167 | 5.75 | 3.3133 | 2.1367 | 21.7233 | 885 | 87.5333 | 0
2019-08-24 04:45:00 | 3.1867 | 309.28 | 3.6667 | 339.8667 | 4.2167 | 11.9233 | 3.07 | 239.52 | 21.6367 | 885 | 87.9 | 0
2019-08-24 05:00:00 | 3.2 | 105.98 | 3.68 | 116.46 | 4.13 | 10.0967 | 3.0567 | 6.82 | 21.7087 | 885 | 87.5667 | 0
2019-08-24 05:15:00 | 3.6267 | 314.7733 | 4.17 | 345.9 | 4.88 | 9.0033 | 3.7433 | 11.16 | 21.6027 | 885 | 88.1667 | 0.033333
2019-08-24 05:30:00 | 3.86 | 112.4067 | 4.4433 | 123.52 | 4.6933 | 9.17 | 4.0947 | 13.8 | 21.52 | 885 | 88.4333 | 0.16
2019-08-24 05:45:00 | 3.94 | 1.9967 | 4.5367 | 2.1867 | 4.9967 | 3.45 | 3.93 | 7.4667 | 21.2233 | 885 | 89.9 | 0.242
2019-08-24 06:00:00 | 4.1067 | 6.0233 | 4.73 | 6.6067 | 5.03 | 0.50333 | 4.3833 | 237.9467 | 21.05 | 885 | 90.7 | 1.1827
2019-08-24 06:15:00 | 4.3067 | 312.6233 | 4.9633 | 343.5333 | 5.2167 | 238.6633 | 4.8567 | 237.9633 | 21.0853 | 885 | 90.6333 | 0.90067
2019-08-24 06:30:00 | 4.336 | 166.6453 | 4.9907 | 183.12 | 5.3813 | 2.008 | 4.928 | 6.1747 | 21.0967 | 885 | 90.2533 | 1.282
2019-08-24 06:45:00 | 4.5533 | 101.4667 | 5.2467 | 111.5 | 5.4567 | 10.01 | 5.08 | 3.5367 | 21.1727 | 885 | 89.5867 | 1.6833
2019-08-24 07:00:00 | 4.48 | 112.0933 | 5.1533 | 123.18 | 5.4433 | 15.4367 | 5.0667 | 10.5033 | 21.1433 | 885.4667 | 89.7 | 1.266
2019-08-24 07:15:00 | 4.2467 | 8.69 | 4.89 | 9.5433 | 5.422 | 8.11 | 4.9087 | 124.6667 | 21.166 | 886 | 89.7333 | 0.79533
2019-08-24 07:30:00 | 4.2467 | 219.75 | 4.89 | 241.4833 | 5.44 | 0.51 | 4.5933 | 133.6467 | 21.2253 | 886 | 90 | 0.258
2019-08-24 07:45:00 | 4.012 | 321.87 | 4.614 | 353.7 | 4.95 | 0.38933 | 4.2853 | 6.344 | 21.302 | 886 | 89.9133 | 0.13067
2019-08-24 08:00:00 | 3.868 | 126.378 | 4.45 | 138.87 | 4.748 | 5.336 | 4.614 | 4.51 | 21.3353 | 886 | 89.82 | 0.41667
2019-08-24 08:15:00 | 3.7433 | 299.94 | 4.3033 | 329.6 | 5.6533 | 10.58 | 5.3367 | 7.3933 | 21.4667 | 886 | 90.4667 | 0.57667
2019-08-24 08:30:00 | 3.53 | 318.1933 | 4.0567 | 349.6667 | 5.42 | 3.8067 | 5.11 | 4.48 | 21.5733 | 886 | 90.3333 | 0.672
2019-08-24 08:45:00 | 3.92 | 318.57 | 4.52 | 350.0667 | 5.4433 | 6.7067 | 5.2433 | 15.5233 | 21.5167 | 886 | 90.4 | 2.01
2019-08-24 09:00:00 | 3.98 | 112.2767 | 4.5867 | 123.3733 | 5.6367 | 7.0333 | 5.87 | 12.7167 | 21.9633 | 886.4667 | 89.9333 | 1.834
2019-08-24 09:15:00 | 3.6967 | 108.76 | 4.25 | 119.51 | 5.42 | 4.7 | 5.5667 | 11.48 | 22.4153 | 887 | 88.8667 | 1.2527
2019-08-24 09:30:00 | 3.7433 | 214.62 | 4.31 | 235.8433 | 5.0467 | 7.3067 | 4.9867 | 15.4133 | 22.59 | 887 | 87.9333 | 0.49467
2019-08-24 09:45:00 | 3.3733 | 298.3667 | 3.88 | 327.8667 | 4.4067 | 8.83 | 4.42 | 8.83 | 22.7587 | 887 | 87.8 | 0
2019-08-24 10:00:00 | 3.18 | 324.152 | 3.6533 | 356.2133 | 3.9467 | 15.05 | 3.96 | 28.0567 | 23.0733 | 887 | 87.2 | 0
2019-08-24 10:15:00 | 2.84 | 0.56667 | 3.2667 | 0.62 | 3.84 | 10.79 | 3.5133 | 8.8133 | 23.5533 | 887 | 86.9667 | 0
2019-08-24 10:30:00 | 2.8267 | 1.5667 | 3.2533 | 1.72 | 3.9267 | 12.15 | 3.7 | 8.8467 | 24.12 | 887 | 84.9667 | 0
2019-08-24 10:45:00 | 2.4613 | 16.2713 | 2.8287 | 17.874 | 3.0787 | 13.44 | 2.6027 | 124.124 | 24.31 | 887 | 84.2267 | 0
2019-08-24 11:00:00 | 1.3867 | 10.8567 | 1.5967 | 11.9233 | 1.3867 | 20.2667 | 0.69333 | 339.4333 | 24.61 | 887 | 82.6 | 0
2019-08-24 11:15:00 | 0.64 | 252.9267 | 0.73333 | 277.9333 | 0.65667 | 176.8333 | 1.25 | 230.0333 | 25.3267 | 887 | 80.9667 | 0
2019-08-24 11:30:00 | 1.4733 | 116.6 | 1.6933 | 128.1333 | 1.6433 | 199.8333 | 1.61 | 198.3 | 25.9933 | 887 | 81.4333 | 0.029333
2019-08-24 11:45:00 | 2.6567 | 144.9433 | 3.0567 | 159.2667 | 2.94 | 175.6333 | 3.1333 | 210.5 | 27.05 | 887.1333 | 78.8767 | 0.20667
2019-08-24 12:00:00 | 2.958 | 142.81 | 3.4 | 156.92 | 3.258 | 200.68 | 3.236 | 207.66 | 27.554 | 888 | 77.19 | 0.20333
2019-08-24 12:15:00 | 2.66 | 152.3733 | 3.06 | 167.4333 | 2.9933 | 174.3 | 3.0067 | 201.1667 | 27.894 | 888 | 75.1967 | 0.482
2019-08-24 12:30:00 | 2.76 | 169.2333 | 3.1733 | 185.9667 | 3.1467 | 183.3667 | 3.1067 | 200.1 | 28.04 | 888 | 74.4367 | 0.43
2019-08-24 12:45:00 | 2.7767 | 139.9333 | 3.1933 | 153.7667 | 3.3167 | 195.8 | 3.1633 | 197.4667 | 28.2873 | 888 | 71.6967 | 0.26533
2019-08-24 13:00:00 | 2.8167 | 147.2133 | 3.2467 | 161.7667 | 3.25 | 183.4667 | 3.1233 | 182.4 | 28.3967 | 888 | 69.83 | 0
2019-08-24 13:15:00 | 3.14 | 185.9167 | 3.6133 | 204.3 | 3.6467 | 181.1333 | 3.4967 | 180.8333 | 28.2667 | 887.8667 | 69.2133 | 0.25133
2019-08-24 13:30:00 | 2.8733 | 161.4033 | 3.3067 | 177.3667 | 3.4 | 168 | 3.2767 | 169.5667 | 28.6867 | 887 | 67.2067 | 0.87733
2019-08-24 13:45:00 | 3.3133 | 133.5533 | 3.8133 | 146.7667 | 3.9633 | 177.6333 | 3.95 | 189.6 | 29.0267 | 887 | 63.7433 | 0.78867
2019-08-24 14:00:00 | 3.1133 | 139.1467 | 3.5867 | 152.9 | 3.8833 | 164.3 | 3.8967 | 173.9333 | 29.04 | 887 | 64.9633 | 1.0813
2019-08-24 14:15:00 | 3.3747 | 153.3113 | 3.8793 | 168.4667 | 4.1373 | 164.1667 | 4.1067 | 180.4467 | 29.378 | 887 | 64.1453 | 1.4747
2019-08-24 14:30:00 | 3.3467 | 131.4367 | 3.8467 | 144.4333 | 4.13 | 151.8333 | 4.3 | 169.8333 | 29.4313 | 887 | 63.11 | 0.87667
2019-08-24 14:45:00 | 2.86 | 155.2767 | 3.2967 | 170.6333 | 3.6433 | 180.2 | 3.8433 | 194.5 | 29.6673 | 887 | 62.3867 | 0.62667
2019-08-24 15:00:00 | 3.0733 | 128.3429 | 3.5429 | 141.0357 | 3.8636 | 180.4429 | 3.6886 | 184.2571 | 29.9071 | 887 | 61.0436 | 0.61133
2019-08-24 15:15:00 | 2.7933 | 116.4467 | 3.2133 | 127.9667 | 3.4767 | 176.7667 | 3.4233 | 191.3667 | 30.1167 | 887 | 60.1033 | 0.982
2019-08-24 15:30:00 | 2.5733 | 176.02 | 2.9667 | 193.4333 | 3.23 | 189.2333 | 3.19 | 206.0333 | 29.6633 | 887 | 61.3833 | 0.62067
2019-08-24 15:45:00 | 2.0267 | 155.4667 | 2.34 | 170.8333 | 2.56 | 157.8 | 2.49 | 182.3333 | 30.3967 | 887 | 60.16 | 0
2019-08-24 16:00:00 | 2.6133 | 157.8267 | 3.0133 | 173.4333 | 3.3733 | 162.4667 | 3.2167 | 176.2 | 30.71 | 887 | 58.72 | 0
2019-08-24 16:15:00 | 2.16 | 184.3467 | 2.48 | 202.5667 | 2.9667 | 219.0667 | 2.97 | 232.7667 | 30.2067 | 887 | 60.83 | 0
2019-08-24 16:30:00 | 2.3 | 170.098 | 2.642 | 186.92 | 3.114 | 206.78 | 3.342 | 220.86 | 30.334 | 887 | 60.83 | 0
2019-08-24 16:45:00 | 2.1667 | 139.6033 | 2.49 | 153.4 | 2.9133 | 215.0667 | 2.8167 | 233 | 30.8433 | 887 | 57.9633 | 0
2019-08-24 17:00:00 | 2.74 | 132.4433 | 3.1567 | 145.5333 | 3.6267 | 213.2 | 3.5633 | 211.8667 | 30.6367 | 887 | 58.8433 | 0
2019-08-24 17:15:00 | 2.5867 | 157.5533 | 2.9767 | 173.1333 | 3.38 | 169.1333 | 3.2733 | 175.1 | 30.2967 | 887 | 59.6867 | 0
2019-08-24 17:30:00 | 2.4067 | 138.56 | 2.77 | 152.2667 | 3.16 | 179.8667 | 3.1 | 173.9667 | 29.67 | 887 | 61.8 | 0
2019-08-24 17:45:00 | 2.4133 | 176.97 | 2.7767 | 194.4667 | 3.0267 | 184.8 | 3.3033 | 189.4333 | 29.06 | 887 | 62.7233 | 0
2019-08-24 18:00:00 | 2.3267 | 160.77 | 2.6767 | 176.6667 | 3.0133 | 180.7333 | 3.21 | 184.7 | 28.8267 | 886.5333 | 63.2033 | 0
2019-08-24 18:15:00 | 1.8533 | 181.7367 | 2.1367 | 199.7 | 2.4733 | 170.7 | 2.96 | 183.9667 | 28.9333 | 886 | 62.64 | 0
2019-08-24 18:30:00 | 1.7067 | 186.1033 | 1.9633 | 204.5 | 2.38 | 177.3667 | 2.84 | 179.8333 | 28.88 | 886 | 61.7333 | 0
2019-08-24 18:45:00 | 1.2667 | 172.9373 | 1.4633 | 190.04 | 1.8667 | 180 | 2.2 | 185.2667 | 28.5567 | 886 | 62.78 | 0
2019-08-24 19:00:00 | 1.3267 | 173.264 | 1.53 | 190.3933 | 1.78 | 195.0667 | 2.1067 | 188.6667 | 28.3033 | 886 | 62.944 | 0
2019-08-24 19:15:00 | 0.65667 | 146.2367 | 0.75667 | 160.7 | 0.92333 | 155.9667 | 1.0367 | 158 | 28.05 | 885.8667 | 63.17 | 0
2019-08-24 19:30:00 | 0.22333 | 124.95 | 0.27 | 137.3 | 0.43667 | 135.5 | 0.23667 | 149.3533 | 27.8767 | 885 | 65.3967 | 0
2019-08-24 19:45:00 | 0.08 | 185.8267 | 0.093333 | 204.2 | 0 | 135.5 | 0 | 149.3 | 27.5133 | 885 | 67.7067 | 0
2019-08-24 20:00:00 | 0.22667 | 307.58 | 0.26 | 338 | 0.20667 | 135.4067 | 0 | 149.3 | 27.3267 | 885 | 68.4533 | 0
2019-08-24 20:15:00 | 0.86667 | 307.58 | 1.0067 | 338 | 1.43 | 30.6467 | 0.75333 | 25.3573 | 27.2447 | 885 | 68.67 | 0
2019-08-24 20:30:00 | 1.62 | 312.6133 | 1.8667 | 343.5333 | 2.35 | 10.6933 | 2.16 | 24.8867 | 26.9467 | 885 | 71.6633 | 0
2019-08-24 20:45:00 | 2.2167 | 321.4433 | 2.55 | 353.2333 | 3.1733 | 20.1667 | 3.3 | 31.3933 | 26.45 | 885 | 73.9567 | 0
2019-08-24 21:00:00 | 2.27 | 299.9633 | 2.61 | 329.6333 | 3.7733 | 24.6867 | 3.54 | 27.2 | 26.1833 | 885 | 75.29 | 0.39333
2019-08-24 21:15:00 | 2.4667 | 312.6767 | 2.8433 | 343.6 | 4.0733 | 18.8233 | 4.2733 | 26.7267 | 25.8267 | 885.1333 | 76.92 | 0.76667
2019-08-24 21:30:00 | 2.5733 | 103.73 | 2.9567 | 113.98 | 3.6067 | 12.99 | 3.72 | 11.9867 | 25.72 | 886 | 77.74 | 0.88933
2019-08-24 21:45:00 | 2.7067 | 210.17 | 3.12 | 230.96 | 3.81 | 9.1367 | 3.8667 | 17.5267 | 25.652 | 886 | 79.0233 | 1.1653
2019-08-24 22:00:00 | 2.8933 | 110.0167 | 3.3333 | 120.8933 | 3.8567 | 5.1633 | 3.9 | 16.52 | 25.53 | 886 | 80.21 | 1.0067
2019-08-24 22:15:00 | 2.85 | 298.7567 | 3.2767 | 328.3 | 3.5467 | 8.0633 | 3.8667 | 21.9467 | 25.434 | 886 | 81.1 | 0.031333
2019-08-24 22:30:00 | 2.97 | 106.5167 | 3.4233 | 117.04 | 3.6133 | 11.5033 | 3.4333 | 20.6533 | 25.4413 | 886 | 80.8533 | 0
2019-08-24 22:45:00 | 3.09 | 317.71 | 3.5533 | 349.1333 | 3.6033 | 9.03 | 3.11 | 5.31 | 25.4767 | 886 | 80.4333 | 0
2019-08-24 23:00:00 | 3.1433 | 300.6633 | 3.6133 | 330.4 | 3.9633 | 1.81 | 3.8033 | 3.29 | 25.33 | 886 | 81.2333 | 0
2019-08-24 23:15:00 | 3.02 | 312.4033 | 3.48 | 343.3 | 3.93 | 6.67 | 3.8433 | 8.8533 | 25.14 | 886 | 82.1 | 0
2019-08-24 23:30:00 | 2.8733 | 109.93 | 3.3067 | 120.7933 | 4.1367 | 18.0767 | 3.9967 | 12.1067 | 24.9333 | 886 | 83.4333 | 0
2019-08-24 23:45:00 | 3.1667 | 114.0933 | 3.6467 | 125.3733 | 4.3033 | 16.7167 | 4.4267 | 10.19 | 24.59 | 886 | 85 | 0.28