## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-25 00:00:00 | 3.1914 | 321.2664 | 3.6714 | 353.0429 | 4.28 | 9.97 | 4.3279 | 7.415 | 24.425 | 886 | 85.65 | 0.41929
2019-08-25 00:15:00 | 3.2067 | 109.61 | 3.69 | 120.4533 | 4.1633 | 5.3967 | 4.2067 | 6.17 | 24.388 | 885.8667 | 85.9667 | 0.45067
2019-08-25 00:30:00 | 3.3267 | 311.9233 | 3.8233 | 342.7667 | 4.2367 | 240.1833 | 3.96 | 6.17 | 24.364 | 885 | 85.9667 | 1.3593
2019-08-25 00:45:00 | 3.1667 | 301.5833 | 3.6433 | 331.4 | 4.65 | 5.4733 | 4.7467 | 9.9967 | 24.3293 | 885 | 86.3 | 2.338
2019-08-25 01:00:00 | 3.144 | 135.008 | 3.624 | 148.352 | 4.802 | 3.118 | 4.824 | 4.782 | 24.198 | 885 | 86.94 | 2.994
2019-08-25 01:15:00 | 3.3467 | 112.5767 | 3.8567 | 123.7133 | 4.8433 | 2.9033 | 4.9033 | 58.4333 | 24.0467 | 885 | 87.5333 | 3.6327
2019-08-25 01:30:00 | 3.072 | 321.036 | 3.544 | 352.78 | 4.942 | 6.802 | 5.178 | 12.756 | 23.934 | 885 | 88.22 | 3.9027
2019-08-25 01:45:00 | 2.79 | 298.7967 | 3.2067 | 328.3333 | 5.4313 | 5.4167 | 5.69 | 13.3733 | 23.7133 | 885 | 89.6667 | 3.9073
2019-08-25 02:00:00 | 3.05 | 298.3033 | 3.5133 | 327.8 | 4.8467 | 3.0567 | 5.07 | 13.4533 | 23.54 | 885 | 90.4667 | 2.1567
2019-08-25 02:15:00 | 3.36 | 320.2067 | 3.8633 | 351.8667 | 4.3733 | 1.5733 | 4.8 | 12.07 | 23.4247 | 885 | 91.0667 | 1.6627
2019-08-25 02:30:00 | 3 | 310.8 | 3.45 | 341.5333 | 4.3333 | 3.06 | 4.8333 | 9.4433 | 23.23 | 885 | 91.8667 | 3.506
2019-08-25 02:45:00 | 2.8067 | 127.9533 | 3.2267 | 140.6067 | 5.0733 | 7.0633 | 5.3833 | 10.44 | 23.07 | 885 | 92.7667 | 5.33
2019-08-25 03:00:00 | 2.8467 | 300.5733 | 3.2733 | 330.3 | 5.36 | 10.4967 | 5.5853 | 12.7067 | 22.9833 | 885 | 93.3 | 4.2833
2019-08-25 03:15:00 | 3.0933 | 207.3633 | 3.56 | 227.87 | 5.0667 | 8.6967 | 5.4833 | 13.07 | 22.99 | 884.8667 | 93.2667 | 3.3573
2019-08-25 03:30:00 | 3.18 | 2.8967 | 3.6667 | 3.1767 | 4.6667 | 9.8167 | 5.0367 | 19.65 | 23.0833 | 884 | 92.8 | 2.2867
2019-08-25 03:45:00 | 2.98 | 270.192 | 3.432 | 296.908 | 4.356 | 6.4387 | 4.7333 | 13.396 | 22.9733 | 884 | 93.2467 | 2.08
2019-08-25 04:00:00 | 3.1867 | 314.2267 | 3.6667 | 345.3 | 4.4 | 3.6933 | 4.72 | 11.5533 | 22.8333 | 884 | 94.0333 | 2.8607
2019-08-25 04:15:00 | 3.5133 | 306.5427 | 4.036 | 336.86 | 4.656 | 7.7333 | 4.9013 | 10.8053 | 22.7613 | 884 | 94.6533 | 2.8253
2019-08-25 04:30:00 | 3.5033 | 314.6833 | 4.0267 | 345.8 | 4.5867 | 14.5467 | 5.1867 | 17.7767 | 22.8033 | 884 | 94.6667 | 3.332
2019-08-25 04:45:00 | 3.5 | 282.1667 | 4.03 | 310.0667 | 5.1067 | 119.36 | 5.3867 | 2.4133 | 22.7827 | 884 | 94.7467 | 3.0473
2019-08-25 05:00:00 | 3.5267 | 112.8 | 4.0633 | 123.9467 | 4.8467 | 119.86 | 5 | 4.8133 | 22.7067 | 884 | 95.0333 | 1.8533
2019-08-25 05:15:00 | 3.64 | 316.2333 | 4.1933 | 347.5 | 4.6267 | 122.14 | 4.75 | 15.3233 | 22.718 | 884 | 94.6667 | 0.39533
2019-08-25 05:30:00 | 3.4467 | 313.0067 | 3.9667 | 343.9667 | 4.34 | 124.8467 | 4.41 | 9.8833 | 22.6907 | 884 | 94.6667 | 0.274
2019-08-25 05:45:00 | 3.3967 | 315.8067 | 3.91 | 347.0333 | 4.29 | 13.5833 | 4.39 | 6.56 | 22.6147 | 884 | 94.6 | 0.598
2019-08-25 06:00:00 | 3.4233 | 311.2533 | 3.9433 | 342.0333 | 4.1633 | 239.8033 | 4.2767 | 11.2267 | 22.5067 | 884 | 95 | 1.708
2019-08-25 06:15:00 | 3.33 | 12.3467 | 3.8333 | 13.56 | 4.7567 | 11.1767 | 5.0267 | 10.7267 | 22.3667 | 884 | 95.4 | 2.7827
2019-08-25 06:30:00 | 3.33 | 216.6467 | 3.8333 | 238.0733 | 4.85 | 8.9433 | 5.1667 | 5.8 | 22.2907 | 884 | 96.1333 | 2.4693
2019-08-25 06:45:00 | 3.28 | 316.8133 | 3.78 | 348.1333 | 4.61 | 3.89 | 4.9033 | 135.1 | 22.16 | 884 | 97.1 | 1.3473
2019-08-25 07:00:00 | 3.4133 | 317.5933 | 3.9333 | 349 | 4.6633 | 3.0767 | 4.69 | 5.64 | 22.0133 | 884 | 97.9667 | 2.0073
2019-08-25 07:15:00 | 3.898 | 318.65 | 4.492 | 350.16 | 5.038 | 2.468 | 5.194 | 9.126 | 22.078 | 884.8 | 98.4 | 3.082
2019-08-25 07:30:00 | 3.7967 | 295.0967 | 4.3667 | 324.2667 | 4.7833 | 3.16 | 5.1433 | 7.4033 | 22.2233 | 885 | 97.8 | 3.0393
2019-08-25 07:45:00 | 3.8167 | 106.1133 | 4.3867 | 116.6 | 5.0833 | 2.9367 | 5.4367 | 7.9933 | 22.4133 | 885 | 96.9667 | 2.934
2019-08-25 08:00:00 | 3.79 | 117.64 | 4.36 | 129.2667 | 5.1233 | 3.7767 | 5.3033 | 6.5067 | 22.7 | 885 | 95.1667 | 2.356
2019-08-25 08:15:00 | 3.62 | 8.33 | 4.16 | 9.1533 | 4.79 | 10.71 | 4.8367 | 8.2967 | 23.1133 | 885 | 93.6667 | 0.63267
2019-08-25 08:30:00 | 3.38 | 212.27 | 3.8867 | 233.2667 | 4.33 | 2.17 | 4.1033 | 238.87 | 23.2067 | 885 | 93.2 | 0
2019-08-25 08:45:00 | 2.9 | 2.0967 | 3.3333 | 2.3 | 3.6033 | 4.2133 | 3.23 | 53.3733 | 23.77 | 885.1333 | 91.5667 | 0.068
2019-08-25 09:00:00 | 2.7867 | 208.5633 | 3.2067 | 229.1933 | 3.65 | 8.1333 | 3.4433 | 0.24 | 23.9033 | 886 | 91.1 | 0
2019-08-25 09:15:00 | 2.7067 | 125.7267 | 3.1133 | 138.1667 | 3.8667 | 5.75 | 4.0933 | 10.12 | 23.8287 | 886 | 91.48 | 0
2019-08-25 09:30:00 | 2.32 | 115.7933 | 2.6667 | 127.2467 | 3.2467 | 11.73 | 3.06 | 7.2333 | 23.6733 | 886 | 92.3667 | 0.17933
2019-08-25 09:45:00 | 2.0367 | 209.9533 | 2.34 | 230.7133 | 3.2033 | 10.08 | 2.65 | 6.4733 | 23.6507 | 886 | 93.1 | 0
2019-08-25 10:00:00 | 2.33 | 217.84 | 2.68 | 239.38 | 3.9167 | 43.7067 | 3.4233 | 3.8133 | 23.8867 | 886 | 92.7667 | 0.038
2019-08-25 10:15:00 | 2.74 | 37.7133 | 3.1533 | 41.4367 | 4.1 | 10.43 | 4.23 | 5.2467 | 24.4933 | 886 | 89.6333 | 0.326
2019-08-25 10:30:00 | 2.6533 | 15.2733 | 3.0533 | 16.7833 | 3.8133 | 6.9367 | 3.6633 | 5.4067 | 25.22 | 886.4667 | 87.7667 | 0
2019-08-25 10:45:00 | 2.7267 | 201.76 | 3.1367 | 221.7 | 3.6 | 18.1767 | 3.0833 | 25.5633 | 25.9167 | 887 | 84.5667 | 0
2019-08-25 11:00:00 | 2.4333 | 209.58 | 2.7967 | 230.3 | 2.94 | 7.31 | 2.23 | 60.2233 | 25.7267 | 887 | 84.7667 | 0
2019-08-25 11:15:00 | 2.3667 | 216.61 | 2.7233 | 238.0367 | 3.0767 | 10.2667 | 1.9733 | 237.5133 | 25.8167 | 887 | 85.0333 | 0
2019-08-25 11:30:00 | 2.3933 | 17.2033 | 2.75 | 18.9033 | 3.1567 | 31.8933 | 2.2333 | 19.78 | 26.3367 | 887 | 83.7 | 0
2019-08-25 11:45:00 | 2.1733 | 213.41 | 2.5033 | 234.5167 | 2.6467 | 128.16 | 1.6867 | 119.9267 | 26.5533 | 887 | 83.3 | 0
2019-08-25 12:00:00 | 1.4733 | 215.6633 | 1.71 | 236.9833 | 1.2667 | 121.6867 | 0.87333 | 319.3333 | 26.5733 | 887 | 82.4333 | 0
2019-08-25 12:15:00 | 1.4067 | 223.45 | 1.6233 | 245.5433 | 1.3433 | 91.16 | 1.0567 | 270.3667 | 27.0133 | 887 | 81 | 0
2019-08-25 12:30:00 | 1.2267 | 92.1633 | 1.4167 | 101.2767 | 1.3567 | 180.1667 | 1.4033 | 198.4333 | 27.5467 | 887 | 79.1267 | 0
2019-08-25 12:45:00 | 1.4767 | 137.6267 | 1.7067 | 151.2333 | 1.4667 | 157.3 | 1.6467 | 191.3 | 28.2833 | 886.8667 | 76.5667 | 0
2019-08-25 13:00:00 | 1.8033 | 131.38 | 2.08 | 144.3667 | 2.0533 | 140.1 | 1.8467 | 138.6333 | 28.644 | 886 | 74.0467 | 0
2019-08-25 13:15:00 | 1.8267 | 166.9867 | 2.1067 | 183.5 | 2.1167 | 176.7667 | 2.2367 | 169 | 29.05 | 886 | 71.6933 | 0
2019-08-25 13:30:00 | 2 | 173.1733 | 2.3 | 190.3 | 2.2833 | 167.1 | 2.4033 | 184.7333 | 29.85 | 886 | 67.6 | 0
2019-08-25 13:45:00 | 3.0947 | 152.7853 | 3.566 | 167.8933 | 3.5773 | 166.34 | 3.4327 | 168.5933 | 29.848 | 886 | 65.074 | 0
2019-08-25 14:00:00 | 2.5333 | 142.84 | 2.9167 | 156.9667 | 3.18 | 172.3 | 3.0333 | 163.3667 | 29.7767 | 886 | 67.08 | 0
2019-08-25 14:15:00 | 2.3 | 142.8733 | 2.6533 | 157 | 2.8367 | 164.7667 | 2.6467 | 163.8 | 29.9507 | 886 | 65.8333 | 0
2019-08-25 14:30:00 | 2.34 | 100.1067 | 2.6933 | 110 | 2.7633 | 138.3667 | 2.5867 | 166.6667 | 30.36 | 886 | 65.3533 | 0
2019-08-25 14:45:00 | 2.1333 | 123.9467 | 2.46 | 136.2 | 2.77 | 142.4667 | 2.7867 | 165.3333 | 30.528 | 886 | 64.6613 | 0
2019-08-25 15:00:00 | 2.252 | 141.868 | 2.59 | 155.9 | 2.858 | 188.24 | 2.818 | 194.58 | 30.69 | 886 | 64.53 | 0
2019-08-25 15:15:00 | 1.9267 | 150.16 | 2.2233 | 165 | 2.5067 | 221.5333 | 2.5967 | 193.2667 | 30.7013 | 886 | 63.8793 | 0
2019-08-25 15:30:00 | 2.2333 | 133.8333 | 2.57 | 147.0667 | 2.7067 | 183.5333 | 2.5033 | 189.0667 | 30.492 | 886 | 64.61 | 0
2019-08-25 15:45:00 | 2.5133 | 162.9533 | 2.8967 | 179.0667 | 3.33 | 158.9333 | 3.2333 | 163.1 | 30.8633 | 886 | 62.8533 | 0.55333
2019-08-25 16:00:00 | 2.6067 | 164.84 | 2.9967 | 181.1333 | 3.4367 | 170.6667 | 3.1867 | 171.1667 | 30.4967 | 886 | 62.5267 | 0.25067
2019-08-25 16:15:00 | 2.0333 | 187.1333 | 2.3367 | 205.6333 | 2.9733 | 227.3667 | 2.91 | 243.5667 | 30.64 | 885.8667 | 63.8733 | 0
2019-08-25 16:30:00 | 2.5 | 161.96 | 2.8767 | 177.9667 | 3.48 | 204.5667 | 3.5433 | 211.7 | 30.16 | 885 | 66.0933 | 0.20467
2019-08-25 16:45:00 | 1.82 | 137.9 | 2.1033 | 151.5333 | 2.47 | 214.4667 | 2.9333 | 230 | 30.4767 | 885 | 63.9467 | 0
2019-08-25 17:00:00 | 1.86 | 153.7867 | 2.15 | 169 | 2.73 | 221.6 | 2.9533 | 232.8667 | 30.7167 | 885 | 63.5467 | 0
2019-08-25 17:15:00 | 2.048 | 176.36 | 2.3567 | 193.7933 | 2.9967 | 234.7933 | 2.9733 | 240.78 | 30.082 | 885 | 66.1987 | 0
2019-08-25 17:30:00 | 2.04 | 171.6067 | 2.3533 | 188.5667 | 2.9367 | 232.6667 | 3.09 | 242.2667 | 29.6567 | 885 | 68.6933 | 0
2019-08-25 17:45:00 | 1.4267 | 225.53 | 1.65 | 247.8333 | 2.5667 | 256.1333 | 2.7167 | 263.6 | 29.54 | 885 | 69.2167 | 0
2019-08-25 18:00:00 | 1.44 | 265.5167 | 1.6567 | 291.7667 | 2.7733 | 259.0667 | 2.7567 | 263.2 | 29.3533 | 885 | 70.6233 | 0
2019-08-25 18:15:00 | 1.0633 | 217.0167 | 1.2267 | 238.4667 | 1.9867 | 244.6333 | 1.77 | 239.5333 | 29.1567 | 884.2 | 70.0067 | 0
2019-08-25 18:30:00 | 0.76 | 198.372 | 0.882 | 217.98 | 1.398 | 226.0067 | 1.304 | 223.26 | 29.1813 | 884 | 69.238 | 0
2019-08-25 18:45:00 | 1.8967 | 182.7233 | 2.1833 | 200.79 | 3.3867 | 13.6333 | 3.42 | 13.2067 | 28.7067 | 884.6667 | 72.02 | 0
2019-08-25 19:00:00 | 2.07 | 209.59 | 2.3767 | 230.3233 | 3.9467 | 20.8267 | 3.7533 | 35.02 | 28.0933 | 884 | 74.66 | 0.095333
2019-08-25 19:15:00 | 1.7333 | 93.7567 | 2.0033 | 103.0267 | 3.3667 | 21.7633 | 3.19 | 34.3 | 27.1667 | 884 | 77.52 | 0
2019-08-25 19:30:00 | 1.9067 | 302.6033 | 2.1967 | 332.5333 | 3.1333 | 15.2033 | 3.0767 | 9.2333 | 26.7267 | 884 | 78.4667 | 0
2019-08-25 19:45:00 | 2.3167 | 198.8267 | 2.6667 | 218.4933 | 3.3487 | 3.9433 | 3.26 | 10.5967 | 26.2233 | 883.8667 | 80.3333 | 0
2019-08-25 20:00:00 | 2.4167 | 206.1067 | 2.7867 | 226.4933 | 3.6867 | 10.9767 | 3.6533 | 17.33 | 25.9967 | 883 | 81.6 | 0.37733
2019-08-25 20:15:00 | 2.6733 | 123.63 | 3.0767 | 135.8533 | 4.0267 | 7.68 | 4.19 | 16.33 | 25.73 | 883 | 83.2667 | 1.564
2019-08-25 20:30:00 | 2.5533 | 211.3633 | 2.9367 | 232.2533 | 4.4533 | 20.0067 | 4.5167 | 16.59 | 25.5233 | 883 | 84.6667 | 4.2307
2019-08-25 20:45:00 | 2.72 | 221.7133 | 3.13 | 243.6333 | 5.3833 | 15.4333 | 5.5133 | 18.6767 | 25.1833 | 883 | 86.5333 | 6.954
2019-08-25 21:00:00 | 2.9533 | 250.6467 | 3.4033 | 275.4333 | 5.6233 | 17.2133 | 5.7867 | 17.45 | 24.89 | 883.4667 | 88.0667 | 7.5307
2019-08-25 21:15:00 | 3.1333 | 22.32 | 3.6067 | 24.5233 | 5.7867 | 13.3833 | 5.9733 | 18.9067 | 24.6787 | 884 | 89.2133 | 9.3653
2019-08-25 21:30:00 | 3.3267 | 29.36 | 3.8333 | 32.25 | 5.9067 | 222.37 | 6.12 | 14.3 | 24.67 | 884 | 89.3467 | 9.0453
2019-08-25 21:45:00 | 3.3067 | 171.38 | 3.8 | 188.32 | 5.7333 | 10.97 | 5.9267 | 12.8633 | 24.658 | 884 | 89.5 | 8.3513
2019-08-25 22:00:00 | 3.2733 | 199.8933 | 3.7667 | 219.6533 | 5.74 | 15.0033 | 5.8667 | 18.09 | 24.6347 | 884 | 89.7 | 7.9187
2019-08-25 22:15:00 | 3.16 | 114.88 | 3.6333 | 126.2333 | 5.23 | 6.1033 | 5.5333 | 14.4633 | 24.6967 | 884 | 89.5 | 8.79
2019-08-25 22:30:00 | 3.2 | 303.46 | 3.6867 | 333.4667 | 5.4233 | 10.3833 | 5.54 | 4.39 | 24.6113 | 884 | 90.0333 | 7.31
2019-08-25 22:45:00 | 2.8867 | 24.3467 | 3.32 | 26.7433 | 4.9133 | 1.9433 | 5.1167 | 16.4267 | 24.7133 | 884 | 89.6 | 6.1507
2019-08-25 23:00:00 | 3.1467 | 240.6533 | 3.6267 | 264.45 | 4.82 | 4.1433 | 4.79 | 10.4933 | 24.5613 | 884 | 90.2467 | 4.7533
2019-08-25 23:15:00 | 3.61 | 230.2467 | 4.16 | 253.0133 | 5.2933 | 352.4 | 5.2433 | 5.9533 | 24.5867 | 884 | 90.0667 | 4.8427
2019-08-25 23:30:00 | 3.546 | 210.194 | 4.082 | 230.976 | 5.42 | 141.8 | 5.496 | 9.5 | 24.45 | 884 | 90.74 | 5.7567
2019-08-25 23:45:00 | 3.2533 | 112.9467 | 3.74 | 124.12 | 5.2533 | 23.35 | 5.1633 | 6.5133 | 24.2467 | 884 | 91.8667 | 5.8973