## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-26 00:00:00 | 3.3029 | 132.4693 | 3.7957 | 145.5671 | 5.7479 | 250.6536 | 5.5007 | 8.4093 | 24.1614 | 884 | 92.4 | 7.0414
2019-08-26 00:15:00 | 3.4467 | 6.4767 | 3.9667 | 7.1133 | 5.6233 | 10.8533 | 5.7133 | 10.58 | 24.204 | 884 | 92.2 | 4.3947
2019-08-26 00:30:00 | 3.42 | 10.03 | 3.9467 | 11.0133 | 5.0367 | 246.0467 | 5.2933 | 4.5867 | 24.3087 | 884 | 91.4667 | 3.1667
2019-08-26 00:45:00 | 3.6233 | 24.2167 | 4.1767 | 26.6 | 5.1067 | 238.4133 | 4.94 | 241.3633 | 24.456 | 884 | 90.6667 | 2.3347
2019-08-26 01:00:00 | 3.5833 | 4.65 | 4.1233 | 5.1 | 5.0933 | 1.98 | 5.0533 | 9.7167 | 24.3567 | 884 | 91.2 | 2.5233
2019-08-26 01:15:00 | 3.764 | 48.3373 | 4.328 | 53.1167 | 4.9933 | 254.9307 | 5.0653 | 6.6387 | 24.292 | 884 | 91.5333 | 2.722
2019-08-26 01:30:00 | 3.5 | 252.69 | 4.02 | 277.6667 | 4.8967 | 6.0267 | 4.9167 | 7.76 | 24.2553 | 883.5333 | 91.6533 | 2.6187
2019-08-26 01:45:00 | 3.6533 | 218.8133 | 4.2033 | 240.4533 | 4.91 | 3.56 | 4.9267 | 9.3967 | 24.1873 | 883 | 91.9133 | 2.3947
2019-08-26 02:00:00 | 3.5733 | 10.4733 | 4.1233 | 11.5 | 4.9433 | 5.4267 | 5.0067 | 3.63 | 24.0367 | 883 | 92.6 | 1.5307
2019-08-26 02:15:00 | 3.7 | 212.23 | 4.26 | 233.2167 | 4.7433 | 7.8533 | 4.7533 | 350.1333 | 23.9793 | 883 | 92.7133 | 2.5913
2019-08-26 02:30:00 | 3.5 | 162.9993 | 4.028 | 179.1167 | 4.5527 | 13.0187 | 4.8547 | 171.3707 | 23.916 | 883 | 92.92 | 2.956
2019-08-26 02:45:00 | 3.1133 | 246.4967 | 3.5767 | 270.8667 | 5.04 | 3.6733 | 5.22 | 11.7 | 23.71 | 883 | 94.0667 | 3.3187
2019-08-26 03:00:00 | 3.16 | 248.8633 | 3.6433 | 273.4667 | 5.1333 | 6.72 | 5.1867 | 13.46 | 23.6167 | 883 | 94.5333 | 3.1667
2019-08-26 03:15:00 | 3.3533 | 306.5233 | 3.86 | 336.8333 | 4.83 | 22.38 | 4.93 | 5.9633 | 23.5447 | 883 | 95.0667 | 3.1593
2019-08-26 03:30:00 | 3.0667 | 316.6633 | 3.5267 | 347.9667 | 4.7833 | 23.32 | 5.05 | 10.95 | 23.496 | 883 | 95.4 | 2.8127
2019-08-26 03:45:00 | 3.2433 | 106.26 | 3.73 | 116.7667 | 4.91 | 4.5067 | 5.0233 | 6.2867 | 23.33 | 882.2 | 96.1667 | 3.244
2019-08-26 04:00:00 | 3.2367 | 104.6533 | 3.7233 | 115 | 5.15 | 3.2733 | 5.15 | 9.22 | 23.256 | 882 | 96.3 | 1.6567
2019-08-26 04:15:00 | 3.4067 | 322.3333 | 3.9133 | 354.2 | 4.4733 | 5.7867 | 4.42 | 9.7533 | 23.3667 | 882 | 95.6 | 0.314
2019-08-26 04:30:00 | 3.3667 | 318.26 | 3.8733 | 349.7333 | 4.3867 | 2.6867 | 4.2733 | 3.86 | 23.38 | 882 | 95.4 | 0.43733
2019-08-26 04:45:00 | 3.2267 | 213.1233 | 3.7167 | 234.2 | 4.48 | 119.0333 | 4.4733 | 1.8067 | 23.2587 | 882 | 95.8867 | 0.264
2019-08-26 05:00:00 | 3.04 | 212.7567 | 3.4967 | 233.8 | 3.8467 | 119.66 | 3.7467 | 7.1533 | 23.2407 | 882 | 95.8 | 0.10067
2019-08-26 05:15:00 | 2.8233 | 11.05 | 3.2433 | 12.1333 | 3.5933 | 0.28 | 3.32 | 236.34 | 23.1633 | 882 | 95.9467 | 0.42533
2019-08-26 05:30:00 | 2.83 | 209.7233 | 3.2567 | 230.46 | 3.92 | 8.1467 | 3.4667 | 6.1 | 23.1113 | 882 | 96.3 | 0.55533
2019-08-26 05:45:00 | 3.12 | 310.49 | 3.5933 | 341.2 | 4.5667 | 9.8133 | 4.5733 | 4.1467 | 22.9033 | 882 | 97.9 | 1.3207
2019-08-26 06:00:00 | 3.36 | 107.5567 | 3.8733 | 118.1867 | 4.4133 | 5.0867 | 4.3067 | 7.1933 | 22.7633 | 882 | 98.6333 | 0.556
2019-08-26 06:15:00 | 3.1267 | 123.0233 | 3.5967 | 135.1933 | 3.9367 | 119.5533 | 3.5733 | 10.7567 | 22.8153 | 882 | 97.9333 | 0.41067
2019-08-26 06:30:00 | 2.6733 | 306.1833 | 3.0767 | 336.4667 | 3.3633 | 356.5733 | 3.0533 | 2.1033 | 22.8593 | 882 | 97.4667 | 1.0153
2019-08-26 06:45:00 | 2.64 | 313.3133 | 3.0367 | 344.3 | 3.5367 | 5.8967 | 3.57 | 3.44 | 22.902 | 882 | 97.2 | 0.43667
2019-08-26 07:00:00 | 2.7467 | 122.6067 | 3.1567 | 134.72 | 3.7233 | 4.11 | 3.75 | 4.2867 | 22.9193 | 882 | 97.0667 | 0.28267
2019-08-26 07:15:00 | 2.8867 | 22.7467 | 3.3267 | 24.9967 | 4.59 | 10.5267 | 4.7633 | 11.0967 | 22.9273 | 882 | 97.2467 | 1.516
2019-08-26 07:30:00 | 2.66 | 222.3 | 3.0667 | 244.2833 | 4.8367 | 6.7067 | 5.0433 | 9.69 | 22.9287 | 882 | 97.9333 | 0.962
2019-08-26 07:45:00 | 3.0833 | 213.3933 | 3.5433 | 234.5 | 4.9633 | 13.8033 | 5.1333 | 20.4233 | 22.9947 | 882.1333 | 97.4667 | 2.5153
2019-08-26 08:00:00 | 2.91 | 204.2933 | 3.3433 | 224.5 | 5.2833 | 17.4967 | 5.52 | 17.2367 | 23.1233 | 883 | 96.8667 | 3.8047
2019-08-26 08:15:00 | 2.6733 | 307.5333 | 3.0867 | 337.9333 | 4.93 | 13.18 | 5.3267 | 25.36 | 23.3333 | 883 | 97.0867 | 3.2807
2019-08-26 08:30:00 | 2.74 | 317.8467 | 3.1533 | 349.2667 | 4.9033 | 15.2667 | 5.3067 | 27.82 | 23.76 | 883 | 96.2 | 3.42
2019-08-26 08:45:00 | 2.94 | 308.0033 | 3.39 | 338.4667 | 4.7333 | 10.9267 | 4.9267 | 18.0133 | 24.2447 | 883 | 93.6333 | 3.2167
2019-08-26 09:00:00 | 2.84 | 302.7967 | 3.27 | 332.7333 | 4.5267 | 16.32 | 4.72 | 19.78 | 24.0367 | 883 | 93.9667 | 4.3713
2019-08-26 09:15:00 | 2.8 | 60.1667 | 3.2333 | 66.1133 | 4.9133 | 9.16 | 4.8933 | 12.99 | 24.6467 | 883 | 93.0333 | 4.4907
2019-08-26 09:30:00 | 3.192 | 19.448 | 3.678 | 21.364 | 4.964 | 9.262 | 5.264 | 11.568 | 25.332 | 883.4667 | 89.7 | 4.5947
2019-08-26 09:45:00 | 3.32 | 294.6367 | 3.8267 | 323.7667 | 5.4367 | 11.3067 | 5.5467 | 17.2733 | 25.3787 | 884 | 88.5667 | 5.8927
2019-08-26 10:00:00 | 3.2933 | 137.1967 | 3.7933 | 150.7533 | 5.29 | 11.4533 | 5.32 | 9.2267 | 25.1553 | 884 | 89.2333 | 5.2527
2019-08-26 10:15:00 | 3.4067 | 2.04 | 3.92 | 2.2367 | 5.1467 | 8.8933 | 5.0233 | 12.1233 | 25.6333 | 884 | 88.0333 | 3.958
2019-08-26 10:30:00 | 3.62 | 46.3467 | 4.1667 | 50.93 | 5.46 | 14.2733 | 5.3833 | 12.0633 | 25.92 | 884.4667 | 86.0333 | 2.214
2019-08-26 10:45:00 | 2.9933 | 36.01 | 3.4433 | 39.5733 | 4.4467 | 23.37 | 4.1567 | 8.3 | 26.0933 | 885 | 85.3667 | 0
2019-08-26 11:00:00 | 2.74 | 228.23 | 3.15 | 250.7933 | 4.1067 | 27.0033 | 3.73 | 30.0067 | 27.0067 | 885 | 83.1 | 0
2019-08-26 11:15:00 | 2.3267 | 144.91 | 2.68 | 159.2333 | 3.4733 | 15.1733 | 2.8167 | 5.5733 | 27.68 | 885 | 79.8567 | 0
2019-08-26 11:30:00 | 2.3933 | 125.59 | 2.7533 | 138.0133 | 3.1933 | 15.82 | 2.3033 | 19.2267 | 27.8067 | 885 | 78.2633 | 0
2019-08-26 11:45:00 | 1.58 | 31.5867 | 1.8233 | 34.7067 | 1.7933 | 7.24 | 1.27 | 29.5067 | 27.758 | 885 | 77.0067 | 0
2019-08-26 12:00:00 | 1.18 | 206.5 | 1.3633 | 226.92 | 1.5 | 24.3533 | 0.74333 | 131.7333 | 27.9567 | 885 | 77.2933 | 0
2019-08-26 12:15:00 | 1.1333 | 216.7567 | 1.3133 | 238.1933 | 1.34 | 5.0367 | 1.0667 | 36.6133 | 28.39 | 885 | 75.8333 | 0
2019-08-26 12:30:00 | 1.3667 | 94.7633 | 1.58 | 104.1267 | 1.7333 | 124.2367 | 1.4667 | 128.5667 | 28.7767 | 884.5333 | 74.24 | 0
2019-08-26 12:45:00 | 2.8733 | 155.0367 | 3.31 | 170.3667 | 3.57 | 168.3333 | 3.6767 | 167.5 | 29.11 | 884 | 71.0467 | 0
2019-08-26 13:00:00 | 2.8733 | 152.79 | 3.31 | 167.9 | 3.41 | 159.8667 | 3.43 | 170.9667 | 29.3633 | 884 | 70.14 | 0
2019-08-26 13:15:00 | 2.4933 | 147.75 | 2.8667 | 162.3667 | 3.0833 | 151.5 | 3.02 | 134.3667 | 29.59 | 884 | 68.66 | 0
2019-08-26 13:30:00 | 1.0933 | 113.7167 | 1.26 | 124.9667 | 1.2967 | 171.3667 | 1.3933 | 160.9667 | 29.5233 | 884 | 70.18 | 0
2019-08-26 13:45:00 | 1.81 | 130.2533 | 2.0867 | 143.1333 | 2.14 | 188.5333 | 2.4 | 193.3333 | 30.1467 | 884 | 68.16 | 0
2019-08-26 14:00:00 | 1.59 | 135.66 | 1.84 | 149.0667 | 1.82 | 194.0667 | 2.24 | 223.6 | 30.42 | 884 | 67.1333 | 0
2019-08-26 14:15:00 | 1.84 | 191.4067 | 2.1167 | 210.3333 | 2.4467 | 258.1 | 2.4567 | 245 | 30.9733 | 884 | 62.8033 | 0
2019-08-26 14:30:00 | 2.3267 | 171.5067 | 2.6767 | 188.4667 | 3.1553 | 252.7 | 3.5233 | 233.8 | 31.3267 | 884 | 61.3967 | 0
2019-08-26 14:45:00 | 0.94 | 115.94 | 1.0767 | 127.4 | 1.45 | 214.2333 | 1.44 | 237.6667 | 31.3453 | 884 | 63.62 | 0
2019-08-26 15:00:00 | 0.82667 | 157.8 | 0.95667 | 173.4 | 1.2033 | 213.3667 | 1.3267 | 217.5333 | 31.3533 | 884 | 63.3933 | 0
2019-08-26 15:15:00 | 1.6933 | 224.0133 | 1.9567 | 246.1667 | 2.79 | 270.1333 | 2.9733 | 282.9667 | 31.4367 | 884 | 61.71 | 0
2019-08-26 15:30:00 | 1.7 | 292.3933 | 1.9633 | 321.3 | 2.91 | 102.44 | 2.8 | 323.3667 | 30.9233 | 884 | 64.7967 | 0
2019-08-26 15:45:00 | 2.34 | 143.2733 | 2.6933 | 157.4467 | 4.1167 | 229.48 | 4.08 | 241.8933 | 30.234 | 884 | 70.56 | 1.1133
2019-08-26 16:00:00 | 3.66 | 216.4933 | 4.22 | 237.9 | 6.57 | 12.9733 | 6.8133 | 28.0933 | 30.3133 | 884 | 71.9333 | 13.608
2019-08-26 16:15:00 | 5.8067 | 125.7433 | 6.6767 | 138.1667 | 10.18 | 25.5133 | 10.5767 | 28.64 | 30.3933 | 883.2 | 72.37 | 37.924
2019-08-26 16:30:00 | 10.7933 | 136.0567 | 12.41 | 149.5067 | 18.74 | 32.54 | 19.3433 | 25.58 | 28.1067 | 883 | 72.3433 | 56.3127
2019-08-26 16:45:00 | 10.36 | 241.0333 | 11.9167 | 264.8667 | 18.0467 | 29.4667 | 19.1033 | 24.6967 | 23.4333 | 883.8 | 81.9667 | 58.814
2019-08-26 17:00:00 | 9.16 | 113.32 | 10.5433 | 124.52 | 15.9867 | 15.78 | 16.87 | 35.45 | 21.2733 | 883.5333 | 89.4667 | 61.5513
2019-08-26 17:15:00 | 9.5 | 48.66 | 10.9333 | 53.4633 | 16.88 | 33.42 | 17.6167 | 37.58 | 20.1467 | 883 | 94.1667 | 62.5833
2019-08-26 17:30:00 | 9.5 | 232.8733 | 10.9333 | 255.8967 | 17.0267 | 17.0067 | 17.8167 | 26.8867 | 19.5333 | 883 | 96.9667 | 61.6253
2019-08-26 17:45:00 | 7.7267 | 126.0733 | 8.8833 | 138.54 | 14.18 | 14.0933 | 14.5527 | 31.9533 | 19.3387 | 882.2 | 98.7667 | 60.4547
2019-08-26 18:00:00 | 7.7733 | 223.8667 | 8.9433 | 246 | 14.14 | 19.1333 | 14.1767 | 29.56 | 19.2567 | 882 | 99.1 | 61.2033
2019-08-26 18:15:00 | 7.38 | 171.81 | 8.4833 | 188.8 | 13.0867 | 9.5433 | 13 | 18.0133 | 19.1867 | 882.8 | 98.5667 | 61.3853
2019-08-26 18:30:00 | 6.8467 | 116.1033 | 7.8833 | 127.58 | 12.2 | 10.43 | 12.3067 | 11.6333 | 19.2153 | 883 | 98.1 | 61.16
2019-08-26 18:45:00 | 6.9 | 287.9567 | 7.9433 | 316.4333 | 12.2667 | 13.88 | 12.5533 | 19.2267 | 19.1993 | 883 | 97.9333 | 61.304
2019-08-26 19:00:00 | 7.014 | 316.704 | 8.066 | 348.02 | 11.88 | 7.004 | 11.866 | 16.624 | 19.298 | 883 | 96.56 | 61.054
2019-08-26 19:15:00 | 6.4767 | 227.3187 | 7.4533 | 249.8 | 11.2433 | 8.0467 | 11.19 | 16.5833 | 19.3933 | 883 | 95.9 | 61.778
2019-08-26 19:30:00 | 7.0833 | 79.4967 | 8.1467 | 87.3533 | 12.7367 | 9.5533 | 12.5567 | 19.3167 | 19.32 | 883 | 96.7 | 62.6153
2019-08-26 19:45:00 | 7.82 | 71.7067 | 8.9933 | 78.7933 | 14.22 | 10.8833 | 14.0633 | 23.7033 | 19.2787 | 883 | 96.7067 | 62.854
2019-08-26 20:00:00 | 7.6133 | 93.1733 | 8.7533 | 102.38 | 13.94 | 9.77 | 13.8633 | 21.3033 | 19.3367 | 883.4667 | 95.8667 | 62.4507
2019-08-26 20:15:00 | 7.5033 | 79.3167 | 8.63 | 87.1533 | 13.6467 | 16.24 | 13.56 | 23.32 | 19.5067 | 884 | 93.9667 | 63.2327
2019-08-26 20:30:00 | 7.5253 | 165.0767 | 8.6567 | 181.4 | 13.7267 | 18.7067 | 13.6907 | 28.1 | 19.7467 | 884 | 91.9 | 63.4533
2019-08-26 20:45:00 | 7.5533 | 97.1467 | 8.6867 | 106.7533 | 14.09 | 9.0933 | 14.1633 | 26.07 | 19.89 | 884 | 90.5 | 63.2133
2019-08-26 21:00:00 | 7.46 | 209.26 | 8.5867 | 229.9533 | 14.0567 | 10.58 | 14.4633 | 25.9567 | 20.0033 | 884 | 89.7 | 61.6027
2019-08-26 21:15:00 | 7.7133 | 72.0567 | 8.8733 | 79.1767 | 14.3933 | 8.18 | 14.9167 | 23.5433 | 20.0673 | 884 | 88.8667 | 61.5753
2019-08-26 21:30:00 | 7.74 | 24.5033 | 8.9067 | 26.9167 | 14.3867 | 10.0133 | 14.8567 | 27.01 | 20.23 | 884.4667 | 87.4667 | 61.244
2019-08-26 21:45:00 | 7.7867 | 139.63 | 8.96 | 153.4333 | 14.04 | 14.0333 | 14.5633 | 17.7 | 20.2673 | 885 | 87.1 | 61.1853
2019-08-26 22:00:00 | 7.76 | 212.5433 | 8.9333 | 233.5667 | 14.0267 | 8.7667 | 14.41 | 27.2067 | 20.1 | 885 | 88.7 | 61.4293
2019-08-26 22:15:00 | 7.7367 | 67.4867 | 8.9 | 74.1533 | 14.4633 | 13.4533 | 14.6193 | 25.4267 | 19.4533 | 885 | 92.9133 | 61.3693
2019-08-26 22:30:00 | 7.9433 | 110.7467 | 9.1333 | 121.7 | 14.7433 | 17.62 | 15.0433 | 28.1333 | 19.38 | 885 | 91.4667 | 61.8587
2019-08-26 22:45:00 | 8.0167 | 191.05 | 9.2167 | 209.9333 | 14.9033 | 17.13 | 15.45 | 29.9967 | 19.5933 | 885 | 89.5 | 62.058
2019-08-26 23:00:00 | 7.9167 | 185.59 | 9.11 | 203.9333 | 14.71 | 16.5633 | 15.0367 | 23.87 | 19.9 | 885 | 86.7667 | 61.6947
2019-08-26 23:15:00 | 7.9067 | 158.0133 | 9.1 | 173.6333 | 14.8567 | 18.7833 | 15.03 | 29.54 | 20.1767 | 885 | 84.3 | 62.0247
2019-08-26 23:30:00 | 8.1333 | 78.9133 | 9.3533 | 86.7133 | 14.9433 | 18.9033 | 15.25 | 28.5067 | 20.4167 | 885 | 82.6333 | 61.528
2019-08-26 23:45:00 | 7.6433 | 234.3 | 8.7967 | 257.4667 | 14.17 | 14.1833 | 14.67 | 26.18 | 20.492 | 885 | 82.4667 | 59.7687