## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-27 00:00:00 | 7.7164 | 225.2936 | 8.8821 | 247.5643 | 14.21 | 12.7821 | 14.7171 | 24.4864 | 20.4986 | 885 | 81.65 | 61.0529
2019-08-27 00:15:00 | 7.872 | 207.5293 | 9.054 | 228.0533 | 14.6573 | 7.9433 | 14.8747 | 26.0667 | 20.508 | 885 | 81.264 | 60.296
2019-08-27 00:30:00 | 8.4533 | 217.6767 | 9.7233 | 239.2 | 15.8233 | 12.19 | 15.5233 | 18.24 | 20.76 | 885 | 78.7533 | 59.98
2019-08-27 00:45:00 | 7.84 | 159.6133 | 9.0267 | 175.4 | 14.8133 | 11.7333 | 14.6133 | 19.8033 | 20.6833 | 884.8667 | 79.2067 | 60.0373
2019-08-27 01:00:00 | 7.3 | 264.2 | 8.4067 | 290.3333 | 13.66 | 15.4733 | 13.86 | 19.9833 | 20.51 | 884 | 81.1467 | 58.7733
2019-08-27 01:15:00 | 7.02 | 156.9467 | 8.0867 | 172.4667 | 13.3 | 18.15 | 14.3733 | 27.5067 | 19.4067 | 884 | 90.4667 | 58.7293
2019-08-27 01:30:00 | 7.1133 | 115.0267 | 8.1867 | 126.4 | 13.22 | 15.6567 | 13.9933 | 26.3733 | 18.46 | 884 | 94.4 | 61.1427
2019-08-27 01:45:00 | 7.0333 | 220.16 | 8.0967 | 241.9333 | 12.7 | 9.9 | 12.7887 | 18.6667 | 18.1033 | 883.8667 | 95.4333 | 61.4927
2019-08-27 02:00:00 | 6.8733 | 168.5933 | 7.91 | 185.2667 | 12.8 | 20.4133 | 12.7467 | 21.58 | 18.0633 | 883 | 96.1 | 61.6387
2019-08-27 02:15:00 | 7.5667 | 151.3933 | 8.7133 | 166.3667 | 13.7433 | 10.5533 | 13.8 | 11.3633 | 18.2367 | 883 | 94 | 61.796
2019-08-27 02:30:00 | 8.0667 | 128.7 | 9.28 | 141.4333 | 14.2033 | 11.8333 | 14.4667 | 12.8567 | 18.7233 | 883 | 89.7333 | 61.1453
2019-08-27 02:45:00 | 8.0333 | 42.67 | 9.25 | 46.8933 | 14.2033 | 8.2867 | 14.46 | 21.2667 | 19.3633 | 883 | 84.7 | 61.284
2019-08-27 03:00:00 | 7.4067 | 14.6367 | 8.53 | 16.08 | 13.55 | 9.9867 | 13.72 | 21.6667 | 19.5633 | 883 | 83.1667 | 61.0507
2019-08-27 03:15:00 | 7.5267 | 232.5667 | 8.6567 | 255.5667 | 13.85 | 11.4207 | 14.15 | 24.5767 | 19.6967 | 883 | 82.1 | 60.88
2019-08-27 03:30:00 | 7.6 | 227.544 | 8.742 | 250.04 | 14.014 | 9.902 | 14.046 | 23.88 | 19.7793 | 883 | 81.24 | 60.6467
2019-08-27 03:45:00 | 7.4433 | 193.2567 | 8.56 | 212.3667 | 13.85 | 11.5167 | 13.63 | 22.39 | 20.0967 | 883 | 78.3033 | 60.4267
2019-08-27 04:00:00 | 7.5833 | 212.13 | 8.7267 | 233.1 | 13.9633 | 7.7633 | 13.6967 | 26.91 | 20.35 | 883 | 76.6367 | 60.4753
2019-08-27 04:15:00 | 7.2067 | 203.2067 | 8.2933 | 223.3 | 13.24 | 12.9667 | 13.2167 | 23.9633 | 20.406 | 883 | 76.4467 | 59.4593
2019-08-27 04:30:00 | 6.94 | 80.02 | 7.9867 | 87.9267 | 12.8333 | 13.5667 | 12.8167 | 23.59 | 20.4253 | 883 | 76.1133 | 60.728
2019-08-27 04:45:00 | 6.9533 | 102.97 | 8 | 113.1533 | 13.05 | 12.62 | 13.3233 | 26.0833 | 20.36 | 883 | 76.1433 | 60.672
2019-08-27 05:00:00 | 7.2067 | 202.75 | 8.2867 | 222.8 | 13.3433 | 13.4333 | 13.9053 | 27.9967 | 20.4067 | 883 | 75.2167 | 60.442
2019-08-27 05:15:00 | 7.16 | 113.3267 | 8.2333 | 124.5333 | 13.2367 | 15.61 | 14.0733 | 22.6533 | 20.458 | 883 | 74.6007 | 60.9767
2019-08-27 05:30:00 | 7.28 | 162.7667 | 8.38 | 178.8667 | 13.5233 | 17.2633 | 13.9733 | 22.14 | 20.52 | 883 | 74.2367 | 60.9067
2019-08-27 05:45:00 | 7.7 | 183.7333 | 8.8633 | 201.9 | 13.8333 | 10.0433 | 14.03 | 18.2467 | 20.6107 | 883 | 72.8467 | 60.726
2019-08-27 06:00:00 | 7.7493 | 177.1267 | 8.93 | 194.6333 | 13.9933 | 16.65 | 14.17 | 23.32 | 20.6733 | 883 | 72.3867 | 62.9827
2019-08-27 06:15:00 | 7.78 | 137.978 | 8.96 | 151.62 | 14.1173 | 14.788 | 14.3853 | 21.2387 | 20.766 | 883 | 71.5373 | 62.9433
2019-08-27 06:30:00 | 7.82 | 127.69 | 9 | 140.32 | 14.33 | 9.7967 | 14.74 | 17.5067 | 20.76 | 883 | 72.01 | 62.976
2019-08-27 06:45:00 | 7.5 | 177.3367 | 8.6267 | 194.8667 | 13.9967 | 11.43 | 14.3967 | 25.0733 | 20.59 | 883.8 | 72.9067 | 62.656
2019-08-27 07:00:00 | 7.74 | 167.8633 | 8.9067 | 184.4667 | 14.2833 | 12.9033 | 14.3433 | 22.1067 | 20.71 | 884 | 71.6467 | 61.97
2019-08-27 07:15:00 | 8.04 | 249.6567 | 9.2567 | 274.3333 | 14.7167 | 9.2733 | 14.4233 | 18.6167 | 21.01 | 884 | 70.4333 | 62.8253
2019-08-27 07:30:00 | 8.5867 | 125.65 | 9.89 | 138.0667 | 15.4233 | 14.9133 | 15.0567 | 18.5033 | 21.35 | 884 | 69.0267 | 62.586
2019-08-27 07:45:00 | 8.9467 | 171.3067 | 10.2967 | 188.2433 | 15.9867 | 10.66 | 15.7767 | 19.6 | 21.6487 | 884 | 68.8813 | 62.666
2019-08-27 08:00:00 | 9.2733 | 87.0467 | 10.67 | 95.6433 | 16.5067 | 20.7867 | 16.3367 | 23.6867 | 21.6353 | 884 | 68.57 | 62.8573
2019-08-27 08:15:00 | 9.0467 | 196.7133 | 10.41 | 216.1667 | 16.3633 | 16.18 | 16.74 | 21.9767 | 21.4813 | 884.8 | 69.84 | 62.516
2019-08-27 08:30:00 | 8.86 | 76.7267 | 10.19 | 84.3133 | 15.6967 | 18.5733 | 16.1267 | 28.8167 | 21.5633 | 885 | 69.52 | 61.2667
2019-08-27 08:45:00 | 8.8 | 22.71 | 10.13 | 24.95 | 15.6967 | 10.72 | 16.1567 | 33.8133 | 21.5867 | 885 | 71.1567 | 60.4073
2019-08-27 09:00:00 | 8.3867 | 133.5967 | 9.65 | 146.81 | 14.7233 | 18.1667 | 14.7233 | 22.7467 | 21.5547 | 885 | 70.9767 | 61.6427
2019-08-27 09:15:00 | 8.4367 | 169.16 | 9.7133 | 185.89 | 14.3967 | 14.44 | 14.0967 | 20.81 | 21.644 | 885 | 69.8267 | 60.794
2019-08-27 09:30:00 | 8.6233 | 228.1933 | 9.92 | 250.7567 | 15.1567 | 17.94 | 14.6767 | 16.9033 | 21.656 | 885 | 70.46 | 62.0647
2019-08-27 09:45:00 | 8.8067 | 227.2333 | 10.14 | 249.7 | 15.46 | 13.1533 | 15.0067 | 18.46 | 21.6667 | 885.1333 | 70.71 | 61.6587
2019-08-27 10:00:00 | 8.6133 | 143.6267 | 9.9133 | 157.8333 | 15.2333 | 14.0467 | 14.82 | 22.7067 | 21.56 | 886 | 72.61 | 60.7107
2019-08-27 10:15:00 | 8.23 | 217.3433 | 9.4733 | 238.8333 | 15.0433 | 14.0367 | 14.86 | 19.5467 | 21.4567 | 886 | 74.5767 | 60.1633
2019-08-27 10:30:00 | 7.9433 | 322.5967 | 9.1467 | 354.5 | 14.49 | 14.0233 | 14.88 | 26.66 | 21.69 | 886 | 74.3833 | 60.7647
2019-08-27 10:45:00 | 7.3267 | 219.4967 | 8.4367 | 241.2 | 13.5267 | 14.4 | 14.16 | 25.47 | 22.1733 | 886 | 74.7767 | 59.994
2019-08-27 11:00:00 | 7.2733 | 229.6967 | 8.3767 | 252.4 | 13.4733 | 8.1467 | 14 | 24.87 | 22.5867 | 886 | 73.5767 | 59.62
2019-08-27 11:15:00 | 7.4633 | 194.0167 | 8.5967 | 213.2 | 13.6513 | 18.83 | 13.968 | 22.69 | 22.5267 | 886 | 74.1767 | 59.8013
2019-08-27 11:30:00 | 7.5833 | 308.01 | 8.7233 | 338.4667 | 14.0067 | 17.1633 | 14.2833 | 29.93 | 22.434 | 886 | 74.7507 | 59.8093
2019-08-27 11:45:00 | 7.9933 | 215.49 | 9.1933 | 236.8 | 14.42 | 10.0133 | 14.2193 | 24.19 | 22.7633 | 886 | 73.23 | 57.3613
2019-08-27 12:00:00 | 7.4733 | 232.29 | 8.6 | 255.2667 | 13.3733 | 12.8667 | 13.3567 | 26.8167 | 23.4833 | 886.4667 | 72.4967 | 55.7887
2019-08-27 12:15:00 | 7.2567 | 224.83 | 8.3467 | 247.0633 | 13.05 | 22.5233 | 13.0733 | 24.5333 | 23.9567 | 887 | 69.8833 | 54.52
2019-08-27 12:30:00 | 7.0433 | 230.8967 | 8.1 | 253.73 | 12.8567 | 9.2233 | 12.7533 | 24.26 | 23.8233 | 887 | 70.4633 | 54.746
2019-08-27 12:45:00 | 6.82 | 320.93 | 7.8467 | 352.6667 | 12.6667 | 4.3533 | 12.4733 | 25.0533 | 23.57 | 887 | 73.2967 | 54.7267
2019-08-27 13:00:00 | 5.9467 | 303.83 | 6.84 | 333.8667 | 11.12 | 6.6333 | 11.22 | 28.3867 | 23.4367 | 887 | 73.65 | 51.6707
2019-08-27 13:15:00 | 5.7533 | 308.8367 | 6.6233 | 339.3667 | 10.66 | 23.86 | 11.3253 | 33.4433 | 23.68 | 887 | 74.0533 | 47.0973
2019-08-27 13:30:00 | 6.0667 | 262.97 | 6.9767 | 288.9667 | 11.1267 | 19.44 | 11.8167 | 40.67 | 24.1333 | 887 | 73.1733 | 44.0373
2019-08-27 13:45:00 | 5.8633 | 71.94 | 6.7467 | 79.0533 | 10.5 | 15.9167 | 11.21 | 28.9467 | 24.6633 | 887 | 71.72 | 37.2993
2019-08-27 14:00:00 | 5.65 | 160.3467 | 6.5 | 176.2 | 9.8933 | 18.6367 | 10.8367 | 29.2067 | 25.4367 | 887 | 69.1667 | 39.02
2019-08-27 14:15:00 | 5.9233 | 280.3233 | 6.81 | 308.0333 | 10.2067 | 27.1433 | 10.87 | 36.6333 | 26.1167 | 887 | 64.1233 | 36.9967
2019-08-27 14:30:00 | 5.3367 | 226.57 | 6.1433 | 248.9667 | 9.36 | 24.1567 | 9.5433 | 36.5133 | 26.6233 | 887 | 62.7167 | 36.56
2019-08-27 14:45:00 | 6.0267 | 135.62 | 6.93 | 149.0267 | 10.6667 | 25.1567 | 10.7067 | 27.2233 | 27.56 | 887 | 59.78 | 40.416
2019-08-27 15:00:00 | 6.0933 | 51.8267 | 7.0167 | 56.9467 | 10.8933 | 26.29 | 11.2467 | 26.01 | 27.0867 | 887 | 60.48 | 42.04
2019-08-27 15:15:00 | 6.24 | 97.1867 | 7.1833 | 106.7967 | 11.01 | 17.3833 | 11.2133 | 27.92 | 27.1127 | 887 | 60.9033 | 40.8653
2019-08-27 15:30:00 | 6.0533 | 135.2867 | 6.9633 | 148.6633 | 10.47 | 15.13 | 10.54 | 32.4667 | 27.6233 | 887 | 57.898 | 43.198
2019-08-27 15:45:00 | 6.3533 | 209.4 | 7.31 | 230.1 | 11.0667 | 16.0167 | 11.1567 | 19.48 | 27.19 | 887 | 58.4 | 43.688
2019-08-27 16:00:00 | 5.4467 | 187.56 | 6.2767 | 206.1 | 9.6267 | 22.6367 | 9.4633 | 23.9667 | 26.3967 | 887 | 61.78 | 45.5267
2019-08-27 16:15:00 | 5.66 | 209.1833 | 6.51 | 229.87 | 9.72 | 32.8167 | 9.7167 | 17.3533 | 26.29 | 887 | 62.94 | 46.9167
2019-08-27 16:30:00 | 6.3933 | 76.93 | 7.3567 | 84.5367 | 11.1667 | 18.7767 | 11.2167 | 29.7533 | 26.1733 | 887 | 63.6733 | 45.3447
2019-08-27 16:45:00 | 6.5433 | 222.8633 | 7.53 | 244.9033 | 11.1967 | 37.96 | 11.2667 | 40.3333 | 26.0153 | 886.8667 | 63.8967 | 44.3473
2019-08-27 17:00:00 | 6.8767 | 62.1633 | 7.9167 | 68.3033 | 11.9433 | 29.6867 | 12.1 | 35.5733 | 25.5933 | 886 | 65.09 | 43.97
2019-08-27 17:15:00 | 6.4667 | 93.9933 | 7.4367 | 103.2867 | 11.28 | 30.72 | 11.68 | 38.5167 | 25.502 | 886 | 65.9967 | 42.3013
2019-08-27 17:30:00 | 5.7333 | 281.4067 | 6.59 | 309.2333 | 9.98 | 36.76 | 10.7333 | 27.4433 | 25.3 | 886 | 67.1433 | 40.5287
2019-08-27 17:45:00 | 6.1067 | 108.66 | 7.02 | 119.4067 | 10.4567 | 39.3033 | 9.8633 | 40.2867 | 25.0767 | 886 | 66.2767 | 41.666
2019-08-27 18:00:00 | 5.9 | 305.98 | 6.7867 | 336.2333 | 10.11 | 25.75 | 9.9033 | 37.86 | 24.9633 | 886 | 65.61 | 42.2853
2019-08-27 18:15:00 | 5.998 | 233.62 | 6.9047 | 256.73 | 10.59 | 34.4367 | 9.9467 | 37.85 | 24.7933 | 886 | 66.4733 | 43.016
2019-08-27 18:30:00 | 6.2333 | 35.9267 | 7.1733 | 39.4767 | 11.01 | 36.9967 | 10.9333 | 40.73 | 24.706 | 886 | 66.8413 | 48.1807
2019-08-27 18:45:00 | 7.0333 | 320.3167 | 8.09 | 352 | 12.3667 | 35.5 | 12.5533 | 28.2033 | 24.7047 | 886 | 66.6433 | 48.9953
2019-08-27 19:00:00 | 6.52 | 137.69 | 7.5033 | 151.3 | 11.4533 | 30.7533 | 12.4067 | 36.3833 | 24.5867 | 886 | 67.45 | 51.5947
2019-08-27 19:15:00 | 6.92 | 111.8467 | 7.96 | 122.9067 | 12.13 | 36.3133 | 13.2467 | 35.6167 | 24.31 | 885.2 | 68.5993 | 53.1227
2019-08-27 19:30:00 | 6.8447 | 145.04 | 7.88 | 159.3867 | 12.0233 | 20.6 | 13.2067 | 37.9367 | 24.216 | 885 | 68.6647 | 54.774
2019-08-27 19:45:00 | 6.4667 | 164.9867 | 7.4367 | 181.3 | 11.5133 | 31.12 | 13.27 | 35.9733 | 24.0813 | 885 | 69.87 | 51.56
2019-08-27 20:00:00 | 6.1333 | 186.1667 | 7.0567 | 204.5667 | 11.2133 | 26.5667 | 12.4633 | 32.1667 | 23.6067 | 885 | 72.89 | 47.4633
2019-08-27 20:15:00 | 5.6433 | 232.4433 | 6.49 | 255.4333 | 10.4867 | 7.64 | 10.6467 | 21.6967 | 23.06 | 885.1333 | 75.25 | 40.3247
2019-08-27 20:30:00 | 5.21 | 187.628 | 6 | 206.18 | 9.634 | 8.22 | 10.11 | 26.622 | 22.9153 | 886 | 75.9873 | 36.5753
2019-08-27 20:45:00 | 5.2133 | 172.6667 | 6 | 189.7333 | 9.6267 | 7.3067 | 9.9267 | 21.0033 | 22.8387 | 886 | 77.1233 | 30.8313
2019-08-27 21:00:00 | 5.2 | 194.86 | 5.9867 | 214.1333 | 9.24 | 15.3067 | 9.34 | 20.9833 | 22.8967 | 886 | 77.4493 | 26.0087
2019-08-27 21:15:00 | 4.2733 | 192.1967 | 4.9233 | 211.2 | 7.5867 | 17.5833 | 8.05 | 25.8933 | 22.8133 | 886 | 78.48 | 23.194
2019-08-27 21:30:00 | 4.1 | 216.53 | 4.7167 | 237.9333 | 7.4133 | 18.9967 | 7.75 | 30.5267 | 22.5667 | 886.4667 | 79.92 | 27.8567
2019-08-27 21:45:00 | 5.0433 | 146.85 | 5.7967 | 161.3667 | 9.1167 | 22.7767 | 9.2333 | 17.0833 | 22.2633 | 887 | 81.7667 | 34.4493
2019-08-27 22:00:00 | 5.2367 | 176.2167 | 6.0233 | 193.6333 | 9.35 | 16.7033 | 9.16 | 23.5633 | 22.0633 | 887 | 82.8333 | 37.6053
2019-08-27 22:15:00 | 5.44 | 202.87 | 6.2533 | 222.92 | 9.7633 | 18.0767 | 9.5367 | 25.3333 | 22.012 | 887 | 83.3 | 43.9373
2019-08-27 22:30:00 | 6.38 | 51.9433 | 7.3333 | 57.08 | 11.4033 | 20.6233 | 11.45 | 27.0133 | 21.9707 | 887 | 82.7667 | 43.51
2019-08-27 22:45:00 | 6.7567 | 60.8067 | 7.77 | 66.8233 | 12.0167 | 16.4267 | 12.1933 | 23.44 | 22.0327 | 887 | 81.5667 | 43.6213
2019-08-27 23:00:00 | 6.73 | 122.4533 | 7.7367 | 134.5567 | 11.7567 | 18.1933 | 12.0267 | 23.5267 | 22.0833 | 887 | 80.8333 | 46.18
2019-08-27 23:15:00 | 6.7267 | 192.7133 | 7.7367 | 211.7667 | 11.7167 | 16.6933 | 11.77 | 29.2367 | 22.0753 | 887 | 80.1133 | 46.8807
2019-08-27 23:30:00 | 6.06 | 172.02 | 6.97 | 189.0333 | 10.43 | 12.8533 | 10.2767 | 21.43 | 21.9533 | 887 | 80.9333 | 48.6307
2019-08-27 23:45:00 | 5.82 | 100.1567 | 6.6933 | 110.06 | 9.85 | 241.1867 | 9.8053 | 1.66 | 21.7633 | 887 | 82.3333 | 48.6127