## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-28 00:00:00 | 6.1229 | 257.57 | 7.0486 | 283.0286 | 10.6671 | 10.2857 | 10.4157 | 10.6771 | 21.5843 | 887 | 83.3636 | 47.255
2019-08-28 00:15:00 | 6.6867 | 131.52 | 7.6933 | 144.5233 | 11.69 | 17.4233 | 11.4333 | 20.5633 | 21.39 | 887 | 84.4667 | 48.466
2019-08-28 00:30:00 | 6.7267 | 77.16 | 7.74 | 84.79 | 12.3167 | 18.0233 | 12.12 | 19.1433 | 21.2633 | 887 | 85.2667 | 49.8567
2019-08-28 00:45:00 | 7.17 | 131.5567 | 8.2567 | 144.5667 | 13.2133 | 19.8167 | 13.0233 | 22.4933 | 21.03 | 887 | 86.3667 | 51.84
2019-08-28 01:00:00 | 7.1433 | 39.8833 | 8.2167 | 43.8267 | 13.0107 | 12.2833 | 12.7167 | 22.2867 | 20.9167 | 887 | 86.9 | 52.9367
2019-08-28 01:15:00 | 7.18 | 259.5 | 8.2667 | 285.1667 | 12.82 | 11.1567 | 12.8633 | 22.12 | 20.8713 | 887 | 86.9867 | 52.2493
2019-08-28 01:30:00 | 6.7133 | 244.4667 | 7.7267 | 268.6333 | 12.08 | 9.0967 | 12.3367 | 20.1933 | 20.836 | 886.5333 | 87.0533 | 51.3127
2019-08-28 01:45:00 | 6.44 | 40.1433 | 7.4167 | 44.1 | 11.8033 | 23.0233 | 11.7867 | 27.1467 | 20.7573 | 886 | 87.2867 | 51.704
2019-08-28 02:00:00 | 7.12 | 213.5167 | 8.2033 | 234.6333 | 12.7567 | 9.9767 | 12.7 | 23 | 20.7307 | 886 | 87.1533 | 52.214
2019-08-28 02:15:00 | 7.1333 | 181.21 | 8.2067 | 199.1333 | 12.9 | 14.3567 | 13.41 | 24.01 | 20.7107 | 886 | 86.8 | 52.2507
2019-08-28 02:30:00 | 7.02 | 182.97 | 8.0733 | 201.0667 | 12.4733 | 22.3767 | 13.03 | 29.1633 | 20.6667 | 886 | 86.6 | 53.936
2019-08-28 02:45:00 | 6.96 | 244.2867 | 8.0067 | 268.4333 | 12.1633 | 7.8733 | 12.4933 | 23.2067 | 20.6487 | 886 | 86.5067 | 52.132
2019-08-28 03:00:00 | 6.8467 | 143.2733 | 7.88 | 157.4333 | 12.0967 | 14.06 | 12.18 | 29.3933 | 20.5933 | 886 | 86.5333 | 54.7687
2019-08-28 03:15:00 | 6.5833 | 218.3367 | 7.57 | 239.9333 | 11.8967 | 17.1633 | 12.41 | 27.0967 | 20.57 | 886 | 86.3 | 51.7693
2019-08-28 03:30:00 | 6.21 | 201.9567 | 7.1433 | 221.9333 | 11.2767 | 24.6167 | 11.97 | 28.8767 | 20.584 | 886 | 85.8333 | 50.1533
2019-08-28 03:45:00 | 6.26 | 152.9367 | 7.2047 | 168.0667 | 11.2467 | 18.43 | 11.7533 | 30.3067 | 20.5693 | 886 | 85.8 | 49.826
2019-08-28 04:00:00 | 6.4533 | 165.1367 | 7.42 | 181.4667 | 11.2133 | 12.61 | 11.5267 | 25.8333 | 20.5653 | 886 | 85.6467 | 49.1027
2019-08-28 04:15:00 | 6.6867 | 52.8433 | 7.69 | 58.06 | 11.4267 | 7.37 | 11.2867 | 16.87 | 20.4887 | 886 | 85.9867 | 48.4553
2019-08-28 04:30:00 | 6.0933 | 227.17 | 7.0167 | 249.64 | 10.1733 | 26.6833 | 9.9533 | 5.0433 | 20.4753 | 886 | 85.9467 | 48.158
2019-08-28 04:45:00 | 5.96 | 195.6767 | 6.8567 | 215.0233 | 9.84 | 19.87 | 9.7233 | 224.74 | 20.5147 | 886 | 85.4333 | 49.766
2019-08-28 05:00:00 | 6.3133 | 168.07 | 7.27 | 184.69 | 10.46 | 7.41 | 10.1633 | 20.7267 | 20.5993 | 886 | 84.8533 | 48.204
2019-08-28 05:15:00 | 6.43 | 21.6533 | 7.3933 | 23.7933 | 10.69 | 19.4433 | 10.5433 | 26.6233 | 20.5067 | 886 | 85.3333 | 46.822
2019-08-28 05:30:00 | 6.5233 | 27.2933 | 7.5067 | 29.98 | 11.65 | 11.7967 | 11.3167 | 23.5967 | 20.3667 | 886 | 86.2 | 46.0047
2019-08-28 05:45:00 | 5.7733 | 125.7667 | 6.6467 | 138.2 | 10.3033 | 19.8567 | 10.6 | 27.4867 | 20.21 | 886 | 87.0333 | 43.932
2019-08-28 06:00:00 | 5.5667 | 174.3 | 6.4133 | 191.5333 | 10.1233 | 16.55 | 10.2267 | 23.92 | 20.1513 | 886.4667 | 87.3467 | 44.85
2019-08-28 06:15:00 | 5.6067 | 300.97 | 6.4533 | 330.7333 | 9.5467 | 13.3333 | 9.43 | 27.0467 | 20.152 | 887 | 87.4 | 45.642
2019-08-28 06:30:00 | 5.7 | 108.9833 | 6.5667 | 119.7533 | 9.6733 | 14.4333 | 9.7767 | 6.5533 | 20.1913 | 886.5333 | 87.2667 | 46.1507
2019-08-28 06:45:00 | 6.02 | 38.4767 | 6.9333 | 42.2767 | 10.2567 | 41.8633 | 10.0967 | 240.65 | 20.14 | 886.8 | 87.3 | 46.2253
2019-08-28 07:00:00 | 5.5933 | 18.9367 | 6.44 | 20.81 | 9.3567 | 12.8967 | 9.19 | 17.4633 | 20.26 | 887 | 86.6333 | 44.6613
2019-08-28 07:15:00 | 5.12 | 231.4467 | 5.89 | 254.3267 | 8.8567 | 3.1567 | 8.6067 | 133.6333 | 20.2627 | 887 | 87.0333 | 43.9667
2019-08-28 07:30:00 | 5.0133 | 240.78 | 5.7767 | 264.5933 | 8.33 | 9.7033 | 8.1533 | 119.7467 | 20.22 | 887 | 87.3467 | 44.792
2019-08-28 07:45:00 | 5.9333 | 15.92 | 6.8333 | 17.49 | 9.38 | 17.2833 | 9.1933 | 5.3133 | 20.3233 | 887 | 87 | 46.144
2019-08-28 08:00:00 | 6.1667 | 51.8733 | 7.1 | 57.0033 | 10.2667 | 13.25 | 10.0333 | 18.3733 | 20.29 | 887 | 87.4 | 47.8553
2019-08-28 08:15:00 | 6.08 | 170.3613 | 7.0053 | 187.208 | 10.0933 | 20.4947 | 9.7227 | 17.1507 | 20.2327 | 887.8 | 88.3933 | 49.3587
2019-08-28 08:30:00 | 6.3867 | 223.14 | 7.35 | 245.2067 | 10.4233 | 240.9733 | 9.86 | 231.6133 | 19.8633 | 888 | 91.2333 | 49.3453
2019-08-28 08:45:00 | 6.1133 | 110.3467 | 7.0267 | 121.26 | 10.5867 | 233.15 | 10.58 | 18.6733 | 19.4633 | 888 | 94.3 | 48.38
2019-08-28 09:00:00 | 6.1333 | 185.7 | 7.0533 | 204.06 | 10.64 | 17.39 | 10.3667 | 16.4333 | 19.45 | 888 | 95.1667 | 48.1527
2019-08-28 09:15:00 | 5.96 | 35.25 | 6.8633 | 38.7367 | 10.2933 | 4.7433 | 10.2633 | 21.7767 | 19.6133 | 888 | 94.6333 | 49.976
2019-08-28 09:30:00 | 5.74 | 217.2767 | 6.6033 | 238.7633 | 9.74 | 5.4567 | 9.6767 | 18.65 | 19.78 | 888.4667 | 93.9 | 48.9367
2019-08-28 09:45:00 | 5.3767 | 253.98 | 6.19 | 279.1 | 9.2833 | 356.5 | 9.0667 | 27.3533 | 19.9333 | 889 | 93.32 | 47.8493
2019-08-28 10:00:00 | 5.77 | 68.1133 | 6.6367 | 74.84 | 9.8033 | 120.98 | 9.6 | 1.6933 | 20.0533 | 889 | 92.4333 | 48.3567
2019-08-28 10:15:00 | 5.72 | 217.0133 | 6.5867 | 238.4667 | 10.11 | 240.62 | 9.7233 | 126.04 | 20.0847 | 889 | 92.88 | 48.174
2019-08-28 10:30:00 | 6.2267 | 150.16 | 7.16 | 165 | 10.75 | 7.7533 | 10.45 | 122.6333 | 20.0847 | 889 | 94.2333 | 49.68
2019-08-28 10:45:00 | 6.3933 | 280.0133 | 7.3567 | 307.7 | 11.37 | 23.3967 | 11.3167 | 18.2267 | 20.27 | 889 | 94.2133 | 47.5647
2019-08-28 11:00:00 | 5.8133 | 181.06 | 6.6833 | 198.9667 | 10.3167 | 18.37 | 10.4833 | 19.5533 | 20.71 | 889 | 94.5667 | 41.2427
2019-08-28 11:15:00 | 5.66 | 109.9267 | 6.5167 | 120.8 | 9.75 | 14.3867 | 9.8833 | 12.7067 | 22.3633 | 889 | 88.9 | 34.3953
2019-08-28 11:30:00 | 5.1667 | 193.7667 | 5.9433 | 212.9333 | 9.09 | 12.8933 | 9.0167 | 17.0467 | 23.75 | 889.4667 | 83.2333 | 32.616
2019-08-28 11:45:00 | 4.8733 | 219.8833 | 5.6067 | 241.6333 | 8.5533 | 19.7267 | 8.4467 | 20.29 | 24.4367 | 890 | 80.9467 | 35.4973
2019-08-28 12:00:00 | 5.32 | 198.1167 | 6.12 | 217.7 | 9.6 | 8.7133 | 9.5933 | 20.1233 | 24.9367 | 890 | 79.32 | 41.8927
2019-08-28 12:15:00 | 5.9913 | 145.6033 | 6.8913 | 160 | 10.9333 | 5.23 | 10.9767 | 10.96 | 24.6733 | 890 | 77.9033 | 39.236
2019-08-28 12:30:00 | 5.6667 | 203.49 | 6.5133 | 223.6 | 10.26 | 6.27 | 10.37 | 11.38 | 24.54 | 890 | 77.57 | 33.1447
2019-08-28 12:45:00 | 5.08 | 64.03 | 5.8467 | 70.36 | 9.33 | 10.2933 | 9.38 | 17.16 | 24.606 | 890 | 77.5667 | 30.9787
2019-08-28 13:00:00 | 4.7467 | 227.1433 | 5.46 | 249.6 | 8.6433 | 14.88 | 8.34 | 15.5733 | 25.3133 | 890 | 76.6933 | 30.5707
2019-08-28 13:15:00 | 4.9133 | 129.2633 | 5.6533 | 142.04 | 8.66 | 17.6533 | 8.4833 | 19.6067 | 26.06 | 890 | 72.27 | 28.5887
2019-08-28 13:30:00 | 5.1133 | 176.1233 | 5.88 | 193.5333 | 9.08 | 10.5733 | 8.9833 | 23.4133 | 26.08 | 890 | 72.2567 | 29.8567
2019-08-28 13:45:00 | 5.7667 | 297.9133 | 6.6367 | 327.3667 | 10.4667 | 18.04 | 10.4633 | 20.27 | 26.2 | 890 | 70.78 | 35.3287
2019-08-28 14:00:00 | 6.1133 | 232.5133 | 7.0367 | 255.5 | 11.0133 | 7.4467 | 11.0167 | 20.1233 | 25.8 | 890 | 69.92 | 34.8167
2019-08-28 14:15:00 | 5.9667 | 148.2733 | 6.8667 | 162.9333 | 10.5967 | 18.6633 | 10.9267 | 27.8367 | 25.2433 | 890 | 69.7733 | 33.324
2019-08-28 14:30:00 | 5.8467 | 159.9867 | 6.7333 | 175.8 | 10.7033 | 13.5433 | 11.1 | 20.6633 | 24.8433 | 889.5333 | 71.6733 | 35.5047
2019-08-28 14:45:00 | 5.62 | 277.0933 | 6.4667 | 304.5 | 10.5333 | 18.2467 | 10.6933 | 9.9133 | 24.9333 | 889 | 71.7873 | 35.9727
2019-08-28 15:00:00 | 6.1133 | 202.9 | 7.04 | 222.9667 | 11.1467 | 15.4933 | 11.0733 | 25.0867 | 25.7933 | 889 | 69.4733 | 43.9653
2019-08-28 15:15:00 | 5.7 | 266.7867 | 6.568 | 293.1667 | 10.2133 | 9.6567 | 9.9533 | 25.5733 | 26.07 | 889 | 67.3367 | 44.144
2019-08-28 15:30:00 | 5.4933 | 205.3267 | 6.32 | 225.6333 | 9.74 | 10.5033 | 9.5067 | 23.3867 | 25.7033 | 889 | 67.2833 | 34.498
2019-08-28 15:45:00 | 4.6933 | 24.4567 | 5.4 | 26.8667 | 8.2067 | 133.88 | 7.9867 | 30.35 | 26.04 | 889 | 66.6567 | 31.6973
2019-08-28 16:00:00 | 4.36 | 29.0233 | 5.0133 | 31.8867 | 7.7867 | 132.18 | 7.6867 | 26.4767 | 26.328 | 889 | 64.4033 | 28.2187
2019-08-28 16:15:00 | 4.7733 | 173.2033 | 5.5 | 190.3333 | 8.5333 | 14.7333 | 8.6633 | 17.4833 | 26.4167 | 889 | 65.6367 | 25.8987
2019-08-28 16:30:00 | 5.18 | 196.4967 | 5.96 | 215.9333 | 9.62 | 12.16 | 9.63 | 19.0367 | 27.37 | 889 | 62.93 | 28.556
2019-08-28 16:45:00 | 4.9733 | 279.6433 | 5.7267 | 307.3 | 8.9167 | 9.8633 | 8.6867 | 25.1967 | 28.7367 | 889.0667 | 57.3433 | 29.7627
2019-08-28 17:00:00 | 4.8933 | 271.6433 | 5.64 | 298.5 | 8.73 | 3.19 | 8.42 | 14.7167 | 28.8167 | 890 | 55.9633 | 28.8647
2019-08-28 17:15:00 | 4.78 | 93.1233 | 5.5033 | 102.3333 | 8.91 | 17.17 | 8.52 | 19.8233 | 27.4233 | 890 | 60.02 | 28.5933
2019-08-28 17:30:00 | 4.5067 | 79.17 | 5.1833 | 87 | 8.1967 | 13.9833 | 8.2267 | 22.33 | 25.9433 | 889.6 | 63.4867 | 25.6853
2019-08-28 17:45:00 | 4.42 | 214.5167 | 5.08 | 235.7333 | 7.8433 | 22.5067 | 8.0833 | 37.1733 | 25.1367 | 889 | 63.92 | 23.1907
2019-08-28 18:00:00 | 3.9667 | 210.8233 | 4.5667 | 231.6667 | 7.19 | 21.5733 | 7.2633 | 28.64 | 24.8367 | 889 | 64.44 | 19.286
2019-08-28 18:15:00 | 3.3567 | 149.9467 | 3.86 | 164.7667 | 6.3367 | 17.41 | 6.3533 | 31.1567 | 24.58 | 888.9333 | 65.7667 | 22.056
2019-08-28 18:30:00 | 3.3567 | 193.86 | 3.8667 | 213.0333 | 6.4033 | 19.8433 | 6.7133 | 31.9433 | 24.3333 | 888 | 67.5867 | 22.6527
2019-08-28 18:45:00 | 3.8533 | 180.3267 | 4.4267 | 198.1667 | 7.1933 | 17.2933 | 7.5267 | 31.3333 | 23.9467 | 888 | 68.94 | 25.9313
2019-08-28 19:00:00 | 3.94 | 109.6667 | 4.54 | 120.5133 | 7.6267 | 20.1133 | 8.2867 | 31.76 | 23.6 | 888 | 70.0667 | 26.172
2019-08-28 19:15:00 | 3.5733 | 161.3833 | 4.1167 | 177.3333 | 6.7133 | 19.1733 | 7.2733 | 32.0233 | 23.3933 | 888 | 69.9267 | 23.4147
2019-08-28 19:30:00 | 3.6 | 129.41 | 4.15 | 142.2 | 6.58 | 11.1333 | 7.38 | 27.5233 | 23.2467 | 888 | 69.92 | 18.824
2019-08-28 19:45:00 | 3.7067 | 192.6733 | 4.27 | 211.7333 | 7.1733 | 23.6533 | 8.0167 | 30.2567 | 23.01 | 888 | 70.742 | 17.468
2019-08-28 20:00:00 | 3.5067 | 169.6933 | 4.0367 | 186.4667 | 6.9133 | 28.0733 | 7.7567 | 32.2167 | 22.7833 | 888 | 71.47 | 16.0573
2019-08-28 20:15:00 | 3.16 | 245.58 | 3.6367 | 269.8667 | 6.2267 | 26.2333 | 6.5033 | 36.7433 | 22.6133 | 888 | 73 | 13.7
2019-08-28 20:30:00 | 2.8 | 227.8733 | 3.2233 | 250.4 | 5.5333 | 21.2133 | 6.2633 | 32.55 | 22.4533 | 888 | 73.1667 | 10.2267
2019-08-28 20:45:00 | 2.7 | 262 | 3.1067 | 287.9 | 5.2033 | 16.4167 | 5.6033 | 24.8833 | 22.3493 | 888 | 73.63 | 10.3847
2019-08-28 21:00:00 | 2.9267 | 301.9067 | 3.3667 | 331.7667 | 4.89 | 16.2233 | 5.23 | 17.0567 | 22.48 | 888.4 | 72.67 | 11.214
2019-08-28 21:15:00 | 2.7467 | 18.5633 | 3.1667 | 20.3967 | 4.5467 | 0.76333 | 4.7667 | 21.3767 | 22.6633 | 889 | 72.3247 | 12.8493
2019-08-28 21:30:00 | 2.9467 | 0.076667 | 3.4 | 0.083333 | 4.96 | 4.3767 | 5.0733 | 21.7833 | 22.5233 | 889 | 73.2167 | 13.404
2019-08-28 21:45:00 | 2.9633 | 245.22 | 3.41 | 269.4667 | 5.4767 | 18.55 | 5.8633 | 17.9733 | 22.2333 | 889 | 75.45 | 16.4553
2019-08-28 22:00:00 | 3.1767 | 302.3067 | 3.65 | 332.2 | 6.19 | 12.65 | 6.5367 | 18.9 | 21.9733 | 889 | 77.3367 | 19.3933
2019-08-28 22:15:00 | 3.2067 | 248.7467 | 3.6933 | 273.3333 | 6.3533 | 18.99 | 6.4867 | 25.0167 | 21.6733 | 889 | 79.48 | 17.7413
2019-08-28 22:30:00 | 3.06 | 247.46 | 3.52 | 271.9333 | 5.9533 | 20.41 | 6.14 | 31.3967 | 21.532 | 889 | 80.4667 | 16.6833
2019-08-28 22:45:00 | 3.3933 | 320.9233 | 3.9 | 352.6667 | 5.93 | 12.6067 | 6.2267 | 17.9633 | 21.5373 | 889 | 80.9333 | 18.33
2019-08-28 23:00:00 | 3.38 | 321.8367 | 3.8867 | 353.6667 | 5.9967 | 13.92 | 6.1333 | 14.0633 | 21.64 | 889 | 81.0667 | 17.3267
2019-08-28 23:15:00 | 3.2733 | 13.7833 | 3.7633 | 15.15 | 5.8033 | 8.1367 | 6.3333 | 13.52 | 21.4793 | 889 | 81.8667 | 14.92
2019-08-28 23:30:00 | 3.2733 | 23.1367 | 3.7633 | 25.4233 | 5.49 | 2.37 | 5.6467 | 10.2 | 21.4167 | 889 | 82.2 | 12.1167
2019-08-28 23:45:00 | 3.2 | 12.4967 | 3.69 | 13.7267 | 5.1033 | 230.7333 | 5.31 | 14.5033 | 21.4167 | 889 | 81.8667 | 13.5733