## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-29 00:00:00 | 3.0571 | 5.0557 | 3.5157 | 5.5486 | 5.0014 | 3.9943 | 5.5529 | 20.0614 | 21.3043 | 889 | 82.55 | 13.4221
2019-08-29 00:15:00 | 2.8533 | 68.62 | 3.2833 | 75.4 | 5.19 | 14.6767 | 5.6067 | 21.24 | 21.1733 | 889 | 83.0667 | 14.6553
2019-08-29 00:30:00 | 2.88 | 88.9067 | 3.3233 | 97.6933 | 5.6833 | 11.15 | 6.0267 | 18.7933 | 20.8867 | 889 | 84.7333 | 16.5087
2019-08-29 00:45:00 | 3.4667 | 255.9833 | 3.9867 | 281.3 | 5.6733 | 7.0233 | 6.33 | 16.5167 | 20.8967 | 889 | 84.9067 | 16.2473
2019-08-29 01:00:00 | 3.28 | 111.05 | 3.7733 | 122.0267 | 5.7333 | 7.7167 | 6.3033 | 14.2033 | 20.914 | 889 | 85.3333 | 16.1047
2019-08-29 01:15:00 | 3.5333 | 26.9433 | 4.06 | 29.6033 | 5.78 | 226.91 | 6.19 | 10.9133 | 20.7867 | 888.9333 | 86 | 19.0753
2019-08-29 01:30:00 | 3.54 | 205.7433 | 4.0733 | 226.09 | 6.18 | 7.9367 | 6.7033 | 13.7133 | 20.6467 | 888 | 86.6667 | 24.8107
2019-08-29 01:45:00 | 3.8067 | 106.73 | 4.3833 | 117.28 | 6.8867 | 10.5933 | 7.2933 | 16.3933 | 20.402 | 888 | 87.6667 | 30.7127
2019-08-29 02:00:00 | 3.7933 | 305.5233 | 4.3633 | 335.7333 | 6.864 | 5.54 | 7.18 | 13.4133 | 20.3633 | 888 | 87.9333 | 31.8827
2019-08-29 02:15:00 | 4.1567 | 110.6 | 4.7867 | 121.54 | 6.7 | 0.16333 | 6.86 | 12.5867 | 20.3887 | 888 | 87.8333 | 33.2653
2019-08-29 02:30:00 | 4.4967 | 307.56 | 5.1733 | 337.9667 | 6.36 | 8.9767 | 6.46 | 10.5467 | 20.5233 | 888 | 87.66 | 35.3753
2019-08-29 02:45:00 | 4.5233 | 20.0667 | 5.21 | 22.0467 | 7.5633 | 111.7333 | 7.69 | 2.4133 | 20.2933 | 888 | 89.7333 | 33.7867
2019-08-29 03:00:00 | 4.61 | 210.18 | 5.31 | 230.9667 | 7.37 | 337.6333 | 7.5567 | 6.9 | 20.124 | 888 | 91 | 31.7707
2019-08-29 03:15:00 | 4.2133 | 313.9 | 4.8533 | 344.9333 | 7.04 | 340.0333 | 6.97 | 131.34 | 20.012 | 888 | 91.2 | 31.1773
2019-08-29 03:30:00 | 4.28 | 315.5933 | 4.9267 | 346.8 | 7.3067 | 352.4333 | 7.4367 | 131.1 | 19.9667 | 888 | 91.2667 | 35.1453
2019-08-29 03:45:00 | 4.2933 | 303.2467 | 4.9467 | 333.2333 | 7.76 | 119.72 | 7.9433 | 11.5667 | 19.7433 | 888 | 92.7667 | 37.57
2019-08-29 04:00:00 | 4.5733 | 306.5267 | 5.2667 | 336.8333 | 8.0067 | 118.7333 | 8.1433 | 5.7333 | 19.47 | 887.6 | 94.3 | 38.326
2019-08-29 04:15:00 | 4.6633 | 296.6867 | 5.3667 | 326.0333 | 7.4833 | 3.2367 | 7.81 | 5.87 | 19.4267 | 887 | 94.76 | 39.134
2019-08-29 04:30:00 | 4.9433 | 114.8867 | 5.6867 | 126.2467 | 7.6233 | 6.5767 | 7.5233 | 7.57 | 19.356 | 887 | 95.1333 | 40.422
2019-08-29 04:45:00 | 5.3007 | 108.9193 | 6.0953 | 119.6833 | 7.5533 | 60.9107 | 7.4293 | 9.1673 | 19.3613 | 887 | 95.28 | 41.93
2019-08-29 05:00:00 | 5.3533 | 128.1467 | 6.1533 | 140.8133 | 7.62 | 292.1667 | 7.64 | 236.0733 | 19.3 | 887 | 95.8333 | 42.852
2019-08-29 05:15:00 | 5.1227 | 282.224 | 5.8873 | 310.1267 | 8.174 | 12.4113 | 8.3667 | 13.0667 | 19.2547 | 887 | 96.38 | 43.1607
2019-08-29 05:30:00 | 5.1267 | 160.59 | 5.8967 | 176.4667 | 8.2067 | 7.6967 | 8.6067 | 8.8233 | 19.16 | 887 | 96.7333 | 43.5813
2019-08-29 05:45:00 | 4.78 | 32.28 | 5.4933 | 35.4633 | 7.6767 | 356.14 | 7.9233 | 21.4933 | 18.9733 | 887 | 97.4333 | 42.78
2019-08-29 06:00:00 | 4.752 | 187.262 | 5.47 | 205.78 | 7.874 | 177.546 | 8.204 | 11.292 | 18.838 | 887 | 98.02 | 41.6613
2019-08-29 06:15:00 | 4.81 | 119.8 | 5.5367 | 131.6467 | 8.2367 | 118.6 | 8.5367 | 27.4 | 18.768 | 887 | 97.8933 | 40.8607
2019-08-29 06:30:00 | 5.0233 | 121.5733 | 5.7767 | 133.5933 | 7.7833 | 352.5667 | 7.8833 | 28.9533 | 18.748 | 887 | 98 | 41.9813
2019-08-29 06:45:00 | 5.04 | 95.66 | 5.7933 | 105.1133 | 8.0067 | 119.68 | 8.12 | 42.2433 | 18.7147 | 887 | 98.3733 | 42.4307
2019-08-29 07:00:00 | 5.04 | 299.1733 | 5.7933 | 328.7667 | 8.116 | 342.7667 | 8.2333 | 10.7633 | 18.7 | 887 | 99 | 44.6373
2019-08-29 07:15:00 | 5.2167 | 297.6933 | 6 | 327.1333 | 8.3067 | 239.53 | 8.5133 | 3.6933 | 18.7133 | 887.7333 | 99.4 | 45.67
2019-08-29 07:30:00 | 5.11 | 316.4467 | 5.88 | 347.7333 | 8.3 | 1.6967 | 8.54 | 2.9133 | 18.732 | 888 | 99.7333 | 46.1013
2019-08-29 07:45:00 | 5.08 | 202.1133 | 5.85 | 222.1 | 8.73 | 1.4133 | 9.1767 | 11.1933 | 18.83 | 888 | 100 | 45.6753
2019-08-29 08:00:00 | 4.96 | 206.06 | 5.7033 | 226.4333 | 8.3967 | 2.7867 | 8.8367 | 10.6467 | 18.93 | 888 | 99.96 | 43.5853
2019-08-29 08:15:00 | 4.7333 | 91.92 | 5.4533 | 101.0067 | 7.816 | 3.9733 | 8.3833 | 9.5567 | 19.0733 | 888 | 99.3667 | 41.9053
2019-08-29 08:30:00 | 4.6267 | 299.6067 | 5.32 | 329.2333 | 7.0667 | 11.8467 | 7.57 | 13.0433 | 19.3867 | 888 | 98.2333 | 41.7793
2019-08-29 08:45:00 | 4.5467 | 104.57 | 5.2333 | 114.9 | 7.2167 | 242.47 | 7.5733 | 0.85333 | 20.0467 | 888.7333 | 96.3 | 41.4667
2019-08-29 09:00:00 | 4.76 | 300.0633 | 5.4733 | 329.7333 | 7.4367 | 242.47 | 7.7533 | 2.8133 | 20.7 | 889 | 93.6333 | 41.6153
2019-08-29 09:15:00 | 4.7667 | 105.4733 | 5.49 | 115.9 | 7.08 | 1.9933 | 7.2367 | 8.3433 | 21.17 | 889 | 90.8 | 39.6053
2019-08-29 09:30:00 | 4.9267 | 111.1 | 5.6767 | 122.0733 | 8.14 | 20.8533 | 7.75 | 8.8767 | 21.99 | 889 | 88.5333 | 37.6613
2019-08-29 09:45:00 | 5.2907 | 87.416 | 6.094 | 96.0553 | 9.0733 | 16.886 | 8.7053 | 33.928 | 23.3193 | 889.0667 | 82.9133 | 34.5613
2019-08-29 10:00:00 | 5.1767 | 258.2933 | 5.95 | 283.8333 | 8.6733 | 32.5667 | 8.07 | 29.49 | 23.7167 | 890 | 80.7 | 30.98
2019-08-29 10:15:00 | 4.6533 | 112.81 | 5.3533 | 123.96 | 8.0033 | 15.2133 | 7.61 | 10.7367 | 24.5667 | 890 | 78.3667 | 26.7673
2019-08-29 10:30:00 | 4.6933 | 300.3033 | 5.4 | 330 | 8.1367 | 8.6533 | 8.0633 | 11.0967 | 25.2933 | 890 | 75.28 | 23.9487
2019-08-29 10:45:00 | 4.5267 | 206.2967 | 5.2067 | 226.7 | 7.7633 | 10.88 | 7.58 | 12.6 | 25.6933 | 890.7333 | 73.21 | 21.334
2019-08-29 11:00:00 | 4.6533 | 200.23 | 5.3533 | 220.0333 | 7.6833 | 2.9533 | 7.3067 | 17.0533 | 26.1467 | 891 | 71.35 | 15.86
2019-08-29 11:15:00 | 4.18 | 142.8367 | 4.81 | 156.9533 | 6.9467 | 19.0933 | 6.64 | 26.2667 | 26.4967 | 891 | 69.6867 | 11.522
2019-08-29 11:30:00 | 4.3333 | 186.79 | 4.9833 | 205.2667 | 7.5267 | 24.6333 | 7.1067 | 25.86 | 26.99 | 891 | 67.6533 | 10.6807
2019-08-29 11:45:00 | 4.0367 | 84.0447 | 4.6467 | 92.35 | 6.8833 | 17.87 | 6.4833 | 33.9367 | 27.4133 | 891 | 65.586 | 8.124
2019-08-29 12:00:00 | 3.9967 | 16.7967 | 4.6 | 18.45 | 6.7767 | 21.35 | 6.2633 | 21.6233 | 27.8067 | 891 | 64.6633 | 5.882
2019-08-29 12:15:00 | 3.6267 | 151.9067 | 4.18 | 166.9333 | 5.8967 | 23.0933 | 5.6167 | 17.44 | 27.9653 | 891 | 63.3733 | 4.9293
2019-08-29 12:30:00 | 3.6 | 317.9533 | 4.1467 | 349.4 | 5.9967 | 15.48 | 5.8967 | 21.7333 | 28.1667 | 891 | 62.8133 | 4.1913
2019-08-29 12:45:00 | 3.4533 | 288.3867 | 3.9733 | 316.9 | 5.6033 | 16.8167 | 5.32 | 28.7267 | 28.47 | 890.9333 | 59.73 | 3.268
2019-08-29 13:00:00 | 3.1467 | 251.9267 | 3.62 | 276.8333 | 5.39 | 19.2167 | 5.34 | 30.64 | 28.7233 | 890 | 59.0633 | 2.732
2019-08-29 13:15:00 | 2.8867 | 31.4333 | 3.3167 | 34.5467 | 4.8833 | 15.2867 | 4.7233 | 19.17 | 29.34 | 890 | 55.5733 | 1.604
2019-08-29 13:30:00 | 2.76 | 53.8733 | 3.1767 | 59.1933 | 4.7767 | 23.6067 | 4.65 | 22.25 | 29.64 | 890 | 52.8067 | 0.72533
2019-08-29 13:45:00 | 2.5933 | 26.0233 | 2.9867 | 28.5967 | 4.41 | 22.75 | 4.1733 | 20.5533 | 29.8667 | 890 | 50.7667 | 0.206
2019-08-29 14:00:00 | 2.28 | 9.3033 | 2.6267 | 10.2167 | 3.85 | 23.69 | 3.2867 | 29.3733 | 29.98 | 890 | 49.2533 | 0.10333
2019-08-29 14:15:00 | 2.6333 | 114.83 | 3.0267 | 126.1867 | 4.5367 | 21.5367 | 4.2167 | 29.18 | 30.1733 | 890 | 46.8567 | 0.49933
2019-08-29 14:30:00 | 2.6733 | 229.39 | 3.0733 | 252.0667 | 4.6767 | 14.8633 | 4.4633 | 26.38 | 30.3867 | 890 | 44.0233 | 0.21333
2019-08-29 14:45:00 | 2.1567 | 146.6 | 2.4867 | 161.0933 | 3.55 | 236.1333 | 3.4633 | 24.0767 | 30.7933 | 890 | 41.1733 | 0.20467
2019-08-29 15:00:00 | 2.4033 | 115.9 | 2.7667 | 127.36 | 3.6233 | 5.78 | 3.3367 | 243.0833 | 30.4333 | 890 | 42 | 0.23333
2019-08-29 15:15:00 | 2.56 | 209.5067 | 2.95 | 230.2133 | 4.1 | 12.4267 | 3.9133 | 11.7767 | 30.3567 | 890 | 43.98 | 0.68467
2019-08-29 15:30:00 | 2.7067 | 209.3733 | 3.1167 | 230.08 | 4.2533 | 21.3667 | 4 | 26.41 | 30.75 | 890 | 42.3667 | 0.65067
2019-08-29 15:45:00 | 2.22 | 299.7 | 2.5533 | 329.3333 | 3.3533 | 230.73 | 3.1667 | 221.47 | 30.8233 | 889.9333 | 42.47 | 1.1053
2019-08-29 16:00:00 | 2.78 | 301.76 | 3.1933 | 331.6 | 4.3733 | 238.7967 | 4.0267 | 0.63 | 30.9033 | 889 | 43.0367 | 1.2367
2019-08-29 16:15:00 | 2.6533 | 99.8533 | 3.06 | 109.7267 | 4.31 | 15.5867 | 4.0933 | 35.0033 | 31.0967 | 889 | 42.5767 | 1.1107
2019-08-29 16:30:00 | 2.5267 | 282.2867 | 2.9067 | 310.2 | 4.5967 | 7.9133 | 4.36 | 13.2233 | 32.39 | 889 | 41.0233 | 0.28933
2019-08-29 16:45:00 | 2.2467 | 283.9167 | 2.5967 | 312 | 3.8533 | 136.16 | 3.67 | 354.4 | 32.18 | 889 | 41.0367 | 0.25333
2019-08-29 17:00:00 | 2.1267 | 108.3233 | 2.45 | 119.0333 | 3.6133 | 352.6667 | 3.29 | 348.7333 | 31.9133 | 889 | 41.9167 | 0.32133
2019-08-29 17:15:00 | 2.1633 | 86.6333 | 2.49 | 95.1933 | 4.01 | 17.3467 | 3.7967 | 18.7967 | 31.7033 | 889 | 42.4967 | 0.39867
2019-08-29 17:30:00 | 2.1233 | 100.2467 | 2.4433 | 110.16 | 3.9167 | 25.96 | 3.9233 | 15.1167 | 32.078 | 889 | 40.6433 | 0.49933
2019-08-29 17:45:00 | 2.0947 | 177.316 | 2.4053 | 194.846 | 3.878 | 14.1113 | 3.9047 | 19.5213 | 31.5113 | 889 | 40.748 | 0.45467
2019-08-29 18:00:00 | 2.0467 | 162.29 | 2.35 | 178.3333 | 3.8067 | 233.2033 | 3.64 | 9.5833 | 31.3533 | 889 | 40.3733 | 0.32933
2019-08-29 18:15:00 | 2.37 | 241.6067 | 2.7267 | 265.5 | 4.6667 | 6.93 | 4.3933 | 9.1667 | 30.8633 | 889 | 41.8833 | 0.718
2019-08-29 18:30:00 | 2.3567 | 222.26 | 2.72 | 244.2333 | 4.6267 | 11.4967 | 4.4733 | 10.5733 | 29.9967 | 889 | 43.41 | 0.984
2019-08-29 18:45:00 | 2.4067 | 212.4867 | 2.7733 | 233.5 | 4.46 | 10.84 | 4.4533 | 11.96 | 27.68 | 888.9333 | 48.3067 | 0.794
2019-08-29 19:00:00 | 2.1733 | 295.5333 | 2.5133 | 324.7667 | 4.14 | 10.06 | 4.1933 | 32.38 | 26.84 | 888 | 51.2267 | 1.8547
2019-08-29 19:15:00 | 2.1967 | 268.6 | 2.5233 | 295.1667 | 4.27 | 13.6733 | 4.37 | 20.97 | 26.05 | 887.2667 | 54.1867 | 3.1287
2019-08-29 19:30:00 | 2.3833 | 315.8067 | 2.75 | 347.0333 | 4.59 | 8.6067 | 4.6167 | 25.3633 | 25.49 | 887 | 55.016 | 3.8467
2019-08-29 19:45:00 | 2.5767 | 8.55 | 2.97 | 9.3933 | 4.9333 | 5.0133 | 5.2267 | 24.63 | 25.0467 | 887 | 55.4033 | 5.5827
2019-08-29 20:00:00 | 2.71 | 5.6967 | 3.1233 | 6.2533 | 5.06 | 13.16 | 5.2733 | 28.21 | 24.884 | 887 | 55.29 | 5.15
2019-08-29 20:15:00 | 2.6 | 291.0467 | 2.99 | 319.8333 | 4.8367 | 125.7067 | 4.7833 | 2.9533 | 24.4033 | 887 | 56.4567 | 4.87
2019-08-29 20:30:00 | 2.58 | 108.34 | 2.9633 | 119.0467 | 4.4833 | 120.5867 | 4.3567 | 10.5533 | 24.2367 | 887 | 55.7633 | 6.2787
2019-08-29 20:45:00 | 2.6867 | 216.92 | 3.0967 | 238.37 | 4.16 | 118.9333 | 4.4567 | 15.3567 | 24.13 | 887 | 54.9833 | 5.9513
2019-08-29 21:00:00 | 2.6067 | 15.7333 | 2.9967 | 17.2833 | 4.4 | 119.32 | 4.59 | 9.67 | 24.0033 | 887 | 54.234 | 4.356
2019-08-29 21:15:00 | 1.6467 | 283.32 | 1.8933 | 311.3333 | 2.92 | 17.7867 | 3.1033 | 30.09 | 23.8553 | 887 | 53.5067 | 1.078
2019-08-29 21:30:00 | 1.2067 | 294.6067 | 1.3933 | 323.7333 | 2.1333 | 55.8733 | 2.0367 | 83.0367 | 24.0967 | 887.4 | 48.4867 | 0
2019-08-29 21:45:00 | 1.21 | 104.9567 | 1.4 | 115.3333 | 1.9133 | 126.5133 | 1.9567 | 133.2333 | 24.6067 | 888 | 51.3533 | 0
2019-08-29 22:00:00 | 1.3833 | 103.4367 | 1.5933 | 113.6667 | 2.0067 | 127.1 | 2.15 | 149.1667 | 24.78 | 888 | 54.88 | 0
2019-08-29 22:15:00 | 1.62 | 115.3267 | 1.8667 | 126.7333 | 2.3167 | 162.7333 | 2.6733 | 163.2667 | 24.732 | 888 | 57.68 | 0
2019-08-29 22:30:00 | 2.0533 | 128.2533 | 2.36 | 140.9333 | 2.8967 | 163.4667 | 3.4067 | 163.5333 | 24.4333 | 888 | 60.2467 | 0.415
2019-08-29 22:45:00 | 2.1067 | 134.9333 | 2.4233 | 148.2667 | 2.95 | 170.8 | 3.4833 | 174.3333 | 24.1033 | 888 | 61.8167 | 1.1573
2019-08-29 23:00:00 | 1.5 | 149.4267 | 1.7233 | 164.2 | 2.1833 | 181.6 | 2.9233 | 187.6667 | 24.038 | 888 | 62.0767 | 1.1127
2019-08-29 23:15:00 | 2.1267 | 120.27 | 2.45 | 132.1667 | 2.9633 | 175.1867 | 3.1967 | 181.9667 | 24.0887 | 888 | 61.2233 | 1.4827
2019-08-29 23:30:00 | 2.2067 | 146.8433 | 2.5367 | 161.3667 | 2.8767 | 177.4 | 3.37 | 185.2333 | 24.194 | 888 | 59.81 | 2.6987
2019-08-29 23:45:00 | 2.5633 | 168.48 | 2.9567 | 185.1333 | 3.36 | 187.4 | 3.6933 | 184.0667 | 24.13 | 888 | 59.3767 | 3.212