## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-08-31 00:00:00 | 2.5443 | 170.5021 | 2.9229 | 187.3643 | 3.4264 | 195.8786 | 3.4979 | 202.5714 | 20.1979 | 888 | 68.61 | 0
2019-08-31 00:15:00 | 2.18 | 174.09 | 2.52 | 191.3 | 3.0733 | 196.4667 | 2.93 | 195.3333 | 20.13 | 888 | 67.9667 | 0
2019-08-31 00:30:00 | 1.8067 | 176.69 | 2.0867 | 194.1667 | 2.38 | 194.6 | 2.5233 | 206 | 20.07 | 888 | 68.92 | 0
2019-08-31 00:45:00 | 1.6467 | 173.11 | 1.89 | 190.2333 | 2.15 | 195.9 | 2.4967 | 207.2667 | 19.97 | 888 | 71.0633 | 0
2019-08-31 01:00:00 | 1.2133 | 183.9167 | 1.4033 | 202.1 | 1.5633 | 190.9667 | 1.7167 | 212.1333 | 19.9033 | 888 | 72.1167 | 0
2019-08-31 01:15:00 | 2.05 | 174.4533 | 2.36 | 191.7 | 2.58 | 190 | 2.5433 | 190.3333 | 19.8033 | 888 | 73.81 | 0
2019-08-31 01:30:00 | 2.024 | 177.888 | 2.334 | 195.48 | 2.754 | 183.96 | 2.702 | 179.58 | 19.678 | 888 | 74.342 | 0
2019-08-31 01:45:00 | 1.9933 | 170.8667 | 2.3033 | 187.7667 | 2.6 | 181.68 | 2.6433 | 171.4 | 19.614 | 888 | 74.8933 | 0
2019-08-31 02:00:00 | 1.62 | 168.0267 | 1.8767 | 184.6333 | 2.2733 | 186.4667 | 2.5633 | 183.4667 | 19.55 | 888 | 74.704 | 0
2019-08-31 02:15:00 | 1.2467 | 176.2733 | 1.4433 | 193.7 | 2.1067 | 198.5667 | 2.86 | 202.4333 | 19.4167 | 888 | 75.2333 | 0
2019-08-31 02:30:00 | 1.1933 | 191.8533 | 1.3767 | 210.8333 | 1.8867 | 198.9667 | 2.5933 | 201.6333 | 19.33 | 888 | 74.94 | 0.048
2019-08-31 02:45:00 | 1.34 | 174.37 | 1.55 | 191.6 | 1.96 | 190.6667 | 2.5533 | 194.3 | 19.41 | 888 | 75.07 | 0.043333
2019-08-31 03:00:00 | 0.904 | 232.3 | 1.048 | 255.26 | 1.408 | 188.84 | 2.268 | 187.74 | 19.322 | 888 | 75.692 | 0
2019-08-31 03:15:00 | 0.76333 | 276.5407 | 0.88667 | 303.8867 | 0.24 | 139.9667 | 1.2233 | 145.2667 | 19.4833 | 887.9333 | 74.43 | 0
2019-08-31 03:30:00 | 1.4167 | 306.2167 | 1.6333 | 336.5 | 1.1 | 59.9333 | 1.5433 | 124 | 19.4633 | 887 | 75.1567 | 0
2019-08-31 03:45:00 | 2.0367 | 110.3567 | 2.34 | 121.2667 | 2.2433 | 4.1133 | 1.6867 | 10.0533 | 18.97 | 887 | 79.84 | 0
2019-08-31 04:00:00 | 2.4367 | 315.3433 | 2.8 | 346.5333 | 2.7967 | 237.5933 | 2.4933 | 15.8867 | 18.7233 | 887 | 80.8 | 0
2019-08-31 04:15:00 | 2.5567 | 211.3167 | 2.95 | 232.2167 | 3.05 | 4.1633 | 3.1167 | 23.0033 | 18.7167 | 887 | 80.5 | 0
2019-08-31 04:30:00 | 2.89 | 208.8367 | 3.3233 | 229.4833 | 3.4833 | 8.65 | 3.27 | 18.4033 | 18.538 | 887 | 81.9667 | 0
2019-08-31 04:45:00 | 2.7333 | 316.3467 | 3.1467 | 347.6333 | 3.4633 | 11.7967 | 3.1667 | 13.55 | 18.4747 | 887 | 82.5333 | 0
2019-08-31 05:00:00 | 2.8733 | 323.5067 | 3.3067 | 355.5 | 3.49 | 11.6833 | 3.26 | 14.8167 | 18.3333 | 887 | 85.0667 | 0
2019-08-31 05:15:00 | 2.78 | 317.9233 | 3.1967 | 349.3667 | 3.5533 | 4.49 | 3.0767 | 3.93 | 18.4013 | 887 | 85.3933 | 0
2019-08-31 05:30:00 | 2.66 | 307.4967 | 3.0567 | 337.9 | 3.4533 | 7.5833 | 2.9167 | 5.9567 | 18.4533 | 887 | 85.1667 | 0
2019-08-31 05:45:00 | 2.36 | 286.5633 | 2.7233 | 314.9 | 2.9133 | 8.9733 | 2.3 | 4.99 | 18.5053 | 887 | 85.1733 | 0
2019-08-31 06:00:00 | 2.1467 | 311.6833 | 2.47 | 342.5 | 2.6533 | 9.3933 | 2.0067 | 3.6967 | 18.54 | 887 | 85.0667 | 0
2019-08-31 06:15:00 | 1.87 | 314.25 | 2.15 | 345.3333 | 2.49 | 8.4567 | 1.9733 | 5.0967 | 18.5167 | 887 | 84.5 | 0
2019-08-31 06:30:00 | 1.85 | 324.2633 | 2.1233 | 356.3333 | 2.19 | 9.95 | 1.6067 | 15.9967 | 18.29 | 887 | 87.1 | 0
2019-08-31 06:45:00 | 1.5093 | 310.256 | 1.736 | 340.94 | 1.7613 | 125.58 | 0.82 | 21.0173 | 18.3593 | 887 | 85.7933 | 0
2019-08-31 07:00:00 | 1.2 | 314.3567 | 1.39 | 345.4333 | 0.83 | 356.9 | 0.17 | 21.414 | 18.296 | 887 | 86.1 | 0.007333
2019-08-31 07:15:00 | 0.44667 | 310.2107 | 0.52 | 340.8867 | 0 | 356.9 | 0.066667 | 188.8933 | 18.3667 | 887.7333 | 83.8 | 0.28533
2019-08-31 07:30:00 | 0.56667 | 310.22 | 0.65333 | 340.9 | 0 | 356.9 | 0 | 188.8 | 18.4733 | 888 | 84 | 0.60067
2019-08-31 07:45:00 | 0.046667 | 310.22 | 0.056667 | 340.9 | 0.076667 | 356.9 | 0.036667 | 188.8733 | 18.6567 | 888 | 82.8 | 0.68533
2019-08-31 08:00:00 | 0.1 | 310.22 | 0.11667 | 340.9 | 0.17667 | 356.9 | 0.036667 | 188.9 | 18.8433 | 888 | 83.8667 | 0.36533
2019-08-31 08:15:00 | 0.03 | 310.286 | 0.036667 | 340.9733 | 0.003333 | 343.8667 | 0.046667 | 188.8933 | 18.9047 | 888 | 88.8 | 0.468
2019-08-31 08:30:00 | 0.25667 | 315.5967 | 0.29667 | 346.8 | 0.11 | 314.8 | 0.10667 | 188.8 | 19.4633 | 888.4 | 88 | 0.682
2019-08-31 08:45:00 | 0.96 | 49.3267 | 1.1067 | 54.2 | 0.94333 | 184.8333 | 0.66667 | 155.6 | 20.15 | 889 | 86.7 | 0.66333
2019-08-31 09:00:00 | 1.12 | 148.5533 | 1.3 | 163.2333 | 1.1967 | 159.3 | 0.62 | 157.9333 | 20.5767 | 889 | 84.3 | 0.514
2019-08-31 09:15:00 | 1.6633 | 171.8947 | 1.9167 | 188.8933 | 1.8933 | 164.1 | 1.8233 | 179.1667 | 20.7693 | 889 | 82.6333 | 0.24933
2019-08-31 09:30:00 | 2.2767 | 170.54 | 2.6233 | 187.4 | 2.6467 | 179.9667 | 2.7967 | 200.8333 | 20.752 | 889.4 | 80.02 | 0.12
2019-08-31 09:45:00 | 2.5 | 147.8733 | 2.88 | 162.5 | 2.88 | 191.6133 | 3.4 | 199.4 | 20.83 | 890 | 76.9867 | 0.33733
2019-08-31 10:00:00 | 2.8067 | 158.3733 | 3.2333 | 174.0333 | 3.4 | 193.6 | 3.8533 | 185.8 | 20.7167 | 890 | 78.3667 | 0.422
2019-08-31 10:15:00 | 3.2667 | 150.7333 | 3.7633 | 165.6333 | 3.78 | 175.1667 | 3.9433 | 175.3 | 20.896 | 890 | 75.2433 | 1.03
2019-08-31 10:30:00 | 3.7867 | 174.2667 | 4.3633 | 191.5 | 4.48 | 169.6333 | 4.3367 | 177.1 | 21.5133 | 890 | 73.0633 | 2.7653
2019-08-31 10:45:00 | 4.02 | 169.4133 | 4.63 | 186.1667 | 4.7933 | 178.3 | 4.8433 | 184.8 | 21.9533 | 890 | 71.6467 | 3.746
2019-08-31 11:00:00 | 3.6067 | 125.2467 | 4.1433 | 137.6333 | 4.66 | 177.4333 | 4.49 | 216 | 21.76 | 890 | 72.76 | 1.8613
2019-08-31 11:15:00 | 2.7167 | 159.2473 | 3.1253 | 174.9933 | 3.466 | 200.5 | 3.4687 | 187.9533 | 21.57 | 890 | 73.5307 | 3.9233
2019-08-31 11:30:00 | 2.9433 | 165.75 | 3.3833 | 182.1333 | 3.85 | 215.3333 | 4.0133 | 228.8 | 21.67 | 890 | 74.3433 | 5.762
2019-08-31 11:45:00 | 2.92 | 187.4633 | 3.3533 | 206 | 3.78 | 212.8333 | 4.1033 | 233.4 | 21.3567 | 890 | 74.48 | 7.9927
2019-08-31 12:00:00 | 3.1933 | 163.9233 | 3.6733 | 180.1333 | 4.1733 | 212.5667 | 4.2967 | 230.9333 | 21.0633 | 890 | 75.2867 | 11.622
2019-08-31 12:15:00 | 3.64 | 175.4467 | 4.1867 | 192.8 | 4.9333 | 220.3 | 5.3033 | 233.3667 | 20.2767 | 890 | 76.58 | 16.2253
2019-08-31 12:30:00 | 3.5667 | 172.3533 | 4.1 | 189.4 | 5.06 | 229.5 | 5.75 | 240.5667 | 20.2233 | 890 | 76.9267 | 13.7353
2019-08-31 12:45:00 | 3.5287 | 164.3773 | 4.0607 | 180.62 | 4.7433 | 229.8733 | 5.186 | 230.18 | 20.3067 | 889.2667 | 77.8073 | 12.474
2019-08-31 13:00:00 | 3.52 | 139.3567 | 4.0467 | 153.1333 | 4.6633 | 228.2 | 5.2633 | 240.1667 | 20.42 | 889 | 77.75 | 10.8767
2019-08-31 13:15:00 | 2.8067 | 160.4067 | 3.2333 | 176.2667 | 3.6867 | 242.2 | 3.9533 | 236.7 | 20.7967 | 889.0667 | 77.868 | 8.646
2019-08-31 13:30:00 | 2.46 | 170.3 | 2.8333 | 187.1333 | 3.3333 | 224.1333 | 3.6133 | 240.3667 | 21.0233 | 890 | 78.5 | 9.576
2019-08-31 13:45:00 | 2.7533 | 158.4667 | 3.1667 | 174.1333 | 3.57 | 215.2667 | 3.8767 | 230.1667 | 20.8233 | 889.2667 | 80.2933 | 8.248
2019-08-31 14:00:00 | 2.4067 | 186.7333 | 2.78 | 205.2 | 3.15 | 203.6 | 3.4833 | 220.3 | 20.5567 | 889 | 82.2 | 8.022
2019-08-31 14:15:00 | 2.5867 | 143.068 | 2.98 | 157.22 | 3.33 | 216.3667 | 3.7967 | 219.4 | 20.4 | 889 | 83.5333 | 5.1647
2019-08-31 14:30:00 | 2.7867 | 155.34 | 3.2067 | 170.7 | 3.55 | 219.3 | 3.91 | 229.6 | 20.2667 | 889 | 84.3333 | 2.91
2019-08-31 14:45:00 | 2.9713 | 172.2847 | 3.4227 | 189.3267 | 4.1253 | 230.92 | 4.2307 | 230.5867 | 20.6073 | 889 | 83.84 | 3.2847
2019-08-31 15:00:00 | 2.6686 | 178.575 | 3.0743 | 196.2286 | 3.8021 | 234.4857 | 3.5957 | 215.1643 | 20.6586 | 889 | 83.6571 | 6.1647
2019-08-31 15:15:00 | 3.734 | 138.9353 | 4.296 | 152.68 | 4.5773 | 194.4267 | 5.0007 | 191.36 | 19.7447 | 888.9333 | 87.6867 | 4.9927
2019-08-31 15:30:00 | 3.3 | 152.1533 | 3.8067 | 167.2 | 3.93 | 176.3333 | 4.32 | 193.0667 | 18.9 | 888 | 93.4333 | 4.1913
2019-08-31 15:45:00 | 2.8867 | 159.5867 | 3.3267 | 175.3667 | 3.5533 | 206.4 | 3.8133 | 174.7333 | 18.55 | 888 | 95.7333 | 3.1987
2019-08-31 16:00:00 | 3.1267 | 170.94 | 3.6067 | 187.8333 | 3.78 | 175.7333 | 4.2867 | 178.2667 | 18.3833 | 888 | 96.5333 | 1.9087
2019-08-31 16:15:00 | 2.69 | 165.0133 | 3.0933 | 181.3333 | 3.1733 | 172.1333 | 3.43 | 186.6333 | 18.17 | 888 | 97.9667 | 2.45
2019-08-31 16:30:00 | 2.3833 | 182.98 | 2.74 | 201.0667 | 2.8933 | 188.4 | 3.0433 | 191.1667 | 18.03 | 888 | 98.9667 | 4.4447
2019-08-31 16:45:00 | 3.3133 | 162.0367 | 3.81 | 178.0667 | 3.8933 | 172.2 | 4.57 | 184.8 | 17.8867 | 888 | 99.6667 | 8.634
2019-08-31 17:00:00 | 3.74 | 132.8633 | 4.3033 | 146 | 4.4733 | 158.8667 | 5.0767 | 191.3333 | 17.7 | 888 | 99.9333 | 7.9253
2019-08-31 17:15:00 | 3.74 | 149.95 | 4.3 | 164.7667 | 4.5 | 153.3333 | 5.0267 | 188.1 | 17.48 | 888 | 100 | 8.35
2019-08-31 17:30:00 | 3.58 | 158.8633 | 4.1133 | 174.5667 | 4.2667 | 155.8667 | 4.6333 | 176.7 | 17.2933 | 888 | 100 | 9.6887
2019-08-31 17:45:00 | 3.8667 | 138.6867 | 4.4467 | 152.4 | 4.5767 | 158.6 | 5 | 166.0667 | 17.2407 | 887.9333 | 100 | 11.0187
2019-08-31 18:00:00 | 3.9933 | 166.5933 | 4.5933 | 183.0667 | 4.69 | 178.2 | 5.4867 | 172.6 | 17.2833 | 887 | 100 | 8.4573
2019-08-31 18:15:00 | 3.5767 | 154.04 | 4.12 | 169.2667 | 4.1933 | 178.4 | 4.8633 | 184.9333 | 17.2153 | 887.7333 | 100 | 5.0933
2019-08-31 18:30:00 | 3.23 | 151.6133 | 3.7267 | 166.6 | 3.96 | 178.4667 | 4.4833 | 170.9333 | 17.082 | 888 | 100 | 2.8387
2019-08-31 18:45:00 | 3.1533 | 160.62 | 3.6267 | 176.5 | 3.72 | 179.8 | 4.2133 | 182.1667 | 17.1167 | 887.9333 | 100 | 1.6647
2019-08-31 19:00:00 | 2.0933 | 156.1867 | 2.4133 | 171.6333 | 2.5267 | 191.4667 | 2.98 | 187.9 | 17.142 | 887.4 | 100 | 0.27133
2019-08-31 19:15:00 | 1.6333 | 142.2333 | 1.8833 | 156.3 | 1.96 | 185.6667 | 2.26 | 186 | 17.0813 | 888 | 100 | 0
2019-08-31 19:30:00 | 1.1933 | 112.6333 | 1.37 | 123.7667 | 1.36 | 172.0667 | 1.84 | 190.8667 | 16.9733 | 888 | 100 | 0
2019-08-31 19:45:00 | 0.51 | 157.2267 | 0.59333 | 172.7667 | 0.71333 | 195.5667 | 1.17 | 189.4 | 16.9733 | 888 | 100 | 0
2019-08-31 20:00:00 | 0.13 | 182.64 | 0.15333 | 200.7 | 0.006667 | 165.1 | 0.20333 | 185.96 | 16.88 | 888 | 100 | 0
2019-08-31 20:15:00 | 0.20333 | 182.7133 | 0.24667 | 200.7733 | 0 | 152.7067 | 0 | 185.9 | 16.838 | 888 | 100 | 0
2019-08-31 20:30:00 | 0.07 | 274.5267 | 0.086667 | 301.6667 | 0 | 152.8 | 0 | 175.4333 | 16.8167 | 888 | 100 | 0
2019-08-31 20:45:00 | 0.04 | 320.156 | 0.053333 | 351.8067 | 0 | 152.8 | 0 | 170.2 | 16.9093 | 888 | 100 | 0
2019-08-31 21:00:00 | 0 | 320.06 | 0 | 351.7 | 0 | 152.8 | 0 | 170.2 | 16.8667 | 888 | 100 | 0
2019-08-31 21:15:00 | 0 | 320.06 | 0 | 351.7 | 0 | 152.8 | 0 | 170.2 | 16.808 | 888 | 100 | 0
2019-08-31 21:30:00 | 0 | 320.06 | 0 | 351.7 | 0 | 152.8 | 0 | 170.2 | 16.768 | 888 | 100 | 0
2019-08-31 21:45:00 | 0 | 320.06 | 0 | 351.7 | 0 | 152.8 | 0 | 170.2 | 16.774 | 888 | 100 | 0
2019-08-31 22:00:00 | 0 | 320.06 | 0 | 351.7 | 0 | 152.8 | 0 | 170.2 | 16.818 | 888 | 100 | 0
2019-08-31 22:15:00 | 0 | 320.06 | 0 | 351.7 | 0 | 152.8 | 0 | 170.2 | 16.816 | 888 | 100 | 0
2019-08-31 22:30:00 | 0 | 320.06 | 0 | 351.7 | 0 | 152.8 | 0 | 170.2 | 16.812 | 888 | 100 | 0
2019-08-31 22:45:00 | 0.49333 | 272.7633 | 0.57 | 299.7333 | 0.29333 | 161.2333 | 0.18 | 170.2067 | 16.7927 | 888 | 100 | 0
2019-08-31 23:00:00 | 1.3867 | 181.5167 | 1.6033 | 199.4667 | 1.5267 | 181.9 | 1.0867 | 180.1 | 16.794 | 888 | 100 | 0
2019-08-31 23:15:00 | 1.778 | 174.5493 | 2.056 | 191.8067 | 2.338 | 201.6533 | 2.224 | 198 | 16.8233 | 888 | 100 | 0.012667
2019-08-31 23:30:00 | 1.4233 | 175.78 | 1.6467 | 193.1667 | 1.9833 | 197.4 | 2 | 199.8667 | 16.858 | 888 | 100 | 0
2019-08-31 23:45:00 | 1.4333 | 173.472 | 1.6533 | 190.6133 | 1.7167 | 191.9333 | 2.0467 | 199 | 16.878 | 888 | 100 | 0