## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-02 00:00:00 | 0.40643 | 141.2143 | 0.47 | 155.1714 | 0.28286 | 282.4 | 0.17357 | 344.1357 | 19.1814 | 890 | 92.9 | 0
2019-09-02 00:15:00 | 0.81333 | 199.8547 | 0.94333 | 219.6133 | 0.86 | 241.5233 | 0.63 | 348.48 | 19.04 | 890 | 93.9667 | 0
2019-09-02 00:30:00 | 1.24 | 311.1733 | 1.4367 | 341.9333 | 1.56 | 13.73 | 0.96333 | 127.36 | 18.9067 | 890 | 94.9667 | 0
2019-09-02 00:45:00 | 1.0967 | 313.7527 | 1.2733 | 344.7733 | 1.7867 | 17.6067 | 2.2067 | 34.39 | 18.7767 | 890 | 95.7 | 0
2019-09-02 01:00:00 | 1.6167 | 323.1767 | 1.86 | 355.1333 | 2.4733 | 18.66 | 2.3533 | 28.7167 | 18.6833 | 890 | 96.3 | 0
2019-09-02 01:15:00 | 1.6933 | 314.2633 | 1.9567 | 345.3333 | 2.6133 | 127.34 | 2.5567 | 21.4653 | 18.58 | 889.9333 | 96.9 | 0
2019-09-02 01:30:00 | 2.2667 | 312.4433 | 2.6167 | 343.3333 | 2.7 | 118.9 | 2.4967 | 5.3667 | 18.524 | 889 | 97.1 | 0
2019-09-02 01:45:00 | 1.5707 | 302.7127 | 1.8047 | 332.64 | 1.5387 | 355.5133 | 0.85067 | 9.8213 | 18.544 | 889 | 96.8933 | 0
2019-09-02 02:00:00 | 1.3167 | 313.9533 | 1.52 | 345 | 1.13 | 125.5933 | 0.16 | 2.6533 | 18.544 | 889 | 96.76 | 0
2019-09-02 02:15:00 | 1.3267 | 315.3133 | 1.5267 | 346.4933 | 1.3067 | 6.8867 | 0.47333 | 31.01 | 18.36 | 889 | 97.3333 | 0
2019-09-02 02:30:00 | 0.61333 | 304.4933 | 0.70667 | 334.6 | 0.21333 | 188.12 | 0.013333 | 30.922 | 18.3333 | 889 | 97.2667 | 0
2019-09-02 02:45:00 | 0.42333 | 299.064 | 0.49 | 328.6267 | 0.1 | 232.1067 | 0.013333 | 30.94 | 18.5 | 889 | 96.1667 | 0
2019-09-02 03:00:00 | 0.083333 | 299.04 | 0.096667 | 328.6 | 0 | 232.2 | 0 | 30.94 | 18.5533 | 889 | 96.1667 | 0
2019-09-02 03:15:00 | 0 | 299.04 | 0 | 328.6 | 0 | 232.2 | 0 | 30.94 | 18.45 | 889 | 96.8333 | 0
2019-09-02 03:30:00 | 0.29333 | 299.04 | 0.34 | 328.6 | 0.55333 | 95.7733 | 0.60667 | 30.928 | 18.3767 | 889 | 97.7 | 0
2019-09-02 03:45:00 | 1.4967 | 302.1033 | 1.7267 | 331.9667 | 2.3033 | 21.148 | 2.3067 | 29.6967 | 18.2433 | 889 | 98.9 | 0
2019-09-02 04:00:00 | 1.9167 | 318.7167 | 2.2067 | 350.2333 | 2.5567 | 3.1733 | 2.82 | 12.5567 | 18.09 | 889 | 99.6333 | 0
2019-09-02 04:15:00 | 1.79 | 287.1967 | 2.0667 | 315.6 | 3.1667 | 9.1833 | 3.34 | 11.5 | 17.988 | 888.9333 | 100 | 0
2019-09-02 04:30:00 | 1.51 | 316.6833 | 1.74 | 348 | 2.74 | 17.8033 | 2.8867 | 9.2 | 17.952 | 888 | 100 | 0
2019-09-02 04:45:00 | 1.98 | 16.5267 | 2.2767 | 18.16 | 3.1667 | 11.6633 | 2.7767 | 14.3867 | 17.79 | 888 | 100 | 0
2019-09-02 05:00:00 | 2.28 | 1.0933 | 2.6233 | 1.2 | 2.7733 | 5.6367 | 2.3567 | 15.4267 | 17.6567 | 888 | 100 | 0.30267
2019-09-02 05:15:00 | 3.2267 | 109.4867 | 3.7133 | 120.3067 | 4.89 | 119.0667 | 4.77 | 5.2167 | 17.6153 | 888 | 100 | 4.03
2019-09-02 05:30:00 | 3.08 | 104.0333 | 3.54 | 114.3133 | 5.0567 | 125.8333 | 5.1567 | 10.5633 | 17.614 | 888 | 100 | 4.9287
2019-09-02 05:45:00 | 3.1867 | 22.8967 | 3.6667 | 25.1567 | 4.9167 | 123.2667 | 4.84 | 9.3667 | 17.5993 | 888 | 100 | 4.2447
2019-09-02 06:00:00 | 2.94 | 45.3567 | 3.3867 | 49.8433 | 4.93 | 346.0333 | 4.9267 | 13.48 | 17.5367 | 888 | 100 | 3.1067
2019-09-02 06:15:00 | 3.0133 | 143.7933 | 3.4633 | 158.0067 | 4.48 | 226.1067 | 4.29 | 237.1333 | 17.4787 | 888 | 100 | 4.956
2019-09-02 06:30:00 | 2.8 | 100.68 | 3.2167 | 110.6333 | 4.84 | 237.5067 | 4.7033 | 18.6 | 17.452 | 888 | 100 | 7.9373
2019-09-02 06:45:00 | 2.77 | 145.5633 | 3.1867 | 159.96 | 4.7467 | 234.3833 | 4.75 | 232.6133 | 17.4167 | 888 | 100 | 4.3727
2019-09-02 07:00:00 | 2.25 | 216.3033 | 2.5867 | 237.6933 | 3.1533 | 236.85 | 3.2567 | 13.66 | 17.35 | 888 | 100 | 0.85267
2019-09-02 07:15:00 | 3.04 | 100.2933 | 3.5 | 110.2133 | 4.1967 | 246.15 | 4.1767 | 3.5167 | 17.2693 | 888 | 100 | 2.4607
2019-09-02 07:30:00 | 3.0333 | 303.52 | 3.4933 | 333.5333 | 4.8233 | 26.67 | 4.6233 | 6.53 | 17.268 | 888.4 | 100 | 4.1073
2019-09-02 07:45:00 | 3 | 15.2767 | 3.46 | 16.78 | 4.89 | 224.1267 | 4.77 | 14.7633 | 17.2713 | 889 | 100 | 5.194
2019-09-02 08:00:00 | 3.24 | 14.7433 | 3.74 | 16.1933 | 5.1367 | 240.7933 | 5.0833 | 12.3033 | 17.238 | 889 | 100 | 5.3373
2019-09-02 08:15:00 | 3.0233 | 135.1067 | 3.4767 | 148.4667 | 5.0067 | 119.8067 | 4.91 | 20.5733 | 17.2473 | 889 | 100 | 5.496
2019-09-02 08:30:00 | 2.8433 | 106.0467 | 3.2767 | 116.5333 | 4.9133 | 122.0467 | 4.77 | 9.2333 | 17.3367 | 889 | 100 | 4.6147
2019-09-02 08:45:00 | 2.8133 | 218.09 | 3.2333 | 239.66 | 4.7267 | 122.1333 | 4.9533 | 11.6867 | 17.3367 | 889 | 100 | 4.8387
2019-09-02 09:00:00 | 3.0467 | 195.77 | 3.5 | 215.1267 | 4.86 | 351.7 | 4.88 | 13.1133 | 17.322 | 889 | 100 | 5.5247
2019-09-02 09:15:00 | 2.94 | 35.0767 | 3.3833 | 38.54 | 4.6967 | 5.57 | 4.7133 | 13.2867 | 17.3033 | 889.0667 | 99.9933 | 7.1447
2019-09-02 09:30:00 | 2.98 | 7.3167 | 3.43 | 8.0333 | 5.17 | 4.0633 | 5.32 | 12.7533 | 17.4433 | 890 | 99.94 | 7.9313
2019-09-02 09:45:00 | 2.8767 | 181.2267 | 3.3133 | 199.1467 | 4.8633 | 15.1433 | 4.99 | 17.3233 | 17.672 | 890 | 99.5667 | 3.82
2019-09-02 10:00:00 | 2.6967 | 8.42 | 3.1 | 9.2533 | 4.6767 | 241.4833 | 4.4167 | 7.55 | 17.8867 | 890 | 98.74 | 2.7673
2019-09-02 10:15:00 | 3.0733 | 225.65 | 3.5367 | 247.9667 | 5.0733 | 8.0433 | 4.88 | 9.7567 | 18.2 | 890 | 97.3667 | 3.5553
2019-09-02 10:30:00 | 2.84 | 22.406 | 3.268 | 24.624 | 4.716 | 6.908 | 4.57 | 15.564 | 18.416 | 890 | 96.66 | 0.59133
2019-09-02 10:45:00 | 2.9267 | 321.75 | 3.3667 | 353.5667 | 4.1267 | 10.3867 | 4.1533 | 15.8833 | 18.6167 | 890 | 93.9333 | 2.0187
2019-09-02 11:00:00 | 3.1533 | 302.8167 | 3.6333 | 332.7667 | 4.56 | 18.6133 | 4.38 | 12.8567 | 18.95 | 890 | 93.5333 | 3.1653
2019-09-02 11:15:00 | 2.8267 | 205.2633 | 3.25 | 225.56 | 4.6533 | 26.4267 | 4.71 | 18.1867 | 19.3667 | 890 | 92.5333 | 2.5867
2019-09-02 11:30:00 | 2.7333 | 232.07 | 3.1433 | 255.0267 | 5.04 | 12.28 | 4.8767 | 12.5333 | 19.4933 | 890 | 93.56 | 3.3373
2019-09-02 11:45:00 | 2.68 | 92.1267 | 3.0833 | 101.2333 | 4.9367 | 125.06 | 5.1267 | 14.4 | 19.31 | 890 | 93.3667 | 2.8473
2019-09-02 12:00:00 | 2.46 | 287.56 | 2.8367 | 316 | 3.99 | 118.58 | 4.0867 | 26.4733 | 19.158 | 890 | 92.1 | 3.3267
2019-09-02 12:15:00 | 2.9467 | 305.3367 | 3.3967 | 335.5333 | 5.18 | 12.54 | 5.03 | 18.93 | 19.6467 | 890 | 92.1333 | 3.762
2019-09-02 12:30:00 | 2.9867 | 112.4833 | 3.4433 | 123.6 | 5.4933 | 16.3 | 5.33 | 21.9633 | 20.0067 | 890 | 91 | 4.012
2019-09-02 12:45:00 | 3.0533 | 63.1833 | 3.5133 | 69.4333 | 5.6733 | 19.2 | 5.4533 | 14.4667 | 19.958 | 890 | 90.3333 | 4.2573
2019-09-02 13:00:00 | 2.7933 | 100.79 | 3.2267 | 110.7467 | 5.1933 | 16.6667 | 5.1 | 16.5267 | 19.798 | 890 | 91.5333 | 3.312
2019-09-02 13:15:00 | 2.6767 | 55.5667 | 3.0767 | 61.0533 | 5.0367 | 239.6667 | 4.94 | 20.3333 | 19.8867 | 890 | 90.9 | 4.0493
2019-09-02 13:30:00 | 2.7433 | 154.1867 | 3.1633 | 169.4333 | 5.1967 | 12.2 | 4.9733 | 13.5467 | 19.76 | 890 | 91.0333 | 3.94
2019-09-02 13:45:00 | 2.7067 | 118.89 | 3.12 | 130.6467 | 5.08 | 18.63 | 4.9033 | 24.5833 | 19.5433 | 890 | 91.4733 | 3.83
2019-09-02 14:00:00 | 2.4933 | 225.5633 | 2.8733 | 247.8667 | 4.7467 | 11.3567 | 4.5833 | 14.8633 | 19.3433 | 890 | 91.9 | 3.6073
2019-09-02 14:15:00 | 2.45 | 216.2567 | 2.82 | 237.6467 | 4.0067 | 238.9433 | 3.82 | 19.8767 | 19.3433 | 890 | 90.9333 | 3.0673
2019-09-02 14:30:00 | 2.4633 | 223.2367 | 2.8333 | 245.3133 | 4.0533 | 14.6967 | 3.9467 | 24.8033 | 19.1833 | 890 | 91.4667 | 4.2727
2019-09-02 14:45:00 | 2.56 | 81.3433 | 2.9533 | 89.3867 | 4.83 | 17.2367 | 4.53 | 18.89 | 18.9833 | 889.9333 | 92.6333 | 5.0947
2019-09-02 15:00:00 | 3.04 | 79.6033 | 3.5067 | 87.4733 | 5.6033 | 20.6767 | 5.2967 | 21.81 | 18.938 | 889 | 92.7 | 6.2893
2019-09-02 15:15:00 | 3.44 | 247.3167 | 3.9567 | 271.7667 | 6.4107 | 20.3733 | 5.9467 | 11.8933 | 19.008 | 889 | 93.0933 | 9.2187
2019-09-02 15:30:00 | 3.2533 | 247.5567 | 3.7433 | 272.0333 | 6.0933 | 9.52 | 5.9067 | 14.6467 | 18.968 | 889 | 93.4667 | 9.6347
2019-09-02 15:45:00 | 3.4 | 21.04 | 3.91 | 23.1233 | 6.2367 | 12.16 | 6.2867 | 16.3167 | 18.9907 | 889 | 93.7067 | 9.0307
2019-09-02 16:00:00 | 3.58 | 9.78 | 4.1167 | 10.7433 | 6.37 | 11.9333 | 6.46 | 15.1633 | 19.0867 | 889 | 93.8 | 10.952
2019-09-02 16:15:00 | 3.6 | 20.8233 | 4.15 | 22.8767 | 6.4833 | 5.7167 | 6.5067 | 12.6633 | 19.15 | 889 | 92.9667 | 14.954
2019-09-02 16:30:00 | 3.7467 | 16.15 | 4.3233 | 17.7367 | 6.0167 | 6.7033 | 6.1 | 8.6767 | 18.9633 | 888.6 | 92.8333 | 15.696
2019-09-02 16:45:00 | 3.7 | 103.49 | 4.2633 | 113.7267 | 5.8633 | 118.5533 | 5.95 | 7.42 | 18.8033 | 888 | 92.9067 | 14.0647
2019-09-02 17:00:00 | 3.6133 | 309.3167 | 4.1633 | 339.9 | 5.5167 | 353.7 | 5.55 | 6.7733 | 18.7033 | 888 | 92.6 | 13.378
2019-09-02 17:15:00 | 3.41 | 22.27 | 3.9233 | 24.47 | 5.81 | 119.6267 | 5.6 | 5.64 | 18.7227 | 888 | 93.4333 | 12.0973
2019-09-02 17:30:00 | 3.4967 | 23.69 | 4.0233 | 26.0233 | 5.8967 | 123.8267 | 5.9133 | 2.56 | 18.852 | 888 | 93.1667 | 11.646
2019-09-02 17:45:00 | 3.138 | 290.2953 | 3.618 | 319.0067 | 5.6693 | 120.884 | 5.7547 | 7.9147 | 18.7093 | 888 | 93.58 | 10.7227
2019-09-02 18:00:00 | 2.8733 | 302.8133 | 3.31 | 332.7667 | 5.3167 | 120.88 | 5.51 | 7.0333 | 18.632 | 888 | 94.0333 | 13.2287
2019-09-02 18:15:00 | 3.3533 | 113.19 | 3.8533 | 124.3867 | 5.92 | 17.46 | 5.98 | 11.4567 | 18.5 | 888 | 94.2667 | 15.626
2019-09-02 18:30:00 | 3.3733 | 103.45 | 3.8867 | 113.68 | 6 | 5.86 | 6.18 | 9.5433 | 18.38 | 888 | 94.8 | 15.4753
2019-09-02 18:45:00 | 3.7333 | 128.32 | 4.3 | 141.0067 | 6.0833 | 6.6 | 6.1267 | 12.36 | 18.2867 | 888 | 94.3667 | 15.7207
2019-09-02 19:00:00 | 3.5667 | 160.5333 | 4.1067 | 176.4 | 5.79 | 5.2867 | 5.8733 | 9.9 | 18.16 | 888 | 95.0333 | 15.392
2019-09-02 19:15:00 | 3.5033 | 180.8 | 4.0333 | 198.68 | 5.8033 | 4.0033 | 5.95 | 11.2733 | 18.0433 | 888 | 95.1 | 14.2227
2019-09-02 19:30:00 | 3.17 | 19.6133 | 3.6533 | 21.54 | 5.3633 | 228.3633 | 5.5967 | 11.6933 | 17.95 | 888 | 95.6333 | 13.4287
2019-09-02 19:45:00 | 3.2333 | 310.55 | 3.72 | 341.2667 | 5.1333 | 13.21 | 5.31 | 14.79 | 17.852 | 888 | 95.9 | 11.9607
2019-09-02 20:00:00 | 2.9933 | 130.3967 | 3.4533 | 143.2867 | 4.8133 | 11.75 | 5.0167 | 10.0433 | 17.868 | 888 | 95.6333 | 10.476
2019-09-02 20:15:00 | 2.8667 | 112.11 | 3.3033 | 123.1933 | 4.7367 | 2.4333 | 4.6567 | 15.9933 | 17.792 | 888 | 96.0667 | 9.822
2019-09-02 20:30:00 | 3.2933 | 106.73 | 3.7967 | 117.28 | 4.75 | 10.24 | 4.7367 | 18.16 | 17.8467 | 888 | 95.2667 | 9.5587
2019-09-02 20:45:00 | 3.1367 | 0.71333 | 3.6067 | 0.78 | 5.2067 | 14.26 | 5.1167 | 12.7433 | 17.8207 | 888 | 95.4667 | 8.8733
2019-09-02 21:00:00 | 3.0367 | 201.9733 | 3.5 | 221.9467 | 4.98 | 11.2267 | 5.0233 | 4.7367 | 17.834 | 888 | 95.3333 | 7.9607
2019-09-02 21:15:00 | 3.4767 | 116.79 | 4 | 128.3267 | 5.0233 | 9.1833 | 4.94 | 15.8433 | 17.8673 | 888.0667 | 95.0333 | 9.174
2019-09-02 21:30:00 | 3.3767 | 113.1633 | 3.8933 | 124.3467 | 5.31 | 22.6967 | 5.2267 | 22.3433 | 17.898 | 889 | 95.0333 | 9.9913
2019-09-02 21:45:00 | 3.002 | 324.444 | 3.4547 | 356.5267 | 5.2827 | 18.9987 | 5.1167 | 15.574 | 17.8187 | 889 | 95.7933 | 8.672
2019-09-02 22:00:00 | 3.04 | 150.8133 | 3.5 | 165.7267 | 4.8767 | 12.6167 | 4.8567 | 13.9767 | 17.792 | 889 | 95.9 | 9.3827
2019-09-02 22:15:00 | 3.13 | 220.95 | 3.5967 | 242.8033 | 5.4167 | 8.04 | 5.4567 | 13.8333 | 17.78 | 889 | 96.2 | 11.0433
2019-09-02 22:30:00 | 3.3633 | 193.2833 | 3.8767 | 212.4033 | 5.49 | 12.22 | 5.4767 | 19.36 | 17.7533 | 889 | 96.1333 | 9.6513
2019-09-02 22:45:00 | 3.0533 | 121.58 | 3.5133 | 133.6 | 4.9367 | 6.6267 | 5.0833 | 20.55 | 17.716 | 889 | 96.2667 | 8.3787
2019-09-02 23:00:00 | 2.86 | 135.6267 | 3.2933 | 149.04 | 5.1633 | 8.9933 | 5.17 | 24.0833 | 17.668 | 889 | 96.44 | 9.3567
2019-09-02 23:15:00 | 3.12 | 317.2833 | 3.59 | 348.6667 | 5.71 | 11.08 | 5.5433 | 31.2767 | 17.5767 | 889 | 97.1 | 12.542
2019-09-02 23:30:00 | 3.2733 | 313.29 | 3.77 | 344.2667 | 5.91 | 20.0267 | 5.7967 | 27.0633 | 17.546 | 889 | 97.4333 | 13.2133
2019-09-02 23:45:00 | 3.4 | 324.45 | 3.92 | 356.5333 | 5.9633 | 17.0933 | 5.88 | 19.82 | 17.5407 | 889 | 97.3067 | 12.1027