## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-03 00:00:00 | 3.3586 | 278.205 | 3.8714 | 305.7143 | 5.5171 | 7.6314 | 5.7093 | 16.1914 | 17.5571 | 889 | 97.2 | 12.2421
2019-09-03 00:15:00 | 3.3667 | 207.59 | 3.8733 | 228.1133 | 5.41 | 12.6367 | 5.65 | 12.5133 | 17.5347 | 888.2667 | 97.2933 | 11.2347
2019-09-03 00:30:00 | 3.3933 | 212.5567 | 3.9067 | 233.58 | 4.95 | 6.5767 | 5.3033 | 12.7267 | 17.5267 | 888 | 97.0667 | 9.1907
2019-09-03 00:45:00 | 3.2967 | 3.0133 | 3.7933 | 3.3067 | 4.8533 | 340.5333 | 4.8 | 51.6667 | 17.4987 | 888 | 97.1333 | 10.8207
2019-09-03 01:00:00 | 3.3167 | 171.1467 | 3.8133 | 188.0667 | 5.2867 | 353.9333 | 5.4533 | 11.6667 | 17.468 | 888 | 97.5333 | 10.2593
2019-09-03 01:15:00 | 3.1433 | 320.9 | 3.6133 | 352.6333 | 5.1267 | 126.0333 | 5.2433 | 4.15 | 17.43 | 888 | 97.6 | 7.168
2019-09-03 01:30:00 | 3.1433 | 308.64 | 3.6133 | 339.1667 | 5 | 122.16 | 5.0767 | 8.7833 | 17.458 | 888 | 97.16 | 7.7647
2019-09-03 01:45:00 | 3.0467 | 305.8567 | 3.5033 | 336.1 | 5.1367 | 4.7267 | 5.1533 | 14.68 | 17.4473 | 888 | 97.4333 | 10.678
2019-09-03 02:00:00 | 3.06 | 115.4833 | 3.5233 | 126.9 | 5.5233 | 11.8933 | 5.5133 | 8.6667 | 17.39 | 888 | 98.1 | 11.8973
2019-09-03 02:15:00 | 3.3533 | 20.1967 | 3.86 | 22.1867 | 5.5533 | 8.9467 | 5.7167 | 8.2367 | 17.3093 | 887.9333 | 98.8333 | 10.9173
2019-09-03 02:30:00 | 3.44 | 43.21 | 3.9533 | 47.48 | 5.4467 | 9.14 | 5.81 | 15.3167 | 17.2733 | 887 | 99.3 | 12.1633
2019-09-03 02:45:00 | 3.4467 | 101.8933 | 3.96 | 111.9667 | 5.9033 | 10.4367 | 5.75 | 18.7267 | 17.232 | 887 | 99.4733 | 14.2673
2019-09-03 03:00:00 | 3.4067 | 107.1533 | 3.92 | 117.7467 | 6.1633 | 10.6967 | 6.13 | 12.26 | 17.192 | 887 | 99.6333 | 10.99
2019-09-03 03:15:00 | 3.3633 | 27.64 | 3.87 | 30.3733 | 5.2033 | 125.96 | 5.28 | 17.3533 | 17.156 | 887 | 99.9 | 8.168
2019-09-03 03:30:00 | 3.0633 | 194.2133 | 3.53 | 213.42 | 5.2433 | 127.6467 | 5.4267 | 20.04 | 17.116 | 887 | 99.94 | 8.332
2019-09-03 03:45:00 | 2.79 | 109.97 | 3.2167 | 120.8333 | 4.3067 | 114.8933 | 4.63 | 16.8233 | 17.0953 | 887 | 100 | 4.822
2019-09-03 04:00:00 | 3.0433 | 307.7967 | 3.5033 | 338.2333 | 4.34 | 114.7 | 4.71 | 13.8433 | 17.082 | 887 | 100 | 1.8673
2019-09-03 04:15:00 | 2.2733 | 109.5733 | 2.6167 | 120.4067 | 3.52 | 6.9333 | 4.0167 | 14.2967 | 17.0553 | 887 | 100 | 0
2019-09-03 04:30:00 | 1.5933 | 304.016 | 1.8367 | 334.08 | 2.5867 | 4.7933 | 2.7433 | 7.7033 | 17.046 | 887 | 100 | 0
2019-09-03 04:45:00 | 1.9 | 105.8367 | 2.1867 | 116.3067 | 2.8533 | 17.5167 | 3.1267 | 26.78 | 17.032 | 887 | 100 | 0.55533
2019-09-03 05:00:00 | 2.2667 | 319.9567 | 2.6067 | 351.6 | 3.2533 | 14.5033 | 3.3667 | 19.6667 | 17.008 | 887 | 100 | 0.32533
2019-09-03 05:15:00 | 2.19 | 102.11 | 2.53 | 112.2067 | 3.1267 | 10.06 | 3.16 | 18.96 | 16.9673 | 887 | 100 | 0.508
2019-09-03 05:30:00 | 2.15 | 307.8367 | 2.4767 | 338.2667 | 2.9267 | 31.0933 | 3.3067 | 23.3467 | 16.946 | 887 | 100 | 0.12867
2019-09-03 05:45:00 | 1.7453 | 205.1007 | 2.0187 | 225.3767 | 2.3287 | 9.156 | 2.5653 | 12.0233 | 16.9453 | 887 | 100 | 0
2019-09-03 06:00:00 | 1.9467 | 217.17 | 2.2433 | 238.6433 | 2.2733 | 9.93 | 2.1233 | 20.22 | 16.908 | 887 | 100 | 0
2019-09-03 06:15:00 | 1.5267 | 116.2233 | 1.7567 | 127.72 | 1.74 | 8.89 | 1.37 | 40.68 | 16.8693 | 887 | 100 | 0
2019-09-03 06:30:00 | 1.1733 | 310.49 | 1.3633 | 341.2 | 0.86667 | 10.6767 | 0.49667 | 27.0733 | 16.836 | 887 | 100 | 0
2019-09-03 06:45:00 | 1.22 | 313.56 | 1.4067 | 344.5667 | 0.86333 | 10.01 | 0.013333 | 24.5333 | 16.8373 | 887 | 100 | 0.264
2019-09-03 07:00:00 | 1.1933 | 312.0467 | 1.3733 | 342.9 | 0.89667 | 3.63 | 0 | 23.98 | 16.848 | 887 | 100 | 0.28533
2019-09-03 07:15:00 | 1.1133 | 311.37 | 1.29 | 342.1667 | 0.72667 | 122.1333 | 0.026667 | 23.62 | 16.8767 | 887 | 100 | 0.022667
2019-09-03 07:30:00 | 1.06 | 318.1033 | 1.2167 | 349.5667 | 0.74667 | 352.3 | 0.093333 | 14.0267 | 16.922 | 887 | 100 | 0.108
2019-09-03 07:45:00 | 1.354 | 311.6387 | 1.5627 | 342.4533 | 1.5587 | 94.27 | 1.1293 | 2.056 | 16.9413 | 887 | 100 | 0.095333
2019-09-03 08:00:00 | 1.9133 | 117.7733 | 2.2067 | 129.4133 | 2.5367 | 124.0533 | 2.3367 | 5.75 | 16.964 | 887 | 100 | 0
2019-09-03 08:15:00 | 2.2867 | 197.4033 | 2.63 | 216.9267 | 3.0933 | 119.9867 | 2.89 | 243.2767 | 16.986 | 887 | 100 | 0.24467
2019-09-03 08:30:00 | 2.3133 | 21.4833 | 2.67 | 23.6067 | 3.1667 | 121.8667 | 3.03 | 16.2967 | 17.018 | 887 | 100 | 0.364
2019-09-03 08:45:00 | 2.1133 | 319.7533 | 2.4267 | 351.3667 | 3.4233 | 12.9367 | 3.4533 | 23.62 | 17.0967 | 887 | 100 | 0.25867
2019-09-03 09:00:00 | 2.0133 | 122.48 | 2.3133 | 134.5867 | 3.2633 | 12.2233 | 3.2067 | 17.6267 | 17.154 | 887 | 100 | 0.118
2019-09-03 09:15:00 | 2.0333 | 316.9233 | 2.3467 | 348.2667 | 2.9267 | 10.53 | 2.5833 | 15.3933 | 17.202 | 887 | 100 | 0.27067
2019-09-03 09:30:00 | 2.06 | 269.5433 | 2.38 | 296.2 | 3.0533 | 8.39 | 2.4167 | 6.8067 | 17.238 | 887 | 100 | 0
2019-09-03 09:45:00 | 1.95 | 226.2467 | 2.2467 | 248.61 | 2.54 | 14.13 | 2.0733 | 8.59 | 17.228 | 887 | 100 | 0
2019-09-03 10:00:00 | 2.0233 | 16.8933 | 2.3333 | 18.5567 | 2.5867 | 242.6967 | 2.24 | 17.5167 | 17.2667 | 887 | 100 | 0
2019-09-03 10:15:00 | 1.6667 | 114.4867 | 1.9167 | 125.8 | 2.1767 | 0.89333 | 1.6933 | 8.07 | 17.2813 | 887 | 100 | 0
2019-09-03 10:30:00 | 0.98667 | 110.1933 | 1.1367 | 121.08 | 0.69667 | 238.0133 | 0.57333 | 4.6033 | 17.288 | 887 | 100 | 0
2019-09-03 10:45:00 | 0.85133 | 324.214 | 0.98867 | 356.28 | 0.45467 | 263.78 | 0.19667 | 100.3567 | 17.298 | 887 | 100 | 0
2019-09-03 11:00:00 | 1.1 | 110.45 | 1.27 | 121.3733 | 0.66667 | 2.7 | 0.23667 | 350 | 17.38 | 887 | 100 | 0
2019-09-03 11:15:00 | 1.1 | 304.37 | 1.2667 | 334.4667 | 1.52 | 118.5667 | 1.1367 | 11.2933 | 17.4933 | 887 | 100 | 0.054
2019-09-03 11:30:00 | 1.56 | 121.0167 | 1.8067 | 132.98 | 1.94 | 122.6133 | 1.7567 | 15.86 | 17.3933 | 887 | 100 | 0
2019-09-03 11:45:00 | 1.2133 | 319.2567 | 1.4033 | 350.8333 | 1.7467 | 10.6933 | 1.4867 | 4.1467 | 17.3973 | 887 | 100 | 0
2019-09-03 12:00:00 | 1.22 | 323.93 | 1.4033 | 355.9667 | 1.36 | 241.5933 | 1.0533 | 5.3133 | 17.448 | 887 | 100 | 0
2019-09-03 12:15:00 | 1.2967 | 217.1367 | 1.5067 | 238.6067 | 1.7667 | 11.2767 | 1.3233 | 18.74 | 17.492 | 887 | 100 | 0
2019-09-03 12:30:00 | 1.4433 | 206.8233 | 1.6667 | 227.2733 | 2.4333 | 17.8233 | 2.1567 | 27.0333 | 17.508 | 887 | 100 | 0
2019-09-03 12:45:00 | 1.1167 | 206.68 | 1.2867 | 227.11 | 1.95 | 15.39 | 1.2567 | 20.5933 | 17.5713 | 887 | 100 | 0
2019-09-03 13:00:00 | 0.87667 | 214.44 | 1.02 | 235.6433 | 0.74333 | 3.53 | 0.11667 | 242.76 | 17.578 | 887 | 100 | 0
2019-09-03 13:15:00 | 0.47 | 297.5967 | 0.55 | 327.0333 | 0.063333 | 305.7667 | 0.16667 | 63.56 | 17.5753 | 886.2667 | 100 | 0
2019-09-03 13:30:00 | 0.53667 | 227.41 | 0.61667 | 249.9 | 0.69 | 220.8333 | 1.0267 | 198.9333 | 17.75 | 886 | 100 | 0.18467
2019-09-03 13:45:00 | 1.2667 | 180.8267 | 1.4633 | 198.7 | 1.8193 | 189.5 | 2.0333 | 195.6667 | 18.0067 | 886 | 100 | 0.084
2019-09-03 14:00:00 | 1.3867 | 171.2933 | 1.5967 | 188.2333 | 1.75 | 185.9 | 2.3533 | 202.2667 | 17.992 | 886 | 100 | 0.16467
2019-09-03 14:15:00 | 1.3733 | 161.81 | 1.59 | 177.8 | 1.6733 | 183.2 | 2.4967 | 184.1333 | 18.0767 | 886 | 100 | 0.28733
2019-09-03 14:30:00 | 1.8933 | 141.6033 | 2.1833 | 155.6 | 2.2533 | 173.4667 | 2.75 | 184.6 | 17.9767 | 886 | 100 | 0.41733
2019-09-03 14:45:00 | 1.65 | 171.9933 | 1.9067 | 189 | 2.17 | 205.5 | 2.7567 | 202.7 | 17.964 | 886 | 100 | 0.214
2019-09-03 15:00:00 | 1.3967 | 178.2467 | 1.6133 | 195.8667 | 1.7233 | 198.3667 | 2.2033 | 182.5667 | 18.0267 | 886 | 100 | 0.45533
2019-09-03 15:15:00 | 1.02 | 178.3567 | 1.1733 | 196 | 1.0933 | 190.5333 | 1.9067 | 192.8 | 18.078 | 886 | 100 | 0.73267
2019-09-03 15:30:00 | 0.88667 | 153.97 | 1.0267 | 169.2 | 0.94 | 194.8667 | 1.5467 | 189.5333 | 18.042 | 886 | 100 | 0.708
2019-09-03 15:45:00 | 0.47333 | 137.59 | 0.55333 | 151.2 | 0.48667 | 191.9333 | 0.97 | 208.1333 | 18.0527 | 885.2667 | 100 | 0
2019-09-03 16:00:00 | 0.94 | 155.49 | 1.0867 | 170.8667 | 1.12 | 188.6667 | 1.2767 | 189 | 18.066 | 885 | 100 | 0.021333
2019-09-03 16:15:00 | 1.2667 | 161.2653 | 1.46 | 177.2133 | 1.4467 | 184.5667 | 1.9933 | 185.5667 | 18.0953 | 885 | 100 | 0
2019-09-03 16:30:00 | 1.3333 | 169.6333 | 1.5467 | 186.4 | 1.7067 | 175.5667 | 2.32 | 173.9667 | 18.0967 | 885 | 100 | 0
2019-09-03 16:45:00 | 1.75 | 171.33 | 2.0133 | 188.2667 | 2.4133 | 180.5333 | 2.7567 | 175.8333 | 18.082 | 885 | 100 | 0
2019-09-03 17:00:00 | 1.69 | 173.6367 | 1.9533 | 190.8 | 2.2 | 179.6667 | 2.79 | 174.7667 | 18.0167 | 885 | 100 | 0.23467
2019-09-03 17:15:00 | 1.4933 | 148.3633 | 1.7233 | 163.0333 | 1.9267 | 182.9333 | 2.4867 | 181.5333 | 18.0053 | 885 | 100 | 0.70667
2019-09-03 17:30:00 | 1.4133 | 130.6567 | 1.6367 | 143.5667 | 1.74 | 173.8667 | 2.18 | 180.0667 | 17.988 | 885 | 100 | 0.47133
2019-09-03 17:45:00 | 0.98667 | 141.67 | 1.1367 | 155.6667 | 0.95667 | 184.5333 | 1.6767 | 188.9667 | 18.0413 | 885 | 100 | 0.33533
2019-09-03 18:00:00 | 0.658 | 153.256 | 0.766 | 168.4 | 0.752 | 196.56 | 1.598 | 199.58 | 18.064 | 885 | 100 | 0.3
2019-09-03 18:15:00 | 0.16667 | 157.2653 | 0.19 | 172.8067 | 0.31333 | 232.6667 | 0.74667 | 220.8333 | 18.0793 | 884.3333 | 100 | 0.376
2019-09-03 18:30:00 | 0.033333 | 157.34 | 0.036667 | 172.9 | 0.033333 | 223.3333 | 0.12 | 213.4333 | 18.11 | 885 | 100 | 0.37867
2019-09-03 18:45:00 | 0.16333 | 207.3333 | 0.2 | 227.8333 | 0.06 | 243.6267 | 0.053333 | 225.1333 | 18.0413 | 884.9333 | 100 | 0.17714
2019-09-03 19:00:00 | 0.4 | 309.45 | 0.464 | 340.04 | 0.018 | 321.16 | 0 | 224.76 | 17.892 | 884.4 | 100 | 0.066667
2019-09-03 19:15:00 | 1.0533 | 309.77 | 1.2133 | 340.4 | 1.5067 | 7.9867 | 1.3367 | 228.47 | 17.8253 | 885 | 100 | 0
2019-09-03 19:30:00 | 1.4133 | 319.3633 | 1.64 | 350.9333 | 2.2133 | 12.5867 | 1.6233 | 7.1633 | 17.7333 | 885 | 100 | 0
2019-09-03 19:45:00 | 1.6367 | 219.1167 | 1.89 | 240.7733 | 1.9667 | 8.8433 | 1.6533 | 348.1333 | 17.6393 | 885 | 100 | 0
2019-09-03 20:00:00 | 1.2433 | 201.2167 | 1.4367 | 221.1067 | 1.6733 | 12.2767 | 1.3533 | 350.16 | 17.5967 | 885 | 100 | 0.003333
2019-09-03 20:15:00 | 1.2533 | 21.8433 | 1.4433 | 23.9967 | 1.5833 | 10.6467 | 1.2533 | 114.4533 | 17.56 | 885 | 100 | 0.164
2019-09-03 20:30:00 | 1.1067 | 213.1367 | 1.2767 | 234.2167 | 0.95 | 8.9933 | 0.61333 | 346.6667 | 17.508 | 885 | 100 | 0.332
2019-09-03 20:45:00 | 1.0333 | 113.69 | 1.2 | 124.9267 | 0.83 | 352.9667 | 0.97 | 343.8933 | 17.484 | 885 | 100 | 0.16
2019-09-03 21:00:00 | 1.2933 | 108.3233 | 1.4933 | 119.0333 | 1.7567 | 124.5267 | 1.9433 | 348.2667 | 17.512 | 885 | 100 | 0
2019-09-03 21:15:00 | 1.5533 | 0.05 | 1.7867 | 0.05 | 2.2967 | 22.8467 | 2.5707 | 348.3 | 17.5153 | 885.0667 | 100 | 0
2019-09-03 21:30:00 | 2.06 | 187.1767 | 2.3733 | 205.6833 | 3.29 | 3.0467 | 2.8133 | 354.3667 | 17.518 | 886 | 100 | 0
2019-09-03 21:45:00 | 2.3067 | 227.3133 | 2.66 | 249.7967 | 4.1267 | 11.15 | 3.5433 | 11.5333 | 17.5287 | 886 | 100 | 0.27733
2019-09-03 22:00:00 | 2.8267 | 17.32 | 3.26 | 19.03 | 5.1867 | 11.9767 | 4.67 | 17.2533 | 17.498 | 886 | 100 | 0.79533
2019-09-03 22:15:00 | 2.9967 | 198.64 | 3.4433 | 218.28 | 4.8533 | 11.26 | 4.55 | 10.9367 | 17.4167 | 886 | 100 | 0.558
2019-09-03 22:30:00 | 3.03 | 23.6333 | 3.4833 | 25.9733 | 4.28 | 5.7533 | 3.97 | 19.9433 | 17.3633 | 886 | 100 | 0.55467
2019-09-03 22:45:00 | 3.15 | 201.31 | 3.6233 | 221.2167 | 3.9033 | 11.18 | 4.0233 | 12.9767 | 17.3267 | 886 | 100 | 1.184
2019-09-03 23:00:00 | 3.29 | 7.69 | 3.7833 | 8.4433 | 4.0367 | 11.1133 | 4.0367 | 4.73 | 17.292 | 886 | 100 | 1.0887
2019-09-03 23:15:00 | 3.2533 | 108.6733 | 3.74 | 119.4133 | 4.2767 | 18.34 | 3.96 | 239.81 | 17.2807 | 885.9333 | 100 | 0.808
2019-09-03 23:30:00 | 3.2667 | 106.4467 | 3.7533 | 116.9667 | 4.11 | 3.26 | 3.9333 | 9.8367 | 17.286 | 885 | 100 | 1.5913
2019-09-03 23:45:00 | 3.3933 | 217.6033 | 3.9067 | 239.12 | 4.8367 | 9.4067 | 4.6433 | 129.8867 | 17.2873 | 885 | 100 | 2.1647