## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-04 00:00:00 | 3.6379 | 15.0579 | 4.1821 | 16.545 | 4.9143 | 3.7364 | 4.5529 | 137.7943 | 17.2864 | 885 | 100 | 2.4264
2019-09-04 00:15:00 | 3.9433 | 7.42 | 4.5433 | 8.15 | 5.3267 | 11.38 | 5.08 | 7.1333 | 17.2573 | 885 | 100 | 2.9207
2019-09-04 00:30:00 | 3.8567 | 16.2533 | 4.4367 | 17.8567 | 5.1933 | 13.2133 | 5.0267 | 12.5733 | 17.236 | 885 | 100 | 2.8967
2019-09-04 00:45:00 | 3.5767 | 196.6533 | 4.1133 | 216.0933 | 4.93 | 3.0067 | 4.6567 | 15.78 | 17.214 | 885 | 100 | 2.312
2019-09-04 01:00:00 | 3.2767 | 8.5933 | 3.7667 | 9.44 | 4.35 | 4.0267 | 4.0033 | 14.42 | 17.186 | 885 | 100 | 1.06
2019-09-04 01:15:00 | 3.3667 | 301.58 | 3.88 | 331.4 | 4.45 | 233.3167 | 4.0067 | 21.3567 | 17.1807 | 885 | 100 | 0.69067
2019-09-04 01:30:00 | 3.1067 | 312.92 | 3.5733 | 343.8667 | 4.4633 | 15.15 | 4.2 | 5.5233 | 17.194 | 885 | 100 | 1.0007
2019-09-04 01:45:00 | 3.44 | 150.5467 | 3.9633 | 165.4333 | 4.73 | 239.48 | 4.64 | 16.3967 | 17.162 | 885 | 100 | 2.7827
2019-09-04 02:00:00 | 3.6933 | 313.4333 | 4.25 | 344.4333 | 5.3033 | 3.5867 | 5.0933 | 3.19 | 17.182 | 884.6 | 100 | 3.8867
2019-09-04 02:15:00 | 3.88 | 213.9567 | 4.4733 | 235.12 | 5.14 | 3.72 | 4.8367 | 124.02 | 17.154 | 884 | 100 | 3.1973
2019-09-04 02:30:00 | 3.7067 | 5.0633 | 4.2733 | 5.5667 | 4.9733 | 10.4867 | 4.7033 | 120.1333 | 17.118 | 884 | 100 | 2.1793
2019-09-04 02:45:00 | 3.3233 | 3.4467 | 3.8233 | 3.7833 | 5.3367 | 127.3733 | 5.03 | 3.5533 | 17.0993 | 884 | 100 | 5.6193
2019-09-04 03:00:00 | 3.5567 | 198.8867 | 4.0967 | 218.55 | 5.8633 | 120.2133 | 5.65 | 2.9667 | 17.09 | 884 | 100 | 5.918
2019-09-04 03:15:00 | 3.4133 | 7.0267 | 3.9267 | 7.7233 | 5.9367 | 1.13 | 5.9767 | 3.27 | 17.104 | 884 | 100 | 4.2067
2019-09-04 03:30:00 | 3.2267 | 6.5333 | 3.72 | 7.17 | 5.2767 | 0.41667 | 5.4033 | 9.7367 | 17.1 | 884 | 100 | 4.0207
2019-09-04 03:45:00 | 3.3367 | 36.47 | 3.84 | 40.0667 | 5.4433 | 2.71 | 5.3867 | 8.99 | 17.094 | 884 | 100 | 3.9713
2019-09-04 04:00:00 | 3.4167 | 12.59 | 3.94 | 13.82 | 5.8633 | 5.2033 | 5.86 | 8.83 | 17.11 | 884 | 100 | 6.218
2019-09-04 04:15:00 | 3.61 | 84.36 | 4.15 | 92.7 | 6.0133 | 4.9633 | 6.18 | 8.7133 | 17.0947 | 884 | 100 | 5.6347
2019-09-04 04:30:00 | 3.37 | 130.42 | 3.8767 | 143.3133 | 5.4133 | 235.1433 | 5.4333 | 10.7867 | 17.076 | 884 | 100 | 4.4233
2019-09-04 04:45:00 | 2.81 | 282.8033 | 3.2367 | 310.7667 | 4.94 | 349.2333 | 5.1267 | 8.72 | 17.0913 | 884 | 100 | 7.5533
2019-09-04 05:00:00 | 3.43 | 283.5233 | 3.9433 | 311.5667 | 5.4267 | 120.4067 | 5.8 | 18.7933 | 17.086 | 884 | 100 | 13.2973
2019-09-04 05:15:00 | 3.46 | 113.11 | 3.9867 | 124.3 | 5.48 | 241.9033 | 5.7167 | 12.7333 | 17.0727 | 884 | 100 | 15.5187
2019-09-04 05:30:00 | 3.3933 | 107.2433 | 3.9 | 117.8533 | 5.7 | 10.0633 | 6.27 | 6.64 | 17.074 | 884 | 100 | 12.9553
2019-09-04 05:45:00 | 3.28 | 320.8367 | 3.7767 | 352.5667 | 5.65 | 7.4233 | 5.9533 | 15.7133 | 17.0793 | 884 | 100 | 9.7227
2019-09-04 06:00:00 | 3.3867 | 292.15 | 3.9033 | 321.0333 | 5.27 | 235.1167 | 5.26 | 13.1533 | 17.078 | 884 | 100 | 5.216
2019-09-04 06:15:00 | 3.29 | 39.44 | 3.7833 | 43.33 | 5.1267 | 239.1167 | 4.7767 | 11.9433 | 17.1047 | 884 | 100 | 1.5513
2019-09-04 06:30:00 | 3.3233 | 212.78 | 3.8233 | 233.8167 | 4.54 | 239.05 | 4.2567 | 24.37 | 17.106 | 884 | 100 | 0.74467
2019-09-04 06:45:00 | 3.0533 | 121.26 | 3.5133 | 133.2533 | 4.35 | 0.15 | 4.0033 | 3.47 | 17.116 | 884 | 100 | 0.496
2019-09-04 07:00:00 | 2.7867 | 117.68 | 3.2067 | 129.32 | 4.3433 | 5.8033 | 3.89 | 9.3833 | 17.14 | 884 | 100 | 2.8567
2019-09-04 07:15:00 | 3.2933 | 111.6933 | 3.79 | 122.7333 | 5.42 | 2.5567 | 4.9867 | 3.8533 | 17.142 | 884 | 100 | 6.4707
2019-09-04 07:30:00 | 3.2 | 308.56 | 3.6833 | 339.0667 | 5.7867 | 0.97 | 5.5467 | 2.2867 | 17.174 | 884 | 100 | 6.8073
2019-09-04 07:45:00 | 3.508 | 127.5387 | 4.034 | 140.1453 | 6.4387 | 214.344 | 6.222 | 7.474 | 17.188 | 884.0667 | 100 | 10.232
2019-09-04 08:00:00 | 3.6933 | 113 | 4.2567 | 124.1733 | 6.77 | 4.1 | 6.7533 | 238.2133 | 17.196 | 885 | 100 | 11.4727
2019-09-04 08:15:00 | 3.5767 | 223.59 | 4.11 | 245.7 | 6.36 | 234.7167 | 6.5333 | 0.86 | 17.19 | 885 | 100 | 12.9613
2019-09-04 08:30:00 | 3.3167 | 269.2167 | 3.8167 | 295.8333 | 6.1067 | 5.43 | 6.3867 | 0.24 | 17.19 | 885 | 100 | 16.2707
2019-09-04 08:45:00 | 3.2733 | 117.02 | 3.77 | 128.5933 | 5.9167 | 4.84 | 6.1833 | 28.2367 | 17.1987 | 885 | 100 | 19.3447
2019-09-04 09:00:00 | 3.2533 | 174.4533 | 3.7433 | 191.7 | 6.13 | 15.8733 | 6.7167 | 25.0633 | 17.232 | 885 | 100 | 19.4807
2019-09-04 09:15:00 | 3.3133 | 208.0367 | 3.8067 | 228.6 | 6.1533 | 13.6233 | 6.4033 | 20.0567 | 17.2893 | 885 | 100 | 14.426
2019-09-04 09:30:00 | 3.4733 | 132.9233 | 3.9933 | 146.0667 | 5.5867 | 9.79 | 5.87 | 22.9567 | 17.272 | 885 | 100 | 12.7347
2019-09-04 09:45:00 | 3.1433 | 286.8367 | 3.6233 | 315.2 | 5.1367 | 129.9267 | 5.2 | 242.8033 | 17.28 | 885 | 100 | 9.6907
2019-09-04 10:00:00 | 3.0753 | 154.634 | 3.5353 | 169.9227 | 4.774 | 353.9133 | 4.2427 | 9.498 | 17.264 | 885 | 100 | 5.608
2019-09-04 10:15:00 | 2.86 | 95.92 | 3.2867 | 105.4067 | 4.4833 | 0.87667 | 3.78 | 1.77 | 17.2787 | 885 | 100 | 3.754
2019-09-04 10:30:00 | 2.5173 | 142.3053 | 2.8973 | 156.3827 | 4.3393 | 0.15 | 3.7813 | 0.47 | 17.3787 | 885 | 100 | 2.9827
2019-09-04 10:45:00 | 2.4133 | 110.56 | 2.7833 | 121.4933 | 4.1033 | 118.1667 | 3.5333 | 122.06 | 17.4313 | 885 | 100 | 4.6247
2019-09-04 11:00:00 | 2.4667 | 110.2533 | 2.8433 | 121.1533 | 4.1033 | 122.8467 | 3.82 | 127.7 | 17.462 | 885 | 100 | 3.1973
2019-09-04 11:15:00 | 2.9267 | 213.1367 | 3.3633 | 234.2167 | 4.1533 | 233.85 | 3.6033 | 6.7867 | 17.4853 | 885 | 100 | 2.6633
2019-09-04 11:30:00 | 3.08 | 6.5833 | 3.5433 | 7.2233 | 4.44 | 0.15 | 3.81 | 2.06 | 17.5067 | 885 | 100 | 1.7053
2019-09-04 11:45:00 | 2.93 | 7.76 | 3.3767 | 8.52 | 4.2767 | 0.34333 | 3.6367 | 3.5133 | 17.59 | 885 | 100 | 1.1573
2019-09-04 12:00:00 | 2.85 | 3.5867 | 3.2767 | 3.9333 | 4.2367 | 1.0233 | 3.75 | 6.38 | 17.582 | 885 | 100 | 0.81267
2019-09-04 12:15:00 | 2.8067 | 121.3667 | 3.24 | 133.36 | 4.0067 | 119.7133 | 3.7133 | 237.88 | 17.5907 | 885 | 100 | 1.3767
2019-09-04 12:30:00 | 2.58 | 113.5667 | 2.9733 | 124.7933 | 4.14 | 122.8733 | 4.0267 | 3.1267 | 17.6667 | 885 | 100 | 1.798
2019-09-04 12:45:00 | 3.12 | 101.7633 | 3.5867 | 111.82 | 4.6033 | 7.73 | 4.33 | 4.5533 | 17.728 | 885 | 100 | 0.63467
2019-09-04 13:00:00 | 3.1467 | 292.91 | 3.62 | 321.8667 | 4.17 | 5.0567 | 3.7233 | 7.7267 | 17.688 | 885 | 100 | 0.67067
2019-09-04 13:15:00 | 2.9533 | 32.5667 | 3.41 | 35.7867 | 4.2667 | 4.6033 | 3.9733 | 16.6733 | 17.718 | 885 | 100 | 1.7407
2019-09-04 13:30:00 | 2.9533 | 14.6933 | 3.3967 | 16.1333 | 4.82 | 8.3633 | 4.7 | 13.56 | 17.9167 | 885 | 100 | 1.8007
2019-09-04 13:45:00 | 2.8167 | 324.87 | 3.2433 | 357 | 4.5467 | 7.5 | 4.4167 | 16.7167 | 18.1067 | 885 | 100 | 2.1773
2019-09-04 14:00:00 | 2.8633 | 111.5033 | 3.29 | 122.5333 | 4.8733 | 17.8667 | 4.71 | 15.65 | 17.9733 | 884.6 | 100 | 2.8353
2019-09-04 14:15:00 | 2.82 | 279.16 | 3.2433 | 306.7667 | 5.1467 | 11.7667 | 4.98 | 22.75 | 17.9713 | 884.6667 | 100 | 2.2013
2019-09-04 14:30:00 | 2.7667 | 293.8467 | 3.1833 | 322.9 | 4.24 | 5.6733 | 4.18 | 18.3433 | 17.93 | 884 | 100 | 0.47
2019-09-04 14:45:00 | 2.9267 | 116.5433 | 3.3667 | 128.06 | 4.0433 | 229.25 | 3.7533 | 16.3367 | 17.8007 | 884 | 100 | 0.002
2019-09-04 15:00:00 | 2.5667 | 105.25 | 2.96 | 115.6467 | 3.49 | 7.45 | 3.3467 | 16.8233 | 17.81 | 884 | 100 | 0.17667
2019-09-04 15:15:00 | 2.6767 | 211.81 | 3.08 | 232.75 | 3.54 | 4.8833 | 3.46 | 20.9767 | 17.8093 | 884 | 100 | 0.46733
2019-09-04 15:30:00 | 2.61 | 0.13667 | 3 | 0.14333 | 3.7267 | 7.9633 | 3.4533 | 18.2767 | 17.8333 | 884 | 100 | 1.4293
2019-09-04 15:45:00 | 2.4633 | 30.2 | 2.8367 | 33.1833 | 3.53 | 4.7167 | 3.514 | 20.87 | 17.8913 | 884 | 100 | 1.524
2019-09-04 16:00:00 | 2.49 | 24.76 | 2.87 | 27.2033 | 3.75 | 13.7567 | 3.6967 | 17.6633 | 17.918 | 884 | 100 | 2.3473
2019-09-04 16:15:00 | 2.4333 | 101.52 | 2.8067 | 111.5533 | 4.1067 | 12.6867 | 4.3133 | 13.04 | 17.9313 | 884 | 100 | 1.1487
2019-09-04 16:30:00 | 2.44 | 119.4 | 2.8133 | 131.2 | 3.4867 | 7.9267 | 3.7533 | 12.6867 | 17.95 | 884 | 100 | 0.14133
2019-09-04 16:45:00 | 2.4433 | 197.3567 | 2.81 | 216.8667 | 3.3733 | 2.1233 | 3.1567 | 126.3867 | 18.0253 | 884 | 100 | 0.27133
2019-09-04 17:00:00 | 2.7367 | 222.77 | 3.1567 | 244.8 | 3.66 | 0.15 | 3.6233 | 119.0933 | 18.2333 | 884 | 100 | 0.302
2019-09-04 17:15:00 | 2.7067 | 108.7333 | 3.11 | 119.4867 | 3.53 | 3.2333 | 3.4233 | 13.6967 | 18.23 | 884 | 100 | 0.43533
2019-09-04 17:30:00 | 2.8333 | 115.1467 | 3.2567 | 126.5333 | 4.05 | 3.1333 | 3.8767 | 7.8833 | 18.2833 | 884 | 100 | 0.99133
2019-09-04 17:45:00 | 2.4533 | 24.6267 | 2.82 | 27.0533 | 4.4867 | 10.5833 | 4.3733 | 21.66 | 18.2547 | 884 | 100 | 0.59267
2019-09-04 18:00:00 | 2.5533 | 13.66 | 2.94 | 15 | 4.7467 | 10.73 | 4.5867 | 10.7933 | 18.284 | 884 | 100 | 1.8467
2019-09-04 18:15:00 | 2.5933 | 218.07 | 2.98 | 239.6333 | 4.4867 | 132.86 | 4.4433 | 13.7567 | 18.21 | 884 | 100 | 2.3607
2019-09-04 18:30:00 | 2.5493 | 2.218 | 2.9293 | 2.4333 | 4.1187 | 173.6027 | 4.006 | 11.9087 | 18.1233 | 884 | 100 | 1.506
2019-09-04 18:45:00 | 2.4533 | 223.9567 | 2.8267 | 246.1033 | 4.0433 | 6.4833 | 4.0767 | 9.3267 | 18.078 | 884 | 100 | 0.80133
2019-09-04 19:00:00 | 2.3933 | 15.3967 | 2.7533 | 16.9167 | 3.6833 | 8.4233 | 3.6967 | 6.8933 | 18.0433 | 884 | 100 | 0.71467
2019-09-04 19:15:00 | 2.2867 | 315.4733 | 2.63 | 346.6667 | 3.7533 | 12.1533 | 3.8767 | 13.3333 | 18.0287 | 884 | 100 | 1.182
2019-09-04 19:30:00 | 2.64 | 113.1067 | 3.0367 | 124.2933 | 3.7933 | 11.5067 | 3.8833 | 26 | 18.006 | 884 | 100 | 1.256
2019-09-04 19:45:00 | 2.7733 | 321.0467 | 3.1933 | 352.8 | 3.91 | 0.28 | 3.9 | 11.7633 | 17.9933 | 884 | 100 | 1.338
2019-09-04 20:00:00 | 2.68 | 314.86 | 3.0933 | 346 | 3.6233 | 2.1867 | 3.6867 | 8.73 | 17.996 | 884 | 100 | 2.3187
2019-09-04 20:15:00 | 3.0867 | 200.1033 | 3.55 | 219.8933 | 4.2533 | 353.8667 | 4.04 | 4.0967 | 17.9907 | 884 | 100 | 2.6767
2019-09-04 20:30:00 | 2.8533 | 26.91 | 3.2833 | 29.5667 | 4.5533 | 118.04 | 4.5067 | 13.7233 | 18.004 | 884 | 100 | 4.6247
2019-09-04 20:45:00 | 2.84 | 127.5167 | 3.2667 | 140.12 | 4.88 | 13.1667 | 5.2233 | 15.04 | 18.0107 | 884 | 100 | 5.4807
2019-09-04 21:00:00 | 2.6867 | 312.9233 | 3.0867 | 343.8667 | 4.74 | 227.3667 | 5.0233 | 6.8133 | 18.024 | 884.4 | 100 | 4.4893
2019-09-04 21:15:00 | 2.6933 | 40.81 | 3.1033 | 44.8433 | 4.57 | 15.91 | 4.6867 | 18.4333 | 18.03 | 885 | 100 | 3.8273
2019-09-04 21:30:00 | 2.6733 | 6.0633 | 3.0767 | 6.6567 | 4.3367 | 1.05 | 4.4667 | 16.6067 | 18.026 | 885 | 100 | 2.4647
2019-09-04 21:45:00 | 2.7533 | 9.09 | 3.1767 | 9.99 | 4.2367 | 121.2333 | 4.3033 | 4.49 | 18.0187 | 885 | 100 | 4.364
2019-09-04 22:00:00 | 2.6733 | 203.5167 | 3.0767 | 223.6433 | 4.6033 | 119.0667 | 4.5033 | 11.9433 | 18.004 | 885 | 100 | 5.7273
2019-09-04 22:15:00 | 2.74 | 280.5533 | 3.1633 | 308.3 | 4.8433 | 10.81 | 5 | 22.1633 | 18.0033 | 885 | 100 | 6.0153
2019-09-04 22:30:00 | 3 | 304.4 | 3.4567 | 334.5 | 5.03 | 22.6033 | 5.2067 | 6.9833 | 18.006 | 885 | 100 | 7.0387
2019-09-04 22:45:00 | 3.1933 | 70.0533 | 3.6833 | 76.98 | 5.1933 | 9.61 | 5.3 | 14.2967 | 17.9913 | 885 | 100 | 5.902
2019-09-04 23:00:00 | 3.0067 | 218.32 | 3.47 | 239.9133 | 4.9467 | 237.9833 | 4.9933 | 15.27 | 17.97 | 885 | 100 | 5.0913
2019-09-04 23:15:00 | 2.8467 | 184.5467 | 3.2833 | 202.8 | 4.6367 | 2.1867 | 4.7067 | 241.52 | 17.97 | 885 | 100 | 5.3107
2019-09-04 23:30:00 | 2.74 | 4.06 | 3.15 | 4.4533 | 4.5233 | 3.84 | 4.74 | 10.2467 | 17.962 | 885 | 100 | 4.5653
2019-09-04 23:45:00 | 2.94 | 38.7 | 3.3867 | 42.52 | 4.3733 | 127.58 | 4.3867 | 19.9133 | 17.9487 | 885 | 100 | 4.1107