## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-05 00:00:00 | 3.2621 | 48.4093 | 3.755 | 53.1971 | 4.6929 | 128.34 | 4.7086 | 9.0229 | 17.93 | 885 | 100 | 5.9514
2019-09-05 00:15:00 | 3.34 | 105.2467 | 3.84 | 115.6533 | 4.7567 | 2.34 | 4.7433 | 8.2133 | 17.922 | 885 | 100 | 6.3433
2019-09-05 00:30:00 | 3.2467 | 128.58 | 3.7333 | 141.3 | 5.43 | 3.1 | 5.21 | 10.1733 | 17.91 | 885 | 100 | 8.568
2019-09-05 00:45:00 | 3.24 | 300.7667 | 3.73 | 330.5 | 5.74 | 232.75 | 5.55 | 10.84 | 17.9093 | 885 | 100 | 9.5767
2019-09-05 01:00:00 | 3.1133 | 296.82 | 3.5833 | 326.1667 | 5.8067 | 13.6833 | 5.53 | 16.7333 | 17.896 | 885 | 100 | 7.9767
2019-09-05 01:15:00 | 3.4533 | 213.45 | 3.9833 | 234.5467 | 5.1867 | 8.3433 | 5.0433 | 18.0467 | 17.874 | 884.9333 | 100 | 5.6013
2019-09-05 01:30:00 | 3.5267 | 2.95 | 4.0633 | 3.24 | 5.34 | 9.8633 | 5.3833 | 9.5067 | 17.846 | 884 | 100 | 5.8193
2019-09-05 01:45:00 | 3.1 | 109.2833 | 3.56 | 120.08 | 5.5207 | 225.9 | 5.3533 | 239.3233 | 17.8327 | 884 | 100 | 6.2173
2019-09-05 02:00:00 | 3.1133 | 111.4633 | 3.58 | 122.48 | 5.4033 | 2.2867 | 5.16 | 235.7233 | 17.834 | 884 | 100 | 7.5173
2019-09-05 02:15:00 | 3.4767 | 174.7633 | 3.9967 | 192.04 | 5.3233 | 2.0933 | 5.1667 | 11.7467 | 17.8393 | 884 | 100 | 7.496
2019-09-05 02:30:00 | 3.21 | 232.15 | 3.7033 | 255.1067 | 5.5233 | 2.9667 | 5.44 | 3.0267 | 17.834 | 884 | 100 | 7.1393
2019-09-05 02:45:00 | 3.2067 | 28.8733 | 3.6867 | 31.73 | 5.28 | 116.6667 | 5.1533 | 8.36 | 17.832 | 884 | 100 | 7.012
2019-09-05 03:00:00 | 3.3933 | 218.44 | 3.9067 | 240.0367 | 5.56 | 116.6667 | 5.2667 | 4.9733 | 17.82 | 883.6 | 100 | 6.9307
2019-09-05 03:15:00 | 3.0667 | 305.5467 | 3.5333 | 335.7667 | 5.63 | 117.5333 | 5.2267 | 14.1633 | 17.8127 | 883 | 100 | 7.2773
2019-09-05 03:30:00 | 3.1267 | 94.7467 | 3.6067 | 104.12 | 5.6233 | 347.5333 | 5.3333 | 6.61 | 17.802 | 883 | 100 | 7.8407
2019-09-05 03:45:00 | 3.5833 | 224.98 | 4.1267 | 247.23 | 5.9733 | 4.7667 | 5.6667 | 11.1067 | 17.774 | 883 | 100 | 8.6213
2019-09-05 04:00:00 | 3.7433 | 206.54 | 4.3067 | 226.9633 | 5.8333 | 30.2333 | 5.5267 | 11.5267 | 17.746 | 883 | 100 | 8.6273
2019-09-05 04:15:00 | 3.34 | 106.8433 | 3.8467 | 117.4 | 5.48 | 118.4867 | 5.7233 | 14 | 17.74 | 883 | 100 | 7.9687
2019-09-05 04:30:00 | 3.5 | 108.7633 | 4.0267 | 119.5067 | 5.38 | 351.3 | 5.57 | 16.9933 | 17.732 | 883 | 100 | 10.8847
2019-09-05 04:45:00 | 3.2333 | 90.71 | 3.7267 | 99.68 | 5.3067 | 128.3333 | 5.5333 | 11.95 | 17.72 | 883 | 100 | 9.6707
2019-09-05 05:00:00 | 3.3933 | 88.8833 | 3.9 | 97.6733 | 5.52 | 356.86 | 5.6933 | 13.1033 | 17.72 | 883 | 100 | 8.0033
2019-09-05 05:15:00 | 3.3133 | 11.8133 | 3.82 | 12.97 | 5.48 | 52.4967 | 5.5033 | 12.38 | 17.7127 | 883 | 100 | 7.1747
2019-09-05 05:30:00 | 3.4867 | 25.9933 | 4.02 | 28.5567 | 5.1333 | 2.3367 | 5.2633 | 20.3467 | 17.702 | 883 | 100 | 8.9347
2019-09-05 05:45:00 | 3.55 | 19.04 | 4.08 | 20.9133 | 5.35 | 115.4333 | 5.3033 | 118.8867 | 17.6973 | 883 | 100 | 8.88
2019-09-05 06:00:00 | 3.3367 | 22.12 | 3.84 | 24.3 | 5.1833 | 117.9733 | 5.41 | 116.9733 | 17.704 | 883 | 100 | 9.132
2019-09-05 06:15:00 | 3.56 | 27.97 | 4.0933 | 30.7233 | 5.2333 | 11.8133 | 5.5467 | 21.3067 | 17.7033 | 883 | 100 | 10.7933
2019-09-05 06:30:00 | 3.4133 | 217.0567 | 3.9333 | 238.5167 | 5.46 | 244.42 | 5.84 | 13.04 | 17.714 | 883 | 100 | 10.0787
2019-09-05 06:45:00 | 3.4667 | 192.2567 | 3.99 | 211.2633 | 5.4767 | 121.6 | 5.62 | 12.65 | 17.7207 | 883 | 100 | 8.118
2019-09-05 07:00:00 | 3.3067 | 191.59 | 3.81 | 210.53 | 4.75 | 119.8467 | 4.6733 | 24.09 | 17.722 | 883.4 | 100 | 5.342
2019-09-05 07:15:00 | 3.2133 | 14.1533 | 3.6967 | 15.5433 | 4.7 | 6.5267 | 4.6267 | 16.2 | 17.7187 | 884 | 100 | 3.5907
2019-09-05 07:30:00 | 3.4733 | 19.5333 | 3.9967 | 21.4567 | 5.2933 | 238.1933 | 4.9867 | 16.6533 | 17.7667 | 884 | 100 | 3.3507
2019-09-05 07:45:00 | 2.96 | 2.45 | 3.42 | 2.69 | 4.85 | 236.8867 | 4.63 | 7.93 | 17.8153 | 884 | 100 | 3.1573
2019-09-05 08:00:00 | 2.64 | 6.3967 | 3.04 | 7.0167 | 4.19 | 2.76 | 4.19 | 12.37 | 17.862 | 884 | 100 | 3.7967
2019-09-05 08:15:00 | 3.0033 | 11.6067 | 3.4567 | 12.75 | 4.67 | 5.9367 | 4.3467 | 3.32 | 17.9367 | 884 | 100 | 2.472
2019-09-05 08:30:00 | 3.2167 | 222.8867 | 3.71 | 244.9233 | 4.5233 | 12.3033 | 4.12 | 4.26 | 17.914 | 884 | 100 | 2.5
2019-09-05 08:45:00 | 3.0267 | 6.3467 | 3.4833 | 6.97 | 4.3567 | 354.5 | 4.13 | 4.3567 | 17.922 | 884 | 100 | 3.3667
2019-09-05 09:00:00 | 2.86 | 212.52 | 3.29 | 233.53 | 4.7567 | 119.74 | 4.65 | 8.91 | 18.01 | 884 | 100 | 3.9227
2019-09-05 09:15:00 | 2.9533 | 101.8833 | 3.3933 | 111.9533 | 4.9 | 1.04 | 4.76 | 7.9467 | 18.23 | 884 | 100 | 2.7213
2019-09-05 09:30:00 | 2.8467 | 111.5967 | 3.2733 | 122.6333 | 4.4267 | 1.04 | 4.3533 | 10.1467 | 18.3567 | 884.4 | 100 | 0.728
2019-09-05 09:45:00 | 2.4467 | 17.7067 | 2.82 | 19.45 | 3.8167 | 6.8533 | 3.7567 | 10.2867 | 18.4693 | 885 | 100 | 0
2019-09-05 10:00:00 | 2.3667 | 213.5333 | 2.72 | 234.6567 | 3.3967 | 9.1867 | 3.1567 | 9.12 | 18.5333 | 885 | 100 | 0
2019-09-05 10:15:00 | 2.3167 | 322.5633 | 2.6667 | 354.4667 | 3.25 | 4.9933 | 2.85 | 10.96 | 18.4807 | 885 | 100 | 0
2019-09-05 10:30:00 | 2.23 | 113.97 | 2.5667 | 125.24 | 2.7567 | 11.4733 | 2.3833 | 11.8333 | 18.4433 | 885 | 100 | 0
2019-09-05 10:45:00 | 2.3767 | 310.93 | 2.7333 | 341.6667 | 2.46 | 124.4533 | 2.3767 | 119.0933 | 18.4813 | 885 | 100 | 0
2019-09-05 11:00:00 | 2.3167 | 313.3567 | 2.6667 | 344.3333 | 2.48 | 126.56 | 2.4367 | 119.0933 | 18.58 | 885 | 100 | 0
2019-09-05 11:15:00 | 2.3067 | 319.63 | 2.6533 | 351.2333 | 2.5767 | 238.7867 | 2.3233 | 356.2333 | 18.68 | 885 | 100 | 0
2019-09-05 11:30:00 | 1.6533 | 118.4233 | 1.9067 | 130.1333 | 2.2833 | 4.2267 | 2.2833 | 118.6267 | 18.84 | 885 | 100 | 0
2019-09-05 11:45:00 | 0.94 | 219.5933 | 1.09 | 241.3067 | 1.2567 | 21.5133 | 1.4267 | 119.2933 | 19.0667 | 885 | 100 | 0
2019-09-05 12:00:00 | 0.22667 | 210.6733 | 0.27 | 231.5067 | 0.17667 | 12.78 | 0.24 | 119.0933 | 19.24 | 885 | 100 | 0
2019-09-05 12:15:00 | 0.20667 | 246.2433 | 0.24333 | 270.6 | 0.18333 | 157.7333 | 0.24 | 178.1667 | 19.5 | 885 | 99.92 | 0
2019-09-05 12:30:00 | 0.36667 | 138.1967 | 0.42333 | 151.8667 | 0.39 | 174.6667 | 0.16667 | 156.9667 | 19.82 | 885 | 100 | 0
2019-09-05 12:45:00 | 0.37333 | 140.8167 | 0.44 | 154.7333 | 0.25333 | 122.8333 | 0.47333 | 162.9 | 20.0033 | 885 | 99.7867 | 0
2019-09-05 13:00:00 | 1.1133 | 129.1033 | 1.2867 | 141.8667 | 1.2 | 148.6333 | 1.3667 | 154.5 | 20.038 | 885 | 98.9333 | 0
2019-09-05 13:15:00 | 0.92 | 166.2267 | 1.0533 | 182.6667 | 1.0833 | 199.0333 | 1.5533 | 175.0333 | 20.0833 | 885 | 98.8667 | 0
2019-09-05 13:30:00 | 1.4533 | 146.1467 | 1.6667 | 160.6 | 1.6633 | 178.6333 | 1.8133 | 175.9 | 20.3633 | 885 | 96.7333 | 0
2019-09-05 13:45:00 | 1.59 | 131.5667 | 1.8267 | 144.5667 | 1.7367 | 189.1333 | 1.8667 | 191.3 | 20.2427 | 885 | 97.3 | 0
2019-09-05 14:00:00 | 1.5167 | 158.38 | 1.7467 | 174.0333 | 1.63 | 196 | 1.7267 | 186.3667 | 20.3467 | 884.6 | 95.9 | 0
2019-09-05 14:15:00 | 1.1533 | 151.5533 | 1.34 | 166.5333 | 0.96 | 164.1933 | 1.53 | 179.7 | 20.23 | 884 | 94.7333 | 0
2019-09-05 14:30:00 | 1.3933 | 167.9267 | 1.6133 | 184.5333 | 1.22 | 174.1667 | 1.57 | 187.5 | 20.0767 | 884 | 96.1333 | 0
2019-09-05 14:45:00 | 1.0733 | 144.93 | 1.2433 | 159.2667 | 1.1267 | 188.1333 | 1.6533 | 211.3 | 20.0353 | 884 | 96.8333 | 0
2019-09-05 15:00:00 | 2.02 | 139.2967 | 2.3367 | 153.0667 | 2.58 | 195 | 2.64 | 170.7 | 19.89 | 884 | 96.3 | 0
2019-09-05 15:15:00 | 2.7267 | 148.6667 | 3.1433 | 163.3667 | 3.1467 | 193.7333 | 3.4367 | 194.1333 | 19.3833 | 883.9333 | 98.6333 | 0.73867
2019-09-05 15:30:00 | 2.7267 | 153.3333 | 3.1433 | 168.5 | 3.1533 | 189.5333 | 3.69 | 201.4 | 19.0033 | 883 | 99.7 | 0.84933
2019-09-05 15:45:00 | 1.96 | 145.6667 | 2.26 | 160.0667 | 2.33 | 180.5 | 2.8467 | 175.2667 | 18.9247 | 883 | 100 | 0.77467
2019-09-05 16:00:00 | 1.3933 | 133.7667 | 1.6067 | 147 | 1.6367 | 174.9667 | 2.2333 | 178.8667 | 18.9967 | 883 | 100 | 0.19867
2019-09-05 16:15:00 | 0.98667 | 151.5167 | 1.1333 | 166.5 | 1.3833 | 168.2667 | 2.3133 | 164.6667 | 19.0213 | 883 | 100 | 0
2019-09-05 16:30:00 | 0.27333 | 141.7567 | 0.31333 | 155.7667 | 0.37 | 163.2667 | 1.7733 | 162.1333 | 19.044 | 883 | 100 | 0
2019-09-05 16:45:00 | 0.60667 | 215.5767 | 0.69333 | 236.8967 | 0.59 | 32.6 | 1.5 | 118.1 | 19.0853 | 883 | 100 | 0
2019-09-05 17:00:00 | 1.26 | 209.51 | 1.4467 | 230.23 | 1.8367 | 20.38 | 2.0067 | 49.1733 | 19.112 | 883 | 100 | 0
2019-09-05 17:15:00 | 1.6667 | 11.9 | 1.9167 | 13.0733 | 2.5667 | 17.6367 | 2.65 | 29.53 | 19.0067 | 883 | 100 | 0.1
2019-09-05 17:30:00 | 1.6533 | 2.1 | 1.9033 | 2.3 | 2.7 | 25.15 | 2.4633 | 30.4967 | 18.948 | 883 | 100 | 0.518
2019-09-05 17:45:00 | 2.26 | 9.5733 | 2.6033 | 10.5233 | 3.57 | 6.45 | 3.44 | 18.24 | 18.8807 | 883 | 100 | 1.1647
2019-09-05 18:00:00 | 2.48 | 15.9467 | 2.8567 | 17.5233 | 4.1433 | 3.89 | 4.06 | 11.6133 | 18.886 | 883 | 100 | 1.4087
2019-09-05 18:15:00 | 2.3333 | 318.53 | 2.6867 | 350.0333 | 3.94 | 14.71 | 3.6233 | 15.26 | 18.84 | 883 | 100 | 0.56
2019-09-05 18:30:00 | 2.4667 | 105.8633 | 2.8333 | 116.3333 | 4.1067 | 5.7367 | 3.8367 | 6.8333 | 18.836 | 883 | 100 | 1.022
2019-09-05 18:45:00 | 2.79 | 6.0967 | 3.2167 | 6.6933 | 4.3533 | 355.6333 | 4.02 | 7.0967 | 18.8067 | 882.9333 | 100 | 0.46667
2019-09-05 19:00:00 | 2.8033 | 208.41 | 3.2233 | 229.02 | 4.18 | 118.1267 | 3.7667 | 9.5567 | 18.7533 | 882 | 100 | 0.806
2019-09-05 19:15:00 | 2.9233 | 115.3133 | 3.36 | 126.7067 | 4.5833 | 9.0033 | 4.2867 | 26.9267 | 18.7 | 882 | 100 | 2.7147
2019-09-05 19:30:00 | 2.8233 | 118.04 | 3.2533 | 129.7067 | 4.89 | 6.25 | 4.7733 | 7.58 | 18.692 | 882 | 100 | 1.8413
2019-09-05 19:45:00 | 2.8667 | 3.98 | 3.2967 | 4.3733 | 4.0633 | 237.4633 | 4.2233 | 7.2933 | 18.6567 | 882 | 100 | 0.75267
2019-09-05 20:00:00 | 2.66 | 216.4933 | 3.0633 | 237.9067 | 4.2633 | 12.65 | 4.45 | 14.1267 | 18.63 | 882 | 100 | 0.414
2019-09-05 20:15:00 | 2.3267 | 303.6133 | 2.6733 | 333.6333 | 3.5133 | 14.6467 | 3.3867 | 15.4233 | 18.63 | 882 | 100 | 0
2019-09-05 20:30:00 | 2.28 | 112.4 | 2.62 | 123.5067 | 2.7533 | 12.2467 | 2.62 | 11.1167 | 18.618 | 882 | 100 | 0
2019-09-05 20:45:00 | 1.92 | 309.05 | 2.2167 | 339.6 | 2.0667 | 246.7133 | 1.21 | 10.7233 | 18.5847 | 882 | 100 | 0
2019-09-05 21:00:00 | 2.0267 | 210.6367 | 2.3367 | 231.4667 | 2.0267 | 241.78 | 1.07 | 4.65 | 18.574 | 882.4 | 100 | 0
2019-09-05 21:15:00 | 1.95 | 207.5433 | 2.2433 | 228.0633 | 2.7267 | 2.44 | 2.3233 | 119.16 | 18.5807 | 883 | 100 | 0
2019-09-05 21:30:00 | 2.03 | 220.1567 | 2.3367 | 241.93 | 2.8133 | 4.22 | 2.3567 | 124.7 | 18.59 | 883 | 100 | 0
2019-09-05 21:45:00 | 2.3867 | 203.47 | 2.75 | 223.5933 | 3.07 | 239.7467 | 2.6633 | 4.6833 | 18.598 | 883 | 100 | 0
2019-09-05 22:00:00 | 2.32 | 219.13 | 2.6633 | 240.7933 | 3.2233 | 1.9133 | 2.9567 | 6.3033 | 18.618 | 883 | 100 | 0
2019-09-05 22:15:00 | 2.7267 | 312.6767 | 3.1467 | 343.6 | 3.57 | 4.36 | 3.72 | 6.1733 | 18.6153 | 883 | 100 | 1.1353
2019-09-05 22:30:00 | 2.8867 | 317.71 | 3.3267 | 349.1333 | 4.4033 | 11.24 | 4.68 | 11.94 | 18.61 | 883 | 100 | 3.8213
2019-09-05 22:45:00 | 2.7247 | 38.8427 | 3.138 | 42.6833 | 4.7013 | 6.7867 | 4.952 | 14.3567 | 18.618 | 883 | 100 | 6.782
2019-09-05 23:00:00 | 2.8533 | 35.4267 | 3.2833 | 38.9333 | 5.2667 | 5.9767 | 5.49 | 12.7933 | 18.638 | 883 | 100 | 5.1513
2019-09-05 23:15:00 | 2.71 | 214.75 | 3.12 | 235.98 | 4.9067 | 4.8633 | 4.8667 | 37.6 | 18.6507 | 883 | 100 | 3.4313
2019-09-05 23:30:00 | 2.7367 | 210.1967 | 3.1467 | 230.98 | 4.9467 | 5.35 | 4.9 | 13.8667 | 18.652 | 883 | 100 | 4.3613
2019-09-05 23:45:00 | 2.92 | 22.17 | 3.3567 | 24.36 | 4.8233 | 133.2533 | 4.57 | 13.6333 | 18.59 | 883 | 100 | 4.096