## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-06 00:00:00 | 2.5929 | 223.8629 | 2.9836 | 246 | 4.1943 | 135.995 | 4.4364 | 17.0329 | 18.5936 | 883 | 100 | 4.6214
2019-09-06 00:15:00 | 3.2233 | 221.0167 | 3.7167 | 242.8767 | 4.5593 | 231.85 | 4.6767 | 10.9167 | 18.5907 | 883 | 100 | 4.4673
2019-09-06 00:30:00 | 2.9833 | 212.41 | 3.43 | 233.41 | 4.1033 | 11.39 | 4.2233 | 13.2033 | 18.5267 | 883 | 100 | 4.272
2019-09-06 00:45:00 | 3.26 | 104.74 | 3.7533 | 115.0867 | 4.054 | 355.7667 | 4.13 | 12.7033 | 18.4953 | 883 | 100 | 5.668
2019-09-06 01:00:00 | 2.9667 | 111.5533 | 3.4133 | 122.5733 | 4.31 | 117.9333 | 4.11 | 13.6767 | 18.49 | 882.6 | 100 | 4.248
2019-09-06 01:15:00 | 2.8 | 8.4067 | 3.22 | 9.2367 | 4.75 | 240.1033 | 4.2833 | 6.5 | 18.5253 | 882 | 100 | 4.1167
2019-09-06 01:30:00 | 2.8133 | 22.3867 | 3.2333 | 24.5967 | 4.5567 | 2.3367 | 4.2567 | 7.86 | 18.564 | 882 | 100 | 2.9633
2019-09-06 01:45:00 | 3.1133 | 193.5967 | 3.5833 | 212.7467 | 4.0133 | 6.9533 | 3.76 | 8.88 | 18.5493 | 882 | 100 | 1.1853
2019-09-06 02:00:00 | 3.1733 | 5.6167 | 3.6633 | 6.1733 | 4.1533 | 1.2133 | 3.7267 | 5.1333 | 18.508 | 882 | 100 | 1.44
2019-09-06 02:15:00 | 3.2567 | 194.4733 | 3.7467 | 213.7067 | 4.7067 | 4.1833 | 4.1333 | 4.8467 | 18.4673 | 882 | 100 | 2.63
2019-09-06 02:30:00 | 3.3633 | 11.8267 | 3.8667 | 12.9933 | 4.8133 | 241.6167 | 4.2467 | 1.96 | 18.438 | 882 | 100 | 1.1313
2019-09-06 02:45:00 | 3.28 | 37.734 | 3.776 | 41.468 | 4.728 | 72.076 | 4.052 | 4.728 | 18.4033 | 882 | 100 | 0.47867
2019-09-06 03:00:00 | 3.2067 | 30.2033 | 3.6933 | 33.1867 | 4.6667 | 123.3667 | 4 | 12.28 | 18.358 | 882 | 100 | 1.484
2019-09-06 03:15:00 | 3.3533 | 218.5733 | 3.8633 | 240.1867 | 5.0833 | 10.4167 | 4.7733 | 15.46 | 18.3253 | 882 | 100 | 3.858
2019-09-06 03:30:00 | 3.7 | 17.9333 | 4.2633 | 19.7 | 5.1767 | 6.3633 | 5.2133 | 10.4333 | 18.312 | 882 | 100 | 6.0413
2019-09-06 03:45:00 | 3.1067 | 5.15 | 3.5767 | 5.6533 | 5.68 | 24.7567 | 5.7867 | 16.5233 | 18.3007 | 882 | 100 | 7.3673
2019-09-06 04:00:00 | 3.4733 | 216.8767 | 3.9967 | 238.3267 | 5.3133 | 22.8767 | 5.2533 | 5.8967 | 18.31 | 881.6 | 100 | 4.5553
2019-09-06 04:15:00 | 3.8267 | 320.1433 | 4.4133 | 351.8 | 5.5067 | 18.5667 | 5.3333 | 7.3233 | 18.2947 | 881.6667 | 100 | 4.7953
2019-09-06 04:30:00 | 3.64 | 113.0767 | 4.2 | 124.2533 | 5.0667 | 229.7467 | 5.0667 | 9.4433 | 18.272 | 881.4 | 100 | 3.0507
2019-09-06 04:45:00 | 3.72 | 107.22 | 4.28 | 117.8133 | 4.8733 | 2.9733 | 5.0733 | 5.8067 | 18.244 | 881.2667 | 100 | 3.4573
2019-09-06 05:00:00 | 3.6133 | 301.92 | 4.16 | 331.7667 | 4.56 | 232.7 | 4.5467 | 22.4933 | 18.224 | 881 | 100 | 3.8367
2019-09-06 05:15:00 | 3.9 | 222.0367 | 4.4833 | 243.9967 | 5.39 | 235.7167 | 5.14 | 3.7767 | 18.2293 | 881.7333 | 100 | 3.606
2019-09-06 05:30:00 | 3.78 | 225.9767 | 4.3567 | 248.33 | 5.1767 | 0.17667 | 4.9067 | 4.6033 | 18.216 | 882 | 100 | 2.8013
2019-09-06 05:45:00 | 3.6133 | 127.2567 | 4.16 | 139.8333 | 4.8933 | 0.83 | 4.7067 | 78.96 | 18.21 | 882 | 100 | 1.052
2019-09-06 06:00:00 | 3.0333 | 311.7767 | 3.5 | 342.6 | 3.8867 | 2.4233 | 3.8867 | 11.62 | 18.21 | 882 | 100 | 0.98733
2019-09-06 06:15:00 | 2.9567 | 108.81 | 3.4067 | 119.5667 | 3.73 | 7.2467 | 3.6367 | 19.7833 | 18.2167 | 882 | 100 | 1.476
2019-09-06 06:30:00 | 3.33 | 307.2767 | 3.8267 | 337.6667 | 4.17 | 3.6467 | 4.3367 | 17.2233 | 18.206 | 882 | 100 | 2.1053
2019-09-06 06:45:00 | 3.3667 | 211.43 | 3.87 | 232.3333 | 4.1167 | 21.14 | 4.2267 | 17.44 | 18.1933 | 882 | 100 | 1.4727
2019-09-06 07:00:00 | 3.4133 | 212.2167 | 3.93 | 233.2 | 4.1033 | 15.86 | 4.1667 | 17.2933 | 18.204 | 882 | 100 | 0.85133
2019-09-06 07:15:00 | 3.1067 | 113.5133 | 3.5733 | 124.74 | 4.12 | 238.7 | 3.82 | 127.1667 | 18.226 | 882 | 100 | 1.304
2019-09-06 07:30:00 | 3.12 | 114.68 | 3.5867 | 126.02 | 4.6067 | 239.3667 | 4.26 | 123.86 | 18.262 | 882 | 100 | 2.0413
2019-09-06 07:45:00 | 3.5 | 217.8567 | 4.02 | 239.4 | 4.59 | 18.1767 | 4.1467 | 13.2267 | 18.2727 | 882 | 100 | 2.726
2019-09-06 08:00:00 | 3.3133 | 216.8233 | 3.8067 | 238.2667 | 4.5033 | 2.1233 | 4.2733 | 5 | 18.2967 | 882 | 100 | 3.506
2019-09-06 08:15:00 | 3.1933 | 322.26 | 3.68 | 354.1333 | 4.4133 | 183.9567 | 4.41 | 8.5533 | 18.3193 | 882.7333 | 100 | 3.9187
2019-09-06 08:30:00 | 3.06 | 322.1467 | 3.52 | 354 | 4.48 | 2.3633 | 4.47 | 10.3067 | 18.354 | 883 | 100 | 4.5627
2019-09-06 08:45:00 | 3.3667 | 115.4033 | 3.87 | 126.8067 | 4.5067 | 6.9667 | 4.3733 | 12.2167 | 18.3393 | 883 | 100 | 3.5273
2019-09-06 09:00:00 | 3.12 | 278.6167 | 3.59 | 306.1667 | 4.3467 | 2.82 | 4.32 | 17.5433 | 18.362 | 883 | 100 | 1.7907
2019-09-06 09:15:00 | 3.072 | 35.656 | 3.544 | 39.1813 | 3.806 | 253.848 | 3.834 | 20.9713 | 18.3867 | 883 | 100 | 1.202
2019-09-06 09:30:00 | 3.1267 | 222.52 | 3.5967 | 244.5267 | 3.6 | 16.6567 | 3.9033 | 29.6967 | 18.4067 | 883 | 100 | 0.71067
2019-09-06 09:45:00 | 3.32 | 319.1033 | 3.8267 | 350.6667 | 3.68 | 6.6767 | 3.7593 | 131.1467 | 18.462 | 883 | 100 | 0.062
2019-09-06 10:00:00 | 3.04 | 104.4767 | 3.4933 | 114.8 | 3.5133 | 12.6033 | 3.51 | 124.2133 | 18.5567 | 883 | 100 | 0
2019-09-06 10:15:00 | 2.59 | 304.9433 | 2.99 | 335.1 | 3.3533 | 12.8167 | 3.1033 | 2.84 | 18.7767 | 883 | 100 | 0
2019-09-06 10:30:00 | 2.63 | 282.4433 | 3.0233 | 310.3667 | 3.5467 | 16.95 | 3.3633 | 9.3533 | 18.878 | 883 | 100 | 0.53867
2019-09-06 10:45:00 | 2.6867 | 320.1433 | 3.0933 | 351.8 | 3.6533 | 8.8167 | 3.8067 | 17.5067 | 18.9767 | 883 | 100 | 1.98
2019-09-06 11:00:00 | 2.82 | 310.4367 | 3.2467 | 341.1333 | 3.88 | 235.5233 | 3.96 | 11.82 | 19.15 | 883 | 100 | 1.5373
2019-09-06 11:15:00 | 2.4733 | 1.7633 | 2.8433 | 1.9367 | 3.22 | 14.28 | 3.5133 | 21.58 | 19.4067 | 883 | 100 | 0.23733
2019-09-06 11:30:00 | 1.94 | 11.9967 | 2.23 | 13.1767 | 2.6867 | 12.1133 | 2.74 | 14.5333 | 19.8733 | 883 | 100 | 0
2019-09-06 11:45:00 | 2.5333 | 211.7467 | 2.9233 | 232.6867 | 2.9067 | 15.56 | 2.8333 | 23.4533 | 20.1933 | 883 | 98.4333 | 0
2019-09-06 12:00:00 | 2.64 | 23.2667 | 3.0367 | 25.5667 | 3.4267 | 28.5533 | 3.2067 | 18.7067 | 20.0933 | 883 | 98.0333 | 0
2019-09-06 12:15:00 | 2.6233 | 217.3733 | 3.0233 | 238.8667 | 3.5567 | 11.9133 | 3.3533 | 2.1267 | 20.23 | 883 | 98.4333 | 0.32667
2019-09-06 12:30:00 | 2.25 | 3.1867 | 2.59 | 3.5 | 3.45 | 15.8667 | 3.44 | 10.08 | 20.4833 | 883 | 98.26 | 0
2019-09-06 12:45:00 | 2.0733 | 118.09 | 2.3867 | 129.76 | 2.5967 | 5.8333 | 2.41 | 7.39 | 20.8533 | 883 | 97 | 0
2019-09-06 13:00:00 | 1.904 | 147.906 | 2.2013 | 162.5227 | 2.0567 | 10.82 | 1.7753 | 189.4153 | 21.0373 | 883 | 96.0267 | 0
2019-09-06 13:15:00 | 2.05 | 112.7533 | 2.36 | 123.9 | 2.1933 | 346.1 | 1.8833 | 5.3133 | 21.1973 | 883 | 95.2067 | 0
2019-09-06 13:30:00 | 1.9833 | 317.7733 | 2.2933 | 349.2 | 2.2133 | 114.1267 | 1.4433 | 9.7 | 21.44 | 883 | 93.5 | 0
2019-09-06 13:45:00 | 1.3533 | 114.5467 | 1.57 | 125.8667 | 1.8667 | 24.2667 | 1.08 | 31.9267 | 22.0533 | 883 | 92.9333 | 0
2019-09-06 14:00:00 | 0.80667 | 316.26 | 0.93667 | 347.5333 | 0.84667 | 8.36 | 0.30667 | 238.5533 | 22.26 | 883 | 91.8 | 0
2019-09-06 14:15:00 | 0.62667 | 225.396 | 0.73067 | 247.692 | 0.54667 | 1.5607 | 0.056 | 12.4193 | 21.9973 | 883 | 92.1667 | 0
2019-09-06 14:30:00 | 1.3133 | 5.0733 | 1.51 | 5.5733 | 1.8433 | 14.48 | 0.89 | 7.47 | 21.7933 | 882.6 | 93.4333 | 0
2019-09-06 14:45:00 | 1.3733 | 308.8833 | 1.58 | 339.4333 | 1.9467 | 8.4067 | 1.1133 | 12.25 | 21.5467 | 882 | 94.6333 | 0
2019-09-06 15:00:00 | 1.2957 | 101.2186 | 1.4893 | 111.2321 | 1.24 | 229 | 0.43 | 5.56 | 21.2864 | 882 | 95.9286 | 0
2019-09-06 15:15:00 | 0.58667 | 112.82 | 0.67 | 123.98 | 0.48 | 337.6 | 0 | 345.5333 | 21.152 | 882 | 97.0333 | 0
2019-09-06 15:30:00 | 0.4 | 317.828 | 0.45667 | 349.26 | 0.17333 | 314.3333 | 0.32 | 300.1333 | 21.0067 | 882 | 96.2333 | 0
2019-09-06 15:45:00 | 0.43333 | 312.8633 | 0.50667 | 343.8 | 0.12 | 317.3 | 0.46 | 303.0667 | 20.7973 | 881.9333 | 96.6667 | 0
2019-09-06 16:00:00 | 0.12667 | 303.03 | 0.14667 | 333 | 0 | 310.4333 | 0.006667 | 268.7333 | 20.7933 | 881 | 97.2 | 0
2019-09-06 16:15:00 | 0.33333 | 307.6133 | 0.38333 | 338.0333 | 0.35333 | 334.9667 | 0.26667 | 333.1667 | 20.8247 | 881 | 97.32 | 0
2019-09-06 16:30:00 | 1.34 | 316.848 | 1.5367 | 348.18 | 1.3667 | 354.3667 | 1.16 | 354.2333 | 20.95 | 881 | 97.16 | 0
2019-09-06 16:45:00 | 1.5267 | 319.2267 | 1.76 | 350.8 | 1.8333 | 1.0367 | 1.78 | 236.3133 | 21.24 | 881 | 97.4 | 0
2019-09-06 17:00:00 | 1.2733 | 321.4133 | 1.4667 | 353.2 | 1.3867 | 234.9167 | 0.90667 | 237.5133 | 21.24 | 881 | 98.1333 | 0
2019-09-06 17:15:00 | 1.28 | 114.8467 | 1.47 | 126.2 | 1.9467 | 1.5267 | 1.0833 | 236.12 | 21.2473 | 881 | 97.8667 | 0
2019-09-06 17:30:00 | 1.3867 | 309.96 | 1.6033 | 340.6 | 2.04 | 4.3733 | 1.57 | 1.6133 | 21.3633 | 881 | 98.2667 | 0
2019-09-06 17:45:00 | 1.4933 | 220.0933 | 1.72 | 241.8533 | 2.3833 | 10.3 | 1.6933 | 7.48 | 21.6933 | 881 | 97.6 | 0
2019-09-06 18:00:00 | 1.7933 | 33.1467 | 2.0667 | 36.4133 | 2.754 | 13.5067 | 2.4 | 10.8 | 21.86 | 881 | 96 | 0
2019-09-06 18:15:00 | 2.1367 | 310.8033 | 2.46 | 341.5333 | 3.0833 | 8.7133 | 3.2267 | 13.5567 | 21.5367 | 881.7333 | 95.6 | 0
2019-09-06 18:30:00 | 1.67 | 117.6433 | 1.9267 | 129.28 | 2.9833 | 12.7667 | 2.9 | 19.4033 | 21.414 | 881.6 | 95.6 | 0
2019-09-06 18:45:00 | 1.428 | 238.722 | 1.658 | 262.33 | 2.044 | 16.506 | 1.656 | 31.552 | 21.124 | 881 | 94.94 | 0
2019-09-06 19:00:00 | 2.0333 | 215.6233 | 2.35 | 236.95 | 2.2467 | 8.6167 | 1.8933 | 20.2067 | 20.8733 | 881 | 95.2333 | 0
2019-09-06 19:15:00 | 1.6933 | 294.5733 | 1.95 | 323.7 | 1.7267 | 9.5433 | 1.3133 | 16.12 | 20.82 | 881 | 95.22 | 0
2019-09-06 19:30:00 | 2.1267 | 296.2067 | 2.45 | 325.5 | 2.0333 | 237.9833 | 1.9467 | 3.2267 | 20.772 | 881 | 95.3 | 0
2019-09-06 19:45:00 | 1.6833 | 208.98 | 1.9467 | 229.6433 | 1.65 | 120.3867 | 1.1733 | 16.41 | 20.7293 | 881 | 95.9667 | 0
2019-09-06 20:00:00 | 1.71 | 207.58 | 1.98 | 228.11 | 1.81 | 119.4667 | 1.64 | 12.7033 | 20.6333 | 881 | 96.7 | 0
2019-09-06 20:15:00 | 1.57 | 293.8767 | 1.81 | 322.9333 | 1.6233 | 241.9933 | 1.7833 | 16.2333 | 20.6187 | 881 | 96.4667 | 0
2019-09-06 20:30:00 | 2.0633 | 307.9433 | 2.37 | 338.4 | 2.5433 | 11.22 | 2.8567 | 17.32 | 20.6067 | 881 | 97.0667 | 0
2019-09-06 20:45:00 | 2.1933 | 214.88 | 2.5333 | 236.1233 | 2.6467 | 0.16333 | 2.6933 | 3.21 | 20.47 | 881.0667 | 98.1 | 0
2019-09-06 21:00:00 | 2.3533 | 222.82 | 2.7067 | 244.8567 | 2.6267 | 3.79 | 2.5733 | 0.79667 | 20.5033 | 882 | 97.7 | 0.067333
2019-09-06 21:15:00 | 2.3933 | 318.6 | 2.76 | 350.1 | 3.3 | 12.1067 | 3.2933 | 6.7267 | 20.4467 | 882 | 98.7667 | 0.56533
2019-09-06 21:30:00 | 2.3667 | 107.08 | 2.7267 | 117.6667 | 3.4533 | 15.8 | 3.5067 | 22.1333 | 20.388 | 882 | 99.26 | 0.58867
2019-09-06 21:45:00 | 2.6333 | 294.1767 | 3.03 | 323.2667 | 3.9933 | 10.12 | 4.14 | 19.4567 | 20.27 | 882 | 99.8 | 3.2687
2019-09-06 22:00:00 | 2.4733 | 96.9633 | 2.85 | 106.5467 | 4.5733 | 11.7067 | 4.82 | 20.8033 | 20.226 | 882 | 100 | 4.4533
2019-09-06 22:15:00 | 2.4067 | 64.31 | 2.7667 | 70.6633 | 4.4667 | 13.0867 | 4.68 | 19.5733 | 20.164 | 882 | 100 | 4.2
2019-09-06 22:30:00 | 2.522 | 197.044 | 2.9 | 216.536 | 4.15 | 7.758 | 4.322 | 23.504 | 20.112 | 882 | 100 | 10.5313
2019-09-06 22:45:00 | 3.0133 | 183.7267 | 3.4667 | 201.8967 | 5.3267 | 233.85 | 5.2867 | 11.1067 | 20.18 | 882 | 100 | 14.1653
2019-09-06 23:00:00 | 3.2467 | 206.9067 | 3.74 | 227.3633 | 5.8 | 6.53 | 5.74 | 13.4867 | 20.176 | 881.6 | 100 | 16.9073
2019-09-06 23:15:00 | 3.2533 | 31.4133 | 3.7433 | 34.5167 | 5.1533 | 16.9533 | 4.9133 | 14.4867 | 20.146 | 881 | 100 | 13.308
2019-09-06 23:30:00 | 3.28 | 4.82 | 3.77 | 5.29 | 4.7 | 13.7 | 4.4867 | 14.44 | 20.0767 | 881 | 100 | 7.776
2019-09-06 23:45:00 | 3.3033 | 211.9133 | 3.8033 | 232.8667 | 5.2067 | 0.15 | 4.9733 | 8.49 | 19.9867 | 881.0667 | 100 | 4.0147