## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-07 00:00:00 | 2.9993 | 294.8086 | 3.4593 | 323.9571 | 4.9321 | 0.17571 | 4.7114 | 3.5193 | 19.9529 | 882 | 100 | 2.3136
2019-09-07 00:15:00 | 2.5867 | 213.6267 | 2.98 | 234.7467 | 4.4267 | 10.63 | 4.0333 | 2.1133 | 19.982 | 882 | 100 | 0.748
2019-09-07 00:30:00 | 2.5267 | 2.8667 | 2.9067 | 3.14 | 3.96 | 22.6633 | 3.7267 | 31.5867 | 20.026 | 882 | 100 | 1.7933
2019-09-07 00:45:00 | 2.6533 | 218.5367 | 3.06 | 240.15 | 4.3133 | 12.2967 | 4.4433 | 18.5867 | 20.0633 | 882 | 100 | 5.3413
2019-09-07 01:00:00 | 2.52 | 218.61 | 2.9 | 240.2167 | 4.5933 | 9.09 | 4.77 | 12.4 | 20.034 | 882 | 100 | 3.8367
2019-09-07 01:15:00 | 2.2947 | 258.7487 | 2.64 | 284.3307 | 4.1533 | 11.3173 | 4.328 | 10.7467 | 19.986 | 881.2667 | 100 | 3.0867
2019-09-07 01:30:00 | 2.5133 | 198.81 | 2.8933 | 218.46 | 4.52 | 9.67 | 4.14 | 4.7633 | 19.954 | 881 | 100 | 0.484
2019-09-07 01:45:00 | 2.5667 | 209.1733 | 2.95 | 229.85 | 3.73 | 3.5667 | 3.28 | 2.3 | 19.9453 | 881 | 100 | 0.31933
2019-09-07 02:00:00 | 2.48 | 5.6067 | 2.85 | 6.1567 | 4.2967 | 7.7467 | 3.7133 | 5.02 | 19.94 | 881 | 100 | 2.284
2019-09-07 02:15:00 | 2.5933 | 116.0333 | 2.9833 | 127.5 | 4.2133 | 15.51 | 3.7267 | 21.4767 | 19.9387 | 881 | 100 | 0.99467
2019-09-07 02:30:00 | 2.56 | 317.62 | 2.9433 | 349.0333 | 3.8067 | 8.45 | 3.4333 | 17.91 | 19.916 | 881 | 100 | 0.59133
2019-09-07 02:45:00 | 2.93 | 214.4967 | 3.37 | 235.71 | 4.0667 | 3.38 | 3.6 | 247 | 19.9027 | 881 | 100 | 2.2247
2019-09-07 03:00:00 | 3.0033 | 214.11 | 3.4633 | 235.2833 | 4.9 | 11.54 | 4.5333 | 27.1667 | 19.904 | 881 | 100 | 4.2133
2019-09-07 03:15:00 | 3.2467 | 26.0167 | 3.7367 | 28.5767 | 5.48 | 126.0667 | 5.1867 | 11.8433 | 19.9027 | 881 | 100 | 7.2193
2019-09-07 03:30:00 | 3.24 | 219.2767 | 3.73 | 240.9567 | 5.1533 | 124.12 | 5.14 | 9.2833 | 19.9 | 881 | 100 | 7.6893
2019-09-07 03:45:00 | 3.22 | 321.4133 | 3.7033 | 353.2 | 5.4 | 11.2167 | 5.4533 | 17.0733 | 19.8487 | 881 | 100 | 9.76
2019-09-07 04:00:00 | 3.36 | 104.9267 | 3.87 | 115.3 | 5.5133 | 7.8833 | 5.68 | 11.24 | 19.818 | 881 | 100 | 11.1567
2019-09-07 04:15:00 | 3.6067 | 103.9733 | 4.1467 | 114.2533 | 6.02 | 115.8467 | 6.08 | 129.7733 | 19.7907 | 880.9333 | 100 | 8.8933
2019-09-07 04:30:00 | 3.2333 | 90.9467 | 3.72 | 99.9267 | 5.24 | 112.7533 | 5.3333 | 126.6467 | 19.752 | 880 | 100 | 7.3193
2019-09-07 04:45:00 | 3.0133 | 132.17 | 3.4633 | 145.2333 | 5.3233 | 4.83 | 5.8367 | 15.7467 | 19.7233 | 880 | 100 | 10.6
2019-09-07 05:00:00 | 3.3667 | 105.73 | 3.87 | 116.1867 | 5.5033 | 15.3433 | 5.9367 | 18.5333 | 19.694 | 880 | 100 | 11.6433
2019-09-07 05:15:00 | 3.1333 | 315.2567 | 3.61 | 346.4333 | 5.1067 | 11.2933 | 5.6233 | 15.2633 | 19.6993 | 880 | 100 | 10.36
2019-09-07 05:30:00 | 3.2333 | 295.8433 | 3.7167 | 325.1 | 5.34 | 237.8333 | 5.85 | 22.7633 | 19.682 | 880 | 100 | 9.7847
2019-09-07 05:45:00 | 3.3733 | 119.6467 | 3.88 | 131.4767 | 5.2067 | 118.82 | 5.7067 | 11.84 | 19.6473 | 880 | 100 | 11.3793
2019-09-07 06:00:00 | 3.2067 | 207.5 | 3.6867 | 228.01 | 5.2267 | 123.0933 | 6.0133 | 18.2133 | 19.63 | 880 | 100 | 11.7173
2019-09-07 06:15:00 | 3.1553 | 249.6267 | 3.6333 | 274.3133 | 5.1087 | 123.828 | 5.6027 | 13.4433 | 19.63 | 880 | 100 | 10.1367
2019-09-07 06:30:00 | 3.31 | 136.2867 | 3.81 | 149.7667 | 5.13 | 341.2333 | 5.4267 | 16.4833 | 19.634 | 880 | 100 | 8.02
2019-09-07 06:45:00 | 3.33 | 145.9967 | 3.8267 | 160.4267 | 5.4967 | 17.0567 | 6.09 | 15.26 | 19.64 | 880 | 100 | 9.3787
2019-09-07 07:00:00 | 3.3833 | 319.53 | 3.9 | 351.1333 | 5.4167 | 17.2833 | 5.8833 | 18.8267 | 19.64 | 880 | 100 | 8.6947
2019-09-07 07:15:00 | 3.1867 | 100.5 | 3.6667 | 110.44 | 5.2533 | 233.33 | 5.8033 | 12.57 | 19.6253 | 880.7333 | 100 | 7.2347
2019-09-07 07:30:00 | 3.2067 | 293.7933 | 3.6893 | 322.8467 | 5.2947 | 1.502 | 5.914 | 5.9833 | 19.632 | 881 | 100 | 8.426
2019-09-07 07:45:00 | 3.14 | 289.9967 | 3.6133 | 318.6667 | 5.23 | 14.97 | 5.6733 | 9.3967 | 19.6733 | 881 | 100 | 10.1147
2019-09-07 08:00:00 | 2.9267 | 123.33 | 3.3733 | 135.52 | 5.17 | 8.2967 | 5.48 | 15.41 | 19.7467 | 881 | 100 | 7.3753
2019-09-07 08:15:00 | 2.6827 | 268.6933 | 3.0947 | 295.2653 | 5.2207 | 17.7893 | 5.264 | 4.616 | 19.856 | 881 | 100 | 5.4767
2019-09-07 08:30:00 | 2.84 | 97.2567 | 3.2767 | 106.8733 | 5.3 | 13.3467 | 4.8533 | 11.01 | 19.932 | 881 | 100 | 5.2307
2019-09-07 08:45:00 | 2.6 | 133.66 | 2.99 | 146.88 | 4.9233 | 12.6833 | 4.5467 | 9.1133 | 19.9567 | 881 | 100 | 5.3273
2019-09-07 09:00:00 | 2.7 | 106.7667 | 3.11 | 117.3267 | 4.9567 | 13.27 | 4.5867 | 15.4467 | 20.01 | 881 | 100 | 6.9107
2019-09-07 09:15:00 | 2.76 | 38.54 | 3.1767 | 42.35 | 5.1867 | 14 | 4.6133 | 128.5733 | 20.23 | 881.0667 | 100 | 4.8367
2019-09-07 09:30:00 | 2.76 | 228.4267 | 3.1767 | 251.0167 | 4.54 | 11.4067 | 4.1333 | 121.1333 | 20.1967 | 882 | 100 | 4.8613
2019-09-07 09:45:00 | 2.5 | 9.4533 | 2.88 | 10.3833 | 4.2933 | 9.3167 | 4.54 | 11.6333 | 20.2567 | 882 | 100 | 4.6793
2019-09-07 10:00:00 | 2.3267 | 4.9 | 2.6867 | 5.3767 | 4.3067 | 4.0033 | 4.64 | 9.2467 | 20.5233 | 882 | 100 | 5.1687
2019-09-07 10:15:00 | 2.3267 | 196.5767 | 2.6767 | 216.0167 | 4.3867 | 4.1467 | 4.7267 | 14.2567 | 20.7727 | 882 | 100 | 5.9547
2019-09-07 10:30:00 | 2.42 | 196.8167 | 2.79 | 216.2833 | 4.4933 | 4.5067 | 4.84 | 11.99 | 20.9033 | 882 | 99.96 | 5.176
2019-09-07 10:45:00 | 2.13 | 208.8367 | 2.4567 | 229.4867 | 4.0833 | 4.1633 | 4.5467 | 14.5667 | 20.9787 | 882 | 99.5 | 4.7607
2019-09-07 11:00:00 | 2.0367 | 38.7167 | 2.3433 | 42.54 | 3.87 | 7.0767 | 4.3533 | 15.2133 | 20.988 | 882 | 99.54 | 4.7333
2019-09-07 11:15:00 | 2.04 | 232.7133 | 2.35 | 255.7267 | 3.9333 | 12.0067 | 4.08 | 11.4867 | 21.0007 | 882 | 99.5933 | 5.0653
2019-09-07 11:30:00 | 2.2267 | 27.5933 | 2.5633 | 30.3133 | 4.1133 | 21.3333 | 4.3867 | 19.44 | 20.97 | 882 | 99.5 | 6.99
2019-09-07 11:45:00 | 2.34 | 114.51 | 2.6967 | 125.8267 | 4.46 | 9.83 | 4.9433 | 13.8667 | 20.93 | 882 | 99.58 | 6.8533
2019-09-07 12:00:00 | 2.4733 | 108.15 | 2.85 | 118.84 | 4.4067 | 3.9167 | 4.7567 | 9.64 | 20.95 | 882 | 99.3 | 4.2467
2019-09-07 12:15:00 | 2.1533 | 19.3567 | 2.49 | 21.2667 | 3.6333 | 3.11 | 4.1367 | 11.0633 | 20.9627 | 882 | 99.1667 | 1.1787
2019-09-07 12:30:00 | 1.48 | 11.65 | 1.7167 | 12.8 | 2.7533 | 9.3967 | 3.1567 | 17.2833 | 20.9933 | 882 | 99.2333 | 0.053333
2019-09-07 12:45:00 | 0.72667 | 9.88 | 0.84333 | 10.8533 | 1.38 | 6.9667 | 1.9367 | 23.7833 | 21.0693 | 882 | 99.38 | 0
2019-09-07 13:00:00 | 0.91333 | 213.24 | 1.0633 | 234.3267 | 1.4667 | 7.5667 | 2.1767 | 15.2633 | 21.112 | 882 | 99.5 | 0.75733
2019-09-07 13:15:00 | 1.526 | 243.7667 | 1.756 | 267.8707 | 2.6687 | 2.7007 | 3.0227 | 16.4253 | 21.142 | 882 | 99.9067 | 0.68067
2019-09-07 13:30:00 | 1.6467 | 7.5867 | 1.8967 | 8.3267 | 3.0067 | 234.55 | 3.1367 | 7.9033 | 21.3067 | 882 | 100 | 0.39
2019-09-07 13:45:00 | 1.1467 | 110.77 | 1.33 | 121.7133 | 2.11 | 239.2467 | 2.1867 | 121.5867 | 21.354 | 882 | 99.92 | 0.124
2019-09-07 14:00:00 | 0.94 | 166.1087 | 1.084 | 182.53 | 1.5833 | 3.2353 | 1.576 | 194.1013 | 21.322 | 882 | 99.8933 | 0.11133
2019-09-07 14:15:00 | 1.14 | 294.2067 | 1.3167 | 323.3 | 2.0233 | 0.38667 | 2.2467 | 7.3867 | 21.2847 | 881.9333 | 100 | 0.558
2019-09-07 14:30:00 | 1.3733 | 97.3733 | 1.5767 | 107 | 2.53 | 237.8667 | 2.9467 | 1.9733 | 21.2167 | 881 | 100 | 2.1527
2019-09-07 14:45:00 | 1.6467 | 311.7767 | 1.8967 | 342.6 | 3.18 | 0.16333 | 3.3533 | 1.4333 | 21.208 | 881 | 100 | 3.7233
2019-09-07 15:00:00 | 1.9186 | 245.17 | 2.2086 | 269.4071 | 3.7457 | 3.6614 | 3.7414 | 9.0943 | 21.2343 | 881 | 100 | 5.6113
2019-09-07 15:15:00 | 2.1167 | 193.7 | 2.4333 | 212.8467 | 4.0893 | 12.8133 | 4.0367 | 19.2633 | 21.2973 | 881 | 100 | 7.378
2019-09-07 15:30:00 | 2.0967 | 207.28 | 2.4133 | 227.78 | 3.92 | 10.3333 | 4.0767 | 7.1167 | 21.348 | 881 | 100 | 8.5987
2019-09-07 15:45:00 | 2.2333 | 312.704 | 2.5767 | 343.6267 | 4.2133 | 16.7967 | 4.0867 | 17.5933 | 21.382 | 881 | 100 | 9.0187
2019-09-07 16:00:00 | 1.98 | 263.9667 | 2.2833 | 290.0667 | 3.8267 | 12.23 | 3.9267 | 11.6133 | 21.3833 | 881 | 100 | 8.9227
2019-09-07 16:15:00 | 1.9967 | 143.658 | 2.3033 | 157.856 | 3.3327 | 11.3833 | 3.4587 | 18.3913 | 21.22 | 881 | 100 | 7.0147
2019-09-07 16:30:00 | 2.1667 | 130.19 | 2.5067 | 143.06 | 3.66 | 1.4767 | 3.6133 | 20.41 | 21.22 | 881 | 100 | 5.8487
2019-09-07 16:45:00 | 2.2033 | 288.8933 | 2.54 | 317.4667 | 3.9133 | 240.4933 | 3.8133 | 11.8933 | 21.298 | 881 | 100 | 4.436
2019-09-07 17:00:00 | 2.01 | 106.5 | 2.3133 | 117.0267 | 3.6733 | 6.2867 | 3.4867 | 13.8867 | 21.4167 | 881 | 100 | 3.3773
2019-09-07 17:15:00 | 1.7067 | 289.44 | 1.97 | 318.0667 | 3.19 | 344.1667 | 2.8333 | 13.9967 | 21.39 | 881 | 100 | 3.8633
2019-09-07 17:30:00 | 1.9 | 256.3733 | 2.1833 | 281.7333 | 3.6233 | 119.0667 | 3.4333 | 241.6567 | 21.374 | 881 | 100 | 3.336
2019-09-07 17:45:00 | 1.7133 | 205.74 | 1.9833 | 226.0833 | 3.32 | 0.15 | 3.46 | 5.0533 | 21.3007 | 881 | 100 | 2.54
2019-09-07 18:00:00 | 1.5333 | 22.5 | 1.77 | 24.73 | 2.96 | 3.71 | 3.2867 | 5.86 | 21.238 | 881 | 100 | 2.6153
2019-09-07 18:15:00 | 1.6353 | 93.37 | 1.8827 | 102.606 | 3.258 | 8.4673 | 3.6593 | 18.466 | 21.218 | 881 | 100 | 3.852
2019-09-07 18:30:00 | 1.7267 | 110.4167 | 1.9933 | 121.3333 | 3.3867 | 3.3233 | 4.1033 | 24.4767 | 21.1433 | 881 | 100 | 4.1427
2019-09-07 18:45:00 | 1.9533 | 44.6833 | 2.25 | 49.1 | 3.85 | 17.7567 | 4.5667 | 26.5367 | 21.0887 | 881 | 100 | 2.788
2019-09-07 19:00:00 | 1.4667 | 45.1567 | 1.69 | 49.62 | 2.8967 | 16.0033 | 3.3733 | 23.1967 | 21.038 | 881 | 100 | 1.812
2019-09-07 19:15:00 | 1.4833 | 101.92 | 1.7133 | 111.9933 | 2.9467 | 9.1067 | 3.5467 | 10.0333 | 20.9587 | 881 | 100 | 2.5473
2019-09-07 19:30:00 | 1.59 | 267.3267 | 1.84 | 293.7667 | 3.16 | 4.1467 | 3.74 | 13.4733 | 20.928 | 881 | 100 | 3.5953
2019-09-07 19:45:00 | 1.6467 | 279.7367 | 1.9033 | 307.4 | 3.25 | 5.85 | 3.6433 | 15.1333 | 20.8933 | 881 | 100 | 3.318
2019-09-07 20:00:00 | 1.7 | 106.9767 | 1.9567 | 117.5533 | 3.2767 | 240.0567 | 3.47 | 9.62 | 20.852 | 881.4 | 100 | 2.3553
2019-09-07 20:15:00 | 2.01 | 207.62 | 2.32 | 228.1533 | 3.21 | 20.4967 | 3.6567 | 23.4567 | 20.832 | 882 | 100 | 3.2627
2019-09-07 20:30:00 | 2.1567 | 14.5267 | 2.48 | 15.96 | 3.4767 | 1.8167 | 3.7167 | 2.7833 | 20.816 | 882 | 100 | 4.1587
2019-09-07 20:45:00 | 2.1267 | 264.72 | 2.45 | 290.9 | 3.9 | 7.6167 | 4.1 | 22.52 | 20.778 | 882 | 100 | 5.6893
2019-09-07 21:00:00 | 2.1067 | 92.2133 | 2.4233 | 101.3267 | 4.0133 | 3.99 | 4.4067 | 18.7467 | 20.718 | 882 | 100 | 6.6407
2019-09-07 21:15:00 | 2.26 | 23.3567 | 2.6067 | 25.66 | 3.9667 | 229.0933 | 4.46 | 16.0433 | 20.6687 | 882 | 100 | 8.3453
2019-09-07 21:30:00 | 2.2267 | 19.73 | 2.5667 | 21.68 | 4.0067 | 8.7333 | 4.8733 | 20.53 | 20.618 | 882 | 100 | 6.8853
2019-09-07 21:45:00 | 1.8833 | 249.6433 | 2.1667 | 274.3333 | 3.3667 | 124.3333 | 3.7333 | 17.6233 | 20.5933 | 882 | 100 | 5.884
2019-09-07 22:00:00 | 1.5233 | 56.05 | 1.7667 | 61.5933 | 2.7267 | 118.5667 | 3.16 | 21.03 | 20.596 | 882 | 100 | 5.4047
2019-09-07 22:15:00 | 1.76 | 219.51 | 2.03 | 241.2067 | 2.9733 | 15.78 | 3.8467 | 21.2 | 20.588 | 882 | 100 | 6.7413
2019-09-07 22:30:00 | 1.7267 | 211.5633 | 1.9967 | 232.4733 | 3.22 | 8.4267 | 3.6267 | 17.3133 | 20.56 | 882 | 100 | 7.1
2019-09-07 22:45:00 | 2.0213 | 136.5207 | 2.3253 | 150.0233 | 3.5253 | 207.634 | 3.6307 | 16.0913 | 20.5833 | 882 | 100 | 8.842
2019-09-07 23:00:00 | 2.0033 | 129.6367 | 2.3033 | 142.46 | 3.82 | 11.26 | 4.0133 | 19.1333 | 20.618 | 882 | 100 | 13.8007
2019-09-07 23:15:00 | 2.6307 | 274.2567 | 3.0287 | 301.3793 | 4.9487 | 121.1187 | 5.0167 | 11.3687 | 20.6373 | 882 | 100 | 14.186
2019-09-07 23:30:00 | 2.8333 | 283.93 | 3.2633 | 312 | 5.0967 | 355.2667 | 4.98 | 3.3933 | 20.624 | 882 | 100 | 15.06
2019-09-07 23:45:00 | 2.9533 | 37.0167 | 3.3933 | 40.6733 | 4.3667 | 228.0133 | 4.4367 | 10.5733 | 20.6007 | 882 | 100 | 16.6333