## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-08 00:00:00 | 2.9271 | 199.81 | 3.3736 | 219.5571 | 5.0314 | 31.5207 | 5.16 | 16.3414 | 20.61 | 882 | 100 | 16.8157
2019-09-08 00:15:00 | 2.9267 | 38.84 | 3.37 | 42.6767 | 5.1733 | 16.26 | 5.6833 | 10.58 | 20.5827 | 882 | 100 | 14.4527
2019-09-08 00:30:00 | 2.7933 | 210.2267 | 3.2167 | 231.01 | 4.7067 | 8.4333 | 5.1633 | 18.6933 | 20.5067 | 882 | 100 | 15.8433
2019-09-08 00:45:00 | 2.9567 | 212.41 | 3.41 | 233.42 | 5.26 | 123.6 | 5.6367 | 1.44 | 20.4513 | 882 | 100 | 18.478
2019-09-08 01:00:00 | 3.1033 | 228.55 | 3.57 | 251.1533 | 5.28 | 119 | 5.6767 | 7.34 | 20.3767 | 882 | 100 | 20.0867
2019-09-08 01:15:00 | 2.8133 | 11.1467 | 3.24 | 12.2467 | 4.2467 | 352.7 | 4.6133 | 122.3667 | 20.3387 | 882 | 100 | 18.5967
2019-09-08 01:30:00 | 2.6333 | 224.0933 | 3.0267 | 246.26 | 3.8467 | 121.3267 | 4.2933 | 128.2333 | 20.34 | 882 | 100 | 15.51
2019-09-08 01:45:00 | 2.8533 | 11.1033 | 3.2867 | 12.2033 | 4.7133 | 3.3367 | 5.1 | 15.9733 | 20.2887 | 881.2667 | 100 | 10.8493
2019-09-08 02:00:00 | 2.5467 | 215.87 | 2.9333 | 237.2167 | 4.2267 | 6.27 | 4.3533 | 17.3533 | 20.262 | 881 | 100 | 9.1427
2019-09-08 02:15:00 | 2.2367 | 28.2633 | 2.57 | 31.0533 | 4.2133 | 12.6533 | 4.1933 | 13.4967 | 20.2347 | 881 | 100 | 9.154
2019-09-08 02:30:00 | 2.33 | 15.29 | 2.6833 | 16.7933 | 4.3667 | 9.7533 | 4.4333 | 8.6033 | 20.22 | 881 | 100 | 10.6447
2019-09-08 02:45:00 | 2.2533 | 278.9233 | 2.5967 | 306.5 | 4.2767 | 2.3067 | 4.59 | 21.1733 | 20.22 | 881 | 100 | 14.4767
2019-09-08 03:00:00 | 2.7467 | 282.9767 | 3.17 | 310.9667 | 4.9767 | 5.8267 | 5.4433 | 16.2 | 20.208 | 881 | 100 | 15.822
2019-09-08 03:15:00 | 3.0333 | 38.44 | 3.49 | 42.24 | 4.6733 | 10.8033 | 4.4467 | 27.56 | 20.1607 | 881 | 100 | 18.7073
2019-09-08 03:30:00 | 3.0333 | 25.12 | 3.49 | 27.5933 | 4.8267 | 6.09 | 4.8533 | 8.5533 | 20.158 | 881 | 100 | 25.9867
2019-09-08 03:45:00 | 3.1867 | 6.4 | 3.6767 | 7.0333 | 5.1333 | 15.1633 | 5.2933 | 8.94 | 20.1767 | 881 | 100 | 29.4067
2019-09-08 04:00:00 | 3.78 | 21.2467 | 4.35 | 23.3467 | 6.54 | 17.5167 | 6.6733 | 8.3933 | 20.166 | 881 | 100 | 33.356
2019-09-08 04:15:00 | 3.6233 | 183.4867 | 4.1733 | 201.6233 | 6.19 | 244.3933 | 6.6867 | 7.6467 | 20.1593 | 880.9333 | 100 | 30.954
2019-09-08 04:30:00 | 3.348 | 186.24 | 3.854 | 204.648 | 5.346 | 27.04 | 5.56 | 18.858 | 20.158 | 880 | 100 | 23.4447
2019-09-08 04:45:00 | 3.29 | 205.1433 | 3.7867 | 225.4233 | 5.03 | 243.36 | 5.3133 | 23.2833 | 20.1773 | 880 | 100 | 17.6713
2019-09-08 05:00:00 | 3.1833 | 156.2367 | 3.6667 | 171.69 | 5.87 | 14.08 | 6.34 | 18.83 | 20.172 | 880.4 | 100 | 21.2487
2019-09-08 05:15:00 | 3.56 | 89.14 | 4.09 | 97.9433 | 6.5167 | 13.35 | 6.8733 | 17.6367 | 20.1353 | 880.2667 | 100 | 25.596
2019-09-08 05:30:00 | 3.52 | 191.2333 | 4.0433 | 210.1433 | 6.31 | 7.0167 | 6.98 | 18.61 | 20.086 | 880 | 100 | 30.4787
2019-09-08 05:45:00 | 3.9067 | 201.73 | 4.4933 | 221.67 | 6.5267 | 122.64 | 7.12 | 120.9067 | 20.0787 | 880.0667 | 100 | 32.2813
2019-09-08 06:00:00 | 3.4867 | 220.4033 | 4.0067 | 242.2033 | 6.1133 | 115.58 | 6.7133 | 127.9733 | 20.052 | 881 | 100 | 31.3093
2019-09-08 06:15:00 | 3.45 | 221.69 | 3.9733 | 243.6167 | 6.3233 | 10.7067 | 7.16 | 21.68 | 20.0393 | 881 | 100 | 30.9687
2019-09-08 06:30:00 | 3.9233 | 93.93 | 4.52 | 103.2167 | 7.0967 | 13.74 | 7.9333 | 18.52 | 20.018 | 881 | 100 | 34.8913
2019-09-08 06:45:00 | 4.36 | 196.0367 | 5.02 | 215.4233 | 7.69 | 13.7933 | 8.2967 | 17.7667 | 19.9333 | 881 | 100 | 39.21
2019-09-08 07:00:00 | 4.56 | 9.7633 | 5.2467 | 10.7167 | 8.1433 | 12.82 | 8.55 | 13.7933 | 19.888 | 881 | 100 | 40.478
2019-09-08 07:15:00 | 5.28 | 237.8733 | 6.0767 | 261.4 | 9.18 | 14.1033 | 9.5333 | 20.5113 | 19.8533 | 881 | 100 | 37.0927
2019-09-08 07:30:00 | 4.7333 | 287.8 | 5.45 | 316.2667 | 8.4867 | 10.9767 | 9.0667 | 21.75 | 19.816 | 881 | 100 | 37.3467
2019-09-08 07:45:00 | 4.3667 | 136.33 | 5.02 | 149.8 | 7.9167 | 241.53 | 7.79 | 21.91 | 19.8187 | 881 | 100 | 39.134
2019-09-08 08:00:00 | 4.4667 | 141.2967 | 5.14 | 155.2667 | 8.19 | 11.23 | 8.4767 | 16.6167 | 19.848 | 881 | 100 | 41.168
2019-09-08 08:15:00 | 4.96 | 45.5033 | 5.7133 | 50.0033 | 8.9867 | 12.1767 | 9.5 | 21.9367 | 19.8593 | 881 | 100 | 41.85
2019-09-08 08:30:00 | 5 | 206.55 | 5.76 | 226.9767 | 8.7333 | 12.69 | 9.16 | 17.2567 | 19.846 | 881 | 100 | 42.5207
2019-09-08 08:45:00 | 4.764 | 86.852 | 5.4827 | 95.4307 | 8.494 | 13.0973 | 8.874 | 24.844 | 19.8413 | 881 | 100 | 41.9073
2019-09-08 09:00:00 | 5.2 | 162.1933 | 5.9833 | 178.2333 | 9.1333 | 8.5533 | 9.5367 | 20.0733 | 19.868 | 881 | 100 | 40.7147
2019-09-08 09:15:00 | 4.9713 | 113.484 | 5.7233 | 124.6967 | 9.0007 | 6.6707 | 9.2367 | 17.6013 | 19.8873 | 881 | 100 | 39.5307
2019-09-08 09:30:00 | 4.6567 | 18.36 | 5.3633 | 20.1633 | 8.17 | 8.84 | 8.4567 | 16.6133 | 19.886 | 881 | 100 | 41.152
2019-09-08 09:45:00 | 4.7867 | 287.5933 | 5.5167 | 316.0333 | 8.1033 | 8.4433 | 8.3733 | 25.7 | 19.874 | 881 | 100 | 42.9827
2019-09-08 10:00:00 | 4.7867 | 107.7 | 5.5167 | 118.3467 | 8.53 | 11.6833 | 8.9667 | 17.1467 | 19.93 | 881 | 100 | 42.77
2019-09-08 10:15:00 | 4.92 | 216.7267 | 5.6567 | 238.1467 | 8.49 | 19.1733 | 8.9633 | 11.9333 | 19.9907 | 881 | 100 | 40.4433
2019-09-08 10:30:00 | 4.6267 | 230.98 | 5.33 | 253.8133 | 7.9367 | 11.9667 | 8.2433 | 23.1467 | 20.008 | 881 | 100 | 39.3447
2019-09-08 10:45:00 | 4.3367 | 159.8033 | 4.9933 | 175.5933 | 7.5167 | 230.76 | 7.866 | 10.6833 | 20.0647 | 881 | 100 | 38.1567
2019-09-08 11:00:00 | 4.07 | 110.6633 | 4.6867 | 121.5933 | 7.19 | 6.0733 | 7.6167 | 10.9433 | 20.19 | 881 | 100 | 34.8253
2019-09-08 11:15:00 | 4.0267 | 213.2133 | 4.6367 | 234.2967 | 6.64 | 10.48 | 6.99 | 9.11 | 20.4267 | 881 | 100 | 26.766
2019-09-08 11:30:00 | 3.34 | 17.318 | 3.84 | 19.03 | 5.726 | 4.378 | 5.978 | 11.266 | 20.568 | 881 | 100 | 23.97
2019-09-08 11:45:00 | 3.7267 | 169.05 | 4.2967 | 185.7633 | 6.55 | 125.1133 | 6.4967 | 124.3533 | 20.6133 | 881 | 100 | 25.8773
2019-09-08 12:00:00 | 3.4933 | 213.21 | 4.0233 | 234.2967 | 5.5633 | 122.24 | 5.7967 | 122.7333 | 20.4933 | 881 | 100 | 22.2253
2019-09-08 12:15:00 | 2.75 | 34.72 | 3.16 | 38.1433 | 4.9033 | 8.1 | 5.2533 | 23.3467 | 20.4467 | 881 | 100 | 25.4747
2019-09-08 12:30:00 | 3.0647 | 41.704 | 3.5273 | 45.826 | 5.3813 | 12.9847 | 5.6807 | 25.9927 | 20.4933 | 881 | 100 | 24.662
2019-09-08 12:45:00 | 3.5433 | 18.1367 | 4.0767 | 19.9267 | 5.6467 | 18.1467 | 5.9733 | 17.9567 | 20.3567 | 881 | 100 | 21.0967
2019-09-08 13:00:00 | 3.3967 | 201.51 | 3.91 | 221.4333 | 5.7333 | 15.28 | 6.04 | 22.2033 | 20.298 | 881 | 100 | 18.312
2019-09-08 13:15:00 | 3.44 | 128.6133 | 3.9533 | 141.3267 | 6.1633 | 7.0733 | 6.68 | 13.8833 | 20.402 | 881 | 100 | 20.9413
2019-09-08 13:30:00 | 3.86 | 28.2333 | 4.44 | 31.02 | 6.2633 | 10.2 | 6.3867 | 17.45 | 20.39 | 881 | 100 | 23.85
2019-09-08 13:45:00 | 3.76 | 26.7533 | 4.3233 | 29.3933 | 6.4867 | 246.2433 | 6.39 | 8.8933 | 20.382 | 881 | 100 | 21.912
2019-09-08 14:00:00 | 3.8 | 207.6333 | 4.3767 | 228.1667 | 6.7933 | 8.41 | 7.07 | 8.78 | 20.47 | 881 | 100 | 20.306
2019-09-08 14:15:00 | 3.7067 | 192.99 | 4.2633 | 212.0733 | 6.76 | 3.5333 | 7.1327 | 18.4867 | 20.482 | 880.9333 | 100 | 18.372
2019-09-08 14:30:00 | 3.34 | 198.9967 | 3.85 | 218.6733 | 5.7333 | 11.5 | 6.1633 | 14.4333 | 20.4367 | 880 | 100 | 18.5053
2019-09-08 14:45:00 | 3.3733 | 216.32 | 3.8867 | 237.7167 | 5.4633 | 4.42 | 5.4833 | 14.21 | 20.4053 | 880 | 100 | 18.704
2019-09-08 15:00:00 | 3.4933 | 204.1867 | 4.0267 | 224.3833 | 5.69 | 3.7067 | 5.7033 | 12.3167 | 20.408 | 880 | 100 | 16.5007
2019-09-08 15:15:00 | 3.4633 | 291.4433 | 3.9867 | 320.2667 | 5.6533 | 20.71 | 5.62 | 242.8067 | 20.4733 | 880 | 100 | 19.4313
2019-09-08 15:30:00 | 3.7233 | 267.91 | 4.28 | 294.4 | 6.12 | 8.7633 | 6.4533 | 17.5 | 20.408 | 880 | 100 | 20.9253
2019-09-08 15:45:00 | 3.7333 | 78.4133 | 4.2967 | 86.1667 | 6.3267 | 10.4033 | 6.5833 | 11.0133 | 20.4213 | 880 | 100 | 20.9373
2019-09-08 16:00:00 | 3.62 | 243.7267 | 4.17 | 267.8333 | 6.38 | 25.0167 | 6.9233 | 13.9667 | 20.4267 | 880 | 100 | 20.4447
2019-09-08 16:15:00 | 3.5867 | 31.6933 | 4.1267 | 34.82 | 5.9333 | 8.67 | 6.4867 | 21.9533 | 20.3813 | 880 | 100 | 17.828
2019-09-08 16:30:00 | 3.42 | 186.7533 | 3.9333 | 205.2133 | 5.4333 | 233.23 | 5.7067 | 18.9067 | 20.368 | 880 | 100 | 18.4093
2019-09-08 16:45:00 | 3.62 | 205.2633 | 4.1633 | 225.55 | 5.9867 | 13.3933 | 6.1667 | 7.1867 | 20.3573 | 880 | 100 | 19.5073
2019-09-08 17:00:00 | 3.3533 | 173.89 | 3.8567 | 191.0833 | 5.66 | 5.7467 | 5.7933 | 11.22 | 20.376 | 880 | 100 | 19.0813
2019-09-08 17:15:00 | 3.18 | 216.9467 | 3.6633 | 238.4 | 6.0067 | 15.22 | 6.4833 | 24.16 | 20.4627 | 880 | 100 | 18.52
2019-09-08 17:30:00 | 3.34 | 147.42 | 3.8433 | 162 | 6.3667 | 11.3533 | 6.4967 | 18.6467 | 20.484 | 880 | 100 | 18.2173
2019-09-08 17:45:00 | 3.3867 | 101.9733 | 3.8933 | 112.0533 | 6.31 | 10.3667 | 6.4733 | 22.0333 | 20.4507 | 880 | 100 | 18.5033
2019-09-08 18:00:00 | 3.1333 | 111.1733 | 3.6 | 122.1733 | 5.6233 | 8.5867 | 5.66 | 23.3667 | 20.408 | 880 | 100 | 19.8867
2019-09-08 18:15:00 | 3.6167 | 196.1267 | 4.1633 | 215.5133 | 6.3867 | 15.2067 | 7.0067 | 20.5067 | 20.3893 | 880 | 100 | 21.064
2019-09-08 18:30:00 | 3.2767 | 194.8467 | 3.77 | 214.1133 | 5.76 | 17.7667 | 6.3933 | 25.8533 | 20.376 | 880 | 100 | 21.0607
2019-09-08 18:45:00 | 3.28 | 36.35 | 3.7767 | 39.94 | 5.6567 | 240.6567 | 5.63 | 11.3867 | 20.3767 | 880 | 100 | 19.4647
2019-09-08 19:00:00 | 3.1933 | 17.35 | 3.6767 | 19.0667 | 5.6433 | 14.9767 | 5.8967 | 19.86 | 20.37 | 880 | 100 | 16.5713
2019-09-08 19:15:00 | 3.3667 | 119.8833 | 3.8767 | 131.7333 | 5.6033 | 12.7367 | 5.5933 | 18.5033 | 20.3533 | 880 | 100 | 11.0867
2019-09-08 19:30:00 | 2.9533 | 15.9367 | 3.3967 | 17.5133 | 5.0433 | 229.65 | 5.0067 | 24.0433 | 20.316 | 880 | 100 | 8.66
2019-09-08 19:45:00 | 3.08 | 7.8033 | 3.5467 | 8.5733 | 5.1933 | 7.93 | 5.24 | 13.1233 | 20.302 | 880 | 100 | 9.2707
2019-09-08 20:00:00 | 3.2733 | 20.01 | 3.7667 | 21.9867 | 5.5267 | 14.33 | 5.4 | 8.9433 | 20.282 | 880 | 100 | 8.8853
2019-09-08 20:15:00 | 2.8733 | 25.0933 | 3.3067 | 27.5733 | 5.0907 | 12.16 | 5.16 | 7.36 | 20.262 | 880 | 100 | 7.6107
2019-09-08 20:30:00 | 2.84 | 224.4733 | 3.2667 | 246.6667 | 4.7133 | 11.2867 | 4.8533 | 15.8067 | 20.25 | 880 | 100 | 7.704
2019-09-08 20:45:00 | 2.72 | 131.1133 | 3.13 | 144.0733 | 5.29 | 243.4567 | 5.5933 | 20.2833 | 20.2427 | 880.0667 | 100 | 7.44
2019-09-08 21:00:00 | 2.694 | 181.026 | 3.102 | 198.928 | 5.248 | 15.406 | 5.43 | 20.578 | 20.236 | 881 | 100 | 10.5933
2019-09-08 21:15:00 | 3.2667 | 157.65 | 3.7567 | 173.2333 | 6.0467 | 10.6767 | 6.2667 | 8.8533 | 20.2207 | 881 | 100 | 10.92
2019-09-08 21:30:00 | 3.2 | 112.7033 | 3.69 | 123.84 | 5.8133 | 13.6567 | 6.3333 | 19.6133 | 20.186 | 881 | 100 | 9.8007
2019-09-08 21:45:00 | 3.42 | 1.2633 | 3.93 | 1.3767 | 5.4 | 237.54 | 5.7133 | 13.3967 | 20.1727 | 881 | 100 | 8.7453
2019-09-08 22:00:00 | 3.2867 | 11.5767 | 3.7767 | 12.7167 | 5.1467 | 3.3733 | 5.16 | 15.81 | 20.17 | 881 | 100 | 7.784
2019-09-08 22:15:00 | 3.1467 | 47.2233 | 3.6167 | 51.89 | 5.25 | 232.7867 | 5.0267 | 12.8933 | 20.1707 | 881 | 100 | 6.2813
2019-09-08 22:30:00 | 2.9493 | 176.038 | 3.3927 | 193.4393 | 5.1353 | 12.0267 | 5.0027 | 7.972 | 20.18 | 881 | 100 | 4.012
2019-09-08 22:45:00 | 2.28 | 287.6867 | 2.6267 | 316.1333 | 4.2 | 14.2367 | 4.2067 | 18.5 | 20.1873 | 881.0667 | 100 | 2.4713
2019-09-08 23:00:00 | 2.18 | 163.862 | 2.514 | 180.062 | 4.026 | 216.456 | 4.068 | 11.584 | 20.186 | 882 | 100 | 1.692
2019-09-08 23:15:00 | 2.36 | 25.47 | 2.7133 | 27.9833 | 4.0633 | 6.0367 | 3.9067 | 13.9633 | 20.166 | 882 | 100 | 1.1747
2019-09-08 23:30:00 | 2.3733 | 189.5367 | 2.7267 | 208.2833 | 4.2233 | 6.2633 | 4.0467 | 5.4567 | 20.166 | 881.6 | 100 | 1.928
2019-09-08 23:45:00 | 2.54 | 216.28 | 2.9267 | 237.67 | 4.26 | 236.9833 | 3.99 | 8.5667 | 20.168 | 881 | 100 | 2.4767