## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-09 00:00:00 | 2.7257 | 180.6407 | 3.1386 | 198.4964 | 4.0764 | 14.3229 | 4.1686 | 17.7943 | 20.1764 | 881 | 100 | 3.6207
2019-09-09 00:15:00 | 2.8933 | 245.4247 | 3.3373 | 269.6973 | 5.0393 | 9.9247 | 5.0913 | 18.4167 | 20.162 | 881 | 100 | 4.6813
2019-09-09 00:30:00 | 2.9633 | 172.18 | 3.4067 | 189.2133 | 4.99 | 7.9533 | 5.1733 | 22.6133 | 20.15 | 881 | 100 | 5.082
2019-09-09 00:45:00 | 2.8467 | 213.79 | 3.2733 | 234.9267 | 4.76 | 11.3367 | 5.14 | 16.1067 | 20.15 | 881 | 100 | 3.7493
2019-09-09 01:00:00 | 2.5867 | 109.2033 | 2.9733 | 119.9933 | 4.5467 | 10.8833 | 4.82 | 12.8933 | 20.15 | 881 | 100 | 2.9033
2019-09-09 01:15:00 | 2.76 | 4.3833 | 3.1767 | 4.81 | 4.7067 | 9.1067 | 4.6267 | 19.8467 | 20.142 | 881 | 100 | 2.8147
2019-09-09 01:30:00 | 3.0467 | 209.3833 | 3.5033 | 230.0833 | 4.5267 | 9.14 | 4.3 | 15.7467 | 20.126 | 881 | 100 | 3.2067
2019-09-09 01:45:00 | 3.22 | 27.8533 | 3.7 | 30.6033 | 4.6267 | 124.5733 | 4.18 | 2.9033 | 20.112 | 881 | 100 | 2.8793
2019-09-09 02:00:00 | 3.24 | 22.0467 | 3.7267 | 24.2167 | 4.56 | 123.1133 | 4.1933 | 12.9767 | 20.1 | 881 | 100 | 2.2213
2019-09-09 02:15:00 | 3.1733 | 234.8987 | 3.6553 | 258.1187 | 4.7073 | 6.3533 | 4.2847 | 13 | 20.1 | 881 | 100 | 2.858
2019-09-09 02:30:00 | 3.14 | 23.2233 | 3.6067 | 25.5167 | 5.1833 | 238.12 | 4.79 | 6.8067 | 20.096 | 880.6 | 100 | 3.142
2019-09-09 02:45:00 | 3.3067 | 108.97 | 3.8067 | 119.74 | 4.96 | 237.8067 | 4.58 | 5.0033 | 20.0893 | 880 | 100 | 2.658
2019-09-09 03:00:00 | 3.3533 | 129.37 | 3.8667 | 142.1667 | 4.96 | 3.7 | 4.6667 | 12.3967 | 20.068 | 880 | 100 | 4.0113
2019-09-09 03:15:00 | 3.5833 | 314.5867 | 4.1167 | 345.7 | 5.2967 | 9.3067 | 5.0233 | 17.4333 | 20.0267 | 880 | 100 | 5.5687
2019-09-09 03:30:00 | 3.6167 | 296.5733 | 4.1567 | 325.9 | 5.4433 | 11.5133 | 5.3633 | 240.5067 | 20 | 880 | 100 | 6.712
2019-09-09 03:45:00 | 3.9933 | 13.1767 | 4.6033 | 14.4833 | 5.3767 | 118.7 | 5.4167 | 14.0933 | 19.9927 | 880 | 100 | 5.658
2019-09-09 04:00:00 | 3.7067 | 24.4033 | 4.27 | 26.81 | 5.1567 | 120.3267 | 5.35 | 14.9667 | 19.986 | 880 | 100 | 5.574
2019-09-09 04:15:00 | 3.4867 | 115.21 | 4.0067 | 126.6067 | 4.8633 | 10.1733 | 5.0067 | 12.8967 | 19.9733 | 880 | 100 | 5.936
2019-09-09 04:30:00 | 3.42 | 99.8367 | 3.94 | 109.7067 | 5.1233 | 5.12 | 5.4 | 9.8367 | 19.98 | 880 | 100 | 6.178
2019-09-09 04:45:00 | 3.63 | 3.56 | 4.1733 | 3.9033 | 5.6067 | 11.5233 | 5.5467 | 17.4333 | 19.9807 | 880 | 100 | 7.4753
2019-09-09 05:00:00 | 3.5767 | 205.1333 | 4.1133 | 225.41 | 5.92 | 12.5433 | 5.8333 | 15.4267 | 19.986 | 880 | 100 | 8.3907
2019-09-09 05:15:00 | 3.6333 | 215.4733 | 4.18 | 236.78 | 5.7133 | 11.39 | 5.7267 | 6.56 | 19.98 | 880 | 100 | 9.3147
2019-09-09 05:30:00 | 3.6467 | 107.5533 | 4.2 | 118.18 | 6.2667 | 5.9767 | 6.2933 | 4.3733 | 19.988 | 880 | 100 | 10.406
2019-09-09 05:45:00 | 3.5 | 242.97 | 4.03 | 267 | 5.95 | 3.12 | 6.13 | 5.8133 | 20.0153 | 880 | 100 | 12.164
2019-09-09 06:00:00 | 3.4333 | 242.4833 | 3.95 | 266.4667 | 5.97 | 6.5333 | 6.47 | 13.22 | 20.022 | 880 | 100 | 13.59
2019-09-09 06:15:00 | 3.28 | 126.9 | 3.7733 | 139.4467 | 5.66 | 7.11 | 6.3333 | 25.58 | 19.9947 | 880 | 100 | 14.002
2019-09-09 06:30:00 | 3.2067 | 106.7867 | 3.6867 | 117.3467 | 5.5533 | 15.41 | 6.12 | 9.98 | 19.98 | 880 | 100 | 12.4193
2019-09-09 06:45:00 | 3.6267 | 12.7433 | 4.17 | 13.9967 | 5.5067 | 112.9533 | 5.6667 | 12.7 | 19.9793 | 880 | 100 | 12.5533
2019-09-09 07:00:00 | 3.8533 | 28.53 | 4.43 | 31.35 | 5.4133 | 348.1333 | 5.5467 | 238.74 | 19.974 | 880 | 100 | 11.736
2019-09-09 07:15:00 | 4.0767 | 82.2267 | 4.69 | 90.3533 | 6.0633 | 8.48 | 5.9367 | 12.2967 | 20.0007 | 880 | 100 | 11.7747
2019-09-09 07:30:00 | 3.5367 | 43.1 | 4.07 | 47.36 | 6.0367 | 244.8267 | 6.05 | 2.19 | 20.0633 | 880 | 100 | 11.5953
2019-09-09 07:45:00 | 3.46 | 32.9633 | 3.9867 | 36.2167 | 6.1333 | 132.24 | 6.03 | 6.7933 | 20.1027 | 880.0667 | 100 | 12.5807
2019-09-09 08:00:00 | 3.4733 | 46.33 | 3.9933 | 50.91 | 5.74 | 122.84 | 5.95 | 18.62 | 20.116 | 881 | 100 | 10.3507
2019-09-09 08:15:00 | 3.09 | 107.5033 | 3.5567 | 118.1333 | 5.1867 | 9.6033 | 5.55 | 15.0333 | 20.1047 | 881 | 100 | 7.6807
2019-09-09 08:30:00 | 3.0033 | 141.9033 | 3.4633 | 155.9267 | 4.6667 | 232.59 | 4.3567 | 13.1533 | 20.134 | 881 | 100 | 4.2667
2019-09-09 08:45:00 | 1.5267 | 92.15 | 1.7567 | 101.26 | 2.86 | 17.8733 | 3.0233 | 23.3933 | 20.16 | 881 | 100 | 3.254
2019-09-09 09:00:00 | 1.4667 | 216.4633 | 1.6833 | 237.8667 | 2.9133 | 24.4133 | 3.15 | 26.6667 | 20.212 | 881 | 100 | 1.4793
2019-09-09 09:15:00 | 1.3133 | 0.08 | 1.51 | 0.083333 | 2.14 | 18.0167 | 2.1067 | 20.0567 | 20.2347 | 881 | 100 | 0.71867
2019-09-09 09:30:00 | 1.14 | 0.08 | 1.3167 | 0.083333 | 1.8667 | 13.0233 | 1.9867 | 17.21 | 20.212 | 881 | 100 | 0
2019-09-09 09:45:00 | 1.2233 | 117.03 | 1.41 | 128.6 | 2.0933 | 3.7233 | 2.2567 | 6.6433 | 20.2253 | 881.7333 | 100 | 0
2019-09-09 10:00:00 | 1.5433 | 319.1433 | 1.7833 | 350.7 | 2.8933 | 7.2233 | 3.07 | 14.3233 | 20.2933 | 882 | 100 | 0.61333
2019-09-09 10:15:00 | 1.8233 | 199.21 | 2.0967 | 218.9067 | 3.37 | 14 | 3.4567 | 15.0667 | 20.4333 | 882 | 100 | 0.98733
2019-09-09 10:30:00 | 1.9167 | 191.87 | 2.2167 | 210.84 | 3.61 | 14.48 | 3.4967 | 21.6467 | 20.5267 | 882 | 100 | 1.8193
2019-09-09 10:45:00 | 2.35 | 246.2267 | 2.7067 | 270.5667 | 4.3833 | 9.94 | 4.4033 | 11.1167 | 20.61 | 882 | 100 | 3.5207
2019-09-09 11:00:00 | 2.4833 | 310.28 | 2.8667 | 340.9667 | 4.5367 | 7.1533 | 4.7233 | 4.33 | 20.614 | 882 | 100 | 5.08
2019-09-09 11:15:00 | 3.1333 | 32.1033 | 3.6 | 35.2667 | 5.21 | 9.1733 | 5.02 | 20.5933 | 20.5967 | 881.9333 | 100 | 6.0967
2019-09-09 11:30:00 | 3.1333 | 102.3767 | 3.6 | 112.4867 | 5.75 | 8.9733 | 5.7333 | 20.92 | 20.6167 | 881 | 100 | 7.2647
2019-09-09 11:45:00 | 3.1307 | 254.216 | 3.6053 | 279.3533 | 5.8647 | 9.0733 | 5.6653 | 16.378 | 20.7153 | 881 | 100 | 8.836
2019-09-09 12:00:00 | 3.2467 | 101.01 | 3.7367 | 111 | 5.8533 | 5.46 | 5.8133 | 20.96 | 20.788 | 881 | 100 | 9.94
2019-09-09 12:15:00 | 3.44 | 118.38 | 3.9633 | 130.08 | 6.14 | 24.72 | 6.1233 | 10.3033 | 20.762 | 881 | 100 | 8.578
2019-09-09 12:30:00 | 3.2133 | 255.72 | 3.7033 | 281 | 5.84 | 8.6667 | 5.95 | 18.8767 | 20.8033 | 881 | 100 | 6.9087
2019-09-09 12:45:00 | 2.9333 | 106.5167 | 3.3733 | 117.04 | 5.15 | 18.84 | 5.2933 | 16.5967 | 20.782 | 881 | 100 | 6.5773
2019-09-09 13:00:00 | 2.86 | 220.3767 | 3.3 | 242.1667 | 5.51 | 18.78 | 5.4067 | 20.2433 | 20.8767 | 881 | 100 | 7.6593
2019-09-09 13:15:00 | 3.07 | 244.01 | 3.5267 | 268.1333 | 5.7333 | 12.0067 | 5.6267 | 3.2733 | 21.0373 | 881 | 100 | 8.436
2019-09-09 13:30:00 | 2.9633 | 145.9167 | 3.4067 | 160.34 | 5.54 | 20.1667 | 5.4333 | 239.1067 | 21.04 | 881 | 100 | 7.9367
2019-09-09 13:45:00 | 2.848 | 297.1587 | 3.2753 | 326.5407 | 5.086 | 126.9393 | 5.1173 | 39 | 21.0847 | 881 | 100 | 6.2967
2019-09-09 14:00:00 | 2.6033 | 311.0167 | 2.9967 | 341.7667 | 4.6067 | 126.1933 | 4.55 | 14.8733 | 21.1767 | 881 | 100 | 5.7413
2019-09-09 14:15:00 | 2.68 | 209.18 | 3.0833 | 229.86 | 5.1333 | 16.78 | 5.2367 | 22.71 | 21.2993 | 880.2667 | 100 | 6.15
2019-09-09 14:30:00 | 2.5733 | 78.6267 | 2.9567 | 86.3933 | 5.0533 | 9.7533 | 5.2567 | 12.8967 | 21.2367 | 880 | 100 | 6.4887
2019-09-09 14:45:00 | 2.6633 | 58.3533 | 3.0667 | 64.12 | 5.0533 | 9.0567 | 5.1333 | 17.2533 | 21.2333 | 880 | 100 | 7.234
2019-09-09 15:00:00 | 2.8033 | 252.44 | 3.2267 | 277.4 | 5.4067 | 14.1567 | 5.5133 | 16.9933 | 21.1733 | 880 | 100 | 6.5567
2019-09-09 15:15:00 | 2.4933 | 304.5867 | 2.87 | 334.7 | 4.7433 | 6.43 | 5.0567 | 21.4533 | 21.118 | 880 | 100 | 5.9973
2019-09-09 15:30:00 | 2.4667 | 124.1867 | 2.8367 | 136.46 | 4.8567 | 13.19 | 5.1167 | 18.5867 | 21.2433 | 880 | 100 | 8.1647
2019-09-09 15:45:00 | 2.7667 | 28.02 | 3.1833 | 30.7767 | 5.39 | 9.1333 | 5.7133 | 18.5333 | 21.3693 | 880 | 100 | 9.8993
2019-09-09 16:00:00 | 2.94 | 36.88 | 3.3967 | 40.5167 | 5.6367 | 10.9667 | 5.88 | 19.2133 | 21.3133 | 880 | 100 | 12.332
2019-09-09 16:15:00 | 2.9333 | 277.2267 | 3.3733 | 304.6333 | 5.5967 | 12.78 | 5.3467 | 16.6967 | 21.178 | 880 | 100 | 14.5607
2019-09-09 16:30:00 | 2.9333 | 306.0467 | 3.3733 | 336.3 | 5.61 | 9.2467 | 5.4867 | 16.0167 | 21.09 | 880 | 100 | 13.656
2019-09-09 16:45:00 | 2.9333 | 250.9533 | 3.3733 | 275.7667 | 5.58 | 16.3767 | 5.8933 | 23.3267 | 21.0647 | 880 | 100 | 10.188
2019-09-09 17:00:00 | 2.86 | 184.7 | 3.2933 | 202.9667 | 5.44 | 16.7367 | 5.4 | 17.9 | 21.0367 | 880 | 100 | 8.6427
2019-09-09 17:15:00 | 2.6133 | 272.9533 | 3.0167 | 299.9333 | 4.4667 | 233.4667 | 4.5067 | 17.82 | 20.85 | 880 | 100 | 7.7633
2019-09-09 17:30:00 | 2.356 | 275.024 | 2.708 | 302.22 | 4.296 | 215.06 | 4.14 | 6.59 | 20.898 | 880 | 100 | 9.8313
2019-09-09 17:45:00 | 2.65 | 269.72 | 3.0467 | 296.4 | 4.8733 | 12.6367 | 4.71 | 23.68 | 20.934 | 880 | 100 | 15.014
2019-09-09 18:00:00 | 2.9567 | 160.9467 | 3.4 | 176.8667 | 5.7667 | 13.2833 | 5.85 | 25.3933 | 20.954 | 880 | 100 | 16.7787
2019-09-09 18:15:00 | 3.2567 | 103.3367 | 3.75 | 113.5467 | 6.1367 | 99.1333 | 6.83 | 23.2467 | 20.8567 | 880 | 100 | 20.384
2019-09-09 18:30:00 | 3.6167 | 176.6967 | 4.1567 | 194.1667 | 6.77 | 100.46 | 7.1367 | 21.6267 | 20.7633 | 880 | 100 | 19.9333
2019-09-09 18:45:00 | 3.432 | 263.686 | 3.956 | 289.76 | 6.206 | 5.854 | 6.51 | 31.91 | 20.6687 | 880.7333 | 100 | 23.1693
2019-09-09 19:00:00 | 3.36 | 138.5633 | 3.8733 | 152.2667 | 6.45 | 14.6167 | 6.9033 | 22.33 | 20.646 | 881 | 100 | 20.614
2019-09-09 19:15:00 | 3.2667 | 149.3033 | 3.7633 | 164.0667 | 6.1567 | 15.1933 | 7.1967 | 20.9933 | 20.6413 | 881 | 100 | 20
2019-09-09 19:30:00 | 3.68 | 164.1633 | 4.23 | 180.4 | 6.7967 | 16.8467 | 7.69 | 22.8733 | 20.676 | 881 | 100 | 23.6187
2019-09-09 19:45:00 | 3.73 | 137.96 | 4.29 | 151.6 | 6.8533 | 14.7733 | 7.83 | 23.3133 | 20.7867 | 881 | 100 | 27.922
2019-09-09 20:00:00 | 3.7833 | 58.3333 | 4.3567 | 64.1 | 7.3733 | 11.6667 | 8.11 | 24.6267 | 20.824 | 881 | 100 | 32.9767
2019-09-09 20:15:00 | 5.0933 | 121.59 | 5.8633 | 133.6067 | 9.7267 | 18.7133 | 10.38 | 27.8767 | 20.8153 | 881.0667 | 100 | 51.854
2019-09-09 20:30:00 | 6.8133 | 10.93 | 7.8433 | 12.0067 | 12.64 | 17.9667 | 12.6733 | 24.39 | 20.4167 | 882 | 100 | 60.5807
2019-09-09 20:45:00 | 7.7693 | 167.592 | 8.936 | 184.17 | 13.6787 | 18.6787 | 13.2667 | 26.142 | 19.542 | 882 | 100 | 60.926
2019-09-09 21:00:00 | 7.3133 | 129.8433 | 8.42 | 142.6833 | 13.1267 | 10.1233 | 12.7967 | 17.5467 | 19.0767 | 882 | 100 | 60.8613
2019-09-09 21:15:00 | 6.9867 | 130.5267 | 8.0433 | 143.4333 | 13.12 | 11.8633 | 13.3667 | 14.8233 | 18.96 | 882 | 100 | 61.0633
2019-09-09 21:30:00 | 7.28 | 90.6733 | 8.3767 | 99.6333 | 13.52 | 13.43 | 13.6733 | 23.4767 | 18.7933 | 882 | 100 | 60.8533
2019-09-09 21:45:00 | 7.5333 | 183.0333 | 8.6767 | 201.1333 | 13.92 | 15.1433 | 13.9033 | 22.7 | 18.58 | 882.0667 | 100 | 60.312
2019-09-09 22:00:00 | 7.22 | 108.3533 | 8.3033 | 119.0667 | 13.5067 | 13.2767 | 13.6033 | 23.7533 | 18.46 | 883 | 100 | 59.1693
2019-09-09 22:15:00 | 6.8333 | 136.57 | 7.8667 | 150.0733 | 12.9767 | 12.05 | 13.2967 | 21.95 | 18.34 | 883 | 100 | 60.0013
2019-09-09 22:30:00 | 7.1533 | 186.8033 | 8.2267 | 205.2733 | 13.5567 | 10.8833 | 13.65 | 20.7833 | 18.2333 | 883 | 100 | 60.104
2019-09-09 22:45:00 | 7.42 | 176.6033 | 8.54 | 194.0667 | 13.8967 | 14.78 | 13.9133 | 24.3667 | 18.1367 | 883 | 100 | 60.594
2019-09-09 23:00:00 | 7.6467 | 113.4833 | 8.7933 | 124.7067 | 14.2033 | 18.1 | 14.1667 | 21.0933 | 18.03 | 883 | 100 | 61.34
2019-09-09 23:15:00 | 7.51 | 180.8167 | 8.6367 | 198.7 | 14.24 | 15.9833 | 14.1633 | 21.5733 | 17.9333 | 883 | 100 | 61.134
2019-09-09 23:30:00 | 7.486 | 140.1167 | 8.61 | 153.9667 | 14.1867 | 17.3767 | 14.3833 | 26.34 | 17.8667 | 883 | 100 | 61.1327
2019-09-09 23:45:00 | 7.74 | 115.0667 | 8.9067 | 126.4467 | 14.4367 | 17.4467 | 14.5707 | 27.82 | 17.7733 | 882.3333 | 100 | 60.8387