## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-10 00:00:00 | 7.5871 | 220.2579 | 8.7329 | 242.0286 | 14.0507 | 14.1564 | 14.3529 | 26.265 | 17.7014 | 882.9 | 100 | 61.3936
2019-09-10 00:15:00 | 8.2 | 164.7133 | 9.4267 | 181 | 15.1533 | 13.65 | 15.3733 | 26.5233 | 17.59 | 882 | 100 | 61.592
2019-09-10 00:30:00 | 8.2533 | 179.1533 | 9.4933 | 196.8667 | 15.3133 | 14.15 | 15.8067 | 22.4233 | 17.5233 | 882 | 100 | 61.716
2019-09-10 00:45:00 | 8.28 | 138.51 | 9.5267 | 152.2067 | 15.36 | 23.92 | 15.7433 | 22.4733 | 17.4873 | 882 | 100 | 61.5227
2019-09-10 01:00:00 | 8.2933 | 147.73 | 9.54 | 162.34 | 15.132 | 19.7933 | 15.3967 | 19.02 | 17.466 | 882 | 100 | 61.5207
2019-09-10 01:15:00 | 8.34 | 96.8667 | 9.6 | 106.44 | 15.4667 | 14.24 | 15.67 | 24.9367 | 17.454 | 882 | 100 | 61.3173
2019-09-10 01:30:00 | 8.1133 | 256.1667 | 9.3333 | 281.5 | 14.9867 | 9.8 | 15.4033 | 23.69 | 17.47 | 882 | 100 | 61.1427
2019-09-10 01:45:00 | 8.1267 | 179.9967 | 9.36 | 197.8 | 15.15 | 16.94 | 15.2687 | 18.5033 | 17.4793 | 882 | 100 | 61.7387
2019-09-10 02:00:00 | 8.3467 | 170.41 | 9.6133 | 187.2667 | 15.15 | 17.0867 | 15.33 | 19.1367 | 17.506 | 882 | 100 | 60.6127
2019-09-10 02:15:00 | 8.3467 | 235.4467 | 9.6 | 258.7333 | 15.3567 | 13.87 | 15.25 | 18.6933 | 17.4853 | 882 | 100 | 61.0107
2019-09-10 02:30:00 | 8.4333 | 227.8667 | 9.7067 | 250.4 | 15.51 | 12.43 | 15.37 | 18.9867 | 17.472 | 882 | 100 | 61.4147
2019-09-10 02:45:00 | 8.4067 | 172.35 | 9.6767 | 189.4 | 15.1767 | 7.5833 | 15.1367 | 17.9367 | 17.452 | 882 | 100 | 61.9453
2019-09-10 03:00:00 | 8.4067 | 258.4967 | 9.6767 | 284.0667 | 15.4167 | 9.5567 | 15.2167 | 23.3967 | 17.432 | 882 | 100 | 61.4713
2019-09-10 03:15:00 | 8.2067 | 157.5633 | 9.45 | 173.1467 | 15.1813 | 10.28 | 15.0293 | 20.2167 | 17.4193 | 882 | 100 | 60.7413
2019-09-10 03:30:00 | 7.9067 | 184.01 | 9.0967 | 202.2133 | 15.0333 | 10.9267 | 14.9267 | 22.2433 | 17.406 | 882 | 100 | 61.0713
2019-09-10 03:45:00 | 8.2033 | 149.7633 | 9.4367 | 164.5667 | 15.2 | 8.4967 | 15.2733 | 19.7467 | 17.376 | 882 | 100 | 61.4433
2019-09-10 04:00:00 | 8.29 | 163.29 | 9.5433 | 179.4333 | 15.08 | 6.1167 | 15.1333 | 22.5333 | 17.332 | 882 | 100 | 61.332
2019-09-10 04:15:00 | 8.2533 | 56.4533 | 9.49 | 62.0333 | 15.09 | 15 | 15.6667 | 20.4633 | 17.3193 | 882 | 100 | 61.824
2019-09-10 04:30:00 | 8.44 | 231.2933 | 9.7033 | 254.1667 | 15.73 | 10.4 | 15.76 | 18.9567 | 17.3367 | 882 | 100 | 61.458
2019-09-10 04:45:00 | 8.4667 | 178.88 | 9.7367 | 196.5667 | 15.5833 | 9.6467 | 15.6867 | 24.3367 | 17.3633 | 882 | 100 | 61.426
2019-09-10 05:00:00 | 8.2867 | 173.78 | 9.53 | 190.9667 | 15.1633 | 12.58 | 15.58 | 26.0367 | 17.402 | 882 | 100 | 61.3787
2019-09-10 05:15:00 | 8.2267 | 176.9967 | 9.4633 | 194.5 | 15.3 | 15.8833 | 15.31 | 24.09 | 17.4033 | 882 | 100 | 61.816
2019-09-10 05:30:00 | 8.3067 | 160.9767 | 9.55 | 176.9 | 15.2133 | 18.67 | 15.3833 | 22.15 | 17.33 | 882 | 100 | 61.51
2019-09-10 05:45:00 | 8.48 | 220.22 | 9.75 | 242 | 15.3467 | 9.1233 | 15.56 | 21.3267 | 17.304 | 882 | 100 | 62.2313
2019-09-10 06:00:00 | 8.16 | 199.2933 | 9.3833 | 219 | 14.8333 | 14.1233 | 15.1133 | 20.26 | 17.272 | 882 | 100 | 62.826
2019-09-10 06:15:00 | 8.088 | 65.03 | 9.314 | 71.456 | 14.486 | 3.7 | 14.396 | 21.972 | 17.2447 | 882 | 100 | 63.1573
2019-09-10 06:30:00 | 8.24 | 181.6433 | 9.486 | 199.6 | 14.6233 | 13.7067 | 14.54 | 16.3933 | 17.2567 | 882 | 100 | 62.258
2019-09-10 06:45:00 | 7.7 | 268.1 | 8.8667 | 294.6 | 14.2567 | 13.3267 | 14.6167 | 25.2967 | 17.318 | 882.7333 | 100 | 62.034
2019-09-10 07:00:00 | 7.36 | 206.64 | 8.4667 | 227.0667 | 13.6367 | 12.3067 | 13.7167 | 20.3433 | 17.282 | 883 | 100 | 61.0107
2019-09-10 07:15:00 | 7.12 | 62.26 | 8.19 | 68.42 | 13.2467 | 8.2733 | 13.2133 | 22.9067 | 17.2307 | 883 | 100 | 60.1753
2019-09-10 07:30:00 | 7.4933 | 133.4133 | 8.6233 | 146.6 | 13.5467 | 7.3 | 13.3133 | 23.8467 | 17.236 | 883 | 100 | 59.6907
2019-09-10 07:45:00 | 7.7033 | 71.0933 | 8.8633 | 78.1233 | 13.7367 | 12.6967 | 13.6867 | 17.3367 | 17.214 | 883 | 100 | 58.942
2019-09-10 08:00:00 | 7.0633 | 2.5133 | 8.13 | 2.7567 | 13.03 | 9.71 | 12.92 | 22.6367 | 17.198 | 883 | 100 | 59.06
2019-09-10 08:15:00 | 7.1767 | 129.34 | 8.2533 | 142.1333 | 12.65 | 14.13 | 12.5467 | 18.7633 | 17.2113 | 883.7333 | 100 | 60.684
2019-09-10 08:30:00 | 7.2967 | 142.94 | 8.3933 | 157.0667 | 13.0633 | 10.37 | 12.68 | 9.2367 | 17.226 | 884 | 100 | 60.1213
2019-09-10 08:45:00 | 7.08 | 207.8633 | 8.1467 | 228.4133 | 12.72 | 12.29 | 12.2133 | 16.0467 | 17.212 | 884 | 100 | 60.4793
2019-09-10 09:00:00 | 6.8333 | 125.5967 | 7.86 | 138.0133 | 12.4533 | 12.4033 | 12.2467 | 20.3867 | 17.2 | 884 | 100 | 59.078
2019-09-10 09:15:00 | 6.77 | 176.1767 | 7.7967 | 193.5933 | 12.33 | 12.7733 | 12.3553 | 15.4 | 17.24 | 884 | 100 | 57.7513
2019-09-10 09:30:00 | 6.7567 | 37.9567 | 7.77 | 41.7 | 12.0367 | 16.1133 | 11.9367 | 13.3733 | 17.2733 | 884 | 100 | 58.9407
2019-09-10 09:45:00 | 7.0333 | 59.1667 | 8.0967 | 65.0067 | 12.4367 | 9.0867 | 12.53 | 15.1433 | 17.314 | 884 | 100 | 59.4847
2019-09-10 10:00:00 | 6.9333 | 230.12 | 7.9767 | 252.8667 | 12.3567 | 14.24 | 12.4033 | 13.13 | 17.354 | 884.4 | 100 | 58.734
2019-09-10 10:15:00 | 7.07 | 85.66 | 8.1333 | 94.1333 | 12.5467 | 10.95 | 12.28 | 16.0633 | 17.3587 | 885 | 100 | 58.4493
2019-09-10 10:30:00 | 6.7233 | 151.76 | 7.7333 | 166.7667 | 11.9067 | 13.2367 | 11.88 | 23.1233 | 17.3667 | 885 | 100 | 57.332
2019-09-10 10:45:00 | 6.5667 | 121.6233 | 7.56 | 133.64 | 11.7533 | 9.13 | 11.7133 | 20.9767 | 17.3953 | 885 | 100 | 56.2313
2019-09-10 11:00:00 | 6.24 | 293.0833 | 7.1733 | 322.0667 | 11.0733 | 8.4167 | 10.98 | 21.2033 | 17.422 | 885 | 100 | 53.9093
2019-09-10 11:15:00 | 6.1267 | 57.6267 | 7.0467 | 63.3267 | 11.1133 | 12.7 | 11.0267 | 24.1567 | 17.4853 | 885 | 100 | 53.7187
2019-09-10 11:30:00 | 6.26 | 164.1933 | 7.2067 | 180.4333 | 11.1 | 14.84 | 11 | 14.7767 | 17.5933 | 885 | 100 | 53.904
2019-09-10 11:45:00 | 6.23 | 124.28 | 7.1667 | 136.5667 | 11.2293 | 9.17 | 11.2933 | 10.1867 | 17.7133 | 885 | 100 | 53.5953
2019-09-10 12:00:00 | 6.2967 | 85.0733 | 7.24 | 93.4867 | 11.5667 | 7.79 | 11.492 | 16.6867 | 17.88 | 885 | 100 | 52.0073
2019-09-10 12:15:00 | 6.4767 | 106.57 | 7.4567 | 117.0967 | 11.56 | 15.9433 | 11.35 | 17.74 | 18.0467 | 885 | 100 | 50.6353
2019-09-10 12:30:00 | 5.9767 | 154.9833 | 6.8767 | 170.2967 | 10.7667 | 11.0033 | 10.79 | 16.7733 | 17.9333 | 885 | 100 | 50.7153
2019-09-10 12:45:00 | 6.07 | 78.46 | 6.98 | 86.22 | 10.9267 | 14.9567 | 10.8967 | 17.5 | 18.1233 | 885 | 100 | 49.8613
2019-09-10 13:00:00 | 5.7233 | 170.84 | 6.58 | 187.7333 | 10.344 | 18.8433 | 10.5633 | 26.3933 | 18.2967 | 885 | 100 | 49.6713
2019-09-10 13:15:00 | 5.84 | 76.99 | 6.7167 | 84.5967 | 10.6267 | 13.6467 | 10.6867 | 20.1 | 18.3367 | 884.9333 | 100 | 48.156
2019-09-10 13:30:00 | 5.4867 | 56.79 | 6.31 | 62.4033 | 10.2067 | 12.66 | 10.34 | 20.7933 | 18.17 | 884 | 100 | 44.0713
2019-09-10 13:45:00 | 5.5633 | 120.9167 | 6.4133 | 132.8733 | 10.1733 | 13.7567 | 10.4953 | 19.62 | 18.0853 | 884 | 100 | 46.4407
2019-09-10 14:00:00 | 6.03 | 283.4767 | 6.94 | 311.5 | 10.48 | 8.7167 | 10.7233 | 29.92 | 18.032 | 884 | 100 | 47.414
2019-09-10 14:15:00 | 5.864 | 204.76 | 6.7533 | 225.0067 | 10.32 | 12.2967 | 10.2567 | 9.3133 | 18.128 | 884 | 100 | 46.8447
2019-09-10 14:30:00 | 5.3533 | 216.2867 | 6.16 | 237.6733 | 8.9267 | 17.0567 | 9.13 | 10.9667 | 18.1333 | 884 | 100 | 44.4647
2019-09-10 14:45:00 | 4.8467 | 322.3333 | 5.5833 | 354.2 | 7.9667 | 118.9267 | 8.07 | 130.22 | 18.1507 | 884 | 100 | 40.9633
2019-09-10 15:00:00 | 4.2578 | 192.1911 | 4.9056 | 211.1956 | 7.2022 | 185.8444 | 7.4967 | 208.4644 | 18.16 | 884 | 100 | 39.5113
2019-09-10 15:15:00 | 4.2578 | 192.1911 | 4.9056 | 211.1956 | 7.2022 | 185.8444 | 7.4967 | 208.4644 | 18.16 | 884 | 100 | 39.5113
2019-09-10 15:30:00 | 4.0333 | 160.62 | 4.65 | 176.5 | 6.9933 | 25.0867 | 7.1867 | 8.1933 | 17.0227 | 824.1333 | 93.3333 | 38.6547
2019-09-10 15:45:00 | 4.0333 | 160.62 | 4.65 | 176.5 | 6.9933 | 25.0867 | 7.1867 | 8.1933 | 17.0227 | 824.1333 | 93.3333 | 38.6547
2019-09-10 16:00:00 | 4.3333 | 105.8467 | 4.99 | 116.3067 | 6.9133 | 20.6133 | 7.0267 | 6.4933 | 18.2567 | 883 | 100 | 37.596
2019-09-10 16:15:00 | 4.0267 | 203.7833 | 4.6433 | 223.9333 | 7.2067 | 13.4467 | 7.0533 | 12.4433 | 18.2987 | 883 | 100 | 38.002
2019-09-10 16:30:00 | 4.1533 | 202.6233 | 4.79 | 222.6667 | 7.46 | 8.42 | 7.68 | 16.3967 | 18.276 | 883 | 100 | 39.014
2019-09-10 16:45:00 | 4.36 | 32.94 | 5.0167 | 36.1933 | 7.3633 | 150.9333 | 7.41 | 29.9867 | 18.262 | 883 | 100 | 40.2347
2019-09-10 17:00:00 | 4.3467 | 38.3667 | 5.0033 | 42.16 | 6.85 | 235.6333 | 7.11 | 245.62 | 18.262 | 883 | 100 | 41.3007
2019-09-10 17:15:00 | 4.2633 | 232.02 | 4.9033 | 254.9633 | 7.16 | 238.9533 | 7.32 | 15.68 | 18.2947 | 883 | 100 | 40.888
2019-09-10 17:30:00 | 4.4767 | 24.9133 | 5.15 | 27.37 | 7.16 | 18.1733 | 7.36 | 12.6333 | 18.292 | 883 | 100 | 34.198
2019-09-10 17:45:00 | 3.9467 | 43.6 | 4.5467 | 47.9 | 7.1033 | 17.7067 | 7.3 | 19.28 | 18.2873 | 883 | 100 | 36.1587
2019-09-10 18:00:00 | 4.4267 | 18.6533 | 5.0933 | 20.4867 | 7.23 | 233.3933 | 7.36 | 234.3267 | 18.282 | 883 | 100 | 41.5627
2019-09-10 18:15:00 | 4.6167 | 92.8467 | 5.3167 | 102.02 | 7.65 | 119.6467 | 7.9067 | 10.6367 | 18.2627 | 883 | 100 | 37.8687
2019-09-10 18:30:00 | 4.7033 | 113.7533 | 5.41 | 124.9933 | 8.31 | 126.3 | 8.76 | 12.0767 | 18.256 | 883 | 100 | 36.5853
2019-09-10 18:45:00 | 4.4533 | 14.14 | 5.12 | 15.5367 | 7.1367 | 11.7533 | 7.45 | 98.58 | 18.2353 | 883 | 100 | 33.012
2019-09-10 19:00:00 | 4.0667 | 7.4333 | 4.6867 | 8.1633 | 6.55 | 238.3133 | 6.666 | 104.48 | 18.234 | 883 | 100 | 29.9593
2019-09-10 19:15:00 | 3.74 | 16.7067 | 4.31 | 18.3533 | 6.51 | 115.92 | 6.8867 | 5.0733 | 18.226 | 883.7333 | 100 | 27.1787
2019-09-10 19:30:00 | 3.58 | 215.7267 | 4.1167 | 237.06 | 6.4767 | 113.1933 | 6.68 | 11.1467 | 18.23 | 884 | 100 | 30.2267
2019-09-10 19:45:00 | 3.6133 | 2.8967 | 4.1633 | 3.1733 | 6.3733 | 242.3067 | 6.8433 | 20.89 | 18.23 | 884 | 100 | 29.5907
2019-09-10 20:00:00 | 3.5667 | 57.8967 | 4.1033 | 63.6133 | 6.3667 | 7.1933 | 6.89 | 13.7967 | 18.238 | 884 | 100 | 28.2973
2019-09-10 20:15:00 | 3.7133 | 206.7867 | 4.2733 | 227.24 | 5.96 | 122.5267 | 6.26 | 2.5767 | 18.258 | 884 | 100 | 28.808
2019-09-10 20:30:00 | 3.5533 | 16.6667 | 4.1 | 18.3067 | 6.26 | 117.4733 | 6.62 | 7.21 | 18.266 | 884.4 | 100 | 30.3787
2019-09-10 20:45:00 | 3.64 | 267.3367 | 4.19 | 293.7667 | 6.55 | 15.8433 | 6.8733 | 14.6633 | 18.2753 | 885 | 100 | 29.1747
2019-09-10 21:00:00 | 3.6 | 121.7033 | 4.1433 | 133.74 | 6.4967 | 5.25 | 6.9533 | 19.5567 | 18.294 | 885 | 100 | 31.6593
2019-09-10 21:15:00 | 4.6667 | 189.4433 | 5.3733 | 208.17 | 7.02 | 240.4433 | 7.3667 | 20.3967 | 18.292 | 885 | 100 | 34.118
2019-09-10 21:30:00 | 4.8533 | 7.71 | 5.5933 | 8.4633 | 7.3867 | 14.1033 | 7.48 | 17.6233 | 18.276 | 885 | 100 | 33.4813
2019-09-10 21:45:00 | 4.5133 | 131.9333 | 5.1933 | 144.9733 | 7.3367 | 3.1867 | 7.8433 | 14.4533 | 18.2773 | 885 | 100 | 32.966
2019-09-10 22:00:00 | 4.1533 | 113 | 4.78 | 124.1733 | 6.79 | 147.6267 | 7.23 | 10.9867 | 18.28 | 885 | 100 | 33.542
2019-09-10 22:15:00 | 4.548 | 302.326 | 5.228 | 332.22 | 7.12 | 18.94 | 7.588 | 9.594 | 18.28 | 885 | 100 | 35.5827
2019-09-10 22:30:00 | 4.7933 | 96.6567 | 5.52 | 106.2133 | 6.8133 | 9.2267 | 7.3667 | 6.0367 | 18.28 | 885 | 100 | 31.6433
2019-09-10 22:45:00 | 4.8 | 117.8333 | 5.5233 | 129.4867 | 6.9067 | 120.4 | 7.1807 | 14.34 | 18.2873 | 885 | 100 | 25.0793
2019-09-10 23:00:00 | 4.58 | 261.32 | 5.27 | 287.1667 | 7.4533 | 351.4667 | 7.4833 | 7.7933 | 18.29 | 885 | 100 | 26.162
2019-09-10 23:15:00 | 4.7067 | 26.4267 | 5.4133 | 29.0367 | 7.8867 | 117.7667 | 7.9567 | 13.14 | 18.2973 | 885 | 100 | 27.6253
2019-09-10 23:30:00 | 4.7067 | 117.7 | 5.4133 | 129.33 | 7.0067 | 126.82 | 7.59 | 16.72 | 18.3 | 885 | 100 | 28.9793
2019-09-10 23:45:00 | 4.1567 | 89.1767 | 4.7833 | 97.9867 | 6.8067 | 13.4333 | 7.5633 | 17.9967 | 18.294 | 885 | 100 | 27.2947