## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-11 00:00:00 | 4.3707 | 48.8114 | 5.0293 | 53.6343 | 6.4079 | 2.9143 | 7.1671 | 18.9107 | 18.3029 | 885 | 100 | 25.2664
2019-09-11 00:15:00 | 4.1933 | 285.4367 | 4.8267 | 313.6667 | 6.7967 | 356.2467 | 6.8133 | 7.41 | 18.2973 | 885 | 100 | 14.488
2019-09-11 00:30:00 | 4.0067 | 105.73 | 4.6133 | 116.1867 | 6.53 | 356.9 | 6.5467 | 2.0633 | 18.304 | 885 | 100 | 13.7367
2019-09-11 00:45:00 | 4.4733 | 210.64 | 5.15 | 231.47 | 6.3067 | 349.5667 | 6.2167 | 3.45 | 18.3173 | 885 | 100 | 12.8447
2019-09-11 01:00:00 | 4.484 | 17.522 | 5.16 | 19.25 | 6.176 | 145.154 | 6.29 | 10.802 | 18.324 | 885 | 100 | 9.438
2019-09-11 01:15:00 | 4.0647 | 108.6233 | 4.6853 | 119.3587 | 6.2747 | 114.8227 | 6.25 | 218.384 | 18.3233 | 885 | 100 | 9.0713
2019-09-11 01:30:00 | 3.9467 | 101.6167 | 4.5367 | 111.6667 | 6.1367 | 114.9867 | 6.0267 | 11.13 | 18.33 | 885 | 100 | 10.1347
2019-09-11 01:45:00 | 3.9833 | 24.9867 | 4.5933 | 27.4533 | 6.5333 | 258.6 | 6.7 | 1.96 | 18.33 | 885 | 100 | 10.3227
2019-09-11 02:00:00 | 3.41 | 228.1 | 3.9267 | 250.66 | 5.6867 | 30.0333 | 6.0667 | 13.82 | 18.322 | 885 | 100 | 1.7267
2019-09-11 02:15:00 | 2.5 | 121.2933 | 2.8867 | 133.2867 | 3.6067 | 11.4367 | 3.0767 | 124.52 | 18.3093 | 885 | 100 | 3.244
2019-09-11 02:30:00 | 2.704 | 160.208 | 3.118 | 176.054 | 4.074 | 18.082 | 4.26 | 150.744 | 18.296 | 885 | 100 | 2.0033
2019-09-11 02:45:00 | 2.6933 | 304.3933 | 3.0967 | 334.5 | 4.3867 | 26.0867 | 4.7033 | 27.1187 | 18.2827 | 885 | 100 | 3.53
2019-09-11 03:00:00 | 3.0133 | 110.62 | 3.4633 | 121.5533 | 5.2267 | 21.8733 | 5.2633 | 24.0667 | 18.28 | 884.6 | 100 | 4.068
2019-09-11 03:15:00 | 3.73 | 25.04 | 4.29 | 27.52 | 5.8033 | 8.2267 | 5.5733 | 19.88 | 18.28 | 884 | 100 | 2.5193
2019-09-11 03:30:00 | 3.5833 | 8.38 | 4.1233 | 9.2067 | 4.6633 | 14.5133 | 4.4267 | 21.32 | 18.284 | 884 | 100 | 0.46333
2019-09-11 03:45:00 | 2.8933 | 225.5633 | 3.3233 | 247.8733 | 3.2667 | 118.44 | 2.9267 | 340.1333 | 18.2753 | 884 | 100 | 1.878
2019-09-11 04:00:00 | 2.6 | 9.35 | 2.9967 | 10.2733 | 2.8933 | 128.84 | 1.8667 | 141.1733 | 18.274 | 884 | 100 | 3.3813
2019-09-11 04:15:00 | 2.6867 | 324.3533 | 3.09 | 356.4333 | 2.8967 | 10.4 | 1.81 | 24.2933 | 18.2727 | 884 | 100 | 0.16133
2019-09-11 04:30:00 | 2.7533 | 323.8133 | 3.1633 | 355.8333 | 2.8433 | 228.6533 | 1.65 | 229.8 | 18.266 | 884 | 100 | 1.6067
2019-09-11 04:45:00 | 2.5033 | 220.0307 | 2.8867 | 241.79 | 3.1367 | 245.24 | 2.7867 | 55.1633 | 18.266 | 884 | 100 | 5.9147
2019-09-11 05:00:00 | 2.8833 | 217.6133 | 3.3133 | 239.1367 | 3.57 | 17.2533 | 2.9667 | 50.3033 | 18.286 | 884 | 100 | 5.072
2019-09-11 05:15:00 | 2.7267 | 311.5933 | 3.1467 | 342.4 | 2.8833 | 131.4933 | 1.79 | 14.32 | 18.288 | 884 | 100 | 3.698
2019-09-11 05:30:00 | 3.1 | 317.4667 | 3.5667 | 348.8667 | 3.53 | 127.36 | 2.5833 | 44.5867 | 18.296 | 884 | 100 | 2.0653
2019-09-11 05:45:00 | 3.1733 | 190.5067 | 3.6533 | 209.34 | 3.6967 | 13.14 | 2.6133 | 116.2 | 18.282 | 884 | 100 | 3.696
2019-09-11 06:00:00 | 2.9933 | 23.0533 | 3.44 | 25.3267 | 3.53 | 243.2 | 3 | 118.8733 | 18.278 | 884 | 100 | 6.098
2019-09-11 06:15:00 | 3.4467 | 108.2367 | 3.9733 | 118.9333 | 4 | 14.81 | 3.3467 | 35.23 | 18.312 | 884 | 100 | 7.4787
2019-09-11 06:30:00 | 3.4867 | 324.714 | 4.0133 | 356.82 | 4.0067 | 22.7833 | 2.68 | 115.4833 | 18.32 | 884 | 100 | 8.9867
2019-09-11 06:45:00 | 2.7933 | 102.4433 | 3.2133 | 112.5667 | 3.38 | 130.26 | 2.77 | 206.2667 | 18.4167 | 884 | 100 | 8.8867
2019-09-11 07:00:00 | 2.2667 | 308.1367 | 2.6067 | 338.6 | 3.04 | 300.6333 | 2.63 | 298.0667 | 18.4433 | 884 | 100 | 5.3373
2019-09-11 07:15:00 | 2.1933 | 9.0633 | 2.5233 | 9.9467 | 3.3467 | 26.86 | 2.1867 | 28.3967 | 18.3813 | 884 | 100 | 4.8253
2019-09-11 07:30:00 | 2.1933 | 197.8567 | 2.5233 | 217.4133 | 3.3867 | 27.4467 | 1.84 | 36.25 | 18.392 | 884.4 | 100 | 4.0607
2019-09-11 07:45:00 | 1.5867 | 315.56 | 1.8267 | 346.7667 | 2.09 | 50.4067 | 1.9733 | 84.8933 | 18.4 | 885 | 100 | 6.502
2019-09-11 08:00:00 | 1.2667 | 111.6267 | 1.46 | 122.66 | 0.91667 | 131.0667 | 1.9267 | 187.2333 | 18.5267 | 885 | 100 | 11.1833
2019-09-11 08:15:00 | 1.2933 | 209.5767 | 1.4967 | 230.3033 | 1.6833 | 172.3 | 3.05 | 173.4333 | 18.5633 | 885 | 100 | 9.956
2019-09-11 08:30:00 | 0.97333 | 4.9087 | 1.122 | 5.3927 | 1.2087 | 185.4867 | 2.386 | 186.46 | 18.63 | 885 | 100 | 11.172
2019-09-11 08:45:00 | 1.1633 | 11.3433 | 1.34 | 12.4567 | 0.51 | 166.2 | 1.8833 | 159.62 | 18.4967 | 885 | 100 | 12.1707
2019-09-11 09:00:00 | 1.2167 | 217.0833 | 1.4067 | 238.55 | 1.1167 | 140.8 | 2.23 | 147.9 | 18.5033 | 885 | 100 | 12.7447
2019-09-11 09:15:00 | 1.7333 | 171.2733 | 1.99 | 188.2 | 2.2567 | 193.1667 | 3.68 | 186.2 | 18.9333 | 885.0667 | 100 | 14.1987
2019-09-11 09:30:00 | 3.1333 | 110.96 | 3.6033 | 121.9333 | 3.81 | 171.7 | 4.7133 | 182.5333 | 19.8667 | 886 | 100 | 16.0507
2019-09-11 09:45:00 | 2.73 | 165.6767 | 3.1367 | 182.0667 | 3.4067 | 162.6333 | 4.42 | 169.8667 | 20.014 | 886 | 100 | 11.922
2019-09-11 10:00:00 | 1.8433 | 141.6633 | 2.1167 | 155.6667 | 2.36 | 161.9 | 3.0267 | 187.0667 | 20.054 | 886 | 100 | 13.3187
2019-09-11 10:15:00 | 1.6427 | 130.83 | 1.8953 | 143.76 | 2.146 | 170.42 | 3.1047 | 194.02 | 20.1053 | 886 | 100 | 14.8847
2019-09-11 10:30:00 | 2.1133 | 126.37 | 2.43 | 138.8667 | 2.6367 | 163.38 | 3.29 | 184.9 | 20.2067 | 886 | 100 | 12.0913
2019-09-11 10:45:00 | 1.8167 | 140.3867 | 2.1 | 154.2667 | 2.2333 | 165.3333 | 2.9733 | 181.5667 | 20.2893 | 886 | 100 | 12.7413
2019-09-11 11:00:00 | 2.09 | 143.7267 | 2.4067 | 157.9333 | 2.56 | 190 | 3.5733 | 184.3 | 20.372 | 886 | 100 | 15.248
2019-09-11 11:15:00 | 1.444 | 108.428 | 1.666 | 119.1467 | 1.8773 | 143.8067 | 2.8793 | 95.4733 | 16.4413 | 472.5333 | 53.3333 | 14.1593
2019-09-11 11:30:00 | 1.4267 | 141.3933 | 1.65 | 155.3667 | 1.9067 | 171.7333 | 3.0367 | 184.3 | 20.618 | 886 | 100 | 15.1447
2019-09-11 11:45:00 | 1.2933 | 172.48 | 1.4833 | 189.5333 | 1.7267 | 197.5 | 3.2333 | 185.3 | 20.6573 | 886 | 100 | 12.624
2019-09-11 12:00:00 | 0.66667 | 182.7267 | 0.77667 | 200.8 | 1.1 | 198.2333 | 2.6867 | 187.0333 | 20.7467 | 886 | 100 | 13.082
2019-09-11 12:15:00 | 1.5467 | 162.44 | 1.78 | 178.5 | 2.2933 | 191.6667 | 3.1633 | 198.4 | 20.8433 | 886 | 100 | 12.4613
2019-09-11 12:30:00 | 1.4667 | 178.3267 | 1.6867 | 195.9667 | 2.26 | 194 | 3.2767 | 182.4667 | 20.89 | 886 | 100 | 11.388
2019-09-11 12:45:00 | 1.232 | 138.056 | 1.424 | 151.7 | 2.046 | 196.52 | 2.568 | 195.02 | 20.9353 | 886 | 100 | 12.322
2019-09-11 13:00:00 | 1.64 | 175.5467 | 1.8933 | 192.9 | 2.5033 | 199.3333 | 3.0867 | 188.5667 | 21.026 | 886 | 100 | 12.588
2019-09-11 13:15:00 | 1.3567 | 180.76 | 1.5633 | 198.6333 | 2.1267 | 192.2667 | 3.05 | 188.4667 | 21.1607 | 886 | 100 | 11.576
2019-09-11 13:30:00 | 1.1833 | 126.58 | 1.37 | 139.1 | 1.88 | 196.6 | 3.0167 | 189.2667 | 21.13 | 886 | 100 | 10.568
2019-09-11 13:45:00 | 1.5 | 139.262 | 1.7293 | 153.0333 | 1.968 | 189.5133 | 2.93 | 181.4667 | 21.126 | 886 | 100 | 11.4573
2019-09-11 14:00:00 | 3.0533 | 162.6567 | 3.51 | 178.7333 | 3.8267 | 183.8333 | 4.5 | 187.6 | 21.134 | 886 | 100 | 13.2873
2019-09-11 14:15:00 | 3.3433 | 148.6667 | 3.8533 | 163.3667 | 4.15 | 182 | 5.01 | 160.5667 | 21.022 | 886 | 100 | 14.004
2019-09-11 14:30:00 | 3.2233 | 152.6133 | 3.7067 | 167.7 | 4.03 | 173.1333 | 4.7967 | 183.7 | 21.0167 | 886 | 100 | 12.1567
2019-09-11 14:45:00 | 2.3387 | 127.6713 | 2.692 | 140.2933 | 2.9513 | 191.5867 | 3.7213 | 188.14 | 21.0467 | 885.2667 | 100 | 11.3933
2019-09-11 15:00:00 | 1.64 | 118.66 | 1.8933 | 130.4 | 2.0133 | 160.9333 | 2.5933 | 174.5 | 21.046 | 885 | 100 | 9.2527
2019-09-11 15:15:00 | 1.1867 | 118.3 | 1.3733 | 130 | 1.5467 | 182.9333 | 2.3633 | 186.7333 | 21.092 | 885 | 100 | 7.5573
2019-09-11 15:30:00 | 1.12 | 123.88 | 1.2867 | 136.1333 | 1.6667 | 183.0667 | 2.6833 | 193.0667 | 21.18 | 885 | 100 | 6.0733
2019-09-11 15:45:00 | 1.1733 | 126.6647 | 1.35 | 139.1933 | 2 | 166.3333 | 2.9567 | 175 | 21.322 | 885 | 100 | 5.422
2019-09-11 16:00:00 | 1.26 | 147.45 | 1.45 | 162.0333 | 2.2333 | 166.4 | 3.1233 | 164.7333 | 21.3833 | 885 | 100 | 4.96
2019-09-11 16:15:00 | 1.8767 | 151.7367 | 2.16 | 166.7333 | 2.8233 | 175.5667 | 3.4933 | 183 | 21.4967 | 885 | 100 | 6.37
2019-09-11 16:30:00 | 1.63 | 137.0567 | 1.88 | 150.6 | 2.3633 | 168.0333 | 3.5133 | 179.3333 | 21.538 | 885 | 100 | 6.3467
2019-09-11 16:45:00 | 1.3 | 175.9667 | 1.4933 | 193.3667 | 2.28 | 166.6333 | 3.1867 | 167.3333 | 21.6473 | 885 | 100 | 4.4087
2019-09-11 17:00:00 | 1.56 | 166.8667 | 1.7933 | 183.3667 | 2.34 | 188.7667 | 2.9733 | 176.1333 | 21.55 | 885 | 100 | 4.96
2019-09-11 17:15:00 | 1.5933 | 152.3933 | 1.84 | 167.4667 | 2.3567 | 181.3 | 3.02 | 175.1667 | 21.4987 | 885 | 100 | 8.542
2019-09-11 17:30:00 | 1.4067 | 148.0867 | 1.6267 | 162.7333 | 2.27 | 165.8333 | 3.3533 | 171.6333 | 21.512 | 885 | 100 | 8.5173
2019-09-11 17:45:00 | 1.4733 | 141.3867 | 1.6933 | 155.3667 | 2.1867 | 166.8667 | 3.4033 | 162.5333 | 21.5387 | 885 | 100 | 8.474
2019-09-11 18:00:00 | 1.06 | 147.2667 | 1.22 | 161.8333 | 1.8 | 178.2 | 3.2367 | 164.3333 | 21.6133 | 885 | 100 | 7.646
2019-09-11 18:15:00 | 1.2 | 192.2333 | 1.39 | 211.2333 | 2.0333 | 184.5667 | 3.3833 | 173.3667 | 21.6427 | 885 | 100 | 7.2393
2019-09-11 18:30:00 | 0.99333 | 154.62 | 1.15 | 169.9 | 1.6333 | 189.0333 | 2.3767 | 184.1667 | 21.56 | 885 | 100 | 7.004
2019-09-11 18:45:00 | 0.92 | 175.2333 | 1.06 | 192.5667 | 1.6333 | 197.7333 | 2.3133 | 207.3333 | 21.54 | 885 | 100 | 5.4767
2019-09-11 19:00:00 | 0.99333 | 176.88 | 1.1467 | 194.3667 | 1.6667 | 198.4667 | 2.6533 | 194.5333 | 21.54 | 885 | 100 | 4.206
2019-09-11 19:15:00 | 0.46 | 180.54 | 0.54 | 198.4 | 0.88667 | 196.9 | 2.28 | 206.5667 | 21.5447 | 885 | 100 | 5.576
2019-09-11 19:30:00 | 0.8 | 173.61 | 0.93 | 190.78 | 1.482 | 204.12 | 2.314 | 207.08 | 21.506 | 885 | 100 | 5.228
2019-09-11 19:45:00 | 0.83 | 156.6833 | 0.95667 | 172.1733 | 1.5933 | 195.8667 | 2.52 | 202.8 | 21.492 | 885 | 100 | 3.916
2019-09-11 20:00:00 | 0.29667 | 137.8367 | 0.34333 | 151.4667 | 0.55333 | 185.8 | 1.88 | 193.6667 | 21.492 | 885 | 100 | 3.7547
2019-09-11 20:15:00 | 0.006667 | 140.7747 | 0.01 | 154.6933 | 0.006667 | 186.5067 | 1.2367 | 200.58 | 21.5187 | 885 | 100 | 3.37
2019-09-11 20:30:00 | 0 | 140.732 | 0.003333 | 154.64 | 0 | 186.6 | 1.0033 | 200.26 | 21.548 | 885.4 | 100 | 3.1527
2019-09-11 20:45:00 | 0.19667 | 160.9 | 0.22667 | 176.8 | 0.37667 | 186 | 1.1567 | 185.2333 | 21.5833 | 886 | 100 | 2.6067
2019-09-11 21:00:00 | 0.69 | 161.1333 | 0.79333 | 177.0667 | 1.2967 | 180.2667 | 1.89 | 178.7667 | 21.618 | 886 | 100 | 1.332
2019-09-11 21:15:00 | 0.89333 | 168.3533 | 1.0367 | 185 | 1.5733 | 179.2667 | 2.25 | 179.3333 | 21.6467 | 886 | 100 | 1.3473
2019-09-11 21:30:00 | 0.26 | 181.52 | 0.30333 | 199.4667 | 0.46 | 194.9333 | 1.1567 | 200.1333 | 21.68 | 886 | 100 | 1.344
2019-09-11 21:45:00 | 2.3667 | 157.0633 | 2.7333 | 172.6 | 3.2533 | 181.2 | 3.4667 | 185.5667 | 21.6567 | 886 | 100 | 4.826
2019-09-11 22:00:00 | 2.7133 | 157.8033 | 3.1267 | 173.4 | 3.6267 | 201.7333 | 3.9667 | 195.1667 | 21.63 | 886 | 100 | 6.512
2019-09-11 22:15:00 | 1.4067 | 160.3433 | 1.6167 | 176.2 | 1.9833 | 187.1867 | 2.5667 | 197.6667 | 21.6147 | 886 | 100 | 6.0907
2019-09-11 22:30:00 | 1.6533 | 145.55 | 1.9033 | 159.9333 | 2.0967 | 179.3333 | 2.7133 | 198.9333 | 21.608 | 886.4 | 100 | 6.9027
2019-09-11 22:45:00 | 1.84 | 189.4633 | 2.12 | 208.2 | 2.5967 | 198.8333 | 3.05 | 202.0667 | 21.6113 | 887 | 100 | 7.1013
2019-09-11 23:00:00 | 1.0667 | 151.85 | 1.2267 | 166.8667 | 1.5167 | 180.4333 | 2.1633 | 196.7333 | 21.586 | 887 | 100 | 7.104
2019-09-11 23:15:00 | 1.2533 | 173.5633 | 1.45 | 190.7333 | 1.9 | 191.8 | 2.89 | 201.4667 | 21.5793 | 887 | 100 | 7.408
2019-09-11 23:30:00 | 1.1333 | 176.3567 | 1.3033 | 193.8 | 2.0067 | 214 | 2.8767 | 194.2667 | 21.57 | 886.6 | 100 | 9.4267
2019-09-11 23:45:00 | 1.3833 | 165.72 | 1.6033 | 182.1 | 2.28 | 189.8667 | 3.5233 | 201.5667 | 21.5767 | 886 | 100 | 7.094