## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-12 00:00:00 | 0.92143 | 180.1479 | 1.0636 | 197.9571 | 1.71 | 187.2929 | 2.7464 | 199.3214 | 21.5664 | 886 | 100 | 5.93
2019-09-12 00:15:00 | 0.85133 | 195.0413 | 0.98067 | 214.3267 | 1.6487 | 204.4533 | 2.468 | 209.76 | 21.5507 | 886 | 100 | 6.3767
2019-09-12 00:30:00 | 0.88 | 191.68 | 1.01 | 210.6333 | 1.7 | 222.5667 | 2.71 | 205 | 21.508 | 886 | 100 | 5.094
2019-09-12 00:45:00 | 0.58 | 172.55 | 0.67 | 189.6 | 1.14 | 222.5 | 2.42 | 231.6667 | 21.466 | 886 | 100 | 3.4593
2019-09-12 01:00:00 | 0.11333 | 172.55 | 0.13667 | 189.6 | 0.22667 | 209.3667 | 2.0533 | 232.2667 | 21.426 | 886 | 100 | 3.7433
2019-09-12 01:15:00 | 1.04 | 158.9867 | 1.2067 | 174.7 | 1.6167 | 183.1667 | 2.19 | 221.9667 | 21.398 | 886 | 100 | 4.8393
2019-09-12 01:30:00 | 1.14 | 153.974 | 1.324 | 169.2 | 1.686 | 189.62 | 2.21 | 216.98 | 21.402 | 886 | 100 | 5.5593
2019-09-12 01:45:00 | 0.013333 | 161.75 | 0.016667 | 177.7333 | 0.026667 | 202.4 | 0.88333 | 195.2 | 21.42 | 885.2667 | 100 | 4.044
2019-09-12 02:00:00 | 0 | 128.87 | 0.003333 | 141.6 | 0 | 208.6 | 1.37 | 161.3333 | 21.416 | 885 | 100 | 6.2293
2019-09-12 02:15:00 | 0.28333 | 189.036 | 0.32667 | 207.7267 | 0.51333 | 251.6 | 0.55667 | 230.6667 | 21.362 | 885 | 100 | 6.118
2019-09-12 02:30:00 | 0.20333 | 308.2867 | 0.24 | 338.7667 | 0.35333 | 235.6667 | 0.48333 | 212.7333 | 21.23 | 885 | 100 | 6.79
2019-09-12 02:45:00 | 0.17333 | 268.0207 | 0.20333 | 294.52 | 0.33667 | 195.8067 | 1.03 | 176.1333 | 20.9133 | 884.9333 | 100 | 7.1533
2019-09-12 03:00:00 | 0.48 | 188.93 | 0.56333 | 207.6 | 0.95 | 195.9 | 1.33 | 192.4 | 21.0133 | 884 | 100 | 8.106
2019-09-12 03:15:00 | 0.47667 | 181.91 | 0.55667 | 199.9 | 0.93333 | 202.5667 | 2.1267 | 198.9 | 20.9713 | 884 | 100 | 8.4607
2019-09-12 03:30:00 | 0.22333 | 161.11 | 0.26333 | 177.0333 | 0.41333 | 191.5667 | 2.3667 | 184.9667 | 21.0433 | 884 | 100 | 9.4307
2019-09-12 03:45:00 | 1.26 | 122.0967 | 1.45 | 134.1667 | 2.2933 | 194.9 | 3.4367 | 167.8667 | 21.148 | 884 | 100 | 8.5067
2019-09-12 04:00:00 | 1.1733 | 166.6833 | 1.35 | 183.1667 | 2.24 | 212.5667 | 3.23 | 186.3333 | 21.136 | 884 | 100 | 8.192
2019-09-12 04:15:00 | 0.84 | 140.3233 | 0.96667 | 154.2 | 1.5433 | 200.6667 | 2.6267 | 200.4667 | 21.158 | 884 | 100 | 6.968
2019-09-12 04:30:00 | 1.8333 | 162.6567 | 2.1067 | 178.7333 | 2.93 | 196.4667 | 3.6467 | 202.2 | 21.138 | 884 | 100 | 9.52
2019-09-12 04:45:00 | 1.0267 | 172.3933 | 1.1833 | 189.4333 | 1.85 | 219.5 | 2.28 | 220.4667 | 21.2207 | 884 | 100 | 9.682
2019-09-12 05:00:00 | 0.8 | 183.1333 | 0.91667 | 201.2333 | 1.49 | 198.5667 | 2.28 | 184.88 | 21.226 | 884 | 100 | 10.4633
2019-09-12 05:15:00 | 0.66 | 149.3733 | 0.76 | 164.1333 | 1.2667 | 196.9 | 2.2333 | 174.0333 | 21.1507 | 884 | 100 | 8.954
2019-09-12 05:30:00 | 0.28667 | 137.24 | 0.34 | 150.8 | 0.56667 | 194.9 | 1.56 | 182.3667 | 21.168 | 884 | 100 | 7.2893
2019-09-12 05:45:00 | 0.35 | 125.3133 | 0.40667 | 137.7 | 0.64333 | 206.8667 | 1.3333 | 197.7333 | 21.17 | 884 | 100 | 7.244
2019-09-12 06:00:00 | 0.59667 | 157.7 | 0.68667 | 173.3 | 1.0833 | 200.8 | 1.9467 | 194.7333 | 21.122 | 884 | 100 | 10.3127
2019-09-12 06:15:00 | 0.87067 | 173.0047 | 0.99933 | 190.1067 | 1.674 | 227.68 | 2.2973 | 233.3533 | 21.1087 | 884 | 100 | 10.7613
2019-09-12 06:30:00 | 0.84667 | 169.9633 | 0.97667 | 186.7667 | 1.6033 | 222.4 | 2.2433 | 212.8333 | 21.082 | 884 | 100 | 11.3307
2019-09-12 06:45:00 | 0.53667 | 139.674 | 0.62333 | 153.4933 | 1.0567 | 206.7333 | 2.0667 | 202.8 | 21.0707 | 884 | 100 | 11.028
2019-09-12 07:00:00 | 1.2167 | 169.75 | 1.41 | 186.5333 | 1.9433 | 193.4 | 2.8 | 193.1333 | 21.084 | 884 | 100 | 11.6527
2019-09-12 07:15:00 | 1.23 | 117.9133 | 1.4267 | 129.5667 | 2.06 | 183.9667 | 3.2667 | 188.0333 | 21.07 | 884.0667 | 100 | 14.122
2019-09-12 07:30:00 | 1.9233 | 154.3133 | 2.2133 | 169.5667 | 3.1733 | 182.2333 | 3.9667 | 194.5 | 21.082 | 885 | 100 | 14.4307
2019-09-12 07:45:00 | 1.8467 | 179.6367 | 2.1267 | 197.4 | 2.87 | 180.4 | 4.0167 | 186.2 | 21.062 | 885 | 100 | 16.1347
2019-09-12 08:00:00 | 2.54 | 119.2767 | 2.9333 | 131.0667 | 3.59 | 185.4 | 4.4767 | 178.6 | 21.054 | 885 | 100 | 17.2933
2019-09-12 08:15:00 | 3.0833 | 175.67 | 3.5467 | 193.0333 | 3.9367 | 187.2 | 4.7667 | 191.6667 | 21.0447 | 885 | 100 | 16.286
2019-09-12 08:30:00 | 2.6167 | 166.87 | 3.0133 | 183.3667 | 3.4633 | 186.4 | 4.58 | 183.4 | 21.042 | 885 | 100 | 16.4893
2019-09-12 08:45:00 | 2.2467 | 167.3233 | 2.5833 | 183.8667 | 2.9033 | 203.8333 | 3.77 | 189.1333 | 21.0473 | 885 | 100 | 17.5053
2019-09-12 09:00:00 | 2.4333 | 161.662 | 2.7967 | 177.64 | 3.2967 | 186.5667 | 4.25 | 198.4 | 21.086 | 885 | 100 | 17.1347
2019-09-12 09:15:00 | 2.232 | 162.554 | 2.5773 | 178.6333 | 2.9707 | 188.2867 | 4.2473 | 194.7133 | 21.1173 | 885 | 100 | 15.7453
2019-09-12 09:30:00 | 2.0933 | 175.9367 | 2.41 | 193.3333 | 2.8433 | 189.8333 | 3.89 | 191.2 | 21.128 | 885 | 100 | 14.448
2019-09-12 09:45:00 | 2.12 | 168.3867 | 2.45 | 185.0333 | 3.0633 | 191.1667 | 4.0567 | 183.5667 | 21.1713 | 885 | 100 | 12.8813
2019-09-12 10:00:00 | 2.3067 | 145.0867 | 2.6567 | 159.4333 | 3.13 | 182.4333 | 4.0767 | 192.5667 | 21.2433 | 885.4 | 100 | 10.7753
2019-09-12 10:15:00 | 1.58 | 121.13 | 1.8267 | 133.1 | 2.0767 | 197.4 | 2.96 | 200.0333 | 21.3127 | 886 | 100 | 9.254
2019-09-12 10:30:00 | 0.65333 | 121.79 | 0.76667 | 133.8333 | 1.0433 | 174.4 | 2.4333 | 213.4333 | 21.358 | 886 | 100 | 9.95
2019-09-12 10:45:00 | 0.89 | 166.1033 | 1.0333 | 182.5333 | 1.55 | 183.1 | 2.63 | 186.8333 | 21.38 | 886 | 100 | 9.9013
2019-09-12 11:00:00 | 1.2767 | 158.59 | 1.48 | 174.2667 | 1.9233 | 195.3667 | 2.9233 | 178.9667 | 21.424 | 886 | 100 | 10.2987
2019-09-12 11:15:00 | 1.4967 | 162.8333 | 1.72 | 178.9333 | 2.22 | 193.6333 | 3.4867 | 183.9333 | 21.4967 | 886 | 99.9333 | 8.8633
2019-09-12 11:30:00 | 1.4433 | 160.78 | 1.6667 | 176.6667 | 2.36 | 180.1667 | 3.48 | 185.2 | 21.526 | 886 | 100 | 6.398
2019-09-12 11:45:00 | 1.09 | 154.8193 | 1.264 | 170.1333 | 1.76 | 168.9867 | 2.4787 | 167.8067 | 20.1313 | 826.8667 | 93.2667 | 6.9493
2019-09-12 12:00:00 | 1.1367 | 150.79 | 1.31 | 165.7 | 1.93 | 182.2 | 2.86 | 178.4 | 21.568 | 885 | 100 | 6.512
2019-09-12 12:15:00 | 1.2 | 172.0233 | 1.39 | 189.0333 | 1.88 | 191 | 2.79 | 186.7667 | 21.5853 | 885 | 99.9 | 6.5493
2019-09-12 12:30:00 | 1.0533 | 178.2767 | 1.2233 | 195.9 | 1.6533 | 208.9333 | 2.5833 | 201.4333 | 21.66 | 885 | 99.74 | 6.24
2019-09-12 12:45:00 | 0.9 | 185.44 | 1.04 | 203.7667 | 1.52 | 216.4 | 2.2367 | 194.4 | 21.7113 | 885 | 99.9 | 5.032
2019-09-12 13:00:00 | 0.50286 | 150.3257 | 0.57571 | 165.1857 | 0.81 | 176.3 | 1.5264 | 161.4714 | 18.6829 | 758.5714 | 85.4571 | 4.8927
2019-09-12 13:15:00 | 0.22333 | 186.3967 | 0.26333 | 204.8333 | 0.41333 | 196.8 | 1.5433 | 200.7333 | 21.9667 | 885 | 99.9867 | 4.8133
2019-09-12 13:30:00 | 0.86333 | 168.63 | 1.0033 | 185.3 | 1.42 | 196.7333 | 2.77 | 195.6 | 22.16 | 885 | 99.6667 | 5.538
2019-09-12 13:45:00 | 1.76 | 126.3733 | 2.0267 | 138.8667 | 2.5533 | 177.2 | 3.5567 | 173.8333 | 22.3167 | 885 | 97.9 | 6.3207
2019-09-12 14:00:00 | 1.576 | 145.588 | 1.816 | 159.98 | 2.346 | 170.82 | 3.31 | 174.16 | 22.442 | 884.6 | 97.8 | 5.2
2019-09-12 14:15:00 | 1.58 | 142.5633 | 1.8167 | 156.6667 | 2.32 | 176.4333 | 3.2367 | 175.4 | 22.8267 | 884 | 96.8 | 2.986
2019-09-12 14:30:00 | 1.38 | 147.1167 | 1.59 | 161.6667 | 2.1867 | 197.5667 | 2.8033 | 168.3333 | 23.1 | 884 | 95.7333 | 1.5327
2019-09-12 14:45:00 | 0.63333 | 170.5333 | 0.74 | 187.4 | 1.0733 | 183.6667 | 1.9867 | 185.7667 | 23.3833 | 884 | 94.6667 | 1.0833
2019-09-12 15:00:00 | 0.88571 | 145.9743 | 1.03 | 160.4071 | 1.2164 | 169.4 | 1.9557 | 195.8714 | 23.6829 | 884 | 93.9643 | 0.58533
2019-09-12 15:15:00 | 0.97733 | 88.8173 | 1.1287 | 97.5933 | 1.32 | 170.4 | 1.7207 | 179.7733 | 24.0373 | 884 | 92.62 | 0.424
2019-09-12 15:30:00 | 0.53333 | 9.0233 | 0.61333 | 9.9133 | 0.30333 | 66.18 | 0.85 | 194.4667 | 23.2833 | 884 | 93.4667 | 0.44533
2019-09-12 15:45:00 | 1.4333 | 202.1967 | 1.6467 | 222.1933 | 1.45 | 14.35 | 0.62 | 216.6333 | 22.09 | 884 | 97.7 | 0.72267
2019-09-12 16:00:00 | 1.0533 | 218.3367 | 1.22 | 239.9267 | 0.39 | 103.5767 | 1.3933 | 198.2333 | 21.8033 | 883.6 | 99.1 | 1.0627
2019-09-12 16:15:00 | 1.62 | 106.69 | 1.87 | 117.2333 | 1.4733 | 15.91 | 0.36 | 120.13 | 21.8567 | 883 | 98.5333 | 1.0433
2019-09-12 16:30:00 | 2.3 | 310.7367 | 2.6433 | 341.4667 | 2.4667 | 6.6567 | 0.58667 | 26.3233 | 21.9767 | 883 | 97.5333 | 0.96133
2019-09-12 16:45:00 | 2.6333 | 315.2 | 3.0333 | 346.3667 | 2.9267 | 10.6733 | 2.93 | 117.7933 | 22.032 | 883 | 96.9267 | 0.724
2019-09-12 17:00:00 | 2.66 | 317.6867 | 3.06 | 349.1 | 3.2933 | 9.0533 | 3.3233 | 126.8533 | 22.048 | 883 | 97.2333 | 0.49533
2019-09-12 17:15:00 | 3.2 | 324.3507 | 3.6867 | 356.4333 | 3.6533 | 6.8367 | 3.9867 | 14.6067 | 21.9567 | 883 | 98.1667 | 0.964
2019-09-12 17:30:00 | 3.3 | 316.8933 | 3.8 | 348.2333 | 3.92 | 17.09 | 4.4267 | 15.0933 | 21.8567 | 883 | 98.6333 | 1.958
2019-09-12 17:45:00 | 3.17 | 107.76 | 3.6433 | 118.4067 | 4.56 | 4.2467 | 4.8 | 15.6233 | 21.7567 | 883 | 99.1733 | 3.494
2019-09-12 18:00:00 | 3.35 | 108.1267 | 3.8567 | 118.8133 | 5.5067 | 8.7933 | 5.6733 | 21.4433 | 21.694 | 883 | 99.6667 | 4.3233
2019-09-12 18:15:00 | 3.8867 | 319.2367 | 4.48 | 350.8 | 5.1533 | 21.3267 | 5.2733 | 12.3933 | 21.6033 | 883 | 99.8667 | 4.4153
2019-09-12 18:30:00 | 4.0733 | 114.2967 | 4.6867 | 125.5933 | 5.18 | 239.7867 | 5.26 | 7.5467 | 21.554 | 883 | 100 | 5.3593
2019-09-12 18:45:00 | 4.1733 | 319.9867 | 4.7967 | 351.6333 | 5.6667 | 11.1133 | 5.5467 | 16.71 | 21.4567 | 883 | 100 | 5.8467
2019-09-12 19:00:00 | 4.0133 | 316.8333 | 4.6233 | 348.1667 | 5.8 | 240.6 | 5.6667 | 8.9367 | 21.394 | 883 | 100 | 6.946
2019-09-12 19:15:00 | 4.4733 | 222.4067 | 5.1433 | 244.4 | 6.2167 | 1.3167 | 6.18 | 2.6333 | 21.3533 | 883 | 100 | 8.5147
2019-09-12 19:30:00 | 4.3667 | 12.4133 | 5.03 | 13.64 | 6.13 | 2.0233 | 6.2 | 7.3933 | 21.308 | 883 | 100 | 9.076
2019-09-12 19:45:00 | 4.3733 | 37.9833 | 5.0367 | 41.74 | 6.4267 | 10.7233 | 6.6433 | 18.22 | 21.26 | 883.0667 | 100 | 14.5113
2019-09-12 20:00:00 | 4.4667 | 13.19 | 5.1367 | 14.4933 | 6.9467 | 240.85 | 7.1367 | 23.3067 | 21.252 | 884 | 100 | 26.62
2019-09-12 20:15:00 | 4.56 | 16.1433 | 5.2433 | 17.73 | 7.5 | 12.2567 | 8.0467 | 17.3967 | 21.2453 | 884 | 100 | 33.5073
2019-09-12 20:30:00 | 4.5267 | 26.2967 | 5.2033 | 28.8967 | 7.7533 | 8.1767 | 8.0667 | 15.3567 | 21.192 | 884 | 100 | 42.11
2019-09-12 20:45:00 | 4.9767 | 124.37 | 5.7267 | 136.66 | 8.4667 | 5.98 | 8.78 | 13.5867 | 21.148 | 884.7333 | 100 | 47.514
2019-09-12 21:00:00 | 5.51 | 310.1567 | 6.3467 | 340.8333 | 9.04 | 10.0733 | 9.3333 | 18.0867 | 21.1 | 885 | 100 | 52.3047
2019-09-12 21:15:00 | 7.78 | 238.4533 | 8.9567 | 262.0333 | 13.9967 | 25.5267 | 14.61 | 22.5033 | 20.9907 | 885 | 99.8333 | 57.054
2019-09-12 21:30:00 | 9.0867 | 141.6933 | 10.4633 | 155.7 | 16.4167 | 18.04 | 16.31 | 23.43 | 20.2867 | 885.4 | 96.9667 | 58.1153
2019-09-12 21:45:00 | 10.5707 | 62.6333 | 12.1607 | 68.82 | 18.72 | 9.7467 | 18.32 | 21.6967 | 18.87 | 886 | 93.2333 | 59.1793
2019-09-12 22:00:00 | 10.4867 | 60.7267 | 12.07 | 66.7333 | 18.2267 | 12.0267 | 17.4933 | 21.9233 | 17.57 | 886 | 96.9 | 58.988
2019-09-12 22:15:00 | 10.9833 | 149.3133 | 12.63 | 164.08 | 19.3833 | 17.4533 | 18.8767 | 17.3333 | 16.4133 | 886 | 99.4 | 58.42
2019-09-12 22:30:00 | 10.1767 | 313.0067 | 11.7033 | 343.9667 | 18.33 | 10.4867 | 18.31 | 15.6467 | 15.96 | 886 | 100 | 59.8187
2019-09-12 22:45:00 | 9.54 | 65.26 | 10.9767 | 71.71 | 17.4733 | 8.9333 | 17.7033 | 25.7 | 15.67 | 886 | 100 | 59.7707
2019-09-12 23:00:00 | 9.42 | 189.2 | 10.8367 | 207.91 | 17.2933 | 27.9733 | 17.29 | 26.98 | 15.4567 | 886 | 100 | 60.3987
2019-09-12 23:15:00 | 9.24 | 226.75 | 10.6333 | 249.1667 | 17.0267 | 17.4867 | 16.84 | 23.1333 | 15.25 | 886 | 100 | 60.5373
2019-09-12 23:30:00 | 9.5067 | 295.17 | 10.9333 | 324.3667 | 17.3267 | 6.4533 | 17.0867 | 22.62 | 15.0633 | 886 | 100 | 61.4447
2019-09-12 23:45:00 | 9.88 | 174.91 | 11.3667 | 192.2 | 17.6113 | 16.56 | 17.2433 | 24.7067 | 14.8833 | 886 | 100 | 61.7307