## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-14 00:00:00 | 9.7357 | 255.095 | 11.2093 | 280.3214 | 17.7143 | 11.2207 | 17.825 | 25.2907 | 11.2136 | 887.1 | 100 | 55.335
2019-09-14 00:15:00 | 9.78 | 22.04 | 11.2533 | 24.2167 | 17.9433 | 18.9133 | 18.25 | 28.1733 | 11.2207 | 887.2667 | 100 | 55.434
2019-09-14 00:30:00 | 9.9133 | 17.2067 | 11.4 | 18.8967 | 18.234 | 14.5667 | 18.3767 | 26.5067 | 11.234 | 887 | 100 | 56.7153
2019-09-14 00:45:00 | 9.8467 | 170.7133 | 11.3367 | 187.5967 | 18.0433 | 19.5767 | 18.38 | 25.4967 | 11.2407 | 887 | 100 | 56.996
2019-09-14 01:00:00 | 10.0467 | 57.3867 | 11.5633 | 63.05 | 18.5633 | 13.39 | 18.476 | 23.97 | 11.254 | 887 | 100 | 56.8933
2019-09-14 01:15:00 | 9.88 | 206.4533 | 11.3667 | 226.8667 | 18.1533 | 11.75 | 18.4533 | 23.53 | 11.2587 | 887 | 100 | 57.0847
2019-09-14 01:30:00 | 10.4533 | 95.0067 | 12.02 | 104.4 | 18.84 | 18.1367 | 18.8933 | 24.9567 | 11.236 | 887 | 100 | 56.6087
2019-09-14 01:45:00 | 9.8067 | 195.9267 | 11.2833 | 215.3 | 18.2067 | 20.2767 | 18.1133 | 23.4633 | 11.2387 | 886.3333 | 100 | 56.9987
2019-09-14 02:00:00 | 9.308 | 202.768 | 10.712 | 222.82 | 17.236 | 21.222 | 17.44 | 21.07 | 11.268 | 887 | 100 | 57.1173
2019-09-14 02:15:00 | 9.42 | 132.98 | 10.8433 | 146.1333 | 17.3733 | 12.99 | 17.5067 | 20.2767 | 11.2887 | 887 | 100 | 57.1493
2019-09-14 02:30:00 | 9.4533 | 261.42 | 10.87 | 287.2667 | 17.3733 | 18.21 | 17.8333 | 21.5233 | 11.314 | 886.6 | 100 | 57.2193
2019-09-14 02:45:00 | 9.4133 | 222.8633 | 10.8367 | 244.9 | 17.4233 | 13.6933 | 17.67 | 22.0933 | 11.328 | 886 | 100 | 57.1
2019-09-14 03:00:00 | 9.66 | 114.45 | 11.11 | 125.7667 | 17.91 | 16.0133 | 17.8833 | 25.1867 | 11.344 | 886 | 100 | 57.0393
2019-09-14 03:15:00 | 9.9533 | 137.75 | 11.45 | 151.3667 | 18.2867 | 13.0167 | 18.43 | 23.5667 | 11.3653 | 886 | 100 | 56.1713
2019-09-14 03:30:00 | 9.7667 | 113.9033 | 11.2367 | 125.16 | 17.8667 | 15.2967 | 17.99 | 22.4133 | 11.38 | 886 | 100 | 56.754
2019-09-14 03:45:00 | 9.9933 | 186.7667 | 11.4967 | 205.2333 | 18.4587 | 15.7133 | 18.6167 | 26.1667 | 11.3873 | 886 | 100 | 56.9253
2019-09-14 04:00:00 | 9.82 | 226.1933 | 11.3033 | 248.5667 | 17.94 | 19.94 | 18.2167 | 24.4133 | 11.394 | 886 | 100 | 56.772
2019-09-14 04:15:00 | 9.32 | 202.2933 | 10.73 | 222.3 | 17.1967 | 10.0567 | 17.3167 | 22.46 | 11.392 | 886 | 100 | 57.0827
2019-09-14 04:30:00 | 9.44 | 261.32 | 10.8633 | 287.1667 | 17.2433 | 13.07 | 17.27 | 21.26 | 11.38 | 886 | 100 | 56.8613
2019-09-14 04:45:00 | 8.58 | 276.7633 | 9.8767 | 304.1333 | 15.76 | 14.13 | 16.14 | 20.64 | 11.3947 | 886 | 100 | 56.7427
2019-09-14 05:00:00 | 8.62 | 212.4633 | 9.91 | 233.4667 | 16.0333 | 10.11 | 16.0333 | 18.1267 | 11.404 | 886 | 100 | 57.1107
2019-09-14 05:15:00 | 9 | 170.99 | 10.35 | 187.9 | 16.58 | 20.04 | 16.9167 | 24.1467 | 11.418 | 886 | 100 | 57.1093
2019-09-14 05:30:00 | 9.26 | 224.6167 | 10.65 | 246.8333 | 17 | 23.352 | 17.5033 | 23.58 | 11.45 | 886 | 100 | 56.8967
2019-09-14 05:45:00 | 9.0467 | 52.7933 | 10.4033 | 58 | 16.7367 | 17.7633 | 16.83 | 17.67 | 11.4613 | 886 | 100 | 57.2527
2019-09-14 06:00:00 | 9.1333 | 184.0667 | 10.5033 | 202.2667 | 16.6833 | 16.8833 | 17.0167 | 23.0833 | 11.488 | 886 | 100 | 58.75
2019-09-14 06:15:00 | 8.54 | 270.58 | 9.83 | 297.3333 | 15.8233 | 18.1233 | 16.1133 | 25.0633 | 11.506 | 886 | 100 | 58.6513
2019-09-14 06:30:00 | 8.5933 | 120.24 | 9.89 | 132.1267 | 16.0833 | 12.6767 | 16.4133 | 20.6233 | 11.526 | 886 | 100 | 58.2747
2019-09-14 06:45:00 | 8.5553 | 46.0333 | 9.8507 | 50.5873 | 15.9147 | 13.7647 | 15.7413 | 21.9813 | 11.52 | 886 | 100 | 57.8087
2019-09-14 07:00:00 | 8.42 | 138.9567 | 9.6833 | 152.7 | 15.4467 | 11.7167 | 15.3133 | 19.7 | 11.524 | 886 | 100 | 56.65
2019-09-14 07:15:00 | 8.66 | 176.46 | 9.96 | 193.9 | 15.77 | 15.242 | 15.59 | 17.77 | 11.5473 | 886 | 100 | 55.996
2019-09-14 07:30:00 | 8.4 | 214.7933 | 9.6667 | 236.0333 | 15.1633 | 10.23 | 14.89 | 19.9767 | 11.578 | 886.4 | 100 | 55.908
2019-09-14 07:45:00 | 7.71 | 147.4267 | 8.87 | 162 | 14.28 | 9.0233 | 14.2267 | 24.9567 | 11.6313 | 887 | 100 | 56.4453
2019-09-14 08:00:00 | 7.8567 | 140.2067 | 9.0433 | 154.0667 | 14.6333 | 16.37 | 14.5133 | 21.67 | 11.6833 | 887 | 100 | 57.0253
2019-09-14 08:15:00 | 7.82 | 207.5767 | 9 | 228.1 | 14.71 | 5.7433 | 14.81 | 19.7933 | 11.708 | 887 | 100 | 56.5727
2019-09-14 08:30:00 | 7.38 | 251.8567 | 8.4867 | 276.7667 | 13.7367 | 15.1433 | 14.0433 | 23.9133 | 11.716 | 887 | 100 | 56.3053
2019-09-14 08:45:00 | 7.6233 | 146.57 | 8.77 | 161.0667 | 13.86 | 9.72 | 13.9333 | 21.8367 | 11.7127 | 887.0667 | 100 | 55.7653
2019-09-14 09:00:00 | 7.2433 | 190.13 | 8.3367 | 208.9333 | 13.5467 | 10.3333 | 13.62 | 25.97 | 11.7567 | 887.6 | 100 | 55.992
2019-09-14 09:15:00 | 7.2433 | 86.0233 | 8.33 | 94.5267 | 13.6967 | 17.0067 | 13.7267 | 20.8933 | 11.8207 | 887 | 100 | 56.2347
2019-09-14 09:30:00 | 7.4767 | 203.782 | 8.5967 | 223.9333 | 13.9833 | 20.356 | 14.172 | 20.7747 | 11.8513 | 887 | 100 | 55.3247
2019-09-14 09:45:00 | 7.23 | 245.79 | 8.3233 | 270.1 | 13.56 | 11.25 | 13.6833 | 26.39 | 11.8853 | 887.0667 | 100 | 55.0313
2019-09-14 10:00:00 | 6.95 | 190.5233 | 7.9967 | 209.3667 | 13.196 | 8.69 | 13.2767 | 23.07 | 11.908 | 888 | 100 | 54.3427
2019-09-14 10:15:00 | 6.8933 | 101.5533 | 7.9367 | 111.6 | 13.1333 | 11.0133 | 13.2433 | 16.0767 | 11.9767 | 888 | 100 | 54.1747
2019-09-14 10:30:00 | 6.816 | 77.814 | 7.838 | 85.51 | 12.92 | 9.58 | 12.696 | 18.334 | 12.018 | 888 | 100 | 53.9733
2019-09-14 10:45:00 | 6.7133 | 150.0333 | 7.7267 | 164.8667 | 12.7133 | 7.0333 | 12.59 | 17.7267 | 12.1033 | 888 | 100 | 53.3713
2019-09-14 11:00:00 | 6.5067 | 240.8 | 7.48 | 264.6 | 12.36 | 12.7533 | 12.5633 | 16.04 | 12.2033 | 888 | 100 | 53.978
2019-09-14 11:15:00 | 6.4933 | 190.09 | 7.47 | 208.8833 | 12.4633 | 8.8067 | 12.4733 | 22.8367 | 12.2833 | 888 | 100 | 54.7887
2019-09-14 11:30:00 | 6.4733 | 117.23 | 7.4433 | 128.8167 | 12.358 | 13.04 | 12.7533 | 30.3033 | 12.33 | 888 | 100 | 54.41
2019-09-14 11:45:00 | 6.68 | 207.1367 | 7.68 | 227.6267 | 12.86 | 11.28 | 13.1413 | 22.9967 | 12.48 | 888 | 100 | 54.1693
2019-09-14 12:00:00 | 6.956 | 198.54 | 7.998 | 218.172 | 13.19 | 18.362 | 13.238 | 28.748 | 12.51 | 888 | 100 | 54.2607
2019-09-14 12:15:00 | 7.0933 | 78.11 | 8.1567 | 85.8367 | 13.0367 | 16.3967 | 13.1907 | 19.2833 | 12.44 | 888 | 100 | 55.084
2019-09-14 12:30:00 | 7.02 | 97.7033 | 8.0767 | 107.37 | 12.9833 | 19.3633 | 12.96 | 21.9567 | 12.46 | 888 | 100 | 55.3927
2019-09-14 12:45:00 | 6.9167 | 139.6267 | 7.96 | 153.4233 | 12.96 | 10.3933 | 13.2467 | 17.7667 | 12.56 | 887.9333 | 100 | 54.986
2019-09-14 13:00:00 | 7.1033 | 148.0533 | 8.1667 | 162.69 | 13.28 | 15.58 | 13.72 | 19.9267 | 12.66 | 887 | 100 | 54.8587
2019-09-14 13:15:00 | 7.1533 | 218.31 | 8.2267 | 239.9 | 13.42 | 11.3333 | 13.57 | 25.38 | 12.7527 | 887 | 100 | 55.8627
2019-09-14 13:30:00 | 7.48 | 122.7633 | 8.6067 | 134.9 | 13.8667 | 4.6733 | 13.974 | 23.5467 | 12.882 | 887 | 100 | 57.06
2019-09-14 13:45:00 | 7.6767 | 224.4167 | 8.8333 | 246.6 | 14.2633 | 17.9533 | 14.7967 | 19.88 | 12.9213 | 887 | 100 | 57.046
2019-09-14 14:00:00 | 7.9033 | 181.2273 | 9.1013 | 199.1467 | 14.65 | 18.632 | 15.026 | 21.2027 | 12.984 | 887 | 100 | 56.822
2019-09-14 14:15:00 | 8.08 | 185.6133 | 9.2933 | 203.9667 | 14.774 | 23.7267 | 15.1107 | 15.72 | 12.984 | 887 | 100 | 56.7627
2019-09-14 14:30:00 | 8.2667 | 125.38 | 9.5067 | 137.7667 | 15.146 | 18.6267 | 15.3067 | 22.6667 | 12.988 | 886.6 | 100 | 56.6547
2019-09-14 14:45:00 | 8.392 | 219.658 | 9.648 | 241.38 | 15.4893 | 15.292 | 15.55 | 23.544 | 13.076 | 886 | 100 | 56.3393
2019-09-14 15:00:00 | 8.4236 | 91.6207 | 9.6907 | 100.6729 | 15.4414 | 17.4579 | 15.3521 | 24.2043 | 13.0121 | 886 | 100 | 55.8553
2019-09-14 15:15:00 | 8.1 | 276.3967 | 9.3133 | 303.7333 | 14.9233 | 14.8167 | 15.1267 | 20.4467 | 13.0813 | 886 | 100 | 55.7853
2019-09-14 15:30:00 | 8.244 | 213.414 | 9.48 | 234.52 | 15.042 | 18.914 | 15.208 | 19.24 | 13.196 | 886 | 100 | 56.9507
2019-09-14 15:45:00 | 8.5533 | 167.8167 | 9.8367 | 184.4 | 15.6547 | 21.34 | 15.4667 | 21.26 | 13.21 | 886 | 100 | 57.916
2019-09-14 16:00:00 | 8.9333 | 119.6433 | 10.2767 | 131.4667 | 16.04 | 16.1867 | 15.8333 | 22.04 | 13.1367 | 886 | 100 | 57.9307
2019-09-14 16:15:00 | 8.6067 | 67.0067 | 9.8933 | 73.63 | 15.6433 | 12.96 | 15.5633 | 23.38 | 13.1287 | 886 | 100 | 57.086
2019-09-14 16:30:00 | 8.1267 | 172.2067 | 9.3467 | 189.23 | 14.8567 | 14.9533 | 14.9833 | 22.1133 | 13.19 | 886 | 100 | 59.1067
2019-09-14 16:45:00 | 7.56 | 14.88 | 8.6967 | 16.3433 | 14.1033 | 13.29 | 14.4233 | 23.61 | 13.2993 | 886 | 100 | 57.6113
2019-09-14 17:00:00 | 6.8933 | 14.5867 | 7.93 | 16.03 | 12.9833 | 19.1767 | 13.83 | 26.4767 | 13.294 | 886 | 100 | 56.8773
2019-09-14 17:15:00 | 6.7 | 199.4733 | 7.7067 | 219.2 | 12.6667 | 12.7667 | 13.04 | 32.0567 | 13.6 | 886 | 100 | 58.5327
2019-09-14 17:30:00 | 6.6467 | 93.98 | 7.6467 | 103.2667 | 12.8067 | 18.0933 | 13.3067 | 26.7767 | 13.66 | 886 | 100 | 58.1953
2019-09-14 17:45:00 | 6.8067 | 182.95 | 7.8267 | 201.0333 | 12.88 | 16.59 | 12.6133 | 20.72 | 13.4733 | 886 | 100 | 58.25
2019-09-14 18:00:00 | 7.0733 | 252.41 | 8.14 | 277.3667 | 12.9 | 11.07 | 12.5867 | 24.12 | 13.3 | 886 | 100 | 59.582
2019-09-14 18:15:00 | 7.6587 | 78.06 | 8.8087 | 85.7767 | 14.002 | 13.3667 | 13.5587 | 21.0733 | 13.196 | 886 | 100 | 60.4733
2019-09-14 18:30:00 | 8.0533 | 141.8933 | 9.2667 | 155.9233 | 14.67 | 15.2267 | 14.5367 | 21.9967 | 13.19 | 886 | 100 | 60.4793
2019-09-14 18:45:00 | 8.0133 | 231.2933 | 9.2233 | 254.1667 | 14.9 | 3.8467 | 14.6833 | 22.3233 | 13.172 | 886 | 100 | 61.6287
2019-09-14 19:00:00 | 8.32 | 164.9867 | 9.57 | 181.3 | 15.132 | 13.6333 | 14.9833 | 22.0967 | 13.2 | 886 | 99.6 | 61.754
2019-09-14 19:15:00 | 8.4 | 66.41 | 9.67 | 72.9733 | 15.52 | 14.48 | 15.4333 | 20.7333 | 13.2133 | 886 | 99.26 | 61.3393
2019-09-14 19:30:00 | 8.92 | 150.79 | 10.2633 | 165.7 | 15.6267 | 12.42 | 15.36 | 18.2867 | 13.2667 | 886 | 98.5 | 61.4793
2019-09-14 19:45:00 | 8.6827 | 193.6367 | 9.9947 | 212.7867 | 15.4227 | 12.8807 | 14.8913 | 16.4573 | 13.4007 | 886 | 97.6933 | 61.8693
2019-09-14 20:00:00 | 8.9667 | 190.01 | 10.3133 | 208.8 | 15.9567 | 12.66 | 15.5467 | 15.15 | 13.464 | 886 | 97.36 | 61.5807
2019-09-14 20:15:00 | 9.1133 | 143.0533 | 10.4867 | 157.2 | 16.5253 | 8.8733 | 16.4067 | 17.0933 | 13.4767 | 886 | 97.3333 | 62.058
2019-09-14 20:30:00 | 9.34 | 93.3133 | 10.7467 | 102.5333 | 16.9467 | 15.3067 | 16.3533 | 20.48 | 13.3367 | 886 | 98.4 | 62.08
2019-09-14 20:45:00 | 9.44 | 122.38 | 10.8567 | 134.4867 | 16.4 | 11.2633 | 15.9967 | 16.73 | 13.304 | 886.0667 | 98.6667 | 61.164
2019-09-14 21:00:00 | 9.0267 | 263.2933 | 10.39 | 289.3333 | 15.9067 | 14.0833 | 15.75 | 18.2233 | 13.3533 | 887 | 98.2667 | 59.5153
2019-09-14 21:15:00 | 8.5167 | 250.3767 | 9.8 | 275.1333 | 15.16 | 10.03 | 14.8667 | 14.4233 | 13.37 | 887 | 98.1667 | 59.5953
2019-09-14 21:30:00 | 8.2233 | 204.75 | 9.4667 | 225 | 14.7867 | 4.7033 | 14.7467 | 16.77 | 13.3433 | 887 | 98.34 | 59.632
2019-09-14 21:45:00 | 8.2733 | 148.18 | 9.5267 | 162.8333 | 14.9167 | 6.2467 | 14.7933 | 15.3267 | 13.3913 | 887 | 97.9333 | 60.1873
2019-09-14 22:00:00 | 8.2067 | 215.6467 | 9.44 | 236.9667 | 14.8167 | 22.34 | 14.2733 | 15.9267 | 13.418 | 887 | 97.6667 | 58.96
2019-09-14 22:15:00 | 8.4687 | 161.002 | 9.7487 | 176.9133 | 14.9747 | 9.4013 | 14.6173 | 16.766 | 13.4813 | 887 | 97.0267 | 59.0753
2019-09-14 22:30:00 | 8.56 | 16.7133 | 9.85 | 18.36 | 15.2367 | 15.4133 | 14.72 | 17.8333 | 13.534 | 887 | 96.4667 | 59.8167
2019-09-14 22:45:00 | 8.4547 | 137.8427 | 9.7253 | 151.4647 | 14.9113 | 9.7793 | 14.682 | 17.162 | 13.676 | 887 | 95.38 | 58.7353
2019-09-14 23:00:00 | 8.68 | 156.9233 | 9.98 | 172.4333 | 15.1533 | 11.53 | 15.0633 | 16.1633 | 13.6767 | 887 | 95.5667 | 59.6233
2019-09-14 23:15:00 | 8.6 | 153.1 | 9.8933 | 168.2333 | 15.2067 | 9.3667 | 15.3333 | 23.2267 | 13.6233 | 887 | 95.8333 | 59.5387
2019-09-14 23:30:00 | 8.34 | 82.0533 | 9.6 | 90.1667 | 14.9667 | 15.26 | 15.0667 | 22.6133 | 13.654 | 887 | 95.5 | 59.774
2019-09-14 23:45:00 | 8.31 | 172.02 | 9.5567 | 189.0333 | 14.9267 | 12.7133 | 14.7967 | 22.9633 | 13.62 | 887 | 95.7667 | 60.0373