## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-15 00:00:00 | 7.8607 | 178.6264 | 9.0479 | 196.2929 | 14.2679 | 13.2743 | 14.4057 | 23.1093 | 13.6164 | 887 | 95.7071 | 59.5921
2019-09-15 00:15:00 | 8 | 312.1633 | 9.21 | 343.0333 | 14.3133 | 7.3433 | 14.08 | 18.3967 | 13.7167 | 887 | 94.9333 | 59.762
2019-09-15 00:30:00 | 7.5933 | 214.31 | 8.7367 | 235.5 | 14.0467 | 10.03 | 13.66 | 17.5367 | 13.7033 | 887 | 95.1333 | 59.462
2019-09-15 00:45:00 | 7.6733 | 181.51 | 8.8267 | 199.4633 | 13.83 | 13.27 | 13.4933 | 15.2133 | 13.68 | 887 | 95.0933 | 59.87
2019-09-15 01:00:00 | 7.7667 | 124.61 | 8.94 | 136.93 | 13.8367 | 11.6967 | 13.6533 | 17.2533 | 13.7467 | 887 | 94.4667 | 59.8347
2019-09-15 01:15:00 | 7.81 | 100.3433 | 8.9833 | 110.2633 | 14.2367 | 18.8633 | 14.1733 | 19.7733 | 13.7787 | 887 | 94.4667 | 60.188
2019-09-15 01:30:00 | 8.2967 | 117.1433 | 9.5433 | 128.73 | 14.91 | 25.7433 | 15.0067 | 22.1267 | 13.808 | 886.6 | 94.16 | 60.4373
2019-09-15 01:45:00 | 8.7067 | 194.0913 | 10.0233 | 213.28 | 15.5267 | 5.4267 | 15.4767 | 18.76 | 13.87 | 886 | 93.6333 | 60.5373
2019-09-15 02:00:00 | 8.6533 | 220.7633 | 9.9633 | 242.6 | 15.4733 | 8.7133 | 15.5233 | 24.4667 | 13.894 | 886 | 93.46 | 59.8047
2019-09-15 02:15:00 | 8.1333 | 320.81 | 9.3533 | 352.5333 | 14.9033 | 10.98 | 15.32 | 25.4367 | 13.7867 | 886 | 94.2 | 60.5093
2019-09-15 02:30:00 | 7.6267 | 218.6433 | 8.78 | 240.2667 | 14.1967 | 14.9467 | 14.52 | 23.53 | 13.68 | 886 | 95 | 59.63
2019-09-15 02:45:00 | 7 | 185.43 | 8.0533 | 203.7667 | 13.1367 | 16.2367 | 13.3633 | 30.5267 | 13.5833 | 886 | 95.4333 | 59.0033
2019-09-15 03:00:00 | 6.76 | 177.3633 | 7.78 | 194.9 | 12.83 | 5.1033 | 12.7033 | 25.8933 | 13.542 | 886 | 95.7 | 58.2973
2019-09-15 03:15:00 | 6.36 | 190.0667 | 7.33 | 208.8667 | 12.14 | 14.99 | 12.29 | 21.48 | 13.5433 | 886 | 95.1667 | 57.224
2019-09-15 03:30:00 | 6.52 | 187.34 | 7.5033 | 205.8667 | 12.0333 | 41.3033 | 12.1033 | 19.4533 | 13.6233 | 886 | 94.5 | 59.5287
2019-09-15 03:45:00 | 6.7867 | 292.5367 | 7.8067 | 321.4667 | 12.64 | 14.2567 | 12.8067 | 19.8533 | 13.6413 | 886 | 94.44 | 59.8027
2019-09-15 04:00:00 | 6.7733 | 214.2167 | 7.7933 | 235.4 | 12.68 | 5.4433 | 12.58 | 14.98 | 13.5867 | 886 | 94.8 | 58.7853
2019-09-15 04:15:00 | 6.592 | 105.7133 | 7.5893 | 116.1667 | 12.4467 | 18.22 | 12.3267 | 22.2967 | 13.5213 | 886 | 94.7733 | 56.1293
2019-09-15 04:30:00 | 5.92 | 163.04 | 6.82 | 179.1667 | 11.3133 | 16.6333 | 10.9467 | 25.6633 | 13.532 | 886 | 94.2667 | 50.8093
2019-09-15 04:45:00 | 5.116 | 72.4107 | 5.882 | 79.5733 | 9.2567 | 3.6787 | 9.3127 | 14.7233 | 13.6233 | 886 | 93.16 | 48.598
2019-09-15 05:00:00 | 5.66 | 190.2133 | 6.51 | 209.0167 | 10.1833 | 14.9233 | 10.11 | 21.6233 | 13.7567 | 886 | 92.4333 | 45.0207
2019-09-15 05:15:00 | 5.72 | 89.76 | 6.58 | 98.6333 | 10.5813 | 4.91 | 10.4167 | 19.9833 | 13.71 | 886 | 92.8067 | 47.1473
2019-09-15 05:30:00 | 5.5467 | 90.3667 | 6.38 | 99.3 | 10.46 | 15.7967 | 10.65 | 22.87 | 13.6367 | 886 | 93.7 | 51.3947
2019-09-15 05:45:00 | 6.0267 | 210.58 | 6.9367 | 231.4 | 11.56 | 13.6667 | 11.9367 | 21.45 | 13.5133 | 886 | 94.4333 | 56.7973
2019-09-15 06:00:00 | 6.1467 | 246.1267 | 7.07 | 270.4667 | 11.6733 | 16.28 | 12.4767 | 16.9167 | 13.472 | 886 | 94.9 | 57.2167
2019-09-15 06:15:00 | 6.36 | 206.0533 | 7.3167 | 226.4333 | 11.5567 | 11.19 | 12 | 16.3567 | 13.45 | 886 | 95 | 55.8313
2019-09-15 06:30:00 | 6.3067 | 283.7733 | 7.2567 | 311.8333 | 11.13 | 7.5567 | 11.2667 | 15.63 | 13.45 | 886 | 94.6667 | 58.3967
2019-09-15 06:45:00 | 7.0867 | 127.6733 | 8.1533 | 140.3 | 12.7367 | 11.5367 | 12.69 | 19.9933 | 13.5213 | 886 | 93.8 | 58.908
2019-09-15 07:00:00 | 7.14 | 146.48 | 8.22 | 160.9667 | 12.8633 | 10.1633 | 12.9367 | 21.36 | 13.7533 | 886 | 91.6667 | 60.0153
2019-09-15 07:15:00 | 7.5667 | 132.14 | 8.7033 | 145.2 | 13.8107 | 18.4833 | 13.55 | 24.1333 | 13.7907 | 886.0667 | 91.9 | 59.5207
2019-09-15 07:30:00 | 7.6867 | 125.2467 | 8.85 | 137.6333 | 14.3133 | 14.85 | 13.9767 | 25.7733 | 13.792 | 887 | 92.3 | 59.7373
2019-09-15 07:45:00 | 7.3867 | 89.23 | 8.4967 | 98.0467 | 13.74 | 9.6467 | 13.4 | 12.92 | 13.8813 | 887 | 92.1 | 57.2873
2019-09-15 08:00:00 | 7.26 | 194.41 | 8.35 | 213.6333 | 13.1867 | 12.6933 | 12.7533 | 22.4333 | 13.98 | 887 | 91.6333 | 55.898
2019-09-15 08:15:00 | 6.9167 | 175.9733 | 7.9533 | 193.3667 | 12.7933 | 16.3067 | 12.4633 | 25.7713 | 14.13 | 887 | 91.8 | 56.1067
2019-09-15 08:30:00 | 6.6767 | 87.96 | 7.68 | 96.66 | 12.5667 | 11.9333 | 12.294 | 19.8833 | 14.0433 | 887 | 92.4667 | 57.6613
2019-09-15 08:45:00 | 7.4233 | 122.04 | 8.5367 | 134.1 | 13.62 | 9.15 | 13.75 | 14.0233 | 14.1267 | 887 | 91.5333 | 57.902
2019-09-15 09:00:00 | 6.8967 | 253.8 | 7.9367 | 278.9 | 13.0667 | 11.6767 | 13.7433 | 22.6433 | 14.26 | 887.4 | 92.2667 | 58.312
2019-09-15 09:15:00 | 6.9 | 158.8867 | 7.94 | 174.6 | 12.94 | 18.93 | 13.57 | 27.37 | 14.5033 | 887.3333 | 92.7933 | 56.4447
2019-09-15 09:30:00 | 6.3067 | 263.96 | 7.2533 | 290.0667 | 12.04 | 13.13 | 12.47 | 23.0167 | 14.67 | 888 | 92.5667 | 53.752
2019-09-15 09:45:00 | 5.8933 | 175.36 | 6.7867 | 192.7 | 11.3633 | 16.43 | 11.7533 | 23.2867 | 14.89 | 888 | 90.0667 | 49.9773
2019-09-15 10:00:00 | 6.2467 | 170.02 | 7.1867 | 186.8333 | 11.8833 | 8.3433 | 12.0467 | 26.2867 | 14.99 | 888 | 89.1333 | 51.788
2019-09-15 10:15:00 | 6.0167 | 129.8033 | 6.92 | 142.6333 | 11.5767 | 16.9967 | 11.9733 | 28.2233 | 15.2267 | 888.0667 | 89.5667 | 49.292
2019-09-15 10:30:00 | 5.8967 | 283.3433 | 6.7867 | 311.3667 | 11.0433 | 12.0833 | 11.8 | 22.8433 | 15.6 | 889 | 89.5 | 45.1387
2019-09-15 10:45:00 | 5.7 | 169.24 | 6.5567 | 185.9667 | 10.7433 | 17.1833 | 11.05 | 26.11 | 15.9387 | 889 | 88.9067 | 49.804
2019-09-15 11:00:00 | 5.6467 | 185.5467 | 6.4967 | 203.9 | 10.6767 | 20.0967 | 11.11 | 27.0633 | 16.0733 | 889 | 89.7333 | 51.1467
2019-09-15 11:15:00 | 5.56 | 66.6867 | 6.3933 | 73.2733 | 10.2067 | 28.66 | 10.8633 | 35.8 | 16.3607 | 889 | 88.1667 | 50.354
2019-09-15 11:30:00 | 5.48 | 126.6733 | 6.304 | 139.2 | 10.0733 | 20.92 | 10.5633 | 30.4867 | 16.4767 | 888.6 | 88.6333 | 39.6047
2019-09-15 11:45:00 | 4.5867 | 175.0833 | 5.2767 | 192.4 | 8.6967 | 25.1267 | 9.4567 | 34.0333 | 16.9867 | 888.7333 | 87.9933 | 36.124
2019-09-15 12:00:00 | 4.3467 | 256.81 | 4.9967 | 282.2 | 8.43 | 24.5 | 9.0367 | 33.1867 | 17.2667 | 889 | 87.3 | 29.8293
2019-09-15 12:15:00 | 4.47 | 196.44 | 5.1433 | 215.8667 | 8.4767 | 16.55 | 8.86 | 24.8667 | 17.1967 | 889 | 85.5 | 32.7113
2019-09-15 12:30:00 | 4.8567 | 265.5467 | 5.59 | 291.8 | 9.2433 | 15.2833 | 9.4133 | 20.8333 | 17.05 | 889 | 85.7667 | 41.342
2019-09-15 12:45:00 | 4.714 | 60.378 | 5.4233 | 66.3447 | 9.0553 | 22.8127 | 9.6267 | 30.2667 | 16.956 | 888.2667 | 89.44 | 41.1273
2019-09-15 13:00:00 | 4.5067 | 47.0133 | 5.18 | 51.6633 | 8.76 | 21.3833 | 9.4167 | 32.31 | 16.8733 | 888 | 92.5667 | 41.0787
2019-09-15 13:15:00 | 4.3333 | 103.9067 | 4.9867 | 114.1733 | 8.5167 | 21.9533 | 9.07 | 28.71 | 16.6567 | 888 | 95.7333 | 35.1267
2019-09-15 13:30:00 | 3.96 | 137.3933 | 4.56 | 150.9733 | 7.6767 | 26.3267 | 8.23 | 33.1967 | 16.9367 | 888 | 96.2667 | 30.204
2019-09-15 13:45:00 | 4.26 | 31.36 | 4.9033 | 34.4533 | 8.05 | 32.8533 | 7.8833 | 35.2267 | 16.7767 | 888 | 93.2933 | 31.3733
2019-09-15 14:00:00 | 4.7 | 128.2867 | 5.4033 | 140.96 | 8.6567 | 21.2867 | 9.0567 | 32.88 | 16.582 | 888 | 92.9333 | 34.9273
2019-09-15 14:15:00 | 4.946 | 275.3467 | 5.6867 | 302.5667 | 8.8967 | 29.3067 | 9.95 | 34.7733 | 16.3767 | 888 | 92.0667 | 39.3333
2019-09-15 14:30:00 | 4.9833 | 175.9733 | 5.7333 | 193.3667 | 9.0233 | 23.3667 | 10.7167 | 41.0333 | 16.362 | 888 | 91.4 | 38.6787
2019-09-15 14:45:00 | 5.2893 | 105.4767 | 6.08 | 115.9067 | 10.0067 | 21.6467 | 10.85 | 24.9333 | 16.38 | 888 | 93.5 | 39.3227
2019-09-15 15:00:00 | 5.3733 | 79.7433 | 6.1867 | 87.62 | 10.2 | 14.06 | 10.6433 | 18.6333 | 16.24 | 888 | 94.26 | 39.6767
2019-09-15 15:15:00 | 4.8333 | 126.9267 | 5.5667 | 139.4667 | 9.46 | 8.06 | 9.9867 | 26.9133 | 16.292 | 888 | 94.8933 | 39.692
2019-09-15 15:30:00 | 4.86 | 175.5133 | 5.6 | 192.8667 | 9.52 | 12.3533 | 9.8333 | 25.6 | 16.5067 | 888 | 94.76 | 40.2593
2019-09-15 15:45:00 | 4.9267 | 34.16 | 5.68 | 37.5333 | 9.6267 | 17.0967 | 10.0167 | 27.6333 | 16.5347 | 888 | 94.2933 | 40.412
2019-09-15 16:00:00 | 4.7667 | 62.0867 | 5.4867 | 68.22 | 9.2333 | 8.7033 | 9.7367 | 21.4267 | 16.4933 | 888 | 93.9333 | 40.962
2019-09-15 16:15:00 | 4.8467 | 139.87 | 5.58 | 153.7 | 9.23 | 14.0767 | 9.1833 | 18.8567 | 16.3333 | 888 | 93.6333 | 37.4993
2019-09-15 16:30:00 | 4.8467 | 181.61 | 5.58 | 199.5667 | 9.05 | 10.4833 | 8.95 | 21.4833 | 16.2 | 887.6 | 93.5667 | 35.6707
2019-09-15 16:45:00 | 4.8933 | 171.1367 | 5.63 | 188.0667 | 9.1233 | 8.1 | 9.1167 | 16.3167 | 16.058 | 887 | 94.7 | 38.444
2019-09-15 17:00:00 | 4.7667 | 160.0433 | 5.49 | 175.8667 | 9.2833 | 6.0933 | 9.2567 | 19.8633 | 16.018 | 887 | 95.8333 | 41.238
2019-09-15 17:15:00 | 4.9067 | 186.8867 | 5.6533 | 205.3667 | 9.18 | 10.9667 | 8.8533 | 18.36 | 15.78 | 887 | 95.1933 | 42.0853
2019-09-15 17:30:00 | 4.92 | 241.4867 | 5.66 | 265.3667 | 9.0667 | 227.7267 | 8.72 | 24.2733 | 15.56 | 887 | 95.2333 | 44.0287
2019-09-15 17:45:00 | 5.2133 | 171.11 | 6.0033 | 188.0333 | 9.5467 | 5.9133 | 9.0367 | 21.2967 | 15.2867 | 887 | 96.8333 | 46.5367
2019-09-15 18:00:00 | 5.66 | 272.2433 | 6.5167 | 299.1667 | 10.3667 | 9.6867 | 9.9633 | 19.71 | 15.0067 | 887 | 98.4333 | 48.6547
2019-09-15 18:15:00 | 5.52 | 116.5033 | 6.36 | 128.0233 | 10.2967 | 10.3533 | 10.13 | 18.27 | 14.6667 | 887 | 99.8 | 50.5427
2019-09-15 18:30:00 | 4.8933 | 27.7833 | 5.64 | 30.53 | 9.3567 | 8.0867 | 9.39 | 24.21 | 14.5067 | 887 | 100 | 49.0273
2019-09-15 18:45:00 | 4.97 | 63.86 | 5.7167 | 70.1733 | 9.36 | 2.74 | 9.5467 | 22.8433 | 14.3067 | 887 | 100 | 44.424
2019-09-15 19:00:00 | 5.0633 | 103.4 | 5.8233 | 113.62 | 9.4267 | 11.4867 | 9.4933 | 17.7433 | 14.18 | 887 | 100 | 44.5473
2019-09-15 19:15:00 | 5.2867 | 109.3833 | 6.0867 | 120.2 | 9.86 | 6.4833 | 10.0567 | 15.2 | 14.05 | 887 | 100 | 47.7087
2019-09-15 19:30:00 | 4.8467 | 65.5367 | 5.58 | 72.02 | 9.2667 | 13.03 | 9.3967 | 23.1067 | 14.01 | 887 | 100 | 48.7493
2019-09-15 19:45:00 | 4.5933 | 94.7767 | 5.28 | 104.1467 | 8.91 | 6.5433 | 9.2067 | 16.51 | 13.9913 | 887 | 100 | 44.3633
2019-09-15 20:00:00 | 4.8667 | 121.13 | 5.5933 | 133.1 | 9.1967 | 9.6233 | 9.2667 | 18.3567 | 13.95 | 887.4 | 100 | 43.57
2019-09-15 20:15:00 | 4.7067 | 196.7533 | 5.4167 | 216.2033 | 8.7833 | 237.75 | 8.71 | 19.2767 | 13.948 | 888 | 100 | 42.4747
2019-09-15 20:30:00 | 4.7733 | 23.8267 | 5.5033 | 26.1833 | 8.6567 | 13.6767 | 8.8233 | 17.45 | 13.96 | 888 | 100 | 43.7687
2019-09-15 20:45:00 | 5 | 142.9033 | 5.76 | 157.0333 | 9.3167 | 7.8967 | 9.4733 | 12.1367 | 13.954 | 888 | 100 | 43.6687
2019-09-15 21:00:00 | 4.612 | 303.928 | 5.304 | 333.98 | 8.94 | 5.126 | 9.42 | 20.378 | 13.974 | 888 | 100 | 43.084
2019-09-15 21:15:00 | 4.37 | 102.7433 | 5.0267 | 112.9 | 8.5067 | 6.9167 | 9.4133 | 24.3667 | 13.98 | 888 | 100 | 43.0067
2019-09-15 21:30:00 | 4.67 | 220.2567 | 5.38 | 242.0333 | 8.96 | 10.9033 | 9.5667 | 17.5467 | 13.988 | 888 | 100 | 45.6687
2019-09-15 21:45:00 | 5.2333 | 315.1467 | 6.0233 | 346.3 | 9.3167 | 3.97 | 9.4767 | 6.7867 | 14.0467 | 888 | 100 | 46.7093
2019-09-15 22:00:00 | 5.18 | 181.4933 | 5.9633 | 199.4333 | 9.3033 | 10.3233 | 9.7367 | 16.8667 | 14.088 | 888 | 100 | 45.366
2019-09-15 22:15:00 | 5.0733 | 83.2533 | 5.84 | 91.48 | 9.3533 | 11.9067 | 9.5533 | 16.56 | 14.114 | 888 | 100 | 48.6727
2019-09-15 22:30:00 | 4.7267 | 236.0933 | 5.44 | 259.4333 | 8.7067 | 15.36 | 9.1267 | 12.2333 | 14.114 | 888 | 100 | 47.68
2019-09-15 22:45:00 | 4.8967 | 29.6333 | 5.63 | 32.56 | 9.1967 | 12.98 | 9.4567 | 10.7267 | 14.1113 | 888 | 100 | 46.5653
2019-09-15 23:00:00 | 4.8633 | 118.7533 | 5.59 | 130.5 | 8.97 | 9.1867 | 9.27 | 10.0133 | 14.09 | 888 | 100 | 38.7167
2019-09-15 23:15:00 | 3.9933 | 211.8633 | 4.6 | 232.8067 | 7.7 | 16.53 | 8.0233 | 21.7533 | 14.0827 | 888.0667 | 100 | 32.2527
2019-09-15 23:30:00 | 4.0867 | 13.0233 | 4.7133 | 14.3067 | 7.34 | 10.9767 | 7.5167 | 14.02 | 14.084 | 889 | 100 | 36.7367
2019-09-15 23:45:00 | 4.0467 | 107.8667 | 4.6533 | 118.52 | 6.7867 | 13.58 | 7.3533 | 16.1933 | 14.0827 | 888.2667 | 100 | 37.316