## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-16 00:00:00 | 3.8421 | 142.3657 | 4.4157 | 156.4429 | 6.055 | 6.6221 | 6.4271 | 12.8607 | 14.0836 | 888 | 100 | 34.4386
2019-09-16 00:15:00 | 3.7867 | 23.8667 | 4.3567 | 26.2133 | 5.97 | 2.6233 | 6.2133 | 237.0633 | 14.098 | 888 | 100 | 31.2027
2019-09-16 00:30:00 | 3.9867 | 210.1467 | 4.5833 | 230.9267 | 6.4567 | 11.91 | 6.7467 | 10.33 | 14.106 | 888 | 100 | 29.9593
2019-09-16 00:45:00 | 3.6367 | 18.2933 | 4.18 | 20.1067 | 6.8467 | 222.9667 | 6.8167 | 9.4333 | 14.1 | 888 | 100 | 28.1453
2019-09-16 01:00:00 | 3.6033 | 224.22 | 4.14 | 246.3867 | 6.9067 | 236.5667 | 7.01 | 9.8 | 14.096 | 888 | 100 | 27.5507
2019-09-16 01:15:00 | 3.9367 | 21.2967 | 4.5267 | 23.3967 | 7 | 137.2267 | 7.2367 | 12.41 | 14.082 | 888 | 100 | 30.264
2019-09-16 01:30:00 | 4.1967 | 203.5767 | 4.8267 | 223.71 | 7.02 | 341.6333 | 6.9433 | 9.8367 | 14.07 | 888 | 100 | 34.7967
2019-09-16 01:45:00 | 4.2267 | 116.3567 | 4.8667 | 127.86 | 7.35 | 9.44 | 7.25 | 7.5067 | 14.0847 | 888 | 100 | 32.41
2019-09-16 02:00:00 | 4.2067 | 107.29 | 4.8533 | 117.9 | 6.3833 | 14.6533 | 6.6967 | 14.2 | 14.098 | 888 | 100 | 32.8967
2019-09-16 02:15:00 | 3.8267 | 322.2067 | 4.3967 | 354.0667 | 6.8967 | 12.93 | 7.1867 | 23.9067 | 14.1167 | 888 | 100 | 37.2653
2019-09-16 02:30:00 | 4.6333 | 119.4733 | 5.33 | 131.2867 | 7.35 | 21.2767 | 7.58 | 23.08 | 14.114 | 887.6 | 100 | 38.3553
2019-09-16 02:45:00 | 4.8467 | 81.75 | 5.5767 | 89.8333 | 8.2067 | 16.2567 | 8.1467 | 12.9133 | 14.1507 | 887 | 100 | 44.196
2019-09-16 03:00:00 | 5.36 | 82.13 | 6.1633 | 90.2533 | 9.82 | 14.61 | 9.8 | 5.7667 | 14.152 | 887 | 100 | 46.5
2019-09-16 03:15:00 | 5.36 | 92.24 | 6.1633 | 101.3533 | 9.9233 | 13.3067 | 10.03 | 10.6767 | 14.1247 | 887 | 100 | 44.8207
2019-09-16 03:30:00 | 5.3867 | 72.7867 | 6.2033 | 79.9867 | 9.9233 | 25.0533 | 9.8967 | 22.7967 | 14.106 | 887 | 100 | 41.6433
2019-09-16 03:45:00 | 4.5947 | 111.068 | 5.2947 | 122.0467 | 8.662 | 13.6907 | 8.7527 | 22.8433 | 14.0993 | 887 | 100 | 40.4747
2019-09-16 04:00:00 | 3.9067 | 51.1367 | 4.5033 | 56.1867 | 6.69 | 245.2633 | 6.9633 | 13.8533 | 14.09 | 887 | 100 | 38.5147
2019-09-16 04:15:00 | 3.3967 | 12.95 | 3.91 | 14.2267 | 5.9767 | 350.9 | 6.39 | 0.24 | 14.074 | 887 | 100 | 39.3587
2019-09-16 04:30:00 | 3.51 | 27.3967 | 4.0433 | 30.1 | 6.27 | 121.2333 | 6.51 | 11.84 | 14.046 | 887 | 100 | 41.6193
2019-09-16 04:45:00 | 3.81 | 203.1633 | 4.3833 | 223.25 | 6.34 | 236.44 | 6.77 | 13.3167 | 14.0407 | 887 | 100 | 44.698
2019-09-16 05:00:00 | 4.05 | 208.3233 | 4.6633 | 228.9167 | 7.14 | 2.2067 | 7.5033 | 17.0767 | 14.05 | 887 | 100 | 46.156
2019-09-16 05:15:00 | 4.3 | 210.8967 | 4.9567 | 231.7467 | 7.27 | 122.9267 | 7.5933 | 128.62 | 14.0747 | 887 | 100 | 41.9987
2019-09-16 05:30:00 | 4.04 | 52.91 | 4.65 | 58.1333 | 7.2967 | 117.5267 | 7.5067 | 125.5733 | 14.1 | 887 | 100 | 37.018
2019-09-16 05:45:00 | 3.7967 | 24.9667 | 4.3667 | 27.44 | 6.6067 | 237.3867 | 6.4867 | 123.08 | 14.12 | 887 | 100 | 35.892
2019-09-16 06:00:00 | 3.77 | 212.2467 | 4.3333 | 233.2333 | 6.76 | 233.3867 | 7.0933 | 118.2533 | 14.1867 | 887 | 100 | 37.4047
2019-09-16 06:15:00 | 4.5867 | 101.0033 | 5.2767 | 110.98 | 8.2067 | 228.46 | 8.08 | 9.38 | 14.2687 | 887 | 100 | 41.9907
2019-09-16 06:30:00 | 5.0533 | 101.2367 | 5.8167 | 111.24 | 9.3333 | 189.3933 | 9.38 | 16.62 | 14.23 | 887 | 100 | 42.724
2019-09-16 06:45:00 | 4.8213 | 320.5887 | 5.546 | 352.2933 | 8.874 | 264.092 | 8.67 | 12.65 | 14.1667 | 887 | 100 | 41.8107
2019-09-16 07:00:00 | 4.82 | 156.1333 | 5.55 | 171.5667 | 8.4767 | 7.6267 | 8.85 | 25.1833 | 14.122 | 887 | 100 | 47.2027
2019-09-16 07:15:00 | 4.4333 | 30.17 | 5.1 | 33.1533 | 8.5033 | 5.4733 | 8.61 | 19.1633 | 14.1013 | 887 | 100 | 46.9073
2019-09-16 07:30:00 | 4.7333 | 229.73 | 5.4533 | 252.4467 | 8.93 | 12.8133 | 9.0367 | 26.4433 | 14.084 | 887 | 100 | 41.3773
2019-09-16 07:45:00 | 5.2233 | 96.8367 | 6.0133 | 106.4067 | 9.3733 | 118.2733 | 9.4 | 6.57 | 14.1567 | 887 | 100 | 38.7013
2019-09-16 08:00:00 | 4.55 | 25.8033 | 5.2333 | 28.36 | 8.0333 | 132.5267 | 8.0733 | 6.6167 | 14.27 | 887.4 | 99.92 | 31.4273
2019-09-16 08:15:00 | 4.34 | 37.9967 | 4.9933 | 41.75 | 7.3667 | 241.6567 | 7.37 | 6.0233 | 14.3533 | 888 | 99.3 | 31.348
2019-09-16 08:30:00 | 4.7267 | 118.8633 | 5.4467 | 130.6233 | 8.2267 | 16.7833 | 8.0233 | 11.71 | 14.376 | 888 | 99.2333 | 25.264
2019-09-16 08:45:00 | 4.0053 | 43.492 | 4.6073 | 47.7853 | 7.3367 | 124.956 | 7.2653 | 21.7047 | 14.39 | 888 | 99.5133 | 25.316
2019-09-16 09:00:00 | 3.8733 | 105.97 | 4.4533 | 116.4467 | 7.4967 | 12.9967 | 7.3733 | 24.0433 | 14.47 | 888 | 99.8 | 25.3933
2019-09-16 09:15:00 | 3.8233 | 237.9667 | 4.4033 | 261.5 | 7.3433 | 10.0567 | 7.34 | 14.6267 | 14.6867 | 888 | 99.5933 | 31.3553
2019-09-16 09:30:00 | 4.0233 | 281.5333 | 4.63 | 309.3667 | 7.7033 | 4.81 | 7.6267 | 13.9 | 15.0333 | 888 | 99.0333 | 36.2767
2019-09-16 09:45:00 | 4.5267 | 244.18 | 5.2133 | 268.3333 | 8.22 | 8.2667 | 8.1967 | 17.9867 | 15.3 | 888 | 97.7 | 38.8453
2019-09-16 10:00:00 | 4.94 | 73.7867 | 5.68 | 81.0867 | 8.8533 | 1.9667 | 8.7233 | 12.28 | 15.5933 | 888 | 97.0333 | 39.1893
2019-09-16 10:15:00 | 4.9587 | 120.5627 | 5.7 | 132.488 | 8.898 | 217.988 | 8.8673 | 224.02 | 15.5687 | 888 | 95.9933 | 37.1527
2019-09-16 10:30:00 | 4.91 | 222.2833 | 5.6433 | 244.2667 | 9.13 | 17.0367 | 9.06 | 22.57 | 15.578 | 888.4 | 96.4 | 33.7513
2019-09-16 10:45:00 | 4.9467 | 92.79 | 5.6967 | 101.96 | 9.2767 | 19.33 | 8.8133 | 17.78 | 15.45 | 889 | 96.5667 | 38.6673
2019-09-16 11:00:00 | 5.04 | 180.8167 | 5.81 | 198.7 | 9.7767 | 15.5167 | 9.7333 | 25.7867 | 15.382 | 889 | 97.3667 | 39.8273
2019-09-16 11:15:00 | 4.8067 | 282.15 | 5.5273 | 310.0533 | 9.368 | 22.8873 | 9.5807 | 25.9167 | 15.3707 | 888.9333 | 97.88 | 43.7453
2019-09-16 11:30:00 | 4.9367 | 147.1167 | 5.68 | 161.6667 | 9.6833 | 11.4133 | 9.8733 | 18.3 | 15.4067 | 888 | 98.3667 | 42.9967
2019-09-16 11:45:00 | 5.64 | 161.93 | 6.4833 | 177.9333 | 10.6167 | 12.9267 | 10.37 | 11.5533 | 15.5233 | 888 | 97.4333 | 42.696
2019-09-16 12:00:00 | 5.2933 | 273.8633 | 6.0833 | 300.9333 | 10.2633 | 11.9067 | 10.1033 | 15.7 | 15.6033 | 888 | 97.1667 | 39.012
2019-09-16 12:15:00 | 5.3033 | 114.2967 | 6.1 | 125.6033 | 9.89 | 12.53 | 9.7467 | 22.41 | 15.6833 | 888 | 96.6 | 40.6287
2019-09-16 12:30:00 | 5.3367 | 117.5767 | 6.1467 | 129.2033 | 9.9367 | 17.7167 | 9.816 | 26.73 | 15.73 | 888 | 95.9333 | 43.1727
2019-09-16 12:45:00 | 5.4213 | 137.5367 | 6.2387 | 151.14 | 10.0313 | 19.0333 | 9.7713 | 25.3453 | 15.82 | 888 | 95.42 | 40.5527
2019-09-16 13:00:00 | 5.31 | 110.3867 | 6.1133 | 121.3067 | 9.9333 | 8.6133 | 9.4433 | 18.56 | 16.1233 | 888 | 95.3333 | 39.2287
2019-09-16 13:15:00 | 5.2467 | 30.6167 | 6.0467 | 33.6433 | 9.6767 | 8.0733 | 9.1967 | 13.0267 | 16.4667 | 888 | 93.6 | 37.5207
2019-09-16 13:30:00 | 5.3133 | 190.65 | 6.1133 | 209.4967 | 9.77 | 13.4533 | 9.4633 | 12.88 | 16.6267 | 888 | 93 | 33.722
2019-09-16 13:45:00 | 5.2893 | 205.1233 | 6.0827 | 225.4 | 10.0967 | 3.93 | 10.25 | 20.4933 | 16.76 | 887.9333 | 93 | 35.9673
2019-09-16 14:00:00 | 5.06 | 178.4833 | 5.8267 | 196.1333 | 9.6967 | 6.3233 | 9.8167 | 27.0867 | 16.9533 | 887 | 92.8667 | 35.9687
2019-09-16 14:15:00 | 5.1867 | 63.9867 | 5.9767 | 70.3133 | 9.98 | 10.4433 | 10.0367 | 21.32 | 17.0667 | 887 | 91.9333 | 34.776
2019-09-16 14:30:00 | 5.6533 | 185.0333 | 6.51 | 203.3333 | 10.2133 | 13.13 | 10.0167 | 18.84 | 16.7867 | 887 | 90.6667 | 35.82
2019-09-16 14:45:00 | 5.4387 | 167.402 | 6.258 | 183.96 | 10.0853 | 14.5893 | 10.1307 | 23.2907 | 16.462 | 887 | 91.6067 | 40.442
2019-09-16 15:00:00 | 5.2867 | 168.2967 | 6.09 | 184.9333 | 10.0933 | 12.4933 | 10.4267 | 23.1267 | 16.362 | 887 | 92.0333 | 43.5093
2019-09-16 15:15:00 | 5.1733 | 198.5267 | 5.96 | 218.1667 | 9.88 | 12.16 | 10.1833 | 25.3533 | 16.4333 | 887 | 92.2 | 43.7593
2019-09-16 15:30:00 | 5.0267 | 209.06 | 5.7853 | 229.74 | 9.76 | 19.4027 | 10.2033 | 31.4067 | 16.5427 | 887 | 92.2 | 46.4173
2019-09-16 15:45:00 | 5.6867 | 259.38 | 6.5467 | 285.0333 | 10.9667 | 14.6433 | 11.07 | 23.6133 | 16.6833 | 886.2667 | 91.6667 | 43.302
2019-09-16 16:00:00 | 5.6333 | 86.9133 | 6.48 | 95.5133 | 10.7067 | 17.61 | 11.01 | 22.82 | 16.6567 | 886 | 91.3333 | 42.2313
2019-09-16 16:15:00 | 5.6033 | 212.2433 | 6.4433 | 233.2333 | 10.6033 | 23.1967 | 10.9067 | 28.3333 | 16.8433 | 886 | 91.5667 | 43.0227
2019-09-16 16:30:00 | 5.6433 | 244.3433 | 6.49 | 268.5 | 10.7233 | 20.8033 | 11.0733 | 25.3533 | 16.8033 | 886 | 90.5 | 42.7907
2019-09-16 16:45:00 | 5.4167 | 144.5733 | 6.23 | 158.8667 | 10.3067 | 15.98 | 10.7567 | 29.15 | 16.3933 | 886 | 91.2 | 37.0953
2019-09-16 17:00:00 | 4.9033 | 206.2067 | 5.65 | 226.6 | 9.4933 | 18.7867 | 9.9033 | 31.77 | 16.308 | 886 | 91.8 | 34.622
2019-09-16 17:15:00 | 4.7867 | 216.7067 | 5.5067 | 238.1333 | 8.99 | 22.4233 | 9.4667 | 25.2333 | 16.2527 | 886 | 90.5333 | 30.958
2019-09-16 17:30:00 | 4.8867 | 226.2933 | 5.6333 | 248.6667 | 9.2033 | 14.3367 | 9.32 | 26.6467 | 16.1367 | 886 | 91.0667 | 32.724
2019-09-16 17:45:00 | 5.3533 | 212.24 | 6.1567 | 233.2333 | 9.5733 | 16.04 | 9.6433 | 19.5667 | 15.98 | 886 | 90.5667 | 33.7607
2019-09-16 18:00:00 | 5.1467 | 99.6933 | 5.9167 | 109.5467 | 9.24 | 13.24 | 9.33 | 26.6 | 15.8467 | 886 | 90.5667 | 32.1313
2019-09-16 18:15:00 | 4.8933 | 207.28 | 5.6333 | 227.7667 | 8.93 | 24.6533 | 8.96 | 27.42 | 15.6333 | 886 | 91.1333 | 32.2707
2019-09-16 18:30:00 | 4.9133 | 229.3533 | 5.6467 | 252.0333 | 8.8433 | 12.42 | 8.9467 | 31.4867 | 15.5067 | 886 | 91.6667 | 31.7147
2019-09-16 18:45:00 | 4.5133 | 147.3 | 5.1933 | 161.86 | 8.3867 | 22.7633 | 8.3667 | 14.6833 | 15.3533 | 886 | 93.2333 | 28.262
2019-09-16 19:00:00 | 4.34 | 265.3267 | 5 | 291.5667 | 7.6267 | 16.51 | 7.66 | 24.7967 | 15.312 | 886 | 92.8333 | 27.8267
2019-09-16 19:15:00 | 4.17 | 236.3633 | 4.8067 | 259.7333 | 7.9467 | 17.2567 | 7.89 | 22.8887 | 15.22 | 886 | 93.5667 | 24.71
2019-09-16 19:30:00 | 3.9033 | 274.2833 | 4.4867 | 301.4 | 7.2867 | 15.07 | 7.19 | 26.4833 | 15.1067 | 886 | 94.3 | 22.302
2019-09-16 19:45:00 | 3.68 | 288.1733 | 4.2433 | 316.6667 | 7.2033 | 14.6367 | 7.31 | 22.8767 | 14.9667 | 886 | 95.7 | 23.424
2019-09-16 20:00:00 | 3.7867 | 214.5867 | 4.3567 | 235.8 | 7.3767 | 11.43 | 7.4433 | 21.0633 | 14.86 | 886 | 96.2333 | 23.7067
2019-09-16 20:15:00 | 3.8267 | 236.9333 | 4.4067 | 260.3667 | 7.1267 | 17.53 | 7.3333 | 20.7367 | 14.8693 | 886 | 95.7667 | 22.288
2019-09-16 20:30:00 | 3.92 | 272.7267 | 4.52 | 299.7 | 7.2867 | 19.67 | 7.3667 | 20.8167 | 14.864 | 886 | 96.06 | 22.2727
2019-09-16 20:45:00 | 3.7533 | 43.35 | 4.32 | 47.6333 | 6.65 | 19.9933 | 6.94 | 20.54 | 14.9333 | 886.0667 | 95.7333 | 24.1927
2019-09-16 21:00:00 | 3.5933 | 216.4833 | 4.1333 | 237.8867 | 6.6767 | 25.6933 | 6.9067 | 23.7667 | 14.988 | 887 | 96 | 25.2927
2019-09-16 21:15:00 | 3.74 | 86.97 | 4.3033 | 95.56 | 7.3767 | 22.6967 | 7.39 | 22.3167 | 14.8167 | 887 | 97.9667 | 28.8153
2019-09-16 21:30:00 | 3.9867 | 62.8433 | 4.5967 | 69.0533 | 7.51 | 16.85 | 7.61 | 18.4767 | 14.6433 | 887 | 98.9 | 31.196
2019-09-16 21:45:00 | 3.73 | 233.96 | 4.2967 | 257.1 | 7.04 | 15.6067 | 7.23 | 17.94 | 14.5167 | 887 | 99.6 | 32.414
2019-09-16 22:00:00 | 3.9833 | 61.8533 | 4.5833 | 67.96 | 7.4 | 21.7333 | 7.3833 | 23.2067 | 14.4433 | 887 | 99.9333 | 33.1713
2019-09-16 22:15:00 | 4.25 | 103.8567 | 4.89 | 114.1333 | 7.3033 | 119.5333 | 7.0767 | 18.4133 | 14.3893 | 887 | 100 | 36.568
2019-09-16 22:30:00 | 4.3633 | 104.99 | 5.0167 | 115.3667 | 7.5767 | 126 | 7.27 | 6.62 | 14.372 | 887 | 100 | 37.6007
2019-09-16 22:45:00 | 4.4767 | 112.3267 | 5.15 | 123.44 | 7.6933 | 244.0667 | 7.4867 | 14.2567 | 14.3447 | 887 | 100 | 35.0813
2019-09-16 23:00:00 | 3.7433 | 107.5867 | 4.31 | 118.22 | 6.5733 | 11.2133 | 6.6667 | 4.3433 | 14.326 | 887 | 100 | 34.8667
2019-09-16 23:15:00 | 4.1133 | 255.8667 | 4.74 | 281.1667 | 6.1367 | 122.6733 | 6.3367 | 27.4533 | 14.2893 | 887 | 100 | 36.9627
2019-09-16 23:30:00 | 4.0933 | 304.5133 | 4.7133 | 334.6333 | 6.5167 | 125.0733 | 6.5033 | 14.2467 | 14.276 | 887 | 100 | 36.388
2019-09-16 23:45:00 | 4.1333 | 291.23 | 4.7533 | 320.0333 | 6.9433 | 340.6 | 6.7633 | 1.2367 | 14.2853 | 887 | 100 | 36.6927