## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-17 00:00:00 | 4.2229 | 99.8536 | 4.8621 | 109.7321 | 7.6386 | 343.6357 | 7.2479 | 5.795 | 14.3 | 887 | 100 | 33.5264
2019-09-17 00:15:00 | 4.2733 | 283.13 | 4.9167 | 311.1333 | 7.7773 | 345.6333 | 7.2433 | 6.2533 | 14.3007 | 887 | 100 | 34.8127
2019-09-17 00:30:00 | 4.1867 | 105.7233 | 4.8233 | 116.1733 | 7.34 | 122.2933 | 7.27 | 20.54 | 14.318 | 887 | 100 | 35.8693
2019-09-17 00:45:00 | 4.3893 | 14.9567 | 5.0593 | 16.4313 | 7.944 | 15.7973 | 8.026 | 11.8767 | 14.312 | 887 | 100 | 36.7027
2019-09-17 01:00:00 | 4.2633 | 12.75 | 4.9133 | 14.0067 | 7.4033 | 9.6567 | 7.4333 | 20.39 | 14.276 | 887 | 100 | 36.1127
2019-09-17 01:15:00 | 4.2253 | 58.5593 | 4.858 | 64.3493 | 7.304 | 17.35 | 7.4373 | 15.9387 | 14.256 | 887 | 100 | 32.2567
2019-09-17 01:30:00 | 4 | 228.9567 | 4.6067 | 251.6 | 7.0433 | 17.92 | 7.3933 | 22.5733 | 14.256 | 887 | 100 | 33.27
2019-09-17 01:45:00 | 4.16 | 26.3933 | 4.8 | 28.99 | 7.0067 | 8.4567 | 6.9467 | 4.3 | 14.2573 | 887 | 100 | 34.2893
2019-09-17 02:00:00 | 4.14 | 234.2267 | 4.7667 | 257.3767 | 6.5667 | 21.9833 | 6.3867 | 15.48 | 14.26 | 887 | 100 | 33.8967
2019-09-17 02:15:00 | 3.9867 | 120 | 4.5867 | 131.86 | 6.99 | 6.1333 | 7.29 | 19.1 | 14.26 | 887 | 100 | 34.2193
2019-09-17 02:30:00 | 4.0267 | 105.5933 | 4.64 | 116.0333 | 7.61 | 18.82 | 8.1367 | 24.14 | 14.26 | 887 | 100 | 33.6293
2019-09-17 02:45:00 | 3.9267 | 78.4233 | 4.5133 | 86.18 | 7.5167 | 13.4367 | 7.9867 | 21.02 | 14.2887 | 887 | 100 | 34.1307
2019-09-17 03:00:00 | 4.2267 | 82.3567 | 4.8667 | 90.5067 | 8.03 | 12.4033 | 8.4133 | 19.6933 | 14.262 | 887 | 100 | 33.92
2019-09-17 03:15:00 | 3.8067 | 146.9667 | 4.38 | 161.5 | 7.24 | 11.32 | 7.82 | 21.5667 | 14.2347 | 887 | 100 | 31.8927
2019-09-17 03:30:00 | 3.6933 | 80.0533 | 4.2533 | 87.9667 | 6.9867 | 4.04 | 7.364 | 19.98 | 14.22 | 887 | 100 | 28.8493
2019-09-17 03:45:00 | 3.42 | 129.6667 | 3.9333 | 142.4933 | 6.1867 | 8.5633 | 6.3833 | 13.5967 | 14.214 | 887 | 100 | 28.4513
2019-09-17 04:00:00 | 3.3133 | 91.4933 | 3.8133 | 100.5467 | 5.9133 | 10.3433 | 6.2833 | 15.1033 | 14.226 | 886.6 | 100 | 29.04
2019-09-17 04:15:00 | 3.3267 | 261.6 | 3.8267 | 287.4667 | 6.36 | 9.8667 | 6.7667 | 17.2667 | 14.2347 | 886.0667 | 100 | 30.598
2019-09-17 04:30:00 | 3.5333 | 264.5733 | 4.06 | 290.7333 | 6.7067 | 15.1933 | 7.06 | 14.48 | 14.236 | 887 | 100 | 31.7927
2019-09-17 04:45:00 | 3.7833 | 211.4033 | 4.3467 | 232.3 | 7.1733 | 19.1567 | 7.2433 | 9.3333 | 14.216 | 887 | 100 | 30.5267
2019-09-17 05:00:00 | 3.8367 | 248.47 | 4.4133 | 273.0333 | 7.4067 | 8.29 | 7.7433 | 11.78 | 14.22 | 887 | 100 | 29.8707
2019-09-17 05:15:00 | 4.0233 | 208.2767 | 4.63 | 228.8667 | 7.6433 | 9.4967 | 7.86 | 11.9667 | 14.2193 | 887 | 100 | 34.3373
2019-09-17 05:30:00 | 4.2033 | 183.9433 | 4.8367 | 202.1333 | 8.11 | 16.2033 | 8.1533 | 13.5867 | 14.21 | 887 | 100 | 38.23
2019-09-17 05:45:00 | 4.4533 | 196.5467 | 5.12 | 215.9733 | 8.71 | 14.0967 | 8.52 | 21.3367 | 14.21 | 887 | 100 | 39.8287
2019-09-17 06:00:00 | 4.5933 | 125.5 | 5.28 | 137.9067 | 8.9367 | 12.25 | 8.6467 | 16.35 | 14.206 | 887 | 100 | 41.346
2019-09-17 06:15:00 | 4.56 | 99.4733 | 5.25 | 109.3133 | 8.92 | 11.8067 | 8.7467 | 8.98 | 14.2087 | 887 | 100 | 43.688
2019-09-17 06:30:00 | 5.16 | 146.7933 | 5.9367 | 161.3133 | 9.7267 | 8.6667 | 9.5 | 21.7333 | 14.234 | 887 | 100 | 46.5513
2019-09-17 06:45:00 | 5.26 | 99.9067 | 6.0567 | 109.78 | 10.0967 | 12.2133 | 9.8967 | 12.1433 | 14.2393 | 887.0667 | 100 | 50.1507
2019-09-17 07:00:00 | 5.5133 | 205.48 | 6.3433 | 225.8 | 10.19 | 6.9 | 10.2367 | 10.7833 | 14.23 | 888 | 100 | 50.8413
2019-09-17 07:15:00 | 5.9567 | 148.1167 | 6.8533 | 162.7667 | 10.79 | 6.6267 | 10.7233 | 4.82 | 14.2373 | 888 | 100 | 52.1447
2019-09-17 07:30:00 | 6.2967 | 260.6633 | 7.2467 | 286.4333 | 11.1633 | 11.1467 | 11.0233 | 12.48 | 14.244 | 888 | 100 | 54.3633
2019-09-17 07:45:00 | 6.08 | 262.7433 | 6.9933 | 288.7333 | 11.31 | 11.1067 | 11.3667 | 18.9067 | 14.2587 | 888 | 100 | 55.2887
2019-09-17 08:00:00 | 6.1333 | 103.3567 | 7.0533 | 113.5733 | 11.33 | 10.62 | 11.4733 | 18.5 | 14.284 | 888 | 100 | 57.3687
2019-09-17 08:15:00 | 6.4133 | 151.3967 | 7.3833 | 166.3667 | 11.86 | 6.0633 | 11.9167 | 16.4267 | 14.3207 | 888 | 100 | 56.6513
2019-09-17 08:30:00 | 6.6213 | 157.0527 | 7.6167 | 172.58 | 12.1027 | 12.326 | 12.418 | 20.304 | 14.338 | 888 | 100 | 57.2393
2019-09-17 08:45:00 | 6.7267 | 173.39 | 7.7367 | 190.5333 | 12.7867 | 10.3767 | 13.1167 | 19.52 | 14.4307 | 888.0667 | 100 | 58.3607
2019-09-17 09:00:00 | 6.8867 | 164.29 | 7.9167 | 180.5333 | 12.924 | 16.55 | 13.15 | 19.2467 | 14.42 | 889 | 100 | 59.24
2019-09-17 09:15:00 | 6.8 | 56.0667 | 7.8333 | 61.6133 | 12.9867 | 15.0433 | 12.8393 | 19.1 | 14.4413 | 889 | 100 | 58.93
2019-09-17 09:30:00 | 6.96 | 144.5667 | 8.0067 | 158.8667 | 12.896 | 11.11 | 12.9167 | 15.7 | 14.464 | 889 | 100 | 57.9327
2019-09-17 09:45:00 | 6.8433 | 212.76 | 7.8667 | 233.8 | 12.4 | 6.3167 | 12.6467 | 20.3567 | 14.4947 | 889 | 100 | 56.3887
2019-09-17 10:00:00 | 6.2833 | 169.2 | 7.2267 | 185.9333 | 11.7267 | 12.6033 | 12.08 | 19.45 | 14.56 | 889.4 | 100 | 56.5187
2019-09-17 10:15:00 | 6.77 | 173.648 | 7.79 | 190.82 | 12.37 | 17.64 | 12.39 | 15.29 | 14.65 | 890 | 100 | 57.854
2019-09-17 10:30:00 | 7.0467 | 202.3333 | 8.1067 | 222.3333 | 12.7833 | 11.29 | 13.2833 | 22.6833 | 14.8267 | 890 | 100 | 57.714
2019-09-17 10:45:00 | 6.6373 | 156.64 | 7.6347 | 172.1333 | 12.1033 | 17.1033 | 12.4567 | 21.7267 | 15 | 890 | 100 | 56.8427
2019-09-17 11:00:00 | 6.1867 | 162.5267 | 7.1133 | 178.6 | 11.8833 | 8.9033 | 12.47 | 23.96 | 15.1667 | 890 | 100 | 58.6053
2019-09-17 11:15:00 | 6.7633 | 148.33 | 7.7867 | 163 | 12.41 | 12.9967 | 12.8533 | 21.9567 | 15.192 | 890 | 100 | 60.474
2019-09-17 11:30:00 | 7.19 | 103.8633 | 8.28 | 114.1267 | 13.2767 | 13.8033 | 13.82 | 22.8633 | 15.2267 | 890 | 100 | 59.6347
2019-09-17 11:45:00 | 7.12 | 102.2 | 8.19 | 112.3 | 12.8933 | 17.0233 | 13.1233 | 19.5933 | 15.3867 | 890 | 100 | 57.364
2019-09-17 12:00:00 | 6.58 | 178.674 | 7.57 | 196.34 | 12.09 | 20.36 | 12.4 | 19.172 | 15.618 | 890 | 100 | 56.7307
2019-09-17 12:15:00 | 6.45 | 235.3833 | 7.42 | 258.6667 | 11.88 | 15.6933 | 12.2867 | 26.0333 | 16.1733 | 890 | 100 | 54.7907
2019-09-17 12:30:00 | 6.29 | 222.71 | 7.2467 | 244.7333 | 11.8667 | 17.6867 | 12.42 | 29.78 | 16.54 | 890 | 100 | 51.182
2019-09-17 12:45:00 | 6.4507 | 160.5567 | 7.4233 | 176.4333 | 11.9733 | 27.35 | 12.4333 | 25.0833 | 17.92 | 890 | 99.9 | 50.386
2019-09-17 13:00:00 | 6.4933 | 193.01 | 7.47 | 212.1 | 11.7133 | 28.1767 | 12.1333 | 35.35 | 18.9867 | 890.4 | 95.9 | 46.9287
2019-09-17 13:15:00 | 6.3033 | 133.0367 | 7.2567 | 146.1833 | 11.2267 | 17.0667 | 12.12 | 36.5133 | 18.9733 | 890.3333 | 93.3 | 47.6327
2019-09-17 13:30:00 | 6.3433 | 200.3167 | 7.3033 | 220.1167 | 11.0933 | 3.2667 | 11.72 | 28.8133 | 19.6267 | 891 | 90.4333 | 45.608
2019-09-17 13:45:00 | 6.3733 | 60.6567 | 7.3333 | 66.66 | 11.35 | 26.26 | 12.0033 | 35.68 | 19.3833 | 891 | 87.8667 | 40.3787
2019-09-17 14:00:00 | 6.0733 | 72.4567 | 6.9867 | 79.62 | 11.0367 | 26.3067 | 11.37 | 32.6133 | 19.2167 | 891 | 89.4 | 40.8453
2019-09-17 14:15:00 | 6.3267 | 242.9233 | 7.2867 | 266.9333 | 11.2333 | 35.5333 | 11.8567 | 38.35 | 19.94 | 891 | 86.4 | 41.586
2019-09-17 14:30:00 | 6.08 | 113.45 | 7 | 124.6667 | 10.6867 | 23.8867 | 11.1233 | 47.5033 | 19.7267 | 891 | 84 | 43.9853
2019-09-17 14:45:00 | 6.1867 | 49.04 | 7.1233 | 53.8867 | 10.8953 | 32.05 | 11.9533 | 28.5967 | 19.6167 | 891 | 84.1667 | 44.37
2019-09-17 15:00:00 | 6.4867 | 73.6867 | 7.4567 | 80.9667 | 11.65 | 26.3433 | 12.0867 | 28.5033 | 20.0033 | 891 | 84.4333 | 43.978
2019-09-17 15:15:00 | 6.0333 | 186.0633 | 6.94 | 204.4567 | 11.06 | 24.1933 | 11.76 | 31.64 | 20.2067 | 891 | 84.7333 | 38.9547
2019-09-17 15:30:00 | 5.8067 | 8.5233 | 6.6867 | 9.3633 | 10.2467 | 24.6133 | 11.028 | 33.5133 | 20.28 | 891 | 82.4667 | 40.4047
2019-09-17 15:45:00 | 6.1833 | 89.2467 | 7.1167 | 98.0733 | 10.99 | 23.08 | 12.0367 | 40.9633 | 19.23 | 891 | 84.2333 | 39.0233
2019-09-17 16:00:00 | 5.5967 | 241.1467 | 6.45 | 265 | 10.21 | 20.3133 | 10.7633 | 26.5967 | 19.1833 | 891 | 85.9667 | 32.9187
2019-09-17 16:15:00 | 5.6867 | 105.9133 | 6.54 | 116.38 | 10.5167 | 16.9433 | 11.1033 | 19.2833 | 19.72 | 891 | 85.4 | 35.8447
2019-09-17 16:30:00 | 5.32 | 105.18 | 6.12 | 115.58 | 9.7767 | 17.11 | 10.2967 | 23.0433 | 19.4333 | 891 | 85.3333 | 30.414
2019-09-17 16:45:00 | 5.0733 | 41.7667 | 5.8367 | 45.9 | 9.4433 | 15.5067 | 10.13 | 24.8033 | 19.2633 | 891 | 86.9667 | 29.6213
2019-09-17 17:00:00 | 5.3933 | 29.0133 | 6.2167 | 31.8733 | 9.8033 | 25.18 | 10.3167 | 30.7633 | 19.73 | 891 | 83.7 | 29.854
2019-09-17 17:15:00 | 5.1933 | 192.1267 | 5.9733 | 211.1233 | 9.3533 | 17.6733 | 9.76 | 34.42 | 19.2267 | 891 | 84.1667 | 33.7847
2019-09-17 17:30:00 | 5.34 | 145.1667 | 6.1467 | 159.5233 | 9.5867 | 23.44 | 10.2667 | 28.54 | 19.1733 | 891 | 84.1667 | 34.1507
2019-09-17 17:45:00 | 5.34 | 114.1867 | 6.14 | 125.47 | 9.5533 | 26.1467 | 10.0933 | 29.0933 | 18.8567 | 891.7333 | 85.0667 | 30.584
2019-09-17 18:00:00 | 4.98 | 16.6133 | 5.7267 | 18.25 | 9.0533 | 28.8067 | 8.9667 | 31.98 | 18.45 | 892 | 86.5333 | 27.8287
2019-09-17 18:15:00 | 3.66 | 177.18 | 4.2167 | 194.7 | 6.8233 | 21.3267 | 6.3267 | 32.03 | 18.2567 | 892 | 86.8333 | 21.554
2019-09-17 18:30:00 | 3.7 | 171.9067 | 4.2567 | 188.9 | 7.0567 | 35.5333 | 6.72 | 27.61 | 17.8833 | 892 | 88.4333 | 21.258
2019-09-17 18:45:00 | 3.8133 | 190.7733 | 4.39 | 209.6333 | 7.43 | 7.89 | 7.4767 | 22.2167 | 17.52 | 892 | 90.8333 | 18.274
2019-09-17 19:00:00 | 3.5733 | 165.1133 | 4.11 | 181.4333 | 7.01 | 15.4233 | 6.8233 | 25.6033 | 17.2533 | 892 | 92.3667 | 20.0687
2019-09-17 19:15:00 | 3.64 | 266.73 | 4.1933 | 293.1 | 7.0833 | 16.1567 | 6.9367 | 29.4967 | 17.038 | 892 | 93.2 | 19.3953
2019-09-17 19:30:00 | 3.52 | 281.77 | 4.0533 | 309.6333 | 6.854 | 12.9767 | 6.8767 | 27.1167 | 17.006 | 892 | 92.8 | 21.2107
2019-09-17 19:45:00 | 3.55 | 238.7533 | 4.0867 | 262.3667 | 6.6233 | 129.8533 | 6.7133 | 26.76 | 16.8393 | 892 | 93.8 | 26.54
2019-09-17 20:00:00 | 3.45 | 59.8733 | 3.9733 | 65.7867 | 6.4367 | 122.5333 | 6.3267 | 23.1267 | 16.842 | 892 | 93.5333 | 34.368
2019-09-17 20:15:00 | 3.7433 | 287.0833 | 4.3133 | 315.4667 | 7 | 237.5 | 6.7733 | 13.3267 | 16.8253 | 892 | 93.8933 | 40.568
2019-09-17 20:30:00 | 4.21 | 271.37 | 4.84 | 298.2 | 7.8067 | 1.12 | 7.8533 | 16.6133 | 16.7533 | 892 | 93.9333 | 48.1447
2019-09-17 20:45:00 | 4.6267 | 103.9233 | 5.33 | 114.1933 | 8.56 | 8.5133 | 8.53 | 14.6867 | 16.7313 | 892 | 93.5667 | 50.6633
2019-09-17 21:00:00 | 5.36 | 219.13 | 6.17 | 240.8 | 9.94 | 10.12 | 10.1433 | 14.6867 | 16.57 | 892 | 93.9667 | 40.008
2019-09-17 21:15:00 | 5.0747 | 197.9633 | 5.8407 | 217.5333 | 9.3267 | 39.6833 | 9.8033 | 22.01 | 16.4407 | 892 | 94.0333 | 34.0427
2019-09-17 21:30:00 | 4.42 | 177.39 | 5.0833 | 194.9333 | 8.12 | 21.4433 | 8.9633 | 23.79 | 16.39 | 892 | 94.4333 | 37.052
2019-09-17 21:45:00 | 4.72 | 200.56 | 5.4333 | 220.4 | 8.6733 | 27.0633 | 8.7433 | 27.0633 | 16.2713 | 892 | 94.7 | 45.4487
2019-09-17 22:00:00 | 5.6533 | 68.2933 | 6.5 | 75.0467 | 10.3267 | 26.45 | 10.35 | 20.0967 | 16.09 | 892 | 95.26 | 52.6613
2019-09-17 22:15:00 | 6.3067 | 222.08 | 7.26 | 244.0333 | 11.42 | 16.46 | 11.3233 | 22.2567 | 16.2067 | 892 | 94.0667 | 57.4027
2019-09-17 22:30:00 | 6.5 | 53.9867 | 7.4733 | 59.3267 | 11.9867 | 12.8933 | 11.8633 | 38.1167 | 16.1133 | 892 | 94.7333 | 56.5913
2019-09-17 22:45:00 | 5.78 | 32.8233 | 6.6433 | 36.0667 | 10.4533 | 240.9767 | 10.2167 | 14.27 | 16.114 | 892 | 94.9667 | 56.138
2019-09-17 23:00:00 | 6.02 | 54.9767 | 6.93 | 60.4067 | 11.0733 | 10.79 | 10.8367 | 5.5233 | 16.1767 | 892 | 94.7 | 57.0767
2019-09-17 23:15:00 | 6.42 | 131.4167 | 7.39 | 144.4067 | 11.4133 | 13.6567 | 11.2733 | 12.1333 | 16.238 | 892 | 93.9 | 55.7547
2019-09-17 23:30:00 | 6.7667 | 234.3327 | 7.782 | 257.5067 | 12.2093 | 9.1793 | 12.272 | 10.996 | 16.306 | 892 | 92.8333 | 57.7147
2019-09-17 23:45:00 | 6.9267 | 275.0067 | 7.9733 | 302.2 | 12.6467 | 17.1167 | 13.0167 | 27.5667 | 16.3733 | 892 | 91.4933 | 57.1187