## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-18 00:00:00 | 7.2543 | 250.0957 | 8.3464 | 274.8286 | 13.5657 | 15.8057 | 14.11 | 29.0429 | 16.2293 | 892 | 91.0923 | 57.0857
2019-09-18 00:15:00 | 7.3767 | 160.44 | 8.4867 | 176.3 | 13.5167 | 13.1167 | 14.0433 | 24.02 | 16.22 | 892 | 88.6667 | 54.3267
2019-09-18 00:30:00 | 7.2433 | 49.4533 | 8.3267 | 54.34 | 12.9433 | 13.6833 | 13.45 | 22.1867 | 16.368 | 892 | 87.2 | 54.9413
2019-09-18 00:45:00 | 6.8333 | 248.86 | 7.86 | 273.4667 | 12.7867 | 14.58 | 13.0267 | 22.9767 | 16.1033 | 892.0667 | 89 | 55.058
2019-09-18 01:00:00 | 6.9 | 126.3733 | 7.9333 | 138.8667 | 12.3467 | 19.86 | 12.3667 | 23.3767 | 16.022 | 892.6 | 89 | 56.2127
2019-09-18 01:15:00 | 7.3933 | 17.0933 | 8.5033 | 18.7867 | 13.15 | 14.6667 | 13.1833 | 19.33 | 15.95 | 892 | 89.8933 | 57.8067
2019-09-18 01:30:00 | 7.5933 | 123.4133 | 8.73 | 135.6133 | 13.5633 | 16.8067 | 13.5233 | 23.8967 | 15.922 | 892 | 89.5333 | 57.5027
2019-09-18 01:45:00 | 7.2833 | 153.3967 | 8.38 | 168.5667 | 13.3467 | 10.68 | 13.3367 | 21.1433 | 15.7933 | 892 | 89.6 | 57.948
2019-09-18 02:00:00 | 7.43 | 180.27 | 8.56 | 198.1 | 13.6333 | 11.6667 | 13.61 | 20.5567 | 15.7333 | 892 | 89.16 | 58.3447
2019-09-18 02:15:00 | 7.4167 | 62.3867 | 8.5333 | 68.56 | 13.8167 | 17.0667 | 14.12 | 20.7467 | 15.52 | 892 | 89.4667 | 58.7887
2019-09-18 02:30:00 | 7.6833 | 228.2933 | 8.8333 | 250.8667 | 14.19 | 21.78 | 14.6067 | 22.12 | 15.48 | 892 | 88.1333 | 57.9087
2019-09-18 02:45:00 | 7.6133 | 25.4867 | 8.7533 | 28 | 13.9867 | 16.6233 | 14.7533 | 24.6967 | 15.4613 | 891.9333 | 87.1333 | 56.1747
2019-09-18 03:00:00 | 6.82 | 21.6533 | 7.8467 | 23.7867 | 12.32 | 8.7967 | 13.5733 | 33.7367 | 15.396 | 891 | 87.2 | 54.224
2019-09-18 03:15:00 | 7.3093 | 235.6833 | 8.41 | 258.9933 | 13.5867 | 22.9767 | 14.45 | 27.6233 | 15.3133 | 891 | 87.6333 | 55.6147
2019-09-18 03:30:00 | 7.3 | 34.1967 | 8.41 | 37.5667 | 13.78 | 21.9033 | 14.1167 | 20.8167 | 15.18 | 891 | 88.4333 | 55.67
2019-09-18 03:45:00 | 7.2333 | 147.8533 | 8.32 | 162.4667 | 13.5867 | 20.98 | 13.93 | 24.3167 | 15.188 | 891 | 87.5667 | 54.58
2019-09-18 04:00:00 | 7 | 187.64 | 8.0533 | 206.2 | 13.0067 | 16.6733 | 13.5433 | 19.4767 | 15.3133 | 891 | 86.5667 | 52.4433
2019-09-18 04:15:00 | 6.7533 | 245.3933 | 7.78 | 269.6667 | 12.1833 | 12.2733 | 12.8633 | 25.7367 | 15.4093 | 891 | 85.9333 | 51.7193
2019-09-18 04:30:00 | 6.4533 | 234.7267 | 7.4267 | 257.9333 | 12.25 | 21.7867 | 12.7833 | 27.9367 | 15.3333 | 891 | 86.8667 | 51.4007
2019-09-18 04:45:00 | 6.32 | 205.1767 | 7.2767 | 225.4667 | 11.7533 | 21.9067 | 12.34 | 19.57 | 15.284 | 891 | 87.4067 | 51.3353
2019-09-18 05:00:00 | 6.1867 | 158.1633 | 7.126 | 173.8 | 11.3867 | 19.5067 | 13 | 38.3167 | 15.248 | 891 | 87.9 | 48.9267
2019-09-18 05:15:00 | 6.0133 | 192.9533 | 6.9133 | 212.0333 | 11.3 | 24.5933 | 11.9867 | 21.6933 | 15.1907 | 891.0667 | 88.3933 | 48.1693
2019-09-18 05:30:00 | 5.7467 | 183.1333 | 6.6067 | 201.2333 | 10.8733 | 15.02 | 11.3933 | 29.9533 | 15.204 | 892 | 88.34 | 46.0153
2019-09-18 05:45:00 | 5.8633 | 167.0233 | 6.75 | 183.5333 | 10.7867 | 13.3967 | 11.194 | 21.7167 | 15.226 | 892 | 87.8 | 48.0353
2019-09-18 06:00:00 | 6.21 | 183.7567 | 7.15 | 201.9333 | 11.2067 | 11.4833 | 11.3567 | 23.2233 | 15.3167 | 892 | 86.9333 | 50.6853
2019-09-18 06:15:00 | 6.7333 | 245.07 | 7.7533 | 269.3 | 12.0633 | 4.82 | 11.9467 | 15.4867 | 15.322 | 892 | 87.3 | 49.3893
2019-09-18 06:30:00 | 6.2533 | 256.83 | 7.1933 | 282.2333 | 11.53 | 6.2267 | 11.7933 | 19.44 | 15.2033 | 892 | 88.3 | 47.7027
2019-09-18 06:45:00 | 6.2467 | 189.8267 | 7.1833 | 208.6 | 11.33 | 19.67 | 11.4567 | 22.4033 | 15.1767 | 892 | 87.4333 | 47.0967
2019-09-18 07:00:00 | 6.3067 | 147.7933 | 7.2633 | 162.4 | 11.15 | 12.41 | 11.1433 | 18.6633 | 15.2633 | 892 | 86.5 | 48.2467
2019-09-18 07:15:00 | 6.41 | 144.832 | 7.3767 | 159.1467 | 10.9867 | 18.4933 | 11.0033 | 18.3967 | 15.3127 | 892 | 86.7333 | 45.558
2019-09-18 07:30:00 | 6.198 | 233.384 | 7.134 | 256.46 | 10.918 | 7.652 | 10.834 | 20.534 | 15.306 | 892 | 87.98 | 43.802
2019-09-18 07:45:00 | 6.19 | 146.9667 | 7.1233 | 161.5 | 10.92 | 12.6467 | 10.82 | 22.82 | 15.2413 | 892.7333 | 89.3067 | 44.942
2019-09-18 08:00:00 | 6.2433 | 93.5667 | 7.1833 | 102.82 | 11.12 | 12.9067 | 10.9267 | 20.1933 | 15.2867 | 893 | 89.6667 | 46.8287
2019-09-18 08:15:00 | 6.2367 | 61.6533 | 7.1833 | 67.7467 | 11.05 | 19.8567 | 10.8933 | 19.93 | 15.278 | 893 | 90.3 | 50.4207
2019-09-18 08:30:00 | 6.15 | 254.8333 | 7.0833 | 280.0333 | 11.2233 | 9.53 | 11.1267 | 25.45 | 15.278 | 893 | 90.5667 | 49.392
2019-09-18 08:45:00 | 6.04 | 220.77 | 6.9533 | 242.6 | 11.1313 | 17.3667 | 11.04 | 20.18 | 15.314 | 893 | 91.1067 | 47.2407
2019-09-18 09:00:00 | 5.7533 | 213.8633 | 6.6133 | 235 | 10.63 | 14.6133 | 10.6533 | 19.2533 | 15.362 | 893 | 91.16 | 47.1227
2019-09-18 09:15:00 | 5.85 | 177.8833 | 6.7333 | 195.47 | 10.6267 | 12.41 | 10.6267 | 19.7167 | 15.3593 | 893.0667 | 90.84 | 45.3033
2019-09-18 09:30:00 | 5.85 | 157.6233 | 6.7333 | 173.2033 | 10.5133 | 8.3433 | 10.4267 | 22.0833 | 15.3967 | 894 | 90.3333 | 46.3587
2019-09-18 09:45:00 | 5.7867 | 57.89 | 6.6567 | 63.6133 | 10.8367 | 5.8833 | 10.5033 | 20.3467 | 15.4967 | 894 | 90.6333 | 47.0853
2019-09-18 10:00:00 | 5.84 | 171.39 | 6.7233 | 188.3333 | 10.702 | 11.6167 | 10.71 | 20.66 | 15.69 | 894 | 89.9667 | 44.472
2019-09-18 10:15:00 | 5.2067 | 193.6133 | 5.9933 | 212.7667 | 10.0967 | 10.0133 | 10.4033 | 28.14 | 16.08 | 894 | 89.9 | 43.818
2019-09-18 10:30:00 | 5.2133 | 188.1 | 6.0067 | 206.7 | 10.0367 | 11.3733 | 10.0633 | 21.4067 | 16.3133 | 894 | 89.2333 | 43.1693
2019-09-18 10:45:00 | 5.28 | 177.3333 | 6.0833 | 194.8667 | 9.9767 | 5.3467 | 9.9067 | 19.7367 | 16.3827 | 894 | 87.8 | 41.864
2019-09-18 11:00:00 | 5.4533 | 253.96 | 6.2767 | 279.0667 | 9.81 | 12.9933 | 9.66 | 20.8367 | 16.4533 | 894 | 87 | 39.6987
2019-09-18 11:15:00 | 5.5733 | 224.81 | 6.42 | 247.0333 | 10.2867 | 16.43 | 9.95 | 23.7433 | 16.464 | 894 | 86.3667 | 40.144
2019-09-18 11:30:00 | 5.72 | 164.5033 | 6.5867 | 180.7667 | 10.0867 | 12.3433 | 9.79 | 15.7567 | 16.3267 | 894 | 85.6333 | 40.4567
2019-09-18 11:45:00 | 5.5667 | 173.5133 | 6.4 | 190.6667 | 10.3067 | 12.0233 | 10.0933 | 23.26 | 16.4733 | 894 | 86.1667 | 41.0573
2019-09-18 12:00:00 | 5.2733 | 89.26 | 6.0733 | 98.0733 | 9.86 | 13.7367 | 10.1933 | 25.0533 | 16.9667 | 894 | 85.2333 | 38.6893
2019-09-18 12:15:00 | 5.0533 | 99.2967 | 5.8133 | 109.12 | 9.5633 | 17.3367 | 9.6267 | 24.32 | 17.1467 | 894 | 85.3 | 35.73
2019-09-18 12:30:00 | 4.94 | 187.1833 | 5.68 | 205.7 | 9.29 | 8.9433 | 9.1267 | 23.9933 | 17.1933 | 894 | 86.1667 | 34.6913
2019-09-18 12:45:00 | 4.9133 | 200.3533 | 5.6533 | 220.1667 | 9.1067 | 25.84 | 9.2533 | 28.2433 | 17.13 | 894 | 85.2667 | 35.9833
2019-09-18 13:00:00 | 4.7027 | 134.794 | 5.4147 | 148.122 | 8.7487 | 16.044 | 9.06 | 37.3 | 16.958 | 894 | 85.6933 | 33.5247
2019-09-18 13:15:00 | 4.5867 | 116.9833 | 5.2767 | 128.54 | 8.67 | 10.3867 | 8.4 | 20.63 | 16.752 | 893.9333 | 86.7333 | 31.7153
2019-09-18 13:30:00 | 4.48 | 167.8233 | 5.1567 | 184.4067 | 8.2833 | 3.26 | 8.1467 | 18.1367 | 16.8533 | 893 | 86.8667 | 28.5507
2019-09-18 13:45:00 | 4.3767 | 108.2967 | 5.0333 | 119 | 7.9667 | 16.0433 | 7.8633 | 13.85 | 17.1967 | 893 | 86.4333 | 25.1513
2019-09-18 14:00:00 | 4.39 | 239.63 | 5.0467 | 263.3333 | 7.96 | 18.6833 | 7.5033 | 10.8233 | 17.4033 | 893 | 84.8333 | 24.576
2019-09-18 14:15:00 | 4.3973 | 199.1967 | 5.0633 | 218.8967 | 7.8967 | 13.4767 | 7.3967 | 19.6067 | 17.04 | 893 | 85.6667 | 24.448
2019-09-18 14:30:00 | 4.312 | 155.446 | 4.97 | 170.816 | 7.756 | 15.272 | 7.358 | 13.942 | 16.782 | 893 | 86.6 | 23.706
2019-09-18 14:45:00 | 4.4133 | 147.46 | 5.0867 | 162.0333 | 8.2367 | 15.4267 | 7.93 | 11.73 | 16.6967 | 892.9333 | 87.8667 | 22.2813
2019-09-18 15:00:00 | 4.3867 | 141.02 | 5.0533 | 154.9667 | 8.3033 | 13.22 | 8.09 | 23.83 | 16.6367 | 892 | 88.4667 | 23.0087
2019-09-18 15:15:00 | 4.3433 | 71.8067 | 5.0033 | 78.9067 | 8.2733 | 7.24 | 8.17 | 17.8233 | 16.4307 | 892 | 89.7 | 23.1173
2019-09-18 15:30:00 | 4.5033 | 159.4933 | 5.1833 | 175.2667 | 8.5067 | 13.4933 | 8.2233 | 16.41 | 16.2933 | 892 | 89.9 | 22.7107
2019-09-18 15:45:00 | 4.4933 | 210.5433 | 5.1733 | 231.3667 | 8.3667 | 18.2 | 8.0567 | 15.97 | 15.9033 | 892 | 91 | 21.618
2019-09-18 16:00:00 | 4.58 | 114.6567 | 5.2667 | 126 | 8.4067 | 21.7333 | 7.8833 | 14.85 | 15.7233 | 892 | 92.0667 | 23.542
2019-09-18 16:15:00 | 4.4867 | 294.7 | 5.1667 | 323.8333 | 8.31 | 21.05 | 8.0767 | 15.7967 | 15.5433 | 892 | 93.5 | 26.296
2019-09-18 16:30:00 | 4.1 | 125.1467 | 4.7267 | 137.52 | 7.6367 | 18.5367 | 7.2833 | 14.3367 | 15.3567 | 892 | 94.5667 | 27.6887
2019-09-18 16:45:00 | 4.2 | 158.7933 | 4.83 | 174.5 | 7.6867 | 9.79 | 7.2833 | 14.2767 | 15.0433 | 891.2667 | 96.4333 | 28.7527
2019-09-18 17:00:00 | 4.0533 | 82.32 | 4.67 | 90.4533 | 7.5067 | 12.01 | 7.27 | 19.3433 | 14.83 | 891 | 97.5 | 28.1393
2019-09-18 17:15:00 | 3.5 | 171.8333 | 4.0267 | 188.8167 | 6.6233 | 5.84 | 6.5567 | 12.51 | 14.64 | 891 | 98.6 | 27.254
2019-09-18 17:30:00 | 3.6133 | 215.32 | 4.1667 | 236.6167 | 6.8033 | 13.8133 | 6.6233 | 12.57 | 14.5267 | 891 | 99.2 | 27.1713
2019-09-18 17:45:00 | 3.62 | 270 | 4.17 | 296.7 | 6.6 | 7.3 | 6.59 | 7.6567 | 14.3067 | 891 | 99.9067 | 27.9447
2019-09-18 18:00:00 | 3.7 | 234.4533 | 4.2567 | 257.6333 | 6.5467 | 3.9933 | 6.7967 | 13.6633 | 14.1667 | 891 | 100 | 30.1187
2019-09-18 18:15:00 | 3.5233 | 13.18 | 4.0567 | 14.4767 | 6.0767 | 121.9533 | 6.36 | 26.37 | 13.9967 | 891 | 100 | 29.6787
2019-09-18 18:30:00 | 3.2967 | 189.22 | 3.7967 | 207.9233 | 5.8233 | 130.12 | 6.02 | 13.67 | 13.91 | 891 | 100 | 30.112
2019-09-18 18:45:00 | 3.8433 | 222.48 | 4.42 | 244.4733 | 6.46 | 237.3667 | 6.36 | 17.6133 | 13.8 | 891 | 100 | 30.2207
2019-09-18 19:00:00 | 3.8033 | 231.1467 | 4.3867 | 254.0067 | 6.3267 | 13.38 | 6.46 | 12.1667 | 13.72 | 891 | 100 | 28.8927
2019-09-18 19:15:00 | 3.6533 | 198.5067 | 4.2 | 218.1333 | 6.3433 | 24.11 | 6.3433 | 11.65 | 13.6827 | 891 | 100 | 28.8147
2019-09-18 19:30:00 | 3.76 | 10.2533 | 4.3333 | 11.2667 | 6.49 | 15.9433 | 6.53 | 11.39 | 13.636 | 891 | 100 | 29.2533
2019-09-18 19:45:00 | 3.5633 | 40.3633 | 4.0967 | 44.3433 | 6.4133 | 126.0133 | 6.5733 | 27.4533 | 13.6213 | 891 | 100 | 28.8587
2019-09-18 20:00:00 | 3.3633 | 17.51 | 3.8767 | 19.23 | 5.9333 | 132.5067 | 6.1067 | 22.3333 | 13.6 | 891 | 100 | 26.84
2019-09-18 20:15:00 | 3.4767 | 228.87 | 3.9967 | 251.5033 | 6.1933 | 241.35 | 6.22 | 17.2567 | 13.5853 | 891 | 100 | 26.5333
2019-09-18 20:30:00 | 3.6633 | 31.8967 | 4.2167 | 35.0367 | 5.8333 | 236.4833 | 5.8467 | 19.2967 | 13.5533 | 891 | 100 | 24.3127
2019-09-18 20:45:00 | 2.9867 | 142.17 | 3.4367 | 156.2267 | 5.36 | 23.8367 | 5.51 | 243.8067 | 13.5473 | 891.0667 | 100 | 23.9393
2019-09-18 21:00:00 | 3.1467 | 247.65 | 3.6167 | 272.1333 | 5.7733 | 246.0167 | 6.0233 | 12.84 | 13.53 | 892 | 100 | 25.1773
2019-09-18 21:15:00 | 3.78 | 238.21 | 4.3533 | 261.7667 | 7 | 117.8667 | 7.2167 | 121.2267 | 13.5173 | 892 | 100 | 26.2413
2019-09-18 21:30:00 | 3.792 | 33.908 | 4.368 | 37.252 | 6.964 | 354.26 | 6.994 | 151.258 | 13.5 | 892 | 100 | 26.7667
2019-09-18 21:45:00 | 3.4033 | 261.42 | 3.9133 | 287.2667 | 6.19 | 235.7633 | 6.55 | 7.3067 | 13.4987 | 892 | 100 | 22.3933
2019-09-18 22:00:00 | 3.2167 | 278.82 | 3.7 | 306.4 | 5.7233 | 235.1633 | 6.0633 | 4.18 | 13.476 | 892 | 100 | 20.292
2019-09-18 22:15:00 | 3.0267 | 17.8933 | 3.4833 | 19.6567 | 5.54 | 3.4667 | 5.82 | 4.7133 | 13.4693 | 892 | 100 | 17.128
2019-09-18 22:30:00 | 2.9133 | 192.5933 | 3.35 | 211.63 | 5.5133 | 5.9133 | 5.5533 | 3.6467 | 13.452 | 892 | 100 | 14.686
2019-09-18 22:45:00 | 2.8933 | 213.0533 | 3.3333 | 234.12 | 5.4333 | 0.15 | 5.5607 | 10.4333 | 13.4407 | 892 | 100 | 14.2147
2019-09-18 23:00:00 | 2.8133 | 169.2 | 3.2467 | 185.92 | 5.34 | 236.1833 | 5.2367 | 6.82 | 13.442 | 892 | 100 | 12.3093
2019-09-18 23:15:00 | 2.8767 | 7.61 | 3.3133 | 8.36 | 5.2493 | 8.8767 | 5.39 | 16.3533 | 13.43 | 891.2667 | 100 | 15.206
2019-09-18 23:30:00 | 3.03 | 0.60333 | 3.4867 | 0.66667 | 5.4133 | 12.4767 | 5.41 | 9.2067 | 13.426 | 891 | 100 | 14.7407
2019-09-18 23:45:00 | 3.14 | 110.5667 | 3.6133 | 121.4933 | 5.7133 | 17.0533 | 5.5067 | 19.1933 | 13.4193 | 891 | 100 | 12.9433