## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-09-19 00:00:00 | 2.9379 | 307.16 | 3.3786 | 337.5429 | 5.3329 | 11.7671 | 5.5064 | 18.4964 | 13.4064 | 891 | 100 | 10.4779
2019-09-19 00:15:00 | 2.548 | 62.5133 | 2.9313 | 68.6887 | 4.824 | 18.9787 | 5.2 | 20.0633 | 13.4013 | 891 | 100 | 11.0433
2019-09-19 00:30:00 | 2.85 | 35.0567 | 3.2767 | 38.5167 | 5.3233 | 5.4067 | 5.5733 | 14.7633 | 13.42 | 891 | 100 | 10.4293
2019-09-19 00:45:00 | 2.8133 | 135.0267 | 3.2333 | 148.3733 | 5.1833 | 238.4733 | 5.54 | 18.6333 | 13.4127 | 891 | 100 | 11.0773
2019-09-19 01:00:00 | 2.9 | 297.42 | 3.3333 | 326.8333 | 5.25 | 5.5067 | 5.56 | 19.4267 | 13.41 | 891 | 100 | 12.8747
2019-09-19 01:15:00 | 2.9267 | 117.94 | 3.3733 | 129.6067 | 5.1833 | 234.74 | 5.32 | 18.1833 | 13.418 | 891 | 100 | 15.326
2019-09-19 01:30:00 | 2.8867 | 106.1267 | 3.3267 | 116.6267 | 5.4233 | 4.8267 | 5.9 | 5.0367 | 13.434 | 891 | 100 | 18.7507
2019-09-19 01:45:00 | 3.11 | 299.18 | 3.5833 | 328.7667 | 5.86 | 0.41667 | 6.0267 | 16.2067 | 13.4467 | 891 | 100 | 21.6773
2019-09-19 02:00:00 | 3.31 | 314.2333 | 3.8167 | 345.3 | 6.0133 | 238.07 | 5.9733 | 12.8733 | 13.444 | 891 | 100 | 25.8427
2019-09-19 02:15:00 | 3.5133 | 199.3967 | 4.04 | 219.1133 | 6.5267 | 117.9267 | 7.04 | 125.04 | 13.4507 | 891 | 100 | 27.3473
2019-09-19 02:30:00 | 3.4733 | 206.5567 | 4 | 226.98 | 6.5933 | 244.9667 | 6.82 | 354.7333 | 13.464 | 891 | 100 | 27.0353
2019-09-19 02:45:00 | 3.4967 | 277.5833 | 4.02 | 305.0333 | 6.51 | 238.46 | 6.78 | 6.8533 | 13.4767 | 891 | 100 | 26.8553
2019-09-19 03:00:00 | 3.45 | 102.2967 | 3.9667 | 112.4133 | 6.3433 | 7.6333 | 6.5733 | 11.3933 | 13.474 | 891 | 100 | 27.0907
2019-09-19 03:15:00 | 3.5667 | 308.37 | 4.1 | 338.8667 | 6.7333 | 13.72 | 7 | 18.3733 | 13.4873 | 891 | 100 | 29.118
2019-09-19 03:30:00 | 3.78 | 226.77 | 4.3467 | 249.2 | 6.88 | 7.1933 | 7.4667 | 12.7 | 13.47 | 891 | 100 | 29.7127
2019-09-19 03:45:00 | 4.1533 | 282.5833 | 4.7833 | 310.5333 | 7.8233 | 17.6033 | 7.6867 | 16.9867 | 13.452 | 891 | 100 | 30.098
2019-09-19 04:00:00 | 4.0333 | 150.8767 | 4.6367 | 165.8 | 7.5567 | 18.79 | 7.6267 | 19.5 | 13.432 | 891 | 100 | 31.9
2019-09-19 04:15:00 | 3.9467 | 167.9867 | 4.55 | 184.5867 | 7.37 | 19.6367 | 7.7367 | 25.65 | 13.4193 | 891 | 100 | 32.5013
2019-09-19 04:30:00 | 4.1333 | 211.9 | 4.7567 | 232.8533 | 7.35 | 18.3433 | 7.67 | 16.77 | 13.414 | 891 | 100 | 34.32
2019-09-19 04:45:00 | 4.18 | 1.4067 | 4.8167 | 1.54 | 7.29 | 121.0067 | 7.3633 | 9.99 | 13.4267 | 891 | 100 | 34.9433
2019-09-19 05:00:00 | 4.18 | 194.9333 | 4.81 | 214.2067 | 7.6833 | 124.48 | 7.9233 | 20.07 | 13.4 | 891 | 100 | 34.1573
2019-09-19 05:15:00 | 4.2667 | 18.37 | 4.9167 | 20.18 | 7.81 | 19.16 | 8.0467 | 17.4767 | 13.374 | 891 | 100 | 36.1127
2019-09-19 05:30:00 | 4.3067 | 28.0233 | 4.9633 | 30.7933 | 7.4233 | 19.9667 | 7.74 | 18.6233 | 13.3233 | 891 | 100 | 39.032
2019-09-19 05:45:00 | 4.2467 | 25.66 | 4.89 | 28.1867 | 7.6567 | 119.9533 | 7.8733 | 17.32 | 13.2927 | 891 | 100 | 40.998
2019-09-19 06:00:00 | 4.3933 | 45.9867 | 5.05 | 50.5333 | 7.69 | 325.9333 | 7.8667 | 20.0467 | 13.262 | 891 | 100 | 39.9313
2019-09-19 06:15:00 | 4.4 | 23.8867 | 5.0667 | 26.24 | 7.29 | 126.52 | 7.8767 | 14.46 | 13.2353 | 891 | 100 | 39.4973
2019-09-19 06:30:00 | 4.3867 | 15.3533 | 5.06 | 16.86 | 7.5567 | 119.38 | 7.9567 | 11.6933 | 13.234 | 891 | 100 | 40.3187
2019-09-19 06:45:00 | 4.8533 | 62.7167 | 5.5833 | 68.9167 | 8.2333 | 227.3867 | 8.3567 | 15.2933 | 13.2313 | 891 | 100 | 43.9167
2019-09-19 07:00:00 | 5.48 | 12.5833 | 6.3033 | 13.83 | 9.5133 | 17.28 | 9.5833 | 17.32 | 13.218 | 891 | 100 | 45.158
2019-09-19 07:15:00 | 5.78 | 212.414 | 6.644 | 233.42 | 10.626 | 15.784 | 10.254 | 17.024 | 13.2433 | 891.7333 | 100 | 46.4667
2019-09-19 07:30:00 | 5.5933 | 288.0233 | 6.4333 | 316.5 | 10.2633 | 12.6333 | 10.21 | 17.6133 | 13.27 | 892 | 100 | 49.6113
2019-09-19 07:45:00 | 5.8993 | 226.63 | 6.7793 | 249.0333 | 10.7367 | 11.0533 | 10.71 | 17.0733 | 13.2707 | 892 | 100 | 52.014
2019-09-19 08:00:00 | 6.19 | 183.6167 | 7.1233 | 201.7667 | 11.1833 | 10.8067 | 11.0367 | 17.98 | 13.284 | 892 | 100 | 54.1693
2019-09-19 08:15:00 | 6.6467 | 189.4667 | 7.6433 | 208.2 | 11.6767 | 14.13 | 11.56 | 13.45 | 13.2907 | 892 | 100 | 53.484
2019-09-19 08:30:00 | 5.7533 | 282.84 | 6.6167 | 310.8 | 10.6833 | 16.25 | 10.94 | 18.0833 | 13.32 | 892 | 100 | 52.1207
2019-09-19 08:45:00 | 5.922 | 162.774 | 6.8173 | 178.8733 | 10.8667 | 7.1873 | 10.9427 | 17.27 | 13.3227 | 892 | 100 | 52.8847
2019-09-19 09:00:00 | 6.0033 | 155.1533 | 6.91 | 170.5 | 11.0133 | 9.86 | 11.1433 | 19.3633 | 13.32 | 892 | 100 | 50.066
2019-09-19 09:15:00 | 5.53 | 155.8533 | 6.3667 | 171.2667 | 10.04 | 12.9767 | 10.1367 | 15.7167 | 13.37 | 892.0667 | 100 | 48.2033
2019-09-19 09:30:00 | 5.3033 | 42.5 | 6.1067 | 46.7 | 9.7 | 9.59 | 9.57 | 22.25 | 13.394 | 893 | 100 | 44.39
2019-09-19 09:45:00 | 4.9 | 175.6367 | 5.64 | 193 | 9.33 | 12.7833 | 9.1967 | 18.1467 | 13.5167 | 893 | 100 | 41.5227
2019-09-19 10:00:00 | 4.84 | 289.0767 | 5.58 | 317.6667 | 8.9567 | 15.8967 | 9.0233 | 18.94 | 13.5967 | 893 | 100 | 41.5373
2019-09-19 10:15:00 | 5.0133 | 172.4167 | 5.77 | 189.4667 | 8.9567 | 3.7733 | 8.9767 | 18.46 | 13.6507 | 893 | 100 | 45.0607
2019-09-19 10:30:00 | 5.2333 | 100.4967 | 6.0233 | 110.4267 | 9.3367 | 9.2667 | 9.4767 | 13.3133 | 13.72 | 893 | 100 | 47.9493
2019-09-19 10:45:00 | 5.58 | 111.0433 | 6.4167 | 122.02 | 10.2067 | 10.8133 | 10.1667 | 20.2033 | 13.8533 | 893 | 100 | 52.3287
2019-09-19 11:00:00 | 5.72 | 258.1967 | 6.5767 | 283.7333 | 10.7267 | 241.8267 | 10.74 | 19.3767 | 14.1467 | 893 | 100 | 51.5773
2019-09-19 11:15:00 | 5.51 | 201.2333 | 6.3333 | 221.13 | 10.36 | 13.2833 | 10.8567 | 23.27 | 14.3567 | 893 | 100 | 49.9753
2019-09-19 11:30:00 | 5.2567 | 122.9667 | 6.0467 | 135.13 | 9.86 | 13.3967 | 10.01 | 20.3367 | 14.478 | 893 | 100 | 44.7873
2019-09-19 11:45:00 | 5.0067 | 128.2267 | 5.7667 | 140.9067 | 9.4467 | 23.23 | 9.5133 | 24.9033 | 14.5633 | 893 | 100 | 46.3973
2019-09-19 12:00:00 | 5.0867 | 288.0467 | 5.8467 | 316.5333 | 9.62 | 9.69 | 9.68 | 29.5033 | 14.73 | 892.6 | 100 | 49.342
2019-09-19 12:15:00 | 5.3333 | 190.9733 | 6.1333 | 209.8467 | 9.9133 | 11.12 | 9.7233 | 19.3767 | 14.93 | 892 | 100 | 46.6127
2019-09-19 12:30:00 | 5.496 | 226.52 | 6.316 | 248.9133 | 10.1667 | 13.6467 | 9.8967 | 23.95 | 14.9833 | 892 | 100 | 45.5893
2019-09-19 12:45:00 | 5.68 | 199.0567 | 6.5433 | 218.7333 | 10.5267 | 14.8533 | 10.4867 | 22.11 | 15.1967 | 892 | 100 | 44.216
2019-09-19 13:00:00 | 6.06 | 85.4033 | 6.97 | 93.84 | 11.2533 | 11.44 | 11.08 | 21.51 | 15.33 | 892 | 100 | 41.61
2019-09-19 13:15:00 | 5.9333 | 166.2967 | 6.8233 | 182.7333 | 11.0367 | 10.0133 | 10.89 | 10.8433 | 15.47 | 892 | 100 | 42.3713
2019-09-19 13:30:00 | 6.0867 | 175.8833 | 7.0033 | 193.2667 | 11.202 | 14.7133 | 10.97 | 12.1433 | 15.51 | 892 | 100 | 43.4373
2019-09-19 13:45:00 | 6.0027 | 129.066 | 6.906 | 141.8207 | 10.8153 | 8.674 | 10.7987 | 28.082 | 15.4653 | 892 | 100 | 42.5393
2019-09-19 14:00:00 | 5.8067 | 217.59 | 6.69 | 239.1 | 10.7733 | 10.87 | 10.542 | 19.3133 | 15.6533 | 892 | 99.5333 | 42.2453
2019-09-19 14:15:00 | 5.8667 | 227.3467 | 6.76 | 249.8333 | 10.8 | 15.7367 | 10.67 | 26.0933 | 15.8767 | 892 | 97.7 | 44.6787
2019-09-19 14:30:00 | 5.86 | 245.3733 | 6.74 | 269.6333 | 10.4133 | 19.5767 | 10.31 | 21.04 | 15.9633 | 891.6 | 96.3667 | 41.7873
2019-09-19 14:45:00 | 5.94 | 81.41 | 6.8333 | 89.46 | 10.4967 | 9.7933 | 10.4033 | 17.49 | 16.002 | 891 | 95.4 | 41.424
2019-09-19 15:00:00 | 5.8733 | 200.59 | 6.76 | 220.4333 | 10.362 | 14.8133 | 10.2233 | 18.09 | 16.15 | 891 | 94.6667 | 39.936
2019-09-19 15:15:00 | 5.68 | 101.06 | 6.54 | 111.0467 | 10.2867 | 9.6367 | 10.29 | 21.7533 | 16.44 | 891 | 93.7667 | 37.8547
2019-09-19 15:30:00 | 5.8733 | 245.5467 | 6.76 | 269.8333 | 10.5067 | 10.09 | 10.3833 | 24 | 16.62 | 891 | 92.9667 | 37.5027
2019-09-19 15:45:00 | 5.9133 | 123.83 | 6.8067 | 136.07 | 10.59 | 15.19 | 10.44 | 21.6233 | 16.6293 | 891 | 91.5 | 39.452
2019-09-19 16:00:00 | 6.2333 | 56.1833 | 7.1733 | 61.73 | 11.27 | 16.13 | 11.14 | 19.2567 | 16.6 | 891 | 91.1 | 41.8647
2019-09-19 16:15:00 | 6.1333 | 186.6167 | 7.0667 | 205.0667 | 11.31 | 17.23 | 11.7233 | 23.4767 | 16.5213 | 891 | 91.4333 | 41.6473
2019-09-19 16:30:00 | 6.0267 | 184.4233 | 6.9333 | 202.6667 | 11.246 | 13.23 | 11.4833 | 24.95 | 16.5733 | 891 | 91.4333 | 44.4793
2019-09-19 16:45:00 | 6.2 | 161.7133 | 7.1333 | 177.7 | 11.83 | 9.2033 | 11.6733 | 20.4967 | 16.5887 | 891 | 92.6333 | 47.0487
2019-09-19 17:00:00 | 6.2133 | 217.16 | 7.1533 | 238.6333 | 11.87 | 13.6433 | 11.86 | 20.5767 | 16.562 | 891 | 92.3 | 44.816
2019-09-19 17:15:00 | 5.8067 | 63.5 | 6.69 | 69.78 | 11.0113 | 14.6767 | 10.85 | 26.5433 | 16.4787 | 891 | 92.5667 | 41.1333
2019-09-19 17:30:00 | 5.62 | 249.64 | 6.4633 | 274.3333 | 10.8167 | 24.59 | 10.75 | 21.91 | 16.3933 | 891 | 91.86 | 39.9087
2019-09-19 17:45:00 | 5.49 | 116.2833 | 6.32 | 127.78 | 10.48 | 19.3267 | 10.4067 | 19.0533 | 16.25 | 891 | 92.2933 | 40.3127
2019-09-19 18:00:00 | 5.55 | 116.0367 | 6.3867 | 127.5133 | 10.2867 | 19.5867 | 10.324 | 20.9467 | 16.13 | 891 | 92.4667 | 38.6553
2019-09-19 18:15:00 | 5.3333 | 61.6933 | 6.1333 | 67.7933 | 9.8333 | 16.4367 | 9.81 | 22.2653 | 16.0413 | 891 | 92.4667 | 31.13
2019-09-19 18:30:00 | 4.68 | 242.3333 | 5.38 | 266.3 | 8.62 | 17.13 | 8.61 | 8.0533 | 15.956 | 891 | 92.5333 | 28.6793
2019-09-19 18:45:00 | 4.1733 | 250.4133 | 4.8 | 275.1667 | 8.0567 | 9.6367 | 8.14 | 17.9933 | 15.8367 | 891 | 93.4 | 29.408
2019-09-19 19:00:00 | 4.1067 | 185.3733 | 4.7267 | 203.7 | 7.946 | 9.15 | 7.9667 | 17.7333 | 15.6167 | 891 | 94.5333 | 26.108
2019-09-19 19:15:00 | 3.99 | 306.58 | 4.59 | 336.9 | 7.6033 | 9.8567 | 7.7 | 24.8633 | 15.42 | 891 | 95.5333 | 21.988
2019-09-19 19:30:00 | 3.7767 | 112.7933 | 4.35 | 123.9467 | 6.91 | 7.07 | 7.1333 | 22.4967 | 15.52 | 891 | 93.7333 | 21.8167
2019-09-19 19:45:00 | 3.4333 | 37.9633 | 3.95 | 41.7133 | 6.4267 | 15.6067 | 6.8733 | 22.8067 | 15.6127 | 891 | 93.7 | 25.9347
2019-09-19 20:00:00 | 3.5733 | 252.5567 | 4.11 | 277.5333 | 6.7 | 15.3333 | 7.2533 | 24.3267 | 15.5433 | 891 | 93.8333 | 26.742
2019-09-19 20:15:00 | 3.284 | 243.3973 | 3.78 | 267.4733 | 6.3567 | 15.8887 | 6.724 | 27.09 | 15.4147 | 891 | 95.2133 | 27.0127
2019-09-19 20:30:00 | 3.75 | 171.3567 | 4.3167 | 188.3 | 7.1233 | 20.0933 | 7.3767 | 31.4967 | 15.2633 | 891.4 | 95.6 | 30.8913
2019-09-19 20:45:00 | 3.9767 | 152.0967 | 4.5767 | 167.1333 | 7.8133 | 17.6167 | 8.1733 | 20.58 | 15.2013 | 892 | 96.4333 | 31.076
2019-09-19 21:00:00 | 4.25 | 142.09 | 4.89 | 156.1333 | 8.3333 | 26.17 | 8.6933 | 21.9467 | 15.1 | 892 | 96.6333 | 32.6927
2019-09-19 21:15:00 | 4.5833 | 185.8933 | 5.2833 | 204.2667 | 8.9 | 9.88 | 9.1067 | 26.5633 | 14.9993 | 892 | 97.1667 | 31.7287
2019-09-19 21:30:00 | 4.5033 | 116.06 | 5.1833 | 127.5333 | 8.58 | 14.3667 | 8.94 | 24.0367 | 15.07 | 892 | 96.5 | 37.0127
2019-09-19 21:45:00 | 4.5333 | 87.5633 | 5.2133 | 96.2167 | 8.8533 | 18.4767 | 9.49 | 29.08 | 15.03 | 892 | 97.4 | 32.8093
2019-09-19 22:00:00 | 4.2267 | 174.5033 | 4.86 | 191.75 | 8.28 | 24.1167 | 9.23 | 21.4667 | 14.9433 | 892 | 97.8667 | 29.1767
2019-09-19 22:15:00 | 4.3267 | 183.68 | 4.9867 | 201.8333 | 8.1667 | 24.69 | 8.6533 | 22.6333 | 15.17 | 892 | 96.0067 | 31.186
2019-09-19 22:30:00 | 3.9133 | 172.9933 | 4.5 | 190.1 | 7.7467 | 14.5833 | 8.24 | 21.6933 | 15.1567 | 892 | 96.6333 | 33.69
2019-09-19 22:45:00 | 4.17 | 203.0233 | 4.81 | 223.1 | 8.1667 | 12.7133 | 8.45 | 20.74 | 14.9933 | 892 | 98.0333 | 35.0287
2019-09-19 23:00:00 | 4.09 | 211.45 | 4.7167 | 232.3667 | 7.9733 | 22.68 | 8.5033 | 31.04 | 14.9 | 892 | 98.34 | 34.104
2019-09-19 23:15:00 | 3.9853 | 148.7413 | 4.5853 | 163.4533 | 7.6927 | 11.464 | 7.9153 | 24.442 | 14.866 | 892 | 98.4733 | 24.634
2019-09-19 23:30:00 | 3.3733 | 239.8733 | 3.88 | 263.6 | 6.33 | 4.4867 | 6.4433 | 5.3033 | 14.97 | 892 | 97.6333 | 24.334
2019-09-19 23:45:00 | 3.2 | 26.69 | 3.68 | 29.3267 | 6.0733 | 354.2667 | 6.3467 | 9.14 | 15.1167 | 892 | 96.6667 | 27.8